STATE AIR POLLUTION CONTROL BOARD

Title of Regulation: 9 VAC 5-40. Existing Stationary Sources (Rev. A99) (amending 9 VAC 5-40-240, 9 VAC 5-40-250, 9 VAC 5-40-310, 9 VAC 5-40-311, and 9 VAC 5-40-890).

Statutory Authority: § 10.1-1308 of the Code of Virginia.

Effective Date: January 1, 2002.

Summary:

Article 4 provides a legal mechanism whereby the board is required to make source specific Reasonable Available Control Technology (RACT) determinations for all currently known major sources subject to source specific NOX RACT requirements under the federal Clean Air Act. Amendments delete the provisions that address seasonal applicability, certain exemptions and the emission allocation system.

Proposed amendments to Article 8 were to establish emission limits along with compliance testing, monitoring, recordkeeping and reporting requirements for fuel burning equipment. Amendments were proposed to establish an emissions rate limit for nitrogen oxides for electric generating units and nonelectric generating units and create a compliance averaging plan to provide flexibility for the sources subject to the regulation. However, these proposed changes to Article 8 were not adopted in order to avoid any confusion between this regulation and the Virginia NOx Emissions Trading Regulation (i.e., NOx SIP Call) currently under development.

Summary of Public Comments and Agency's Response: A summary of comments made by the public and the agency's response may be obtained from the promulgating agency or viewed at the office of the Registrar of Regulations.

Agency Contact: Alma Jenkins, Office of Air Regulatory Development, Department of Environmental Quality, P.O. Box 10009, Richmond, VA 23240, telephone (804) 698-4070.

REGISTRAR'S NOTICE: The proposed regulation was adopted as published in 17:11 VA.R. 1641-1654 February 12, 2001, with the additional changes shown below. Therefore, pursuant to § 2.2-4031 A of the Code of Virginia, the text of the final regulation is not set out at length; however, the changes from the proposed regulation are printed below.

9 VAC 5-40-240. [ No change from proposed. ]

9 VAC 5-40-250. Definitions.

A. For the purpose of these the Regulations for the Control and Abatement of Air Pollution and subsequent amendments or any orders issued by the board, the words or terms shall have the meanings given them in subsection C of this section.

B. As used in this article, all terms not defined herein shall have the meanings given them in 9 VAC 5 Chapter 10 (9 VAC 5-10-10 et seq.), unless otherwise required by context.

C. Terms defined.

"Combustion installation" means all combustion units within a stationary source in operation prior to October 5, 1979.

"Combustion unit" means any type of stationary equipment in which solid, liquid or gaseous fuels and refuse are burned, including, but not limited to, furnaces, ovens, and kilns.

"Heat input" means the total gross calorific value of all fuels burned.

"Manufacturing operation" means any process operation or combination of physically connected dissimilar process operations which is operated to effect physical or chemical changes or both in an article.

"Materials handling equipment" means any equipment used as a part of a process operation or combination of process operations which does not effect a physical or chemical change in the material or in an article, such as, but not limited to, conveyors, elevators, feeders or weighers.

"Physically connected" means any combination of process operations connected by materials handling equipment and designed for simultaneous complementary operation.

"Process operation" means any method, form, action, operation or treatment of manufacturing or processing, including any storage or handling of materials or products before, during or after manufacturing or processing.

"Process unit" means any step in a manufacturing or process operation which results in the emission of pollutants to the atmosphere.

"Process weight" means total weight of all materials introduced into any process unit which may cause any emission of pollutants. Process weight includes solid fuels charged, but does not include liquid and gaseous fuels charged or combustion air for all fuels.

"Process weight rate" means a rate established as follows:

a. For continuous or long-run steady-state process operations, the total process weight for the entire period of continuous operation or for a typical portion [ thereof of it ], divided by the number of hours of such period or portion [ thereof of it ].

b. For cyclical or batch process operations, the total weight for a period that covers a complete operation or an integral number of cycles, divided by the hours of actual process operation during such a period.

"Reasonably available control technology" means the lowest emission limit that a particular source is capable of meeting by the application of control technology that is reasonably available, considering technological and economic feasibility.

"Rated capacity" means, the capacity as stipulated in the purchase contract for the condition of 100% load, or such other capacities as mutually agreed to by the board and owner using good engineering judgment.

"Total capacity" means with reference to a combustion installation, the sum of the rated capacities (expressed as heat input) of all units of the installation which must be operated simultaneously under conditions [ or of ] 100% use load.

9 VAC 5-40-310. [ No change from proposed. ]

9 VAC 5-40-311. Reasonably available control technology guidelines for stationary sources of nitrogen oxides.

A. General. Unless otherwise approved by the board, this section defines reasonably available control technology for the purposes of compliance with 9 VAC 5-40-310 A for the source types specified here.

B. Definitions.

1. For the purpose of these regulations this section and subsequent amendments [ of or ] any orders issued by the board, the words or terms shall have the meaning given them in subdivision B 3 of this section.

2. As used in this section, all terms not defined here shall have the meaning given them in 9 VAC 5 Chapter 10 (9 VAC 5-10-10 et seq.), unless otherwise required by context.

3. Terms defined.

"Capacity factor" means the ratio of the average load on a machine or equipment for the period of time considered to be the capacity rating of the machine or equipment.

"Combustion modification" means any change to the configuration of the burners or the firing method or mechanism of any combustion equipment for the purpose of reducing the emissions of nitrogen oxides. Acceptable combustion equipment changes within the context of this term include, but are not limited to, reburning, burners out of service, flue gas recirculation, fuel substitution, engine adjustments, engine modifications, fuel modifications and the addition of over fire air and low nitrogen oxides burner systems.

"Combustion unit" means any furnace, with fuel burning equipment appurtenances thereto, used in the process of burning fuel for the primary purpose of producing heat to be utilized by direct heat transfer. This includes, but is not limited to, the following facilities: drying ovens, burnout ovens, annealing furnaces, melting furnaces, holding furnaces, and space heaters.

"Fossil fuel" means natural gas, petroleum, coal and any form of solid, liquid or gaseous fuel derived from such materials for the purpose of creating useful heat.

"Fuel burning equipment" means any furnace, with fuel burning equipment appurtenances thereto, used in the process of burning fuel for the primary purpose of producing heat to be utilized by indirect heat transfer or producing power. This includes facilities that are designed as boilers to produce steam or heated water and are designed to burn either fossil fuel or refuse derived fuel. It does not include such facilities if designed primarily to burn raw refuse.

"Fuel burning equipment installation" means all fuel burning equipment units within a stationary source in operation prior to January 1, 1993.

"Gas turbine" means a rotary internal combustion engine fueled by liquid or gaseous fuel.

"Heat input" means the total gross calorific value of all fuels burned.

"Incinerator" means any device, apparatus, equipment, or structure using combustion or pyrolysis for destroying, or reducing the volume of any material or substance.

"Internal combustion engine" means a reciprocating engine which is fueled by liquid or gaseous fuel.

"Process heater" means any fuel burning equipment which is used to produce heat for use in a manufacturing process. This term includes boilers which use a heat transfer medium other than water, but does not include drying ovens, steam generating units, or other drying apparatus.

"Rated capacity" means the capacity as stipulated in the purchase contract for the condition of 100% load, or such other capacities as mutually agreed to by the board and owner using good engineering judgment.

"Refuse derived fuel (RDF)" means fuel produced from solid or liquid waste (includes materials customarily referred to as refuse and other discarded materials) or both which has been segregated and classified, with the useable portions being put through a size reduction and classification process which results in a relatively homogeneous mixture.

"Steam generating unit" means any furnace, boiler or other device used for combusting fuel for the purpose of producing steam.

"Total capacity" means, with reference to a fuel burning equipment installation, the sum of the rated capacities (expressed as heat input) of all units of the installation which must be operated simultaneously under conditions of 100% use load.

C. Definition of reasonably available control technology.

1. For the source types listed below, reasonably available control technology is defined as the emission limits specified below based upon the application of combustion modification; however, owners may elect to use any alternative control technology, provided such alternative is capable of achieving the prescribed emission limits.

a. Steam generating units and process heaters. The maximum allowable emission rate for nitrogen oxides from steam generating units and process heaters is as follows:

TABLE 4-4C

Maximum Allowable Emission Rates for Nitrogen Oxides Emissions from Steam Generating Units and Process Heaters (pounds per million btu heat input)

| Fuel Type | Firing Method |
| --- | --- |
|  | Face* and Tangential | Cyclone | Stokers |
| Coal--wet bottom | 1.0 | .55 | N/A |
| Coal--dry bottom | .38 | N/A | 0.4 |
| Oil or Gas or both | .25 | .43 | N/A |
| Gas only | .20 | N/A | N/A |

*Includes wall, opposed and vertical firing methods.

b. Gas turbines. The maximum allowable emission rate for nitrogen oxides from gas turbines is as follows:

TABLE 4-4D

Maximum Allowable Emission Rates for Nitrogen Oxides Emissions from Gas Turbines (parts per million by dry volume corrected to 15% oxygen)

| Fuel Type | Turbine Type |
| --- | --- |
|  | Simple Cycle | Combined Cycle |
| Gas | 42 | 42 |
| Oil | 65/77* | 65/77* |

*Limit shall be 65 ppm for fuel bound nitrogen (FBN) less than 0.015% and 77 ppm for FBN greater than or equal to .015%

2. Any demonstration of compliance with the limits in subdivision C 1 of this section shall be on a daily basis.

3. For the source types and sizes listed below, a demonstration of reasonably available control technology is not required as provided in 9 VAC 5-40-310 B.

a. Any steam generating unit, process heater or gas turbine with a rated capacity of less than 100,000,000 Btu per hour.

b. a. Any steam generating unit, process heater or gas turbine with an annual capacity factor of less than 5.0%, except that three months following any calendar year during which the capacity factor is 5.0% or greater, the facility shall be subject to 9 VAC 5-40-310 A or B, as applicable, and the owner shall comply with 9 VAC 5-40-310 D or E, as applicable, except the compliance date shall be two years after approval of the schedule by the board. Time periods during which a stand-by unit is used to provide replacement services for a unit being altered to comply with the provisions of 9 VAC 5-40-310 A or B shall not be used as the basis for a determination that the stand-by unit exceeded the annual capacity factor criteria of 5.0%.

c. Any combustion unit with a rated capacity of less than 50,000,000 Btu per hour.

d. b. Any stationary internal combustion engine with a rated capacity of less than 450 hp of output power.

e. c. Any incinerator with a maximum capacity of less than 50 tons of waste per day.

f. d. Any incinerator or thermal or catalytic oxidizer used exclusively as air pollution control equipment.

g. e. Any generator used solely to supply emergency power to buildings during periods when normal power supplies are interrupted and during periods of scheduled maintenance.

D. Emission allocation system.

1. This subsection applies only to steam generating units and gas turbines within fuel burning equipment installations not exempted from the requirements of 9 VAC 5-40-310 B by subdivision C 3 of this section.

2. The maximum allowable nitrogen oxides emissions, expressed as pounds per hour, for a fuel burning equipment installation shall be the product of the total capacity and the applicable emission limit specified in subdivision C 1 a of this section.

3. The allowable nitrogen oxides emissions for a fuel burning equipment installation when operating at less than total capacity, shall be the product of the percent load and emission allocation. The percent load shall be the quotient of the actual load and the rated capacity. The emission allocation shall be determined using procedures set forth in subdivision D 4 of this section.

4. The emission allocation for each of the fuel burning equipment units of the fuel burning equipment installation shall be its designated portion of the maximum allowable nitrogen oxides emissions from the fuel burning equipment installation when operating at total capacity. The portions shall be proposed by the owner initially and determined in a manner mutually acceptable to the board and the owner. Once accepted by the board, the portions may not be changed without the consent of the board.

9 VAC 5-40-890. Definitions.

A. For the purpose of these the Regulations for the Control and Abatement of Air Pollution and subsequent amendments or any orders issued by the board, the words or terms shall have the meanings given them in subsection C of this section.

B. As used in this article, all terms not defined here shall have the meanings given them in 9 VAC 5 Chapter 10 (9 VAC 5-10-10 et seq.), unless otherwise required by context.

C. Terms defined.

[ "Btu" means British thermal unit. ]

"Capacity factor" means the ratio of the average load on a machine or equipment for the period of time considered to the capacity rating of the machine or equipment.

[ "Combined cycle system" means a system comprised of one or more combustion turbines, heat recovery steam generators, and steam turbines configured to improve overall efficiency of electricity generation or steam production.

"Combustion turbine" means an enclosed fossil or other fuel-fired device that is composed of a compressor, a combustor, and a turbine, and in which the flue gas resulting from the combustion of fuel in the combustor passes through the turbine, rotating the turbine.

“Continuous emission monitoring system” or "CEMS" means the equipment required under 9 VAC 5-40-1000 E to sample, analyze, measure and provide, by readings taken at least once every 15 minutes of the measured parameters, a permanent record of NOX emissions, expressed in tons per hour for NOX. The following systems are component parts, to the extent consistent with 40 CFR Part 75, in a continuous emission monitoring system:

a. Flow monitor;

b. NOX pollutant concentration monitors;

c. Diluent gas monitor (O2 or CO2);

d. A continuous moisture monitor; and

e. An automated data acquisition and handling system.

"Electric generating unit" means any fossil-fuel fired combustion unit of more than 25 megawatts that serves a generator that produces electricity for sale. A unit that cogenerates steam and electricity and supplies more than one-third of its potential electric output capacity and more than 25 megawatts electricity output to any utility power distribution system for sale shall be considered an electric generating unit.

"Generator" means a device that produces electricity.

"Fossil fuel" means natural gas, petroleum, coal and any form of solid, liquid or gaseous fuel derived from such materials for the purpose of creating useful heat.

"Fossil-fuel fired" means, with regard to a unit:

a. The combustion of fossil fuel, alone or in combination with any other fuel, where fossil fuel actually combusted comprises more than 50% of the annual heat input on a Btu basis during any year starting in 1995 or, if a unit had no heat input starting in 1995, during the last year of operation of the unit prior to 1995; or

b. The combustion of fossil fuel, alone or in combination with any other fuel, where fossil fuel is projected to comprise more than 50% of the annual heat input on a Btu basis during any year; provided that the unit shall be "fossil-fuel fired" as of the date, during such year, on which the unit begins combusting fossil fuel. ]

"Fossil-fuel fired steam generator" means furnace or boiler, or both, used in the process of burning fossil fuel for the primary purpose of providing steam by heat transfer.

"Fuel burning equipment" means any furnace, with fuel burning equipment appurtenances thereto, used in the process of burning fuel for the primary purpose of producing heat to be utilized by indirect heat transfer, or by indirect production of power. This includes facilities that are designed as boilers to produce steam or heated water and are designed to burn either fossil fuel or refuse derived fuel. It does not include such facilities if designed primarily to burn raw refuse. This includes fuel burning equipment units (both permanently installed units and portable units) used to replace the power used by mobile sources. For the purposes of this article, stationary combustion turbines are considered to be fuel burning equipment.

"Fuel burning equipment installation" means all fuel burning equipment units within a stationary source in operation prior to October 5, 1979.

"Heat input" means the total gross calorific value of all fuels burned.

[ "mmBtu" means million Btu.

"MWe" means megawatt electrical.

"Nameplate capacity" means the maximum electrical generating output (in MWe) that a generator can sustain over a specified period of time when not restricted by seasonal or other deratings as measured in accordance with the United States Department of Energy standards.

"Nonelectric generating unit" means a stationary boiler, combustion turbine, or combined cycle system that is not an electric generating unit and has a maximum design heat input greater than 250 mmBtu/hr.

“Opt-in unit” means a unit that would otherwise be an electric generating unit or nonelectric generating unit if not for the size criteria.

“Ozone season" means the period beginning May 1 of a year and ending on September 30 of the same year, inclusive.

“Ozone season heat input” (OSHI) means the product (in mmBtu/time) of the gross calorific value of the fuel (in Btu/lb) and the fuel feed rate into a combustion device (in mass of fuel/time) and does not include the heat derived from preheated combustion air, recirculated flue gases or exhaust from other sources. ]

"Rated capacity" means the capacity as stipulated in the purchase contract for the condition of 100% load, or such other capacities as mutually agreed to by the board and owner using good engineering judgment.

"Refuse derived fuel (RDF)" means fuel produced from solid or liquid waste (includes materials customarily referred to as refuse and other discarded materials), or both, which has been segregated and classified, with the useable portions being put through a size reduction and classification process which results in a relatively homogeneous mixture.

"Stationary combustion turbine" means any air-breathing internal combustion engine consisting of an air compressor, combustion chamber, and a turbine wheel.

"Stationary internal combustion engine" means an engine in which fuel is burned within a machine in which energy is converted directly into mechanical motion or work. The energy is used directly for the production of power, locomotion or work. Internal combustion engines include, but are not limited to, diesel engines, gasoline engines, and diesel pumps. For the purposes of this article, stationary combustion turbines are not considered to be stationary internal combustion engines.

[ "Ton" or "tonnage" means any "short ton" (i.e., 2000 pounds). For the purpose of determining compliance with an applicable NOX emission limitation, total tons for an ozone season shall be calculated as the sum of all recorded hourly emissions (or the tonnage equivalent of the recorded hourly emissions rates), with any remaining fraction of a ton equal to or greater than 0.50 ton deemed to equal one ton and any fraction of a ton less than 0.50 ton deemed to equal zero tons. ]

"Total capacity" means with reference to a fuel burning equipment installation, the sum of the rated capacities (expressed as heat input) of all units of the installation which must be operated simultaneously under conditions of 100% use load.

REGISTRAR'S NOTICE: The proposed amendments to 9 VAC 5-40-925 through 9 VAC 5-40-928, 9 VAC 5-40-980 and 9 VAC 5-40-1000 that were published in 17:11 VA.R 1651-1654 February 12, 2001, were not adopted in final form by the Air Pollution Control Board. Therefore, those sections have been removed and are not being printed in this final regulatory action.

VA.R. Doc. No. R00-152; Filed October 17, 2001, 8:54 a.m.