STATE WATER CONTROL BOARD

REGISTRAR'S NOTICE: The following regulatory action is exempt from the Administrative Process Act in accordance with § 2.2-4006 A 4 c of the Code of Virginia, which excludes regulations that are necessary to meet the requirements of federal law or regulations provided such regulations do not differ materially from those required by federal law or regulation. The State Water Control Board will receive, consider and respond to petitions by any interested person at any time with respect to reconsideration or revision.

Title of Regulation: 9 VAC 25-31. Virginia Pollutant Discharge Elimination System (VPDES) Permit Regulation (amending 9 VAC 25-31-10, 9 VAC 25-31-30, 9 VAC 25-31-40, 9 VAC 25-31-100, 9 VAC 25-31-120, 9 VAC 25-31-121, 9 VAC 25-31-150, 9 VAC 25-31-190, 9 VAC 25-31-220, 9 VAC 25-31-230, 9 VAC 25-31-340, 9 VAC 25-31-470, 9 VAC 25-31-500, 9 VAC 25-31-750, 9 VAC 25-31-770, 9 VAC 25-31-780, 9 VAC 25-31-790, 9 VAC 25-31-800, 9 VAC 25-31-810, 9 VAC 25-31-840, 9 VAC 25-31-900).

Statutory Authority: § 62.1-44.15 of the Code of Virginia.

Effective Date: February 15, 2002.

Summary:

The requirements for permit applications from treatment works treating domestic sewage are amended to conform the regulation more closely to corresponding federal regulations. The amendments also update all federal regulation references to the 2000 editions.

Agency Contact: Jon Van Soestbergen, Department of Environmental Quality, P.O. Box 10009, Richmond, VA 23240, telephone (804) 698-4117 or e-mail jvansoest@deq.state.va.us.

9 VAC 25-31-10. Definitions.

"Administrator" means the Administrator of the United States Environmental Protection Agency, or an authorized representative.

"Animal feeding operation" means a lot or facility (other than an aquatic animal production facility) where the following conditions are met: (i) animals (other than aquatic animals) have been, are, or will be stabled or confined and fed or maintained for a total of 45 days or more in any 12-month period, and (ii) crops, vegetation forage growth, or post-harvest residues are not sustained in the normal growing season over any portion of the lot or facility.

"Animal unit" means a unit of measurement for any animal feeding operation calculated by adding the following numbers: the number of slaughter and feeder cattle multiplied by 1.0, plus the number of mature dairy cattle multiplied by 1.4, plus the number of swine weighing over 25 kilograms (approximately 55 pounds) multiplied by 0.4, plus the number of sheep multiplied by 0.1, plus the number of horses multiplied by 2.0.

"Applicable standards and limitations" means all state, interstate, and federal standards and limitations to which a discharge, a sewage sludge use or disposal practice, or a related activity is subject under the Clean Water Act (CWA) (33 USC § 1251 et seq.) and the law, including effluent limitations, water quality standards, standards of performance, toxic effluent standards or prohibitions, best management practices, pretreatment standards, and standards for sewage sludge use or disposal under §§ 301, 302, 303, 304, 306, 307, 308, 403 and 405 of CWA.

"Approval authority" means the Director of the Department of Environmental Quality.

"Approved program" or "approved state" means a state or interstate program which has been approved or authorized by EPA under 40 CFR Part 123 (1999 2000).

"Approved POTW Pretreatment Program" or "Program" or "POTW Pretreatment Program" means a program administered by a POTW that meets the criteria established in Part VII (9 VAC 25-31-730 et seq.) of this chapter and which has been approved by the director or by the administrator in accordance with 9 VAC 25-31-830.

"Aquaculture project" means a defined managed water area which uses discharges of pollutants into that designated area for the maintenance or production of harvestable freshwater, estuarine, or marine plants or animals.

"Average monthly discharge limitation" means the highest allowable average of daily discharges over a calendar month, calculated as the sum of all daily discharges measured during a calendar month divided by the number of daily discharges measured during that month.

"Average weekly discharge limitation" means the highest allowable average of daily discharges over a calendar week, calculated as the sum of all daily discharges measured during a calendar week divided by the number of daily discharges measured during that week.

"Best management practices (BMPs)" means schedules of activities, prohibitions of practices, maintenance procedures, and other management practices to prevent or reduce the pollution of surface waters. BMPs also include treatment requirements, operating procedures, and practices to control plant site run-off, spillage or leaks, sludge or waste disposal, or drainage from raw material storage.

"Board" means the Virginia State Water Control Board or State Water Control Board.

"Bypass" means the intentional diversion of waste streams from any portion of a treatment facility.

"Class I sludge management facility" means any POTW identified under Part VII (9 VAC 25-31-730 et seq.) of this chapter as being required to have an approved pretreatment program and any other treatment works treating domestic sewage classified as a Class I sludge management facility by the regional administrator, in conjunction with the director, because of the potential for its sludge use or disposal practices to adversely affect public health and the environment.

"Concentrated animal feeding operation" means an animal feeding operation which meets the criteria of this definition, or which the board designates under 9 VAC 25-31-130.

An animal feeding operation is a concentrated animal feeding operation if either of the following criteria are met:

1. More than the number of animals specified in any of the following categories are confined:

a. 1,000 slaughter and feeder cattle;

b. 700 mature dairy cattle (whether milked or dry cows);

c. 2,500 swine each weighing over 25 kilograms (approximately 55 pounds);

d. 500 horses;

e. 10,000 sheep or lambs;

f. 55,000 turkeys;

g. 100,000 laying hens or broilers (if the facility has continuous overflow watering);

h. 30,000 laying hens or broilers (if the facility has a liquid manure system);

i. 5,000 ducks; or

j. 1,000 animal units.

2. More than the following number and types of animals are confined:

a. 300 slaughter or feeder cattle;

b. 200 mature dairy cattle (whether milked or dry cows);

c. 750 swine each weighing over 25 kilograms (approximately 55 pounds);

d. 150 horses;

e. 3,000 sheep or lambs;

f. 16,500 turkeys;

g. 30,000 laying hens or broilers (if the facility has continuous overflow watering);

h. 9,000 laying hens or broilers (if the facility has a liquid manure handling system);

i. 1,500 ducks; or

j. 300 animal units; and either one of the following conditions are met: pollutants are discharged into navigable waters through a manmade ditch, flushing system or other similar manmade device; or pollutants are discharged directly into surface waters which originate outside of and pass over, across, or through the facility or otherwise come into direct contact with the animals confined in the operation.

However, no animal feeding operation is a concentrated animal feeding operation as defined in this definition if such animal feeding operation discharges only in the event of a 25-year, 24-hour storm event.

"Concentrated aquatic animal production facility" means a hatchery, fish farm, or other facility which meets the criteria of this definition, or which the board designates under 9 VAC 25-31-140. A hatchery, fish farm, or other facility is a concentrated aquatic animal production facility if it contains, grows, or holds aquatic animals in either of the following categories:

1. Cold water fish species or other cold water aquatic animals in ponds, raceways, or other similar structures which discharge at least 30 days per year but does not include:

a. Facilities which produce less than 9,090 harvest weight kilograms (approximately 20,000 pounds) of aquatic animals per year; and

b. Facilities which feed less than 2,272 kilograms (approximately 5,000 pounds) of food during the calendar month of maximum feeding; or

2. Warm water fish species or other warm water aquatic animals in ponds, raceways, or other similar structures which discharge at least 30 days per year, but does not include:

a. Closed ponds which discharge only during periods of excess run-off; or

b. Facilities which produce less than 45,454 harvest weight kilograms (approximately 100,000 pounds) of aquatic animals per year.

Cold water aquatic animals include, but are not limited to, the Salmonidae family of fish (e.g., trout and salmon).

Warm water aquatic animals include, but are not limited to, the Ictaluridae, Centrarchidae and Cyprinidae families of fish (e.g., respectively, catfish, sunfish and minnows).

"Contiguous zone" means the entire zone established by the United States under Article 24 of the Convention on the Territorial Sea and the Contiguous Zone (37 FR 11906).

"Continuous discharge" means a discharge which occurs without interruption throughout the operating hours of the facility, except for infrequent shutdowns for maintenance, process changes, or other similar activities.

"Co-permittee" means a permittee to a VPDES permit that is only responsible for permit conditions relating to the discharge for which it is the operator.

"CWA" means the Clean Water Act (33 USC § 1251 et seq.) (formerly referred to as the Federal Water Pollution Control Act or Federal Water Pollution Control Act Amendments of 1972) Public Law 92-500, as amended by Public Law 95-217, Public Law 95-576, Public Law 96-483, and Public Law 97-117.

"CWA and regulations" means the Clean Water Act (CWA) and applicable regulations promulgated thereunder. For the purposes of this chapter, it includes state program requirements.

"Daily discharge" means the discharge of a pollutant measured during a calendar day or any 24-hour period that reasonably represents the calendar day for purposes of sampling. For pollutants with limitations expressed in units of mass, the daily discharge is calculated as the total mass of the pollutant discharged over the day. For pollutants with limitations expressed in other units of measurement, the daily discharge is calculated as the average measurement of the pollutant over the day.

"Department" means the Virginia Department of Environmental Quality.

"Designated project area" means the portions of surface within which the permittee or permit applicant plans to confine the cultivated species, using a method or plan or operation (including, but not limited to, physical confinement) which, on the basis of reliable scientific evidence, is expected to ensure that specific individual organisms comprising an aquaculture crop will enjoy increased growth attributable to the discharge of pollutants, and be harvested within a defined geographic area.

"Direct discharge" means the discharge of a pollutant.

"Director" means the Director of the Department of Environmental Quality or an authorized representative.

"Discharge," when used without qualification, means the discharge of a pollutant.

"Discharge," when used in Part VII (9 VAC 25-31-730 et seq.) of this chapter, means "indirect discharge" as defined in this section.

"Discharge of a pollutant" means:

1. Any addition of any pollutant or combination of pollutants to surface waters from any point source; or

2. Any addition of any pollutant or combination of pollutants to the waters of the contiguous zone or the ocean from any point source other than a vessel or other floating craft which is being used as a means of transportation.

This definition includes additions of pollutants into surface waters from: surface run-off which is collected or channeled by man; discharges through pipes, sewers, or other conveyances owned by a state, municipality, or other person which do not lead to a treatment works; and discharges through pipes, sewers, or other conveyances, leading into privately owned treatment works. This term does not include an addition of pollutants by any indirect discharger.

"Discharge Monitoring Report (DMR)" means the form supplied by the department or an equivalent form developed by the permittee and approved by the board, for the reporting of self-monitoring results by permittees.

"Draft permit" means a document indicating the board's tentative decision to issue or deny, modify, revoke and reissue, terminate, or reissue a permit. A notice of intent to terminate a permit, and a notice of intent to deny a permit are types of draft permits. A denial of a request for modification, revocation and reissuance, or termination is not a draft permit. A proposed permit is not a draft permit.

"Effluent limitation" means any restriction imposed by the board on quantities, discharge rates, and concentrations of pollutants which are discharged from point sources into surface waters, the waters of the contiguous zone, or the ocean.

"Effluent limitations guidelines" means a regulation published by the administrator under § 304(b) of the CWA to adopt or revise effluent limitations.

"Environmental Protection Agency (EPA)" means the United States Environmental Protection Agency.

"Existing source" means any source which is not a new source or a new discharger.

"Facility or activity" means any VPDES point source or treatment works treating domestic sewage or any other facility or activity (including land or appurtenances thereto) that is subject to regulation under the VPDES program.

"Facilities or equipment" means buildings, structures, process or production equipment or machinery which form a permanent part of a new source and which will be used in its operation, if these facilities or equipment are of such value as to represent a substantial commitment to construct. It excludes facilities or equipment used in connection with feasibility, engineering, and design studies regarding the new source or water pollution treatment for the new source.

"General permit" means a VPDES permit authorizing a category of discharges under the CWA and the law within a geographical area.

"Hazardous substance" means any substance designated under the Code of Virginia and 40 CFR Part 116 (1999 2000) pursuant to § 311 of the CWA.

"Illicit discharge" means any discharge to a municipal separate storm sewer that is not composed entirely of storm water except discharges pursuant to a VPDES permit (other than the VPDES permit for discharges from the municipal separate storm sewer) and discharges resulting from fire fighting activities.

"Incorporated place" means a city, town, township, or village that is incorporated under the Code of Virginia.

"Indian country" means (i) all land within the limits of any Indian reservation under the jurisdiction of the United States government, notwithstanding the issuance of any patent, and including rights-of-way running through the reservation; (ii) all dependent Indian communities with the borders of the United States whether within the originally or subsequently acquired territory thereof, and whether within or without the limits of a state; and (iii) all Indian allotments, the Indian titles to which have not been extinguished, including rights-of-way running through the same.

"Indirect discharge" means the introduction of pollutants into a POTW from any nondomestic source regulated under § 307(b), (c) or (d) of the CWA and the law.

"Indirect discharger" means a nondomestic discharger introducing pollutants to a POTW.

"Individual control strategy" means a final VPDES permit with supporting documentation showing that effluent limits are consistent with an approved wasteload allocation or other documentation that shows that applicable water quality standards will be met not later than three years after the individual control strategy is established.

"Industrial user" or "user" means a source of indirect discharge.

"Interference" means an indirect discharge which, alone or in conjunction with an indirect discharge or discharges from other sources, both: (i) inhibits or disrupts the POTW, its treatment processes or operations, or its sludge processes, use or disposal; and therefore (ii) is a cause of a violation of any requirement of the POTW's VPDES permit (including an increase in the magnitude or duration of a violation) or of the prevention of sewage sludge use or disposal in compliance with the following statutory provisions and regulations or permits issued thereunder (or more stringent state or local regulations): Section 405 of the Clean Water Act, the Solid Waste Disposal Act (SWDA) (including Title II, more commonly referred to as the Resource Conservation and Recovery Act (RCRA) (42 USC § 6901 et seq.), and including state regulations contained in any state sludge management plan prepared pursuant to Subtitle D of the SWDA) the Clean Air Act (42 USC § 701 et seq.), the Toxic Substances Control Act (15 USC § 2601 et seq.), and the Marine Protection, Research and Sanctuaries Act (33 USC § 1401 et seq.).

"Interstate agency" means an agency of two or more states established by or under an agreement or compact approved by Congress, or any other agency of two or more states having substantial powers or duties pertaining to the control of pollution as determined and approved by the administrator under the CWA and regulations.

"Large municipal separate storm sewer system" means all municipal separate storm sewers that are either:

1. Located in an incorporated place with a population of 250,000 or more as determined by the latest decennial census by the Bureau of Census (40 CFR Part 122 Appendix F (1999 2000));

2. Located in the counties listed in 40 CFR Part 122 Appendix H (1999 2000), except municipal separate storm sewers that are located in the incorporated places, townships or towns within such counties;

3. Owned or operated by a municipality other than those described in subdivision 1 or 2 of this definition and that are designated by the board as part of the large or medium municipal separate storm sewer system due to the interrelationship between the discharges of the designated storm sewer and the discharges from municipal separate storm sewers described under subdivision 1 or 2 of this definition. In making this determination the board may consider the following factors:

a. Physical interconnections between the municipal separate storm sewers;

b. The location of discharges from the designated municipal separate storm sewer relative to discharges from municipal separate storm sewers described in subdivision 1 of this definition;

c. The quantity and nature of pollutants discharged to surface waters;

d. The nature of the receiving waters; and

e. Other relevant factors.

4. The board may, upon petition, designate as a large municipal separate storm sewer system, municipal separate storm sewers located within the boundaries of a region defined by a storm water management regional authority based on a jurisdictional, watershed, or other appropriate basis that includes one or more of the systems described in this definition.

"Log sorting" and "log storage facilities" means facilities whose discharges result from the holding of unprocessed wood, for example, logs or roundwood with bark or after removal of bark held in self-contained bodies of water (mill ponds or log ponds) or stored on land where water is applied intentionally on the logs (wet decking).

"Major facility" means any VPDES facility or activity classified as such by the regional administrator in conjunction with the board.

"Major municipal separate storm sewer outfall (or major outfall)" means a municipal separate storm sewer outfall that discharges from a single pipe with an inside diameter of 36 inches or more or its equivalent (discharge from a single conveyance other than circular pipe which is associated with a drainage area of more than 50 acres); or for municipal separate storm sewers that receive storm water from lands zoned for industrial activity (based on comprehensive zoning plans or the equivalent), an outfall that discharges from a single pipe with an inside diameter of 12 inches or more or from its equivalent (discharge from other than a circular pipe associated with a drainage area of two acres or more).

"Manmade" means constructed by man and used for the purpose of transporting wastes.

"Maximum daily discharge limitation" means the highest allowable daily discharge.

"Medium municipal separate storm sewer system" means all municipal separate storm sewers that are either:

1. Located in an incorporated place with a population of 100,000 or more but less than 250,000, as determined by the latest decennial census by the Bureau of Census (40 CFR Part 122 Appendix G (1999 2000));

2. Located in the counties listed in 40 CFR Part 122 Appendix I (1999 2000), except municipal separate storm sewers that are located in the incorporated places, townships or towns within such counties;

3. Owned or operated by a municipality other than those described in subdivision 1 or 2 of this definition and that are designated by the board as part of the large or medium municipal separate storm sewer system due to the interrelationship between the discharges of the designated storm sewer and the discharges from municipal separate storm sewers described under subdivision 1 or 2 of this definition. In making this determination the board may consider the following factors:

a. Physical interconnections between the municipal separate storm sewers;

b. The location of discharges from the designated municipal separate storm sewer relative to discharges from municipal separate storm sewers described in subdivision 1 of this definition;

c. The quantity and nature of pollutants discharged to surface waters;

d. The nature of the receiving waters; or

e. Other relevant factors.

4. The board may, upon petition, designate as a medium municipal separate storm sewer system, municipal separate storm sewers located within the boundaries of a region defined by a storm water management regional authority based on a jurisdictional, watershed, or other appropriate basis that includes one or more of the systems described in subdivisions 1, 2 and 3 of this definition.

"Municipal separate storm sewer" means a conveyance or system of conveyances (including roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, manmade channels, or storm drains):

1. Owned or operated by a state, city, town, county, district, association, or other public body (created by or pursuant to state law) having jurisdiction over disposal of sewage, industrial wastes, storm water, or other wastes, including special districts under state law such as a sewer district, flood control district or drainage district, or similar entity, or an Indian tribe or an authorized Indian tribal organization, or a designated and approved management agency under § 208 of the CWA that discharges to surface waters;

2. Designed or used for collecting or conveying storm water;

3. Which is not a combined sewer; and

4. Which is not part of a publicly owned treatment works (POTW).

"Municipal separate storm sewer system" or "MS4" means storm sewers that are defined as "large" or "medium" or "small" municipal separate storm sewer systems, or designated under 9 VAC 25-31-120 A 1.

"Municipality" means a city, town, county, district, association, or other public body created by or under state law and having jurisdiction over disposal of sewage, industrial wastes, or other wastes, or an Indian tribe or an authorized Indian tribal organization, or a designated and approved management agency under § 208 of the CWA.

"National Pollutant Discharge Elimination System (NPDES)" means the national program for issuing, modifying, revoking and reissuing, terminating, monitoring and enforcing permits, and imposing and enforcing pretreatment requirements under §§ 307, 402, 318, and 405 of the CWA. The term includes an approved program.

"National pretreatment standard," "pretreatment standard," or "standard," when used in Part VII (9 VAC 25-31-730 et seq.) of this chapter, means any regulation containing pollutant discharge limits promulgated by the EPA in accordance with § 307(b) and (c) of the CWA, which applies to industrial users. This term includes prohibitive discharge limits established pursuant to 9 VAC 25-31-770.

"New discharger" means any building, structure, facility, or installation:

1. From which there is or may be a discharge of pollutants;

2. That did not commence the discharge of pollutants at a particular site prior to August 13, 1979;

3. Which is not a new source; and

4. Which has never received a finally effective VPDES permit for discharges at that site.

This definition includes an indirect discharger which commences discharging into surface waters after August 13, 1979. It also includes any existing mobile point source (other than an offshore or coastal oil and gas exploratory drilling rig or a coastal oil and gas developmental drilling rig) such as a seafood processing rig, seafood processing vessel, or aggregate plant, that begins discharging at a site for which it does not have a permit; and any offshore or coastal mobile oil and gas exploratory drilling rig or coastal mobile oil and gas developmental drilling rig that commences the discharge of pollutants after August 13, 1979.

"New source," except when used in Part VII of this chapter, means any building, structure, facility, or installation from which there is or may be a discharge of pollutants, the construction of which commenced:

(a) After promulgation of standards of performance under § 306 of the CWA which are applicable to such source; or

(b) After proposal of standards of performance in accordance with § 306 of the CWA which are applicable to such source, but only if the standards are promulgated in accordance with § 306 of the CWA within 120 days of their proposal.

"New source," when used in Part VII of this chapter, means any building, structure, facility, or installation from which there is or may be a discharge of pollutants, the construction of which commenced after the publication of proposed pretreatment standards under § 307(c) of the CWA which will be applicable to such source if such standards are thereafter promulgated in accordance with that section, provided that:

1. a. The building, structure, facility or installation is constructed at a site at which no other source is located;

b. The building, structure, facility, or installation totally replaces the process or production equipment that causes the discharge of pollutants at an existing source; or

c. The production of wastewater generating processes of the building, structure, facility, or installation are substantially independent of an existing source at the same site. In determining whether these are substantially independent, factors such as the extent to which the new facility is integrated with the existing plant, and the extent to which the new facility is engaged in the same general type of activity as the existing source should be considered.

2. Construction on a site at which an existing source is located results in a modification rather than a new source if the construction does not create a new building, structure, facility, or installation meeting the criteria of subdivision 1 b or c of this definition but otherwise alters, replaces, or adds to existing process or production equipment.

3. Construction of a new source as defined under this subdivision has commenced if the owner or operator has:

a. Begun, or caused to begin, as part of a continuous on-site construction program:

(1) Any placement, assembly, or installation of facilities or equipment; or

(2) Significant site preparation work including clearing, excavation, or removal of existing buildings, structures, or facilities which is necessary for the placement, assembly, or installation of new source facilities or equipment; or

b. Entered into a binding contractual obligation for the purchase of facilities or equipment which are intended to be used in its operation within a reasonable time. Options to purchase or contracts which can be terminated or modified without substantial loss, and contracts for feasibility, engineering, and design studies do not constitute a contractual obligation under this subdivision.

"Outfall," when used in reference to municipal separate storm sewers, means a point source at the point where a municipal separate storm sewer discharges to surface waters and does not include open conveyances connecting two municipal separate storm sewers, or pipes, tunnels or other conveyances which connect segments of the same stream or other surface waters and are used to convey surface waters.

"Overburden" means any material of any nature, consolidated or unconsolidated, that overlies a mineral deposit, excluding topsoil or similar naturally occurring surface materials that are not disturbed by mining operations.

"Owner" means the Commonwealth or any of its political subdivisions including, but not limited to, sanitation district commissions and authorities, and any public or private institution, corporation, association, firm or company organized or existing under the laws of this or any other state or country, or any officer or agency of the United States, or any person or group of persons acting individually or as a group that owns, operates, charters, rents, or otherwise exercises control over or is responsible for any actual or potential discharge of sewage, industrial wastes, or other wastes to state waters, or any facility or operation that has the capability to alter the physical, chemical, or biological properties of state waters in contravention of § 62.1-44.5 of the Code of Virginia.

"Owner" or "operator" means the owner or operator of any facility or activity subject to regulation under the VPDES program.

"Pass through" means a discharge which exits the POTW into state waters in quantities or concentrations which, alone or in conjunction with a discharge or discharges from other sources, is a cause of a violation of any requirement of the POTW's VPDES permit (including an increase in the magnitude or duration of a violation).

"Permit" means an authorization, certificate, license, or equivalent control document issued by the board to implement the requirements of this chapter. Permit includes a VPDES general permit. Permit does not include any permit which has not yet been the subject of final agency action, such as a draft permit or a proposed permit.

"Person" means an individual, corporation, partnership, association, a governmental body, a municipal corporation, or any other legal entity.

"Point source" means any discernible, confined, and discrete conveyance including, but not limited to, any pipe, ditch, channel, tunnel, conduit, well, discrete fissure, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel, or other floating craft from which pollutants are or may be discharged. This term does not include return flows from irrigated agriculture or agricultural storm water run-off.

"Pollutant" means dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, sewage sludge, munitions, chemical wastes, biological materials, radioactive materials (except those regulated under the Atomic Energy Act of 1954, as amended (42 USC § 2011 et seq.)), heat, wrecked or discarded equipment, rock, sand, cellar dirt and industrial, municipal, and agricultural waste discharged into water. It does not mean:

1. Sewage from vessels; or

2. Water, gas, or other material which is injected into a well to facilitate production of oil or gas, or water derived in association with oil and gas production and disposed of in a well if the well used either to facilitate production or for disposal purposes is approved by the board, and if the board determines that the injection or disposal will not result in the degradation of ground or surface water resources.

"POTW treatment plant" means that portion of the POTW which is designed to provide treatment (including recycling and reclamation) of municipal sewage and industrial waste.

"Pretreatment" means the reduction of the amount of pollutants, the elimination of pollutants, or the alteration of the nature of pollutant properties in wastewater prior to or in lieu of discharging or otherwise introducing such pollutants into a POTW. The reduction or alteration may be obtained by physical, chemical or biological processes, process changes or by other means, except as prohibited in Part VII of this chapter. Appropriate pretreatment technology includes control equipment, such as equalization tanks or facilities, for protection against surges or slug loadings that might interfere with or otherwise be incompatible with the POTW. However, where wastewater from a regulated process is mixed in an equalization facility with unregulated wastewater or with wastewater from another regulated process, the effluent from the equalization facility must meet an adjusted pretreatment limit calculated in accordance with Part VII of this chapter.

"Pretreatment requirements" means any requirements arising under Part VII of this chapter including the duty to allow or carry out inspections, entry or monitoring activities; any rules, regulations, or orders issued by the owner of a publicly owned treatment works; or any reporting requirements imposed by the owner of a publicly owned treatment works or by the regulations of the board. Pretreatment requirements do not include the requirements of a national pretreatment standard.

"Primary industry category" means any industry category listed in the NRDC settlement agreement (Natural Resources Defense Council et al. v. Train, 8 E.R.C. 2120 (D.D.C. 1976), modified 12 E.R.C. 1833 (D.D.C. 1979)); also listed in 40 CFR Part 122 Appendix A (1999 2000).

"Privately owned treatment works (PVOTW)" means any device or system which is (i) used to treat wastes from any facility whose operator is not the operator of the treatment works and (ii) not a POTW.

"Process wastewater" means any water which, during manufacturing or processing, comes into direct contact with or results from the production or use of any raw material, intermediate product, finished product, byproduct, or waste product.

"Proposed permit" means a VPDES permit prepared after the close of the public comment period (and, when applicable, any public hearing and administrative appeals) which is sent to EPA for review before final issuance. A proposed permit is not a draft permit.

"Publicly owned treatment works (POTW)" means a treatment works as defined by § 212 of the CWA, which is owned by a state or municipality (as defined by § 502(4) of the CWA). This definition includes any devices and systems used in the storage, treatment, recycling, and reclamation of municipal sewage or industrial wastes of a liquid nature. It also includes sewers, pipes, and other conveyances only if they convey wastewater to a POTW treatment plant. The term also means the municipality as defined in § 502(4) of the CWA, which has jurisdiction over the indirect discharges to and the discharges from such a treatment works.

"Recommencing discharger" means a source which recommences discharge after terminating operations.

"Regional administrator" means the Regional Administrator of Region III of the Environmental Protection Agency or the authorized representative of the regional administrator.

"Rock crushing and gravel washing facilities" means facilities which process crushed and broken stone, gravel, and riprap.

"Run-off coefficient" means the fraction of total rainfall that will appear at a conveyance as run-off.

"Schedule of compliance" means a schedule of remedial measures included in a permit, including an enforceable sequence of interim requirements (for example, actions, operations, or milestone events) leading to compliance with the law, the CWA and regulations.

"Secondary industry category" means any industry category which is not a primary industry category.

"Secretary" means the Secretary of the Army, acting through the Chief of Engineers.

"Septage" means the liquid and solid material pumped from a septic tank, cesspool, or similar domestic sewage treatment system, or a holding tank when the system is cleaned or maintained.

"Severe property damage" means substantial physical damage to property, damage to the treatment facilities which causes them to become inoperable, or substantial and permanent loss of natural resources which can reasonably be expected to occur in the absence of a bypass. Severe property damage does not mean economic loss caused by delays in production.

"Sewage from vessels" means human body wastes and the wastes from toilets and other receptacles intended to receive or retain body wastes that are discharged from vessels and regulated under § 312 of CWA.

"Sewage sludge" means any solid, semisolid, or liquid residue removed during the treatment of municipal waste water or domestic sewage. Sewage sludge includes, but is not limited to, solids removed during primary, secondary, or advanced waste water treatment, scum, domestic septage, portable toilet pumpings, type III marine sanitation device pumpings, and sewage sludge products. Sewage sludge does not include grit or screenings, or ash generated during the incineration of sewage sludge.

"Sewage sludge use" or "disposal practice" means the collection, storage, treatment, transportation, processing, monitoring, use, or disposal of sewage sludge.

"Significant industrial user," except as provided in subdivision 3 of this definition, means:

1. All industrial users subject to Categorical Pretreatment Standards under 9 VAC 25-31-780 and incorporated by reference in 9 VAC 25-31-30; and

2. Any other industrial user that: discharges an average of 25,000 gallons per day or more of process wastewater to the POTW (excluding sanitary, noncontact cooling and boiler blowdown wastewater); contributes a process wastestream which makes up 5.0% or more of the average dry weather hydraulic or organic capacity of the POTW treatment plant; or is designated as such by the Control Authority, as defined in 9 VAC 25-31-840 A, on the basis that the industrial user has a reasonable potential for adversely affecting the POTW's operation or for violating any pretreatment standard or requirement.

3. Upon a finding that an industrial user meeting the criteria in subdivision 2 of this definition has no reasonable potential for adversely affecting the POTW's operation or for violating any pretreatment standard or requirement, the control authority may at any time, on its own initiative or in response to a petition received from an industrial user or POTW, and in accordance with Part VII (9 VAC 25-31-730 et seq.) of this chapter, determine that such industrial user is not a significant industrial user.

"Significant materials" means, but is not limited to: raw materials; fuels; materials such as solvents, detergents, and plastic pellets; finished materials such as metallic products; raw materials used in food processing or production; hazardous substances designated under § 101(14) of CERCLA (42 USC § 9601 (14)); any chemical the facility is required to report pursuant to§ 313 of Title III of SARA (42 USC § 11023); fertilizers; pesticides; and waste products such as ashes, slag and sludge that have the potential to be released with storm water discharges.

"Silvicultural point source" means any discernible, confined and discrete conveyance related to rock crushing, gravel washing, log sorting, or log storage facilities which are operated in connection with silvicultural activities and from which pollutants are discharged into surface waters. The term does not include nonpoint source silvicultural activities such as nursery operations, site preparation, reforestation and subsequent cultural treatment, thinning, prescribed burning, pest and fire control, harvesting operations, surface drainage, or road construction and maintenance from which there is natural run-off. However, some of these activities (such as stream crossing for roads) may involve point source discharges of dredged or fill material which may require a CWA § 404 permit.

"Site" means the land or water area where any facility or activity is physically located or conducted, including adjacent land used in connection with the facility or activity.

"Sludge-only facility" means any treatment works treating domestic sewage whose methods of sewage sludge use or disposal are subject to regulations promulgated pursuant to the law and § 405(d) of the CWA, and is required to obtain a VPDES permit.

"Small municipal separate storm sewer system" or "small MS4" means all separate storm sewers that are (i) owned or operated by the United States, a state, city, town, borough, county, parish, district, association, or other public body (created by or pursuant to state law) having jurisdiction over disposal of sewage, industrial wastes, storm water, or other wastes, including special districts under state law such as a sewer district, flood control district or drainage district, or similar entity, or an Indian tribe or an authorized Indian tribal organization, or a designated and approved management agency under § 208 of the CWA that discharges to surface waters and (ii) not defined as "large" or "medium" municipal separate storm sewer systems or designated under 9 VAC 25-31-120 A 1. This term includes systems similar to separate storm sewer systems n municipalities, such as systems at military bases, large hospital or prison complexes, and highway and other thoroughfares. The term does not include separate storm sewers in very discrete areas, such as individual buildings.

"Source" means any building, structure, facility, or installation from which there is or may be a discharge of pollutants.

"Standards for sewage sludge use or disposal" means the regulations promulgated pursuant to the law and § 405(d) of the CWA which govern minimum requirements for sludge quality, management practices, and monitoring and reporting applicable to sewage sludge or the use or disposal of sewage sludge by any person.

"State" means the Commonwealth of Virginia.

"State/EPA agreement" means an agreement between the regional administrator and the state which coordinates EPA and state activities, responsibilities and programs including those under the CWA and the law.

"State Water Control Law" or "Law" means Chapter 3.1 (§ 62.1-44.2 et seq.) of Title 62.1 of the Code of Virginia.

"Storm water" means storm water run-off, snow melt run-off, and surface run-off and drainage.

"Storm water discharge associated with industrial activity" means the discharge from any conveyance which is used for collecting and conveying storm water and which is directly related to manufacturing, processing or raw materials storage areas at an industrial plant. The term does not include discharges from facilities or activities excluded from the VPDES program. For the categories of industries identified in this definition, the term includes, but is not limited to, storm water discharges from industrial plant yards; immediate access roads and rail lines used or traveled by carriers of raw materials, manufactured products, waste material, or by-products used or created by the facility; material handling sites; refuse sites; sites used for the application or disposal of process waste waters; sites used for the storage and maintenance of material handling equipment; sites used for residual treatment, storage, or disposal; shipping and receiving areas; manufacturing buildings; storage areas (including tank farms) for raw materials, and intermediate and final products; and areas where industrial activity has taken place in the past and significant materials remain and are exposed to storm water. For the purposes of this definition, material handling activities include the storage, loading and unloading, transportation, or conveyance of any raw material, intermediate product, final product, by-product, or waste product. The term excludes areas located on plant lands separate from the plant's industrial activities, such as office buildings and accompanying parking lots as long as the drainage from the excluded areas is not mixed with storm water drained from the above described areas. Industrial facilities (including industrial facilities that are federally, state, or municipally owned or operated that meet the description of the facilities listed in subdivisions 1 through 11 of this definition) include those facilities designated under the provisions of 9 VAC 25-31-120 A 1 e. The following categories of facilities are considered to be engaging in industrial activity for purposes of this subsection:

1. Facilities subject to storm water effluent limitations guidelines, new source performance standards, or toxic pollutant effluent standards (except facilities with toxic pollutant effluent standards which are exempted under category 11);

2. Facilities classified as Standard Industrial Classifications 24 (except 2434), 26 (except 265 and 267), 28 (except 283), 29, 311, 32 (except 323), 33, 3441, 373;

3. Facilities classified as Standard Industrial Classifications 10 through 14 (mineral industry) including active or inactive mining operations (except for areas of coal mining operations no longer meeting the definition of a reclamation area under 40 CFR 434.11(1) (1999 2000) because the performance bond issued to the facility by the appropriate SMCRA authority has been released, or except for areas of non-coal mining operations which have been released from applicable state or federal reclamation requirements after December 17, 1990) and oil and gas exploration, production, processing, or treatment operations, or transmission facilities that discharge storm water contaminated by contact with or that has come into contact with, any overburden, raw material, intermediate products, finished products, by-products, or waste products located on the site of such operations; (inactive mining operations are mining sites that are not being actively mined, but which have an identifiable owner/operator; inactive mining sites do not include sites where mining claims are being maintained prior to disturbances associated with the extraction, beneficiation, or processing of mined materials, nor sites where minimal activities are undertaken for the sole purpose of maintaining a mining claim);

4. Hazardous waste treatment, storage, or disposal facilities, including those that are operating under interim status or a permit under Subtitle C of RCRA (42 USC § 6901 et seq.);

5. Landfills, land application sites, and open dumps that receive or have received any industrial wastes (waste that is received from any of the facilities described under this subsection) including those that are subject to regulation under Subtitle D of RCRA (42 USC § 6901 et seq.);

6. Facilities involved in the recycling of materials, including metal scrapyards, battery reclaimers, salvage yards, and automobile junkyards, including but limited to those classified as Standard Industrial Classification 5015 and 5093;

7. Steam electric power generating facilities, including coal handling sites;

8. Transportation facilities classified as Standard Industrial Classifications 40, 41, 42 (except 4221-25), 43, 44, 45, and 5171 which have vehicle maintenance shops, equipment cleaning operations, or airport deicing operations. Only those portions of the facility that are either involved in vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication), equipment cleaning operations, airport deicing operations, or which are otherwise identified under subdivisions 1 through 7 or 9 through 11 of this definition are associated with industrial activity;

9. Treatment works treating domestic sewage or any other sewage sludge or wastewater treatment device or system, used in the storage treatment, recycling, and reclamation of municipal or domestic sewage, including land dedicated to the disposal of sewage sludge that are located within the confines of the facility, with a design flow of 1.0 mgd or more, or required to have an approved pretreatment program. Not included are farm lands, domestic gardens or lands used for sludge management where sludge is beneficially reused and which are not physically located in the confines of the facility, or areas that are in compliance with § 405 of the CWA;

10. Construction activity including clearing, grading and excavation activities except: operations that result in the disturbance of less than five acres of total land area. Construction activity also includes the disturbance of less than five acres of total land area that is part of a larger common plan of development or sale if the larger common plan will ultimately disturb five acres or more; and

11. Facilities under Standard Industrial Classifications 20, 21, 22, 23, 2434, 25, 265, 267, 27, 283, 30, 31 (except 311), 323, 34 (except 3441), 35, 36, 37 (except 373), 38, 39, and 4221--25.

"Storm water discharge associated with small construction activity" means the discharge of storm water from:

1. Construction activities including clearing, grading, and excavating that result in land disturbance of equal to or greater than one acre and less than five acres. Small construction activity also includes the disturbance of less than one acre of total land area that is part of a larger common plan of development or sale if the larger common plan will ultimately disturb equal to or greater than one and less than five acres. Small construction activity does not include routine maintenance that is performed to maintain the original line and grade, hydraulic capacity, or original purpose of the facility. The board may waive the otherwise applicable requirements in a general permit for a storm water discharge from construction activities that disturb less than five acres where storm water controls are not needed based on a "total maximum daily load" (TMDL) approved or established by EPA that addresses the pollutant(s) of concern or, for nonimpaired waters that do not require TMDLs, an equivalent analysis that determines allocations for small construction sites for the pollutant(s) of concern or that determines that such allocations are not needed to protect water quality based on consideration of existing in-stream concentrations, expected growth in pollutant contributions from all sources, and a margin of safety. For the purpose of this subdivision, the pollutant(s) of concern include sediment or a parameter that addresses sediment (such as total suspended solids, turbidity or siltation) and any other pollutant that has been identified as a cause of impairment of any water body that will receive a discharge from the construction activity. The operator must certify to the board that the construction activity will take place, and storm water discharges will occur, within the drainage area addressed by the TMDL or equivalent analysis.

2. Any other construction activity designated by the either the board or the EPA regional administrator, based on the potential for contribution to a violation of a water quality standard or for significant contribution of pollutants to surface waters.

"Submission" means: (i) a request by a POTW for approval of a pretreatment program to the regional administrator or the director; (ii) a request by POTW to the regional administrator or the director for authority to revise the discharge limits in categorical pretreatment standards to reflect POTW pollutant removals; or (iii) a request to the EPA by the director for approval of the Virginia pretreatment program.

"Surface waters" means:

1. All waters which are currently used, were used in the past, or may be susceptible to use in interstate or foreign commerce, including all waters which are subject to the ebb and flow of the tide;

2. All interstate waters, including interstate wetlands;

3. All other waters such as intrastate lakes, rivers, streams (including intermittent streams), mudflats, sandflats, wetlands, sloughs, prairie potholes, wet meadows, playa lakes, or natural ponds the use, degradation, or destruction of which would affect or could affect interstate or foreign commerce including any such waters:

a. Which are or could be used by interstate or foreign travelers for recreational or other purposes;

b. From which fish or shellfish are or could be taken and sold in interstate or foreign commerce; or

c. Which are used or could be used for industrial purposes by industries in interstate commerce.

4. All impoundments of waters otherwise defined as surface waters under this definition;

5. Tributaries of waters identified in subdivisions 1 through 4 of this definition;

6. The territorial sea; and

7. Wetlands adjacent to waters (other than waters that are themselves wetlands) identified in subdivisons 1 through 6 of this definition.

Waste treatment systems, including treatment ponds or lagoons designed to meet the requirements of the CWA and the law, are not surface waters. Surface waters do not include prior converted cropland. Notwithstanding the determination of an area's status as prior converted cropland by any other agency, for the purposes of the Clean Water Act, the final authority regarding the Clean Water Act jurisdiction remains with the EPA.

"Total dissolved solids" means the total dissolved (filterable) solids as determined by use of the method specified in 40 CFR Part 136 (1999 2000).

"Toxic pollutant" means any pollutant listed as toxic under § 307(a)(1) of the CWA or, in the case of sludge use or disposal practices, any pollutant identified in regulations implementing § 405(d) of the CWA.

"Treatment facility" means only those mechanical power driven devices necessary for the transmission and treatment of pollutants (e.g., pump stations, unit treatment processes).

"Treatment works" means any devices and systems used for the storage, treatment, recycling or reclamation of sewage or liquid industrial waste, or other waste or necessary to recycle or reuse water, including intercepting sewers, outfall sewers, sewage collection systems, individual systems, pumping, power and other equipment and their appurtenances; extensions, improvements, remodeling, additions, or alterations thereof; and any works, including land that will be an integral part of the treatment process or is used for ultimate disposal of residues resulting from such treatment; or any other method or system used for preventing, abating, reducing, storing, treating, separating, or disposing of municipal waste or industrial waste, including waste in combined sewer water and sanitary sewer systems.

"Treatment works treating domestic sewage" means a POTW or any other sewage sludge or waste water treatment devices or systems, regardless of ownership (including federal facilities), used in the storage, treatment, recycling, and reclamation of municipal or domestic sewage, including land dedicated for the disposal of sewage sludge. This definition does not include septic tanks or similar devices. For purposes of this definition, domestic sewage includes waste and waste water from humans or household operations that are discharged to or otherwise enter a treatment works.

"TWTDS" means treatment works treating domestic sewage.

"Uncontrolled sanitary landfill" means a landfill or open dump, whether in operation or closed, that does not meet the requirements for run-on or run-off controls established pursuant to subtitle D of the Solid Waste Disposal Act (42 USC § 6901 et seq.).

"Upset," except when used in Part VII of this chapter, means an exceptional incident in which there is unintentional and temporary noncompliance with technology based permit effluent limitations because of factors beyond the reasonable control of the permittee. An upset does not include noncompliance to the extent caused by operational error, improperly designed treatment facilities, inadequate treatment facilities, lack of preventive maintenance, or careless or improper operation.

"Variance" means any mechanism or provision under §§ 301 or 316 of the CWA or under 40 CFR Part 125 (1999 2000), or in the applicable effluent limitations guidelines which allows modification to or waiver of the generally applicable effluent limitation requirements or time deadlines of the CWA. This includes provisions which allow the establishment of alternative limitations based on fundamentally different factors or on §§ 301(c), 301(g), 301(h), 301(i), or 316(a) of the CWA.

"Virginia Pollutant Discharge Elimination System (VPDES) permit" means a document issued by the board pursuant to this chapter authorizing, under prescribed conditions, the potential or actual discharge of pollutants from a point source to surface waters and the use or disposal of sewage sludge. Under the approved state program, a VPDES permit is equivalent to an NPDES permit.

"VPDES application" or "application" means the standard form or forms, including any additions, revisions or modifications to the forms, approved by the administrator and the board for applying for a VPDES permit.

"Wastewater," when used in Part VII of this chapter, means liquid and water carried industrial wastes and domestic sewage from residential dwellings, commercial buildings, industrial and manufacturing facilities and institutions, whether treated or untreated, which are contributed to the POTW.

"Wastewater works operator" means any individual employed or appointed by any owner, and who is designated by such owner to be the person in responsible charge, such as a supervisor, a shift operator, or a substitute in charge, and whose duties include testing or evaluation to control wastewater works operations. Not included in this definition are superintendents or directors of public works, city engineers, or other municipal or industrial officials whose duties do not include the actual operation or direct supervision of wastewater works.

"Water Management Division Director" means the director of the Region III Water Management Division of the Environmental Protection Agency or this person's delegated representative.

"Wetlands" means those areas that are inundated or saturated by surface or groundwater at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions. Wetlands generally include swamps, marshes, bogs, and similar areas.

"Whole effluent toxicity" means the aggregate toxic effect of an effluent measured directly by a toxicity test.

9 VAC 25-31-30. Federal effluent guidelines.

A. The following federal regulations are hereby incorporated by reference:

Aluminum Forming 40 CFR Part 467 (1999 2000)

Asbestos Manufacturing 40 CFR Part 427 (1999 2000)

Battery Manufacturing 40 CFR Part 461 (1999 2000)

Canned and Preserved Fruits and Vegetables 40 CFR Part 407 (1999 2000)

Canned and Preserved Seafood 40 CFR Part 408 (1999 2000)

Carbon Black Manufacturing 40 CFR Part 458 (1999 2000)

Cement Manufacturing 40 CFR Part 411 (1999 2000)

Centralized Waste Treatment 40 CFR Part 437 (2000)

Coal Mining 40 CFR Part 434 (1999 2000)

Coil Coating 40 CFR Part 465 (1999 2000)

Copper Forming 40 CFR Part 468 (1999 2000)

Dairy Products 40 CFR Part 405 (1999 2000)

Electrical and Electronic Components 40 CFR Part 469 (1999 2000)

Electroplating 40 CFR Part 413 (1999 2000)

Explosives Manufacturing 40 CFR Part 457 (1999 2000)

Feedlots 40 CFR Part 412 (1999 2000)

Ferroalloy Manufacturing 40 CFR Part 424 (1999 2000)

Fertilizer Manufacturing 40 CFR Part 418 (1999 2000)

Glass Manufacturing 40 CFR Part 426 (1999 2000)

Grain Mills 40 CFR Part 406 (1999 2000)

Gum and Wood Chemicals Manufacturing 40 CFR Part 454 (1999 2000)

Hospitals 40 CFR Part 460 (1999 2000)

Ink Formulating 40 CFR Part 447 (1999 2000)

Inorganic Chemicals Manufacturing 40 CFR Part 415 (1999 2000)

Iron and Steel Manufacturing 40 CFR Part 420 (1999 2000)

Landfills 40 CFR Part 445 (2000)

Leather Tanning and Finishing 40 CFR Part 425 (1999 2000)

Meat Products 40 CFR Part 432 (1999 2000)

Metal Finishing 40 CFR Part 433 (1999 2000)

Metal Molding and Casting 40 CFR Part 464 (1999 2000)

Mineral Mining and Processing 40 CFR Part 436 (1999 2000)

Nonferrous Metals 40 CFR Part 421 (1999 2000)

Nonferrous Metal Forming 40 CFR Part 471 (1999 2000)

Oil and Gas Extraction 40 CFR Part 435 (1999 2000)

Ore Mining and Dressing 40 CFR Part 440 (1999 2000)

Organic Chemicals, Plastics and Synthetic Fibers 40 CFR Part 414 (1999 2000)

Paint Formulating 40 CFR Part 446 (1999 2000)

Paving and Roofing Materials 40 CFR Part 443 (1999 2000)

Pesticide Chemicals 40 CFR Part 455 (1999 2000)

Petroleum Refining 40 CFR Part 419 (1999 2000)

Pharmaceutical Manufacturing 40 CFR Part 439 (1999 2000)

Phosphate Manufacturing 40 CFR Part 422 (1999 2000)

Photographic Processing 40 CFR Part 459 (1999 2000)

Plastics Molding and Forming 40 CFR Part 463 (1999 2000)

Porcelain Enameling 40 CFR Part 466 (1999 2000)

Pulp, Paper and Paperboard 40 CFR Part 430 (1999 2000)

Rubber Processing 40 CFR Part 428 (1999 2000)

Secondary Treatment 40 CFR Part 133 (1999 2000)

Soaps and Detergents 40 CFR Part 417 (1999 2000)

Steam Electric Power Generation 40 CFR Part 423 (1999 2000)

Sugar Processing 40 CFR Part 409 (1999 2000)

Textile Mills 40 CFR Part 410 (1999 2000)

Timber Products 40 CFR Part 429 (1999 2000)

Toxic Pollutant Effluent Standards 40 CFR Part 129 (1999 2000)

Transportation Equipment Cleaning 40 CFR Part 442 (2000)

Waste Combustors 40 CFR Part 444 (2000)

B. The director shall be responsible for identifying any subsequent changes in the regulations incorporated in the previous subsection or the adoption or the modification of any new national standard. Upon identifying any such federal change or adoption, the director shall initiate a regulation adopting proceedings by preparing and filing with the Registrar of Regulations the notice required by § 9-6.14:4.1 C 2.2-4006 A 4 (c) of the Code of Virginia or a notice of a public hearing pursuant to § 9-6.14:7.1 2.2-4007 C of the Code of Virginia.

9 VAC 25-31-40. Exclusions.

The following discharges do not require VPDES permits:

1. Any discharge of sewage from vessels, effluent from properly functioning marine engines, laundry, shower, and galley sink wastes, or any other discharge incidental to the normal operation of a vessel. This exclusion does not apply to rubbish, trash, garbage, or other such materials discharged overboard; nor to other discharges when the vessel is operating in a capacity other than as a means of transportation such as when used as an energy or mining facility, a storage facility or a seafood processing facility, or when secured to a storage facility or a seafood processing facility, or when secured to the bed of the ocean, contiguous zone or surface waters for the purpose of mineral or oil exploration or development.

2. Discharges of dredged or fill material into surface waters which are regulated under § 404 of the CWA.

3. The introduction of sewage, industrial wastes or other pollutants into publicly owned treatment works by indirect dischargers. Plans or agreements to switch to this method of disposal in the future do not relieve dischargers of the obligation to have and comply with permits until all discharges of pollutants to surface waters are eliminated. This exclusion does not apply to the introduction of pollutants to privately owned treatment works or to other discharges through pipes, sewers, or other conveyances owned by a state, municipality, or other party not leading to treatment works.

4. Any discharge in compliance with the instructions of an on-scene coordinator pursuant to 40 CFR Part 300 (1999 2000) (The National Oil and Hazardous Substances Pollution Contingency Plan) or 33 CFR 153.10(e) (1999 2000) (Pollution by Oil and Hazardous Substances).

5. Any introduction of pollutants from nonpoint source agricultural and silvicultural activities, including storm water run-off from orchards, cultivated crops, pastures, range lands, and forest lands, but not discharges from concentrated animal feeding operations, discharges from concentrated aquatic animal production facilities, discharges to aquaculture projects, and discharges from silvicultural point sources.

6. Return flows from irrigated agriculture.

7. Discharges into a privately owned treatment works, except as the board may otherwise require.

9 VAC 25-31-100. Application for a permit.

A. Duty to apply. Any person who discharges or proposes to discharge pollutants or who owns or operates a sludge-only facility whose sewage sludge use or disposal practice is regulated by 9 VAC 25-31-420 through 9 VAC 25-31-720 and who does not have an effective permit, except persons covered by general permits, excluded from the requirement for a permit by this chapter, or a user of a privately owned treatment works unless the board requires otherwise, shall submit a complete application to the department in accordance with this section.

B. Who applies. When a facility or activity is owned by one person but is operated by another person, it is the operator's duty to obtain a permit.

C. Time to apply.

1. Any person proposing a new discharge, shall submit an application at least 180 days before the date on which the discharge is to commence, unless permission for a later date has been granted by the board. Facilities proposing a new discharge of storm water associated with industrial activity shall submit an application 180 days before that facility commences industrial activity which may result in a discharge of storm water associated with that industrial activity. Storm water discharges from construction activities included in subdivision 10 of the definition of storm water associated with industrial activity and storm water discharges associated with small construction activities shall submit applications at least 90 days before the date on which construction is to commence. Different submittal dates may be required under the terms of applicable general permits. Persons proposing a new discharge are encouraged to submit their applications well in advance of the 90 or 180 day requirements to avoid delay. New discharges composed entirely of storm water, other than those dischargers identified in 9 VAC 25-31-120 A 1, shall apply for and obtain a permit according to the application requirements in 9 VAC 25-31-120 F.

2. All TWTDS whose sewage sludge use or disposal practices are regulated by 9 VAC 25-31-420 through 9 VAC 25-31-720 must submit permit applications according to the applicable schedule in subdivision 2 a or b of this subsection.

a. A TWTDS with a currently effective VPDES permit must submit a permit application at the time of its next VPDES permit renewal application. Such information must be submitted in accordance with subsection D of this section.

b. Any other TWTDS not addressed under subdivision 2 a of this subsection must submit the information listed in subdivisions 2 b (1) through (5) of this subsection to the department within one year after publication of a standard applicable to its sewage sludge use or disposal practice(s), using a form provided by the department. The board will determine when such TWTDS must submit a full permit application.

(1) The TWTDS's name, mailing address, location, and status as federal, state, private, public or other entity;

(2) The applicant's name, address, telephone number, and ownership status;

(3) A description of the sewage sludge use or disposal practices. Unless the sewage sludge meets the requirements of subdivision P 8 d of this section, the description must include the name and address of any facility where sewage sludge is sent for treatment or disposal and the location of any land application sites;

(4) Annual amount of sewage sludge generated, treated, used or disposed (estimated dry weight basis); and

(5) The most recent data the TWTDS may have on the quality of the sewage sludge.

c. Notwithstanding subdivision 2 a or b of this subsection, the board may require permit applications from any TWTDS at any time if the board determines that a permit is necessary to protect public health and the environment from any potential adverse effects that may occur from toxic pollutants in sewage sludge.

d. Any TWTDS that commences operations after promulgation of an applicable standard for sewage sludge use or disposal shall submit an application to the department at least 180 days prior to the date proposed for commencing operations.

D. Duty to reapply. All permittees with a currently effective permit shall submit a new application at least 180 days before the expiration date of the existing permit, unless permission for a later date has been granted by the board. The board shall not grant permission for applications to be submitted later than the expiration date of the existing permit.

E. Completeness.

1. The board shall not issue a permit before receiving a complete application for a permit except for VPDES general permits. An application for a permit is complete when the board receives an application form and any supplemental information which are completed to its satisfaction. The completeness of any application for a permit shall be judged independently of the status of any other permit application or permit for the same facility or activity.

2. Pursuant to § 62.1-44.15:3 of the Code of Virginia, no application for a VPDES permit to discharge sewage into or adjacent to state waters from a privately owned treatment works serving, or designed to serve, 50 or more residences shall be considered complete unless the applicant has provided the department with notification from the State Corporation Commission that the applicant is incorporated in the Commonwealth and is in compliance with all regulations and relevant orders of the State Corporation Commission.

3. No application for a VPDES permit to discharge sewage into any water impoundment located in the state shall be considered complete unless it contains notification from the governing body of the county, city, or town in which the discharge is to take place that the location and operation of the discharging facility are consistent with applicable ordinances adopted pursuant to Chapter 22 (§ 15.2-2200 et seq.) of Title 15.2 of the Code of Virginia. The governing body shall inform in writing the applicant and the board of the discharging facility's compliance or noncompliance not more than 45 days from receipt by the chief administrative officer, or his agent, of a request from the applicant. Should the governing body fail to provide such written notification within 45 days, the requirement for such notification is waived. The provisions of this subsection shall not apply to any discharge for which a valid VPDES permit had been issued prior to March 10, 2000.

4. A permit application shall not be considered complete if the board has waived application requirements under subsection J or P of this section and the EPA has disapproved the waiver application. If a waiver request has been submitted to the EPA more than 210 days prior to permit expiration and the EPA has not disapproved the waiver application 181 days prior to permit expiration, the permit application lacking the information subject to the waiver application shall be considered complete.

F. Information requirements. All applicants for VPDES permits, other than POTWs and other TWTDS, shall provide the following information to the department, using the application form provided by the department (additional information required of applicants is set forth in subsections G through K of this section).

1. The activities conducted by the applicant which require it to obtain a VPDES permit;

2. Name, mailing address, and location of the facility for which the application is submitted;

3. Up to four SIC codes which best reflect the principal products or services provided by the facility;

4. The operator's name, address, telephone number, ownership status, and status as federal, state, private, public, or other entity;

5. Whether the facility is located on Indian lands;

6. A listing of all permits or construction approvals received or applied for under any of the following programs:

a. Hazardous Waste Management program under RCRA (42 USC § 6921);

b. UIC program under SDWA (42 USC § 300h);

c. VPDES program under the CWA and the law;

d. Prevention of Significant Deterioration (PSD) program under the Clean Air Act (42 USC § 4701 et seq.);

e. Nonattainment program under the Clean Air Act (42 USC § 4701 et seq.);

f. National Emission Standards for Hazardous Pollutants (NESHAPS) preconstruction approval under the Clean Air Act (42 USC § 4701 et seq.);

g. Ocean dumping permits under the Marine Protection Research and Sanctuaries Act (33 USC § 14 et seq.);

h. Dredge or fill permits under § 404 of the CWA; and

i. Other relevant environmental permits, including state permits.

7. A topographic map (or other map if a topographic map is unavailable) extending one mile beyond the property boundaries of the source, depicting the facility and each of its intake and discharge structures; each of its hazardous waste treatment, storage, or disposal facilities; each well where fluids from the facility are injected underground; and those wells, springs, other surface water bodies, and drinking water wells listed in public records or otherwise known to the applicant in the map area; and

8. A brief description of the nature of the business.

G. Application requirements for existing manufacturing, commercial, mining, and silvicultural dischargers. Existing manufacturing, commercial mining, and silvicultural dischargers applying for VPDES permits, except for those facilities subject to the requirements of 9 VAC 25-31-100 H, shall provide the following information to the department, using application forms provided by the department.

1. The latitude and longitude of each outfall to the nearest 15 seconds and the name of the receiving water.

2. A line drawing of the water flow through the facility with a water balance, showing operations contributing wastewater to the effluent and treatment units. Similar processes, operations, or production areas may be indicated as a single unit, labeled to correspond to the more detailed identification under subdivision 3 of this subsection. The water balance must show approximate average flows at intake and discharge points and between units, including treatment units. If a water balance cannot be determined (for example, for certain mining activities), the applicant may provide instead a pictorial description of the nature and amount of any sources of water and any collection and treatment measures.

3. A narrative identification of each type of process, operation, or production area which contributes wastewater to the effluent for each outfall, including process wastewater, cooling water, and storm water run-off; the average flow which each process contributes; and a description of the treatment the wastewater receives, including the ultimate disposal of any solid or fluid wastes other than by discharge. Processes, operations, or production areas may be described in general terms (for example, dye-making reactor, distillation tower). For a privately owned treatment works, this information shall include the identity of each user of the treatment works. The average flow of point sources composed of storm water may be estimated. The basis for the rainfall event and the method of estimation must be indicated.

4. If any of the discharges described in subdivision 3 of this subsection are intermittent or seasonal, a description of the frequency, duration and flow rate of each discharge occurrence (except for storm water run-off, spillage or leaks).

5. If an effluent guideline promulgated under § 304 of the CWA applies to the applicant and is expressed in terms of production (or other measure of operation), a reasonable measure of the applicant's actual production reported in the units used in the applicable effluent guideline. The reported measure must reflect the actual production of the facility.

6. If the applicant is subject to any present requirements or compliance schedules for construction, upgrading or operation of waste treatment equipment, an identification of the abatement requirement, a description of the abatement project, and a listing of the required and projected final compliance dates.

7. a. Information on the discharge of pollutants specified in this subdivision (except information on storm water discharges which is to be provided as specified in 9 VAC 25-31-120). When quantitative data for a pollutant are required, the applicant must collect a sample of effluent and analyze it for the pollutant in accordance with analytical methods approved under 40 CFR Part 136 (1999 2000). When no analytical method is approved the applicant may use any suitable method but must provide a description of the method. When an applicant has two or more outfalls with substantially identical effluents, the board may allow the applicant to test only one outfall and report that the quantitative data also apply to the substantially identical outfalls. The requirements in e and f of this subdivision that an applicant must provide quantitative data for certain pollutants known or believed to be present do not apply to pollutants present in a discharge solely as the result of their presence in intake water; however, an applicant must report such pollutants as present. Grab samples must be used for pH, temperature, cyanide, total phenols, residual chlorine, oil and grease, fecal coliform, and fecal streptococcus. For all other pollutants, 24-hour composite samples must be used. However, a minimum of one grab sample may be taken for effluents from holding ponds or other impoundments with a retention period greater than 24 hours. In addition, for discharges other than storm water discharges, the board may waive composite sampling for any outfall for which the applicant demonstrates that the use of an automatic sampler is infeasible and that the minimum of four grab samples will be a representative sample of the effluent being discharged.

b. For storm water discharges, all samples shall be collected from the discharge resulting from a storm event that is greater than 0.1 inch and at least 72 hours from the previously measurable (greater than 0.1 inch rainfall) storm event. Where feasible, the variance in the duration of the event and the total rainfall of the event should not exceed 50% from the average or median rainfall event in that area. For all applicants, a flow-weighted composite shall be taken for either the entire discharge or for the first three hours of the discharge. The flow-weighted composite sample for a storm water discharge may be taken with a continuous sampler or as a combination of a minimum of three sample aliquots taken in each hour of discharge for the entire discharge or for the first three hours of the discharge, with each aliquot being separated by a minimum period of 15 minutes (applicants submitting permit applications for storm water discharges under 9 VAC 25-31-120 D may collect flow-weighted composite samples using different protocols with respect to the time duration between the collection of sample aliquots, subject to the approval of the board). However, a minimum of one grab sample may be taken for storm water discharges from holding ponds or other impoundments with a retention period greater than 24 hours. For a flow-weighted composite sample, only one analysis of the composite of aliquots is required. For storm water discharge samples taken from discharges associated with industrial activities, quantitative data must be reported for the grab sample taken during the first 30 minutes (or as soon thereafter as practicable) of the discharge for all pollutants specified in 9 VAC 25-31-120 C 1. For all storm water permit applicants taking flow-weighted composites, quantitative data must be reported for all pollutants specified in 9 VAC 25-31-120 except pH, temperature, cyanide, total phenols, residual chlorine, oil and grease, fecal coliform, and fecal streptococcus. The board may allow or establish appropriate site-specific sampling procedures or requirements, including sampling locations, the season in which the sampling takes place, the minimum duration between the previous measurable storm event and the storm event sampled, the minimum or maximum level of precipitation required for an appropriate storm event, the form of precipitation sampled (snow melt or rain fall), protocols for collecting samples under 40 CFR Part 136 (1999 2000), and additional time for submitting data on a case-by-case basis. An applicant is expected to know or have reason to believe that a pollutant is present in an effluent based on an evaluation of the expected use, production, or storage of the pollutant, or on any previous analyses for the pollutant. (For example, any pesticide manufactured by a facility may be expected to be present in contaminated storm water run-off from the facility.)

c. Every applicant must report quantitative data for every outfall for the following pollutants:

Biochemical oxygen demand (BOD5)

Chemical oxygen demand

Total organic carbon

Total suspended solids

Ammonia (as N)

Temperature (both winter and summer)

pH

d. The board may waive the reporting requirements for individual point sources or for a particular industry category for one or more of the pollutants listed in subdivision 7 c of this subsection if the applicant has demonstrated that such a waiver is appropriate because information adequate to support issuance of a permit can be obtained with less stringent requirements.

e. Each applicant with processes in one or more primary industry category (see 40 CFR Part 122 Appendix A (1999 2000)) contributing to a discharge must report quantitative data for the following pollutants in each outfall containing process wastewater:

(1) The organic toxic pollutants in the fractions designated in Table I of 40 CFR Part 122 Appendix D (1999 2000) for the applicant's industrial category or categories unless the applicant qualifies as a small business under subdivision 8 of this subsection. Table II of 40 CFR Part 122 Appendix D (1999 2000) lists the organic toxic pollutants in each fraction. The fractions result from the sample preparation required by the analytical procedure which uses gas chromatography/mass spectrometry. A determination that an applicant falls within a particular industrial category for the purposes of selecting fractions for testing is not conclusive as to the applicant's inclusion in that category for any other purposes; and

(2) The pollutants listed in Table III of 40 CFR Part 122 Appendix D (1999 2000) (the toxic metals, cyanide, and total phenols).

f. (1) Each applicant must indicate whether it knows or has reason to believe that any of the pollutants in Table IV of 40 CFR Part 122 Appendix D (1999 2000) (certain conventional and nonconventional pollutants) is discharged from each outfall. If an applicable effluent limitations guideline either directly limits the pollutant or, by its express terms, indirectly limits the pollutant through limitations on an indicator, the applicant must report quantitative data. For every pollutant discharged which is not so limited in an effluent limitations guideline, the applicant must either report quantitative data or briefly describe the reasons the pollutant is expected to be discharged.

(2) Each applicant must indicate whether it knows or has reason to believe that any of the pollutants listed in Table II or Table III of 40 CFR Part 122 Appendix D (1999 2000) (the toxic pollutants and total phenols) for which quantitative data are not otherwise required under subdivision 7 e of this subsection, is discharged from each outfall. For every pollutant expected to be discharged in concentrations of 10 ppb or greater the applicant must report quantitative data. For acrolein, acrylonitrile, 2,4 dinitrophenol, and 2-methyl-4,6 dinitrophenol, where any of these four pollutants are expected to be discharged in concentrations of 100 ppb or greater the applicant must report quantitative data. For every pollutant expected to be discharged in concentrations less than 10 ppb, or in the case of acrolein, acrylonitrile, 2,4 dinitrophenol, and 2-methyl-4,6 dinitrophenol, in concentrations less than 100 ppb, the applicant must either submit quantitative data or briefly describe the reasons the pollutant is expected to be discharged. An applicant qualifying as a small business under subdivision 8 of this subsection is not required to analyze for pollutants listed in Table II of 40 CFR Part 122 Appendix D (1999 2000) (the organic toxic pollutants).

g. Each applicant must indicate whether it knows or has reason to believe that any of the pollutants in Table V of 40 CFR Part 122 Appendix D (1999 2000) (certain hazardous substances and asbestos) are discharged from each outfall. For every pollutant expected to be discharged, the applicant must briefly describe the reasons the pollutant is expected to be discharged, and report any quantitative data it has for any pollutant.

h. Each applicant must report qualitative data, generated using a screening procedure not calibrated with analytical standards, for 2,3,7,8-tetrachlorodibenzo-p-dioxin (TCDD) if it:

(1) Uses or manufactures 2,4,5-trichlorophenoxy acetic acid (2,4,5,-T); 2-(2,4,5-trichlorophenoxy) propanoic acid (Silvex, 2,4,5,-TP); 2-(2,4,5-trichlorophenoxy) ethyl, 2,2-dichloropropionate (Erbon); O,O-dimethyl O-(2,4,5-trichlorophenyl) phosphorothioate (Ronnel); 2,4,5-trichlorophenol (TCP); or hexachlorophene (HCP); or

(2) Knows or has reason to believe that TCDD is or may be present in an effluent.

8. An applicant which qualifies as a small business under one of the following criteria is exempt from the requirements in subdivision 7 e (1) or 7 f (1) of this subsection to submit quantitative data for the pollutants listed in Table II of 40 CFR Part 122 Appendix D (1999 2000) (the organic toxic pollutants):

a. For coal mines, a probable total annual production of less than 100,000 tons per year; or

b. For all other applicants, gross total annual sales averaging less than $100,000 per year (in second quarter 1980 dollars).

9. A listing of any toxic pollutant which the applicant currently uses or manufactures as an intermediate or final product or by-product. The board may waive or modify this requirement for any applicant if the applicant demonstrates that it would be unduly burdensome to identify each toxic pollutant and the board has adequate information to issue the permit.

10. Reserved.

11. An identification of any biological toxicity tests which the applicant knows or has reason to believe have been made within the last three years on any of the applicant's discharges or on a receiving water in relation to a discharge.

12. If a contract laboratory or consulting firm performed any of the analyses required by subdivision 7 of this subsection, the identity of each laboratory or firm and the analyses performed.

13. In addition to the information reported on the application form, applicants shall provide to the board, at its request, such other information, including pertinent plans, specifications, maps and such other relevant information as may be required, in scope and details satisfactory to the board, as the board may reasonably require to assess the discharges of the facility and to determine whether to issue a VPDES permit. The additional information may include additional quantitative data and bioassays to assess the relative toxicity of discharges to aquatic life and requirements to determine the cause of the toxicity.

H. Application requirements for manufacturing, commercial, mining and silvicultural facilities which discharge only nonprocess wastewater. Except for storm water discharges, all manufacturing, commercial, mining and silvicultural dischargers applying for VPDES permits which discharge only nonprocess wastewater not regulated by an effluent limitations guideline or new source performance standard shall provide the following information to the department using application forms provided by the department:

1. Outfall number, latitude and longitude to the nearest 15 seconds, and the name of the receiving water;

2. Date of expected commencement of discharge;

3. An identification of the general type of waste discharged, or expected to be discharged upon commencement of operations, including sanitary wastes, restaurant or cafeteria wastes, or noncontact cooling water. An identification of cooling water additives (if any) that are used or expected to be used upon commencement of operations, along with their composition if existing composition is available;

4. a. Quantitative data for the pollutants or parameters listed below, unless testing is waived by the board. The quantitative data may be data collected over the past 365 days, if they remain representative of current operations, and must include maximum daily value, average daily value, and number of measurements taken. The applicant must collect and analyze samples in accordance with 40 CFR Part 136 (1999 2000). Grab samples must be used for pH, temperature, oil and grease, total residual chlorine, and fecal coliform. For all other pollutants, 24-hour composite samples must be used. New dischargers must include estimates for the pollutants or parameters listed below instead of actual sampling data, along with the source of each estimate. All levels must be reported or estimated as concentration and as total mass, except for flow, pH, and temperature.

(1) Biochemical oxygen demand (BOD5).

(2) Total suspended solids (TSS).

(3) Fecal coliform (if believed present or if sanitary waste is or will be discharged).

(4) Total residual chlorine (if chlorine is used).

(5) Oil and grease.

(6) Chemical oxygen demand (COD) (if noncontact cooling water is or will be discharged).

(7) Total organic carbon (TOC) (if noncontact cooling water is or will be discharged).

(8) Ammonia (as N).

(9) Discharge flow.

(10) pH.

(11) Temperature (winter and summer).

b. The board may waive the testing and reporting requirements for any of the pollutants or flow listed in subdivision 4 a of this subsection if the applicant submits a request for such a waiver before or with his application which demonstrates that information adequate to support issuance of a permit can be obtained through less stringent requirements.

c. If the applicant is a new discharger, he must submit the information required in subdivision 4 a of this subsection by providing quantitative data in accordance with that section no later than two years after commencement of discharge. However, the applicant need not submit testing results which he has already performed and reported under the discharge monitoring requirements of his VPDES permit.

d. The requirements of subdivisions 4 a and 4 c of this subsection that an applicant must provide quantitative data or estimates of certain pollutants do not apply to pollutants present in a discharge solely as a result of their presence in intake water. However, an applicant must report such pollutants as present. Net credit may be provided for the presence of pollutants in intake water if the requirements of 9 VAC 25-31-230 G are met;

5. A description of the frequency of flow and duration of any seasonal or intermittent discharge (except for storm water run-off, leaks, or spills);

6. A brief description of any treatment system used or to be used;

7. Any additional information the applicant wishes to be considered, such as influent data for the purpose of obtaining net credits pursuant to 9 VAC 25-31-230 G;

8. Signature of certifying official under 9 VAC 25-31-110; and

9. Pertinent plans, specifications, maps and such other relevant information as may be required, in scope and details satisfactory to the board.

I. Application requirements for new and existing concentrated animal feeding operations and aquatic animal production facilities. New and existing concentrated animal feeding operations and concentrated aquatic animal production facilities shall provide the following information to the department, using the application form provided by the department:

1. For concentrated animal feeding operations:

a. The type and number of animals in open confinement and housed under roof;

b. The number of acres used for confinement feeding; and

c. The design basis for the run-off diversion and control system, if one exists, including the number of acres of contributing drainage, the storage capacity, and the design safety factor; and

2. For concentrated aquatic animal production facilities:

a. The maximum daily and average monthly flow from each outfall;

b. The number of ponds, raceways, and similar structures;

c. The name of the receiving water and the source of intake water;

d. For each species of aquatic animals, the total yearly and maximum harvestable weight;

e. The calendar month of maximum feeding and the total mass of food fed during that month; and

f. Pertinent plans, specifications, maps and such other relevant information as may be required, in scope and details satisfactory to the board.

J. Application requirements for new and existing POTWs and treatment works treating domestic sewage. Unless otherwise indicated, all POTWs and other dischargers designated by the board must provide to the department, at a minimum, the information in this subsection using an application form provided by the department. Permit applicants must submit all information available at the time of permit application. The information may be provided by referencing information previously submitted to the department. The board may waive any requirement of this subsection if it has access to substantially identical information. The board may also waive any requirement of this subsection that is not of material concern for a specific permit, if approved by the regional administrator. The waiver request to the regional administrator must include the board's justification for the waiver. A regional administrator's disapproval of the board's proposed waiver does not constitute final agency action but does provide notice to the board and permit applicant(s) that the EPA may object to any board-issued permit issued in the absence of the required information.

1. All applicants must provide the following information:

a. Name, mailing address, and location of the facility for which the application is submitted;

b. Name, mailing address, and telephone number of the applicant and indication as to whether the applicant is the facility's owner, operator, or both;

c. Identification of all environmental permits or construction approvals received or applied for (including dates) under any of the following programs:

(1) Hazardous Waste Management program under the Resource Conservation and Recovery Act (RCRA), Subpart C;

(2) Underground Injection Control program under the Safe Drinking Water Act (SDWA);

(3) NPDES program under the Clean Water Act (CWA);

(4) Prevention of Significant Deterioration (PSD) program under the Clean Air Act;

(5) Nonattainment program under the Clean Air Act;

(6) National Emission Standards for Hazardous Air Pollutants (NESHAPS) preconstruction approval under the Clean Air Act;

(7) Ocean dumping permits under the Marine Protection Research and Sanctuaries Act;

(8) Dredge or fill permits under § 404 of the CWA; and

(9) Other relevant environmental permits, including state permits;

d. The name and population of each municipal entity served by the facility, including unincorporated connector districts. Indicate whether each municipal entity owns or maintains the collection system and whether the collection system is separate sanitary or combined storm and sanitary, if known;

e. Information concerning whether the facility is located in Indian country and whether the facility discharges to a receiving stream that flows through Indian country;

f. The facility's design flow rate (the wastewater flow rate the plant was built to handle), annual average daily flow rate, and maximum daily flow rate for each of the previous three years;

g. Identification of type(s) of collection system(s) used by the treatment works (i.e., separate sanitary sewers or combined storm and sanitary sewers) and an estimate of the percent of sewer line that each type comprises; and

h. The following information for outfalls to surface waters and other discharge or disposal methods:

(1) For effluent discharges to surface waters, the total number and types of outfalls (e.g., treated effluent, combined sewer overflows, bypasses, constructed emergency overflows);

(2) For wastewater discharged to surface impoundments:

(a) The location of each surface impoundment;

(b) The average daily volume discharged to each surface impoundment; and

(c) Whether the discharge is continuous or intermittent;

(3) For wastewater applied to the land:

(a) The location of each land application site;

(b) The size of each land application site, in acres;

(c) The average daily volume applied to each land application site, in gallons per day; and

(d) Whether land application is continuous or intermittent;

(4) For effluent sent to another facility for treatment prior to discharge:

(a) The means by which the effluent is transported;

(b) The name, mailing address, contact person, and phone number of the organization transporting the discharge, if the transport is provided by a party other than the applicant;

(c) The name, mailing address, contact person, phone number, and VPDES permit number (if any) of the receiving facility; and

(d) The average daily flow rate from this facility into the receiving facility, in millions of gallons per day; and

(5) For wastewater disposed of in a manner not included in subdivisions 1 h (1) through (4) of this subsection (e.g., underground percolation, underground injection):

(a) A description of the disposal method, including the location and size of each disposal site, if applicable;

(b) The annual average daily volume disposed of by this method, in gallons per day; and

(c) Whether disposal through this method is continuous or intermittent;

2. All applicants with a design flow greater than or equal to 0.1 mgd must provide the following information:

a. The current average daily volume of inflow and infiltration, in gallons per day, and steps the facility is taking to minimize inflow and infiltration;

b. A topographic map (or other map if a topographic map is unavailable) extending at least one mile beyond property boundaries of the treatment plant, including all unit processes, and showing:

(1) Treatment plant area and unit processes;

(2) The major pipes or other structures through which wastewater enters the treatment plant and the pipes or other structures through which treated wastewater is discharged from the treatment plant. Include outfalls from bypass piping, if applicable;

(3) Each well where fluids from the treatment plant are injected underground;

(4) Wells, springs, and other surface water bodies listed in public records or otherwise known to the applicant within 1/4 mile of the treatment works' property boundaries;

(5) Sewage sludge management facilities (including on-site treatment, storage, and disposal sites); and

(6) Location at which waste classified as hazardous under RCRA enters the treatment plant by truck, rail, or dedicated pipe;

c. Process flow diagram or schematic.

(1) A diagram showing the processes of the treatment plant, including all bypass piping and all backup power sources or redundancy in the system. This includes a water balance showing all treatment units, including disinfection, and showing daily average flow rates at influent and discharge points, and approximate daily flow rates between treatment units; and

(2) A narrative description of the diagram; and

d. The following information regarding scheduled improvements:

(1) The outfall number of each outfall affected;

(2) A narrative description of each required improvement;

(3) Scheduled or actual dates of completion for the following:

(a) Commencement of construction;

(b) Completion of construction;

(c) Commencement of discharge; and

(d) Attainment of operational level; and

(4) A description of permits and clearances concerning other federal or state requirements;

3. Each applicant must provide the following information for each outfall, including bypass points, through which effluent is discharged, as applicable:

a. The following information about each outfall:

(1) Outfall number;

(2) State, county, and city or town in which outfall is located;

(3) Latitude and longitude, to the nearest second;

(4) Distance from shore and depth below surface;

(5) Average daily flow rate, in million gallons per day;

(6) The following information for each outfall with a seasonal or periodic discharge:

(a) Number of times per year the discharge occurs;

(b) Duration of each discharge;

(c) Flow of each discharge; and

(d) Months in which discharge occurs; and

(7) Whether the outfall is equipped with a diffuser and the type (e.g., high-rate) of diffuser used.

b. The following information, if known, for each outfall through which effluent is discharged to surface waters:

(1) Name of receiving water;

(2) Name of watershed/river/stream system and United States Soil Conservation Service 14-digit watershed code;

(3) Name of State Management/River Basin and United States Geological Survey 8-digit hydrologic cataloging unit code; and

(4) Critical flow of receiving stream and total hardness of receiving stream at critical low flow (if applicable).

c. The following information describing the treatment provided for discharges from each outfall to surface waters:

(1) The highest level of treatment (e.g., primary, equivalent to secondary, secondary, advanced, other) that is provided for the discharge for each outfall and:

(a) Design biochemical oxygen demand (BOD5 or CBOD5) removal (percent);

(b) Design suspended solids (SS) removal (percent); and, where applicable,

(c) Design phosphorus (P) removal (percent);

(d) Design nitrogen (N) removal (percent); and

(e) Any other removals that an advanced treatment system is designed to achieve.

(2) A description of the type of disinfection used, and whether the treatment plant dechlorinates (if disinfection is accomplished through chlorination).

4. Effluent monitoring for specific parameters.

a. As provided in subdivisions 4 b through j of this subsection, all applicants must submit to the department effluent monitoring information for samples taken from each outfall through which effluent is discharged to surface waters, except for CSOs. The board may allow applicants to submit sampling data for only one outfall on a case-by-case basis, where the applicant has two or more outfalls with substantially identical effluent. The board may also allow applicants to composite samples from one or more outfalls that discharge into the same mixing zone.

b. All applicants must sample and analyze for the following pollutants:

(1) Biochemical oxygen demand (BOD5 or CBOD5);

(2) Fecal coliform;

(3) Design flow rate;

(4) pH;

(5) Temperature; and

(6) Total suspended solids.

c. All applicants with a design flow greater than or equal to 0.1 mgd must sample and analyze for the following pollutants:

(1) Ammonia (as N);

(2) Chlorine (total residual, TRC);

(3) Dissolved oxygen;

(4) Nitrate/Nitrite;

(5) Kjeldahl nitrogen;

(6) Oil and grease;

(7) Phosphorus; and

(8) Total dissolved solids.

Facilities that do not use chlorine for disinfection, do not use chlorine elsewhere in the treatment process, and have no reasonable potential to discharge chlorine in their effluent may delete chlorine.

d. All POTWs with a design flow rate equal to or greater than one million gallons per day, all POTWs with approved pretreatment programs or POTWs required to develop a pretreatment program, and other POTWs, as required by the board must sample and analyze for the pollutants listed in Table 2 of 40 CFR Part 122 Appendix J (1999 2000), and for any other pollutants for which the board or EPA have established water quality standards applicable to the receiving waters.

e. The board may require sampling for additional pollutants, as appropriate, on a case-by-case basis.

f. Applicants must provide data from a minimum of three samples taken within 4-1/2 years prior to the date of the permit application. Samples must be representative of the seasonal variation in the discharge from each outfall. Existing data may be used, if available, in lieu of sampling done solely for the purpose of this application. The board may require additional samples, as appropriate, on a case-by-case basis.

g. All existing data for pollutants specified in subdivisions 4 b through e of this subsection that is collected within 4-1/2 years of the application must be included in the pollutant data summary submitted by the applicant. If, however, the applicant samples for a specific pollutant on a monthly or more frequent basis, it is only necessary, for such pollutant, to summarize all data collected within one year of the application.

h. Applicants must collect samples of effluent and analyze such samples for pollutants in accordance with analytical methods approved under 40 CFR Part 136 (1999 2000) unless an alternative is specified in the existing VPDES permit. Grab samples must be used for pH, temperature, cyanide, total phenols, residual chlorine, oil and grease, and fecal coliform. For all other pollutants, 24-hour composite samples must be used. For a composite sample, only one analysis of the composite of aliquots is required.

i. The effluent monitoring data provided must include at least the following information for each parameter:

(1) Maximum daily discharge, expressed as concentration or mass, based upon actual sample values;

(2) Average daily discharge for all samples, expressed as concentration or mass, and the number of samples used to obtain this value;

(3) The analytical method used; and

(4) The threshold level (i.e., method detection limit, minimum level, or other designated method endpoints) for the analytical method used.

j. Unless otherwise required by the board, metals must be reported as total recoverable.

5. Effluent monitoring for whole effluent toxicity.

a. All applicants must provide an identification of any whole effluent toxicity tests conducted during the 4-1/2 years prior to the date of the application on any of the applicant's discharges or on any receiving water near the discharge.

b. As provided in subdivisions 5 c through i of this subsection, the following applicants must submit to the department the results of valid whole effluent toxicity tests for acute or chronic toxicity for samples taken from each outfall through which effluent is discharged to surface waters, except for combined sewer overflows:

(1) All POTWs with design flow rates greater than or equal to one million gallons per day;

(2) All POTWs with approved pretreatment programs or POTWs required to develop a pretreatment program;

(3) Other POTWs, as required by the board, based on consideration of the following factors:

(a) The variability of the pollutants or pollutant parameters in the POTW effluent (based on chemical-specific information, the type of treatment plant, and types of industrial contributors);

(b) The ratio of effluent flow to receiving stream flow;

(c) Existing controls on point or nonpoint sources, including total maximum daily load calculations for the receiving stream segment and the relative contribution of the POTW;

(d) Receiving stream characteristics, including possible or known water quality impairment, and whether the POTW discharges to a coastal water, or a water designated as an outstanding natural resource water; or

(e) Other considerations (including, but not limited to, the history of toxic impacts and compliance problems at the POTW) that the board determines could cause or contribute to adverse water quality impacts.

c. Where the POTW has two or more outfalls with substantially identical effluent discharging to the same receiving stream segment, the board may allow applicants to submit whole effluent toxicity data for only one outfall on a case-by-case basis. The board may also allow applicants to composite samples from one or more outfalls that discharge into the same mixing zone.

d. Each applicant required to perform whole effluent toxicity testing pursuant to subdivision 5 b of this subsection must provide:

(1) Results of a minimum of four quarterly tests for a year, from the year preceding the permit application; or

(2) Results from four tests performed at least annually in the 4-1/2 year period prior to the application, provided the results show no appreciable toxicity using a safety factor determined by the board.

e. Applicants must conduct tests with multiple species (no less than two species, e.g., fish, invertebrate, plant) and test for acute and or chronic toxicity, depending on the range of receiving water dilution. All The board recommends that applicants must conduct acute or chronic testing based on the following dilutions: (i) acute toxicity testing and applicants must conduct if the dilution of the effluent is greater than 100:1 at the edge of the mixing zone or (ii) chronic toxicity testing if the dilution of the effluent is less than or equal to 100:1 at the edge of the mixing zone.

f. Each applicant required to perform whole effluent toxicity testing pursuant to subdivision 5 b of this subsection must provide the number of chronic or acute whole effluent toxicity tests that have been conducted since the last permit reissuance.

g. Applicants must provide the results using the form provided by the department, or test summaries if available and comprehensive, for each whole effluent toxicity test conducted pursuant to subdivision 5 b of this subsection for which such information has not been reported previously to the department.

h. Whole effluent toxicity testing conducted pursuant to subdivision 5 b of this subsection must be conducted using methods approved under 40 CFR Part 136 (1999 2000), as directed by the board.

i. For whole effluent toxicity data submitted to the department within 4-1/2 years prior to the date of the application, applicants must provide the dates on which the data were submitted and a summary of the results.

j. Each POTW required to perform whole effluent toxicity testing pursuant to subdivision 5 b of this subsection must provide any information on the cause of toxicity and written details of any toxicity reduction evaluation conducted, if any whole effluent toxicity test conducted within the past 4-1/2 years revealed toxicity.

6. Applicants must submit the following information about industrial discharges to the POTW:

a. Number of significant industrial users (SIUs) and categorical industrial users (CIUs) discharging to the POTW; and

b. POTWs with one or more SIUs shall provide the following information for each SIU, as defined in 9 VAC 25-31-10, that discharges to the POTW:

(1) Name and mailing address;

(2) Description of all industrial processes that affect or contribute to the SIU's discharge;

(3) Principal products and raw materials of the SIU that affect or contribute to the SIU's discharge;

(4) Average daily volume of wastewater discharged, indicating the amount attributable to process flow and nonprocess flow;

(5) Whether the SIU is subject to local limits;

(6) Whether the SIU is subject to categorical standards and, if so, under which category and subcategory; and

(7) Whether any problems at the POTW (e.g., upsets, pass through, interference) have been attributed to the SIU in the past 4-1/2 years.

c. The information required in subdivisions 6 a and b of this subsection may be waived by the board for POTWs with pretreatment programs if the applicant has submitted either of the following that contain information substantially identical to that required in subdivisions 6 a and b of this subsection:

(1) An annual report submitted within one year of the application; or

(2) A pretreatment program.

7. Discharges from hazardous waste generators and from waste cleanup or remediation sites. POTWs receiving Resource Conservation and Recovery Act (RCRA), Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA), or RCRA Corrective Action wastes or wastes generated at another type of cleanup or remediation site must provide the following information:

a. If the POTW receives, or has been notified that it will receive, by truck, rail, or dedicated pipe any wastes that are regulated as RCRA hazardous wastes pursuant to 40 CFR Part 261 (1999 2000), the applicant must report the following:

(1) The method by which the waste is received (i.e., whether by truck, rail, or dedicated pipe); and

(2) The hazardous waste number and amount received annually of each hazardous waste.

b. If the POTW receives, or has been notified that it will receive, wastewaters that originate from remedial activities, including those undertaken pursuant to CERCLA and § 3004(u) or 3008(h) of RCRA, the applicant must report the following:

(1) The identity and description of the site or facility at which the wastewater originates;

(2) The identities of the wastewater's hazardous constituents, as listed in Appendix VIII of 40 CFR Part 261 (1999 2000), if known; and

(3) The extent of treatment, if any, the wastewater receives or will receive before entering the POTW.

c. Applicants are exempt from the requirements of subdivision 7 b of this subsection if they receive no more than 15 kilograms per month of hazardous wastes, unless the wastes are acute hazardous wastes as specified in 40 CFR 261.30(d) and 261.33(e) (1999 2000).

8. Each applicant with combined sewer systems must provide the following information:

a. The following information regarding the combined sewer system:

(1) A map indicating the location of the following:

(a) All CSO discharge points;

(b) Sensitive use areas potentially affected by CSOs (e.g., beaches, drinking water supplies, shellfish beds, sensitive aquatic ecosystems, and outstanding national resource waters); and

(c) Waters supporting threatened and endangered species potentially affected by CSOs; and

(2) A diagram of the combined sewer collection system that includes the following information:

(a) The location of major sewer trunk lines, both combined and separate sanitary;

(b) The locations of points where separate sanitary sewers feed into the combined sewer system;

(c) In-line and off-line storage structures;

(d) The locations of flow-regulating devices; and

(e) The locations of pump stations.

b. The following information for each CSO discharge point covered by the permit application:

(1) The following information on each outfall:

(a) Outfall number;

(b) State, county, and city or town in which outfall is located;

(c) Latitude and longitude, to the nearest second;

(d) Distance from shore and depth below surface;

(e) Whether the applicant monitored any of the following in the past year for this CSO: (i) rainfall, (ii) CSO flow volume, (iii) CSO pollutant concentrations, (iv) receiving water quality, or (v) CSO frequency; and

(f) The number of storm events monitored in the past year;

(2) The following information about CSO overflows from each outfall:

(a) The number of events in the past year;

(b) The average duration per event, if available;

(c) The average volume per CSO event, if available; and

(d) The minimum rainfall that caused a CSO event, if available, in the last year;

(3) The following information about receiving waters:

(a) Name of receiving water;

(b) Name of watershed/stream system and the United States Soil Conservation Service watershed (14-digit) code, if known; and

(c) Name of State Management/River Basin and the United States Geological Survey hydrologic cataloging unit (8- digit) code, if known; and

(4) A description of any known water quality impacts on the receiving water caused by the CSO (e.g., permanent or intermittent beach closings, permanent or intermittent shellfish bed closings, fish kills, fish advisories, other recreational loss, or exceedance of any applicable state water quality standard).

9. All applicants must provide the name, mailing address, telephone number, and responsibilities of all contractors responsible for any operational or maintenance aspects of the facility.

10. All applications must be signed by a certifying official in compliance with 9 VAC 25-31-110.

11. Pertinent plans, specifications, maps and such other relevant information as may be required, in scope and details satisfactory to the board.

K. Application requirements for new sources and new discharges. New manufacturing, commercial, mining and silvicultural dischargers applying for VPDES permits (except for new discharges of facilities subject to the requirements of subsection H of this section or new discharges of storm water associated with industrial activity which are subject to the requirements of 9 VAC 25-31-120 C 1 and this subsection (except as provided by 9 VAC 25-31-120 C 1 b) shall provide the following information to the department, using the application forms provided by the department:

1. The expected outfall location in latitude and longitude to the nearest 15 seconds and the name of the receiving water;

2. The expected date of commencement of discharge;

3. a. Description of the treatment that the wastewater will receive, along with all operations contributing wastewater to the effluent, average flow contributed by each operation, and the ultimate disposal of any solid or liquid wastes not discharged;

b. A line drawing of the water flow through the facility with a water balance as described in subdivision G 2;

c. If any of the expected discharges will be intermittent or seasonal, a description of the frequency, duration and maximum daily flow rate of each discharge occurrence (except for storm water run-off, spillage, or leaks); and

4. If a new source performance standard promulgated under § 306 of the CWA or an effluent limitation guideline applies to the applicant and is expressed in terms of production (or other measure of operation), a reasonable measure of the applicant's expected actual production reported in the units used in the applicable effluent guideline or new source performance standard for each of the first three years. Alternative estimates may also be submitted if production is likely to vary;

5. The requirements in subdivisions H 4 a, b, and c of this section that an applicant must provide estimates of certain pollutants expected to be present do not apply to pollutants present in a discharge solely as a result of their presence in intake water; however, an applicant must report such pollutants as present. Net credits may be provided for the presence of pollutants in intake water if the requirements of 9 VAC 25-31-230 G are met. All levels (except for discharge flow, temperature, and pH) must be estimated as concentration and as total mass.

a. Each applicant must report estimated daily maximum, daily average, and source of information for each outfall for the following pollutants or parameters. The board may waive the reporting requirements for any of these pollutants and parameters if the applicant submits a request for such a waiver before or with his application which demonstrates that information adequate to support issuance of the permit can be obtained through less stringent reporting requirements.

(1) Biochemical oxygen demand (BOD).

(2) Chemical oxygen demand (COD).

(3) Total organic carbon (TOC).

(4) Total suspended solids (TSS).

(5) Flow.

(6) Ammonia (as N).

(7) Temperature (winter and summer).

(8) pH.

b. Each applicant must report estimated daily maximum, daily average, and source of information for each outfall for the following pollutants, if the applicant knows or has reason to believe they will be present or if they are limited by an effluent limitation guideline or new source performance standard either directly or indirectly through limitations on an indicator pollutant: all pollutants in Table IV of 40 CFR Part 122 Appendix D (1999 2000) (certain conventional and nonconventional pollutants).

c. Each applicant must report estimated daily maximum, daily average and source of information for the following pollutants if he knows or has reason to believe that they will be present in the discharges from any outfall:

(1) The pollutants listed in Table III of 40 CFR Part 122 Appendix D (1999 2000) (the toxic metals, in the discharge from any outfall, Total cyanide, and total phenols);

(2) The organic toxic pollutants in Table II of 40 CFR Part 122 Appendix D (1999 2000) (except bis (chloromethyl) ether, dichlorofluoromethane and trichlorofluoromethane). This requirement is waived for applicants with expected gross sales of less than $100,000 per year for the next three years, and for coal mines with expected average production of less than 100,000 tons of coal per year.

d. The applicant is required to report that 2,3,7,8 Tetrachlorodibenzo-P-Dioxin (TCDD) may be discharged if he uses or manufactures one of the following compounds, or if he knows or has reason to believe that TCDD will or may be present in an effluent:

(1) 2,4,5-trichlorophenoxy acetic acid (2,4,5-T) (CAS ±93--76--5);

(2) (2) 2-(2,4,5-trichlorophenoxy) propanoic acid (Silvex, 2,4,5-TP) (CAS ±93--72--1);

(3) 2-(2,4,5-trichlorophenoxy) ethyl 2,2-dichloropropionate (Erbon) (CAS ±136--25--4);

(4) 0,0-dimethyl 0-(2,4,5-trichlorophenyl) phosphorothioate (Ronnel) (CAS ±299--84--3);

(5) 2,4,5-trichlorophenol (TCP) (CAS ±95--95--4); or

(6) Hexachlorophene (HCP) (CAS ±70--30--4);

e. Each applicant must report any pollutants listed in Table V of 40 CFR Part 122 Appendix D (1999 2000) (certain hazardous substances) if he believes they will be present in any outfall (no quantitative estimates are required unless they are already available).

f. No later than two years after the commencement of discharge from the proposed facility, the applicant is required to submit the information required in subsection G of this section. However, the applicant need not complete those portions of subsection G of this section requiring tests which he has already performed and reported under the discharge monitoring requirements of his VPDES permit;

6. Each applicant must report the existence of any technical evaluation concerning his wastewater treatment, along with the name and location of similar plants of which he has knowledge;

7. Any optional information the permittee wishes to have considered;

8. Signature of certifying official under 9 VAC 25-31-110; and

9. Pertinent plans, specifications, maps and such other relevant information as may be required, in scope and details satisfactory to the board.

L. Variance requests by non-POTWs. A discharger which is not a publicly owned treatment works (POTW) may request a variance from otherwise applicable effluent limitations under any of the following statutory or regulatory provisions within the times specified in this subsection:

1. Fundamentally different factors.

a. A request for a variance based on the presence of fundamentally different factors from those on which the effluent limitations guideline was based shall be filed as follows:

(1) For a request from best practicable control technology currently available (BPT), by the close of the public comment period for the draft permit; or

(2) For a request from best available technology economically achievable (BAT) and/or best conventional pollutant control technology (BCT), by no later than:

(a) July 3, 1989, for a request based on an effluent limitation guideline promulgated before February 4, 1987, to the extent July 3, 1989, is not later than that provided under previously promulgated regulations; or

(b) 180 days after the date on which an effluent limitation guideline is published in the Federal Register for a request based on an effluent limitation guideline promulgated on or after February 4, 1987.

b. The request shall explain how the requirements of the applicable regulatory or statutory criteria have been met.

2. A request for a variance from the BAT requirements for CWA § 301(b)(2)(F) pollutants (commonly called nonconventional pollutants) pursuant to § 301(c) of the CWA because of the economic capability of the owner or operator, or pursuant to § 301(g) of the CWA (provided however that a § 301(g) variance may only be requested for ammonia; chlorine; color; iron; total phenols (when determined by the Administrator to be a pollutant covered by § 301(b)(2)(F) of the CWA) and any other pollutant which the administrator lists under § 301(g)(4) of the CWA) must be made as follows:

a. For those requests for a variance from an effluent limitation based upon an effluent limitation guideline by:

(1) Submitting an initial request to the regional administrator, as well as to the department, stating the name of the discharger, the permit number, the outfall number(s), the applicable effluent guideline, and whether the discharger is requesting a §§ 301(c) or 301(g) of the CWA modification, or both. This request must have been filed not later than 270 days after promulgation of an applicable effluent limitation guideline; and

(2) Submitting a completed request no later than the close of the public comment period for the draft permit demonstrating that: (i) all reasonable ascertainable issues have been raised and all reasonably available arguments and materials supporting their position have been submitted; and (ii) that the applicable requirements of 40 CFR Part 125 (1999 2000) have been met. Notwithstanding this provision, the complete application for a request under§ 301(g) of the CWA shall be filed 180 days before EPA must make a decision (unless the Regional Division Director establishes a shorter or longer period); or

b. For those requests for a variance from effluent limitations not based on effluent limitation guidelines, the request need only comply with subdivision 2 a (2) of this subsection and need not be preceded by an initial request under subdivision 2 a (1) of this subsection.

3. A modification under § 302(b)(2) of the CWA of requirements under § 302(a) of the CWA for achieving water quality related effluent limitations may be requested no later than the close of the public comment period for the draft permit on the permit from which the modification is sought.

4. A variance for alternate effluent limitations for the thermal component of any discharge must be filed with a timely application for a permit under this section, except that if thermal effluent limitations are established on a case-by-case basis or are based on water quality standards the request for a variance may be filed by the close of the public comment period for the draft permit. A copy of the request shall be sent simultaneously to the department.

M. Variance requests by POTWs. A discharger which is a publicly owned treatment works (POTW) may request a variance from otherwise applicable effluent limitations under any of the following statutory provisions as specified in this paragraph:

1. A request for a modification under § 301(h) of the CWA of requirements of § 301(b)(1)(B) of the CWA for discharges into marine waters must be filed in accordance with the requirements of 40 CFR Part 125, Subpart G (1999 2000).

2. A modification under § 302(b)(2) of the CWA of the requirements under § 302(a) of the CWA for achieving water quality based effluent limitations shall be requested no later than the close of the public comment period for the draft permit on the permit from which the modification is sought.

N. Expedited variance procedures and time extensions.

1. Notwithstanding the time requirements in subsections L and M of this section, the board may notify a permit applicant before a draft permit is issued that the draft permit will likely contain limitations which are eligible for variances. In the notice the board may require the applicant as a condition of consideration of any potential variance request to submit a request explaining how the requirements of 40 CFR Part 125 (1999 2000) applicable to the variance have been met and may require its submission within a specified reasonable time after receipt of the notice. The notice may be sent before the permit application has been submitted. The draft or final permit may contain the alternative limitations which may become effective upon final grant of the variance.

2. A discharger who cannot file a timely complete request required under subdivisions L 2 a (2) or L 2 b of this section may request an extension. The extension may be granted or denied at the discretion of the board. Extensions shall be no more than six months in duration.

O. Recordkeeping. Except for information required by subdivision C 2 of this section, which shall be retained for a period of at least five years from the date the application is signed (or longer as required by Part VI (9 VAC 25-31-420 et seq.) of this chapter), applicants shall keep records of all data used to complete permit applications and any supplemental information submitted under this section for a period of at least three years from the date the application is signed.

P. Sewage sludge management. All TWTDS subject to subdivision C 2 a of this section must provide the information in this subsection to the department using an application form approved by the department. New applicants must submit all information available at the time of permit application. The information may be provided by referencing information previously submitted to the department. The board may waive any requirement of this subsection if it has access to substantially identical information. The board may also waive any requirement of this subsection that is not of material concern for a specific permit, if approved by the regional administrator. The waiver request to the regional administrator must include the board's justification for the waiver. A regional administrator's disapproval of the board's proposed waiver does not constitute final agency action, but does provide notice to the board and the permit applicant that the EPA may object to any board-issued permit issued in the absence of the required information.

1. All applicants must submit the following information:

a. The name, mailing address, and location of the TWTDS for which the application is submitted;

b. Whether the facility is a Class I Sludge Management Facility;

c. The design flow rate (in million gallons per day);

d. The total population served;

e. The TWTDS's status as federal, state, private, public, or other entity;

f. The name, mailing address, and telephone number of the applicant; and

g. Indication whether the applicant is the owner, operator, or both.

2. All applicants must submit the facility's VPDES permit number, if applicable, and a listing of all other federal, state, and local permits or construction approvals received or applied for under any of the following programs:

a. Hazardous Waste Management program under the Resource Conservation and Recovery Act (RCRA);

b. UIC program under the Safe Drinking Water Act (SDWA);

c. NPDES program under the Clean Water Act (CWA);

d. Prevention of Significant Deterioration (PSD) program under the Clean Air Act;

e. Nonattainment program under the Clean Air Act;

f. National Emission Standards for Hazardous Air Pollutants (NESHAPS) preconstruction approval under the Clean Air Act;

g. Dredge or fill permits under § 404 of the CWA;

h. Other relevant environmental permits, including state or local permits.

3. All applicants must identify any generation, treatment, storage, land application, or disposal of sewage sludge that occurs in Indian country.

4. All applicants must submit a topographic map (or other map if a topographic map is unavailable) extending one mile beyond property boundaries of the facility and showing the following information:

a. All sewage sludge management facilities, including on-site treatment, storage, and disposal sites; and

b. Wells, springs, and other surface water bodies that are within 1/4 mile of the property boundaries and listed in public records or otherwise known to the applicant.

5. All applicants must submit a line drawing and/or a narrative description that identifies all sewage sludge management practices employed during the term of the permit, including all units used for collecting, dewatering, storing, or treating sewage sludge; the destination(s) of all liquids and solids leaving each such unit; and all processes used for pathogen reduction and vector attraction reduction.

6. The applicant must submit sewage sludge monitoring data for the pollutants for which limits in sewage sludge have been established in Part VI (9 VAC 25-31-420 et seq.) of this chapter for the applicant's use or disposal practices on the date of permit application with the following conditions:

a. The board may require sampling for additional pollutants, as appropriate, on a case-by-case basis.

b. Applicants must provide data from a minimum of three samples taken within 4 1/2 years prior to the date of the permit application. Samples must be representative of the sewage sludge and should be taken at least one month apart. Existing data may be used in lieu of sampling done solely for the purpose of this application.

c. Applicants must collect and analyze samples in accordance with analytical methods specified in 9 VAC 25-31-490 unless an alternative has been specified in an existing sewage sludge permit.

d. The monitoring data provided must include at least the following information for each parameter:

(1) Average monthly concentration for all samples (mg/kg dry weight), based upon actual sample values;

(2) The analytical method used; and

(3) The method detection level.

7. If the applicant is a person who prepares sewage sludge, as defined in 9 VAC 25-31-500, the applicant must provide the following information:

a. If the applicant's facility generates sewage sludge, the total dry metric tons per 365-day period generated at the facility.

b. If the applicant's facility receives sewage sludge from another facility, the following information for each facility from which sewage sludge is received:

(1) The name, mailing address, and location of the other facility;

(2) The total dry metric tons per 365-day period received from the other facility; and

(3) A description of any treatment processes occurring at the other facility, including blending activities and treatment to reduce pathogens or vector attraction characteristics.

c. If the applicant's facility changes the quality of sewage sludge through blending, treatment, or other activities, the following information:

(1) Whether the Class A pathogen reduction requirements in 9 VAC 25-31-710 A or the Class B pathogen reduction requirements in 9 VAC 25-31-710 B are met, and a description of any treatment processes used to reduce pathogens in sewage sludge;

(2) Whether any of the vector attraction reduction options of 9 VAC 25-31-720 B 1 through 8 are met, and a description of any treatment processes used to reduce vector attraction properties in sewage sludge; and

(3) A description of any other blending, treatment, or other activities that change the quality of sewage sludge.

d. If sewage sludge from the applicant's facility meets the ceiling concentrations in 9 VAC 25-31-540 B 1, the pollutant concentrations in 9 VAC 25-3-540 B 3, the Class A pathogen requirements in 9 VAC 25-31-710 A, and one of the vector attraction reduction requirements in 9 VAC 25-31-720 B 1 through 8, and if the sewage sludge is applied to the land, the applicant must provide the total dry metric tons per 365-day period of sewage sludge subject to this subsection that is applied to the land.

e. If sewage sludge from the applicant's facility is sold or given away in a bag or other container for application to the land, and the sewage sludge is not subject to subdivision 7 d of this subsection, the applicant must provide the following information:

(1) The total dry metric tons per 365-day period of sewage sludge subject to this subsection that is sold or given away in a bag or other container for application to the land; and

(2) A copy of all labels or notices that accompany the sewage sludge being sold or given away.

f. If sewage sludge from the applicant's facility is provided to another person who prepares sewage sludge, as defined in 9 VAC 25-31-500, and the sewage sludge is not subject to subdivision 7 d of this subsection, the applicant must provide the following information for each facility receiving the sewage sludge:

(1) The name and mailing address of the receiving facility;

(2) The total dry metric tons per 365-day period of sewage sludge subject to this subsection that the applicant provides to the receiving facility;

(3) A description of any treatment processes occurring at the receiving facility, including blending activities and treatment to reduce pathogens or vector attraction characteristic;

(4) A copy of the notice and necessary information that the applicant is required to provide the receiving facility under 9 VAC 25-31-530 G; and

(5) If the receiving facility places sewage sludge in bags or containers for sale or give-away to application to the land, a copy of any labels or notices that accompany the sewage sludge.

8. If sewage sludge from the applicant's facility is applied to the land in bulk form and is not subject to subdivision 7 d, e or f of this subsection, the applicant must provide the following information:

a. The total dry metric tons per 365-day period of sewage sludge subject to this subsection that is applied to the land.

b. If any land application sites are located in states other than the state where the sewage sludge is prepared, a description of how the applicant will notify the permitting authority for the state(s) where the land application sites are located.

c. The following information for each land application site that has been identified at the time of permit application:

(1) The name (if any), and location for the land application site;

(2) The site's latitude and longitude to the nearest second, and method of determination;

(3) A topographic map (or other map if a topographic map is unavailable) that shows the site's location;

(4) The name, mailing address, and telephone number of the site owner, if different from the applicant;

(5) The name, mailing address, and telephone number of the person who applies sewage sludge to the site, if different from the applicant;

(6) Whether the site is agricultural land, forest, a public contact site, or a reclamation site, as such site types are defined in 9 VAC 25-31-500;

(7) The type of vegetation grown on the site, if known, and the nitrogen requirement for this vegetation;

(8) Whether either of the vector attraction reduction options of 9 VAC 25-31-720 B 9 or 10 is met at the site, and a description of any procedures employed at the time of use to reduce vector attraction properties in sewage sludge; and

(9) Other information that describes how the site will be managed, as specified by the board.

d. The following information for each land application site that has been identified at the time of permit application, if the applicant intends to apply bulk sewage sludge subject to the cumulative pollutant loading rates in 9 VAC 25-31-540 B 2 to the site:

(1) Whether the applicant has contacted the permitting authority in the state where the bulk sewage sludge subject to 9 VAC 25-31-540 B 2 will be applied, to ascertain whether bulk sewage sludge subject to 9 VAC 25-31-540 B 2 has been applied to the site on or since July 20, 1993, and if so, the name of the permitting authority and the name and phone number of a contact person at the permitting authority;

(2) Identification of facilities other than the applicant's facility that have sent, or are sending, sewage sludge subject to the cumulative pollutant loading rates in 9 VAC 25-31-540 B 2 to the site since July 20, 1993, if, based on the inquiry in subdivision 8 d (1) of this subsection, bulk sewage sludge subject to cumulative pollutant loading rates in 9 VAC 25-31-540 B 2 has been applied to the site since July 20, 1993.

e. If not all land application sites have been identified at the time of permit application, the applicant must submit a land application plan that, at a minimum:

(1) Describes the geographical area covered by the plan;

(2) Identifies the site selection criteria;

(3) Describes how the site(s) will be managed;

(4) Provides for advance notice to the board of specific land application sites and reasonable time for the board to object prior to land application of the sewage sludge; and

(5) Provides for advance public notice of land application sites in a newspaper of general circulation in the area of the land application site and notice to landowners and occupants adjoining the proposed land application site.

9. If sewage sludge from the applicant's facility is placed on a surface disposal site, the applicant must provide the following information:

a. The total dry metric tons of sewage sludge from the applicant's facility that is placed on surface disposal sites per 365-day period.

b. The following information for each surface disposal site receiving sewage sludge from the applicant's facility that the applicant does not own or operate:

(1) The site name or number, contact person, mailing address, and telephone number for the surface disposal site; and

(2) The total dry metric tons from the applicant's facility per 365-day period placed on the surface disposal site.

c. The following information for each active sewage sludge unit at each surface disposal site that the applicant owns or operates:

(1) The name or number and the location of the active sewage sludge unit;

(2) The unit's latitude and longitude to the nearest second, and method of determination;

(3) If not already provided, a topographic map (or other map if a topographic map is unavailable) that shows the unit's location;

(4) The total dry metric tons placed on the active sewage sludge unit per 365-day period;

(5) The total dry metric tons placed on the active sewage sludge unit over the life of the unit;

(6) A description of any liner for the active sewage sludge unit, including whether it has a maximum permeability of 1 X 10-7cm/sec;

(7) A description of any leachate collection system for the active sewage sludge unit, including the method used for leachate disposal, and any federal, state, and local permit number(s) for leachate disposal;

(8) If the active sewage sludge unit is less than 150 meters from the property line of the surface disposal site, the actual distance from the unit boundary to the site property line;

(9) The remaining capacity (dry metric tons) for the active sewage sludge unit;

(10) The date on which the active sewage sludge unit is expected to close, if such a date has been identified;

(11) The following information for any other facility that sends sewage sludge to the active sewage sludge unit:

(a) The name, contact person, and mailing address of the facility; and

(b) Available information regarding the quality of the sewage sludge received from the facility, including any treatment at the facility to reduce pathogens or vector attraction characteristics;

(12) Whether any of the vector attraction reduction options of 9 VAC 25-31-720 B 9 through 11 is met at the active sewage sludge unit, and a description of any procedures employed at the time of disposal to reduce vector attraction properties in sewage sludge;

(13) The following information, as applicable to any groundwater monitoring occurring at the active sewage sludge unit:

(a) A description of any groundwater monitoring occurring at the active sewage sludge unit;

(b) Any available groundwater monitoring data, with a description of the well locations and approximate depth to groundwater;

(c) A copy of any groundwater monitoring plan that has been prepared for the active sewage sludge unit;

(d) A copy of any certification that has been obtained from a qualified groundwater scientist that the aquifer has not been contaminated; and

(14) If site-specific pollutant limits are being sought for the sewage sludge placed on this active sewage sludge unit, information to support such a request.

10. If sewage sludge from the applicant's facility is fired in a sewage sludge incinerator, the applicant must provide the following information:

a. The total dry metric tons of sewage sludge from the applicant's facility that is fired in sewage sludge incinerators per 365-day period.

b. The following information for each sewage sludge incinerator firing the applicant's sewage sludge that the applicant does not own or operate:

(1) The name and/or number, contact person, mailing address, and telephone number of the sewage sludge incinerator; and

(2) The total dry metric tons from the applicant's facility per 365-day period fired in the sewage sludge incinerator.

11. If sewage sludge from the applicant's facility is sent to a municipal solid waste landfill (MSWLF), the applicant must provide the following information for each MSWLF to which sewage sludge is sent:

a. The name, contact person, mailing address, location, and all applicable permit numbers of the MSWLF;

b. The total dry metric tons per 365-day period sent from this facility to the MSWLF;

c. A determination of whether the sewage sludge meets applicable requirements for disposal of sewage sludge in a MSWLF, including the results of the paint filter liquids test and any additional requirements that apply on a site-specific basis; and

d. Information, if known, indicating whether the MSWLF complies with criteria set forth in the Virginia Solid Waste Management Regulations, 9 VAC 20-80-10 et seq.

12. All applicants must provide the name, mailing address, telephone number, and responsibilities of all contractors responsible for any operational or maintenance aspects of the facility related to sewage sludge generation, treatment, use, or disposal.

13. At the request of the board, the applicant must provide any other information necessary to determine the appropriate standards for permitting under Part VI (9 VAC 25-31-420 et seq.) of this chapter, and must provide any other information necessary to assess the sewage sludge use and disposal practices, determine whether to issue a permit, or identify appropriate permit requirements; and pertinent plans, specifications, maps and such other relevant information as may be required, in scope and details satisfactory to the board.

14. All applications must be signed by a certifying official in compliance with 9 VAC 25-31-110.

Note 1: Until further notice subdivision G 7 e (1) of this section and the corresponding portions of the VPDES application Form 2C are suspended as they apply to coal mines.

Note 2: Until further notice subdivision G 7 e (1) of this section and the corresponding portions of Item V - C of the VPDES application Form 2C are suspended as they apply to:

a. Testing and reporting for all four organic fractions in the Greige Mills Subcategory of the Textile Mills industry (subpart C-Low water use processing of 40 CFR Part 410 (1999 2000)), and testing and reporting for the pesticide fraction in all other subcategories of this industrial category.

b. Testing and reporting for the volatile, base/neutral and pesticide fractions in the Base and Precious Metals Subcategory of the Ore Mining and Dressing industry (subpart B of 40 CFR Part 440 (1999 2000)), and testing and reporting for all four fractions in all other subcategories of this industrial category.

c. Testing and reporting for all four GC/MS fractions in the Porcelain Enameling industry.

Note 3: Until further notice subdivision G 7 e (1) of this section and the corresponding portions of Item V - C of the VPDES application Form 2C are suspended as they apply to:

a. Testing and reporting for the pesticide fraction in the Tall Oil Rosin Subcategory (subpart D) and Rosin-Based Derivatives Subcategory (subpart F) of the Gum and Wood Chemicals industry (40 CFR Part 454 (1999 2000)), and testing and reporting for the pesticide and base-neutral fractions in all other subcategories of this industrial category.

b. Testing and reporting for the pesticide fraction in the leather tanning and finishing, paint and ink formulation, and photographic supplies industrial categories.

c. Testing and reporting for the acid, base/neutral and pesticide fractions in the petroleum refining industrial category.

d. Testing and reporting for the pesticide fraction in the Papergrade Sulfite Subcategories (subparts J and U) of the Pulp and Paper industry (40 CFR Part 430 (1999 2000)); testing and reporting for the base/neutral and pesticide fractions in the following subcategories: Deink (subpart Q), Dissolving Kraft (subpart F), and Paperboard from Waste Paper (subpart E); testing and reporting for the volatile, base/neutral and pesticide fractions in the following subcategories: BCT Bleached Kraft (subpart H), Semi-Chemical (subparts B and C), and Nonintegrated-Fine Papers (subpart R); and testing and reporting for the acid, base/neutral, and pesticide fractions in the following subcategories: Fine Bleached Kraft (subpart I), Dissolving Sulfite Pulp (subpart K), Groundwood-Fine Papers (subpart O), Market Bleached Kraft (subpart G), Tissue from Wastepaper (subpart T), and Nonintegrated-Tissue Papers (subpart S).

e. Testing and reporting for the base/neutral fraction in the Once-Through Cooling Water, Fly Ash and Bottom Ash Transport Water process wastestreams of the Steam Electric Power Plant industrial category.

9 VAC 25-31-120. Storm water discharges.

A. Permit requirements.

1. Prior to October 1, 1994, discharges composed entirely of storm water shall not be required to obtain a VPDES permit except:

a. A discharge with respect to which a permit has been issued prior to February 4, 1987;

b. A discharge associated with industrial activity;

c. A discharge from a large municipal separate storm sewer system;

d. A discharge from a medium municipal separate storm sewer system; or

e. A discharge which either the board or the regional administrator determines to contribute to a violation of a water quality standard or is a significant contributor of pollutants to surface waters. This designation may include a discharge from any conveyance or system of conveyances used for collecting and conveying storm water run-off or a system of discharges from municipal separate storm sewers, except for those discharges from conveyances which do not require a permit under subdivision 2 of this subsection or agricultural storm water run-off which is exempted from the definition of point source.

The board may designate discharges from municipal separate storm sewers on a system-wide or jurisdiction-wide basis. In making this determination the board may consider the following factors:

(1) The location of the discharge with respect to surface waters;

(2) The size of the discharge;

(3) The quantity and nature of the pollutants discharged to surface waters; and

(4) Other relevant factors.

2. The board may not require a permit for discharges of storm water run-off from mining operations or oil and gas exploration, production, processing or treatment operations, or transmission facilities, composed entirely of flows which are from conveyances or systems of conveyances (including but not limited to pipes, conduits, ditches, and channels) used for collecting and conveying precipitation run-off and which are not contaminated by contact with or that has not come into contact with, any overburden, raw material, intermediate products, finished product, by-product or waste products located on the site of such operations.

3. a. Permits must be obtained for all discharges from large and medium municipal separate storm sewer systems.

b. The board may either issue one system-wide permit covering all discharges from municipal separate storm sewers within a large or medium municipal storm sewer system or issue distinct permits for appropriate categories of discharges within a large or medium municipal separate storm sewer system including, but not limited to: all discharges owned or operated by the same municipality; located within the same jurisdiction; all discharges within a system that discharge to the same watershed; discharges within a system that are similar in nature; or for individual discharges from municipal separate storm sewers within the system.

c. The operator of a discharge from a municipal separate storm sewer which is part of a large or medium municipal separate storm sewer system must either:

(1) Participate in a permit application (to be a permittee or a co-permittee) with one or more other operators of discharges from the large or medium municipal storm sewer system which covers all, or a portion of all, discharges from the municipal separate storm sewer system;

(2) Submit a distinct permit application which only covers discharges from the municipal separate storm sewers for which the operator is responsible; or

(3) A regional authority may be responsible for submitting a permit application under the following guidelines:

(a) The regional authority together with co-applicants shall have authority over a storm water management program that is in existence, or shall be in existence at the time Part 1 of the application is due;

(b) The permit applicant or co-applicants shall establish their ability to make a timely submission of Part 1 and Part 2 of the municipal application;

(c) Each of the operators of municipal separate storm sewers within large or medium municipal separate storm sewer systems, that are under the purview of the designated regional authority, shall comply with the application requirements of subsection C of this section.

d. One permit application may be submitted for all or a portion of all municipal separate storm sewers within adjacent or interconnected large or medium municipal separate storm sewer systems. The board may issue one system-wide permit covering all, or a portion of all municipal separate storm sewers in adjacent or interconnected large or medium municipal separate storm sewer systems.

e. Permits for all or a portion of all discharges from large or medium municipal separate storm sewer systems that are issued on a system-wide, jurisdiction-wide, watershed or other basis may specify different conditions relating to different discharges covered by the permit, including different management programs for different drainage areas which contribute storm water to the system.

f. Co-permittees need only comply with permit conditions relating to discharges from the municipal separate storm sewers for which they are operators.

4. In addition to meeting the requirements of subsection B of this section, an operator of a storm water discharge associated with industrial activity which discharges through a large or medium municipal separate storm sewer system shall submit, to the operator of the municipal separate storm sewer system receiving the discharge no later than May 15, 1991, or 180 days prior to commencing such discharge: the name of the facility; a contact person and phone number; the location of the discharge; a description, including Standard Industrial Classification, which best reflects the principal products or services provided by each facility; and any existing VPDES permit number.

5. The board may issue permits for municipal separate storm sewers that are designated under subdivision A 1 e of this section on a system-wide basis, jurisdiction-wide basis, watershed basis or other appropriate basis, or may issue permits for individual discharges.

6. For storm water discharges associated with industrial activity from point sources which discharge through a nonmunicipal or nonpublicly owned separate storm sewer system, the board, in its discretion, may issue: a single VPDES permit, with each discharger a co-permittee to a permit issued to the operator of the portion of the system that discharges into surface waters; or, individual permits to each discharger of storm water associated with industrial activity through the nonmunicipal conveyance system.

a. All storm water discharges associated with industrial activity that discharge through a storm water discharge system that is not a municipal separate storm sewer must be covered by an individual permit, or a permit issued to the operator of the portion of the system that discharges to surface waters, with each discharger to the nonmunicipal conveyance a co-permittee to that permit.

b. Where there is more than one operator of a single system of such conveyances, all operators of storm water discharges associated with industrial activity must submit applications.

c. Any permit covering more than one operator shall identify the effluent limitations, or other permit conditions, if any, that apply to each operator.

7. Conveyances that discharge storm water run-off combined with municipal sewage are point sources that must obtain VPDES permits in accordance with the procedures of 9 VAC 25-31-100 and are not subject to the provisions of this section.

8. Whether a discharge from a municipal separate storm sewer is or is not subject to regulation under this subsection shall have no bearing on whether the owner or operator of the discharge is eligible for funding under Title II, Title III or Title VI of the CWA.

9. a. On and after October 1, 1994, for discharges composed entirely of storm water, that are not required by subdivision 1 of this subsection to obtain a permit, operators shall be required to obtain a VPDES permit only if:

(1) The discharge is from a small MS4 required to be regulated pursuant to 9 VAC 25-31-121 B;

(2) The discharge is a storm water discharge associated with small construction activity as defined in 9 VAC 25-31-10;

(3) The board or the EPA regional administrator determines that storm water controls are needed for the discharge based on wasteload allocations that are part of "total maximum daily loads" (TMDLs) that address the pollutant(s) of concern; or

(4) The board or the EPA regional administrator determines that the discharge, or category of discharges within a geographic area, contributes to a violation of a water quality standard or is a significant contributor of pollutants to surface waters.

b. Operators of small MS4s designated pursuant to subdivisions 9 a (1), (3), and (4) of this subsection shall seek coverage under a VPDES permit in accordance with 9 VAC 25-31-121 C through E. Operators of non-municipal sources designated pursuant to subdivisions 9 a (2), (3), and (4) of this subsection shall seek coverage under a VPDES permit in accordance with subdivision B 1 of this section.

c. Operators of storm water discharges designated pursuant to subdivisions 9 a (3) and (4) of this subsection shall apply to the board for a permit within 180 days of receipt of notice, unless permission for a later date is granted by the board.

B. Application requirements for storm water discharges associated with industrial activity and storm water discharges associated with small construction activity.

1. Dischargers of storm water associated with industrial activity and with small construction activity are required to apply for an individual permit or seek coverage under a promulgated storm water general permit. Facilities that are required to obtain an individual permit, or any discharge of storm water which the board is evaluating for designation under subdivision A 1 e of this section and is not a municipal separate storm sewer, shall submit a VPDES application in accordance with the requirements of 9 VAC 25-31-100 as modified and supplemented by the provisions of this subsection.

a. Except as provided in subdivisions 1 b through d of this subsection, the operator of a storm water discharge associated with industrial activity subject to this section shall provide:

(1) A site map showing topography (or indicating the outline of drainage areas served by the outfall or outfalls covered in the application if a topographic map is unavailable) of the facility including: each of its drainage and discharge structures; the drainage area of each storm water outfall; paved areas and buildings within the drainage area of each storm water outfall, each past or present area used for outdoor storage or disposal of significant materials, each existing structural control measure to reduce pollutants in storm water run-off, materials loading and access areas, areas where pesticides, herbicides, soil conditioners and fertilizers are applied, each of its hazardous waste treatment, storage or disposal facilities (including each area not required to have a RCRA permit which is used for accumulating hazardous waste under 40 CFR 262.34 (1999 2000)); each well where fluids from the facility are injected underground; springs, and other surface water bodies which receive storm water discharges from the facility;

(2) An estimate of the area of impervious surfaces (including paved areas and building roofs) and the total area drained by each outfall (within a mile radius of the facility) and a narrative description of the following: Significant materials that in the three years prior to the submittal of this application have been treated, stored or disposed in a manner to allow exposure to storm water; method of treatment, storage or disposal of such materials; materials management practices employed, in the three years prior to the submittal of this application, to minimize contact by these materials with storm water run-off; materials loading and access areas; the location, manner and frequency in which pesticides, herbicides, soil conditioners and fertilizers are applied; the location and a description of existing structural and nonstructural control measures to reduce pollutants in storm water run-off; and a description of the treatment the storm water receives, including the ultimate disposal of any solid or fluid wastes other than by discharge;

(3) A certification that all outfalls that should contain storm water discharges associated with industrial activity have been tested or evaluated for the presence of nonstorm water discharges which are not covered by a VPDES permit; tests for such nonstorm water discharges may include smoke tests, fluorometric dye tests, analysis of accurate schematics, as well as other appropriate tests. The certification shall include a description of the method used, the date of any testing, and the on-site drainage points that were directly observed during a test;

(4) Existing information regarding significant leaks or spills of toxic or hazardous pollutants at the facility that have taken place within the three years prior to the submittal of this application;

(5) Quantitative data based on samples collected during storm events and collected in accordance with 9 VAC 25-31-100 of this part from all outfalls containing a storm water discharge associated with industrial activity for the following parameters:

(a) Any pollutant limited in an effluent guideline to which the facility is subject;

(b) Any pollutant listed in the facility's VPDES permit for its process wastewater (if the facility is operating under an existing VPDES permit);

(c) Oil and grease, pH, BOD sub5 , COD, TSS, total phosphorus, total Kjeldahl nitrogen, and nitrate plus nitrite nitrogen;

(d) Any information on the discharge required under 9 VAC 25-31-100 G 7 f and g;

(e) Flow measurements or estimates of the flow rate, and the total amount of discharge for the storm event or events sampled, and the method of flow measurement or estimation; and

(f) The date and duration (in hours) of the storm event or events sampled, rainfall measurements or estimates of the storm event (in inches) which generated the sampled run-off and the duration between the storm event sampled and the end of the previous measurable (greater than 0.1 inch rainfall) storm event (in hours);

(6) Operators of a discharge which is composed entirely of storm water are exempt from the requirements of 9 VAC 25-31-100 G 2, G 3, G 4, G 5, G 7 c, G 7 d, G 7 e, and G 7 h; and

(7) Operators of new sources or new discharges which are composed in part or entirely of storm water must include estimates for the pollutants or parameters listed in subdivision 1 a (5) of this subsection instead of actual sampling data, along with the source of each estimate. Operators of new sources or new discharges composed in part or entirely of storm water must provide quantitative data for the parameters listed in subdivision 1 a (5) of this subsection within two years after commencement of discharge, unless such data has already been reported under the monitoring requirements of the VPDES permit for the discharge. Operators of a new source or new discharge which is composed entirely of storm water are exempt from the requirements of 9 VAC 25-31-100 K 3 b, K 3 c, and K 5.

b. The operator of an existing or new storm water discharge that is associated with construction activity solely, or is associated with small construction activity solely, is exempt from the requirements of 9 VAC 25-31-100 G and subdivision 1 a of this subsection. Such operator shall provide a narrative description of:

(1) The location (including a map) and the nature of the construction activity;

(2) The total area of the site and the area of the site that is expected to undergo excavation during the life of the permit;

(3) Proposed measures, including best management practices, to control pollutants in storm water discharges during construction, including a brief description of applicable state and local erosion and sediment control requirements;

(4) Proposed measures to control pollutants in storm water discharges that will occur after construction operations have been completed, including a brief description of applicable state or local erosion and sediment control requirements;

(5) An estimate of the run-off coefficient of the site and the increase in impervious area after the construction addressed in the permit application is completed, the nature of fill material and existing data describing the soil or the quality of the discharge; and

(6) The name of the receiving water.

c. The operator of an existing or new discharge composed entirely of storm water from an oil or gas exploration, production, processing, or treatment operation, or transmission facility is not required to submit a permit application in accordance with subdivision 1 a of this subsection, unless the facility:

(1) Has had a discharge of storm water resulting in the discharge of a reportable quantity for which notification is or was required pursuant to 40 CFR 117.21 (1999 2000) or 40 CFR 302.6 (1999 2000) at any time since November 16, 1987; or

(2) Has had a discharge of storm water resulting in the discharge of a reportable quantity for which notification is or was required pursuant to 40 CFR 110.6 (1999 2000) at any time since November 16, 1987; or

(3) Contributes to a violation of a water quality standard.

d. The operator of an existing or new discharge composed entirely of storm water from a mining operation is not required to submit a permit application unless the discharge has come into contact with any overburden, raw material, intermediate products, finished product, by-product or waste products located on the site of such operations.

e. Applicants shall provide such other information the board may reasonably require to determine whether to issue a permit and may require any facility subject to subdivision 1 b of this subsection to comply with subdivision 1 a of this subsection.

C. Application requirements for large and medium municipal separate storm sewer discharges. The operator of a discharge from a large or medium municipal separate storm sewer or a municipal separate storm sewer that is designated by the board under subdivision A 1 e of this section, may submit a jurisdiction-wide or system-wide permit application. Where more than one public entity owns or operates a municipal separate storm sewer within a geographic area (including adjacent or interconnected municipal separate storm sewer systems), such operators may be a coapplicant to the same application. Permit applications for discharges from large and medium municipal storm sewers or municipal storm sewers designated under subdivision A 1 e of this section shall include;

1. Part 1 of the application shall consist of:

a. The applicants' name, address, telephone number of contact person, ownership status, and status as a state or local government entity;

b. A description of existing legal authority to control discharges to the municipal separate storm sewer system. When existing legal authority is not sufficient to meet the criteria provided in subdivision 2 a of this subsection, the description shall list additional authorities as will be necessary to meet the criteria and shall include a schedule and commitment to seek such additional authority that will be needed to meet the criteria;

c. Source identification.

(1) A description of the historic use of ordinances, guidance or other controls which limited the discharge of nonstorm water discharges to any publicly owned treatment works serving the same area as the municipal separate storm sewer system.

(2) A USGS 7.5 minute topographic map (or equivalent topographic map with a scale between 1:10,000 and 1:24,000, if cost effective) extending one mile beyond the service boundaries of the municipal storm sewer system covered by the permit application. The following information shall be provided:

(a) The location of known municipal storm sewer system outfalls discharging to surface waters;

(b) A description of the land use activities (e.g., divisions indicating undeveloped, residential, commercial, agricultural, and industrial uses) accompanied with estimates of population densities and projected growth for a 10-year period within the drainage area served by the separate storm sewer. For each land use type, an estimate of an average run-off coefficient shall be provided;

(c) The location and a description of the activities of the facility of each currently operating or closed municipal landfill or other treatment, storage or disposal facility for municipal waste;

(d) The location and the permit number of any known discharge to the municipal storm sewer that has been issued a VPDES permit;

(e) The location of major structural controls for storm water discharge (retention basins, detention basins, major infiltration devices, etc.); and

(f) The identification of publicly owned parks, recreational areas, and other open lands;

d. Discharge characterization.

(1) Monthly mean rain and snow fall estimates (or summary of weather bureau data) and the monthly average number of storm events.

(2) Existing quantitative data describing the volume and quality of discharges from the municipal storm sewer, including a description of the outfalls sampled, sampling procedures and analytical methods used.

(3) A list of water bodies that receive discharges from the municipal separate storm sewer system, including downstream segments, lakes and estuaries, where pollutants from the system discharges may accumulate and cause water degradation and a brief description of known water quality impacts. At a minimum, the description of impacts shall include a description of whether the water bodies receiving such discharges have been:

(a) Assessed and reported in § 305(b) of the CWA reports submitted by the state, the basis for the assessment (evaluated or monitored), a summary of designated use support and attainment of law and the CWA goals (fishable and swimmable waters), and causes of nonsupport of designated uses;

(b) Listed under §§ 304(l)(1)(A)(i), 304(l)(1)(A)(ii), or 304(l)(1)(B) of the CWA that is not expected to meet water quality standards or water quality goals;

(c) Listed in State Nonpoint Source Assessments required by § 319(a) of the CWA that, without additional action to control nonpoint sources of pollution, cannot reasonably be expected to attain or maintain water quality standards due to storm sewers, construction, highway maintenance and run-off from municipal landfills and municipal sludge adding significant pollution (or contributing to a violation of water quality standards);

(d) Identified and classified according to eutrophic condition of publicly owned lakes listed in state reports required under § 314(a) of the CWA (include the following: A description of those publicly owned lakes for which uses are known to be impaired; a description of procedures, processes and methods to control the discharge of pollutants from municipal separate storm sewers into such lakes; and a description of methods and procedures to restore the quality of such lakes);

(e) Areas of concern of the Great Lakes identified by the International Joint Commission;

(f) Designated estuaries under the National Estuary Program under § 320 of the CWA;

(g) Recognized by the applicant as highly valued or sensitive waters;

(h) Defined by the state or U.S. Fish and Wildlife Service's National Wetlands Inventory as wetlands; and

(i) Found to have pollutants in bottom sediments, fish tissue or biosurvey data.

(4) Results of a field screening analysis for illicit connections and illegal dumping for either selected field screening points or major outfalls covered in the permit application. At a minimum, a screening analysis shall include a narrative description, for either each field screening point or major outfall, of visual observations made during dry weather periods. If any flow is observed, two grab samples shall be collected during a 24-hour period with a minimum period of four hours between samples. For all such samples, a narrative description of the color, odor, turbidity, the presence of an oil sheen or surface scum as well as any other relevant observations regarding the potential presence of nonstorm water discharges or illegal dumping shall be provided. In addition, a narrative description of the results of a field analysis using suitable methods to estimate pH, total chlorine, total copper, total phenol, and detergents (or surfactants) shall be provided along with a description of the flow rate. Where the field analysis does not involve analytical methods approved under 40 CFR Part 136 (1999 2000), the applicant shall provide a description of the method used including the name of the manufacturer of the test method along with the range and accuracy of the test. Field screening points shall be either major outfalls or other outfall points (or any other point of access such as manholes) randomly located throughout the storm sewer system by placing a grid over a drainage system map and identifying those cells of the grid which contain a segment of the storm sewer system or major outfall. The field screening points shall be established using the following guidelines and criteria:

(a) A grid system consisting of perpendicular north-south and east-west lines spaced 1/4 mile apart shall be overlayed on a map of the municipal storm sewer system, creating a series of cells;

(b) All cells that contain a segment of the storm sewer system shall be identified; one field screening point shall be selected in each cell; major outfalls may be used as field screening points;

(c) Field screening points should be located downstream of any sources of suspected illegal or illicit activity;

(d) Field screening points shall be located to the degree practicable at the farthest manhole or other accessible location downstream in the system, within each cell; however, safety of personnel and accessibility of the location should be considered in making this determination;

(e) Hydrological conditions; total drainage area of the site; population density of the site; traffic density; age of the structures or buildings in the area; history of the area; and land use types;

(f) For medium municipal separate storm sewer systems, no more than 250 cells need to have identified field screening points; in large municipal separate storm sewer systems, no more than 500 cells need to have identified field screening points; cells established by the grid that contain no storm sewer segments will be eliminated from consideration; if fewer than 250 cells in medium municipal sewers are created, and fewer than 500 in large systems are created by the overlay on the municipal sewer map, then all those cells which contain a segment of the sewer system shall be subject to field screening (unless access to the separate storm sewer system is impossible); and

(g) Large or medium municipal separate storm sewer systems which are unable to utilize the procedures described in subdivisions 1 d (4) (a) through (f) of this subsection, because a sufficiently detailed map of the separate storm sewer systems is unavailable, shall field screen no more than 500 or 250 major outfalls respectively (or all major outfalls in the system, if less); in such circumstances, the applicant shall establish a grid system consisting of north-south and east-west lines spaced 1/4 mile apart as an overlay to the boundaries of the municipal storm sewer system, thereby creating a series of cells; the applicant will then select major outfalls in as many cells as possible until at least 500 major outfalls (large municipalities) or 250 major outfalls (medium municipalities) are selected; a field screening analysis shall be undertaken at these major outfalls.

(5) Information and a proposed program to meet the requirements of subdivision 2 c of this subsection. Such description shall include: the location of outfalls or field screening points appropriate for representative data collection under subdivision 2 c (1) of this subsection, a description of why the outfall or field screening point is representative, the seasons during which sampling is intended, a description of the sampling equipment. The proposed location of outfalls or field screening points for such sampling should reflect water quality concerns (see subdivision 1 d (3) of this subsection) to the extent practicable;

e. Management programs.

(1) A description of the existing management programs to control pollutants from the municipal separate storm sewer system. The description shall provide information on existing structural and source controls, including operation and maintenance measures for structural controls, that are currently being implemented. Such controls may include, but are not limited to: Procedures to control pollution resulting from construction activities; floodplain management controls; wetland protection measures; best management practices for new subdivisions; and emergency spill response programs. The description may address controls established under state law as well as local requirements.

(2) A description of the existing program to identify illicit connections to the municipal storm sewer system. The description should include inspection procedures and methods for detecting and preventing illicit discharges, and describe areas where this program has been implemented; and

f. Fiscal resources. A description of the financial resources currently available to the municipality to complete Part 2 of the permit application. A description of the municipality's budget for existing storm water programs, including an overview of the municipality's financial resources and budget, including overall indebtedness and assets, and sources of funds for storm water programs.

2. Part 2 of the application shall consist of:

a. A demonstration that the applicant can operate pursuant to legal authority established by statute, ordinance or series of contracts which authorizes or enables the applicant at a minimum to:

(1) Control through ordinance, permit, contract, order or similar means, the contribution of pollutants to the municipal storm sewer by storm water discharges associated with industrial activity and the quality of storm water discharged from sites of industrial activity;

(2) Prohibit through ordinance, order or similar means, illicit discharges to the municipal separate storm sewer;

(3) Control through ordinance, order or similar means the discharge to a municipal separate storm sewer of spills, dumping or disposal of materials other than storm water;

(4) Control through interagency agreements among coapplicants the contribution of pollutants from one portion of the municipal system to another portion of the municipal system;

(5) Require compliance with conditions in ordinances, permits, contracts or orders; and

(6) Carry out all inspection, surveillance and monitoring procedures necessary to determine compliance and noncompliance with permit conditions including the prohibition on illicit discharges to the municipal separate storm sewer;

b. The location of any major outfall that discharges to surface waters that was not reported under subdivision 1 c (2) (a) of this subsection. Provide an inventory, organized by watershed of the name and address, and a description (such as SIC codes) which best reflects the principal products or services provided by each facility which may discharge, to the municipal separate storm sewer, storm water associated with industrial activity;

c. When quantitative data for a pollutant are required under subdivision 2 c (1) (c) of this subsection, the applicant must collect a sample of effluent in accordance with 9 VAC 25-31-100 G 7 and analyze it for the pollutant in accordance with analytical methods approved under 40 CFR Part 136 (1999 2000). When no analytical method is approved the applicant may use any suitable method but must provide a description of the method. The applicant must provide information characterizing the quality and quantity of discharges covered in the permit application, including:

(1) Quantitative data from representative outfalls designated by the board (based on information received in Part 1 of the application, the board shall designate between five and ten outfalls or field screening points as representative of the commercial, residential and industrial land use activities of the drainage area contributing to the system or, where there are less than five outfalls covered in the application, the board shall designate all outfalls) developed as follows:

(a) For each outfall or field screening point designated under this subsection, samples shall be collected of storm water discharges from three storm events occurring at least one month apart in accordance with the requirements at 9 VAC 25-31-100 G 7 (the board may allow exemptions to sampling three storm events when climatic conditions create good cause for such exemptions);

(b) A narrative description shall be provided of the date and duration of the storm event or events sampled, rainfall estimates of the storm event which generated the sampled discharge and the duration between the storm event sampled and the end of the previous measurable (greater than 0.1 inch rainfall) storm event;

(c) For samples collected and described under subdivisions 2 c (1) (a) and (1) (b) of this subsection, quantitative data shall be provided for: the organic pollutants listed in Table II; the pollutants listed in Table III (toxic metals, cyanide, and total phenols) of 40 CFR Part 122 Appendix D (1999 2000), and for the following pollutants:

Total suspended solids (TSS)

Total dissolved solids (TDS)

COD

BOD5

Oil and grease

Fecal coliform

Fecal streptococcus

pH

Total Kjeldahl nitrogen

Nitrate plus nitrite

Dissolved phosphorus

Total ammonia plus organic nitrogen

Total phosphorus

(d) Additional limited quantitative data required by the board for determining permit conditions (the board may require that quantitative data shall be provided for additional parameters, and may establish sampling conditions such as the location, season of sample collection, form of precipitation (snow melt, rainfall) and other parameters necessary to insure representativeness);

(2) Estimates of the annual pollutant load of the cumulative discharges to surface waters from all identified municipal outfalls and the event mean concentration of the cumulative discharges to surface waters from all identified municipal outfalls during a storm event (as described under 9 VAC 25-31-100 C 7) for BOD sub5 , COD, TSS, dissolved solids, total nitrogen, total ammonia plus organic nitrogen, total phosphorus, dissolved phosphorus, cadmium, copper, lead, and zinc. Estimates shall be accompanied by a description of the procedures for estimating constituent loads and concentrations, including any modeling, data analysis, and calculation methods;

(3) A proposed schedule to provide estimates for each major outfall identified in either subdivision 2 b or 1 c (2) (a) of this subsection of the seasonal pollutant load and of the event mean concentration of a representative storm for any constituent detected in any sample required under subdivision 2 c (1) of this subsection; and

(4) A proposed monitoring program for representative data collection for the term of the permit that describes the location of outfalls or field screening points to be sampled (or the location of instream stations), why the location is representative, the frequency of sampling, parameters to be sampled, and a description of sampling equipment;

d. A proposed management program which covers the duration of the permit. It shall include a comprehensive planning process which involves public participation and where necessary intergovernmental coordination, to reduce the discharge of pollutants to the maximum extent practicable using management practices, control techniques and system, design and engineering methods, and such other provisions which are appropriate. The program shall also include a description of staff and equipment available to implement the program. Separate proposed programs may be submitted by each coapplicant. Proposed programs may impose controls on a system wide basis, a watershed basis, a jurisdiction basis, or on individual outfalls. Proposed programs will be considered by the board when developing permit conditions to reduce pollutants in discharges to the maximum extent practicable. Proposed management programs shall describe priorities for implementing controls. Such programs shall be based on:

(1) A description of structural and source control measures to reduce pollutants from run-off from commercial and residential areas that are discharged from the municipal storm sewer system that are to be implemented during the life of the permit, accompanied with an estimate of the expected reduction of pollutant loads and a proposed schedule for implementing such controls. At a minimum, the description shall include:

(a) A description of maintenance activities and a maintenance schedule for structural controls to reduce pollutants (including floatables) in discharges from municipal separate storm sewers;

(b) A description of planning procedures including a comprehensive master plan to develop, implement and enforce controls to reduce the discharge of pollutants from municipal separate storm sewers which receive discharges from areas of new development and significant redevelopment. Such plan shall address controls to reduce pollutants in discharges from municipal separate storm sewers after construction is completed. (Controls to reduce pollutants in discharges from municipal separate storm sewers containing construction site run-off are addressed in subdivision 2 d (4) of this subsection);

(c) A description of practices for operating and maintaining public streets, roads and highways and procedures for reducing the impact on receiving waters of discharges from municipal storm sewer systems, including pollutants discharged as a result of deicing activities;

(d) A description of procedures to assure that flood management projects assess the impacts on the water quality of receiving water bodies and that existing structural flood control devices have been evaluated to determine if retrofitting the device to provide additional pollutant removal from storm water is feasible;

(e) A description of a program to monitor pollutants in run-off from operating or closed municipal landfills or other treatment, storage or disposal facilities for municipal waste, which shall identify priorities and procedures for inspections and establishing and implementing control measures for such discharges (this program can be coordinated with the program developed under subdivision 2 d (3) of this subsection); and

(f) A description of a program to reduce to the maximum extent practicable, pollutants in discharges from municipal separate storm sewers associated with the application of pesticides, herbicides and fertilizer which will include, as appropriate, controls such as educational activities, permits, certifications and other measures for commercial applicators and distributors, and controls for application in public right-of-ways and at municipal facilities;

(2) A description of a program, including a schedule, to detect and remove (or require the discharger to the municipal separate storm sewer to obtain a separate VPDES permit for) illicit discharges and improper disposal into the storm sewer. The proposed program shall include:

(a) A description of a program, including inspections, to implement and enforce an ordinance, orders or similar means to prevent illicit discharges to the municipal separate storm sewer system; this program description shall address all types of illicit discharges, however the following category of nonstorm water discharges or flows shall be addressed where such discharges are identified by the municipality as sources of pollutants to surface waters: water line flushing, landscape irrigation, diverted stream flows, rising groundwaters, uncontaminated groundwater infiltration to separate storm sewers, uncontaminated pumped groundwater, discharges from potable water sources, foundation drains, air conditioning condensation, irrigation water, springs, water from crawl space pumps, footing drains, lawn watering, individual residential car washing, flows from riparian habitats and wetlands, dechlorinated swimming pool discharges, and street wash water (program descriptions shall address discharges or flows from fire fighting only where such discharges or flows are identified as significant sources of pollutants to surface waters);

(b) A description of procedures to conduct on-going field screening activities during the life of the permit, including areas or locations that will be evaluated by such field screens;

(c) A description of procedures to be followed to investigate portions of the separate storm sewer system that, based on the results of the field screen, or other appropriate information, indicate a reasonable potential of containing illicit discharges or other sources of nonstorm water (such procedures may include: sampling procedures for constituents such as fecal coliform, fecal streptococcus, surfactants (Methylene Blue Active Substances--MBAS), residual chlorine, fluorides and potassium; testing with fluorometric dyes; or conducting in storm sewer inspections where safety and other considerations allow. Such description shall include the location of storm sewers that have been identified for such evaluation);

(d) A description of procedures to prevent, contain, and respond to spills that may discharge into the municipal separate storm sewer;

(e) A description of a program to promote, publicize, and facilitate public reporting of the presence of illicit discharges or water quality impacts associated with discharges from municipal separate storm sewers;

(f) A description of educational activities, public information activities, and other appropriate activities to facilitate the proper management and disposal of used oil and toxic materials; and

(g) A description of controls to limit infiltration of seepage from municipal sanitary sewers to municipal separate storm sewer systems where necessary;

(3) A description of a program to monitor and control pollutants in storm water discharges to municipal systems from municipal landfills, hazardous waste treatment, disposal and recovery facilities, industrial facilities that are subject to § 313 of Title III of the Superfund Amendments and Reauthorization Act of 1986 (SARA, 42 USC § 11023), and industrial facilities that the municipal permit applicant determines are contributing a substantial pollutant loading to the municipal storm sewer system. The program shall:

(a) Identify priorities and procedures for inspections and establishing and implementing control measures for such discharges;

(b) Describe a monitoring program for storm water discharges associated with the industrial facilities identified in subdivision 2 d (3) of this subsection, to be implemented during the term of the permit, including the submission of quantitative data on the following constituents: any pollutants limited in effluent guidelines subcategories, where applicable; any pollutant listed in an existing VPDES permit for a facility; oil and grease, COD, pH, BOD sub5 , TSS, total phosphorus, total Kjeldahl nitrogen, nitrate plus nitrite nitrogen, and any information on discharges required under 9 VAC 25-31-100 G 7 f and g; and

(4) A description of a program to implement and maintain structural and nonstructural best management practices to reduce pollutants in storm water run-off from construction sites to the municipal storm sewer system, which shall include:

(a) A description of procedures for site planning which incorporate consideration of potential water quality impacts;

(b) A description of requirements for nonstructural and structural best management practices;

(c) A description of procedures for identifying priorities for inspecting sites and enforcing control measures which consider the nature of the construction activity, topography, and the characteristics of soils and receiving water quality; and

(d) A description of appropriate educational and training measures for construction site operators;

e. Estimated reductions in loadings of pollutants from discharges of municipal storm sewer constituents from municipal storm sewer systems expected as the result of the municipal storm water quality management program. The assessment shall also identify known impacts of storm water controls on groundwater;

f. For each fiscal year to be covered by the permit, a fiscal analysis of the necessary capital and operation and maintenance expenditures necessary to accomplish the activities of the programs under subdivisions 2 c and d of this subsection. Such analysis shall include a description of the source of funds that are proposed to meet the necessary expenditures, including legal restrictions on the use of such funds;

g. Where more than one legal entity submits an application, the application shall contain a description of the roles and responsibilities of each legal entity and procedures to ensure effective coordination; and

h. Where requirements under subdivisions 1 d (5), 2 b, 2 c (2), and 2 d of this subsection are not practicable or are not applicable, the board may exclude any operator of a discharge from a municipal separate storm sewer which is designated under subdivision A 1 e of this section, or which is located in the counties listed in 40 CFR Part 122 Appendix H or Appendix I (1999 2000) (except municipal separate storm sewers that are located in the incorporated places, townships or towns within such counties) from such requirements. The board shall not exclude the operator of a discharge from a municipal separate storm sewer identified in 40 CFR Part 122 Appendix F, G, H or I (1999 2000) from any of the permit application requirements under this subdivision except where authorized under this subsection.

D. Application deadlines. Any operator of a point source required to obtain a permit under this section that does not have an effective VPDES permit authorizing discharges from its storm water outfalls shall submit an application in accordance with the following deadlines:

1. Individual applications.

a. Except as provided in subdivision 1 b of this subsection, for any storm water discharge associated with industrial activity as defined in this chapter which is not authorized by a storm water general permit, a permit application made pursuant to subsection B of this section shall be submitted to the department by October 1, 1992;

b. For any storm water discharge associated with industrial activity from a facility that is owned or operated by a municipality with a population of less than 100,000 that is not authorized by a general or individual permit, other than an airport, powerplant, or uncontrolled sanitary landfill, permit applications must be submitted to the department by March 10, 2003;

2. For any discharge from a large municipal separate storm sewer system:

a. Part 1 of the application shall be submitted to the department by November 18, 1991;

b. Based on information received in the Part 1 application the board will approve or deny a sampling plan under subdivision C 1 d (5) of this section within 90 days after receiving the Part 1 application; and

c. Part 2 of the application shall be submitted to the department by November 16, 1992;

3. For any discharge from a medium municipal separate storm sewer system:

a. Part 1 of the application shall be submitted to the department by May 18, 1992;

b. Based on information received in the Part 1 application the board will approve or deny a sampling plan under subdivision C 1 d (5) of this section within 90 days after receiving the Part 1 application; and

c. Part 2 of the application shall be submitted to the department by May 17, 1993;

4. A permit application shall be submitted to the department within 180 days of notice, unless permission for a later date is granted by the board, for:

a. A storm water discharge which either the board or the regional administrator, determines that the discharge contributes to a violation of a water quality standard or is a significant contributor of pollutants to surface waters; or

b. A storm water discharge subject to subdivision B 1 e of this section;

5. Facilities with existing VPDES permits for storm water discharges associated with industrial activity shall maintain existing permits. Facilities with permits for storm water discharges associated with industrial activity which expire on or after May 18, 1992 shall submit a new application in accordance with the requirements of 9 VAC 25-31-100 and 9 VAC 25-31-120 C (Form 1, Form 2F, and other applicable forms) 180 days before the expiration of such permits.

6. For any storm water discharge associated with small construction activity, see 9 VAC 25-31-100 C 1. Discharges from these sources require permit authorization by March 10, 2003, unless designated for coverage before then.

7. For any discharge from a regulated small MS4, the permit application made under 9 VAC 25-31-121 C must be submitted to the department by:

a. March 10, 2003, if designated under 9 VAC 25-31-121 B 1, unless your MS4 serves a jurisdiction with a population under 10,000 and the board has established a phasing schedule under 40 CFR 123.35(d)(3) (1999 2000); or

b. Within 180 days of notice, unless the board grants a later date.

E. Petitions.

1. Any operator of a municipal separate storm sewer system may petition the board to require a separate VPDES permit for any discharge into the municipal separate storm sewer system.

2. Any person may petition the board to require a VPDES permit for a discharge which is composed entirely of storm water which contributes to a violation of a water quality standard or is a significant contributor of pollutants to surface waters.

3. The owner or operator of a municipal separate storm sewer system may petition the board to reduce the Census estimates of the population served by such separate system to account for storm water discharged to combined sewers as defined by 40 CFR 5.2005(b)(11) (1999 2000) that is treated in a publicly owned treatment works. In municipalities in which combined sewers are operated, the Census estimates of population may be reduced proportional to the fraction, based on estimated lengths, of the length of combined sewers over the sum of the length of combined sewers and municipal separate storm sewers where an applicant has submitted the VPDES permit number associated with each discharge point and a map indicating areas served by combined sewers and the location of any combined sewer overflow discharge point.

4. Any person may petition the board for the designation of a large, medium or small municipal separate storm sewer system as defined by this chapter.

5. The board shall make a final determination on any petition received under this section within 90 days after receiving the petition with the exception of petitions to designate a small MS4, in which case the board shall make a final determination on the petition within 180 days after its receipt.

F. Conditional exclusion for no exposure of industrial activities and materials to storm water. Discharges composed entirely of storm water are not storm water discharges associated with industrial activity if there is no exposure of industrial materials and activities to rain, snow, snowmelt or run-off and the discharger satisfies the conditions in subdivisions 1 through 4 of this subsection. No exposure means that all industrial materials and activities are protected by a storm resistant shelter to prevent exposure to rain, snow, snowmelt, and run-off. Industrial materials or activities include, but are not limited to, material handling equipment or activities, industrial machinery, raw materials, intermediate products, by-products, final products, or waste products. Material handling activities include the storage, loading and unloading, transportation, or conveyance of any raw material, intermediate product, final product or waste product.

1. To qualify for this exclusion, the operator of the discharge must:

a. Provide a storm resistant shelter to protect industrial materials and activities from exposure to rain, snow, snow melt, and run-off;

b. Complete and sign (according to 9 VAC 25-31-110) a certification that there are no discharges of storm water contaminated by exposure to industrial materials and activities from the entire facility, except as provided in subdivision 2 of this subsection;

c. Submit the signed certification to the department once every five years;

d. Allow the department to inspect the facility to determine compliance with the no exposure conditions;

e. Allow the department to make any no exposure inspection reports available to the public upon request; and

f. For facilities that discharge through an MS4, upon request, submit a copy of the certification of no exposure to the MS4 operator, as well as allow inspection and public reporting by the MS4 operator.

2. Storm resistant shelter is not required for:

a. Drums, barrels, tanks, and similar containers that are tightly sealed, provided those containers are not deteriorated and do not leak ("sealed" means banded or otherwise secured and without operational taps or valves);

b. Adequately maintained vehicles used in material handling; and

c. Final products, other than products that would be mobilized in storm water discharge (e.g., rock salt).

3. a. Storm water discharges from construction activities are not eligible for this conditional exclusion.

b. This conditional exclusion from the requirement for a VPDES permit is available on a facility-wide basis only, not for individual outfalls. If a facility has some discharges of storm water that would otherwise be no exposure discharges, individual permit requirements should be adjusted accordingly.

c. If circumstances change and industrial materials or activities become exposed to rain, snow, snow melt, or run-off, the conditions for this exclusion no longer apply. In such cases, the discharge becomes subject to enforcement for unpermitted discharge. Any conditionally exempt discharger who anticipates changes in circumstances should apply for and obtain permit authorization prior to the change of circumstances.

d. Notwithstanding the provisions of this subsection, the board retains the authority to require permit authorization (and deny this exclusion) upon making a determination that the discharge causes, has a reasonable potential to cause, or contributes to an instream excursion above an applicable water quality standard, including designated uses.

4. The no exposure certification must require the submission of the following information, at a minimum, to aid the board in determining if the facility qualifies for the no exposure exclusion:

a. The legal name, address and phone number of the discharger.

b. The facility name and address, the county name and the latitude and longitude where the facility is located.

c. Certification that indicates that none of the following materials or activities are, or will be in the foreseeable future, exposed to precipitation:

(1) Using, storing or cleaning industrial machinery or equipment, and areas where residuals from using, storing or cleaning industrial machinery or equipment remain and are exposed to storm water;

(2) Materials or residuals on the ground or in storm water inlets from spills/leaks;

(3) Materials or products from past industrial activity;

(4) Material handling equipment (except adequately maintained vehicles);

(5) Materials or products during loading/unloading or transporting activities;

(6) Materials or products stored outdoors (except final products intended for outside use, e.g., new cars, where exposure to storm water does not result in the discharge of pollutants);

(7) Materials contained in open, deteriorated or leaking storage drums, barrels, tanks, and similar containers;

(8) Materials or products handled/stored on roads or railways owned or maintained by the discharger;

(9) Waste material (except waste in covered, nonleaking containers, e.g., dumpsters);

(10) Application or disposal of process wastewater (unless otherwise permitted); and

(11) Particulate matter or visible deposits of residuals from roof stacks/vents not otherwise regulated, i.e., under an air quality control permit, and evident in the storm water outflow.

d. All no exposure certifications must include the following certification statement and be signed in accordance with the signatory requirements of 9 VAC 25-31-110: "I certify under penalty of law that I have read and understand the eligibility requirements for claiming a condition of no exposure and obtaining an exclusion from VPDES storm water permitting; and that there are no discharges of storm water contaminated by exposure to industrial activities or materials from the industrial facility identified in this document (except as allowed under 9 VAC 25-31-120 F 2). I understand that I am obligated to submit a no exposure certification form once every five years to the Department of Environmental Quality and, if requested, to the operator of the local MS4 into which this facility discharges (where applicable). I understand that I must allow the department, or MS4 operator where the discharge is into the local MS4, to perform inspections to confirm the condition of no exposure and to make such inspection reports publicly available upon request. I understand that I must obtain coverage under a VPDES permit prior to any point source discharge of storm water associated with industrial activity from the facility. I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based upon my inquiry of the person or persons who manage the system, or those persons directly involved in gathering the information, the information submitted is to the best of my knowledge and belief true, accurate and complete. I am aware there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations."

9 VAC 25-31-121. Small municipal separate storm sewer systems.

A. Objectives of the storm water regulations for small MS4s.

1. Subsections A through G of this section are written in a "readable regulation" format that includes both rule requirements and guidance that is not legally binding. The recommended guidance is distinguished from the regulatory requirements by putting the guidance in a separate subdivision headed by the word "Note."

2. Under the statutory mandate in § 402(p)(6) of the Clean Water Act, the purpose of this portion of the storm water program is to designate additional sources that need to be regulated to protect water quality and to establish a comprehensive storm water program to regulate these sources.

3. Storm water run-off continues to harm the nation's waters. Run-off from lands modified by human activities can harm surface water resources in several ways including by changing natural hydrologic patterns and by elevating pollutant concentrations and loadings. Storm water run-off may contain or mobilize high levels of contaminants, such as sediment, suspended solids, nutrients, heavy metals, pathogens, toxins, oxygen-demanding substances, and floatables.

4. The board strongly encourages partnerships and the watershed approach as the management framework for efficiently, effectively, and consistently protecting and restoring aquatic ecosystems and protecting public health.

B. As an operator of a small MS4, am I regulated under the VPDES storm water program?

1. Unless you qualify for a waiver under subdivision 3 of this subsection, you are regulated if you operate a small MS4, including but not limited to systems operated by federal, state, tribal, and local governments, including the state Department of Transportation; and

a. Your small MS4 is located in an urbanized area as determined by the latest decennial census by the Bureau of the Census (If your small MS4 is not located entirely within an urbanized area, only the portion that is within the urbanized area is regulated); or

b. You are designated by the board, including where the designation is pursuant to subdivisions E 2 c and d of this section or is based upon a petition under 9 VAC 25-31-120 E.

2. You may be the subject of a petition to the board to require a VPDES permit for your discharge of storm water. If the board determines that you need a permit, you are required to comply with subsections C through E of this section.

3. The board may waive the requirements otherwise applicable to you if you meet the criteria of subdivision 4 or 5 of this subsection. If you receive a waiver under this section, you may subsequently be required to seek coverage under a VPDES permit in accordance with subdivision C 1 of this section if circumstances change. (See also subdivision E 2 of this section).

4. The board may waive permit coverage if your MS4 serves a population of less than 1,000 within the urbanized area and you meet the following criteria:

a. Your system is not contributing substantially to the pollutant loadings of a physically interconnected MS4 that is regulated by the VPDES storm water program (see subdivision E 2 d of this section); and

b. If you discharge any pollutants that have been identified as a cause of impairment of any water body to which you discharge, storm water controls are not needed based on wasteload allocations that are part of an EPA approved or established "total maximum daily load" (TMDL) that addresses the pollutants of concern.

5. The board may waive permit coverage if your MS4 serves a population under 10,000 and you meet the following criteria:

a. The board has evaluated all surface waters, including small streams, tributaries, lakes, and ponds, that receive a discharge from your MS4;

b. For all such waters, the board has determined that storm water controls are not needed based on wasteload allocations that are part of an EPA approved or established TMDL that addresses the pollutants of concern or, if a TMDL has not been developed or approved, an equivalent analysis that determines sources and allocations for the pollutants of concern;

c. For the purpose of subdivision 5 of this subsection, the pollutants of concern include biochemical oxygen demand (BOD), sediment or a parameter that addresses sediment (such as total suspended solids, turbidity or siltation), pathogens, oil and grease, and any pollutant that has been identified as a cause of impairment of any water body that will receive a discharge from your MS4; and

d. The board has determined that future discharges from your MS4 do not have the potential to result in exceedances of water quality standards, including impairment of designated uses, or other significant water quality impacts, including habitat and biological impacts.

C. If I am an operator of a regulated small MS4, how do I apply for a VPDES permit and when do I have to apply?

1. If you operate a regulated small MS4 under subsection B of this section, you must seek coverage under a VPDES permit issued by the board.

2. You must seek authorization to discharge under a general or individual VPDES permit, as follows:

a. If the board has issued a general permit applicable to your discharge and you are seeking coverage under the general permit, you must submit a registration statement that includes the information on your best management practices and measurable goals required by subdivision D 4 of this section. You may file your own registration statement, or you and other municipalities or governmental entities may jointly submit a registration statement. If you want to share responsibilities for meeting the minimum measures with other municipalities or governmental entities, you must submit a registration statement that describes which minimum measures you will implement and identify the entities that will implement the other minimum measures within the area served by your MS4. The general permit will explain any other steps necessary to obtain permit authorization.

b. (1) If you are seeking authorization to discharge under an individual permit and wish to implement a program under subsection D of this section, you must submit an application to the board that includes the information required under 9 VAC 25-31-100 F and subdivision D 4 of this section, an estimate of square mileage served by your small MS4, and any additional information that the board requests. A storm sewer map that satisfies the requirement of subdivision D 2 c (1) of this section will satisfy the map requirement in 9 VAC 25-31-100 F 7.

(2) If you are seeking authorization to discharge under an individual permit and wish to implement a program that is different from the program under subsection D of this section, you will need to comply with the permit application requirements of 9 VAC 25-31-120 C. You must submit both parts of the application requirements in 9 VAC 25-31-120 C 1 and 2 by March 10, 2003. You do not need to submit the information required by 9 VAC 25-31-120 C 1 b and C 2 regarding your legal authority, unless you intend for the permit writer to take such information into account when developing your other permit conditions.

(3) If allowed by the board, you and another regulated entity may jointly apply under either subdivision 2 b (1) or (2) of this subsection to be co-permittees under an individual permit.

c. If your small MS4 is in the same urbanized area as a medium or large MS4 with a VPDES storm water permit and that other MS4 is willing to have you participate in its storm water program, you and the other MS4 may jointly seek a modification of the other MS4 permit to include you as a limited co-permittee. As a limited co-permittee, you will be responsible for compliance with the permit's conditions applicable to your jurisdiction. If you choose this option you will need to comply with the permit application requirements of 9 VAC 25-31-120, rather than the requirements of subsection D of this section. You do not need to comply with the specific application requirements of 9 VAC 25-31-120 C 1 c and d and 9 VAC 25-31-120 C 2 c (discharge characterization). You may satisfy the requirements in 9 VAC 25-31-120 C 1 e and 2 d (identification of a management program) by referring to the other MS4's storm water management program.

d. NOTE: In referencing an MS4's storm water management program, you should briefly describe how the existing plan will address discharges from your small MS4 or would need to be supplemented in order to adequately address your discharges. You should also explain your role in coordinating storm water pollutant control activities in your MS4 and detail the resources available to you to accomplish the plan.

3. If you operate a regulated small MS4:

a. Designated under subdivision B 1 a of this section, you must apply for coverage under a VPDES permit or apply for a modification of an existing VPDES permit under subdivision 2 c of this subsection by March 10, 2003, unless your MS4 serves a jurisdiction with a population under 10,000 and the board has established a schedule for phasing in permit coverage with a final deadline of March 8, 2007.

b. Designated under subdivision B 1 b of this section, you must apply for coverage under a VPDES permit or apply for a modification of an existing VPDES permit under subdivision 2 c of this subsection within 180 days of notice, unless the board grants a later date.

D. As an operator of a regulated small MS4, what will my VPDES MS4 storm water permit require?

1. Your VPDES MS4 permit will require at a minimum that you develop, implement, and enforce a storm water management program designed to reduce the discharge of pollutants from your MS4 to the maximum extent practicable (MEP), to protect water quality, and to satisfy the appropriate water quality requirements of the Clean Water Act and the State Water Control Law. Your storm water management program must include the minimum control measures described in subdivision 2 of this subsection unless you apply for a permit under 9 VAC 25-31-120 C. For purposes of this section, narrative effluent limitations requiring implementation of best management practices (BMPs) are generally the most appropriate form of effluent limitations when designed to satisfy technology requirements (including reductions of pollutants to the maximum extent practicable) and to protect water quality. Implementation of best management practices consistent with the provisions of the storm water management program required pursuant to this section and the provisions of the permit required pursuant to subsection C of this section constitutes compliance with the standard of reducing pollutants to the maximum extent practicable. The board will specify a time period of up to five years from the date of permit issuance for you to develop and implement your program.

2. Minimum control measures.

a. Public education and outreach on storm water impacts.

(1) You must implement a public education program to distribute educational materials to the community or conduct equivalent outreach activities about the impacts of storm water discharges on water bodies and the steps that the public can take to reduce pollutants in storm water run-off.

(2) NOTE: You may use storm water educational materials provided by the state, your tribe, EPA, environmental, public interest or trade organizations, or other MS4s. The public education program should inform individuals and households about the steps they can take to reduce storm water pollution, such as ensuring proper septic system maintenance, ensuring the proper use and disposal of landscape and garden chemicals including fertilizers and pesticides, protecting and restoring riparian vegetation, and properly disposing of used motor oil or household hazardous wastes. The board recommends that the program inform individuals and groups how to become involved in local stream and beach restoration activities as well as activities that are coordinated by youth service and conservation corps or other citizen groups. The board recommends that the public education program be tailored, using a mix of locally appropriate strategies, to target specific audiences and communities. Examples of strategies include: distributing brochures or fact sheets, sponsoring speaking engagements before community groups, providing public service announcements, implementing educational programs targeted at school-age children, and conducting community-based projects such as storm drain stenciling, and watershed and beach cleanups. In addition, the board recommends that some of the materials or outreach programs be directed toward targeted groups of commercial, industrial, and institutional entities likely to have significant storm water impacts. For example, providing information to restaurants on the impact of grease clogging storm drains and to garages on the impact of oil discharges. You are encouraged to tailor your outreach program to address the viewpoints and concerns of all communities, particularly minority and disadvantaged communities, as well as any special concerns relating to children.

b. Public involvement/participation.

(1) You must, at a minimum, comply with state, tribal, and local public notice requirements when implementing a public involvement/participation program.

(2) The board recommends that the public be included in developing, implementing, and reviewing your storm water management program and that the public participation process should make efforts to reach out and engage all economic and ethnic groups. Opportunities for members of the public to participate in program development and implementation include serving as citizen representatives on a local storm water management panel, attending public hearings, working as citizen volunteers to educate other individuals about the program, assisting in program coordination with other pre-existing programs, or participating in volunteer monitoring efforts. (Citizens should obtain approval where necessary for lawful access to monitoring sites.)

c. Illicit discharge detection and elimination.

(1) You must develop, implement and enforce a program to detect and eliminate illicit discharges (as defined in 9 VAC 25-31-10) into your small MS4.

(2) You must:

(a) Develop, if not already completed, a storm sewer system map, showing the location of all outfalls and the names and location of all surface waters that receive discharges from those outfalls;

(b) To the extent allowable under state, tribal or local law, effectively prohibit, through ordinance or other regulatory mechanism, nonstorm water discharges into your storm sewer system and implement appropriate enforcement procedures and actions;

(c) Develop and implement a plan to detect and address nonstorm water discharges, including illegal dumping, to your system; and

(d) Inform public employees, businesses, and the general public of hazards associated with illegal discharges and improper disposal of waste.

(3) You need to address the following categories of nonstorm water discharges or flows (i.e., illicit discharges) only if you identify them as significant contributors of pollutants to your small MS4: water line flushing, landscape irrigation, diverted stream flows, rising groundwaters, uncontaminated groundwater infiltration (as defined in 40 CFR 35.2005(20) (1999 2000)), uncontaminated pumped groundwater, discharges from potable water sources, foundation drains, air conditioning condensation, irrigation water, springs, water from crawl space pumps, footing drains, lawn watering, individual residential car washing, flows from riparian habitats and wetlands, dechlorinated swimming pool discharges, and street wash water. (Discharges or flows from fire-fighting activities are excluded from the effective prohibition against nonstorm water and need only be addressed where they are identified as significant sources of pollutants to surface waters.)

(4) NOTE: The board recommends that the plan to detect and address illicit discharges include the following four components: (i) procedures for locating priority areas likely to have illicit discharges, (ii) procedures for tracing the source of an illicit discharge, (iii) procedures for removing the source of the discharge, and (iv) procedures for program evaluation and assessment. The board recommends visually screening outfalls during dry weather and conducting field tests of selected pollutants as part of the procedures for locating priority areas. Illicit discharge education actions may include storm drain stenciling; a program to promote, publicize, and facilitate public reporting of illicit connections or discharges; and distribution of outreach materials.

d. Construction site storm water run-off control.

(1) You must develop, implement, and enforce a program to reduce pollutants in any storm water run-off to your small MS4 from construction activities that result in a land disturbance of greater than or equal to one acre. Reduction of storm water discharges from construction activity disturbing less than one acre must be included in your program if that construction activity is part of a larger common plan of development or sale that would disturb one acre or more. If the board waives requirements for storm water discharges associated with small construction activity in accordance with the definition in 9 VAC 25-31-10, you are not required to develop, implement, and/or enforce a program to reduce pollutant discharges from such sites.

(2) Your program must include the development and implementation of, at a minimum:

(a) An ordinance or other regulatory mechanism to require erosion and sediment controls, as well as sanctions to ensure compliance, to the extent allowable under state, tribal, or local law;

(b) Requirements for construction site operators to implement appropriate erosion and sediment control best management practices;

(c) Requirements for construction site operators to control waste such as discarded building materials, concrete truck washout, chemicals, litter, and sanitary waste at the construction site that may cause adverse impacts to water quality;

(d) Procedures for site plan review which incorporate consideration of potential water quality impacts;

(e) Procedures for receipt and consideration of information submitted by the public; and

(f) Procedures for site inspection and enforcement of control measures.

(3) NOTE: Examples of sanctions to ensure compliance include nonmonetary penalties, fines, bonding requirements and/or permit denials for noncompliance. The board recommends that procedures for site plan review include the review of individual pre-construction site plans to ensure consistency with local sediment and erosion control requirements. Procedures for site inspections and enforcement of control measures could include steps to identify priority sites for inspection and enforcement based on the nature of the construction activity, topography, and the characteristics of soils and receiving water quality. You are encouraged to provide appropriate educational and training measures for construction site operators. You may wish to require a storm water pollution prevention plan for construction sites within your jurisdiction that discharge into your system. (See 9 VAC 25-31-220 R and subdivision E 2 of this section.) The board may recognize that another government entity may be responsible for implementing one or more of the minimum measures on your behalf.

e. Post-construction storm water management in new development and redevelopment.

(1) You must develop, implement, and enforce a program to address storm water run-off from new development and redevelopment projects that disturb greater than or equal to one acre, including projects less than one acre that are part of a larger common plan of development or sale, that discharge into your small MS4. Your program must ensure that controls are in place that would prevent or minimize water quality impacts.

(2) You must:

(a) Develop and implement strategies which include a combination of structural and/or nonstructural best management practices (BMPs) appropriate for your community;

(b) Use an ordinance or other regulatory mechanism to address post-construction run-off from new development and redevelopment projects to the extent allowable under state, tribal or local law; and

(c) Ensure adequate long-term operation and maintenance of BMPs.

(3) NOTE: If water quality impacts are considered from the beginning stages of a project, new development and potentially redevelopment provide more opportunities for water quality protection. The board recommends that the BMPs chosen be appropriate for the local community, minimize water quality impacts, and attempt to maintain pre-development run-off conditions. In choosing appropriate BMPs, the board encourages you to participate in locally based watershed planning efforts which attempt to involve a diverse group of stakeholders, including interested citizens. When developing a program that is consistent with this measure's intent, the board recommends that you adopt a planning process that identifies the municipality's program goals (e.g., minimize water quality impacts resulting from post-construction run-off from new development and redevelopment), implementation strategies (e.g., adopt a combination of structural and/or nonstructural BMPs), operation and maintenance policies and procedures, and enforcement procedures. In developing your program, you should consider assessing existing ordinances, policies, programs and studies that address storm water run-off quality. In addition to assessing these existing documents and programs, you should provide opportunities to the public to participate in the development of the program. Nonstructural BMPs are preventative actions that involve management and source controls such as: (i) policies and ordinances that provide requirements and standards to direct growth to identified areas, protect sensitive areas such as wetlands and riparian areas, maintain and/or increase open space (including a dedicated funding source for open space acquisition), provide buffers along sensitive water bodies, minimize impervious surfaces, and minimize disturbance of soils and vegetation; (ii) policies or ordinances that encourage infill development in higher density urban areas, and areas with existing infrastructure; (iii) education programs for developers and the public about project designs that minimize water quality impacts; and (iv) measures such as minimization of percent impervious area after development and minimization of directly connected impervious areas. Structural BMPs include: storage practices such as wet ponds and extended-detention outlet structures; filtration practices such as grassed swales, sand filters and filter strips; and infiltration practices such as infiltration basins and infiltration trenches. The board recommends that you ensure the appropriate implementation of the structural BMPs by considering some or all of the following: pre-construction review of BMP designs; inspections during construction to verify BMPs are built as designed; post-construction inspection and maintenance of BMPs; and penalty provisions for the noncompliance with design, construction or operation and maintenance. Storm water technologies are constantly being improved, and the board recommends that your requirements be responsive to these changes, developments or improvements in control technologies.

f. Pollution prevention/good housekeeping for municipal operations.

(1) You must develop and implement an operation and maintenance program that includes a training component and has the ultimate goal of preventing or reducing pollutant run-off from municipal operations. Using training materials that are available from EPA, state, tribe, or other organizations, your program must include employee training to prevent and reduce storm water pollution from activities such as park and open space maintenance, fleet and building maintenance, new construction and land disturbances, and storm water system maintenance.

(2) NOTE: The board recommends that, at a minimum, you consider the following in developing your program: maintenance activities, maintenance schedules, and long-term inspection procedures for structural and nonstructural storm water controls to reduce floatables and other pollutants discharged from your separate storm sewers; controls for reducing or eliminating the discharge of pollutants from streets, roads, highways, municipal parking lots, maintenance and storage yards, fleet or maintenance shops with outdoor storage areas, salt/sand storage locations and snow disposal areas operated by you, and waste transfer stations; procedures for properly disposing of waste removed from the separate storm sewers and areas listed above (such as dredge spoil, accumulated sediments, floatables, and other debris); and ways to ensure that new flood management projects assess the impacts on water quality and examine existing projects for incorporating additional water quality protection devices or practices. Operation and maintenance should be an integral component of all storm water management programs. This measure is intended to improve the efficiency of these programs and require new programs where necessary. Properly developed and implemented operation and maintenance programs reduce the risk of water quality problems.

3. If an existing qualifying local program requires you to implement one or more of the minimum control measures of subdivision 2 of this subsection, the board may include conditions in your VPDES permit that direct you to follow that qualifying program's requirements rather than the requirements of subdivision 2 of this subsection. A qualifying local program is a local, state or tribal municipal storm water management program that imposes, at a minimum, the relevant requirements of subdivision 2 of this subsection.

4.a. In your permit application (either a registration statement for coverage under a general permit or an individual permit application), you must identify and submit to the board the following information:

(1) The best management practices (BMPs) that you or another entity will implement for each of the storm water minimum control measures provided in subdivision 2 of this subsection;

(2) The measurable goals for each of the BMPs including, as appropriate, the months and years in which you will undertake required actions, including interim milestones and the frequency of the action; and

(3) The person or persons responsible for implementing or coordinating your storm water management program.

b. If you obtain coverage under a general permit, you are not required to meet any measurable goals identified in your registration statement in order to demonstrate compliance with the minimum control measures in subdivisions 2 c through f of this subsection unless, prior to submitting your registration statement, EPA or the board has provided or issued a menu of BMPs that addresses each such minimum measure. Even if no regulatory authority issues the menu of BMPs, however, you still must comply with other requirements of the general permit, including good faith implementation of BMPs designed to comply with the minimum measures.

c. NOTE: Either EPA or the board will provide a menu of BMPs. You may choose BMPs from the menu or select others that satisfy the minimum control measures.

5. a. You must comply with any more stringent effluent limitations in your permit, including permit requirements that modify or are in addition to the minimum control measures based on an approved total maximum daily load (TMDL) or equivalent analysis. The board may include such more stringent limitations based on a TMDL or equivalent analysis that determines such limitations are needed to protect water quality.

b. NOTE: The board strongly recommends that until the evaluation of the storm water program in subsection G of this section, no additional requirements beyond the minimum control measures be imposed on regulated small MS4s without the agreement of the operator of the affected small MS4, except where an approved TMDL or equivalent analysis provides adequate information to develop more specific measures to protect water quality.

6. You must comply with other applicable VPDES permit requirements, standards and conditions established in the individual or general permit developed consistent with the provisions of 9 VAC 25-31-190 through 9 VAC 25-31-250, as appropriate.

7. Evaluation and assessment.

a. You must evaluate program compliance, the appropriateness of your identified best management practices, and progress towards achieving your identified measurable goals. The board may determine monitoring requirements for you in accordance with monitoring plans appropriate to your watershed. Participation in a group monitoring program is encouraged.

b. You must keep records required by the VPDES permit for at least three years. You must submit your records to the department only when specifically asked to do so. You must make your records, including a description of your storm water management program, available to the public at reasonable times during regular business hours (see 9 VAC 25-31-80 for confidentiality provision). You may assess a reasonable charge for copying. You may require a member of the public to provide advance notice.

c. Unless you are relying on another entity to satisfy your VPDES permit obligations under subdivision E 1 of this section, you must submit annual reports to the department for your first permit term. For subsequent permit terms, you must submit reports in years two and four unless the department requires more frequent reports. Your report must include:

(1) The status of compliance with permit conditions, an assessment of the appropriateness of your identified best management practices and progress towards achieving your identified measurable goals for each of the minimum control measures;

(2) Results of information collected and analyzed, including monitoring data, if any, during the reporting period;

(3) A summary of the storm water activities you plan to undertake during the next reporting cycle;

(4) A change in any identified best management practices or measurable goals for any of the minimum control measures; and

(5) Notice that you are relying on another governmental entity to satisfy some of your permit obligations (if applicable).

E. As an operator of a regulated small MS4, may I share the responsibility to implement the minimum control measures with other entities?

1. You may rely on another entity to satisfy your VPDES permit obligations to implement a minimum control measure if:

a. The other entity, in fact, implements the control measure;

b. The particular control measure, or component thereof, is at least as stringent as the corresponding VPDES permit requirement; and

c. The other entity agrees to implement the control measure on your behalf. In the reports you must submit under subdivision D 7 c of this section, you must also specify that you rely on another entity to satisfy some of your permit obligations. If you are relying on another governmental entity regulated under the VPDES permit program to satisfy all of your permit obligations, including your obligation to file periodic reports required by subdivision D 7 c of this section, you must note that fact in your registration statement, but you are not required to file the periodic reports. You remain responsible for compliance with your permit obligations if the other entity fails to implement the control measure (or component thereof). Therefore, the board encourages you to enter into a legally binding agreement with that entity if you want to minimize any uncertainty about compliance with your permit.

2. In some cases, the board may recognize, either in your individual VPDES permit or in a VPDES general permit, that another governmental entity is responsible under a VPDES permit for implementing one or more of the minimum control measures for your small MS4. Where the board does so, you are not required to include such minimum control measure(s) in your storm water management program. Your permit may be reopened and modified to include the requirement to implement a minimum control measure if the entity fails to implement it.

F. As an operator of a regulated small MS4, what happens if I don't comply with the application or permit requirements in subsections C through E of this section?

VPDES permits are enforceable under the Clean Water Act and the State Water Control Law. Violators may be subject to the enforcement actions and penalties described in Clean Water Act §§ 309 (b), (c), and (g) and 505 or under §§ 62.1-44.20 through 62.1-44.32 of the Code of Virginia. Compliance with a permit issued pursuant to § 402 of the Clean Water Act is deemed compliance, for purposes of §§ 309 and 505, with §§ 301, 302, 306, 307, and 403, except any standard imposed under § 307 for toxic pollutants injurious to human health. If you are covered as a co-permittee under an individual permit or under a general permit by means of a joint registration statement, you remain subject to the enforcement actions and penalties for the failure to comply with the terms of the permit in your jurisdiction except as set forth in subdivision E 2 of this section.

G. Will the small MS4 storm water program regulations at subsections B through F of this section change in the future?

The board will evaluate the small MS4 regulations at subsections B through F of this section after December 10, 2012, and make any necessary revisions. (EPA intends to conduct an enhanced research effort and compile a comprehensive evaluation of the NPDES MS4 storm water program. The board will re-evaluate the regulations based on data from the EPA NPDES MS4 storm water program, from research on receiving water impacts from storm water, and the effectiveness of best management practices (BMPs), as well as other relevant information sources.)

9 VAC 25-31-150. Aquaculture projects.

Discharges into aquaculture projects, as defined in this chapter, are subject to the VPDES permit program. Permits for aquaculture projects shall be issued according to the criteria of 40 CFR Part 125, Subpart B (1995 2000).

9 VAC 25-31-190. Conditions applicable to all permits.

The following conditions apply to all VPDES permits. Additional conditions applicable to VPDES permits are in 9 VAC 25-31-200. All conditions applicable to VPDES permits shall be incorporated into the permits either expressly or by reference. If incorporated by reference, a specific citation to this regulation must be given in the permit.

A. The permittee must comply with all conditions of the permit. Any permit noncompliance constitutes a violation of the law and the CWA, except that noncompliance with certain provisions of the permit may constitute a violation of the law but not the CWA. Permit noncompliance is grounds for enforcement action; for permit termination, revocation and reissuance, or modification; or denial of a permit renewal application.

The permittee shall comply with effluent standards or prohibitions established under § 307(a) of the CWA for toxic pollutants and with standards for sewage sludge use or disposal established under § 405(d) of the CWA within the time provided in the chapters that establish these standards or prohibitions or standards for sewage sludge use or disposal, even if the permit has not yet been modified to incorporate the requirement.

B. If the permittee wishes to continue an activity regulated by the permit after the expiration date of the permit, the permittee must apply for and obtain a new permit.

C. It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of the permit.

D. The permittee shall take all reasonable steps to minimize or prevent any discharge or sludge use or disposal in violation of the permit which has a reasonable likelihood of adversely affecting human health or the environment.

E. The permittee shall at all times properly operate and maintain all facilities and systems of treatment and control (and related appurtenances) which are installed or used by the permittee to achieve compliance with the conditions of the permit. Proper operation and maintenance also includes adequate laboratory controls and appropriate quality assurance procedures. This provision requires the operation of back-up or auxiliary facilities or similar systems which are installed by a permittee only when the operation is necessary to achieve compliance with the conditions of the permit.

F. Permits may be modified, revoked and reissued, or terminated for cause. The filing of a request by the permittee for a permit modification, revocation and reissuance, or termination, or a notification of planned changes or anticipated noncompliance does not stay any permit condition.

G. Permits do not convey any property rights of any sort, or any exclusive privilege.

H. The permittee shall furnish to the department, within a reasonable time, any information which the board may request to determine whether cause exists for modifying, revoking and reissuing, or terminating the permit or to determine compliance with the permit. The board may require the permittee to furnish, upon request, such plans, specifications, and other pertinent information as may be necessary to determine the effect of the wastes from his discharge on the quality of state waters, or such other information as may be necessary to accomplish the purposes of the law. The permittee shall also furnish to the department upon request, copies of records required to be kept by the permit.

I. The permittee shall allow the director, or an authorized representative (including an authorized contractor acting as a representative of the administrator), upon presentation of credentials and other documents as may be required by law, to:

1. Enter upon the permittee's premises where a regulated facility or activity is located or conducted, or where records must be kept under the conditions of the permit;

2. Have access to and copy, at reasonable times, any records that must be kept under the conditions of the permit;

3. Inspect at reasonable times any facilities, equipment (including monitoring and control equipment), practices, or operations regulated or required under the permit; and

4. Sample or monitor at reasonable times, for the purposes of assuring permit compliance or as otherwise authorized by the CWA and the law, any substances or parameters at any location.

J. Monitoring and records.

1. Samples and measurements taken for the purpose of monitoring shall be representative of the monitored activity.

2. Except for records of monitoring information required by the permit related to the permittee's sewage sludge use and disposal activities, which shall be retained for a period of at least five years (or longer as required by Part VI (9 VAC 25-31-420 et seq.) of this chapter), the permittee shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, copies of all reports required by the permit, and records of all data used to complete the application for the permit, for a period of at least three years from the date of the sample, measurement, report or application. This period of retention shall be extended automatically during the course of any unresolved litigation regarding the regulated activity or regarding control standards applicable to the permittee, or as requested by the board.

3. Records of monitoring information shall include:

a. The date, exact place, and time of sampling or measurements;

b. The individual or individuals who performed the sampling or measurements;

c. The date or dates analyses were performed;

d. The individual or individuals who performed the analyses;

e. The analytical techniques or methods used; and

f. The results of such analyses.

4. Monitoring results must be conducted according to test procedures approved under 40 CFR Part 136 (1999 2000) or alternative EPA approved methods; or, in the case of sludge use or disposal, approved under 40 CFR Part 136 (1999 2000) unless otherwise specified in Part VI of this chapter, unless other test procedures have been specified in the permit.

K. All applications, reports, or information submitted to the department shall be signed and certified as required by 9 VAC 25-31-110.

L. Reporting requirements.

1. The permittee shall give notice to the department as soon as possible of any planned physical alterations or additions to the permitted facility. Notice is required only when:

a. The alteration or addition to a permitted facility may meet one of the criteria for determining whether a facility is a new source in 9 VAC 25-31-180 A; or

b. The alteration or addition could significantly change the nature or increase the quantity of pollutants discharged. This notification applies to pollutants which are subject neither to effluent limitations in the permit, nor to notification requirements under 9 VAC 25-31-200 A 1.

c. The alteration or addition results in a significant change in the permittee's sludge use or disposal practices, and such alteration, addition, or change may justify the application of permit conditions that are different from or absent in the existing permit, including notification of additional use or disposal sites not reported during the permit application process or not reported pursuant to an approved land application plan;

2. The permittee shall give advance notice to the department of any planned changes in the permitted facility or activity which may result in noncompliance with permit requirements.

3. Permits are not transferable to any person except after notice to the department. The board may require modification or revocation and reissuance of permits to change the name of the permittee and incorporate such other requirements as may be necessary under the law or the CWA.

4. Monitoring results shall be reported at the intervals specified in the permit.

a. Monitoring results must be reported on a Discharge Monitoring Report (DMR) or forms provided or specified by the department for reporting results of monitoring of sludge use or disposal practices.

b. If the permittee monitors any pollutant specifically addressed by the permit more frequently than required by the permit using test procedures approved under 40 CFR Part 136 (1999 2000) or, in the case of sludge use or disposal, approved under 40 CFR Part 136 (1999 2000) unless otherwise specified in Part VI of this chapter, or as specified in the permit, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the DMR or sludge reporting form specified by the department.

c. Calculations for all limitations which require averaging of measurements shall utilize an arithmetic mean unless otherwise specified in the permit.

5. Reports of compliance or noncompliance with, or any progress reports on, interim and final requirements contained in any compliance schedule of the permit shall be submitted no later than 14 days following each schedule date.

6. If any unusual or extraordinary discharge including a bypass or upset should occur from a facility and such discharge enters or could be expected to enter state waters, the owner shall promptly notify, in no case later than 24 hours, the department by telephone after the discovery of such discharge. This notification shall provide all available details of the incident, including any adverse affects on aquatic life and the known number of fish killed. The permittee shall reduce the report to writing and shall submit it to the department within five days of discovery of the discharge in accordance with subdivision 7 a of this subsection. Unusual and extraordinary discharges include but are not limited to any discharge resulting from:

a. Unusual spillage of materials resulting directly or indirectly from processing operations;

b. Breakdown of processing or accessory equipment;

c. Failure or taking out of service of the treatment plant or auxiliary facilities (such as sewer lines or wastewater pump stations); and

d. Flooding or other acts of nature.

7. Twenty-four hour reporting.

a. The permittee shall report any noncompliance which may endanger health or the environment. Any information shall be provided orally within 24 hours from the time the permittee becomes aware of the circumstances. A written submission shall also be provided within five days of the time the permittee becomes aware of the circumstances. The written submission shall contain a description of the noncompliance and its cause; the period of noncompliance, including exact dates and times, and if the noncompliance has not been corrected, the anticipated time it is expected to continue; and steps taken or planned to reduce, eliminate, and prevent reoccurrence of the noncompliance.

b. The following shall be included as information which must be reported within 24 hours under this subdivision:

(1) Any unanticipated bypass which exceeds any effluent limitation in the permit.

(2) Any upset which exceeds any effluent limitation in the permit.

(3) Violation of a maximum daily discharge limitation for any of the pollutants listed in the permit to be reported within 24 hours.

c. The board may waive the written report on a case-by-case basis for reports under this subdivision if the oral report has been received within 24 hours.

8. The permittee shall report all instances of noncompliance not reported under subdivisions 4, 5, 6, and 7 of this subsection, in writing at the time the next monitoring reports are submitted. The reports shall contain the information listed in subdivision 7 of this subsection.

9. Where the permittee becomes aware that it failed to submit any relevant facts in a permit application, or submitted incorrect information in a permit application or in any report to the department, it shall promptly submit such facts or information.

M. Bypass.

1. The permittee may allow any bypass to occur which does not cause effluent limitations to be exceeded, but only if it also is for essential maintenance to assure efficient operation. These bypasses are not subject to the provisions of subdivisions 2 and 3 of this subsection.

2. Notice.

a. Anticipated bypass. If the permittee knows in advance of the need for a bypass, it shall submit prior notice, if possible at least 10 days before the date of the bypass.

b. Unanticipated bypass. The permittee shall submit notice of an unanticipated bypass as required in subdivision L 7 of this section (24-hour notice).

3. Prohibition of bypass.

a. Bypass is prohibited, and the board may take enforcement action against a permittee for bypass, unless:

(1) Bypass was unavoidable to prevent loss of life, personal injury, or severe property damage;

(2) There were no feasible alternatives to the bypass, such as the use of auxiliary treatment facilities, retention of untreated wastes, or maintenance during normal periods of equipment downtime. This condition is not satisfied if adequate back-up equipment should have been installed in the exercise of reasonable engineering judgment to prevent a bypass which occurred during normal periods of equipment downtime or preventive maintenance; and

(3) The permittee submitted notices as required under subdivision 2 of this subsection.

b. The board may approve an anticipated bypass, after considering its adverse effects, if the board determines that it will meet the three conditions listed above in subdivision 3 a of this subsection.

N. Upset.

1. An upset constitutes an affirmative defense to an action brought for noncompliance with such technology based permit effluent limitations if the requirements of subdivision 2 of this subsection are met. No determination made during administrative review of claims that noncompliance was caused by upset, and before an action for noncompliance, is final administrative action subject to judicial review.

2. A permittee who wishes to establish the affirmative defense of upset shall demonstrate, through properly signed, contemporaneous operating logs, or other relevant evidence that:

a. An upset occurred and that the permittee can identify the cause or causes of the upset;

b. The permitted facility was at the time being properly operated;

c. The permittee submitted notice of the upset as required in subdivision L 7 b (2) of this section (24-hour notice); and

d. The permittee complied with any remedial measures required under subsection D of this section.

3. In any enforcement proceeding the permittee seeking to establish the occurrence of an upset has the burden of proof.

9 VAC 25-31-220. Establishing limitations, standards, and other permit conditions.

In addition to the conditions established under 9 VAC 25-31-210 A, each VPDES permit shall include conditions meeting the following requirements when applicable.

A. 1. Technology-based effluent limitations and standards based on effluent limitations and standards promulgated under § 301 of the CWA, on new source performance standards promulgated under § 306 of CWA, on case-by-case effluent limitations determined under § 402 (a) (1) of CWA, or a combination of the three. For new sources or new dischargers, these technology-based limitations and standards are subject to the provisions of 9 VAC 25-31-180 B (protection period).

2. The board may authorize a discharger subject to technology-based effluent limitations guidelines and standards in a VPDES permit to forego sampling of a pollutant found at 40 CFR Subchapter N (2000) if the discharger has demonstrated through sampling and other technical factors that the pollutant is not present in the discharge or is present only at background levels from intake water and without any increase in the pollutant due to activities of the discharger. This waiver is good only for the term of the permit and is not available during the term of the first permit issued to a discharger. Any request for this waiver must be submitted when applying for a reissued permit or modification of a reissued permit. The request must demonstrate through sampling or other technical information, including information generated during an earlier permit term, that the pollutant is not present in the discharge or is present only at background levels from intake water and without any increase in the pollutant due to activities of the discharger. Any grant of the monitoring waiver must be included in the permit as an express permit condition and the reasons supporting the grant must be documented in the permit's fact sheet or statement of basis. This provision does not supersede certification processes and requirements already established in existing effluent limitations guidelines and standards.

B. Other effluent limitations and standards.

1. Other effluent limitations and standards under §§ 301, 302, 303, 307, 318 and 405 of the CWA. If any applicable toxic effluent standard or prohibition (including any schedule of compliance specified in such effluent standard or prohibition) is promulgated under § 307(a) of the CWA for a toxic pollutant and that standard or prohibition is more stringent than any limitation on the pollutant in the permit, the board shall institute proceedings under this chapter to modify or revoke and reissue the permit to conform to the toxic effluent standard or prohibition.

2. Standards for sewage sludge use or disposal under § 405(d) of the CWA and Part VI (9 VAC 25-31-420 et seq.) of this chapter unless those standards have been included in a permit issued under the appropriate provisions of Subtitle C of the Solid Waste Disposal Act (42 USC § 6901 et seq.), Part C of Safe Drinking Water Act (42 USC § 300f et seq.), the Marine Protection, Research, and Sanctuaries Act of 1972 (33 USC § 1401 et seq.), or the Clean Air Act (42 USC § 4701 et seq.), or in another permit issued by the Department of Environmental Quality, the Virginia Department of Health or any other appropriate state agency under another permit program approved by the administrator. When there are no applicable standards for sewage sludge use or disposal, the permit may include requirements developed on a case-by-case basis to protect public health and the environment from any adverse effects which may occur from toxic pollutants in sewage sludge. If any applicable standard for sewage sludge use or disposal is promulgated under § 405(d) of the CWA and that standard is more stringent than any limitation on the pollutant or practice in the permit, the board may initiate proceedings under this chapter to modify or revoke and reissue the permit to conform to the standard for sewage sludge use or disposal.

C. Reopener clause. For any permit issued to a treatment works treating domestic sewage (including sludge-only facilities), the board shall include a reopener clause to incorporate any applicable standard for sewage sludge use or disposal promulgated under § 405(d) of the CWA. The board may promptly modify or revoke and reissue any permit containing the reopener clause required by this subdivision if the standard for sewage sludge use or disposal is more stringent than any requirements for sludge use or disposal in the permit, or controls a pollutant or practice not limited in the permit.

D. Water quality standards and state requirements. Any requirements in addition to or more stringent than promulgated effluent limitations guidelines or standards under §§ 301, 304, 306, 307, 318 and 405 of the CWA necessary to:

1. Achieve water quality standards established under the law and § 303 of the CWA, including state narrative criteria for water quality.

a. Limitations must control all pollutants or pollutant parameters (either conventional, nonconventional, or toxic pollutants) which the board determines are or may be discharged at a level which will cause, have the reasonable potential to cause, or contribute to an excursion above any Virginia water quality standard, including Virginia narrative criteria for water quality.

b. When determining whether a discharge causes, has the reasonable potential to cause, or contributes to an in-stream excursion above a narrative or numeric criteria within a Virginia water quality standard, the board shall use procedures which account for existing controls on point and nonpoint sources of pollution, the variability of the pollutant or pollutant parameter in the effluent, the sensitivity of the species to toxicity testing (when evaluating whole effluent toxicity), and where appropriate, the dilution of the effluent in the receiving water.

c. When the board determines, using the procedures in subdivision 1 b of this subsection, that a discharge causes, has the reasonable potential to cause, or contributes to an in-stream excursion above the allowable ambient concentration of a Virginia numeric criteria within a Virginia water quality standard for an individual pollutant, the permit must contain effluent limits for that pollutant.

d. Except as provided in this subdivision, when the board determines, using the procedures in subdivision 1 b of this subsection, toxicity testing data, or other information, that a discharge causes, has the reasonable potential to cause, or contributes to an in-stream excursion above a narrative criterion within an applicable Virginia water quality standard, the permit must contain effluent limits for whole effluent toxicity. Limits on whole effluent toxicity are not necessary where the board demonstrates in the fact sheet or statement of basis of the VPDES permit, using the procedures in subdivision 1 b of this subsection, that chemical-specific limits for the effluent are sufficient to attain and maintain applicable numeric and narrative Virginia water quality standards.

e. Where Virginia has not established a water quality criterion for a specific chemical pollutant that is present in an effluent at a concentration that causes, has the reasonable potential to cause, or contributes to an excursion above a narrative criterion within an applicable Virginia water quality standard, the board must establish effluent limits using one or more of the following options:

(1) Establish effluent limits using a calculated numeric water quality criterion for the pollutant which the board demonstrates will attain and maintain applicable narrative water quality criteria and will fully protect the designated use. Such a criterion may be derived using a proposed Virginia criterion, or an explicit policy or regulation interpreting Virginia's narrative water quality criterion, supplemented with other relevant information which may include: EPA's Water Quality Standards Handbook, August 1994, risk assessment data, exposure data, information about the pollutant from the Food and Drug Administration, and current EPA criteria documents; or

(2) Establish effluent limits on a case-by-case basis, using EPA's water quality criteria, published under § 307(a) of the CWA, supplemented where necessary by other relevant information; or

(3) Establish effluent limitations on an indicator parameter for the pollutant of concern, provided:

(a) The permit identifies which pollutants are intended to be controlled by the use of the effluent limitation;

(b) The fact sheet required by 9 VAC 25-31-280 sets forth the basis for the limit, including a finding that compliance with the effluent limit on the indicator parameter will result in controls on the pollutant of concern which are sufficient to attain and maintain applicable water quality standards;

(c) The permit requires all effluent and ambient monitoring necessary to show that during the term of the permit the limit on the indicator parameter continues to attain and maintain applicable water quality standards; and

(d) The permit contains a reopener clause allowing the board to modify or revoke and reissue the permit if the limits on the indicator parameter no longer attain and maintain applicable water quality standards.

f. When developing water quality-based effluent limits under this subdivision the board shall ensure that:

(1) The level of water quality to be achieved by limits on point sources established under this subsection is derived from, and complies with all applicable water quality standards; and

(2) Effluent limits developed to protect a narrative water quality criterion, a numeric water quality criterion, or both, are consistent with the assumptions and requirements of any available wasteload allocation for the discharge prepared by Virginia and approved by EPA pursuant to 40 CFR 130.7 (1999 2000);

2. Attain or maintain a specified water quality through water quality related effluent limits established under the law and § 302 of the CWA;

3. Conform to the conditions of a Virginia Water Protection Permit (VWPP) issued under the law and § 401 of the CWA.;

4. Conform to applicable water quality requirements under § 401(a)(2) of the CWA when the discharge affects a state other than Virginia;

5. Incorporate any more stringent limitations, treatment standards, or schedule of compliance requirements established under the law or regulations in accordance with § 301(b)(1)(C) of the CWA;

6. Ensure consistency with the requirements of a Water Quality Management plan approved by EPA under § 208(b) of the CWA;

7. Incorporate § 403(c) criteria under 40 CFR Part 125, Subpart M (1999 2000), for ocean discharges; or

8. Incorporate alternative effluent limitations or standards where warranted by fundamentally different factors, under 40 the CFR Part 125, Subpart D (1999 2000).

E. Technology-based controls for toxic pollutants. Limitations established under subsections A, B, or D of this section, to control pollutants meeting the criteria listed in subdivision 1 of this subsection. Limitations will be established in accordance with subdivision 2 of this subsection. An explanation of the development of these limitations shall be included in the fact sheet.

1. Limitations must control all toxic pollutants which the board determines (based on information reported in a permit application or in a notification required by the permit or on other information) are or may be discharged at a level greater than the level which can be achieved by the technology-based treatment requirements appropriate to the permittee; or

2. The requirement that the limitations control the pollutants meeting the criteria of subdivision 1 of this subsection will be satisfied by:

a. Limitations on those pollutants; or

b. Limitations on other pollutants which, in the judgment of the board, will provide treatment of the pollutants under subdivision 1 of this subsection to the levels required by the law and 40 CFR Part 125, Subpart A (1999 2000).

F. A notification level which exceeds the notification level of 9 VAC 25-31-200 A 1 a, b, or c, upon a petition from the permittee or on the board's initiative. This new notification level may not exceed the level which can be achieved by the technology-based treatment requirements appropriate to the permittee.

G. Twenty-four-hour reporting. Pollutants for which the permittee must report violations of maximum daily discharge limitations under 9 VAC 25-31-190 L 7 b (3) (24-hour reporting) shall be listed in the permit. This list shall include any toxic pollutant or hazardous substance, or any pollutant specifically identified as the method to control a toxic pollutant or hazardous substance.

H. Durations for permits, as set forth in 9 VAC 25-31-240.

I. Monitoring requirements. The following monitoring requirements:

1. Requirements concerning the proper use, maintenance, and installation, when appropriate, of monitoring equipment or methods (including biological monitoring methods when appropriate);

2. Required monitoring including type, intervals, and frequency sufficient to yield data which are representative of the monitored activity including, when appropriate, continuous monitoring;

3. Applicable reporting requirements based upon the impact of the regulated activity and as specified in 9 VAC 25-31-190 and in subdivisions 5 through 8 of this subsection. Reporting shall be no less frequent than specified in the above regulation;

4. To assure compliance with permit limitations, requirements to monitor:

a. The mass (or other measurement specified in the permit) for each pollutant limited in the permit;

b. The volume of effluent discharged from each outfall;

c. Other measurements as appropriate including pollutants in internal waste streams; pollutants in intake water for net limitations; frequency, rate of discharge, etc., for noncontinuous discharges; pollutants subject to notification requirements; and pollutants in sewage sludge or other monitoring as specified in Part VI (9 VAC 25-31-420 et seq.) of this chapter; or as determined to be necessary on a case-by-case basis pursuant to the law and § 405(d)(4) of the CWA; and

d. According to test procedures approved under 40 CFR Part 136 (1999 2000) for the analyses of pollutants having approved methods under that part, or alternative EPA approved methods, and according to a test procedure specified in the permit for pollutants with no approved methods;

5. Except as provided in subdivisions 7 and 8 of this subsection, requirements to report monitoring results shall be established on a case-by-case basis with a frequency dependent on the nature and effect of the discharge, but in no case less that once a year. For sewage sludge use or disposal practices, requirements to monitor and report results shall be established on a case-by-case basis with a frequency dependent on the nature and effect of the sewage sludge use or disposal practice; minimally this shall be as specified in Part VI of this chapter (where applicable), but in no case less than once a year;

6. Requirements to report monitoring results for storm water discharges associated with industrial activity which are subject to an effluent limitation guideline shall be established on a case-by-case basis with a frequency dependent on the nature and effect of the discharge, but in no case less than once a year;

7. Requirements to report monitoring results for storm water discharges associated with industrial activity (other than those addressed in subdivision 6 of this subsection) shall be established on a case-by-case basis with a frequency dependent on the nature and effect of the discharge. At a minimum, a permit for such a discharge must require:

a. The discharger to conduct an annual inspection of the facility site to identify areas contributing to a storm water discharge associated with industrial activity and evaluate whether measures to reduce pollutant loading identified in a storm water pollution prevention plan are adequate and properly implemented in accordance with the terms of the permit or whether additional control measures are needed;

b. The discharger to maintain for a period of three years a record summarizing the results of the inspection and a certification that the facility is in compliance with the plan and the permit, and identifying any incidents of noncompliance;

c. Such report and certification be signed in accordance with 9 VAC 25-31-110; and

d. Permits for storm water discharges associated with industrial activity from inactive mining operations may, where annual inspections are impracticable, require certification once every three years by a Registered Professional Engineer that the facility is in compliance with the permit, or alternative requirements; and

8. Permits which do not require the submittal of monitoring result reports at least annually shall require that the permittee report all instances of noncompliance not reported under 9 VAC 25-31-190 L 1, 4, 5, 6, and 7 at least annually.

J. Pretreatment program for POTWs. Requirements for POTWs to:

1. Identify, in terms of character and volume of pollutants, any significant indirect dischargers into the POTW subject to pretreatment standards under § 307(b) of the CWA and Part VII (9 VAC 25-31-730 et seq.) of this chapter;

2. Submit a local program when required by and in accordance with Part VII of this chapter to assure compliance with pretreatment standards to the extent applicable under § 307(b) of the CWA. The local program shall be incorporated into the permit as described in Part VII of this chapter. The program shall require all indirect dischargers to the POTW to comply with the reporting requirements of Part VII of this chapter;

3. Provide a written technical evaluation of the need to revise local limits under Part VII of this chapter following permit issuance or reissuance; and

4. For POTWs which are sludge-only facilities, a requirement to develop a pretreatment program under Part VII of this chapter when the board determines that a pretreatment program is necessary to assure compliance with Part VI of this chapter.

K. Best management practices to control or abate the discharge of pollutants when:

1. Authorized under § 304(e) of the CWA for the control of toxic pollutants and hazardous substances from ancillary industrial activities;

2. Authorized under § 402(p) of the CWA for the control of storm water discharges;

3. Numeric effluent limitations are infeasible; or

4. The practices are reasonably necessary to achieve effluent limitations and standards or to carry out the purposes and intent of the law and the CWA.

L. Reissued permits.

1. In the case of effluent limitations established on the basis of § 402(a)(1)(B) of the CWA, a permit may not be renewed, reissued, or modified on the basis of effluent guidelines promulgated under § 304(b) of the CWA subsequent to the original issuance of such permit, to contain effluent limitations which are less stringent than the comparable effluent limitations in the previous permit. In the case of effluent limitations established on the basis of §§ 301(b)(1)(C) or 303(d) or (e) of the CWA, a permit may not be renewed, reissued, or modified to contain effluent limitations which are less stringent than the comparable effluent limitations in the previous permit except in compliance with § 303(d)(4) of the CWA.

2. Exceptions. A permit with respect to which subdivision 1 of this subsection applies may be renewed, reissued, or modified to contain a less stringent effluent limitation applicable to a pollutant, if:

a. Material and substantial alterations or additions to the permitted facility occurred after permit issuance which justify the application of a less stringent effluent limitation;

b. (1) Information is available which was not available at the time of permit issuance (other than revised regulations, guidance, or test methods) and which would have justified the application of a less stringent effluent limitation at the time of permit issuance; or

(2) The board determines that technical mistakes or mistaken interpretations of law were made in issuing the permit under § 402(a)(1)(B) of the CWA;

c. A less stringent effluent limitation is necessary because of events over which the permittee has no control and for which there is no reasonably available remedy;

d. The permittee has received a permit modification under the law and §§ 301(c), 301(g), 301(h), 301(i), 301(k), 301(n), or 316(a) of the CWA; or

e. The permittee has installed the treatment facilities required to meet the effluent limitations in the previous permit and has properly operated and maintained the facilities but has nevertheless been unable to achieve the previous effluent limitations, in which case the limitations in the reviewed, reissued, or modified permit may reflect the level of pollutant control actually achieved (but shall not be less stringent than required by effluent guidelines in effect at the time of permit renewal, reissuance, or modification).

Subdivision 2 b of this subsection shall not apply to any revised waste load allocations or any alternative grounds for translating water quality standards into effluent limitations, except where the cumulative effect of such revised allocations results in a decrease in the amount of pollutants discharged into the concerned waters, and such revised allocations are not the result of a discharger eliminating or substantially reducing its discharge of pollutants due to complying with the requirements of the law or the CWA or for reasons otherwise unrelated to water quality.

3. In no event may a permit with respect to which subdivision 2 of this subsection applies be renewed, reissued, or modified to contain an effluent limitation which is less stringent than required by effluent guidelines in effect at the time the permit is renewed, reissued, or modified. In no event may such a permit to discharge into waters be renewed, issued, or modified to contain a less stringent effluent limitation if the implementation of such limitation would result in a violation of a Virginia water quality standard applicable to such waters.

M. For a privately owned treatment works, any conditions expressly applicable to any user, as a limited co-permittee, that may be necessary in the permit issued to the treatment works to ensure compliance with applicable requirements under this part. Alternatively, the board may issue separate permits to the treatment works and to its users, or may require a separate permit application from any user. The board's decision to issue a permit with no conditions applicable to any user, to impose conditions on one or more users, to issue separate permits, or to require separate applications, and the basis for that decision, shall be stated in the fact sheet for the draft permit for the treatment works.

N. Any conditions imposed in grants made by the board to POTWs under §§ 201 and 204 of the CWA which are reasonably necessary for the achievement of effluent limitations under § 301 of the CWA and the law.

O. Requirements governing the disposal of sewage sludge from publicly owned treatment works or any other treatment works treating domestic sewage for any use regulated by Part VI of this chapter.

P. When a permit is issued to a facility that may operate at certain times as a means of transportation over water, a condition that the discharge shall comply with any applicable regulations promulgated by the secretary of the department in which the Coast Guard is operating, that establish specifications for safe transportation, handling, carriage, and storage of pollutants.

Q. Navigation. Any conditions that the Secretary of the Army considers necessary to ensure that navigation and anchorage will not be substantially impaired in accordance with 9 VAC 25-31-330.

R. Qualifying state, tribal, or local programs.

1. For storm water discharges associated with small construction activity identified in 9 VAC 25-31-10, the board may include permit conditions that incorporate qualifying state, tribal, or local erosion and sediment control program requirements by reference. Where a qualifying state, tribal, or local program does not include one or more of the elements in this subdivision, then the board must include those elements as conditions in the permit. A qualifying state, tribal, or local erosion and sediment control program is one that includes:

a. Requirements for construction site operators to implement appropriate erosion and sediment control best management practices;

b. Requirements for construction site operators to control waste such as discarded building materials, concrete truck washout, chemicals, litter, and sanitary waste at the construction site that may cause adverse impacts to water quality;

c. Requirements for construction site operators to develop and implement a storm water pollution prevention plan. A storm water pollution prevention plan includes site descriptions; descriptions of appropriate control measures; copies of approved state, tribal or local requirements; maintenance procedures; inspection procedures; and identification of nonstorm water discharges; and

d. Requirements to submit a site plan for review that incorporates consideration of potential water quality impacts.

2. For storm water discharges from construction activity that does not meet the definition of a small construction activity, the board may include permit conditions that incorporate qualifying state, tribal, or local erosion and sediment control program requirements by reference. A qualifying state, tribal or local erosion and sediment control program is one that includes the elements listed in subdivision 1 of this subsection and any additional requirements necessary to achieve the applicable technology-based standards of "best available technology" and "best conventional technology" based on the best professional judgment of the permit writer.

9 VAC 25-31-230. Calculating VPDES permit conditions.

A. Permit effluent limitations, monitoring requirements, standards and prohibitions shall be established for each outfall or discharge point of the permitted facility, except as otherwise provided under 9 VAC 25-31-220 and subsection H of this section (limitations on internal waste streams).

B. Production-based limitations.

1. In the case of POTWs, permit effluent limitations, standards, or prohibitions shall be calculated based on design flow.

2. a. Except in the case of POTWs or as provided in subdivision 2 b of this subsection, calculation of any permit limitations, standards, or prohibitions which are based on production (or other measure of operation) shall be based not upon the designed production capacity but rather upon a reasonable measure of actual production of the facility. For new sources or new dischargers, actual production shall be estimated using projected production. The time period of the measure of production shall correspond to the time period of the calculated permit limitations; for example, monthly production shall be used to calculate average monthly discharge limitations.

b. (1) (a) The board may include a condition establishing alternate permit limitations, standards, or prohibitions based upon anticipated increased (not to exceed maximum production capability) or decreased production levels.

(b) For the automotive manufacturing industry only, the board may establish a condition under subdivision 2 b (1) (a) of this subsection if the applicant satisfactorily demonstrates to the board at the time the application is submitted that its actual production, as indicated in subdivision 2 a of this subsection, is substantially below maximum production capability and that there is a reasonable potential for an increase above actual production during the duration of the permit.

(2) If the board establishes permit conditions under subdivision 2 b (1) of this subsection:

(a) The permit shall require the permittee to notify the department at least two business days prior to a month in which the permittee expects to operate at a level higher than the lowest production level identified in the permit. The notice shall specify the anticipated level and the period during which the permittee expects to operate at the alternate level. If the notice covers more than one month, the notice shall specify the reasons for the anticipated production level increase. New notice of discharge at alternate levels is required to cover a period or production level not covered by prior notice or, if during two consecutive months otherwise covered by a notice, the production level at the permitted facility does not in fact meet the higher level designated in the notice;

(b) The permittee shall comply with the limitations, standards, or prohibitions that correspond to the lowest level of production specified in the permit, unless the permittee has notified the department under subdivision 2 b (2) (a) of this subsection, in which case the permittee shall comply with the lower of the actual level of production during each month or the level specified in the notice; and

(c) The permittee shall submit with the DMR the level of production that actually occurred during each month and the limitations, standards, or prohibitions applicable to that level of production.

C. All permit effluent limitations, standards, or prohibitions for a metal shall be expressed in terms of total recoverable metal as defined in 40 CFR Part 136 (1999 2000) unless:

1. An applicable effluent standard or limitation has been promulgated under the CWA and specifies the limitation for the metal in the dissolved or valent or total form; or

2. In establishing permit limitations on a case-by-case basis under 40 CFR 125.3 (1999 2000), it is necessary to express the limitation on the metal in the dissolved or valent or total form to carry out the provisions of the CWA and the law; or

3. All approved analytical methods for the metal inherently measure only its dissolved form (e.g., hexavalent chromium).

D. For continuous discharges all permit effluent limitations, standards, and prohibitions, including those necessary to achieve water quality standards, shall unless impracticable be stated as:

1. Maximum daily and average monthly discharge limitations for all dischargers other than publicly owned treatment works; and

2. Average weekly and average monthly discharge limitations for POTWs.

E. Discharges which are not continuous, as defined in 9 VAC 25-31-10, shall be particularly described and limited, considering the following factors, as appropriate:

1. Frequency;

2. Total mass;

3. Maximum rate of discharge of pollutants during the discharge; and

4. Prohibition or limitation of specified pollutants by mass, concentration, or other appropriate measure.

F. Mass Limitations.

1. All pollutants limited in permits shall have limitations, standards or prohibitions expressed in terms of mass except:

a. For pH, temperature, radiation, or other pollutants which cannot appropriately be expressed by mass;

b. When applicable standards and limitations are expressed in terms of other units of measurement; or

c. If in establishing technology-based permit limitations on a case-by-case basis, limitations expressed in terms of mass are infeasible because the mass of the pollutant discharged cannot be related to a measure of operation (for example, discharges of TSS from certain mining operations), and permit conditions ensure that dilution will not be used as a substitute for treatment.

2. Pollutants limited in terms of mass additionally may be limited in terms of other units of measurement, and the permit shall require the permittee to comply with both limitations.

G. Pollutants in intake water.

1. Upon request of the discharger, technology-based effluent limitations or standards shall be adjusted to reflect credit for pollutants in the discharger's intake water to the extent necessary to meet the applicable technology-based limitation or standard, up to a maximum value equal to the influent value. Credit shall be granted only if:

a. The applicable effluent limitations and standards contained in the regulations incorporated by reference in 9 VAC 25-31-30 specifically provide that they shall be applied on a net basis; or

b. The discharger demonstrates that the control system it proposes or uses to meet applicable technology-based limitations and standards would, if properly installed and operated, meets the limitations and standards in the absence of pollutants in the intake waters.

2. Credit for generic pollutants such as biochemical oxygen demand (BOD) or total suspended solids (TSS) should not be granted unless the permittee demonstrates that the constituents of the generic measure in the effluent are substantially similar to the constituents of the generic measure in the intake water or unless appropriate additional limits are placed on process water pollutants either at the outfall or elsewhere.

3. Credit for the level of pollutants in the intake water may be considered in setting water quality-based effluent limitations according to 9 VAC 25-31-220 D. Where a total maximum daily load has been established for the receiving waterbody and it is applicable to the discharge, it shall be considered when such effluent limitations are developed. The board may consider the presence of intake pollutants when determining either that water quality-based effluent limitations are not necessary under 9 VAC 25-31-220 D or that any water quality-based effluent limitations justified by 9 VAC 25-31-220 D will be established in a manner that does not hold the permittee responsible for removing pollutants originating in its intake water.

4. Additional monitoring may be necessary to determine eligibility for any credits and compliance with permit limits.

5. Credits shall be granted only if the discharger demonstrates that the intake water is drawn from the same body of water into which the discharge is made. The board may waive this requirement for technology-based effluent limitations, standards, and prohibitions if he finds that no environmental degradation will result.

a. An intake pollutant is considered to be from the same body of water as the discharge if the board finds that the intake pollutant would have reached the vicinity of the outfall point in the receiving water within a reasonable period had it not been removed by the permittee. This finding may be deemed established if:

(1) The background concentration of the pollutant in the receiving water (excluding any amount of the pollutant in the facility's discharge) is similar to that in the intake water;

(2) There is direct hydrological connection between the intake and discharge points; and

(3) Water quality characteristics (e.g., temperature, pH, hardness) are similar in the intake and receiving waters.

Other site-specific factors relevant to the transport and fate of the pollutant may be considered in making this finding.

b. An intake pollutant from groundwater may be considered to be from the same body of water if the board determines that the pollutant would have reached the vicinity of the outfall point in the receiving water within a reasonable period had it not been removed by the permittee, except that such a pollutant is not from the same body of water if the groundwater contains the pollutant partially or entirely due to human activity, such as industrial, commercial, or municipal operations, disposal actions or treatment processes.

c. For pollutants in intake water provided by a water supply system, where the raw water supply is removed from the same body of water as the discharge, the concentration of the intake pollutant shall be determined at the point where the water enters the water supplier's distribution system.

d. Where a facility discharges intake pollutants that originate in part from the same body of water and in part from a different body of water, the effluent limitation may provide for intake credits for the portion of the pollutants derived from the same body of water, provided that adequate monitoring to determine compliance can be established and is included in the permit.

6. Credits shall not be granted if the discharger contributes to the level of the pollutant in the intake water prior to the intake.

7. Credits for intake pollutants do not apply to technology-based limitations on the discharge of raw water clarifier sludge generated from the treatment of intake water.

H. Internal waste streams.

1. When permit effluent limitations or standards imposed at the point of discharge are impractical or infeasible, effluent limitations or standards for discharges of pollutants may be imposed on internal waste streams before mixing with other waste streams or cooling water streams. In those instances, the monitoring required by 9 VAC 25-31-220 I shall also be applied to the internal waste streams.

2. Limits on internal waste streams will be imposed only when the fact sheet sets forth the exceptional circumstances which make such limitations necessary, such as when the final discharge point is inaccessible, the wastes at the point of discharge are so diluted as to make monitoring impracticable, or the interferences among pollutants at the point of discharge would make detection or analysis impracticable.

I. Disposal of pollutants into wells, POTWs or by land application.

1. When part of a discharger's process wastewater is not being discharged into surface waters or into the contiguous zone because it is disposed into a well, into a POTW, or by land application thereby reducing the flow or level of pollutants being discharged into surface waters, applicable effluent standards and limitations for the discharge in a VPDES permit shall be adjusted to reflect the reduced raw waste resulting from such disposal. Effluent limitations and standards in the permit shall be calculated by one of the following methods:

a. If none of the waste from a particular process is discharged into surface waters, and effluent limitations guidelines provide separate allocation for wastes from that process, all allocations for the process shall be eliminated from calculation of permit effluent limitations or standards.

b. In all cases other than those described in subdivision 1 a of this subsection, effluent limitations shall be adjusted by multiplying the effluent limitation derived by applying effluent limitation guidelines to the total waste stream by the amount of wastewater flow to be treated and discharged into surface waters, and dividing the result by the total wastewater flow. Effluent limitations and standards so calculated may be further adjusted to make them more or less stringent if discharges to wells, publicly owned treatment works, or by land application change the character or treatability of the pollutants being discharged to receiving waters. This method may be algebraically expressed as:

P = E x N

T

where P is the permit effluent limitation, E is the limitation derived by applying effluent guidelines to the total wastestream, N is the wastewater flow to be treated and discharged to surface waters, and T is the total wastewater flow.

2. Subdivision 1 of this subsection does not apply to the extent that promulgated effluent limitations guidelines:

a. Control concentrations of pollutants discharged but not mass; or

b. Specify a different specific technique for adjusting effluent limitations to account for well injection, land application, or disposal into POTWs.

3. Subdivision 1 of this subsection does not alter a discharger's obligation to meet any more stringent requirements established in the permit.

9 VAC 25-31-340. Decision on variances.

A. The board may grant or deny requests for variances requested pursuant to 9 VAC 25-31-100 L 4, subject to EPA objection. Decisions on these variances shall be made according to the criteria of 40 CFR Part 125, Subpart H (1999 2000).

B. The board may deny, or forward to the regional administrator with a written concurrence, or submit to EPA without recommendation a completed request for:

1. A variance based on the economic capability of the applicant submitted pursuant to 9 VAC 25-31-100 L 2; or

2. A variance based on water quality related effluent limitations submitted pursuant to 9 VAC 25-31-100 L 3 or 9 VAC 25-31-100 M 2.

C. If the EPA Office Director for Wastewater Management approves the variance, the board may prepare a draft permit incorporating the variance. Any public notice of a draft permit for which a variance or modification has been approved or denied shall identify the applicable procedures for appealing that decision.

D. The board may deny or forward to the administrator with a written concurrence a completed request for:

1. A variance based on the presence of fundamentally different factors from those on which an effluent limitations guideline was based, made according to the criteria and standards of 40 CFR Part 125, Subpart D (1999 2000); or

2. A variance based upon certain water quality factors submitted pursuant to 9 VAC 25-31-100 L 2 or 9 VAC 25-31-100 M 1.

E. If the administrator approves the variance, the board may prepare a draft permit incorporating the variance. Any public notice of a draft permit for which a variance or modification has been approved or denied shall identify the applicable procedures for appealing that decision.

9 VAC 25-31-470. Exclusions.

A. Treatment processes. This part does not establish requirements for processes used to treat domestic sewage or for processes used to treat sewage sludge prior to final use or disposal, except as provided in 9 VAC 25-31-710 and 9 VAC 25-31-720.

B. Selection of a use or disposal practice. This part does not require the selection of a sewage sludge use or disposal practice. The determination of the manner in which sewage sludge is used or disposed is a local determination.

C. Incineration of sewage sludge. This part does not establish requirements for sewage sludge fired in a sewage sludge incinerator or co-fired in an incinerator with other wastes or for the incinerator in which sewage sludge and other wastes are co-fired.

D. Sludge generated at an industrial facility. This part does not establish requirements for the use or disposal of sludge generated at an industrial facility during the treatment of industrial wastewater, including sewage sludge generated during the treatment of industrial wastewater combined with domestic sewage.

E. Hazardous sewage sludge. This part does not establish requirements for the use or disposal of sewage sludge determined to be hazardous in accordance with 40 CFR Part 261 (2000) or the Code of Virginia.

F. Sewage sludge with high PCB concentration. This part does not establish requirements for the use or disposal of sewage sludge with a concentration of polychlorinated biphenyls (PCBs) equal to or greater than 50 milligrams per kilogram of total solids (dry weight basis).

G. Incinerator ash. This part does not establish requirements for the use or disposal of ash generated during the firing of sewage sludge in a sewage sludge incinerator.

H. Grit and screenings. This part does not establish requirements for the use or disposal of grit (e.g., sand, gravel, cinders, or other materials with a high specific gravity) or screenings (e.g., relatively large materials such as rags) generated during preliminary treatment of domestic sewage in a treatment works.

I. Drinking water treatment sludge. This part does not establish requirements for the use or disposal of sludge generated during the treatment of either surface water or ground water used for drinking water.

J. Commercial and industrial septage. This part does not establish requirements for the use or disposal of commercial septage, industrial septage, a mixture of domestic septage and commercial septage, or a mixture of domestic septage and industrial septage.

9 VAC 25-31-500. Definitions.

In addition to the definitions given in Part I (9 VAC 25-31-10 et seq.) of this chapter, the following definitions apply to Part VI (9 VAC 25-31-420 et seq.) of this chapter. Where the same term is defined in both parts, the definition of Part VI of this chapter applies to the use of the term in Part VI of this chapter.

"Active sewage sludge unit" means a sewage sludge unit that has not closed.

"Aerobic digestion" means the biochemical decomposition of organic matter in sewage sludge into carbon dioxide and water by microorganisms in the presence of air.

"Agricultural land" means land on which a food crop, a feed crop, or a fiber crop is grown. This includes range land and land used as pasture.

"Agronomic rate" means the whole sludge application rate (dry weight basis) designed: (i) to provide the amount of nitrogen needed by the food crop, feed crop, fiber crop, cover crop, or vegetation grown on the land and (ii) to minimize the amount of nitrogen in the sewage sludge that passes below the root zone of the crop or vegetation grown on the land to the groundwater.

"Anaerobic digestion" means the biochemical decomposition of organic matter in sewage sludge into methane gas and carbon dioxide by microorganisms in the absence of air.

"Annual pollutant loading rate (APLR)" means the maximum amount of a pollutant that can be applied to a unit area of land during a 365-day period.

"Annual whole sludge application rate (AWSAR)" means the maximum amount of sewage sludge (dry weight basis) that can be applied to a unit area of land during a 365-day period.

"Apply sewage sludge or sewage sludge applied to the land" means land application of sewage sludge.

"Aquifer" means a geologic formation, group of geologic formations, or a portion of a geologic formation capable of yielding groundwater to wells or springs.

"Base flood" means a flood that has a one percent chance of occurring in any given year (i.e., a flood with a magnitude equaled once in 100 years).

"Bulk sewage sludge" means sewage sludge that is not sold or given away in a bag or other container for application to the land.

"Class I sludge management facility" means any publicly owned treatment works (POTW) required to have an approved pretreatment program under this chapter and any treatment works treating domestic sewage classified as a Class I sludge management facility by the board because of the potential for its sewage sludge use or disposal practice to affect public health and the environment adversely.

"Contaminate an aquifer" means to introduce a substance that causes the maximum contaminant level for nitrate in the Virginia Water Quality Standards or in 40 CFR 141.62(b) (1999 2000) to be exceeded in groundwater or that causes the existing concentration of nitrate in groundwater to increase when the existing concentration of nitrate in the groundwater exceeds the maximum contaminant level for nitrate in the Virginia Water Quality Standards or 40 CFR 141.62(b) (1999 2000).

"Cover" means soil or other material used to cover sewage sludge placed on an active sewage sludge unit.

"Cover crop" means a small grain crop, such as oats, wheat, or barley, not grown for harvest.

"Cumulative pollutant loading rate" means the maximum amount of an inorganic pollutant that can be applied to an area of land.

"Density of microorganisms" means the number of microorganisms per unit mass of total solids (dry weight) in the sewage sludge.

"Displacement" means the relative movement of any two sides of a fault measured in any direction.

"Domestic septage" means either liquid or solid material removed from a septic tank, cesspool, portable toilet, Type III marine sanitation device, or similar treatment works that receives only domestic sewage. Domestic septage does not include liquid or solid material removed from a septic tank, cesspool, or similar treatment works that receives either commercial wastewater or industrial wastewater and does not include grease removed from a grease trap at a restaurant.

"Domestic sewage" means waste and wastewater from humans or household operations that is discharged to or otherwise enters a treatment works.

"Dry weight basis" means calculated on the basis of having been dried at 105°C until reaching a constant mass (i.e., essentially 100% solids content).

"Fault" means a fracture or zone of fractures in any materials along which strata on one side are displaced with respect to strata on the other side.

"Feed crops" means crops produced primarily for consumption by animals.

"Fiber crops" means crops such as flax and cotton.

"Final cover" means the last layer of soil or other material placed on a sewage sludge unit at closure.

"Food crops" means crops consumed by humans. These include, but are not limited to, fruits, vegetables, and tobacco.

"Forest" means a tract of land thick with trees and underbrush.

"Groundwater" means water below the land surface in the saturated zone.

"Holocene time" means the most recent epoch of the Quaternary period, extending from the end of the Pleistocene epoch to the present.

"Industrial wastewater" means wastewater generated in a commercial or industrial process.

"Land application" means the spraying or spreading of sewage sludge onto the land surface; the injection of sewage sludge below the land surface; or the incorporation of sewage sludge into the soil so that the sewage sludge can either condition the soil or fertilize crops or vegetation grown in the soil.

"Land with a high potential for public exposure" means land that the public uses frequently. This includes, but is not limited to, a public contact site and a reclamation site located in a populated area (e.g., a construction site located in a city).

"Land with a low potential for public exposure" means land that the public uses infrequently. This includes, but is not limited to, agricultural land, forest, and a reclamation site located in an unpopulated area (e.g., a strip mine located in a rural area).

"Leachate collection system" means a system or device installed immediately above a liner that is designed, constructed, maintained, and operated to collect and remove leachate from a sewage sludge unit.

"Liner" means soil or synthetic material that has a hydraulic conductivity of 1 x 10-7 centimeters per second or less.

"Lower explosive limit for methane gas" means the lowest percentage of methane gas in air, by volume, that propagates a flame at 25°C and atmospheric pressure.

"Monthly average" means the arithmetic mean of all measurements taken during the month.

"Municipality" means a city, town, county, district, association, or other public body (including an intermunicipal Agency of two or more of the foregoing entities) created by or under state law; an Indian tribe or an authorized Indian tribal organization having jurisdiction over sewage sludge management; or a designated and approved management agency under § 208 of the CWA, as amended. The definition includes a special district created under state law, such as a water district, sewer district, sanitary district, utility district, drainage district, or similar entity, or an integrated waste management facility as defined in § 201(e) of the CWA, as amended, that has as one of its principal responsibilities the treatment, transport, use, or disposal of sewage sludge.

"Other container" means either an open or closed receptacle. This includes, but is not limited to, a bucket, a box, a carton, and a vehicle or trailer with a load capacity of one metric ton or less.

"Pasture" means land on which animals feed directly on feed crops such as legumes, grasses, grain stubble, or stover.

"Pathogenic organisms" means disease-causing organisms. These include, but are not limited to, certain bacteria, protozoa, viruses, and viable helminth ova.

"Person who prepares sewage sludge" means either the person who generates sewage sludge during the treatment of domestic sewage in a treatment works or the person who derives a material from sewage sludge.

"pH" means the logarithm of the reciprocal of the hydrogen ion concentration measured at 25° Celsius or measured at another temperature and then converted to an equivalent value at 25° Celsius.

"Place sewage sludge or sewage sludge placed" means disposal of sewage sludge on a surface disposal site.

"Pollutant" means an organic substance, an inorganic substance, a combination of organic and inorganic substances, or a pathogenic organism that, after discharge and upon exposure, ingestion, inhalation, or assimilation into an organism either directly from the environment or indirectly by ingestion through the food chain, could, on the basis of information available to the board, cause death, disease, behavioral abnormalities, cancer, genetic mutations, physiological malfunctions (including malfunction in reproduction), or physical deformations in either organisms or offspring of the organisms.

"Pollutant limit" means a numerical value that describes the amount of a pollutant allowed per unit amount of sewage sludge (e.g., milligrams per kilogram of total solids); the amount of a pollutant that can be applied to a unit area of land (e.g., kilograms per hectare); or the volume of a material that can be applied to a unit area of land (e.g., gallons per acre).

"Public contact site" means land with a high potential for contact by the public. This includes, but is not limited to, public parks, ball fields, cemeteries, plant nurseries, turf farms, and golf courses.

"Qualified groundwater scientist" means an individual with a baccalaureate or post-graduate degree in the natural sciences or engineering who has sufficient training and experience in groundwater hydrology and related fields, as may be demonstrated by state registration, professional certification, or completion of accredited university programs, to make sound professional judgments regarding groundwater monitoring, pollutant fate and transport, and corrective action.

"Range land" means open land with indigenous vegetation.

"Reclamation site" means drastically disturbed land that is reclaimed using sewage sludge. This includes, but is not limited to, strip mines and construction sites.

"Run-off" means rainwater, leachate, or other liquid that drains overland on any part of a land surface and runs off of the land surface.

"Seismic impact zone" means an area that has a 10% or greater probability that the horizontal ground level acceleration of the rock in the area exceeds 0.10 gravity once in 250 years.

"Sewage sludge" means solid, semi-solid, or liquid residue generated during the treatment of domestic sewage in a treatment works. Sewage sludge includes, but is not limited to, domestic septage; scum or solids removed in primary, secondary, or advanced wastewater treatment processes; and a material derived from sewage sludge. Sewage sludge does not include ash generated during the firing of sewage sludge in a sewage sludge incinerator or grit and screenings generated during preliminary treatment of domestic sewage in a treatment works.

"Sewage sludge unit" means land on which only sewage sludge is placed for final disposal. This does not include land on which sewage sludge is either stored or treated. Land does not include surface waters.

"Sewage sludge unit boundary" means the outermost perimeter of an active sewage sludge unit.

"Specific oxygen uptake rate (SOUR)" means the mass of oxygen consumed per unit time per unit mass of total solids (dry weight basis) in the sewage sludge.

"Store or storage of sewage sludge" means the placement of sewage sludge on land on which the sewage sludge remains for two years or less. This does not include the placement of sewage sludge on land for treatment.

"Surface disposal site" means an area of land that contains one or more active sewage sludge units.

"Total solids" means the materials in sewage sludge that remain as residue when the sewage sludge is dried at 103°C to 105°C.

"Treat or treatment of sewage sludge" means the preparation of sewage sludge for final use or disposal. This includes, but is not limited to, thickening, stabilization, and dewatering of sewage sludge. This does not include storage of sewage sludge.

"Treatment works" means either a federally owned, publicly owned, or privately owned device or system used to treat (including recycle and reclaim) either domestic sewage or a combination of domestic sewage and industrial waste of a liquid nature.

"Unstable area" means land subject to natural or human-induced forces that may damage the structural components of an active sewage sludge unit. This includes, but is not limited to, land on which the soils are subject to mass movement.

"Unstabilized solids" means organic materials in sewage sludge that have not been treated in either an aerobic or anaerobic treatment process.

"Vector attraction" means the characteristic of sewage sludge that attracts rodents, flies, mosquitoes, or other organisms capable of transporting infectious agents.

"Volatile solids" means the amount of the total solids in sewage sludge lost when the sewage sludge is combusted at 550°C in the presence of excess air.

9 VAC 25-31-750. Incorporation of federal regulations.

The following federal regulations are hereby incorporated into this chapter:

1. 40 CFR Part 403 (1999 2000), Appendix B-E, and Appendix G

2. 40 CFR Part 136 (1999 2000), Guidelines for Establishing Test Procedures for the Analysis of Pollutants.

9 VAC 25-31-770. National pretreatment standards: prohibited discharges.

A. 1. General prohibitions. A user may not introduce into any POTW any pollutant or pollutants which cause pass through, interference or violation of water quality standards. These general prohibitions and the specific prohibitions in subsection B of this section apply to each user introducing pollutants into a POTW whether or not the user is subject to other national pretreatment standards or any national, state, or local pretreatment requirements.

2. Affirmative defenses. A user shall have an affirmative defense in any action brought against it alleging a violation of the general prohibitions established in subdivision A 1 of this section and the specific prohibitions in subdivisions B 3, 4, 5, 6, and 7 of this section where the user can demonstrate that:

a. It did not know or have reason to know that its discharge, alone or in conjunction with a discharge or discharges from other sources, would cause pass through or interference; and

b. (1) A local limit designed to prevent pass through or interference or both, as the case may be, was developed in accordance with subsection C of this section for each pollutant in the user's discharge that caused pass through or interference, and the user was in compliance with each such local limit directly prior to and during the pass through or interference; or

(2) If a local limit designed to prevent pass through or interference or both, as the case may be, has not been developed in accordance with subsection C of this section for the pollutant or pollutants that caused the pass through or interference, the user's discharge directly prior to and during the pass through or interference did not change substantially in nature or constituents from the user's prior discharge activity when the POTW was regularly in compliance with the POTW's VPDES permit requirements and, in the case of interference, applicable requirements for sewage sludge use or disposal.

B. Specific prohibitions. In addition, the following pollutants shall not be introduced into a POTW:

1. Pollutants which create a fire or explosion hazard in the POTW, including, but not limited to, wastestreams with a closed cup flashpoint of less than 140°F or 60°C using the test methods specified in 40 CFR 261.21 (1999 2000);

2. Pollutants which will cause corrosive structural damage to the POTW, but in no case discharges with pH lower than 5.0, unless the works is specifically designed to accommodate such discharges;

3. Solid or viscous pollutants in amounts which will cause obstruction to the flow in the POTW resulting in interference;

4. Any pollutant, including oxygen demanding pollutants (BOD, etc.) released in a discharge at a flow rate or pollutant concentration which will cause interference with the POTW;

5. Heat in amounts which will inhibit biological activity in the POTW resulting in interference, but in no case heat in such quantities that the temperature at the POTW treatment plant exceeds 40°C (104°F) unless the director, upon request of the POTW, approves alternate temperature limits;

6. Petroleum oil, nonbiodegradable cutting oil, or products of mineral oil origin in amounts that will cause interference or pass through;

7. Pollutants which result in the presence of toxic gases, vapors, or fumes within the POTW in a quantity that may cause acute worker health and safety problems; or

8. Any trucked or hauled pollutants, except at discharge points designated by the POTW.

C. When specific limits must be developed by POTW.

1. Each POTW developing a POTW pretreatment program pursuant to 9 VAC 25-31-800 shall develop and enforce specific limits to implement the prohibitions listed in subdivisions A 1 and subsection B of this section. Each POTW with an approved pretreatment program shall continue to develop these limits as necessary and effectively enforce such limits.

2. All other POTW's shall, in cases where pollutants contributed by users result in interference, pass through or water quality standards violations and such violation is likely to recur, develop and enforce specific effluent limits for industrial users, and all other users, as appropriate, which, together with appropriate changes in the POTW treatment plant's facilities or operation, are necessary to ensure renewed and continued compliance with the POTW's VPDES permit or sludge use or disposal practices.

3. Specific effluent limits shall not be developed and enforced without individual notice to persons or groups who have requested such notice and an opportunity to respond.

4. All POTWs with approved pretreatment programs shall provide a written technical evaluation of the need to revise their local limits within one year of reissuance of VPDES permits for applicable treatment works, or within one year of VPDES permit modifications resulting in significant changes in VPDES permit limitations, POTW pretreatment operations, or POTW sludge disposal methods.

D. Local limits. Where specific prohibitions or limits on pollutants or pollutant parameters are developed by a POTW in accordance with subsection C of this section, such limits shall be deemed pretreatment standards for the purposes of § 307(d) of the CWA.

E. EPA and state enforcement actions under the law and § 309(f) of the CWA. If, within 30 days after notice of an interference or pass through violation has been sent by the director or EPA to the POTW, and to persons or groups who have requested such notice, the POTW fails to commence appropriate enforcement action to correct the violation, the director or EPA may take appropriate enforcement action under the authority provided by the law and in § 309(f) of the CWA.

9 VAC 25-31-780. National pretreatment standards: categorical standards.

National pretreatment standards included in the regulations incorporated by reference in 9 VAC 25-31-30, unless specifically noted otherwise, shall be in addition to all applicable pretreatment standards and requirements set forth in this part.

A. Category determination request.

1. Application deadline within 60 days after the effective date of a pretreatment standard for a subcategory under which an industrial user may be included, the industrial user or POTW may request that the Water Management Division Director or director, as appropriate, provide written certification on whether the industrial user falls within that particular subcategory. If an existing industrial user adds or changes a process or operation which may be included in a subcategory, the existing industrial user must request this certification prior to commencing discharge from the added or changed processes or operation. A new source must request this certification prior to commencing discharge. Where a certification is submitted by a POTW, the POTW shall notify any affected industrial user of such submission. The industrial user may provide written comments on the POTW submission to the Water Management Division Director or director, as appropriate, within 30 days of notification.

2. Contents of application each request shall contain a statement:

a. Describing which subcategories might be applicable; and

b. Citing evidence and reasons why a particular subcategory is applicable and why others are not applicable. Any person signing the application statement submitted pursuant to this section shall make the following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations."

3. Deficient requests. The Water Management Division Director or director will only act on written requests for determinations that contain all of the information required. Persons who have made incomplete submissions will be notified by the Water Management Division Director or director that their requests are deficient and, unless the time period is extended, will be given 30 days to correct the deficiency. If the deficiency is not corrected within 30 days or within an extended period allowed by the Water Management Division Director or the director, the request for a determination shall be denied.

4. Final decision.

a. When the Water Management Division Director or director receives a submittal he will, after determining that it contains all of the information required by subdivision 2 of this subsection, consider the submission, any additional evidence that may have been requested, and any other available information relevant to the request. The Water Management Division Director or director will then make a written determination of the applicable subcategory and state the reasons for the determination.

b. Where the request is submitted to the director, the director shall forward the determination described in this subdivision to the Water Management Division Director who may make a final determination. If the Water Management Division Director does not modify the director's decision within 60 days after receipt thereof, or if the Water Management Division Director waives receipt of the determination, the director's decision is final.

c. Where the request is submitted by the industrial user or POTW to the Water Management Division Director or where the Water Management Division Director elects to modify the director's decision, the Water Management Division Director's decision will be final.

d. The director shall send a copy of the determination to the affected industrial user and the POTW.

5. Requests for public hearing or legal decision. Within 30 days following the date of receipt of notice of the final determination as provided for by subdivision A 4 d of this section, the requester may submit a petition to reconsider or contest the decision to the regional administrator who shall act on such petition expeditiously and state the reasons for his determination in writing.

B. Deadline for compliance with categorical standards. Compliance by existing sources with categorical pretreatment standards shall be within three years of the date the standard is effective unless a shorter compliance time is specified in the regulations incorporated by reference in 9 VAC 25-31-30. Direct dischargers with VPDES permits modified or reissued to provide a variance pursuant to § 301(i)(2) of the CWA shall be required to meet compliance dates set in any applicable categorical pretreatment standard. Existing sources which become industrial users subsequent to promulgation of an applicable categorical pretreatment standard shall be considered existing industrial users except where such sources meet the definition of a new source as defined in 9 VAC 25-31-10. New sources shall install and have in operating condition, and shall "start up" all pollution control equipment required to meet applicable pretreatment standards before beginning to discharge. Within the shortest feasible time (not to exceed 90 days), new sources must meet all applicable pretreatment standards.

C. 1. Concentration and mass limits pollutant discharge limits in categorical pretreatment standards will be expressed either as concentration or mass limits. Wherever possible, where concentration limits are specified in standards, equivalent mass limits will be provided so that local, state or federal authorities responsible for enforcement may use either concentration or mass limits. Limits in categorical pretreatment standards shall apply to the effluent of the process regulated by the standard, or as otherwise specified by the standard.

2. When the limits in a categorical pretreatment standard are expressed only in terms of mass of pollutant per unit of production, the control authority may convert the limits to equivalent limitations expressed either as mass of pollutant discharged per day of effluent concentration for purposes of calculating effluent limitations applicable to individual industrial users.

3. A control authority calculating equivalent mass-per-day limitations under subdivision 2 of this subsection shall calculate such limitations by multiplying the limits in the standard by the industrial user's average rate of production. This average rate of production shall be based not upon the designed production capacity but rather upon a reasonable measure of the industrial user's actual long-term daily production, such as the average daily production during a representative year. For new sources, actual production shall be estimated using projected production.

4. A control authority calculating equivalent concentration limitations under subdivision 2 of this subsection shall calculate such limitations by dividing the mass limitations derived under subdivision 3 of this subsection by the average daily flow rate of the industrial user's regulated process wastewater. This average daily flow rate shall be based upon a reasonable measure of the industrial user's actual long-term average flow rate, such as the average daily flow rate during the representative year.

5. Equivalent limitations calculated in accordance with subdivisions 3 and 4 of this subsection shall be deemed pretreatment standards for the purposes of§ 307(d) of the CWA and this part industrial users will be required to comply with the equivalent limitations in lieu of the promulgated categorical standards from which the equivalent limitations were derived.

6. Many categorical pretreatment standards specify one limit for calculating maximum daily discharge limitations and a second limit for calculating maximum monthly average, or four-day average, limitations. Where such standards are being applied, the same production of flow figure shall be used in calculating both types of equivalent limitations.

7. Any industrial user operating under a control mechanism incorporating equivalent mass or concentration limits calculated from a production based standard shall notify the control authority within two business days after the user has a reasonable basis to know that the production level will significantly change within the next calendar month. Any user not notifying the control authority of such anticipated change will be required to meet the mass or concentration limits in its control mechanism that were based on the original estimate of the long term average production rate.

D. Dilution prohibited as substitute for treatment. Except where expressly authorized to do so by an applicable pretreatment standard or requirement, no industrial user shall ever increase the use of process water, or in any other way attempt to dilute a discharge as a partial or complete substitute for adequate treatment to achieve compliance with a pretreatment standard or requirement. The control authority as defined in 9 VAC 25-31-840 A, may impose mass limitations on industrial users which are using dilution to meet applicable pretreatment standards or requirements, or in other cases where the imposition of mass limitations is appropriate.

E. Combined wastestream formula. Where process effluent is mixed prior to treatment with wastewaters other than those generated by the regulated process, fixed alternative discharge limits may be derived by the control authority, as defined in 9 VAC 25-31-840 A, or by the industrial user with the written concurrence of the control authority. These alternative limits shall be applied to the mixed effluent. When deriving alternative categorical limits, the control authority or industrial user shall calculate both an alternative daily maximum value using the daily maximum values specified in the appropriate categorical pretreatment standard or standards and an alternative consecutive sampling day average value using the monthly average values specified in the appropriate categorical pretreatment standards. The industrial user shall comply with the alternative daily maximum and monthly average limits fixed by the control authority until the control authority modifies the limits or approves an industrial user modification request. Modification is authorized whenever there is a material or significant change in the values used in the calculation to fix alternative limits for the regulated pollutant. An industrial user must immediately report any such material or significant change to the control authority. Where appropriate new alternative categorical limits shall be calculated within 30 days.

1. Alternative limit calculation. For purposes of these formulas, the "average daily flow" means a reasonable measure of the average daily flow for a 30-day period. For new sources, flows shall be estimated using projected values. The alternative limit for a specified pollutant will be derived by the use of either of the following formulas:

a. Alternative concentration limit.

where:

CMT = the alternative concentration limit for the combined wastestream.

CMi = the categorical pretreatment standard concentration limit for a pollutant in the regulated stream i.

FMi = the average daily flow (at least a 30-day average) of stream i to the extent that it is regulated for such pollutant.

FMD = the average daily flow (at least a 30-day average) from: (i) boiler blowdown streams, noncontact cooling streams, stormwater streams, and demineralizer backwash streams; provided, however, that where such streams contain a significant amount of a pollutant, and the combination of such streams, prior to treatment, with an industrial user's regulated process wastestreams will result in a substantial reduction of that pollutant, the control authority, upon application of the industrial user, may exercise its discretion to determine whether such streams should be classified as diluted or unregulated. In its application to the control authority, the industrial user must provide engineering, production, sampling and analysis and such other information so that the control authority can make its determination; (ii) sanitary wastestreams where such streams are not regulated by a categorical pretreatment standard; or (iii) any process wastestreams which were or could have been entirely exempted from categorical pretreatment standards for one or more of the following reasons (see Appendix D of 40 CFR Part 403 (1999 2000)):

(1) The pollutants of concern are not detectable in the effluent from the industrial user;

(2) The pollutants of concern are present only in trace amounts and are neither causing nor likely to cause toxic effects;

(3) The pollutants of concern are present in amounts too small to be effectively reduced by technologies known to the administrator; or

(4) The wastestream contains only pollutants which are compatible with the POTW.

FMT = The average daily flow (at least a 30-day average) through the combined treatment facility (includes FMi, FMD and unregulated streams).

N = The total number of regulated streams.

b. Alternative mass limit.

where:

MMT = the alternative mass limit for a pollutant in the combined wastestream.

MMi = the categorical pretreatment standard mass limit for a pollutant in the regulated stream i (the categorical pretreatment mass limit multiplied by the appropriate measure of production).

FMi = the average flow (at least a 30-day average) of stream i to the extent that it is regulated for such pollutant.

FMD = the average daily flow (at least a 30-day average) from: (i) boiler blowdown streams, noncontact cooling streams, stormwater streams, and demineralizer backwash streams; provided, however, that where such streams contain a significant amount of a pollutant, and the combination of such streams, prior to treatment, with an industrial user's regulated process wastestreams will result in a substantial reduction of that pollutant, the control authority, upon application of the industrial user, may exercise its discretion to determine whether such streams should be classified as diluted or unregulated. In its application to the control authority, the industrial user must provide engineering, production, sampling and analysis and such other information so that the control authority can make its determination; (ii) sanitary wastestreams where such streams are not regulated by a categorical pretreatment standard; or (iii) any process wastestreams which were or could have been entirely exempted from categorical pretreatment standards for one or more of the following reasons (see Appendix D of 40 CFR Part 403 (1999 2000)):

(1) The pollutants of concern are not detectable in the effluent from the industrial user;

(2) The pollutants of concern are present only in trace amounts and are neither causing nor likely to cause toxic effects;

(3) The pollutants of concern are present in amounts too small to be effectively reduced by technologies known to the administrator; or

(4) The wastestream contains only pollutants which are compatible with the POTW.

FMT = The average flow (at least a 30-day average) through the combined treatment facility (includes FMi, FMD and unregulated streams).

N = The total number of regulated streams.

2. An alternative pretreatment limit may not be used if the alternative limit is below the analytical detection limit for any of the regulated pollutants.

3. Self-monitoring required to insure compliance with the alternative categorical limit shall be conducted in accordance with the requirements of 9 VAC 25-31-840 G.

4. Where a treated regulated process wastestream is combined prior to treatment with wastewaters other than those generated by the regulated process, the industrial user may monitor either the segregated process wastestream or the combined wastestream for the purpose of determining compliance with applicable pretreatment standards. If the industrial user chooses to monitor the segregated process wastestream, it shall apply the applicable categorical pretreatment standard. If the user chooses to monitor the combined wastestream, it shall apply an alternative discharge limit calculated using the combined wastestream formula as provided in this section. The industrial user may change monitoring points only after receiving approval from the control authority. The control authority shall ensure that any change in an industrial user's monitoring point or points will not allow the user to substitute dilution for adequate treatment to achieve compliance with applicable standards.

9 VAC 25-31-790. Removal credits.

A. General.

1. Definitions for the purpose of this section:

"Removal" means a reduction in the amount of a pollutant in the POTW's effluent or alteration of the nature of a pollutant during treatment at the POTW. The reduction or alteration can be obtained by physical, chemical or biological means and may be the result of specifically designed POTW capabilities or may be incidental to the operation of the treatment system. Removal as used in this subpart shall not mean dilution of a pollutant in the POTW.

"Sludge requirements" means the following statutory provisions and regulations or permits issued thereunder (or more stringent Virginia or local regulations): § 405 of the CWA; the Solid Waste Disposal Act (SWDA) (42 USC § 6901 et seq.) (including Title II more commonly referred to as the Resource Conservation Recovery Act (RCRA) (42 USC § 6901 et seq.) and Virginia regulations contained in any Virginia sludge management plan prepared pursuant to Subtitle D of SWDA); the Clean Air Act (42 USC § 4701 et seq.); the Toxic Substances Control Act (15 USC § 2601 et seq.); and the Marine Protection, Research and Sanctuaries Act (33 USC § 1401 et seq.).

2. General. Any POTW receiving wastes from an industrial user to which a categorical pretreatment standards applies may, at its discretion and subject to the conditions of this section, grant removal credits to reflect removal by the POTW of pollutants specified in the categorical pretreatment standards. The POTW may grant a removal credit equal to or, at its discretion, less than its consistent removal rate. Upon being granted a removal credit, each affected industrial user shall calculate its revised discharge limits in accordance with subdivision 4 of this subsection. Removal credits may only be given for indicator or surrogate pollutants regulated in a categorical pretreatment standard if the categorical pretreatment statement so specifies.

3. Conditions for authorization to give removal credits. A POTW is authorized to give removal credits only if the following conditions are met;

a. Application. The POTW applies for, and receives, authorization from the director to give a removal credit in accordance with the requirements and procedures specified in subsection E of this section;

b. Consistent removal determination. The POTW demonstrates and continues to achieve consistent removal of the pollutant in accordance with subsection B of this section;

c. POTW local pretreatment program. The POTW has an approved pretreatment program in accordance with and to the extent required by this part; provided, however, a POTW which does not have an approved pretreatment program may, pending approval of such a program, conditionally give credits as provided in subsection D of this section;

d. Sludge requirements. The granting of removal credits will not cause the POTW to violate the local, state and federal sludge requirements which apply to the sludge management method chosen by the POTW. Alternatively, the POTW can demonstrate to the director that even though it is not presently in compliance with applicable sludge requirements, it will be in compliance when the industrial users to whom the removal credit would apply is required to meet its categorical pretreatment standards as modified by the removal credit. If granting removal credits forces a POTW to incur greater sludge management costs than would be incurred in the absence of granting removal costs, the additional sludge management costs will not be eligible for EPA grant assistance. Removal credits may be made available for the following pollutants:

(1) For any pollutant listed in Appendix G-I of the regulation incorporated by reference in 9 VAC 25-31-750 for the use or disposal practice employed by the POTW, when the requirements of Part VI of this chapter for that practice are met;

(2) For any pollutant listed in Appendix G-II of the regulation incorporated by reference in 9 VAC 25-31-750 for the use or disposal practice employed by the POTW when the concentration for a pollutant listed in Appendix G-II of the regulation incorporated by reference in 9 VAC 25-31-750 in the sewage sludge that is used or disposed does not exceed the concentration for the pollutant in Appendix G-II of the regulation incorporated by reference in 9 VAC 25-31-750; and

(3) For any pollutant in sewage sludge when the POTW disposes all of its sewage sludge in a municipal solid waste landfill that meets the criteria in the Code of Virginia and the Solid Waste Management Regulation, 9 VAC 20-80-10 et seq.;

e. VPDES permit limitations. The granting of removal credits will not cause a violation of the POTW's permit limitations or conditions. Alternatively, the POTW can demonstrate to the director that even though it is not presently in compliance with applicable limitations and conditions in its VPDES permit, it will be in compliance when the industrial user or users to whom the removal credit would apply is required to meet its categorical pretreatment standard or standards, as modified by the removal credit provision.

4. Calculation of revised discharge limits. Revised discharge limits for a specific pollutant shall be derived by use of the following formula:

y =    x

l - r

where:

x = pollutant discharge limit specified in the applicable categorical pretreatment standard

r = removal credit for that pollutant as established under subsection B of this section (percentage removal expressed as a proportion, i.e., a number between 0 and 1)

y = revised discharge limit for the specified pollutant (expressed in same units as x)

B. Establishment of removal credits; demonstration of consistent removal.

1. "Consistent removal " means the average of the lowest 50% of the removal measured according to subdivision 2 of this subsection. All sample data obtained for the measured pollutant during the time period prescribed in subdivision 2 of this subsection must be reported and used in computing consistent removal. If a substance is measurable in the influent but not in the effluent, the effluent level may be assumed to be the limit of measurement, and those data may be used by the POTW at its discretion and subject to approval by the director. If the substance is not measurable in the influent, the data may not be used. Where the number of samples with concentrations equal to or above the limit of measurement is between eight and 12, the average of the lowest six removals shall be used. If there are less than eight samples with concentrations equal to or above the limit of measurement, the director may approve alternate means for demonstrating consistent removal. The term "measurement" refers to the ability of the analytical method or protocol to quantify as well as identify the presence of the substance in question.

2. Influent and effluent operational data demonstrating consistent removal or other information, as provided for in subdivision B 1 of this subsection, which demonstrates consistent removal of the pollutants for which discharge limit revisions are proposed. This data shall meet the following requirements:

a. The data shall be representative of yearly and seasonal conditions to which the POTW is subjected for each pollutant for which a discharge limit revision is proposed;

b. The data shall be representative of the quality and quantity of normal effluent and influent flow if such data can be obtained. If such data are unobtainable, alternate data or information may be presented for approval to demonstrate consistent removal as provided for in subdivision B 1 of this subsection;

c. Sampling procedures: composite.

(1) The influent and effluent operational data shall be obtained through 24-hour flow-proportional composite samples. Sampling may be done manually or automatically, and discretely or continuously. For discrete sampling, at least 12 aliquots shall be composited. Discrete sampling may be flow-proportioned either by varying the time interval between each aliquot or the volume of each aliquot. All composites must be flow proportional to each stream flow at time of collection of influent aliquot or to the total influent flow since the previous influent aliquot. Volatile pollutant aliquots must be combined in the laboratory immediately before analysis.

(2) (a) Twelve samples shall be taken at approximately equal intervals throughout one full year. Sampling must be evenly distributed over the days of the week so as to include no-workdays as well as workdays. If the director determines that this schedule will not be most representative of the actual operation of the POTW treatment plant, an alternative sampling schedule will be approved.

(b) In addition, upon the director's concurrence, a POTW may utilize an historical data base amassed prior to July 24, 1996, provide that such data otherwise meet the requirements of this paragraph. In order for the historical data base to be approved it must present a statistically valid description of daily, weekly and seasonal sewage treatment plant loadings and performance for at least one year.

(3) Effluent sample collection need not be delayed to compensate for hydraulic detention unless the POTW elects to include detention time compensation or unless the director requires detention time compensation. The director may require that each effluent sample be taken approximately one detention time later than the corresponding influent sample when failure to do so would result in an unrepresentative portrayal of actual POTW operation. The detention period is to be based on a 24-hour average daily flow value. The average daily flow used will be based upon the average of the daily flows during the same month of the previous year.

d. Sampling procedures: Grab. Where composite sampling is not an appropriate sampling technique, a grab sample or samples shall be taken to obtain influent and effluent operational data. Collection of influent grab samples should precede collection of effluent samples by approximately one detention period. The detention period is to be based on a 24-hour average daily flow value. The average daily flow used will be based upon the average of the daily flows during the same month of the previous year. Grab samples will be required, for example, where the parameters being evaluated are those, such as cyanide and phenol, which may not be held for any extended period because of biological, chemical or physical interactions which take place after sample collection and affect the results. A grab sample is an individual sample collected over a period of time not exceeding 15 minutes;

e. Analytical methods. The sampling referred to in subdivisions 2 a through d of this subsection and an analysis of these samples shall be performed in accordance with the techniques prescribed in 40 CFR Part 136 (2000) and amendments thereto. Where 40 CFR Part 136 (2000) does not contain sampling or analytical techniques for the pollutant in question, or where the administrator determines that the Part 136 sampling and analytical techniques are inappropriate for the pollutant in question, sampling and analysis shall be performed using validated analytical methods or any other applicable sampling and analytical procedures, including procedures suggested by the POTW or other parties, approved by the administrator; and

f. Calculation of removal. All data acquired under the provisions of this section must be submitted to the department. Removal for a specific pollutant shall be determined either, for each sample, by measuring the difference between the concentrations of the pollutant in the influent and effluent of the POTW and expressing the difference as a percentage of the influent concentration, or, where such data cannot be obtained, removal may be demonstrated using other data or procedures subject to concurrence by the director as provided for in subdivision 1 of this subsection.

C. Provisional credits. For pollutants which are not being discharged currently (i.e. new or modified facilities, or production changes) the POTW may apply for authorization to give removal credits prior to the initial discharge of the pollutant. Consistent removal shall be based provisionally on data from treatability studies or demonstrated removal at other treatment facilities where the quality and quantity of influent are similar. Within 18 months after the commencement of discharge of pollutants in question, consistent removal must be demonstrated pursuant to the requirements of subsection B of this section. If, within 18 months after the commencement of the discharge of the pollutant in question, the POTW cannot demonstrate consistent removal pursuant to the requirements of subsection B of this section, the authority to grant provisional removal credits shall be terminated by the director and all industrial users to whom the revised discharge limits had been applied shall achieve compliance with the applicable categorical pretreatment standards within a reasonable time, not to exceed the period of time prescribed in the applicable categorical pretreatment standards, as may be specified by the director.

D. Exception to POTW pretreatment program requirement. A POTW required to develop a local pretreatment program by 9 VAC 25-31-800 may conditionally give removal credits pending approval of such a program in accordance with the following terms and conditions:

1. All industrial users who are currently subject to a categorical pretreatment standard and who wish conditionally to receive a removal credit must submit to the POTW the information required in 9 VAC 25-31-840 B 1 through 7 (except new or modified industrial users must only submit the information required by 9 VAC 25-31-840 B 1 through 6), pertaining to the categorical pretreatment standard as modified by the removal credit. The industrial users shall indicate what additional technology, if any, will be needed to comply with the categorical pretreatment standards as modified by the removal credit;

2. The POTW must have submitted to the department an application for pretreatment program approval meeting the requirements of 9 VAC 25-31-800 and 9 VAC 25-31-810 in a timely manner, not to exceed the time limitation set forth in a compliance schedule for development of a pretreatment program included in the POTW's VPDES permit, but in no case later than July 1, 1983, where no permit deadline exists;

3. The POTW must:

a. Compile and submit data demonstrating its consistent removal in accordance with subsection B of this section;

b. Comply with the conditions specified in subdivision A 3 of this section; and

c. Submit a complete application for removal credit authority in accordance with subsection E of this section;

4. If a POTW receives authority to grant conditional removal credits and the director subsequently makes a final determination, after appropriate notice, that the POTW failed to comply with the conditions in subdivisions 2 and 3 of this subsection, the authority to grant conditional removal credits shall be terminated by the director and all industrial users to whom the revised discharge limits had been applied shall achieve compliance with the applicable categorical pretreatment standards within a reasonable time, not to exceed the period of time prescribed in the applicable categorical pretreatment standards, as may be specified by the director;

5. If a POTW grants conditional removal credits and the POTW or the director subsequently makes a final determination, after appropriate notice, that the industrial user or users failed to comply with the conditions in subdivision 1 of this subsection, the conditional credit shall be terminated by the POTW or the director for the noncomplying industrial user or users and the industrial user or users to whom the revised discharge limits had been applied shall achieve compliance with the applicable categorical pretreatment standards within a reasonable time, not to exceed the period of time prescribed in the applicable categorical pretreatment standards, as may be specified by the director. The conditional credit shall not be terminated where a violation of the provisions of this paragraph results from causes entirely outside of the control of the industrial user or users or the industrial user or users had demonstrated subsequential compliance; and

6. The director may elect not to review an application for conditional removal credit authority upon receipt of such application, in which case the conditionally revised discharge limits will remain in effect until reviewed by the director. This review may occur at any time in accordance with the procedures of 9 VAC 25-31-830, but in no event later than the time of any pretreatment program approval or any VPDES permit reissuance thereunder.

E. POTW application for authorization to give removal credits and director review.

1. Who must apply. Any POTW that wants to give a removal credit must apply for authorization from the director.

2. To whom application is made. An application for authorization to give removal credits (or modify existing ones) shall be submitted by the POTW to the department.

3. When to apply. A POTW may apply for authorization to give or modify removal credits at any time.

4. Contents of the application. An application for authorization to give removal credits must be supported by the following information:

a. List of pollutants. A list of pollutants for which removal credits are proposed;

b. Consistent removal data. The data required pursuant to subsection B of this section;

c. Calculation of revised discharge limits. Proposed revised discharge limits for each affected subcategory of industrial users calculated in accordance with subdivision A 4 of this section;

d. Local pretreatment program certification. A certification that the POTW has an approved local pretreatment program or qualifies for the exception to this requirement found at subsection D of this section;

e. Sludge management certification. A specific description of the POTW's current methods of using or disposing of its sludge and a certification that the granting of removal credits will not cause a violation of the sludge requirements identified in subdivision A 3 d of this section; and

f. VPDES permit limit certification. A certification that the granting of removal credits will not cause a violation of the POTW's VPDES permit limits and conditions as required in subdivision A 3 e of this section.

5. Director review. The director shall review the POTW's application for authorization to give or modify removal credits in accordance with the procedures of 9 VAC 25-31-830 and shall, in no event, have more than 180 days from public notice of an application to complete review.

6. Nothing in this part precludes an industrial user or other interested party from assisting the POTW in preparing and presenting the information necessary to apply for authorization.

F. Continuation and withdrawal of authorization.

1. Effect of authorization. Once a POTW has received authorization to grant removal credits for a particular pollutant regulated in a categorical pretreatment standard it may automatically extend that removal credit to the same pollutant when it is regulated in other categorical standards, unless granting the removal credit will cause the POTW to violate the sludge requirements identified in subdivision A 3 d of this section or its VPDES permit limits and conditions as required by subdivision A 3 e of this section. If a POTW elects at a later time to extend removal credits to a certain categorical pretreatment standard, industrial subcategory or one or more industrial users that initially were not granted removal credits, it must notify the department.

2. Inclusion in POTW permit. Once authority is granted, the removal credits shall be included in the POTW's VPDES permit as soon as possible and shall become an enforceable requirement of the POTW's VPDES permit. The removal credits will remain in effect for the term of the POTW's VPDES permit, provided the POTW maintains compliance with the conditions specified in subdivision 4 of this subsection.

3. Compliance monitoring. Following authorization to give removal credits, a POTW shall continue to monitor and report on (at such intervals as may be specified by the director, but in no case less than once per year) the POTW's removal capabilities. A minimum of one representative sample per month during the reporting period is required, and all sampling data must be included in the POTW's compliance report.

4. Modification or withdrawal of removal credits.

a. Notice of POTW. The director shall notify the POTW if, on the basis of pollutant removal capability reports received pursuant to subdivision 3 of this subsection or other relevant information available to it, the director determines:

(1) That one or more of the discharge limit revisions made by the POTW, of the POTW itself, no longer meets the requirements of this section, or

(2) That such discharge limit revisions are causing a violation of any conditions or limits contained in the POTW's VPDES Permit.

b. Corrective action. If appropriate corrective action is not taken within a reasonable time, not to exceed 60 days unless the POTW or the affected industrial users demonstrate that a longer time period is reasonably necessary to undertake the appropriate corrective action, the director shall either withdraw such discharge limits or require modifications in the revised discharge limits.

c. Public notice of withdrawal or modification. The director shall not withdraw or modify revised discharge limits unless it shall first have notified the POTW and all industrial users to whom revised discharge limits have been applied, and made public, in writing, the reasons for such withdrawal or modification, and an opportunity is provided for a public hearing. Following such notice and withdrawal or modification, all industrial users to whom revised discharge limits had been applied, shall be subject to the modified discharge limits or the discharge limits prescribed in the applicable categorical pretreatment standards, as appropriate, and shall achieve compliance with such limits within a reasonable time (not to exceed the period of time prescribed in the applicable categorical pretreatment standards) as may be specified by the director.

G. Removal credits in state-run pretreatment programs. Where the director elects to implement a local pretreatment program in lieu or requiring the POTW to develop such a program the POTW will not be required to develop a pretreatment program as a precondition to obtaining authorization to give removal credits. The POTW will, however, be required to comply with the other conditions of subdivision A 3 of this section.

H. Compensation for overflow. For the purpose of this section, "overflow" means the intentional or unintentional diversion of flow from the POTW before the POTW treatment plant. POTWs which at least once annually overflow untreated wastewater to receiving waters may claim consistent removal of a pollutant only by complying with either subdivisions 1 or 2 of this subsection. However, this subsection shall not apply where industrial users can demonstrate that overflow does not occur between the industrial users and the POTW treatment plant:

1. The industrial user provides containment or otherwise ceases or reduces discharges from the regulated processes which contain the pollutant for which an allowance is requested during all circumstances in which an overflow event can reasonably be expected to occur at the POTW or at a sewer to which the industrial user is connected. Discharges must cease or be reduced, or pretreatment must be increased, to the extent necessary to compensate for the removal not being provided by the POTW. Allowances under this provision will only be granted where the POTW submits to the department evidence that:

a. All industrial users to which the POTW proposes to apply this provision have demonstrated the ability to contain or otherwise cease or reduce, during circumstances in which an overflow event can reasonably be expected to occur, discharges from the regulated processes which contain pollutants for which an allowance is requested;

b. The POTW has identified circumstances in which an overflow event can reasonably be expected to occur, and has a notification or other viable plan to insure that industrial users will learn of an impending overflow in sufficient time to contain, cease or reduce discharging to prevent untreated overflows from occurring. The POTW must also demonstrate that it will monitor and verify the data required in subdivision 1 c of this subsection, to insure that industrial users are containing, ceasing or reducing operations during POTW system overflow; and

c. All industrial users to which the POTW proposes to apply this provision have demonstrated the ability and commitment to collect and make available, upon request by the POTW, the director or EPA Regional Administrator, daily flow reports or other data sufficient to demonstrate that all discharges from regulated processes containing the pollutant for which the allowance is requested were contained, reduced or otherwise ceased, as appropriate, during all circumstances in which an overflow event was reasonably expected to occur; or

2. a. The consistent removal claimed is reduced pursuant to the following equation:

rc = rm 8760-Z

8760

where:

rMm = POTW's consistent removal rate for that pollutant as established under subsections A 1 and B 2 of this section

rMc = removal corrected by the overflow factor

Z = hours per year that overflow occurred between the industrial user or users and the POTW treatment plant, the hours either to be shown in the POTW's current VPDES permit application or the hours, as demonstrated by verifiable techniques, that a particular industrial user's discharge overflows between the industrial user and the POTW treatment plant; and

b. After July 1, 1983, consistent removal may be claimed only where efforts to correct the conditions resulting in untreated discharges by the POTW are underway in accordance with the policy and procedures set forth in "PRM 75-34" or "Program Guidance Memorandum-61" (same document) published on December 16, 1975, by EPA Office of Water Program Operations (WH-546). Revisions to discharge limits in categorical pretreatment standards may not be made where efforts have not been committed to by the POTW to minimize pollution from overflows. At minimum, by July 1, 1983, the POTW must have completed the analysis required by PRM 75-34 and be making an effort to implement the plan.

c. If, by July 1, 1983, a POTW has begun the PRM 75-34 analysis but due to circumstances beyond its control has not completed it, consistent removal, subject to the approval of the director, may continue to be claimed according to the formula in subdivision 2 a of this subsection as long as the POTW acts in a timely fashion to complete the analysis and makes an effort to implement the nonstructural cost-effective measures identified by the analysis; and so long as the POTW has expressed its willingness to apply, after completing the analysis, for a construction grant necessary to implement any other cost-effective overflow controls identified in the analysis should federal funds become available, so applies for such funds, and proceeds with the required construction in an expeditious manner. In addition, consistent removal may, subject to the approval of the director, continue to be claimed according to the formula in subdivision 2 a of this subsection where the POTW has completed and the director has accepted the analysis required by PRM 75-34 and the POTW has requested inclusion in its VPDES permit of an acceptable compliance schedule providing for timely implementation of cost-effective measures identified in the analysis. (In considering what is timely implementation, the director shall consider the availability of funds, cost of control measures, and seriousness of the water quality problem.)

9 VAC 25-31-800. Pretreatment program requirements: development and implementation by POTW.

A. POTW required to develop a pretreatment program. Any POTW (or combination of POTWs operated by the same authority) with a total design flow greater than five million gallons per day (mgd) and receiving from industrial users pollutants which pass through or interfere with the operation of the POTW or are otherwise subject to pretreatment standards will be required to establish a POTW pretreatment program unless the director exercises his or her option to assume local responsibilities. The regional administrator or director may require that a POTW with a design flow of five mgd or less develop a POTW pretreatment program if he finds that the nature or volume of the industrial influent, treatment process upsets, violations of POTW effluent limitations, contamination of municipal sludge, violations of water quality standards, or other circumstances warrant in order to prevent interference with the POTW or pass through.

B. Deadline for program approval. POTWs identified as being required to develop a POTW pretreatment program under subsection A of this section shall develop and submit such a program for approval as soon as possible, but in no case later than one year after written notification from the director of such identification. The approved program shall be in operation within two years of the effective date of the permit. The POTW pretreatment program shall meet the criteria set forth in subsection F of this section and shall be administered by the POTW to ensure compliance by industrial users with applicable pretreatment standards and requirements.

C. Incorporation of approved programs in permits. A POTW may develop an appropriate POTW pretreatment program any time before the time limit set forth in subsection B of this section. The POTW's VPDES permit will be reissued or modified to incorporate the approved program as enforceable conditions of the permit. The modification of a POTW's VPDES permit for the purposes of incorporating a POTW pretreatment program approved in accordance with the procedures in 9 VAC 25-31-830 shall be deemed a minor permit modification subject to the procedures in 9 VAC 25-31-400.

D. Incorporation of compliance schedules in permits. (Reserved.)

E. Cause for revocation and reissuance or modification of permits. Under the authority of the law and § 402 (b)(1)(C) of the CWA, the director may modify, or alternatively, revoke and reissue a POTW's permit in order to:

1. Put the POTW on a compliance schedule for the development of a POTW pretreatment program where the addition of pollutants into a POTW by an industrial user or combination of industrial users presents a substantial hazard to the functioning of the treatment works, quality of the receiving waters, human health, or the environment;

2. Coordinate the issuance of § 201 construction grant with the incorporation into a permit of a compliance schedule for POTW pretreatment program;

3. Incorporate a modification of the permit approved under § 301(h) or § 301(i) of the CWA;

4. Incorporate an approved POTW pretreatment program in the POTW permit;

5. Incorporate a compliance schedule for the development of a POTW pretreatment program in the POTW permit; or

6. Incorporate the removal credits (established under 9 VAC 25-31-790) in the POTW permit.

F. POTW pretreatment requirements. A POTW pretreatment program must be based on the following legal authority and include the following procedures. These authorities and procedures shall at all times be fully and effectively exercised and implemented.

1. Legal authority. The POTW shall operate pursuant to legal authority enforceable in federal, state or local courts, which authorizes or enables the POTW to apply and to enforce the requirements of §§ 307(b), (c) and (d), and 402(b)(8) of the CWA and any regulations implementing those sections. Such authority may be contained in a statute or ordinances which the POTW is authorized to enact, enter into or implement, and which are authorized by state law. At a minimum, this legal authority shall enable the POTW to:

a. Deny or condition new or increased contributions of pollutants, or changes in the nature of pollutants, to the POTW by industrial users where such contributions do not meet applicable pretreatment standards and requirements or where such contributions would cause the POTW to violate its VPDES permit.

b. Require compliance with applicable pretreatment standards and requirements by industrial users.

c. Control through permit, or order the contribution to the POTW by each industrial user to ensure compliance with applicable pretreatment standards and requirements. In the case of industrial users identified as significant under 9 VAC 25-31-10, this control shall be achieved through permits or equivalent individual control mechanisms issued to each such user. Such control mechanisms must be enforceable and contain, at a minimum, the following conditions:

(1) Statement of duration (in no case more than five years);

(2) Statement of nontransferability without, at a minimum, prior notification to the POTW and provision of a copy of the existing control mechanism to the new owner or operator;

(3) Effluent limits based on applicable general pretreatment standards in this part, categorical pretreatment standards, local limits, and the law;

(4) Self-monitoring, sampling, reporting, notification and recordkeeping requirements, including an identification of the pollutants to be monitored, sampling location, sampling frequency, and sample type, based on the applicable general pretreatment standards in this part, categorical pretreatment standards, local limits, and the law;

(5) Statement of applicable civil and criminal penalties for violation of pretreatment standards and requirements; and

(6) Any applicable compliance schedules, which may not extend beyond applicable federal deadlines.

d. Require:

(1) The development of a compliance schedule by each industrial user for the installation of technology required to meet applicable pretreatment standards and requirements; and

(2) The submission of all notices and self-monitoring reports from industrial users as are necessary to assess and ensure compliance by industrial users with pretreatment standards and requirements, including but not limited to the reports required in 9 VAC 25-31-840.

e. Carry out all inspection, surveillance and monitoring procedures necessary to determine, independent of information supplied by industrial users, compliance or noncompliance with applicable pretreatment standards and requirements by industrial users. Representatives of the POTW shall be authorized to enter any premises of any industrial user in which a discharge source or treatment system is located or in which records are required to be kept under 9 VAC 25-31-840 O to ensure compliance with pretreatment standards. Such authority shall be at least as extensive as the authority provided under § 308 of the CWA.

f. Obtain remedies for noncompliance by any industrial user with any pretreatment standard and requirement. All POTWs shall be able to seek injunctive relief for noncompliance by industrial users with pretreatment standards and requirements. All POTWs shall also have authority to seek or assess civil or criminal penalties in at least the amount of $1,000 a day for each violation by industrial users of pretreatment standards and requirements.

Pretreatment requirements which will be enforced through the remedies set forth in this subdivision, will include but not be limited to, the duty to allow or carry out inspections, entry, or monitoring activities; any rules, regulations, or orders issued by the POTW; any requirements set forth in individual control mechanisms issued by the POTW; or any reporting requirements imposed by the POTW or this part. The POTW shall have authority and procedures (after informal notice to the discharger) to immediately and effectively halt or prevent any discharge of pollutants to the POTW which reasonably appears to present an imminent endangerment to the health or welfare of persons. The POTW shall also have authority and procedures (which shall include notice to the affected industrial users and an opportunity to respond) to halt or prevent any discharge to the POTW which presents or may present an endangerment to the environment or which threatens to interfere with the operation of the POTW. The director shall have authority to seek judicial relief and may also use administrative penalty authority when the POTW has sought a monetary penalty which the director believes to be insufficient.

g. Comply with the confidentiality requirements set forth in 9 VAC 25-31-860.

2. The POTW shall develop and implement procedures to ensure compliance with the requirements of a pretreatment program. At a minimum, these procedures shall enable the POTW to:

a. Identify and locate all possible industrial users which might be subject to the POTW pretreatment program. Any compilation, index or inventory of industrial users made under this subdivision shall be made available to the regional administrator or department upon request.

b. Identify the character and volume of pollutants contributed to the POTW by the industrial users identified under subdivision 2 a of this subsection. This information shall be made available to the regional administrator or department upon request.

c. Notify industrial users identified under subdivision 2 a of this subsection, of applicable pretreatment standards and any applicable requirements under §§ 204(b) and 405 of the CWA and subtitles C and D of the Resource Conservation and Recovery Act (42 USC § 6901 et seq.). Within 30 days of approval pursuant to 9 VAC 25-31-800 F 6, of a list of significant industrial users, notify each significant industrial user of its status as such and of all requirements applicable to it as a result of such status.

d. Receive and analyze self-monitoring reports and other notices submitted by industrial users in accordance with the self-monitoring requirements in 9 VAC 25-31-840.

e. Randomly sample and analyze the effluent from industrial users and conduct surveillance activities in order to identify, independent of information supplied by industrial users, occasional and continuing noncompliance with pretreatment standards. Inspect and sample the effluent from each significant industrial user at least once a year. Evaluate, at least once every two years, whether each such significant industrial user needs a plan to control slug discharges. For purposes of this subsection, a slug discharge is any discharge of a nonroutine, episodic nature, including but not limited to an accidental spill or noncustomary batch discharge. The results of such activities shall be available to the department upon request. If the POTW decides that a slug control plan is needed, the plan shall contain, at a minimum, the following elements:

(1) Description of discharge practices, including nonroutine batch discharges;

(2) Description of stored chemicals;

(3) Procedures for immediately notifying the POTW of slug discharges, including any discharge that would violate a prohibition under 9 VAC 25-31-770 B, with procedures for follow-up written notification within five days; and

(4) If necessary, procedures to prevent adverse impact from accidental spills, including inspection and maintenance of storage areas, handling and transfer of materials, loading and unloading operations, control of plant site run-off, worker training, building of containment structures or equipment, measures for containing toxic organic pollutants (including solvents), and measures and equipment necessary for emergency response.

f. Investigate instances of noncompliance with pretreatment standards and requirements, as indicated in the reports and notices required under 9 VAC 25-31-840, or indicated by analysis, inspection, and surveillance activities described in subdivision 2 e of this subsection. Sample taking and analysis and the collection of other information shall be performed with sufficient care to produce evidence admissible in enforcement proceedings or in judicial actions.

g. Comply with the public participation requirements of the Code of Virginia and 40 CFR Part 25 (1999 2000) in the enforcement of national pretreatment standards. These procedures shall include provisions for at least annual public notification, in the largest daily newspaper published in the municipality in which the POTW is located, of industrial users which, at any time during the previous 12 months were in significant noncompliance with applicable pretreatment requirements. For the purposes of this provision, an industrial user is in significant noncompliance if its violation meets one or more of the following criteria:

(1) Chronic violations of wastewater discharge limits, defined here as those in which 66% or more of all of the measurements taken during a six-month period exceed (by any magnitude) the daily maximum limit or the average limit for the same pollutant parameter;

(2) Technical Review Criteria (TRC) violations, defined here as those in which 33% or more of all of the measurements for each pollutant parameter taken during a six-month period equal or exceed the product of the daily maximum limit or the average limit multiplied by the applicable TRC (TRC = 1.4 for BOD, TSS, fats, oil, and grease, and 1.2 for all other pollutants except pH);

(3) Any other violation of a pretreatment effluent limit (daily maximum or longer-term average) that the control authority determines has caused, alone or in combination with other discharges, interference or pass through (including endangering the health of POTW personnel or the general public);

(4) Any discharge of a pollutant that has caused imminent endangerment to human health, welfare or to the environment or has resulted in the POTW's exercise of its emergency authority under subdivision 1 f of this subsection to halt or prevent such a discharge;

(5) Failure to meet, within 90 days after the schedule date, a compliance schedule milestone contained in a local control mechanism or enforcement order for starting construction, completing construction, or attaining final compliance;

(6) Failure to provide, within 30 days after the due date, required reports such as baseline monitoring reports, 90-day compliance reports, periodic self-monitoring reports, and reports on compliance with compliance schedules;

(7) Failure to accurately report noncompliance; or

(8) Any other violation or group of violations which the control authority determines will adversely affect the operation or implementation of the local pretreatment program.

3. The POTW shall have sufficient resources and qualified personnel to carry out the authorities and procedures described in subdivisions 1 and 2 of this subsection. In some limited circumstances, funding and personnel may be delayed where (i) the POTW has adequate legal authority and procedures to carry out the pretreatment program requirements described in this section, and (ii) a limited aspect of the program does not need to be implemented immediately (see 9 VAC 25-31-810 B).

4. The POTW shall develop local limits as required in 9 VAC 25-31-770 C 1, using current influent, effluent and sludge data, or demonstrate that they are not necessary.

5. The POTW shall develop and implement an enforcement response plan. This plan shall contain detailed procedures indicating how a POTW will investigate and respond to instances of industrial user noncompliance. The plan shall, at a minimum:

a. Describe how the POTW will investigate instances of noncompliance;

b. Describe the types of escalating enforcement responses the POTW will take in response to all anticipated types of industrial user violations and the time periods within which responses will take place;

c. Identify (by title) the official or officials responsible for each type of response; and

d. Adequately reflect the POTW's primary responsibility to enforce all applicable pretreatment requirements and standards, as detailed in subdivisions 1 and 2 of this subsection.

6. The POTW shall prepare and maintain a list of its significant industrial users. The list shall identify the criteria in the definition of significant industrial user in Part I (9 VAC 25-31-10 et seq.) of this chapter which are applicable to each industrial user and, for industrial users meeting the criteria in subdivision 2 of that definition, shall also indicate whether the POTW has made a determination pursuant to subdivision 3 of that definition that such industrial user should not be considered a significant industrial user. This list shall be submitted to the department as a nonsubstantial program modification pursuant to 9 VAC 25-31-900 D. Modifications to the list shall be submitted to the department pursuant to 9 VAC 25-31-840 I 1.

9 VAC 25-31-810. POTW pretreatment programs and/or authorization to revise pretreatment standards: submission for approval.

A. A POTW requesting approval of a POTW pretreatment program shall develop a program description which includes the information set forth in subdivisions B 1 through B 4 of this section. This description shall be submitted to the department which will make a determination on the request for program approval in accordance with the procedures described in 9 VAC 25-31-830.

B. The program description must contain the following information:

1. A statement from the city solicitor or a city official acting in a comparable capacity (or the attorney for those POTWs which have independent legal counsel) that the POTW has authority adequate to carry out the programs described in 9 VAC 25-31-800. This statement shall:

a. Identify the provision of the legal authority under 9 VAC 25-31-800 F 1 which provides the basis for each procedure under 9 VAC 25-31-800 F 2;

b. Identify the manner in which the POTW will implement the program requirements set forth in 9 VAC 25-31-800, including the means by which pretreatment standards will be applied to individual industrial users (e.g., by order, permit, ordinance, etc.); and

c. Identify how the POTW intends to ensure compliance with pretreatment standards and requirements, and to enforce them in the event of noncompliance by industrial users;

2. A copy of any statutes, ordinances, regulations, agreements, or other authorities relied upon by the POTW for its administration of the program which meet the requirements of 9 VAC 25-31-800 F 1. This submission shall include a statement reflecting the endorsement or approval of the local boards or bodies responsible for supervising or funding the POTW pretreatment program if approved;

3. A brief description (including organization charts) of the POTW organization which will administer the pretreatment program. If more than one agency is responsible for administration of the program the responsible agencies shall be identified, their respective responsibilities delineated, and their procedures for coordination set forth in an inter-jurisdictional agreement; and

4. A description of the funding levels and full and part-time manpower available to implement the program.

C. The POTW may request conditional approval of the pretreatment program pending the acquisition of funding and personnel from certain elements of the program. The request for conditional approval must meet the requirements set forth in subsection B of this section except that the requirements of subsection B of this section may be relaxed if the submission demonstrates that:

1. A limited aspect of the program does not need to be implemented immediately;

2. The POTW had adequate legal authority and procedures to carry out those aspects of the program which will not be implemented immediately; and

3. Funding and personnel for the program aspects to be implemented at a later date will be available when needed. The POTW will describe in the submission the mechanism by which this funding will be acquired. Upon receipt of a request for conditional approval, the director will establish a fixed date for the acquisition of the needed funding and personnel. If funding is not acquired by this date, the conditional approval of the POTW pretreatment program and any removal allowances granted to the POTW may be modified or withdrawn.

D. The request for authority to revise categorical pretreatment standards must contain the information required in 9 VAC 25-31-790 D.

E. Any POTW requesting POTW pretreatment program approval shall submit to the department three copies of the submission described in subsection B, and if appropriate, subsection D of this section. Within 60 days after receiving the submission, the director shall make a preliminary determination of whether the submission meets the requirements of subsection B and, if appropriate, subsection D of this section. If the director makes the preliminary determination that the submission meets these requirements, the director shall:

1. Notify the POTW that the submission has been received and is under review; and

2. Commence the public notice and evaluation activities set forth in 9 VAC 25-31-830.

F. If, after review of the submission as provided for in subsection E of this section, the director determines that the submission does not comply with the requirements of subsections B or C of this section, and, if appropriate, subsection D, of this section, the director shall provide notice in writing to the applying POTW and each person who has requested individual notice. This notification shall identify any defects in the submission and advise the POTW and each person who has requested individual notice of the means by which the POTW can comply with the applicable requirements of subsections B, C of this section, and, if appropriate, subsection D of this section.

G. Consistency with water quality management plans.

1. In order to be approved the POTW pretreatment program shall be consistent with any approved water quality management plan developed in accordance with 40 CFR Parts 130, 131 (1999 2000), as revised, where such 208 plan includes management agency designations and addresses pretreatment in a manner consistent with this part. In order to assure such consistency the director shall solicit the review and comment of the appropriate 208 planning agency during the public comment period provided for in 9 VAC 25-31-830 B 1 b prior to approval or disapproval of the program.

2. Where no 208 plan has been approved or where a plan has been approved but lacks management agency designations or does not address pretreatment in a manner consistent with this part, the director shall nevertheless solicit the review and comment of the appropriate 208 planning agency.

9 VAC 25-31-840. Reporting requirements for POTWs and industrial users.

A. The term "control authority" as it is used in this section refers to:

1. The POTW if the POTW's submission for its pretreatment program, as defined in 9 VAC 25-31-10, has been approved in accordance with the requirements of 9 VAC 25-31-830; or

2. The director if the submission has not been approved.

B. Reporting requirements for industrial users upon effective date of categorical pretreatment standard baseline report. Within 180 days after the effective date of a categorical pretreatment standard, or 180 days after the final administrative decision made upon a category determination submission under 9 VAC 25-31-780 A 4, whichever is later, existing industrial users subject to such categorical pretreatment standards and currently discharging to or scheduled to discharge to a POTW shall be required to submit to the control authority a report which contains the information listed in subdivisions 1 through 7 of this subsection. At least 90 days prior to commencement of discharge, new sources and sources that become industrial users subsequent to the promulgation of an applicable categorical standard shall be required to submit to the control authority a report which contains the information listed in subdivisions 1 through 5 of this subsection. New sources shall also be required to include in this report information on the method of pretreatment the source intends to use to meet applicable pretreatment standards. New sources shall give estimates of the information requested in subdivisions 4 and 5 of this subsection.

1. Identifying information. The user shall submit the name and address of the facility including the name of the operator and owners.

2. Permits. The user shall submit a list of any environmental control permits held by or for the facility.

3. Description of operations. The user shall submit a brief description of the nature, average rate of production, and standard industrial classification of the operation or operations carried out by such industrial user. This description should include a schematic process diagram which indicates points of discharge to the POTW from the regulated processes.

4. Flow measurement. The user shall submit information showing the measured average daily and maximum daily flow, in gallons per day, to the POTW from each of the following:

a. Regulated process streams; and

b. Other streams as necessary to allow use of the combined wastestream formula of 9 VAC 25-31-780 E. (See subdivision 5 e of this subsection.) The control authority may allow for verifiable estimates of these flows where justified by cost or feasibility considerations.

5. Measurement of pollutants.

a. The user shall identify the pretreatment standards applicable to each regulated process.

b. In addition, the user shall submit the results of sampling and analysis identifying the nature and concentration (or mass, where required by the standard or control authority) of regulated pollutants in the discharge from each regulated process. Both daily maximum and average concentration (or mass, where required) shall be reported. The sample shall be representative of daily operations.

c. A minimum of four grab samples must be used for pH, cyanide, total phenols, oil and grease, sulfide, and volatile organics. For all other pollutants, 24-hour composite samples must be obtained through flow-proportional composite sampling techniques where feasible. The control authority may waive flow-proportional composite sampling for any industrial user that demonstrates that flow-proportional sampling is infeasible. In such cases, samples may be obtained through time-proportional composite sampling techniques or through a minimum of four grab samples where the user demonstrates that this will provide a representative sample of the effluent being discharged.

d. The user shall take a minimum of one representative sample to compile that data necessary to comply with the requirements of this subsection.

e. Samples shall be taken immediately downstream from pretreatment facilities if such exist or immediately downstream from the regulated process if no pretreatment exists. If other wastewaters are mixed with the regulated wastewater prior to pretreatment, the user shall measure the flows and concentrations necessary to allow use of the combined wastestream formula of 9 VAC 25-31-780 E in order to evaluate compliance with the pretreatment standards. Where an alternate concentration or mass limit has been calculated in accordance with 9 VAC 25-31-780 E, this adjusted limit along with supporting data shall be submitted to the control authority.

f. Sampling and analysis shall be performed in accordance with the techniques prescribed in 40 CFR Part 136 (1999 2000) and amendments thereto. Where 40 CFR Part 136 (1999 2000) does not contain sampling or analytical techniques for the pollutant in question, or where the administrator determines that the Part 136 sampling and analytical techniques are inappropriate for the pollutant in question, sampling and analysis shall be performed by using validated analytical methods or any other applicable sampling and analytical procedures, including procedures suggested by the POTW or other parties, approved by the administrator.

g. The control authority may allow the submission of a baseline report which utilizes only historical data so long as the data provides information sufficient to determine the need for industrial pretreatment measures.

h. The baseline report shall indicate the time, date and place of sampling, and methods of analysis, and shall certify that such sampling and analysis is representative of normal work cycles and expected pollutant discharges to the POTW.

6. Certification. The user shall submit a statement, reviewed by an authorized representative of the industrial user (as defined in subsection L of this section) and certified to by a qualified professional, indicating whether pretreatment standards are being met on a consistent basis, and, if not, whether additional operation and maintenance (O and M) or additional pretreatment, or both, are required for the industrial user to meet the pretreatment standards and requirements.

7. Compliance schedule. If additional pretreatment or O and M, or both, will be required to meet the pretreatment standards, the user shall submit the shortest schedule by which the industrial user will provide such additional pretreatment or O and M, or both. The completion date in this schedule shall not be later than the compliance date established for the applicable pretreatment standard.

a. Where the industrial user's categorical pretreatment standard has been modified by a removal allowance (9 VAC 25-31-790), the combined wastestream formula (9 VAC 25-31-780 E), or a fundamentally different factors variance (9 VAC 25-31-850), or any of them, at the time the user submits the report required by subsection B of this section, the information required by subdivisions 6 and 7 of this subsection shall pertain to the modified limits.

b. If the categorical pretreatment standard is modified by a removal allowance (9 VAC 25-31-790), the combined wastestream formula (9 VAC 25-31-780 E), or a fundamentally different factors variance (9 VAC 25-31-850), or any of them, after the user submits the report required by this subsection, any necessary amendments to the information requested by subdivisions 6 and 7 of this subsection shall be submitted by the user to the control authority within 60 days after the modified limit is approved.

C. Compliance schedule for meeting categorical pretreatment standards. The following conditions shall apply to the schedule required by subdivision B 7 of this section:

1. The schedule shall contain increments of progress in the form of dates for the commencement and completion of major events leading to the construction and operation of additional pretreatment required for the industrial user to meet the applicable categorical pretreatment standards (e.g., hiring an engineer, completing preliminary plans, completing final plans, executing contract for major components, commencing construction, completing construction, etc.);

2. No increment referred to in subdivision 1 of this subsection shall exceed nine months; and

3. Not later than 14 days following each date in the schedule and the final date for compliance, the industrial user shall submit a progress report to the control authority including, at a minimum, whether or not it complied with the increment of progress to be met on such date and, if not, the date on which it expects to comply with this increment of progress, the reason for delay, and the steps being taken by the industrial user to return the construction to the schedule established. In no event shall more than nine months elapse between such progress reports to the control authority.

D. Report on compliance with categorical pretreatment standard deadline. Within 90 days following the date for final compliance with applicable categorical pretreatment standards or in the case of a new source following commencement of the introduction of wastewater into the POTW, any industrial user subject to pretreatment standards and requirements shall submit to the control authority a report containing the information described in subdivisions B 4 through B 6 of this section. For industrial users subject to equivalent mass or concentration limits established by the control authority in accordance with the procedures in 9 VAC 25-31-780 C, this report shall contain a reasonable measure of the user's long-term production rate. For all other industrial users subject to categorical pretreatment standards expressed in terms of allowable pollutant discharge per unit of production (or other measure of operation), this report shall include the user's actual production during the appropriate sampling period.

E. Periodic reports on continued compliance.

1. Any industrial user subject to a categorical pretreatment standard, after the compliance date of such pretreatment standard, or, in the case of a new source, after commencement of the discharge into the POTW, shall submit to the control authority during the months of June and December, unless required more frequently in the pretreatment standard or by the control authority or the director, a report indicating the nature and concentration of pollutants in the effluent which are limited by such categorical pretreatment standards. In addition, this report shall include a record of measured or estimated average and maximum daily flows for the reporting period for the discharge reported in subdivision B 4 of this section except that the control authority may require more detailed reporting of flows. At the discretion of the control authority and in consideration of such factors as local high or low flow rates, holidays, budget cycles, etc., the control authority may agree to alter the months during which the above reports are to be submitted.

2. Where the control authority has imposed mass limitations on industrial users as provided for by 9 VAC 25-31-780 D, the report required by subdivision 1 of this subsection shall indicate the mass of pollutants regulated by pretreatment standards in the discharge from the industrial user.

3. For industrial users subject to equivalent mass or concentration limits established by the control authority in accordance with the procedures in 9 VAC 25-31-780 C, the report required by subdivision 1 of this subsection shall contain a reasonable measure of the user's long-term production rate. For all other industrial users subject to categorical pretreatment standards expressed only in terms of allowable pollutant discharge per unit of production (or other measure of operation), the report required by subdivision 1 of this subsection shall include the user's actual average production rate for the reporting period.

F. Notice of potential problems, including slug loading. All categorical and noncategorical industrial users shall notify the POTW immediately of all discharges that could cause problems to the POTW, including any slug loadings, as defined by 9 VAC 25-31-770 B, by the industrial user.

G. Monitoring and analysis to demonstrate continued compliance with pretreatment standards and requirements.

1. The reports required in subsections B, D, and E of this section shall contain the results of sampling and analysis of the discharge, including the flow and the nature and concentration, or production and mass where requested by the control authority, of pollutants contained therein which are limited by the applicable pretreatment standards. This sampling and analysis may be performed by the control authority in lieu of the industrial user. Where the POTW performs the required sampling and analysis in lieu of the industrial user, the user will not be required to submit the compliance certification required under subsections B 6 and D of this section. In addition, where the POTW itself collects all the information required for the report, including flow data, the industrial user will not be required to submit the report.

2. If sampling performed by an industrial user indicates a violation, the user shall notify the control authority within 24 hours of becoming aware of the violation. The user shall also repeat the sampling and analysis and submit the results of the repeat analysis to the control authority within 30 days after becoming aware of the violation, except the industrial user is not required to resample if:

a. The control authority performs sampling at the industrial user at a frequency of at least once per month; or

b. The control authority performs sampling at the user between the time when the user performs its initial sampling and the time when the user receives the results of this sampling.

3. The reports required in subsection E of this section shall be based upon data obtained through appropriate sampling and analysis performed during the period covered by the report, which data is representative of conditions occurring during the reporting period. The control authority shall require that frequency of monitoring necessary to assess and ensure compliance by industrial users with applicable pretreatment standards and requirements.

4. All analyses shall be performed in accordance with procedures contained in 40 CFR Part 136 (1999 2000) and amendments thereto or with any other test procedures approved by EPA, and shall be reported to the control authority. Sampling shall be performed in accordance with EPA-approved techniques. Where 40 CFR Part 136 (1999 2000) does not include sampling or analytical techniques for the pollutants in question, or where EPA determines that the Part 136 sampling and analytical techniques are inappropriate for the pollutant in question, sampling and analyses shall be performed using validated analytical methods or any other sampling and analytical procedures, including procedures suggested by the POTW or other parties, approved by EPA.

5. If an industrial user subject to the reporting requirement in subsection E of this section monitors any pollutant more frequently than required by the control authority, using the procedures prescribed in subdivision 4 of this subsection, the results of this monitoring shall be included in the report.

H. Reporting requirements for industrial users not subject to categorical pretreatment standards. The control authority shall require appropriate reporting from those industrial users with discharges that are not subject to categorical pretreatment standards. Significant noncategorical industrial users shall submit to the control authority at least once every six months (on dates specified by the control authority) a description of the nature, concentration, and flow of the pollutants required to be reported by the control authority. These reports shall be based on sampling and analysis performed in the period covered by the report, and performed in accordance with the techniques described in 40 CFR Part 136 (1999 2000) and amendments thereto. Where 40 CFR Part 136 (1999 2000) does not contain sampling or analytical techniques for the pollutant in question, or where the administrator determines that the Part 136 sampling and analytical techniques are inappropriate for the pollutant in question, sampling and analysis shall be performed by using validated analytical methods or any other applicable sampling and analytical procedures, including procedures suggested by the POTW or other persons, approved by the administrator. This sampling and analysis may be performed by the control authority in lieu of the significant noncategorical industrial user. Where the POTW itself collects all the information required for the report, the noncategorical significant industrial user will not be required to submit the report.

I. Annual POTW reports. POTWs with approved pretreatment programs shall provide the department with a report that briefly describes the POTW's program activities, including activities of all participating agencies if more than one jurisdiction is involved in the local program. The report required by this section shall be submitted no later than one year after approval of the POTW's pretreatment program, and at least annually thereafter, and shall include, at a minimum, the following:

1. An updated list of the POTW's industrial users, including their names and addresses, or a list of deletions and additions keyed to a previously submitted list. The POTW shall provide a brief explanation of each deletion. This list shall identify which industrial users are subject to categorical pretreatment standards and specify which standards are applicable to each industrial user. The list shall indicate which industrial users are subject to local standards that are more stringent than the categorical pretreatment standards. The POTW shall also list the industrial users that are subject only to local requirements;

2. A summary of the status of industrial user compliance over the reporting period;

3. A summary of compliance and enforcement activities (including inspections) conducted by the POTW during the reporting period;

4. A summary of changes to the POTW's pretreatment program that have not been previously reported to the department; and

5. Any other relevant information requested by the director.

J. Notification of changed discharge. All industrial users shall promptly notify the POTW in advance of any substantial change in the volume or character of pollutants in their discharge, including the listed or characteristic hazardous wastes for which the industrial user has submitted initial notification under the Code of Virginia and this section.

K. Compliance schedule for POTWs. The following conditions and reporting requirements shall apply to the compliance schedule for development of an approvable POTW pretreatment program required by 9 VAC 25-31-800:

1. The schedule shall contain increments of progress in the form of dates for the commencement and completion of major events leading to the development and implementation of a POTW pretreatment program (e.g., acquiring required authorities, developing funding mechanisms, acquiring equipment);

2. No increment referred to in subdivision 1 of this subsection shall exceed nine months; and

3. Not later than 14 days following each date in the schedule and the final date for compliance, the POTW shall submit a progress report to the department including, at a minimum, whether or not it complied with the increment of progress to be met on such date and, if not, the date on which it expects to comply with this increment of progress, the reason for delay, and the steps taken by the POTW to return to the schedule established. In no event shall more than nine months elapse between such progress reports to the department.

L. Signatory requirements for industrial user reports. The reports required by subsections B, D, and E of this section shall include the certification statement as set forth in 9 VAC 25-31-780 A 2 b, and shall be signed as follows:

1. By a responsible corporate officer, if the industrial user submitting the reports required by subsections B, D and E of this section is a corporation. For the purpose of this subdivision, a responsible corporate officer means (i) a president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy-making or decision-making functions for the corporation, or (ii) the manager of one or more manufacturing, production, or operation facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

2. By a general partner or proprietor if the industrial user submitting the reports required by subsections B, D and E of this section is a partnership or sole proprietorship, respectively.

3. By a duly authorized representative of the individual designated in subdivision 1 or 2 of this subsection if:

a. The authorization is made in writing by the individual described in subdivision 1 or 2 of this subsection;

b. The authorization specifies either an individual or a position having responsibility for the overall operation of the facility from which the industrial discharge originates, such as the position of plant manager, operator of a well, or well field superintendent, or a position of equivalent responsibility, or having overall responsibility for environmental matters for the company; and

c. The written authorization is submitted to the control authority.

4. If an authorization under subdivision 3 of this subsection is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, or overall responsibility for environmental matters for the company, a new authorization satisfying the requirements of subdivision 3 of this subsection must be submitted to the control authority prior to or together with any reports to be signed by an authorized representative.

M. Signatory requirements for POTW reports. Reports submitted to the department by the POTW in accordance with subsection I of this section must be signed by a principal executive officer, ranking elected official or other duly authorized employee if such employee is responsible for overall operation of the POTW.

N. Provision governing fraud and false statements. The reports and other documents required to be submitted or maintained under this section shall be subject to:

1. The provisions of 18 USC § 1001 relating to fraud and false statements;

2. The provisions of the law or § 309(c)(4) of the CWA, as amended, governing false statements, representation or certification; and

3. The provisions of § 309(c)(6) of the CWA regarding responsible corporate officers.

O. Recordkeeping requirements.

1. Any industrial user and POTW subject to the reporting requirements established in this section shall maintain records of all information resulting from any monitoring activities required by this section. Such records shall include for all samples:

a. The date, exact place, method, and time of sampling and the names of the person or persons taking the samples;

b. The dates analyses were performed;

c. Who performed the analyses;

d. The analytical techniques/methods used; and

e. The results of such analyses.

2. Any industrial user or POTW subject to the reporting requirements established in this section shall be required to retain for a minimum of three years any records of monitoring activities and results (whether or not such monitoring activities are required by this section) and shall make such records available for inspection and copying by the director and the regional administrator (and POTW in the case of an industrial user). This period of retention shall be extended during the course of any unresolved litigation regarding the industrial user or POTW or when requested by the director or the regional administrator.

3. Any POTW to which reports are submitted by an industrial user pursuant to subsections B, D, E, and H of this section shall retain such reports for a minimum of three years and shall make such reports available for inspection and copying by the director and the regional administrator. This period of retention shall be extended during the course of any unresolved litigation regarding the discharge of pollutants by the industrial user or the operation of the POTW pretreatment program or when requested by the director or the regional administrator.

P.1. The industrial user shall notify the POTW, the EPA Regional Waste Management Division Director, and state hazardous waste authorities in writing of any discharge into the POTW of a substance, which, if otherwise disposed of, would be a hazardous waste under the Code of Virginia and 40 CFR Part 261 (1999 2000). Such notification must include the name of the hazardous waste as set forth in the Code of Virginia and 40 CFR Part 261 (1999 2000), the EPA hazardous waste number, and the type of discharge (continuous, batch, or other). If the industrial user discharges more than 100 kilograms of such waste per calendar month to the POTW, the notification shall also contain the following information to the extent such information is known and readily available to the industrial user: An identification of the hazardous constituents contained in the wastes, an estimation of the mass and concentration of such constituents in the wastestream discharged during that calendar month, and an estimation of the mass of constituents in the wastestream expected to be discharged during the following 12 months. All notifications must take place within 180 days of the effective date of this rule. Industrial users who commence discharging after the effective date of this rule shall provide the notification no later than 180 days after the discharge of the listed or characteristic hazardous waste. Any notification under this subsection need be submitted only once for each hazardous waste discharged. However, notifications of changed discharges must be submitted under subsection J of this section. The notification requirement in this section does not apply to pollutants already reported under self-monitoring requirements of subsections B, D, and E of this section.

2. Dischargers are exempt from the requirements of subdivision 1 of this subsection during a calendar month in which they discharge no more than 15 kilograms of hazardous wastes, unless the wastes are acute hazardous wastes as specified in 40 CFR 261.30(d) and 261.33(e) (1999 2000). Discharge of more than 15 kilograms of nonacute hazardous wastes in a calendar month, or of any quantity of acute hazardous wastes as specified in 40 CFR 261.30(d) and 261.33(e) (1999 2000), requires a one-time notification. Subsequent months during which the industrial user discharges more than such quantities of any hazardous waste do not require additional notification.

3. In the case of any new regulations under § 3001 of RCRA (42 USC § 6901 et seq.) identifying additional characteristics of hazardous waste or listing any additional substance as a hazardous waste, the industrial user must notify the POTW, the EPA Regional Waste Management Waste Division Director, and state hazardous waste authorities of the discharge of such substance within 90 days of the effective date of such regulations.

4. In the case of any notification made under this subsection, the industrial user shall certify that it has a program in place to reduce the volume and toxicity of hazardous wastes generated to the degree it has determined to be economically practical.

9 VAC 25-31-900. Modification of POTW pretreatment programs.

A. Either the director or a POTW with an approved POTW pretreatment program may initiate program modification at any time to reflect changing conditions at the POTW. Program modification is necessary whenever there is a significant change in the operation of a POTW pretreatment program that differs from the information in the POTW's submission, as approved under 9 VAC 25-31-830.

B. Substantial modifications defined. Substantial modifications include:

1. Modifications that relax POTW legal authorities (as described in 9 VAC 25-31-800 F 1, except for modifications that directly reflect a revision to this part or to 40 CFR Chapter I, Subchapter N (1997 2000), and are reported pursuant to subsection D of this section;

2. Modifications that relax local limits, except for the modifications to local limits for pH and reallocations of the maximum allowable industrial loading of a pollutant that do not increase the total industrial loadings for the pollutant, which are reported pursuant to subsection D of this section. Maximum allowable industrial loading means the total mass of a pollutant that all industrial users of a POTW (or a subgroup of industrial users identified by the POTW) may discharge pursuant to limits developed under 9 VAC 25-31-770 C;

3. Changes to the POTW's control mechanism as described in 9 VAC 25-31-800 F 1 c;

4. A decrease in the frequency of self-monitoring or reporting required of industrial users;

5. A decrease in the frequency of industrial user inspections or sampling by the POTW;

6. Changes to the POTW's confidentiality procedures; and

7. Other modifications designated as substantial modifications by the director on the basis that the modification could have a significant impact on the operation of the POTW's pretreatment program, could result in an increase in pollutant loadings at the POTW, or could result in less stringent requirements being imposed on industrial users of the POTW.

C. Approval procedures for substantial modifications.

1. The POTW shall submit to the department a statement of the basis for the desired program modification, a modified program description (see 9 VAC 25-31-810 B), or such other documents the director determines to be necessary under the circumstances.

2. The director shall approve or disapprove the modification based on the requirements of 9 VAC 25-31-800 F and using the procedures in 9 VAC 25-31-830 B through F, except as provided in subdivisions C 3 and C 4 of this section. The modification shall become effective upon approval by the director.

3. The director need not publish a notice of decision under 9 VAC 25-31-830 E provided (i) the notice of request for approval under 9 VAC 25-31-830 B 1 states that the request will be approved if no comments are received by a date specified in the notice; (ii) no substantive comments are received; and (iii) the request is approved without change.

4. Notices required by 9 VAC 25-31-830 may be performed by the POTW provided that the director finds that the POTW notice otherwise satisfies the requirements of 9 VAC 25-31-830.

D. Approval procedures for nonsubstantial modifications.

1. The POTW shall notify the department of any nonsubstantial modification at least 45 days prior to implementation by the POTW in a statement similar to that provided for in subdivision C 1 of this section.

2. Within 45 days after the submission of the POTW's statement, the director shall notify the POTW of his decision to approve or disapprove the nonsubstantial modification.

3. If the director does not notify the POTW within 45 days of his decision to approve or deny the modification or to treat the modification as substantial under subdivision B 7 of this section, the POTW may implement the modification.

E. Incorporation in permit. All modifications shall be incorporated into the POTW's VPDES permit upon approval. The permit will be modified to incorporate the approved modification in accordance with 9 VAC 25-31-400.

VA.R. Doc. No. R02-105; Filed December 21, 2001, 4:42 p.m.