STATE WATER CONTROL BOARD

Title of Regulation: 9 VAC 25-260. Water Quality Standards (amending 9 VAC 25-260-5, [ 9 VAC 25-260-140, ] 9 VAC 25-260-160, 9 VAC 25-260-170, 9 VAC 25-260-310, and 9 VAC 25-260-390 [ ; adding 9 VAC 25-260-155 ] ).

Statutory Authority: § 62.1-44.15 of the Code of Virginia.

Effective Date: 30 days after notice in the Virginia Register of EPA approval.

Summary:

Water Quality Standards consist of designated uses of the water body and narrative and numeric criteria that protect those uses by describing water quality in general terms and specifically as numerical limits for physical, chemical and biological characteristics of water.

The amendments update the statewide bacteria criteria to match updates published by the Environmental Protection Agency (EPA). The bacteria criteria proposed are designed to protect all state waters for primary contact recreation (swimming). Also included are reworded shellfish bacteria criteria that reflect the National Shellfish Sanitation Commission recommendations for fecal coliform levels in shellfish waters. The amendments also incorporate a site-specific chronic ammonia criterion for some Potomac River tributaries. All of these amendments will be used in calculating Virginia Pollutant Discharge Elimination System permit limits where appropriate and for water quality assessments per the Clean Water Act 305(b) and 303(d) reports.

The State Water Control Board deferred making a decision on 9 VAC 25-260-140 and 9 VAC 25-260-155, which included revised statewide ammonia criteria. The criteria will be reconsidered at the July State Water Control Board meeting.

The adopted amendments to 9 VAC 25-260-5, 9 VAC 25-260-160, 9 VAC 25-260-170, 9 VAC 25-260-310 and 9 VAC 25-260-390 will become effective 30 days after publication in the Virginia Register of Regulations of a notice that the amendments have been approved by the U.S. Environmental Protection Agency.

Summary of Public Comments and Agency's Response: A summary of comments made by the public and the agency's may be obtained from the promulgating agency or viewed at the office of the Registrar of Regulations.

Agency Contact: Elleanore Daub, Department of Environmental Quality, P.O. Box 10009, Richmond, VA 23240, telephone (804) 698-4111 or e-mail emdaub@deq.state.va.us.

9 VAC 25-260-5. Definitions.

The following words and terms when used in this chapter shall have the following meanings unless the context clearly indicates otherwise:

"Board" means State Water Control Board.

"Criteria" means elements of the board's water quality standards, expressed as constituent concentrations, levels, or narrative statements, representing a quality of water that supports a particular use. When criteria are met, water quality will generally protect the designated use.

"Designated uses" means those uses specified in water quality standards for each water body or segment whether or not they are being attained.

"Existing uses" means those uses actually attained in the water body on or after November 28, 1975, whether or not they are included in the water quality standards.

“Primary contact recreation” means any water-based form of recreation, the practice of which has a high probability for total body immersion or ingestion of water (examples include but are not limited to swimming, water skiing, canoeing and kayaking).

"Use attainability analysis" means a structured scientific assessment of the factors affecting the attainment of the use which may include physical, chemical, biological, and economic factors as described in 9 VAC 25-260-10 G.

"Water quality standards" means provisions of state or federal law which consist of a designated use or uses for the waters of the Commonwealth and water quality criteria for such waters based upon such uses. Water quality standards are to protect the public health or welfare, enhance the quality of water and serve the purposes of the State Water Control Law (§ 62.1-44.2 et seq. of the Code of Virginia) and the federal Clean Water Act (33 USC § 1251 et seq.).

REGISTRAR'S NOTICE: The proposed amendments to 9 VAC 25-260-140 and the addition of 9 VAC 25-260-155 that were published in 18:4 VA.R. 495-518 November 5, 2001, were deferred by the State Water Control Board and not adopted in final form. Therefore, those sections have been removed and are not being printed in this final regulatory action.

9 VAC 25-260-160. Fecal coliform bacteria; shellfish waters.

In all open ocean or estuarine waters capable of propagating shellfish or in specific areas where public or leased private shellfish beds are present, and including those waters on which condemnation or restriction classifications are established by the State Department of Health, the following criteria for fecal coliform bacteria shall apply:

The median geometric mean fecal coliform value for a sampling station shall not exceed an MPN (most probable number) of 14 per 100 milliliters. Not more than 10% of samples The 90th percentile shall not exceed an MPN of 43 for a 5-tube, 3-dilution test or 49 for a 3-tube, 3-dilution test.

9 VAC 25-260-170. Fecal coliform Bacteria; other waters.

A. General requirements. In all surface waters, except shellfish waters and certain waters addressed identified in subsection B of this section, the following criteria shall apply to protect primary contact recreational uses:

1. Fecal coliform bacteria shall not exceed a geometric mean of 200 fecal coliform bacteria per 100 ml of water for two or more samples over a 30-day period, or a fecal coliform bacteria level of 1,000 per 100 ml at any time calendar month nor shall more than 10% of the total samples taken during any calendar month exceed 400 fecal coliform bacteria per 100 ml of water. This criterion shall not apply for a sampling station after the bacterial indicators described in subdivision 2 of this subsection have a minimum of 12 data points or after June 30, 2008, whichever comes first.

2. E. coli and enterococci bacteria per 100 ml of water shall not exceed the following:

Geometric	Single Sample

Mean1	Maximum2

Fresh [ and Transition 
Zone Waters3

enterococci	33	61 ]

E. coli	126	235

Saltwater [ and Transition Zone3 ]

enterococci	35	104

1 [ Calendar month average ] For two or more samples [ taken during any calendar month ].

2 No single sample maximum for enterococci and E. coli shall exceed a 75% upper one-sided confidence limit based on a site-specific log standard deviation. If site data are insufficient to establish a site-specific log standard deviation, then 0.4 shall be used as the log standard deviation in fresh [ and transition zone waters water ] and 0.7 shall be as the log standard deviation in saltwater [ and transition zone ]. Values shown are based on a log standard deviation of 0.4 in freshwater and 0.7 in saltwater.

3 See 9 VAC 25-260-140 C for fresh [ water ] and transition zone [ waters ] delineation.

B. Disinfection policy. In waters that receive Notwithstanding the above, all sewage discharges, all the designated uses in these waters shall be protected disinfected to achieve the applicable bacteria concentrations in [ subsection subdivision ] A [ 2 ] of this section prior to discharge. The board's disinfection policy applies to these waters.

1. Sewage discharges in relation to water supply intakes. Discharges located within 15 miles upstream or one tidal cycle downstream of a water supply intake shall be disinfected in order to achieve a fecal coliform geometric mean value in the effluent equal to or less than 200 per 100 milliliters.

2. Sewage discharges into shellfish waters. When sewage discharges are permitted to or within five miles upstream of shellfish waters, they shall be disinfected in order to achieve a fecal coliform geometric mean value in the effluent equal to or less than 200 per 100 milliliters.

3. Sewage discharges into other waters. Sewage discharges into other waters shall be adequately treated and disinfected as necessary to protect all the designated uses in these waters. Generally, these discharges shall achieve a fecal coliform geometric mean value in the effluent equal to or less than 200 per 100 milliliters.

However, the board, with the advice of the State Department of Health, may determine that reduced or no disinfection of a discharge is appropriate on a seasonal or year-round basis. In making such a determination, the board shall consider the designated uses of these waters and the seasonal nature of those uses. Such determinations will be made during the process of approving, issuing, or reissuing the discharge permit and shall be in conformance with a board approved site-specific use-attainability analysis performed by the permittee. When making a case-by-case determination concerning the appropriate level of disinfection for sewage discharges into these waters, the board shall provide a 45-day public notice period and opportunity for a public hearing.

# 9 VAC 25-260-310. Special standards and requirements.

The special standards are shown in small letters to correspond to lettering in the basin tables. The special standards are as follows:

a. Shellfish waters. In all open ocean or estuarine waters capable of propagating shellfish or in specific areas where public or leased private shellfish beds are present, including those waters on which condemnation or restriction classifications are established by the State Department of Health, the following criteria for fecal coliform bacteria will apply:

The [ median geometric mean ] fecal coliform value for a sampling station shall not exceed an MPN of 14 per 100 ml of sample and [ not more than 10% of samples the 90th percentile ] shall [ not ] exceed 43 for a 5-tube, 3-dilution test or 49 for a 3-tube, 3-dilution test.

The shellfish area is not to be so contaminated by radionuclides, pesticides, herbicides, or fecal material that the consumption of shellfish might be hazardous.

b. Policy for the Potomac Embayments. At its meeting on September 12, 1996, the board adopted a policy (9 VAC 25-415-10 et seq. Policy for the Potomac Embayments) to control point source discharges of conventional pollutants into the Virginia embayment waters of the Potomac River, and their tributaries, from the fall line at Chain Bridge in Arlington County to the Route 301 bridge in King George County. The policy sets effluent limits for BOD5, total suspended solids, phosphorus, and ammonia, to protect the water quality of these high profile waterbodies.

c. Cancelled.

d. Aquia Creek. No proposal resulting in the discharge of treated wastes to Aquia Creek will be approved unless the following is provided:

(1) At least 100 days' storage to allow complete elimination of discharges during the low-flow summer months; or

(2) Other treatment, based on sound engineering concepts (preferably with experimental data to show their feasibility), for nutrient removal prior to discharge.

e. Cancelled.

f. Cancelled.

g. Occoquan watershed policy. At its meeting on July 26, 1971 (Minute 10), the board adopted a comprehensive pollution abatement and water quality management policy for the Occoquan watershed. The policy set stringent treatment and discharge requirements in order to improve and protect water quality, particularly since the waters are an important water supply for Northern Virginia. Following a public hearing on November 20, 1980, the board, at its December 10-12, 1980, meeting, adopted as of February 1, 1981, revisions to this policy (Minute 20). These revisions became effective March 4, 1981. Additional amendments were made following a public hearing on August 22, 1990, and adopted by the board at its September 24, 1990, meeting (Minute 24) and became effective on December 5, 1990. Copies are available upon request from the Department of Environmental Quality.

h. Cancelled.

i. Cancelled.

j. Cancelled.

k. Cancelled.

l. Cancelled.

m. The following effluent standards apply to the entire Chickahominy watershed above Walker's Dam:

| CONSTITUENT | CONCENTRATION |
| --- | --- |
| 1. Biochemical Oxygen demand 5-day at 20 | 6.0 mg/l monthly average, with not more than 5.0% of individual samples to exceed 8.0 mg/l |
| 2. Settleable Solids | Not to exceed 0.1 ml/l |
| 3. Suspended Solids | 5.0 mg/l monthly average, with not more than 5.0% of individual samples to exceed 7.5 mg/l |
| 4. Ammonia Nitrogen | Not to exceed 2.0 mg/l as N |
| 5. Total Phosphorus | Not to exceed 0.1 mg/l monthly average for all discharges with the exception of [ Holly Farms Poultry Industries Tyson Foods ], Inc., which shall meet 0.3 mg/l monthly average and 0.5 mg/l daily maximum. |
| 6. Other Physical and Chemical Constituents | Other physical or chemical constituents not specifically mentioned will be covered by additional specifications as conditions detrimental to the stream arise. The specific mention of items 1 through 5 does not necessarily mean that the addition of other physical or chemical constituents will be condoned. |

n. No sewage discharges, regardless of degree of treatment, should be allowed into the James River between Bosher and Williams Island Dams.

o. The concentration and total amount of impurities in Tuckahoe Creek and its tributaries of sewage origin shall be limited to those amounts from sewage, industrial wastes, and other wastes which are now present in the stream from natural sources and from existing discharges in the watershed.

p. Cancelled.

q. Rappahannock River Basin.

The following effluent standards (adopted in Minute 17 from the proceedings of the board at its meeting on September 17-18, 1972) apply to all waste discharges to the Rappahannock River Basin above the proposed Salem Church Dam in accordance with subdivisions (1) and (2) below:

| CONSTITUENT | FINAL EFFLUENT REQUIREMENTS (WEEKLY AVERAGE) |
| --- | --- |
| BOD - mg/l | 1 |
| COD - mg/l | 10 |
| Suspended solids - mg/l | 0 (unmeasurable) |
| MBAS - mg/l | 0.1 |
| Turbidity (Jackson Units) | 0.4 |
| Fecal Coliform Bacteria per 100 ml sample | Less than 2 |
| Nitrogen - mg/l | 1 |
| Phosphorus - mg/l | 0.1 |

(1) After the date of Congressional authorization for actual construction of the dam has been given, all new proposals shall comply fully with the adopted standards of the paragraph above and all existing owners shall immediately commence the necessary planning, financing and design to ensure that facilities are completed prior to final completion of the construction of the dam; and

(2) Any new proposals for waste discharges to the area encompassed by the standards shall provide such conventional treatment that in the opinion of the State Department of Health, the staff and the board, satisfactory advanced waste treatment units can readily be added when funds for construction of the Salem Church Dam have been authorized.

r. Cancelled.

s. Chlorides not to exceed 40 mg/l at any time.

t. Cancelled.

u. Maximum temperature for the New River Basin from West Virginia state line upstream to the Giles-Montgomery County line:

The maximum temperature shall be 27°C (81°F) unless caused by natural conditions; the maximum rise above natural temperatures shall not exceed 2.8°C (5°F).

This maximum temperature limit of 81°F was established in the 1970 water quality standards amendments so that Virginia temperature criteria for the New River would be consistent with those of West Virginia, since the stream flows into that state.

v. The maximum temperature of the New River and its tributaries (except trout waters) from the Montgomery-Giles County line upstream to the Virginia-North Carolina state line shall be 29°C (84°F).

w. Cancelled.

x. Clinch River from the confluence of Dumps Creek at river mile 268 at Carbo downstream to river mile 255.4. The special water quality criteria for copper (measured as total recoverable) in this section of the Clinch River are 12.4 μg/l for protection from chronic effects and 19.5 μg/l for protection from acute effects. These site-specific criteria are needed to provide protection to several endangered species of freshwater mussels.

y. Tidal freshwater Potomac River and tributaries that enter the tidal freshwater Potomac River from Cockpit Point (below Occoquan Bay) to the fall line at Chain Bridge. During November 1 through February 14 of each year the [ chronic ammonia criterion for early life stage of fish absent shall apply (see 9 VAC 25-260-155 C). This special standard is adopted in accordance with 9 VAC 5-260-155 C 1 b. 30-day average concentration of total ammonia nitrogen (in mg N/L) shall not exceed, more than once every three years on the average, the following chronic ammonia criterion:

| ( | 0.0577 | + | 2.487 | ) | x 1.45(100.028(25-MAX)) |
| --- | --- | --- | --- | --- | --- |
|  | 1 + 107.688-pH |  | 1 + 10pH-7.688 |  |  |

MAX = temperature in °C or 7, whichever is greater.

The default design flow for calculating steady state waste load allocations for this chronic ammonia criterion is the 30Q10, unless statistically valid methods are employed which demonstrate compliance with the duration and return frequency of this water quality criterion. ]

9 VAC 25-260-390. [No change from proposed.]

FORMS

[No change from proposed.]

DOCUMENTS INCORPORATED BY REFERENCE

[No change from proposed.]

VA.R. Doc. No. R01-13; Filed May 17, 2002, 1:56 p.m.