VIRGINIA BOARD FOR ASBESTOS, LEAD, AND HOME INSPECTORS

Title of Regulation: 18 VAC 15-40. Virginia Certified Home Inspectors Regulations (adding 18 VAC 15-40-10 through 18 VAC 15-40-190).

Statutory Authority: §§ 54.1-201 and 54.1-501 of the Code of Virginia.

Public Hearing Date: October 8, 2002 - 10 a.m.

Public comments may be submitted until October 11, 2002.

(See Calendar of Events section

for additional information)

Agency Contact: Tom Perry, Regulatory Boards Administrator, Department of Professional and Occupational Regulation, 3600 W. Broad Street, Richmond, VA 23230, telephone (804) 367-2648, FAX (804) 367-6128 or (804) 367-9753/TTY.

Basis: House Bill 2174 passed by the 2001 Session of the Virginia General Assembly establishes a voluntary certification program for home inspectors. The legislation mandates that regulations be promulgated for implementation on or before July 1, 2003.

The board’s authority to promulgate the proposed regulations is contained in §§ 54.1-201 and 54.1-501 of the Code of Virginia. This authority has a delayed implementation date of July 1, 2003.

Purpose: The proposed regulation is designed to assure potential clients of home inspectors that individuals issued a certification by the board have met the minimum requirements to properly conduct a "certified home inspection." Section 54.1-517.1 of the Code of Virginia prohibits persons from referring to an inspection conducted as a "certified home inspection" or holding themselves out as, or using the title of, a "certified home inspector" unless they have been issued a certification by the board.

The goal of the proposed regulations is to establish specific criteria for certification and to establish the minimum standards that an individual must follow to conduct a "certified home inspection."

The proposed regulations are mandated by statute and are essential to protect the health, safety and welfare of citizens and for the efficient and economical performance of an important governmental function.

Substance: 18 VAC 15-40-10 defines terms used in the proposed regulation.

18 VAC 15-40-20 indicates who must be certified.

18 VAC 15-40-30 outlines the specific entry requirements for certification.

18 VAC 15-40-40 describes other professions and situations that may constitute a conflict of interest for a certified home inspector.

18 VAC 15-40-50 gives the board discretion to waive, on a case-by-case basis, any requirement of the regulations provided it does not lessen the protection of the public health, safety and welfare.

18 VAC 15-40-60 establishes the application fee.

18 VAC 15-40-70 through 18 VAC 15-40-120 gives requirements, procedures and fees for certification renewal and reinstatement.

18 VAC 15-40-130 indicates the need for a certified home inspection contract and lists the minimum content requirements of same.

18 VAC 15-40-140 lists minimum content requirements of the certified home inspection report and indicates which components must be inspected.

18 VAC 15-40-150 through 18 VAC 15-40-190 details the standards of conduct and practice for the certified home inspector.

Issues: The primary advantage to the public of implementing the proposed regulations will be an assurance that persons contracted to conduct a "certified home inspection" have met the minimum requirements to properly conduct such an inspection.

The fees proposed for this new program are those currently in effect for the asbestos and lead-based paint programs. In accordance with statute, the board collects licensing fees from which its operating costs and a proportionate share of the department's expenses are paid. The board has no other source of revenue with which to fund its operation. The fee structure was developed in compliance with § 54.1-113 of the Code of Virginia.

Department of Planning and Budget's Economic Impact Analysis: The Department of Planning and Budget (DPB) has analyzed the economic impact of this proposed regulation in accordance with § 2.2-4007 G of the Administrative Process Act and Executive Order Number 25 (98). Section 2.2-4007 G requires that such economic impact analyses include, but need not be limited to, the projected number of businesses or other entities to whom the regulation would apply, the identity of any localities and types of businesses or other entities particularly affected, the projected number of persons and employment positions to be affected, the projected costs to affected businesses or entities to implement or comply with the regulation, and the impact on the use and value of private property. The analysis presented below represents DPB’s best estimate of these economic impacts.

Summary of the proposed regulation. The 2001 Session of the General Assembly passed legislation that created a voluntary certification program for home inspectors. The proposed regulations establish the requirements for that certification and the minimum standards that must be followed to conduct a "certified home inspection" as well as standards of conduct and practice.

Estimated economic impact. Upon the effective date of the proposed regulations, persons who refer to themselves as "certified home inspectors" or offer to provide "certified home inspections" will be required to hold a valid certification by the Board for Asbestos, Lead, and Home Inspectors. Costs of obtaining certification will include expenses for classroom instruction, taking the examination, and obtaining applicable insurance, as well as costs related to regulatory requirements for written contracts, inspection reports, and maintaining records. Certification is voluntary and home inspectors can avoid these costs by choosing to not apply for certification.

A provision included in the proposed regulation states it would be a conflict of interest for a Certified Home Inspector to perform repairs or modifications to a residential building on which he has performed a certified home inspection. The extent of current problems with unscrupulous inspectors is not known and, therefore, it is not possible to determine whether the increase in consumer protection outweighs any loss of income by the inspector for these other services.

Certification is designed to provide assurance to potential clients that those individuals have met the minimum requirements to properly conduct an adequate home inspection. Consumers are, in turn, likely to be charged a higher price for a "certified home inspection" due to the expense to the inspector to obtain certification. While the value of increasing consumer confidence cannot be quantified at this time, the benefits of obtaining certification can be expected to be greater than the associated costs for those inspectors who voluntarily choose to participate in this program.

Businesses and entities affected. According to industry estimates, there are currently approximately 550 individuals conducting residential home inspections who will have the option of becoming certified under the proposed regulations. Individuals choosing not to obtain certification will still be allowed to conduct home inspections, although they will not be allowed to refer to themselves as "certified home inspectors."

Localities particularly affected. The proposed regulations are not likely to uniquely affect any particular localities in Virginia.

Projected impact on employment. The proposed regulations are not expected to have any impact on the overall level of employment in Virginia.

Effects on the use and value of private property. The proposed regulations are not expected to have any effect on the use and value of private property in Virginia.

Agency's Response to the Department of Planning and Budget's Economic Impact Analysis: The agency agrees with the Department of Planning and Budget’s economic impact analysis.

Summary:

The proposed regulations establish entry, renewal, and reinstatement requirements for certification by the board for a voluntary certification program for home inspectors established by House Bill 2174 of the 2001 Session of the Virginia General Assembly. The proposed regulations also establish minimum standards for conducting certified home inspections as well as standards of conduct and practice.

CHAPTER 40.
VIRGINIA CERTIFIED HOME INSPECTORS REGULATIONS.

PART I.
GENERAL.

18 VAC 15-40-10. Definitions.

The following words and terms when used in this chapter shall have the following meanings unless a different meaning is provided or is plainly required by the context:

"Board" means the Virginia Board for Asbestos, Lead, and Home Inspectors.

"Certificate holder" means any person holding a valid certificate as a certified home inspector issued by the board.

"Certification" means an authorization issued to an individual by the board to perform certified home inspections by meeting the entry requirements established in these regulations.

"Client" means a person who engages or seeks to engage the services of a certified home inspector for the purpose of obtaining an inspection of and a written report upon the condition of a residential building.

"Compensation" means the receipt of monetary payment or other valuable consideration for services rendered.

"Component" means a part of a system.

"Contact hour" means 50 minutes of participation in a structured training activity.

"Department" means the Department of Professional and Occupational Regulation.

"Fireplace" means an interior fire-resistant masonry permanent or prefabricated fixture that can be used to burn fuel and is either vented or unvented.

"Foundation" means the base upon which the structure or a wall rests, usually masonry, concrete, or stone, and generally partially underground.

"Function" means the action for which an item, component or system is specially fitted or used, or for which an item, component or system exists.

"Inspect or inspection" means to visually examine readily accessible systems and components of a building established in this chapter.

"Readily accessible" means available for visual inspection without requiring moving of personal property, dismantling, destructive measures, or any action that will likely involve risk to persons or property.

"Reinstatement" means having a certificate restored to effectiveness after the expiration date has passed.

"Renewal" means continuing the effectiveness of a certificate for another period of time.

"Residential building" means, for the purposes of home inspection, a structure consisting of one to four dwelling units used or occupied, or intended to be used or occupied, for residential purposes.

"Solid fuel burning appliances" means a hearth and fire chamber or similarly prepared place in which a fire may be built and that is built in conjunction with a chimney, or a listed assembly of a fire chamber, its chimney and related factory-made parts designed for unit assembly without requiring field construction.

"Structural component" means a component that supports nonvariable forces or weights (dead loads) and variable forces or weights (live loads).

"System" means a combination of interacting or interdependent components, assembled to carry out one or more functions.

Terms not defined in this chapter have the same definitions as those set forth in § 54.1-500 of the Code of Virginia.

PART II.
ENTRY REQUIREMENTS.

18 VAC 15-40-20. Necessity for certification.

Any person who holds himself out as or uses the title of "certified home inspector" or conducts or offers to provide a "certified home inspection" shall have a current and valid certificate issued by the board. Nothing in this chapter shall be construed to preclude individuals from performing home inspections for hire provided their conduct is in compliance with § 54.1-517.1 of the Code of Virginia.

18 VAC 15-40-30. Qualifications for certification.

Every applicant for an individual home inspector certificate shall have the following qualifications:

1. The applicant shall be at least 18 years old.

2. The applicant shall meet the following educational and experience requirements:

a. High school diploma or equivalent; and

b. One of the following:

(1) Completed 35 contact hours of classroom instruction from a board-approved course or courses and have completed a minimum of 100 home inspections; or

(2) Completed 70 contact hours of classroom instruction from a board-approved course or courses and have completed a minimum of 50 home inspections.

Board-approved instruction courses shall cover the content areas of the board-approved examinations.

An applicant who cannot fulfill the classroom instruction requirement as outlined in this subsection may substitute a minimum of 10 years of experience as a home inspector to satisfy this requirement. The experience substitution is subject to board review and approval.

3. The applicant shall have passed a written competency examination approved by the board.

4. The board may for a period of five years from (insert the effective date of the regulation) accept proof of membership in good standing, in a national or state professional home inspectors association, as satisfaction of subdivisions 1, 2, and 3 of this section.

5. The applicant shall have a good reputation for honesty, truthfulness, and fair dealing, and be competent to transact the business of a home inspector in such a manner as to safeguard the interests of the public.

6. The applicant shall disclose whether a certificate or license as a home inspector from any jurisdiction where certified or licensed has ever been suspended, revoked or surrendered in connection with a disciplinary action or which has been the subject of discipline in any jurisdiction prior to applying for certification in Virginia. The board may deny certification to any applicant so disciplined after examining the totality of the circumstances.

7. Subject to the provisions of § 54.1-204 of the Code of Virginia, the applicant shall disclose any conviction or finding of guilty, regardless of adjudication in any jurisdiction of the United States of any misdemeanor involving violence, repeat offenses, multiple offenses, or crimes that endangered public health or safety, or of any felony, there being no appeal pending therefrom or the time for appeal having elapsed. The board shall have the authority to determine, based upon all the information available, including the applicant’s record of prior convictions, if the applicant is unfit or unsuited to engage in the profession of residential home inspections. The board will decide each case by taking into account the totality of the circumstances. Any plea of nolo contendere shall be considered a conviction for purposes of this subdivision. A certified copy of a final order, decree, or case decision by a court with the lawful authority to issue such order, decree or case decision shall be admissible as prima facie evidence of such conviction or guilt.

8. The applicant shall follow all procedures established by the board or the testing service with regard to conduct at the examination. Such procedures shall include any written instructions communicated prior to the examination date and any instructions communicated at the site, either written or oral, on the date of the examination. Failure to comply with all procedures established by the board or the testing service with regard to conduct at the examination shall be grounds for denial of the application.

9. Applicants shall show evidence of having obtained general liability insurance with minimum limits of $250,000.

18 VAC 15-40-40. Conflict of interest.

A. The certificate holder shall not:

1. Design or perform repairs or modifications to a residential building on which he has performed a certified home inspection;

2. Refer his client to another party to make repairs or modifications to a residential building on which he has performed a certified home inspection; or

3. Represent any of the parties to the transfer or sale of a residential building on which he has performed a certified home inspection.

B. The certificate holder shall not disclose any information concerning the results of the certified home inspection without the approval of the client for whom the certified home inspection was performed.

C. The certificate holder will not accept compensation, financial or otherwise, from more than one interested party for the same service on the same property without the consent of all interested parties.

D. The certificate holder shall not accept nor offer commissions or allowances, directly or indirectly, from other parties dealing with the client in connection with work for which the certificate holder is responsible.

E. The certified home inspection shall not be used as a tool by the certificate holder to solicit or obtain work in another field.

18 VAC 15-40-50. Waiver of the requirements of this chapter.

Except as required by law, the board may, in its reasonable discretion, waive any of the requirements of this chapter when in its judgment it finds that the waiver in no way lessens the protection provided by this chapter and Title 54.1 of the Code of Virginia to the public health, safety and welfare. The burden of proof that demonstrates continued public protection rests with the individual requesting the waiver. Documents referenced are in effect as they existed as of the date the act or action has occurred.

18 VAC 15-40-60. Application fees.

A. All application fees for certificates are nonrefundable and the date of actual receipt by the board or its agent is the date that will be used to determine whether it is timely received.

B. The fee for an initial application for Certified Home Inspector shall be $25.

PART III.
RENEWAL AND REINSTATEMENT OF CERTIFICATE.

18 VAC 15-40-70. Renewal required.

Certificates issued under this chapter shall expire two years from the last day of the month in which they were issued, as indicated on the certificate.

18 VAC 15-40-80. Qualification for renewal.

A. As a condition of renewal, all certified home inspectors shall be required to affirm that they continue to maintain insurance as required by 18 VAC 15-40-30. Failure to maintain the required insurance as directed by the board will result in the certification not being renewed or disciplinary action pursuant to this chapter, or both.

B. Each certificate holder desiring to renew the certificate shall return to the board the renewal application form and the appropriate fee as outlined in 18 VAC 15-40-110.

18 VAC 15-40-90. Procedures for renewal.

The board will mail a renewal application form to the certificate holder at the last known home address. These notices shall outline the procedures for renewal. Failure of the board to mail or of the certificate holder to receive these notices does not relieve the certificate holder of the obligation to renew.

18 VAC 15-40-100. Failure to renew; reinstatement required.

A. If the requirements for renewal of a certificate, including receipt of the fee by the board, are not completed by the certificate holder within 30 days of the expiration date noted on the certificate, a late renewal fee shall be required in addition to the renewal fee.

B. If the requirements for renewal of a certificate, including receipt of the fee by the board, are not completed by the certificate holder within six months of the expiration date noted on the certificate, a reinstatement fee shall be required.

C. All applicants for reinstatement shall meet all requirements set forth in 18 VAC 15-40-30.

D. A certificate may be reinstated for up to two years following the expiration date with payment of the reinstatement fee. After two years, the certificate shall not be reinstated under any circumstances and the applicant shall apply as a new applicant, requiring the applicant to retake the examination.

E. The certificate holder who reinstates his certification shall be regarded as having been continuously certified without interruption. Therefore, the certificate holder shall remain under the disciplinary authority of the board during this entire period and shall be held accountable for his activities during this period.

18 VAC 15-40-110. Fees for renewal and reinstatement.

A. All fees for renewal and reinstatement are nonrefundable, and the date of actual receipt by the board or its agent is the date that will be used to determine whether it is timely received.

B. Renewal and reinstatement fees are as follows:

Renewal fee	$25

Late renewal fee	$25

Reinstatement fee	$100

18 VAC 15-40-120. Board discretion to deny renewal or reinstatement.

A. The board may deny renewal or reinstatement of a certificate for the same reasons as it may refuse initial certification or discipline a current certificate holder.

B. The board may deny renewal or reinstatement of a certificate if the applicant has not met the terms of an agreement for certification or not fully paid monetary penalties, satisfied sanctions and paid costs imposed by the board, plus any accrued interest.

PART IV.
MINIMUM STANDARDS FOR CONDUCTING CERTIFIED HOME INSPECTIONS.

18 VAC 15-40-130. Certified home inspection contract.

A. For the protection of both the client and the certificate holder, both parties shall sign a legible written contract clearly specifying the terms, conditions, and limitations of the work to be performed.

B. At a minimum, the written contract shall include:

1. Name, business name (if applicable), business address, and telephone number of the certified home inspector.

2. Certificate number and expiration date of the certified home inspector.

3. Name, address, and telephone number of the clients.

4. Physical address of the residential properties to be inspected.

5. Cost and method of payment of the certified home inspection.

6. A listing of all areas, systems, and components to be inspected, including those inspections that are either partial or limited in scope.

7. To the extent that any of the following categories are not covered by the home inspection, they shall be noted as exclusions from the inspection contract:

a. The condition of systems or components that are not readily accessible.

b. The remaining life of any system or component.

c. The strength, adequacy, effectiveness, or efficiency of any system or component.

d. The causes of any condition or deficiency.

e. The methods, materials, or costs of corrections.

f. Future conditions including, but not limited to, failure of systems and components.

g. The suitability of the property for any specialized use.

h. Compliance with regulatory requirements (codes, regulations, laws, ordinances, etc.).

i. The market value of the property or its marketability.

j. The advisability of the purchase of the property.

k. The presence of diseases harmful to humans or potentially hazardous plants or animals including, but not limited to, wood destroying organisms.

l. The presence of any environmental hazards including, but not limited to, toxins, carcinogens, noise, and contaminates in soil, water, and air.

m. The effectiveness of any system installed or methods utilized to control or remove suspected hazardous substances.

n. The operating costs of systems or components.

o. The acoustical properties of any system or component.

To the extent any other items are not specifically included in the home inspection by agreement of the parties, they shall also be noted as exclusions in the inspection contract.

8. Expected delivery date to the client of the certified home inspection report.

9. Dated signatures of both the certified home inspector and the client.

C. The certified home inspection contract shall make written disclosure that the certified home inspection report is based upon visual observation of existing conditions of the inspected property at the time of the inspection and is not intended to be, or to be construed as, a guarantee, warranty, or any form of insurance.

18 VAC 15-40-140. Certified home inspection report.

A. Certified home inspection reports shall contain:

1. The name, business address and telephone number of the certificate holder as well as his certificate number and expiration date;

2. The name, address, and telephone number of the clients;

3. The physical address of the residential properties inspected; and

4. The date, time (to include both start and finish times), and weather conditions at the time of the certified home inspection.

B. In conducting a certified home inspection and reporting its findings, the certified home inspector, at a minimum, shall inspect the condition of and describe the composition/characteristics of the following components, except as may be limited in the certified home inspection contract agreement:

1. Structural system.

a. Foundation.

b. Framing.

c. Stairs.

d. Crawl space, unless restricted by the dimensions of the area.

e. Crawl space ventilation and vapor barriers.

f. Sump pump, when present.

g. Slab floor, when present.

h. Floors, ceilings, and walls.

2. Roof structure, attic, and insulation.

a. Roof covering.

b. Roof ventilation.

c. Roof drainage system, to include gutters and downspouts.

d. Roof flashings.

e. Skylights, chimneys, and roof penetrations, but not antennae or other roof attachments.

f. Roof framing, sheathing, and decking.

g. Attic, unless area is inaccessible due to size or condition of structure.

h. Attic insulation and ventilation.

3. Exterior of dwelling.

a. Wall covering, flashing, trim, and protective coatings.

b. All doors and windows, but not the operation of associated security locks, devices, or systems.

c. Attached decks, balconies, stoops, steps, porches, carports, and any associated railings, but not associated screening, shutters, awnings, storm windows, or storm doors.

d. Eaves, soffitts, and fascias where accessible from ground level.

e. Walkways, grade steps, patios, and driveways, but not fences or privacy walls.

f. Vegetation, trees, grading, drainage, and any retaining walls that may affect the dwelling.

g. Visible exterior portions of chimneys.

4. Interior of dwelling.

a. Every interior wall, ceiling, and floor of dwelling and any attached garage.

b. Steps, stairways, railings, and balconies.

c. Countertops and installed cabinets, including hardware.

d. All doors and windows, including hardware.

e. Garage doors and garage door operators.

f. Fireplaces, including flues, venting systems, hearths, dampers, and fireboxes, but not mantles, fire screens and doors, seals and gaskets.

g. Solid fuel burning appliances if applicable.

5. Plumbing system.

a. Interior water supply and distribution systems, including water supply lines and all fixtures and faucets, but not water conditioning systems or fire sprinkler systems.

b. Water drainage, waste, and vent systems, including all fixtures.

c. Drainage sumps, sump pumps, and related piping.

d. Water heating equipment, including heat energy source and related vent systems, flues, and chimneys, but not solar water heating systems.

e. Fuel storage and distribution systems.

6. Electrical system.

a. Service drop.

b. Service entrance conductors, cables, and raceways.

c. Service equipment and main disconnects.

d. Service grounding.

e. Interior components of service panels and sub panels, including feeders.

f. Conductors.

g. Overcurrent protection devices.

h. All installed lighting fixtures, switches, and receptacles.

i. Ground fault circuit interrupters.

j. Presence or absence of smoke detectors.

k. Presence of solid conductor aluminum branch circuit wiring.

7. Heating system.

a. Heating equipment, including operating controls, but not heat exchangers, gas logs, built-in gas burning appliances, grills, stoves, space heaters, solar heating devices, or heating system accessories such as humidifiers, air purifiers, motorized dampers, and heat reclaimers.

b. Energy source.

c. Heating distribution.

d. Vent systems, flues, and chimneys, including dampers.

8. Air conditioning system.

a. Central and window air conditioning equipment.

b. Operating controls, access panels, and covers.

c. Energy source.

d. Cooling distribution.

PART V.
STANDARDS OF CONDUCT AND PRACTICE.

18 VAC 15-40-150. Grounds for disciplinary action.

The board has the power to fine any certificate holder and to suspend or revoke any certificate issued under the provisions of Chapter 5 (§ 54.1-500 et seq.) of Title 54.1 of the Code of Virginia, and this chapter, where the certificate holder has been found to have violated or cooperated with others in violating any provision of Chapter 1, 2, 3, or 5 of Title 54.1 of the Code of Virginia or this chapter.

18 VAC 15-40-160. Maintenance of certificates, reports, and documentation.

A. A certificate holder shall at all times keep the board informed of his current home address. Changes of address shall be reported to the board in writing within 30 calendar days after such change. A physical address is required; a post office box is not acceptable. The board shall not be responsible for the certificate holder’s failure to receive notices, communications and correspondence caused by the certificate holder’s failure to promptly notify the board of any change of address.

B. A certificate holder shall notify the board in writing of a name change within 30 calendar days of any change in the certificate holder’s legal name. Such notification shall be accompanied by a copy of a marriage certificate, divorce decree, court order or other documentation that verifies the name change.

C. A certificate holder shall retain all records pertaining to certified home inspections performed to include, but not limited to, written reports and supporting documentation for a period of three years from the date of the related certified home inspection.

18 VAC 15-40-170. Provision of records to the board.

A certificate holder shall, upon demand, produce to the board or any of its agents any written reports and supporting documentation concerning any certified home inspection in which the certificate holder was involved, or for which the certificate holder is required to maintain records for inspection and copying by the board or its agents.

18 VAC 15-40-180. Response to inquiry of the board.

A certificate holder shall respond to an inquiry from the board or any of its agents within 21 days.

18 VAC 15-40-190. Unworthiness and incompetence.

Actions constituting unworthy and incompetent conduct include:

1. Obtaining a certificate by false or fraudulent representation.

2. Performing improvements or repairs to a residence within 12 months before or after performing a certified home inspection.

3. Violating or inducing another person to violate any of the provisions of Chapter 1, 2, 3, or 5 of Title 54.1 of the Code of Virginia or this chapter.

4. Subject to the provisions of § 54.1-204 of the Code of Virginia, having been convicted or found guilty, regardless of adjudication in any jurisdiction of the United States, of any misdemeanor involving violence, repeat offenses, multiple offenses, or crimes that endangered public health or safety, or of any felony, there being no appeal pending therefrom or the time for appeal having elapsed. Any plea of nolo contendere shall be considered a conviction for the purposes of this subdivision. A certified copy of a final order, decree, or case decision by a court with the lawful authority to issue such order, decree or case decision shall be admissible as prima facie evidence of such conviction or guilt.

5. Failing to inform the board in writing within 30 days of pleading guilty or nolo contendere or being convicted or found guilty, regardless of adjudication in any jurisdiction of the United States of any misdemeanor involving violence, repeat offenses, multiple offenses, or crimes that endangered public health or safety, or of any felony, there being no appeal pending therefrom or the time for appeal having elapsed.

6. Failing to act as a certificate holder in such a manner as to safeguard the interests of the public.

7. Engaging in improper, fraudulent, or dishonest conduct in conducting a certified home inspection.

8. Having been found guilty by the board, an administrative body, or by any court of any misrepresentation in the course of performing home inspections.

NOTICE: The forms used in administering 18 VAC 15-40, Virginia Certified Home Inspectors Regulations, are listed below. Any amended or added forms are reflected in the listing and are published following the listing.

FORMS

Home Inspector Certificate Application, 33HICERT (eff. 7/02).

Home Inspector Experience Verification, 33HIEXED (eff. 7/02).

Education Verification, 33HIEXED (eff. 7/02).

VA.R. Doc. No. R01-222; Filed July 18, 2002, 11:45 a.m.