TITLE 4. CONSERVATION AND NATURAL RESOURCES

BOARD OF GAME AND INLAND FISHERIES

Title of Regulation:  4 VAC 15-430. Watercraft: Safety Equipment Requirements (amending 4 VAC 15-430-60 and 4 VAC 15-430-160).

Statutory Authority:  §§ 29.1-501, 29.1-502, 29.1-701, 29.1-701.1 and 29.1-735 of the Code of Virginia.

Public Hearing Date:  October 27, 2005 - 9 a.m.

Public comments may be submitted until October 10, 2005.

(See Notice to the Public preceding 4 VAC 15-20.)

Agency Contact:  Phil Smith, Policy Analyst and Regulatory Coordinator, Department of Game and Inland Fisheries, 4016 West Broad Street, Richmond, VA 23230, telephone (804) 367-1000, FAX (804) 367-0488, or e-mail regcomments@dgif.state.va.us.

Summary:

The proposed amendments (i) require that a U.S. Coast Guard approved life jacket must be used in accordance with any requirements or restrictions on the approval label and (ii) require all hand-portable fire extinguishers, semiportable fire extinguishing systems, and fixed fire extinguishing systems for use aboard vessels, required to be of a type approved by the U.S. Coast Guard, to have an efficient charge and be in good and serviceable condition.

4 VAC 15-430-60. Personal flotation device condition; size and fit; approval marking.

It shall be unlawful to use a recreational vessel unless each PFD required by 4 VAC 15-430-30 or allowed by 4 VAC 15-430-40 is:

1. In serviceable condition as provided in 4 VAC 15-430-70;

2. Of an appropriate size and fit for the intended wearer, as marked on the approval label; and

3. Legibly marked with its U.S. Coast Guard approval number; and

4. Used in accordance with any requirements or restrictions on the approval label.

4 VAC 15-430-160. Fire extinguishing equipment application and general provisions.

A. The provisions of this section through 4 VAC 15-430-210, with the exception of 4 VAC 15-430-200, shall apply to all vessels contracted for on or after November 19, 1952.  Vessels contracted for prior to that date shall meet the requirements of 4 VAC 15-430-200.

B. Where equipment in this section is required to be of an approved type, such equipment requires the specific approval of the U.S. Coast Guard.

C. All hand-portable fire extinguishers, semiportable fire extinguishing systems, and fixed fire extinguishing systems shall be of a type approved by the U.S. Coast Guard and shall have an efficient charge and be in good and serviceable condition.

VA.R. Doc. No. R06-25; Filed August 31, 2005, 11:19 a.m.