TITLE 12. HEALTH

STATE BOARD OF HEALTH

REGISTRAR'S NOTICE: The following regulatory action is exempt from the Administrative Process Act in accordance with § 2.2-4006 A 4 c of the Code of Virginia, which excludes regulations that are necessary to meet the requirements of federal law or regulations provided such regulations do not differ materially from those required by federal law or regulation. The State Board of Health will receive, consider and respond to petitions by any interested person at any time with respect to reconsideration or revision.

Title of Regulation: 12 VAC 5-590. Waterworks Regulations (amending 12 VAC 5-590-370, 12 VAC 5-590-400, 12 VAC 5-590-410, 12 VAC 5-590-440, 12 VAC 5-590-540, Appendices B and N).

Statutory Authority: §§ 32.1-12 and 32.1-170 of the Code of Virginia.

Effective Date: May 3, 2006.

Agency Contact: Tamara Metzfield, Regulatory Compliance Paralegal, Department of Health, 109 Governor Street, Room 632, Richmond, VA 23219, telephone (804) 864-7499, FAX (804) 864-7521 or e-mail tamara.metzfield@vdh.virginia.gov.

Summary:

The amendments make corrections to technical errors made by EPA during promulgation of various regulations and provide several technical changes to correct errors in federal regulations.

12 VAC 5-590-370. Sampling frequency.

The commissioner may exempt consecutive waterworks that obtain potable water from another water system for distribution from all monitoring requirements in this section except for bacteriological (subsection A of this section), disinfectant residuals, byproducts and disinfection byproduct precursors (subdivision B 3 of this section), and lead and copper (subdivision B 6 of this section). The required sampling frequencies are as follows:

A. Bacteriological.

1. The waterworks owner shall collect total coliform samples at sites which are representative of water throughout the distribution system according to a written sample siting report.  The report shall be established or approved by the division after investigation of the source, method of treatment and storage, and protection of the water concerned.  The report must include, but is not limited to, the following:

a. The frequency of sampling distributed evenly throughout the month/quarter.

b. Distribution map showing the generalized location where specific sampling sites will be selected.

c. Supporting statement explaining how specific individual sites are selected, how sampling will be rotated among the sites, how repeat samples will be collected and other information demonstrating that sampling will be conducted in a manner to comply with this chapter.

d. Adequate sampling points to provide sampling representative of all the conditions in the system.

e. For small systems (less than 3,301 population), sample sites must also be identified by address and code number location.

f. Minimum of three sample locations for each sample required monthly so repeat sample locations are previously ascertained as being adequate in number and five customer service connections upstream and downstream.  (See Appendix J for an example.)

g. The sampling point required to be repeat sampled shall not be eliminated from future collections based on a history of questionable water quality unless the sampling point is unacceptable as determined by the division.

2. The minimum number of bacteriological samples for total coliform evaluation to be collected and analyzed monthly from the distribution system of a community or nontransient noncommunity waterworks shall be in accordance with Table 2.1.  All noncommunity waterworks that use a surface water source or a groundwater source under the direct influence of surface water, and all large noncommunity (serving 1,000 or more persons per day) waterworks, shall collect and submit samples monthly for analysis in accordance with Table 2.1.  All other noncommunity waterworks shall submit samples for analysis each calendar quarter in accordance with Table 2.1.

3. The samples shall be taken at reasonably evenly spaced time intervals throughout the month or quarter.

If the results of a sanitary survey or other factors determine that some other frequency is more appropriate than that stated above, a modified sampling program report may be required.  The altered frequency shall be confirmed or changed on the basis of subsequent surveys.

TABLE 2.1.

| POPULATION SERVED PER DAY | MINIMUM NUMBER OF SAMPLES (See 12 VAC 5-590-370 A 2) |
| --- | --- |
| 25 to 1,000 | 1 |
| 1,001 to 2,500 | 2 |
| 2,501 to 3,300 | 3 |
| 3,301 to 4,100 | 4 |
| 4,101 to 4,900 | 5 |
| 4,901 to 5,800 | 6 |
| 5,801 to 6,700 | 7 |
| 6,701 to 7,600 | 8 |
| 7,601 to 8,500 | 9 |
| 8,501 to 12,900 | 10 |
| 12,901 to 17,200 | 15 |
| 17,201 to 21,500 | 20 |
| 21,501 to 25,000 | 25 |
| 25,001 to 33,000 | 30 |
| 33,001 to 41,000 | 40 |
| 41,001 to 50,000 | 50 |
| 50,001 to 59,000 | 60 |
| 59,001 to 70,000 | 70 |
| 70,001 to 83,000 | 80 |
| 83,001 to 96,000 | 90 |
| 96,001 to 130,000 | 100 |
| 130,001 to 220,000 | 120 |
| 220,001 to 320,000 | 150 |
| 320,001 to 450,000 | 180 |
| 450,001 to 600,000 | 210 |
| 600,001 to 780,000 | 240 |
| 780,001 to 970,000 | 270 |
| 970,001 to 1,230,000 | 300 |
| 1,230,001 to 1,520,000 | 330 |
| 1,520,001 to 1,850,000 | 360 |
| 1,850,001 to 2,270,000 | 390 |

4. All bacteriological analyses shall be performed in accordance with 12 VAC 5-590-440 by the DCLS or by a laboratory certified by DCLS for drinking water samples.

B. Chemical. The location of sampling points, the chemicals measured, the frequency, and the timing of sampling within each compliance period shall be established or approved by the commissioner.  The commissioner may increase required monitoring where necessary to detect variations within the waterworks.  Analysis of field composite samples shall not be allowed.  Samples for contaminants that may exhibit seasonal variations shall be collected during the period of the year when contamination is most likely to occur.  Failure to comply with the sampling schedules in this section will require public notification pursuant to 12 VAC 5-590-540.

1. Inorganic chemical.  Community and nontransient noncommunity waterworks owners shall conduct monitoring to determine compliance with the MCLs in Table 2.2 in accordance with this section.  All other noncommunity waterworks owners shall conduct monitoring to determine compliance with the nitrate and nitrite PMCLs in Table 2.2 (as appropriate) in accordance with this section.  Monitoring shall be conducted as follows:

a. The owner of any groundwater source waterworks with 150 or more service connections shall take a minimum of one sample at each entry point to the distribution system which is representative of each source, after treatment, unless a change in condition makes another sampling point more representative of each source or treatment plant (hereafter called a sampling point) starting in the compliance period beginning January 1, 1993.  The owner of any groundwater source waterworks with fewer than 150 service connections shall take a minimum of one sample at each sampling point for asbestos, barium, cadmium, chromium, fluoride, mercury, nitrate, nitrite, and selenium in the compliance period beginning January 1, 1993, and for antimony, beryllium, cyanide (as free cyanide), nickel, and thallium in the compliance period beginning January 1, 1996.

b. The owner of any waterworks which uses a surface water source in whole or in part with 150 or more service connections shall take a minimum of one sample at each entry point to the distribution system after any application of treatment or in the distribution system at a point which is representative of each source, after treatment, unless a change in conditions makes another sampling point more representative of each source or treatment plant (hereafter called a sampling point) beginning January 1, 1993.  The owner of any waterworks which use a surface water source in whole or in part with fewer than 150 service connections shall take a minimum of one sample at each sampling point for asbestos, barium, cadmium, chromium, fluoride, mercury, nitrate, nitrite, and selenium beginning January 1, 1993, and for antimony, beryllium, cyanide (as free cyanide), nickel, and thallium beginning January 1, 1996.

c. If a waterworks draws water from more than one source and the sources are combined before distribution, the waterworks owner shall sample at an entry point to the distribution system during periods of normal operating conditions (i.e., when water is representative of all sources being used).

d. The frequency of monitoring for asbestos shall be in accordance with subdivision B 1 d (1) of this section;  the frequency of monitoring for barium, cadmium, chromium, fluoride, mercury, and selenium shall be in accordance with subdivision B 1 d (2) of this section;  the frequency of monitoring for antimony, beryllium, cyanide (as free cyanide), nickel, and thallium shall be in accordance with subdivision B 1 d (3) of this section;  the frequency of monitoring for nitrate shall be in accordance with subdivision B 1 d (4) of this section;  the frequency of monitoring for nitrite shall be in accordance with subdivision B 1 d (5) of this section;  and the frequency of monitoring for arsenic shall be in accordance with subdivision B 1 d (6) of this section.

(1) The frequency of monitoring conducted to determine compliance with the PMCL for asbestos specified in Table 2.2 shall be conducted as follows:

(a) The owner of each community and nontransient noncommunity waterworks is required to monitor for asbestos during the first three-year compliance period of each nine-year compliance cycle beginning in the compliance period starting January 1, 1993.

(b) If the waterworks owner believes the waterworks is not vulnerable to either asbestos contamination in its source water or due to corrosion of asbestos-cement pipe, or both, the owner may apply to the commissioner for a waiver of the monitoring requirement in subdivision B 1 d (1) (a) of this section.  If the commissioner grants the waiver, the waterworks owner is not required to monitor.

(c) The commissioner may grant a waiver based on a consideration of the following factors:

(i) Potential asbestos contamination of the water source; and

(ii) The use of asbestos-cement pipe for finished water distribution and the corrosive nature of the water.

(d) A waiver remains in effect until the completion of the three-year compliance period.  Waterworks not receiving a waiver shall monitor in accordance with the provisions of subdivision B 1 d (1) (a) of this section.

(e) The owner of a waterworks vulnerable to asbestos contamination due solely to corrosion of asbestos-cement pipe shall take one sample at a tap served by asbestos-cement pipe and under conditions where asbestos contamination is most likely to occur.

(f) The owner of a waterworks vulnerable to asbestos contamination due solely to source water shall monitor sampling points in accordance with subdivision B 1 of this section.

(g) The owner of a waterworks vulnerable to asbestos contamination due both to its source water supply and corrosion of asbestos-cement pipe shall take one sample at a tap served by asbestos-cement pipe and under conditions where asbestos contamination is most likely to occur.

(h) The owner of a waterworks which exceeds the PMCL as determined in 12 VAC 5-590-410 B 1 shall monitor quarterly beginning in the next quarter after the violation occurred.

(i) The commissioner may decrease the quarterly monitoring requirement to the frequency specified in subdivision B 1 d (1) (a) of this section provided the commissioner has determined that the waterworks is reliably and consistently below the PMCL. In no case can the commissioner make this determination unless the owner of a groundwater source waterworks takes a minimum of two quarterly samples or the owner of a waterworks which uses a surface water source in whole or in part takes a minimum of four quarterly samples.

(j) If monitoring data collected after January 1, 1990, are generally consistent with the requirements of subdivision B 1 d (1) of this section, then the commissioner may allow waterworks owner to use that data to satisfy the monitoring requirement for the initial compliance period beginning January 1, 1993.

(2) The frequency of monitoring conducted to determine compliance with the MCLs in Table 2.2 for barium, cadmium, chromium, fluoride, mercury, and selenium shall be as follows:

(a) The owner of a groundwater source waterworks shall take one sample at each sampling point during each compliance period beginning in the compliance period starting January 1, 1993.

(b) The owner of a waterworks which uses a surface water source in whole or in part shall take one sample annually at each sampling point beginning January 1, 1993.

(c) A waterworks owner may apply to the commissioner for a waiver from the monitoring frequencies specified in subdivision B 1 d (2) (a) or (b) of this section.

(d) A condition of the waiver shall require that the waterworks owner shall take a minimum of one sample while the waiver is effective.  The term during which the waiver is effective shall not exceed one compliance cycle (i.e., nine years).

(e) The commissioner may grant a waiver provided the owner of a waterworks which uses a surface water source in whole or in part has monitored annually for at least three years and groundwater waterworks have conducted a minimum of three rounds of monitoring.  (At least one sample shall have been taken since January 1, 1990.) The owner of any waterworks which uses a surface water source in whole or in part or a groundwater source waterworks shall demonstrate that all previous analytical results were less than the PMCL. Waterworks that use a new water source are not eligible for a waiver until three rounds of monitoring from the new source have been completed.

(f) In determining the appropriate reduced monitoring frequency, the commissioner shall consider:

(i) Reported concentrations from all previous monitoring;

(ii) The degree of variation in reported concentrations;  and

(iii) Other factors which may affect contaminant concentrations such as changes in groundwater pumping rates, changes in the waterworks configuration, changes in the waterworks operating procedures, or changes in stream flows or characteristics.

(g) A decision by the commissioner to grant a waiver shall be made in writing and shall set forth the basis for the determination.  The request for a waiver may be initiated by the commissioner or upon an application by the waterworks owner.  The owner shall specify the basis for the request.  The commissioner shall review and, where appropriate, revise the determination of the appropriate monitoring frequency when the waterworks owner submits new monitoring data or when other data relevant to the waterworks appropriate monitoring frequency become available.

(h) Owners of waterworks which exceed the PMCLs as calculated in 12 VAC 5-590-410 shall monitor quarterly beginning in the next quarter after the violation occurred.

(i) The commissioner may decrease the quarterly monitoring requirement to the frequencies specified in subdivision B 2 d (2) (a), (b) or (c) of this section provided a determination has been made that the waterworks is reliably and consistently below the PMCL. In no case can the commissioner make this determination unless the owner of a groundwater source waterworks takes a minimum of two quarterly samples or the owner of a waterworks which uses a surface water source in whole or in part takes a minimum of four quarterly samples.

(3) The frequency of monitoring conducted to determine compliance with the PMCLs in Table 2.2 for antimony, beryllium, cyanide (as free cyanide), nickel, and thallium shall be as follows:

(a) The owner of a groundwater source waterworks with 150 or more service connections shall take one sample at each sampling point during each compliance period beginning in the compliance period starting January 1, 1993.  The owner of a groundwater source waterworks with fewer than 150 service connections shall take one sample at each sampling point during each compliance period beginning in the compliance period starting January 1, 1996.

(b) The owner of a waterworks which uses a surface water source in whole or in part with 150 or more service connections shall take one sample annually at each sampling point beginning January 1, 1993.  The owner of a waterworks which uses a surface water source in whole or in part with fewer than 150 service connections shall take one sample annually at each sampling point beginning January 1, 1996.

(c) A waterworks owner may apply to the commissioner for a waiver from the monitoring frequencies specified in subdivision B 2 d (3) (a) or (b) of this section.

(d) A condition of the waiver shall require that the waterworks owner shall take a minimum of one sample while the waiver is effective.  The term during which the waiver is effective shall not exceed one compliance cycle (i.e., nine years).

(e) The commissioner may grant a waiver provided the owner of a waterworks which uses a surface water source in whole or in part has monitored annually for at least three years and groundwater waterworks have conducted a minimum of three rounds of monitoring.  (At least one sample shall have been taken since January 1, 1990.) The owner of any waterworks which uses a surface water source in whole or in part or a groundwater source waterworks shall demonstrate that all previous analytical results were less than the PMCL. Waterworks that use a new water source are not eligible for a waiver until three rounds of monitoring from the new source have been completed.

(f) In determining the appropriate reduced monitoring frequency, the commissioner shall consider:

(i) Reported concentrations from all previous monitoring;

(ii) The degree of variation in reported concentrations;  and

(iii) Other factors which may affect contaminant concentrations such as changes in groundwater pumping rates, changes in the waterworks configuration, changes in the waterworks operating procedures, or changes in stream flows or characteristics.

(g) A decision by the commissioner to grant a waiver shall be made in writing and shall set forth the basis for the determination.  The request for a waiver may be initiated by the commissioner or upon an application by the waterworks owner.  The owner shall specify the basis for the request.  The commissioner shall review and, where appropriate, revise the determination of the appropriate monitoring frequency when the waterworks owner submits new monitoring data or when other data relevant to the waterworks appropriate monitoring frequency become available.

(h) Owners of waterworks which exceed the PMCLs as calculated in 12 VAC 5-590-410 shall monitor quarterly beginning in the next quarter after the violation occurred.

(i) The commissioner may decrease the quarterly monitoring requirement to the frequencies specified in subdivision B 2 d (3) (a), (b) or (c) of this section provided a determination has been made that the waterworks is reliably and consistently below the PMCL. In no case can the commissioner make this determination unless the owner of a groundwater source waterworks takes a minimum of two quarterly samples or the owner of a waterworks which uses a surface water source in whole or in part takes a minimum of four quarterly samples.

(4) All community, nontransient noncommunity and noncommunity waterworks owners shall monitor to determine compliance with the PMCL for nitrate in Table 2.2.

(a) Owners of community and nontransient noncommunity waterworks which use a groundwater source shall monitor annually beginning January 1, 1993.

(b) Owners of community and nontransient noncommunity waterworks which use a surface water source in whole or in part shall monitor quarterly beginning January 1, 1993.

(c) For community and nontransient noncommunity waterworks which use groundwater, the repeat monitoring frequency shall be quarterly for at least one year following any one sample in which the concentration is ≥50% of the PMCL. The commissioner may allow the owner of a waterworks, which uses groundwater, to reduce the sampling frequency to annually after four consecutive quarterly samples are reliably and consistently less than the PMCL.

(d) For community and nontransient noncommunity waterworks, the commissioner may allow the owner of a waterworks which uses a surface water source in whole or in part, to reduce the sampling frequency to annually if all analytical results from four consecutive quarters are <50% of the PMCL. Such waterworks shall return to quarterly monitoring if any one sample is ≥50% of the PMCL.

(e) The owners of all other noncommunity waterworks shall monitor annually beginning January 1, 1993.

(f) After the initial round of quarterly sampling is completed, the owner of each community and nontransient noncommunity waterworks which is monitoring annually shall take subsequent samples during the quarter(s) which previously resulted in the highest analytical result.

(5) All community, nontransient noncommunity and noncommunity waterworks owners shall monitor to determine compliance with the PMCL for nitrite in Table 2.2.

(a) All waterworks owners shall take one sample at each sampling point in the compliance period beginning January 1, 1993.

(b) After the initial sample, the owner of any waterworks where an analytical result for nitrite is <50% of the PMCL shall monitor at the frequency specified by the commissioner.

(c) The repeat monitoring frequency for any waterworks owner shall be quarterly for at least one year following any one sample in which the concentration is ≥50% of the PMCL. The commissioner may allow a waterworks owner to reduce the sampling frequency to annually after determining the analysis results are reliably and consistently less than the PMCL.

(d) Owners of waterworks which are monitoring annually shall take each subsequent sample during the quarter(s) which previously resulted in the highest analytical result.

(6) The frequency of monitoring conducted to determine compliance with the PMCLs in Table 2.2 for arsenic shall be as follows:

(a) The owner of each community waterworks which use a surface water source in whole or in part shall take one sample annually at each sampling point beginning June 1, 1978.

(b) The owner of each community groundwater waterworks shall take one sample at each sampling point within a three year period starting June 1, 1979.

(c) Owners of waterworks which exceed the PMCL listed in Table 2.2 shall report to the commissioner within seven days and initiate three additional samples at the same sampling point within one month.

(d) For initial analyses required by subdivision B 1 d (6) (a) or (b) of this section, data for waterworks which use surface water source in whole or in part acquired within one year prior to the effective date for arsenic monitoring and data for groundwater waterworks acquired within three years prior to the effective date for arsenic monitoring may be substituted at the discretion of the commissioner.

2. Organic chemicals.  Owners of all community and nontransient noncommunity waterworks shall sample for organic chemicals in accordance with their water source.  Where two or more sources are combined before distribution, the waterworks owner shall sample at the entry point for the combined sources during periods of normal operating conditions.

a. Owners of waterworks which use groundwater shall take a minimum of one sample at each entry point to the distribution system which is representative of each source, after treatment (hereafter called a sampling point).

b. Owners of waterworks which use a surface water source in whole or in part shall take a minimum of one sample at points in the distribution system that are representative of each source or at each entry point to the distribution system, after treatment (hereafter called a sampling point).

c. The owner of each community and nontransient noncommunity waterworks shall take four consecutive quarterly samples for each contaminant listed in Table 2.3-VOC 2 through 21 and SOC during each compliance period, beginning in the compliance period starting January 1, 1993.

d. Reduced monitoring.

(1) VOC.

(a) If the initial monitoring for contaminants listed in Table 2.3-VOC 1 through 8 and the monitoring for the contaminants listed in Table 2.3-VOC 9 through 21 as allowed in subdivision B 2 d (1) (c) of this section has been completed by December 31, 1992, and the waterworks did not detect any contaminant listed in Table 2.3-VOC 1 through 21, then the owner of each groundwater waterworks and waterworks which use a surface water source in whole or in part shall take one sample annually beginning January 1, 1993.

(b) After a minimum of three years of annual sampling, the commissioner may allow the owner of a groundwater waterworks with no previous detection of any contaminant listed in Table 2.3-VOC 2 through 21 to take one sample during each compliance period.

(c) The commissioner may allow the use of monitoring data collected after January 1, 1988, for purposes of initial monitoring compliance.  If the data are generally consistent with the other requirements in this section, the commissioner may use these data (i.e., a single sample rather than four quarterly samples) to satisfy the initial monitoring requirement of subdivision B 2 c of this section.  Waterworks which use grandfathered samples and did not detect any contaminants listed in Table 2.3-VOC, 2 through 21, shall begin monitoring annually in accordance with subdivision B 2 d (1) (a) of this section beginning January 1, 1993.

(2) SOC.

(a) Waterworks serving more than 3,300 persons which do not detect a contaminant listed in Table 2.3-SOC in the initial compliance period, may reduce the sampling frequency to a minimum of two quarterly samples in one year during each repeat compliance period.

(b) Waterworks serving less than or equal to 3,300 persons which do not detect a contaminant listed in Table 2.3-SOC in the initial compliance period may reduce the sampling frequency to a minimum of one sample during each repeat compliance period.

e. Waiver application.

(1) For VOCs.  The owner of any community and nontransient noncommunity groundwater waterworks which does not detect a contaminant listed in Table 2.3-VOC may apply to the commissioner for a waiver from the requirements of subdivisions B 2 d (1) (a) and (b) of this section after completing the initial monitoring.  A waiver shall be effective for no more than six years (two compliance periods). The commissioner may also issue waivers to small systems for the initial round of monitoring for 1,2,4-trichlorobenzene.

(2) For SOCs.  The owner of any community and nontransient noncommunity waterworks may apply to the commissioner for a waiver from the requirement of subdivisions B 2 c and d (2) of this section.  The waterworks owner shall reapply for a waiver for each compliance period.

f. A The commissioner may grant a waiver after evaluating the following factors:  Knowledge of previous use (including transport, storage, or disposal) of the contaminant within the watershed or zone of influence of the source.  If a determination by the commissioner reveals no previous use of the contaminant within the watershed or zone of influence, a waiver may be granted.  If previous use of the contaminant is unknown or it has been used previously, then the following factors shall be used to determine whether a waiver is granted.

(1) Previous analytical results.

(2) The proximity of the waterworks to a potential point or nonpoint source of contamination.  Point sources include spills and leaks of chemicals at or near a waterworks or at manufacturing, distribution, or storage facilities, or from hazardous and municipal waste landfills and other waste handling or treatment facilities.  Nonpoint sources for SOCs include the use of pesticides to control insect and weed pests on agricultural areas, forest lands, home and gardens, and other land application uses.

(3) The environmental persistence and transport of the contaminants listed in Table 2.3 VOC and SOC.

(4) How well the water source is protected against contamination, such as whether it is a waterworks which uses a surface water source in whole or in part or whether it is a groundwater source waterworks.  Groundwater source waterworks shall consider factors such as depth of the well, the type of soil, wellhead protection, and well structure integrity.  Waterworks which use surface water in whole or in part shall consider watershed protection.

(5) Special factors.

(a) For VOCs.  The number of persons served by the waterworks and the proximity of a smaller waterworks to a larger waterworks.

(b) For SOCs.  Elevated nitrate levels at the waterworks supply source.

(c) For SOCs.  Use of PCBs in equipment used in the production, storage, or distribution of water (i.e., PCBs used in pumps, transformers, etc.).

g. Condition for waivers.

(1) As a condition of the VOC waiver the owner of a groundwater waterworks shall take one sample at each sampling point during the time the waiver is effective (i.e., one sample during two compliance periods or six years) and update its vulnerability assessment considering the factors listed in subdivision B 2 f of this section.  Based on this vulnerability assessment the commissioner shall reconfirm that the waterworks owner is nonvulnerable.  If the commissioner does not make this reconfirmation within three years of the initial determination, then the waiver is invalidated and the waterworks is required to sample annually as specified in subdivision B 2 d (1) (a) of this section.

(2) The owner of any community and nontransient noncommunity waterworks which use surface water in whole or in part which does not detect a contaminant listed in Table 2.3-VOC may apply to the commissioner for a waiver from the requirements of subdivision B 2 d (1) (a) of this section after completing the initial monitoring.  Waterworks meeting this criteria shall be determined by the commissioner to be nonvulnerable based on a vulnerability assessment during each compliance period.  Each waterworks receiving a waiver shall sample at the frequency specified by the commissioner (if any).

(3) There are no conditions to SOC waivers.

h. If a contaminant listed in Table 2.3-VOC 2 through 21 or SOC 1 through 33 is detected then (NOTE:  Detection occurs when a contaminant level exceeds the current detection limit as defined by EPA.):

(1) Each waterworks owner shall monitor quarterly at each sampling point which resulted in a detection.

(2) The commissioner may decrease the quarterly monitoring requirement specified in subdivision B 2 h (1) of this section provided it has determined that the waterworks is reliably and consistently below the PMCL. In no case shall the commissioner make this determination unless a groundwater waterworks takes a minimum of two quarterly samples and a waterworks which use surface water in whole or in part takes a minimum of four quarterly samples.

(3) If the commissioner determines that the waterworks is reliably and consistently below the PMCL, the commissioner may allow the waterworks to monitor annually.  Waterworks which monitor annually shall monitor during the quarter(s) which previously yielded the highest analytical result.

(4) Waterworks which have three consecutive annual samples with no detection of a contaminant may apply to the commissioner for a waiver for VOC as specified in subdivision B 2 e (1) or to SOC as specified in subdivision B 2 e (2) of this section.

(5) Subsequent monitoring due to contaminant detection.

(a) Groundwater waterworks which have detected one or more of the following two-carbon organic compounds:  trichloroethylene, tetrachloroethylene, 1,2-dichloroethane, 1,1,1-trichloroethane, cis-1,2-dichloroethylene, trans-1,2-dichloroethylene, or 1,1-dichloroethylene shall monitor quarterly for vinyl chloride.  A vinyl chloride sample shall be taken at each sampling point at which one or more of the two-carbon organic compounds was detected.  If the results of the first analysis do not detect vinyl chloride, the commissioner may reduce the quarterly monitoring frequency of vinyl chloride monitoring to one sample during each compliance period.  Waterworks which use surface water in whole or in part are required to monitor for vinyl chloride as specified by the commissioner.

(b) If monitoring results in detection of one or more of certain related contaminants (heptachlor and heptachlor epoxide), then subsequent monitoring shall analyze for all related contaminants.

i. Waterworks which violate the requirements of Table 2.3 for VOCs or SOCs, as determined by 12 VAC 5-590-410 C, shall monitor quarterly.  After a minimum of four consecutive quarterly samples which show the waterworks is in compliance as specified in 12 VAC 5-590-410 C and the commissioner determines that the waterworks is reliably and consistently below the PMCL, the waterworks may monitor at the frequency and time specified in subdivision B 2 h (3) of this section.

3. Disinfectant residuals, disinfection byproducts and disinfection byproduct precursors.

a. Unless otherwise noted, all waterworks that use a chemical disinfectant must comply with the requirements of this section as follows:

(1) Community or nontransient noncommunity waterworks that use surface water or groundwater under the direct influence of surface water and serving 10,000 or more persons, must comply with this section beginning January 1, 2002.

(2) Community or nontransient noncommunity waterworks that use surface water or groundwater under the direct influence of surface water serving fewer than 10,000 persons and waterworks using only groundwater not under the direct influence of surface water must comply with this section beginning January 1, 2004.

(3) Transient noncommunity waterworks which use surface water or groundwater under the direct influence of surface water and serving 10,000 or more persons and using chlorine dioxide as a disinfectant or oxidant must comply with any requirements for chlorine dioxide in this section beginning January 1, 2002.

(4) Transient noncommunity waterworks which use surface water or groundwater under the direct influence of surface water serving fewer than 10,000 persons and using chlorine dioxide as a disinfectant or oxidant and waterworks using only groundwater not under the direct influence of surface water and using chlorine dioxide as a disinfectant or oxidant must comply with any requirements for chlorine dioxide in this section beginning January 1, 2004.

b. Waterworks must take all samples during normal operating conditions.

(1) Analysis under this section for disinfection byproducts (TTHM, HAA5, chlorite and bromate) must be conducted by a laboratory that has received certification by EPA or the state except as noted in subdivision B 3 b (2) of this section.

(2) Measurement under this section of daily chlorite samples at the entry point to the distribution system, disinfection residuals (free chlorine, combined chlorine, total chlorine and chlorine dioxide), alkalinity, bromide, TOC, SUVA (DOC and UV sub254 ), and pH must be made by a party approved by the commissioner.

(3) DPD colorimetric test kits may be used to measure residual disinfectant concentrations for chlorine, chloramines and chlorine dioxide.

c. Failure to monitor in accordance with the monitoring plan required under subdivision B 3 j of this section is a monitoring violation.  Failure to monitor will be treated as a violation for the entire period covered by the annual average where compliance is based on a running annual average of monthly or quarterly samples or averages and the waterworks' failure to monitor makes it impossible to determine compliance with PMCLs or MRDLs.

d. Waterworks may use only data collected under the provisions of this section or the US EPA Information Collection Rule, 40 CFR Part 141 Subpart M, Information Collection Requirements (ICR) for Public Water Systems, to qualify for reduced monitoring.

e. TTHM/HAA5 monitoring.  Community or nontransient noncommunity waterworks must monitor TTHM and HAA5 at the frequency indicated below:

(1) Routine monitoring requirements.

(a) Waterworks using surface water or groundwater under the direct influence of surface water and serving at least 10,000 persons must collect four water samples per quarter per treatment plant.  At least 25% of all samples collected each quarter must be at locations representing maximum residence time in the distribution system.  The remaining samples must be taken at locations representative of at least average residence time in the distribution system and representative of the entire distribution system.  When setting the sample locations the waterworks must take into account number of persons served, different sources of water, and different treatment methods.

(b) Waterworks using surface water or groundwater under the direct influence of surface water and serving from 500 to 9,999 persons must collect one sample per quarter per treatment plant.  The sample location must represent maximum residence time in the distribution system.

(c) Waterworks using surface water or groundwater under the direct influence of surface water and serving fewer than 500 persons must collect one sample per year per treatment plant during the month of warmest water temperature.  The sample location must represent maximum residence time in the distribution system.  If the sample (or average of annual samples, if more than one sample is taken) exceeds PMCL in Table 2.13, the waterworks must increase monitoring to one sample per treatment plant per quarter, taken at a point reflecting the maximum residence time in the distribution system, until waterworks meets reduced monitoring criteria.

(d) Waterworks using only groundwater not under direct influence of surface water using chemical disinfectant and serving at least 10,000 persons must collect one sample per quarter per treatment plant.  The sample location must represent maximum residence time in the distribution system.

(e) Waterworks using only groundwater not under direct influence of surface water using chemical disinfectant and serving fewer than 10,000 persons must collect one sample per year per treatment plant during the month of warmest water temperature.  The sample location must represent maximum residence time in the distribution system.  If the sample (or average of annual samples, if more than one sample is taken) exceeds PMCL in Table 2.13, the waterworks must increase monitoring to one sample per treatment plant per quarter, taken at a point reflecting the maximum residence time in the distribution system, until the waterworks meets the criteria for reduced monitoring found in subdivision B 3 e (4) of this section.

(f) If a waterworks elects to sample more frequently than the minimum required, at least 25% of all samples collected each quarter (including those taken in excess of the required frequency) must be taken at locations that represent the maximum residence time of the water in the distribution system.  The remaining samples must be taken at locations representative of at least average residence time in the distribution system.

(g) With prior approval of the commissioner, waterworks that utilize multiple wells from a common aquifer may consider these multiple sources as one treatment plant for determining the minimum number of samples to be collected for TTHM and HAA5 analysis.

(2) After one year of routine monitoring a waterworks may reduce monitoring, except as otherwise provided, as follows:

(a) Waterworks using surface water or groundwater under the direct influence of surface water and serving at least 10,000 persons that has a source water annual average TOC level, before any treatment, of equal to or less than 4.0 mg/L and a TTHM annual average equal to or less than 0.040 mg/L and HAA5 annual average equal to or less than 0.030 mg/L may reduce its monitoring to one sample per treatment plant per quarter at a distribution system location reflecting maximum residence time.

(b) Waterworks using surface water or groundwater under the direct influence of surface water serving from 500 to 9,999 persons that has a source water annual average TOC level, before any treatment, equal to or less than 4.0 mg/L and a TTHM annual average equal to or less than 0.040 mg/L and HAA5 annual average equal to or less than 0.030 mg/L may reduce its monitoring to one sample per treatment plant per year at a distribution system location reflecting maximum residence time during the month of warmest water temperature.

(c) Waterworks using only groundwater not under the direct influence of surface water, using chemical disinfectant and serving at least 10,000 persons that has a TTHM annual average of equal to or less than 0.040 mg/L and HAA5 annual average of equal to or less than 0.030 mg/L may reduce its monitoring to one sample per treatment plant per year at a distribution system location reflecting maximum residence time during the month of warmest water temperature.

(d) Waterworks using only groundwater not under the direct influence of surface water, using chemical disinfectant and serving fewer than 10,000 persons that has a TTHM annual average equal to or less than 0.040 mg/L and HAA5 annual average equal to or less than 0.030 mg/L for two consecutive years or TTHM annual average equal to or less than 0.020 mg/L and HAA5 annual average of equal to or less than 0.015 mg/L for one year may reduce its monitoring to one sample per treatment plant per three-year monitoring cycle at a distribution system location reflecting maximum residence time during the month of warmest water temperature, with the three-year cycle beginning on January 1 following the quarter in which the system qualifies for reduced monitoring.

(e) Waterworks using surface water or groundwater under the direct influence of surface water serving fewer than 500 persons may not reduce its monitoring to less than one sample per treatment plant per year.

(3) Waterworks on a reduced monitoring schedule may remain on that reduced schedule as long as the average of all samples taken in the year (for waterworks that must monitor quarterly) or the result of the sample (for waterworks that must monitor no more frequently than annually) is no more than 0.060 mg/L and 0.045 mg/L for TTHMs and HAA5, respectively.  Waterworks that do not meet these levels must resume monitoring at the frequency identified in subdivision B 3 e (1) of this section in the quarter immediately following the quarter in which the waterworks exceeds 0.060 mg/L or 0.045 mg/L for TTHMs or HAA5, respectively.  For waterworks using only groundwater not under the direct influence of surface water and serving fewer than 10,000 persons, if either the TTHMs annual average is greater than 0.080 mg/L or the HAA5 annual average is greater than 0.060 mg/L, the waterworks must go to increased monitoring identified in subdivision B 3 e (1) of this section in the quarter immediately following the monitoring period in which the system exceeds 0.080 mg/L or 0.060 mg/L for TTHM or HAA5 respectively.

(4) Waterworks on increased monitoring may return to routine monitoring if, after at least one year of monitoring, their TTHM annual average is equal to or less than 0.060 mg/L and their HAA5 annual average is equal to or less than 0.045 mg/L.

(5) The commissioner may return a waterworks to routine monitoring at the commissioner's discretion.

f. Chlorite. Community and nontransient noncommunity waterworks using chlorine dioxide, for disinfection or oxidation, must conduct monitoring for chlorite.

(1) Routine monitoring.

(a) Daily monitoring.  Waterworks must take daily samples at the entrance to the distribution system.  For any daily sample that exceeds the chlorite PMCL in Table 2.13, the waterworks must take additional samples in the distribution system the following day at the locations required by subdivision B 3 f (1) (c) of this section, in addition to the sample required at the entrance to the distribution system.

(b) Monthly monitoring.  Waterworks must take a three-sample set each month in the distribution system.  The waterworks must take one sample at each of the following locations:  near the first customer, at a location representative of average residence time, and at a location reflecting maximum residence time in the distribution system.  Any additional routine sampling must be conducted in the same manner (as three-sample sets, at the specified locations). The waterworks may use the results of additional monitoring conducted under subdivision B 3 f (1) (c) of this section to meet the requirement for monitoring in this paragraph.

(c) Additional monitoring requirements.  On each day following a routine sample monitoring result that exceeds the chlorite PMCL in Table 2.13 at the entrance to the distribution system, the waterworks is required to take three chlorite distribution system samples at the following locations:  as close to the first customer as possible, in a location representative of average residence time, and as close to the end of the distribution system as possible (reflecting maximum residence time in the distribution system).

(2) Reduced monitoring.

(a) Chlorite monitoring at the entrance to the distribution system required by subdivision B 3 f (1) (a) of this section may not be reduced.

(b) Chlorite monitoring in the distribution system required by subdivision B 3 f (1) (b) of this section may be reduced to one three-sample set per quarter after one year of monitoring where no individual chlorite sample taken in the distribution system under subdivision B 3 f (1) (b) of this section has exceeded the chlorite PMCL in Table 2.13 and the waterworks has not been required to conduct monitoring under subdivision B 3 f (1) (c) of this section.  The waterworks may remain on the reduced monitoring schedule until either any of the three individual chlorite samples taken quarterly in the distribution system under subdivision B 3 f (1) (b) of this section exceeds the chlorite PMCL or the waterworks is required to conduct monitoring under subdivision B 3 f (1) (c) of this section, at which time the waterworks must revert to routine monitoring.

g. Bromate.

(1) Each community and nontransient noncommunity waterworks treatment plant using ozone, for disinfection or oxidation, must take one sample per month and analyze it for bromate.  Waterworks must take samples monthly at the entrance to the distribution system while the ozonation system is operating under normal conditions.

(2) Waterworks required to analyze for bromate may reduce monitoring from monthly to once per quarter, if the waterworks demonstrates that the average source water bromide concentration is less than 0.05 mg/L based upon representative monthly bromide measurements for one year.  The waterworks may remain on reduced bromate monitoring until the running annual average source water bromide concentration, computed quarterly, is equal to or greater than 0.05 mg/L based upon representative monthly measurements.  If the running annual average source water bromide concentration is equal to or greater than 0.05 mg/L, the waterworks must resume routine monitoring required by subdivision B 3 g (1) of this section.

(3) Bromide.  Waterworks required to analyze for bromate may reduce bromate monitoring from monthly to once per quarter, if the waterworks demonstrates that the average source water bromide concentration is less than 0.05 mg/L based upon representative monthly measurements for one year.  The waterworks must continue bromide monitoring to remain on reduced bromate monitoring.

h. Monitoring requirements for disinfectant residuals.

(1) Chlorine and chloramines.

(a) Waterworks that use chlorine or chloramines must measure the residual disinfectant level in the distribution system at the same point in the distribution system and at the same time as total coliforms are sampled, as specified in subsection A of this section.  Waterworks that use surface water or groundwater under the direct influence of surface water may use the results of residual disinfectant concentration sampling found in subdivision B 7 c (1) of this section in lieu of taking separate samples.

(b) Residual disinfectant level monitoring may not be reduced.

(2) Chlorine dioxide.

(a) Waterworks that use chlorine dioxide for disinfection or oxidation must take daily samples at the entrance to the distribution system.  For any daily sample that exceeds the MRDL in Table 2.12, the waterworks must take samples in the distribution system the following day at the locations required by subdivision B 3 h (2) (b) of this section, in addition to the sample required at the entrance to the distribution system.

(b) On each day following a routine sample monitoring result that exceeds the MRDL in Table 2.12, the waterworks is required to take three chlorine dioxide distribution system samples.  If chlorine dioxide or chloramines are used to maintain a disinfectant residual in the distribution system, or if chlorine is used to maintain a disinfectant residual in the distribution system and there are no disinfection addition points after the entrance to the distribution system (i.e., no booster chlorination), the waterworks must take three samples as close to the first customer as possible, at intervals of at least six hours.  If chlorine is used to maintain a disinfectant residual in the distribution system and there are one or more disinfection addition points after the entrance to the distribution system (i.e., booster chlorination), the waterworks must take one sample at each of the following locations:  as close to the first customer as possible, in a location representative of average residence time, and as close to the end of the distribution system as possible (reflecting maximum residence time in the distribution system).

(c) Chlorine dioxide monitoring may not be reduced.

i. Monitoring requirements for disinfection byproduct precursors (DBPP).

(1) Community or nontransient noncommunity waterworks using surface water or groundwater under the direct influence of surface water and using conventional filtration treatment (as defined in 12 VAC 5-590-10) must monitor each treatment plant for TOC no later than the point of combined filter effluent turbidity monitoring and representative of the treated water.  All waterworks required to monitor under this subdivision (B 3 i (1)) must also monitor for TOC in the source water prior to any treatment at the same time as monitoring for TOC in the treated water.  These samples (source water and treated water) are referred to as paired samples.  At the same time as the source water sample is taken, all waterworks must monitor for alkalinity in the source water prior to any treatment.  Waterworks must take one paired sample and one source water alkalinity sample per month per plant at a time representative of normal operating conditions and influent water quality.

(2) Community or nontransient noncommunity waterworks that use surface water or groundwater under the direct influence of surface water with an average treated water TOC of less than 2.0 mg/L for two consecutive years, or less than 1.0 mg/L for one year, may reduce monitoring for both TOC and alkalinity to one paired sample and one source water alkalinity sample per plant per quarter.  The waterworks must revert to routine monitoring in the month following the quarter when the annual average treated water TOC equal to or greater than 2.0 mg/L.

j. Each waterworks required to monitor under subdivision B 3 of this section must develop and implement a monitoring plan.  The waterworks must maintain the plan and make it available for inspection by the commissioner and the general public no later than 30 days following the applicable compliance dates in subdivision B 3 a of this section.  All community or nontransient noncommunity waterworks that use surface water or groundwater under the direct influence of surface water serving more than 3,300 people must submit a copy of the monitoring plan to the commissioner no later than the date of the first report required under 12 VAC 5-590-530 A. The commissioner may also require the plan to be submitted by any other waterworks.  After review, the commissioner may require changes in any plan elements.  The plan must include at least the following elements:

(1) Specific locations and schedules for collecting samples for any parameters included in subdivision B 3 of this section.

(2) How the waterworks will calculate compliance with PMCLs, MRDLs, and treatment techniques.

(3) The sampling plan for a consecutive waterworks must reflect the entire consecutive distribution system.

4. Unregulated contaminants (UCs).  All community and nontransient noncommunity waterworks shall sample for the contaminants listed in Table 2.6 and Table 2.7 as follows:

a. Table 2.6--Group A

(1) Owners of waterworks which use a surface water source in whole or in part shall sample at the entry points to the distribution system which is representative of each source, after treatment (hereafter called a sampling point). The minimum number of samples is one year of consecutive quarterly samples per sampling point beginning in accordance with Table 2.8.

(2) Owners of waterworks which use groundwater shall sample at points of entry to the distribution system which is representative of each source (hereafter called a sampling point). The minimum number of samples is one sample per sampling point beginning in accordance with Table 2.8.

(3) The commissioner may require a confirmation sample for positive or negative results.

(4) Waterworks serving less than 150 connections may inform the commissioner, in writing, that their waterworks is available for sampling instead of performing the required sampling.

(5) All waterworks required to sample under this section shall repeat the sampling at least every five years.

b. Table 2.6--Group B and Table 2.7

(1) The owner of each community and nontransient noncommunity waterworks owner shall take four consecutive quarterly samples at the entry points to the distribution system which is representative of each source (hereafter called a sampling point) for each contaminant listed in Table 2.6 Group B and report the results to the commissioner.  Monitoring shall be completed by December 31, 1995.

(2) The owner of each community and nontransient noncommunity waterworks shall take one sample at each sampling point for each contaminant listed in Table 2.7 and report the results to the commissioner.  Monitoring shall be completed by December 31, 1995.

(3) The owner of each community and nontransient noncommunity waterworks may apply to the commissioner for a waiver from the monitoring requirements of subdivisions B 4 b (1) and (2) of this section for the contaminants listed in Table 2.6 Group B and Table 2.7.

(4) The commissioner may grant a waiver for the requirement of subdivision B 4 b (1) of this section based on the criteria specified in subdivision B 2 f of this section.  The commissioner may grant a waiver from the requirement of subdivision B 4 b (2) of this section if previous analytical results indicate contamination would not occur, provided this data was collected after January 1, 1990.

(5) If the waterworks utilizes more than one source and the sources are combined before distribution, the waterworks shall sample at an entry point to the distribution system during periods of normal operating conditions (i.e., when water is representative of all sources being used).

(6) The commissioner may require a confirmation sample for positive or negative results.

(7) Instead of performing the monitoring required by this section, the owner of a community waterworks or nontransient noncommunity waterworks serving fewer than 150 service connections may send a letter to the commissioner stating that the waterworks is available for sampling.  This letter shall be sent to the commissioner by January 1, 1994.  The waterworks shall not send such samples to the commissioner unless requested to do so by the commissioner.

(8) All waterworks required to sample under this section shall repeat the sampling at least every five years.

5. Repealed.

6. Monitoring requirements for lead and copper.  The owners of all community and nontransient noncommunity waterworks shall monitor for lead and copper in tap water (subdivision B 6 a of this section), water quality (corrosion) parameters in the distribution system and at entry points (subdivision B 6 b of this section), and lead and copper in water supplies (subdivision B 6 c of this section). The monitoring requirements contained in this section are summarized in Appendix M.

a. Monitoring requirements for lead and copper in tap water.

(1) Sample site location.

(a) By the applicable date for commencement of monitoring under subdivision B 6 a (4) (a), each waterworks owner shall complete a materials evaluation of the distribution system in order to identify a pool of targeted sampling sites that meets the requirements of this section, and which is sufficiently large to ensure that the owner can collect the number of lead and copper tap samples required in subdivision B 6 a (3).  All sites from which first draw samples are collected shall be selected from this pool of targeted sampling sites.  Sampling sites may not include faucets that have point-of-use or point-of-entry treatment devices designed to remove inorganic contaminants.

(b) A waterworks owner shall use the information on lead, copper, and galvanized steel that the owner is required to collect when conducting a materials evaluation (reference Appendix B Corrosion). When this evaluation is insufficient to locate the requisite number of lead and copper sampling sites that meet the targeting criteria of this section, the owner shall review the sources of information listed below in order to identify a sufficient number of sampling sites.  In addition, the owner shall seek to collect such information where possible in the course of its normal operations (e.g., checking service line materials when reading water meters or performing maintenance activities):

(i) All plumbing codes, permits, and records in the files of the building department(s) which indicate the plumbing materials that are installed within publicly and privately owned structures connected to the distribution system;

(ii) All inspections and records of the distribution system that indicate the material composition of the service connections that connect a structure to the distribution system; and

(iii) All existing water quality information, which includes the results of all prior analyses of the waterworks or individual structures connected to the waterworks, indicating locations that may be particularly susceptible to high lead or copper concentrations.

(c) The sampling sites selected for a community waterworks' sampling pool ("tier 1 sampling sites") shall consist of single family structures that:

(i) Contain copper pipes with lead solder installed between January 1983 and April 1986 or contain lead pipes;  and/or

(ii) Are served by a lead service line.

NOTE:  When multiple-family residences comprise at least 20% of the structures served by a waterworks, the waterworks may include these types of structures in its sampling pool.

(d) The owner of any community waterworks with insufficient tier 1 sampling sites shall complete the sampling pool with "tier 2 sampling sites," consisting of buildings, including multiple-family residences that:

(i) Contain copper pipes with lead solder installed between January 1983 and April 1986 or contain lead pipes;  and/or

(ii) Are served by a lead service line.

(e) The owner of any community waterworks with insufficient tier 1 and tier 2 sampling sites shall complete the sampling pool with "tier 3 sampling sites," consisting of single family structures that contain copper pipes with lead solder installed before 1983.  The owner of a community waterworks with insufficient tier 1, tier 2, and tier 3 sampling sites shall complete the sampling pool with representative sites throughout the distribution system.  For the purpose of this paragraph, a representative site is a site in which the plumbing materials used at that site would be commonly found at other sites served by the waterworks.

(f) The sampling sites selected for a nontransient noncommunity waterworks ("tier 1 sampling sites") shall consist of buildings that:

(i) Contain copper pipes with lead solder installed between January 1983 and April 1986 or contain lead pipes; and/or

(ii) Are served by a lead service line.

(g) The owner of a nontransient noncommunity waterworks with insufficient tier 1 sites that meet the targeting criteria in subdivision B 6 a (1) (f) of this section shall complete the sampling pool with sampling sites that contain copper pipes with lead solder installed before 1983.  If additional sites are needed to complete the sampling pool, the owner of a nontransient noncommunity waterworks shall use representative sites throughout the distribution system.  For the purpose of this paragraph, a representative site is a site in which the plumbing materials used at that site would be commonly found at other sites served by the waterworks.

(h) The owner of any waterworks whose distribution system contains lead service lines shall draw 50% of the samples the owner collects during each monitoring period from sites that contain lead pipes, or copper pipes with lead solder, and 50% of the samples the owner collects from sites served by a lead service line.  Any owner who cannot identify a sufficient number of sampling sites served by a lead service line shall collect first draw tap samples from all of the sites identified as being served by such lines.

(2) Sample collection methods.

(a) All tap samples for lead and copper, with the exception of lead service line samples collected under 12 VAC 5-590-420 E 3 and samples collected under subdivision B 6 a (2) (e) of this section, shall be first draw samples.

(b) Each first-draw tap sample for lead and copper shall be one liter in volume and have stood motionless in the plumbing system of each sampling site for at least six hours.  First draw samples from residential housing shall be collected from the cold-water kitchen tap or bathroom sink tap.  First-draw samples from a nonresidential building shall be one liter in volume and shall be collected at an interior tap from which water is typically drawn for consumption.  Non-first-draw samples collected in lieu of first-draw samples pursuant to subdivision B 6 a (2) (e) of this section shall be one liter in volume and shall be collected at an interior tap from which water is typically drawn for consumption.  First draw samples may be collected by the waterworks owner or the owner may allow residents to collect first draw samples after instructing the residents of the sampling procedures specified in this paragraph.  To avoid problems of residents handling nitric acid, acidification of first draw samples may be done up to 14 days after the sample is collected.  After acidification to resolubilize the metals, the sample must stand in the original container for the time specified in the approved EPA method before the sample can be analyzed.  If an owner allows residents to perform sampling, the owner may not challenge, based on alleged errors in sample collection, the accuracy of sampling results.

(c) Each lead service line sample collected pursuant to 12 VAC 5-590-420 E 3 for the purpose of avoiding replacement shall be one liter in volume and have stood motionless in the lead service line for at least six hours.  Lead service line samples shall be collected in one of the following three ways:

(i) At the tap after flushing the volume of water between the tap and the lead service line.  The volume of water shall be calculated based on the interior diameter and length of the pipe between the tap and the lead service line;

(ii) Tapping directly into the lead service line;  or

(iii) If the sampling site is a building constructed as a single-family residence, allowing the water to run until there is a significant change in temperature which would be indicative of water that has been standing in the lead service line.

(d) A waterworks owner shall collect each first draw tap sample from the same sampling site from which the owner collected a previous sample.  If, for any reason, the owner cannot gain entry to a sampling site in order to collect a follow-up tap sample, the owner may collect the follow-up tap sample from another sampling site in the sampling pool as long as the new site meets the same targeting criteria, and is within reasonable proximity of the original site.

(e) The owner of a nontransient noncommunity waterworks, or a community waterworks that meets the criteria of 12 VAC 5-590-420 F 3 g (1) and (2) that does not have enough taps that can supply first-draw samples, as defined in subdivision B 6 a (2) (b) of this section, may apply to the district engineer in writing to substitute non-first-draw samples.  If approved by the commissioner, such owners must collect as many first-draw samples from appropriate taps as possible and identify sampling times and locations that would likely result in the longest standing time for the remaining sites.

(3) Number of samples.  Waterworks owners shall collect at least one sample during each monitoring period specified in subdivision B 6 a (4) of this section from the number of sites listed in the first column ("standard monitoring") of the table in this paragraph.  The owner of a waterworks conducting reduced monitoring under subdivision B 6 a (4) (d) of this section shall collect at least one sample from the number of sites specified in the second column ("reduced monitoring") of the table in this paragraph during each monitoring period specified in subdivision B 6 a (4) (d) of this section.  Such reduced monitoring sites shall be representative of the sites required for standard monitoring.  The commissioner may specify sampling locations when a waterworks owner is conducting reduced monitoring.  The table is as follows:

| System Size (Number of People Served) | Number of sites (Standard Monitoring) | Number of sites (Reduced Monitoring) |
| --- | --- | --- |
| >100,000 | 100 | 50 |
| 10,001-100,000 | 60 | 30 |
| 3,301 to 10,000 | 40 | 20 |
| 501 to 3,300 | 20 | 10 |
| 101 to 500 | 10 | 5 |
| ≤100 | 5 | 5 |

(4) Timing of monitoring.

(a) Initial tap sampling.  The first six-month monitoring period for small (serving ≤3,300 population), medium-size (serving 3,301 to 50,000 population) and large waterworks (serving >50,000 population) shall be established by the commissioner.

(i) All large waterworks shall monitor during two consecutive six-month periods.

(ii) All small and medium-size waterworks shall monitor during each six-month monitoring period until:  the waterworks exceeds the lead or copper action level and is therefore required to implement the corrosion control treatment requirements under 12 VAC 5-590-420 C, in which case the owner shall continue monitoring in accordance with subdivision B 6 a (4) (b) of this section, or the waterworks meets the lead and copper action levels during two consecutive six-month monitoring periods, in which case the owner may reduce monitoring in accordance with subdivision B 6 a (4) (d) of this section.

(b) Monitoring after installation of corrosion control and water supply (source water) treatment.

(i) The owner of any large waterworks which installs optimal corrosion control treatment pursuant to 12 VAC 5-590-420 C 2 d (4) shall monitor during two consecutive six-month monitoring periods by the date specified in 12 VAC 5-590-420 C 2 d (5).

(ii) The owner of any small or medium-size waterworks which installs optimal corrosion control treatment pursuant to 12 VAC 5-590-420 C 2 e (5) shall monitor during two consecutive six-month monitoring periods by the date specified in 12 VAC 5-590-420 C 2 e (6).

(iii) The owner of any waterworks which installs source water treatment pursuant to 12 VAC 5-590-420 D 1 c shall monitor during two consecutive six-month monitoring periods by the date specified in 12 VAC 5-590-420 D 1 d.

(c) Monitoring after the commissioner specifies water quality parameter values for optimal corrosion control.  After the commissioner specifies the values for water quality control parameters under 12 VAC 5-590-420 C 1 f, the waterworks owner shall monitor during each subsequent six-month monitoring period, with the first monitoring period to begin on the date the commissioner specifies the optimal values under 12 VAC 5-590-420 C 1 f.

(d) Reduced monitoring.

(i) The owner of a small or medium-size waterworks that meets the lead and copper action levels during each of two consecutive six-month monitoring periods may reduce the number of samples in accordance with subdivision B 6 a (3) of this section, and reduce the frequency of sampling to once per year.

(ii) The owner of any waterworks that maintains the range of values for the water quality control parameters reflecting optimal corrosion control treatment specified by the commissioner under 12 VAC 5-590-420 C 1 f during each of two consecutive six-month monitoring periods may reduce the frequency of monitoring to once per year and to reduce the number of lead and copper samples in accordance with subdivision B 6 a (3) of this section if the owner receives written approval from the commissioner.  The commissioner shall review monitoring, treatment, and other relevant information submitted by the waterworks owner in accordance with 12 VAC 5-590-530 D, and shall notify the waterworks owner in writing when a determination is made that the owner is eligible to commence reduced monitoring pursuant to this paragraph.  The commissioner shall review, and where appropriate, revise its determination when the owner submits new monitoring or treatment data, or when other data relevant to the number and frequency of tap sampling becomes available.

(iii) The owner of a small or medium-size waterworks that meets the lead and copper action levels during three consecutive years of monitoring may reduce the frequency of monitoring for lead and copper from annually to once every three years.  Any waterworks that maintains the range of values for the water quality control parameters reflecting optimal corrosion control treatment specified by the commissioner under 12 VAC 5-590-420 C 1 f during three consecutive years of monitoring may reduce the frequency of monitoring from annually to once every three years if the owner receives written approval from the commissioner.  The commissioner shall review monitoring, treatment, and other relevant information submitted by the owner in accordance with 12 VAC 5-590-530 D and shall notify the waterworks owner in writing when a determination is made that the owner is eligible to commence reduced monitoring pursuant to this paragraph.  The commissioner shall review, and where appropriate, revise its determination when the owner submits new monitoring or treatment data, or when other data relevant to the number and frequency of tap sampling becomes available.

(iv) The owner of a waterworks that reduces the number and frequency of sampling shall collect these samples from representative sites included in the pool of targeted sampling sites identified in subdivision B 6 a (1) of this section.  Waterworks owners sampling annually or less frequently shall conduct the lead and copper tap sampling during the months of June, July, August or September.  For a nontransient noncommunity waterworks that does not operate during the months of June through September, the commissioner shall designate an alternate monitoring period that represents a time of normal operation for the waterworks.

(v) The owner of any waterworks that demonstrates for two consecutive six-month monitoring periods that the tap water lead level computed under 12 VAC 5-590-410 E 3 is less than or equal to 0.005 mg/L and the tap water copper level computed under 12 VAC 5-590-410 E 3 is less than or equal to 0.65 mg/L may reduce the number of samples in accordance with subdivision B 6 a (3) of this section and reduce the frequency of sampling to once every three calendar years.

(vi) The owner of a small or medium-size waterworks subject to reduced monitoring that exceeds the lead or copper action level shall resume sampling in accordance with subdivision B 6 a (4) (c) of this section and collect the number of samples specified for standard monitoring under subdivision B 6 a (3) of this section.  Such waterworks owner shall also conduct water quality parameter monitoring in accordance with subdivision B 6 b (2), (3), or (4) of this section (as appropriate) during the monitoring period in which the action level is exceeded.  The owner of any such waterworks may resume annual monitoring for lead and copper at the tap at the reduced number of sites specified in subdivision B 6 a (3) of this section after it has completed two subsequent consecutive six-month rounds of monitoring that meet the criteria of subdivision B 6 a (4) (d) (i) of this section and/or may resume triennial monitoring for lead and copper at the reduced number of sites after it demonstrates through subsequent rounds of monitoring that it meets the criteria of either subdivision B 6 a (4) (d) (iii) or (v) of this section.

(vii) The owner of any waterworks subject to the reduced monitoring frequency that fails to operate at or above the minimum value or within the range of values for the water quality parameters specified by the commissioner under 12 VAC 5-590-420 C 1 f for more than nine days in any six-month period specified in subdivision B 6 b (4) of this section shall conduct tap water sampling for lead and copper at the frequency specified in subdivision B 6 a (4) (c) of this section, collect the number of samples specified for standard monitoring under subdivision B 6 a (3) of this section, and shall resume monitoring for water quality parameters within the distribution system in accordance with subdivision B 6 b (4) of this section.  The owner of such a waterworks may resume reduced monitoring for lead and copper at the tap and for water quality parameters within the distribution system under the following conditions:

((a)) The waterworks owner may resume annual monitoring for lead and copper at the tap at the reduced number of sites specified in subdivision B 6 a (3) of this section after completion of two subsequent six-month rounds of monitoring that meet the criteria of subdivision B 6 a (4) (d) (ii) of this section and the owner has received written approval from the commissioner that it is appropriate to resume reduced monitoring on an annual frequency.

((b)) The waterworks owner may resume triennial monitoring for lead and copper at the tap at the reduced number of sites after demonstration through subsequent rounds of monitoring that it meets the criteria of either subdivision B 6 a (4) (d) (iii) or (v) of this section and the owner has received written approval from the commissioner that it is appropriate to resume triennial monitoring.

((c)) The waterworks owner may reduce the number of water quality parameter tap water samples required in accordance with subdivision B 6 b (5) (a) of this section and the frequency with which it collects such samples in accordance with subdivision B 6 b (5) (b) of this section.  The owner of such a waterworks may not resume triennial monitoring for water quality parameters at the tap until it demonstrates, in accordance with the requirements of subdivision B 6 b (5) (b) of this section, that it has requalified for triennial monitoring.

(viii) The owner of any waterworks subject to a reduced monitoring frequency under subdivision B 6 a (4) (d) of this section that either adds a new source of water or changes any water treatment shall inform the district engineer in writing in accordance with 12 VAC 5-590-530 D 1 c. The commissioner may require the waterworks owner to resume sampling in accordance with subdivision B 6 a (4) (c) of this section and collect the number of samples specified for standard monitoring under subdivision B 6 a (3) of this section or take other appropriate steps such as increased water quality parameter monitoring or re-evaluation of its corrosion control treatment given the potentially different water quality considerations.

(5) Additional monitoring by waterworks owner.  The results of any monitoring conducted in addition to the minimum requirements of this section shall be considered by the waterworks owner and the commissioner in making any determinations (i.e., calculating the 90th percentile lead or copper level) under this subpart.

(6) Invalidation of lead or copper tap water samples.  A sample invalidated under this paragraph does not count toward determining lead or copper 90th percentile levels under 12 VAC 5-590-410 E or toward meeting the minimum monitoring requirements of subdivision B 6 a (3) of this section.

(a) The commissioner may invalidate a lead or copper tap water sample if at least one of the following conditions is met.

(i) The laboratory establishes that improper sample analysis caused erroneous results.

(ii) The commissioner determines that the sample was taken from a site that did not meet the site selection criteria of this section.

(iii) The sample container was damaged in transit.

(iv) There is substantial reason to believe that the sample was subject to tampering.

(b) The waterworks owner must report the results of all samples to the district engineer and all supporting documentation for samples the owner believes should be invalidated.

(c) To invalidate a sample under subdivision B 6 a (6) (a) of this section, the decision and the rationale for the decision must be documented in writing.  The commissioner may not invalidate a sample solely on the grounds that a follow-up sample result is higher or lower than that of the original sample.

(d) The waterworks owner must collect replacement samples for any samples invalidated under this section if, after the invalidation of one or more samples, the owner has too few samples to meet the minimum requirements of subdivision B 6 a (3) of this section.  Any such replacement samples must be taken as soon as possible, but no later than 20 days after the date the commissioner invalidates the sample or by the end of the applicable monitoring period, whichever occurs later.  Replacement samples taken after the end of the applicable monitoring period shall not also be used to meet the monitoring requirements of a subsequent monitoring period.  The replacement samples shall be taken at the same locations as the invalidated samples or, if that is not possible, at locations other than those already used for sampling during the monitoring period.

(7) Monitoring waivers for small systems.  The owner of any small waterworks that meets the criteria of this section may apply to the commissioner to reduce the frequency of monitoring for lead and copper to once every nine years (i.e., a "full waiver") if the owner meets all of the materials criteria specified in subdivision B 6 a (7) (a) of this section and all of the monitoring criteria specified in subdivision B 6 a (7) (b) of this section.  The owner of any small system that meets the criteria in subdivisions B 6 a (7) (a) and (b) of this section only for lead, or only for copper, may apply to the commissioner for a waiver to reduce the frequency of tap water monitoring to once every nine years for that contaminant only (i.e., a "partial waiver").

(a) Materials criteria.  The waterworks owner must demonstrate that the distribution system and service lines and all drinking water supply plumbing, including plumbing conveying drinking water within all residences and buildings connected to the waterworks, are free of lead-containing materials and/or copper-containing materials, as those terms are defined in this paragraph, as follows:

(i) Lead.  To qualify for a full waiver, or a waiver of the tap water monitoring requirements for lead (i.e., a "lead waiver"), the waterworks owner must provide certification and supporting documentation to the commissioner that the waterworks is free of all lead-containing materials, as follows:

((a)) It contains no plastic pipes that contain lead plasticizers, or plastic service lines that contain lead plasticizers;  and

((b)) It is free of lead service lines, lead pipes, lead soldered pipe joints, and leaded brass or bronze alloy fittings and fixtures, unless such fittings and fixtures meet the specifications of any standard established pursuant to 42 USC § 300g-6(e) (SDWA § 1417(e)).

(ii) Copper.  To qualify for a full waiver, or a waiver of the tap water monitoring requirements for copper (i.e., a "copper waiver"), the waterworks owner must provide certification and supporting documentation to the commissioner that the waterworks contains no copper pipes or copper service lines.

(b) Monitoring criteria for waiver issuance.  The waterworks owner must have completed at least one six-month round of standard tap water monitoring for lead and copper at sites approved by the commissioner and from the number of sites required by subdivision B 6 a (3) of this section and demonstrate that the 90th percentile levels for any and all rounds of monitoring conducted since the owner became free of all lead-containing and/or copper-containing materials, as appropriate, meet the following criteria.

(i) Lead levels.  To qualify for a full waiver, or a lead waiver, the waterworks owner must demonstrate that the 90th percentile lead level does not exceed 0.005 mg/L.

(ii) Copper levels.  To qualify for a full waiver, or a copper waiver, the waterworks owner must demonstrate that the 90th percentile copper level does not exceed 0.65 mg/L.

(c) Commissioner approval of waiver application.  The commissioner shall notify the waterworks owner of its waiver determination, in writing, setting forth the basis of its decision and any condition of the waiver.  As a condition of the waiver, the commissioner may require the owner to perform specific activities (e.g., limited monitoring, periodic outreach to customers to remind them to avoid installation of materials that might void the waiver) to avoid the risk of lead or copper concentration of concern in tap water.  The owner of a small waterworks must continue monitoring for lead and copper at the tap as required by subdivisions B 6 a (4) (a) through (d) of this section, as appropriate, until it receives written notification from the commissioner that the waiver has been approved.

(d) Monitoring frequency for waterworks owners with waivers.

(i) A waterworks owner with a full waiver must conduct tap water monitoring for lead and copper in accordance with subdivision B 6 a (4) (d) (iv) of this section at the reduced number of sampling sites identified in subdivision B 6 a (3) of this section at least once every nine years and provide the materials certification specified in subdivision B 6 a (7) (a) of this section for both lead and copper to the commissioner along with the monitoring results.

(ii) A waterworks owner with a partial waiver must conduct tap water monitoring for the waived contaminant in accordance with subdivision B 6 a (4) (d) (iv) of this section at the reduced number of sampling sites specified in subdivision B 6 a (3) of this section at least once every nine years and provide the materials certification specified in subdivision B 6 a (7) (a) of this section pertaining to the waived contaminant along with the monitoring results.  Such a waterworks owner also must continue to monitor for the nonwaived contaminant in accordance with requirements of subdivisions B 6 a (4) (a) through (d) of this section, as appropriate.

(iii) If a waterworks owner with a full or partial waiver adds a new source of water or changes any water treatment, the owner must notify the commissioner in writing in accordance with 12 VAC 5-590-530 D 1 c. The commissioner has the authority to require the owner to add or modify waiver conditions (e.g., require recertification that the waterworks is free of lead-containing and/or copper-containing materials, require additional round(s) of monitoring), if it deems such modifications are necessary to address treatment or source water changes at the waterworks.

(iv) If a waterworks owner with a full or partial waiver becomes aware that it is no longer free of lead-containing or copper-containing materials, as appropriate, (e.g., as a result of new construction or repairs), the owner shall notify the commissioner in writing no later than 60 days after becoming aware of such a change.

(e) Continued eligibility.  If the waterworks owner continues to satisfy the requirements of subdivision B 6 a (7) (d) of this section, the waiver will be renewed automatically, unless any of the conditions listed in subdivisions (i), (ii), or (iii) of this subdivision (e) occurs.  A waterworks owner whose waiver has been revoked may reapply for a waiver at such time as it again meets the appropriate materials and monitoring criteria of subdivisions B 6 a (7) (a) and (b) of this section.

(i) A waterworks owner with a full waiver or a lead waiver no longer satisfies the materials criteria of subdivision B 6 a (7) (a) (i) of this section or has a 90th percentile lead level greater than 0.005 mg/L.

(ii) A waterworks owner with a full waiver or a copper waiver no longer satisfies the materials criteria of subdivision B 6 a (7) (a) (ii) of this section or has a 90th percentile copper level greater than 0.65 mg/L.

(iii) The commissioner notifies the waterworks owner, in writing, that the waiver has been revoked, setting forth the basis of the decision.

(f) Requirements following waiver revocation.  A waterworks owner whose full or partial waiver has been revoked by the commissioner is subject to the corrosion control treatment and lead and copper tap water monitoring requirements, as follows:

(i) If the waterworks owner exceeds the lead and/or copper action level, the owner must implement corrosion control treatment in accordance with the deadlines specified in 12 VAC 5-590-420 C 2 e and any other applicable requirements of this subpart.

(ii) If the waterworks owner meets both the lead and the copper action level, the owner must monitor for lead and copper at the tap no less frequently than once every three years using the reduced number of sample sites specified in subdivision B 6 a (3) of this section.

(g) Pre-existing waivers.  Waivers for small waterworks approved by the commissioner in writing prior to April 11, 2000, shall remain in effect under the following conditions:

(i) If the waterworks owner has demonstrated that it is both free of lead-containing and copper-containing materials, as required by subdivision B 6 a (7) (a) of this section and that its 90th percentile lead levels and 90th percentile copper levels meet the criteria of subdivision B 6 a (7) (b) of this section, the waiver remains in effect so long as the owner continues to meet the waiver eligibility criteria of subdivision B 6 a (7) (e) of this section.  The first round of tap water monitoring conducted pursuant to subdivision B 6 a (7) (d) of this section shall be completed no later than nine years after the last time the owner has monitored for lead and copper at the tap.

(ii) If the waterworks owner has met the materials criteria of subdivision B 6 a (7) (a) of this section but has not met the monitoring criteria of subdivision B 6 a (7) (b) of this section, the owner shall conduct a round of monitoring for lead and copper at the tap demonstrating that it meets the criteria of subdivision B 6 a (7) (b) of this section no later than September 30, 2000.  Thereafter, the waiver shall remain in effect as long as the owner meets the continued eligibility criteria of subdivision B 6 a (7) (e) of this section.  The first round of tap water monitoring conducted pursuant to subdivision B 6 a (7) (d) of this section shall be completed no later than nine years after the round of monitoring conducted pursuant to subdivision B 6 a (7) (b) of this section.

b. Monitoring requirements for water quality parameters.  The owners of all large waterworks, and all small and medium-size waterworks that exceed the lead or copper action level shall monitor water quality parameters in addition to lead and copper in accordance with this section.  The requirements of this section are summarized in Appendix M.

(1) General requirements.

(a) Sample collection methods.

(i) Tap samples shall be representative of water quality throughout the distribution system taking into account the number of persons served, the different sources of water, the different treatment methods employed by the waterworks, and seasonal variability.  Tap sampling under this section is not required to be conducted at taps targeted for lead and copper sampling under subdivision B 6 (a) (1) of this section.  Waterworks owners may find it convenient to conduct tap sampling for water quality parameters at sites approved for coliform sampling.

(ii) Samples collected at the entry point(s) to the distribution system shall be from locations representative of each source after treatment.  If a waterworks draws water from more than one source and the sources are combined before distribution, the waterworks owner must sample at an entry point to the distribution system during periods of normal operating conditions (i.e., when water is representative of all sources being used).

(b) Number of samples.

(i) Waterworks owners shall collect two tap samples for applicable water quality parameters during each monitoring period specified under subdivision B 6 b (2) through (5) of this section from the following number of sites.

| System Size (Number of People Served) | Number of Sites for Water Quality Parameters |
| --- | --- |
| >100,000 | 25 |
| 10,001-100,000 | 10 |
| 3,301 to 10,000 | 3 |
| 501 to 3,300 | 2 |
| 101 to 500 | 1 |
| ≤100 | 1 |

(ii) Except as provided in subdivision B 6 b (3) (c) of this section, waterworks owners shall collect two samples for each applicable water quality parameter at each entry point to the distribution system during each monitoring period specified in subdivision B 6 b (2) of this section.  During each monitoring period specified in subdivision B 6 b (3) through (5) of this section, waterworks owners shall collect one sample for each applicable water quality parameter at each entry point to the distribution system.

(2) Initial sampling.  The owners of all large waterworks shall measure the applicable water quality parameters as specified below at taps and at each entry point to the distribution system during each six-month monitoring period specified in subdivision B 6 a (4) (a) of this section.  The owners of all small and medium-size waterworks shall measure the applicable water quality parameters at the locations specified below during each six-month monitoring period specified in subdivision B 6 a (4) (a) of this section during which the waterworks exceeds the lead or copper action level.

(a) At taps:

(i) pH;

(ii) alkalinity;

(iii) orthophosphate, when an inhibitor containing a phosphate compound is used;

(iv) silica, when an inhibitor containing a silicate compound is used;

(v) calcium;

(vi) conductivity;  and

(vii) water temperature.

(b) At each entry point to the distribution system:  all of the applicable parameters listed in subdivision B 6 b (2) (a) of this section.

(3) Monitoring after installation of corrosion control.  The owner of any large waterworks which installs optimal corrosion control treatment pursuant to 12 VAC 5-590-420 C 2 d (4) shall measure the water quality parameters at the locations and frequencies specified below during each six-month monitoring period specified in subdivision B 6 a (4) (b) (i) of this section.  The owner of any small or medium-size waterworks which installs optimal corrosion control treatment shall conduct such monitoring during each six-month monitoring period specified in subdivision B 6 a (4) (b) (ii) in which the waterworks exceeds the lead or copper action level.

(a) At taps, two samples for:

(i) pH;

(ii) alkalinity;

(iii) orthophosphate, when an inhibitor containing a phosphate compound is used;

(iv) silica, when an inhibitor containing a silicate compound is used;

(v) calcium, when calcium carbonate stabilization is used as part of corrosion control.

(b) Except as provided in subdivision B 6 b (3) (c) of this section, at each entry point to the distribution system, at least one sample no less frequently than every two weeks (bi-weekly) for:

(i) pH;

(ii) when alkalinity is adjusted as part of optimal corrosion control, a reading of the dosage rate of the chemical used to adjust alkalinity, and the alkalinity concentration;  and

(iii) when a corrosion inhibitor is used as part of optimal corrosion control, a reading of the dosage rate of the inhibitor used, and the concentration of orthophosphate or silica (whichever is applicable).

(c) The owner of any ground water waterworks can limit entry point sampling described in subdivision B 6 b (3) (b) of this section to those entry points that are representative of water quality and treatment conditions throughout the waterworks.  If water from untreated ground water sources mixes with water from treated ground water sources, the owner must monitor for water quality parameters both at representative entry points receiving treatment and representative entry points receiving no treatment.  Prior to the start of any monitoring under this paragraph, the owner shall provide to the commissioner written information identifying the selected entry points and documentation, including information on seasonal variability, sufficient to demonstrate that the sites are representative of water quality and treatment conditions throughout the waterworks.

(4) Monitoring after the commissioner specifies water quality parameter values for optimal corrosion control.  After the commissioner specifies the values for applicable water quality control parameters reflecting optimal corrosion control treatment under 12 VAC 5-590-420 C 1 f, the owners of all large waterworks shall measure the applicable water quality parameters in accordance with subdivision B 6 b (3) of this section and determine compliance with the requirements of 12 VAC 5-590-420 C 1 g every six months with the first six-month period to begin on the date the commissioner specifies the optimal values under 12 VAC 5-590-420 C 1 f. The owner of any small or medium-size waterworks shall conduct such monitoring during each six-month monitoring period specified in this subdivision in which the waterworks exceeds the lead or copper action level.  For the owner of any such small and medium-size waterworks that is subject to a reduced monitoring frequency pursuant to subdivision B 6 a (4) (d) of this section at the time of the action level exceedance, the end of the applicable six-month period under this paragraph shall coincide with the end of the applicable monitoring period under subdivision B 6 a (4) (d) of this section.  Compliance with the commissioner-designated optimal water quality parameter values shall be determined as specified under 12 VAC 5-590-420 C 1 g.

(5) Reduced monitoring.

(a) The owner of any waterworks that maintains the range of values for the water quality parameters reflecting optimal corrosion control treatment during each of two consecutive six-month monitoring periods under subdivision B 6 b (4) of this section shall continue monitoring at the entry point(s) to the distribution system as specified in subdivision B 6 b (3) (b) of this section.  The owner of such waterworks may collect two tap samples for applicable water quality parameters from the following reduced number of sites during each six-month monitoring period.

| Size of Water System (Number of People Served) | Reduced Number of WQP Monitoring Sites |
| --- | --- |
| >100,000 | 10 |
| 10,001 to 100,000 | 7 |
| 3,301 to 10,000 | 3 |
| 501 to 3,300 | 2 |
| 101 to 500 | 1 |
| ≤100 | 1 |

(b) The owner of any waterworks that maintains the range of values for the water quality parameters reflecting optimal corrosion control treatment specified by the commissioner under 12 VAC 5-590-420 C 1f during three consecutive years of monitoring may reduce the frequency with which the owner collects the number of tap samples for applicable water quality parameters specified in subdivision B 6 b (5) (a) of this section from every six months to annually.  The owner of any waterworks that maintains the range of values for the water quality parameters reflecting optimal corrosion control treatment specified by the commissioner under 12 VAC 5-590-420 C 1 f during three consecutive years of annual monitoring under this paragraph may reduce the frequency with which it collects the number of tap samples for applicable water quality parameters specified in subdivision B 6 a (5) (a) of this section from annually to every three years.

(c) The owner of a waterworks may reduce the frequency with which tap samples are collected for applicable water quality parameters specified in subdivision B 6 b (5) (a) of this section to every three years if the owner demonstrates during two consecutive monitoring periods that the tap water lead level at the 90th percentile is less than or equal to the PQL for lead (0.005 mg/L), that the tap water copper level at the 90th percentile is less than or equal to 0.65 mg/L for copper, and that the owner also has maintained the range of values for water quality parameters reflecting optimal corrosion control treatment specified by the commissioner under 12 VAC 5-590-420 C 1 f.

(d) The owner of a waterworks that conducts sampling annually shall collect these samples evenly throughout the year so as to reflect seasonal variability.

(e) The owner of any waterworks subject to the reduced monitoring frequency that fails to operate at or above the minimum value or within the range of values for the water quality parameters specified by the commissioner under 12 VAC 5-590-420 C 1 f for more than nine days in any six-month period specified in 12 VAC 5-590-420 C 1 g shall resume distribution system tap water sampling in accordance with the number and frequency requirements in subdivision B 6 b (4) of this section.  Such a waterworks owner may resume annual monitoring for water quality parameters at the tap at the reduced number of sites specified in subdivision B 6 b (5) of this section after completion of two subsequent consecutive six-month rounds of monitoring that meet the criteria of that subdivision and/or may resume triennial monitoring for water quality parameters at the tap at the reduced number of sites after demonstration through subsequent rounds of monitoring that the criteria of either subdivision B 6 b (5) (b) or (c) of this section has been met.

(6) Additional monitoring by waterworks owners.  The results of any monitoring conducted in addition to the minimum requirements of this section shall be considered by the waterworks owner and the commissioner in making any determinations under this section or 12 VAC 5-590-420 C 1.

c. Monitoring requirements for lead and copper in water supplies (source water).

(1) Sample location, collection methods, and number of samples.

(a) The owner of a waterworks that fails to meet the lead or copper action level on the basis of tap samples collected in accordance with subdivision B 6 a of this section shall collect lead and copper water supply samples in accordance with the following requirements regarding sample location, number of samples, and collection methods:

(i) The owner of a waterworks served by groundwater sources shall take a minimum of one sample at every entry point to the distribution system which is representative of each well after treatment (hereafter called a sampling point). The waterworks owner shall take one sample at the same sampling point unless conditions make another sampling point more representative of each source or treatment plant.

(ii) The owner of a waterworks served by surface water sources shall take a minimum of one sample at every entry point to the distribution system after any application of treatment or in the distribution system at a point which is representative of each source after treatment (hereafter called a sampling point). The waterworks owner shall take each sample at the same sampling point unless conditions make another sampling point more representative of each source or treatment plant.  Note that for the purpose of this paragraph, a waterworks served by a surface water source includes waterworks served by a combination of surface and ground sources.

(iii) If a waterworks draws water from more than one source and the sources are combined before distribution, the waterworks owner must collect samples at an entry point to the distribution system during periods of normal operating conditions (i.e., when water is representative of all sources being used).

(iv) The commissioner may reduce the total number of samples that must be analyzed by allowing the use of compositing.  Compositing of samples must be done by certified laboratory personnel.  Composite samples from a maximum of five samples are allowed, provided that if the lead concentration in the composite sample is greater than or equal to 0.001 mg/L or the copper concentration is greater than or equal to 0.160 mg/L, then either a follow-up sample shall be collected and analyzed within 14 days at each sampling point included in the composite or if duplicates of or sufficient quantities from the original samples from each sampling point used in the composite are available, the waterworks owner may use these instead of resampling.

(b) Where the results of sampling indicate an exceedance of maximum permissible water supply levels established under 12 VAC 5-590-420 D 4, the commissioner may require that one additional sample be collected as soon as possible after the initial sample was taken (but not to exceed two weeks) at the same sampling point.  If a commissioner required confirmation sample is taken for lead or copper, then the results of the initial and confirmation sample shall be averaged in determining compliance with the commissioner-specified maximum permissible levels.  Any sample value below the detection limit shall be considered to be zero.  Any value above the detection limit but below the PQL shall either be considered as the measured value or be considered one-half the PQL. The PQL for Lead is equal to 0.005 mg/l and the PQL for Copper is equal to 0.050 mg/l.

(2) Monitoring frequency after waterworks exceeds tap action level.  The owner of any waterworks which exceeds the lead or copper action level at the tap shall collect one water supply sample from each entry point to the distribution system within six months after the exceedance.

(3) Monitoring frequency after installation of water supply treatment.  The owner of any waterworks which installs water supply treatment pursuant to 12 VAC 5-590-420 D 1 c shall collect an additional water supply sample from each entry point to the distribution system during two consecutive six-month monitoring periods by the deadline specified in 12 VAC 5-590-420 D 1 d.

(4) Monitoring frequency after the commissioner specifies maximum permissible water supply lead and copper levels or determines that water supply treatment is not needed.

(a) A waterworks owner shall monitor at the frequency specified below in cases where the commissioner specifies maximum permissible water supply lead and copper levels under 12 VAC 5-590-420 D 4 or determines that the owner is not required to install water supply treatment under 12 VAC 5-590-420 D 2 (b).

(i) The owner of a waterworks using only groundwater shall collect samples once during the three-year compliance period in effect when the applicable commissioner determination under subdivision B 6 c (4) (a) of this section is made.  Owners of such waterworks shall collect samples once during each subsequent compliance period.

(ii) The owner of a waterworks using surface water (or a combination of surface and groundwater) shall collect samples once during each year, the first annual monitoring period to begin on the date on which the applicable commissioner determination is made under subdivision B 6 c (4) (a) of this section.

(b) A waterworks owner is not required to conduct water supply sampling for lead and/or copper if the waterworks meets the action level for the specific contaminant in tap water samples during the entire water supply sampling period applicable to the waterworks under subdivision B 6 c (4) (a) (i) or (ii) of this section.

(5) Reduced monitoring frequency.

(a) The owner of a waterworks using only groundwater may reduce the monitoring frequency for lead and copper in water supplies to once during each nine-year compliance cycle if the waterworks owner meets one of the following criteria:

(i) The waterworks owner demonstrates that finished drinking water entering the distribution system has been maintained below the maximum permissible lead and copper concentrations specified by the commissioner under 12 VAC 5-590-420 D 4 during at least three consecutive compliance periods under subdivision B 6 c (4) (a) of this section;  or

(ii) The commissioner has determined that water supply treatment is not needed and the waterworks owner demonstrates that, during the last three consecutive compliance periods in which sampling was conducted under subdivision B 6 c (4) (a) of this section, the concentration of lead in the water supply was less than or equal to 0.005 mg/L and the concentration of copper in the water supply was less than or equal to 0.65 mg/L.

(b) The owner of a waterworks using surface water (or a combination of surface and ground waters) may reduce the monitoring frequency for lead and copper in water supplies to once during each nine-year compliance cycle if the waterworks owner meets one of the following criteria:

(i) The waterworks owner demonstrates that finished drinking water entering the distribution system has been maintained below the maximum permissible lead and copper concentrations specified by the commissioner under 12 VAC 5-590-420 D 4 for at least three consecutive years;  or

(ii) The commissioner has determined that water supply treatment is not needed and the waterworks owner demonstrates that, during the last three consecutive years, the concentration of lead in the water supply was less than or equal to 0.005 mg/L and the concentration of copper in the water supply was less than or equal to 0.65 mg/L.

(c) A waterworks that uses a new water supply is not eligible for reduced monitoring for lead and/or copper until concentrations in samples collected from the new supply during three consecutive monitoring periods are below the maximum permissible lead and copper concentrations specified by the commissioner in 12 VAC 5-590-420 D 1 e.

7. Monitoring filtration and disinfection.

a. The owner of a waterworks that uses a surface water source or a groundwater source under the direct influence of surface water and provides filtration treatment must monitor in accordance with this section beginning June 29, 1993, or when filtration is installed, whichever is later.

b. Turbidity measurements as required by 12 VAC 5-590-410 F shall be performed on representative samples of the filtered water every four hours (or more frequently) that the waterworks serves water to the public.  A waterworks owner may substitute continuous turbidity monitoring for grab sample monitoring if it validates the continuous measurement for accuracy on a regular basis using a protocol approved by the Office.  For any waterworks using slow sand filtration or filtration treatment other than conventional treatment, direct filtration, or diatomaceous earth filtration, the office may reduce the sampling frequency to once per day if it determines that less frequent monitoring is sufficient to indicate effective filtration performance.  For waterworks serving 500 or fewer persons, the office may reduce the turbidity sampling frequency to once per day, regardless of the type of filtration treatment used, if the office determines that less frequent monitoring is sufficient to indicate effective filtration performance.

(1) In addition to the above, as of January 1, 2001, waterworks serving at least 10,000 people and as of January 1, 2005, waterworks serving less than 10,000 people supplied by surface water or groundwater under the direct influence of surface water using conventional filtration treatment or direct filtration must conduct continuous monitoring of turbidity for each individual filter, using an approved method in 12 VAC 5-590-440.  The turbidimeter must be calibrated using the procedure specified by the manufacturer.  Waterworks must record the results of individual filter turbidity monitoring every 15 minutes.

(2) If there is a failure in the continuous turbidity monitoring equipment, the waterworks must conduct grab sampling every four hours in lieu of continuous monitoring but for no more than five working days (for waterworks serving at least 10,000 people) or 14 days (for waterworks serving less than 10,000 people) following the failure of the equipment.

(3) If a waterworks serving less than 10,000 people consists of two or fewer filters, continuous monitoring of the combined filter effluent may be used in lieu of individual filter monitoring.

c. The residual disinfectant concentration of the water entering the distribution system shall be monitored continuously, and the lowest value shall be recorded each day, except that if there is a failure in the continuous monitoring equipment, grab sampling every four hours may be conducted in lieu of continuous monitoring, but for no more than five working days following the failure of the equipment, and owners of waterworks serving 3,300 or fewer persons may take grab samples in lieu of continuous monitoring on an ongoing basis at the frequencies each day prescribed below:

| Waterworks Size By Population | Samples/Day1 |
| --- | --- |
| 500 or less | 1 |
| 501 to 1,000 | 2 |
| 1,000 to 2,500 | 3 |
| 2,501 to 3,300 | 4 |

1The day's samples cannot be taken at the same time. The sampling intervals are subject to commissioner's review and approval.

If at any time the residual disinfectant concentration falls below 0.2 mg/L in a waterworks using grab sampling in lieu of continuous monitoring, the waterworks owner shall take a grab sample every four hours until the residual disinfectant concentration is equal to or greater than 0.2 mg/L.

(1) The residual disinfectant concentration must be measured at least at the same points in the distribution system and at the same time as total coliforms are sampled, as specified in subsection A of this section, except that the division may allow a waterworks owner which uses both a surface water source or a groundwater source under direct influence of surface water, and a groundwater source to take disinfectant residual samples at points other than the total coliform sampling points if the division determines that such points are more representative of treated (disinfected) water quality within the distribution system.  Heterotrophic bacteria, measured as heterotrophic plate count (HPC) as specified in 12 VAC 5-590-420 B may be measured in lieu of residual disinfectant concentration.

(2) If the office determines, based on site-specific considerations, that a waterworks has no means for having a sample transported and analyzed for HPC by a certified laboratory under the requisite time and temperature conditions and that the waterworks is providing adequate disinfection in the distribution system, the requirements of subdivision B 7 (1) of this section do not apply to that waterworks.

d. The following information on the samples taken in the distribution system in conjunction with total coliform monitoring pursuant to 12 VAC 5-590-420 B shall be reported monthly to the division by the waterworks owner:

(1) Number of instances where the residual disinfectant concentration is measured;

(2) Number of instances where the residual disinfectant concentration is not measured but HPC is measured;

(3) Number of instances where the residual disinfectant concentration is measured but not detected and no HPC is measured;

(4) Number of instances where no residual disinfectant concentration is detected and where the HPC is greater than 500/mL;

(5) Number of instances where the residual disinfectant concentration is not measured and HPC is greater than 500/mL.

(6) For the current and previous month the waterworks serves water to the public, the value of "V" in percent in the following formula:

V = (c + d + e) / (a + b) X 100

where

a = the value in subdivision B 7 d (1) of this section,

b = the value in subdivision B 7 d (2) of this section,

c = the value in subdivision B 7 d (3) of this section,

d = the value in subdivision B 7 d (4) of this section,

e = the value in subdivision B 7 d (5) of this section,

(7) If the division determines, based on site-specific considerations, that a waterworks owner has no means for having a sample transported and analyzed for HPC by a certified laboratory within the requisite time and temperature conditions and that the waterworks is providing adequate disinfection in the distribution system, the requirements of subdivision B 7 c (1) of this section do not apply.

e. A waterworks owner need not report the data listed in 12 VAC 5-590-530 C 2 a if all data listed in 12 VAC 5-590-530 C 2 a through c remain on file at the waterworks and the division determines that the waterworks owner has submitted all the information required by 12 VAC 5-590-530 C 2 a through c for at least 12 months.

8. Operational. Waterworks owners may be required by the division to collect additional samples to provide quality control for any treatment processes that are employed.

C. Physical. All samples for turbidity analysis shall be taken at a representative entry point or points to the water distribution system unless otherwise specified.  Turbidity samples shall be analyzed, at least once per day at all waterworks that use surface water sources or groundwater sources under the direct influence of surface water.

D. Radiological. The location of sampling points, the radionuclides measured in community waterworks, the frequency, and the timing of sampling within each compliance period shall be established or approved by the commissioner.  The commissioner may increase required monitoring where necessary to detect variations within the waterworks.  Failure to comply with the sampling schedules in this section will require public notification pursuant to 12 VAC 5-590-540.

Community waterworks owners shall conduct monitoring to determine compliance with the PMCLs in Table 2.5 and 12 VAC 5-590-400 in accordance with this section.

1. Monitoring and compliance requirements for gross alpha particle activity, radium-226, radium-228, and uranium.

a. Community waterworks owners must conduct initial monitoring to determine compliance with 12 VAC 5-590-400 B 2, 12 VAC 5-590-400 B 3 and 12 VAC 5-590-400 B 4 by December 31, 2007.  For the purposes of monitoring for gross alpha particle activity, radium-226, radium-228, uranium, and beta particle and photon radioactivity in drinking water, "detection limit" is defined as in Appendix B of this chapter.

(1) Applicability and sampling location for existing community waterworks or sources.  The owners of all existing community waterworks using ground water, surface water or waterworks using both ground and surface water must sample at every entry point to the distribution system that is representative of all sources being used under normal operating conditions.  The community waterworks owner must take each sample at the same entry point unless conditions make another sampling point more representative of each source.

(2) Applicability and sampling location for new community waterworks or sources.  All new community waterworks or community waterworks that use a new source of water must begin to conduct initial monitoring for the new source within the first quarter after initiating use of the source.  Community waterworks owners must conduct more frequent monitoring when directed by the commissioner in the event of possible contamination or when changes in the distribution system or treatment processes occur which may increase the concentration of radioactivity in finished water.

b. Initial monitoring:  Community waterworks owners must conduct initial monitoring for gross alpha particle activity, radium-226, radium-228, and uranium as follows:

(1) Community waterworks without acceptable historical data, as defined below, must collect four consecutive quarterly samples at all entry points before December 31, 2007.

(2) Grandfathering of data:  The commissioner may allow historical monitoring data collected at an entry point to satisfy the initial monitoring requirements for that entry point, for the following situations:

(a) To satisfy initial monitoring requirements, a community waterworks owner having only one entry point to the distribution system may use the monitoring data from the last compliance monitoring period that began between June 2000 and December 8, 2003.

(b) To satisfy initial monitoring requirements, a community waterworks owner with multiple entry points and having appropriate historical monitoring data for each entry point to the distribution system may use the monitoring data from the last compliance monitoring period that began between June 2000 and December 8, 2003.

(3) For gross alpha particle activity, uranium, radium-226, and radium-228 monitoring, the commissioner may waive the final two quarters of initial monitoring for an entry point if the results of the samples from the previous two quarters are below the detection limit specified in Appendix B.

(4) If the average of the initial monitoring results for an entry point is above the PMCL, the community waterworks owner must collect and analyze quarterly samples at that entry point until the waterworks owner has results from four consecutive quarters that are at or below the PMCL, unless the community waterworks owner enters into another schedule as part of a formal compliance agreement with the commissioner.

c. Reduced monitoring:  The commissioner may allow community waterworks owners to reduce the future frequency of monitoring from once every three years to once every six or nine years at each entry point, based on the following criteria:

(1) If the average of the initial monitoring results for each contaminant (i.e., gross alpha particle activity, uranium, radium-226, or radium-228) is below the detection limit specified in Appendix B, the waterworks owner must collect and analyze for that contaminant using at least one sample at that entry point every nine years.

(2) For gross alpha particle activity and uranium, if the average of the initial monitoring results for each contaminant is at or above the detection limit specified in Appendix B but at or below 1/2 of the PMCL, the community waterworks owner must collect and analyze for that contaminant using at least one sample at that entry point every six years.  For combined radium-226 and radium-228, the analytical results must be combined.  If the average of the combined initial monitoring results for radium-226 and radium-228 is at or above the detection limit specified in Appendix B but at or below 1/2 the PMCL, the community waterworks owner must collect and analyze for that contaminant using at least one sample at that entry point every six years.

(3) For gross alpha particle activity and uranium, if the average of the initial monitoring results for each contaminant is above 1/2 the PMCL but at or below the PMCL, the community waterworks owner must collect and analyze at least one sample at that entry point every three years.  For combined radium-226 and radium-228, the analytical results must be combined.  If the average of the combined initial monitoring results for radium-226 and radium-228 is above 1/2 the PMCL but at or below the MPCL, the community waterworks owner must collect and analyze at least one sample at that entry point every three years.

(4) Community waterworks owners must use the samples collected during the reduced monitoring period to determine the monitoring frequency for subsequent monitoring periods (e.g., if a community waterworks' entry point is on a nine-year monitoring period, and the sample result is above 1/2 the PMCL, then the next monitoring period for that entry point is three years).

(5) If a community waterworks owner has a monitoring result that exceeds the PMCL while on reduced monitoring, the community waterworks owner must collect and analyze quarterly samples at that entry point until the community waterworks owner has results from four consecutive quarters that are below the PMCL, unless the community waterworks enters into another schedule as part of a formal compliance agreement with the commissioner.

d. Composting Compositing.  To fulfill quarterly monitoring requirements for gross alpha particle activity, radium-226, radium-228, or uranium, a community waterworks owner may composite up to four consecutive quarterly samples from a single entry point if analysis is done within a year of the first sample.  The commissioner will treat analytical results from the composited sample as the average analytical result to determine compliance with the PMCLs and the future monitoring frequency.  If the analytical result from the composited sample is greater than 1/2 the PMCL, the commissioner may direct the community waterworks owner to take additional quarterly samples before allowing the community waterworks owner to sample under a reduced monitoring schedule.

e. A gross alpha particle activity measurement may be substituted for the required radium-226 measurement provided that the measured gross alpha particle activity does not exceed 5 pCi/L. A gross alpha particle activity measurement may be substituted for the required uranium measurement provided that the measured gross alpha particle activity does not exceed 15 pCi/L.

The gross alpha measurement shall have a confidence interval of 95% (1.65, where is the standard deviation of the net counting rate of the sample) for radium-226 and uranium.  When a community waterworks owner uses a gross alpha particle activity measurement in lieu of a radium-226 and/or uranium measurement, the gross alpha particle activity analytical result will be used to determine the future monitoring frequency for radium-226 and/or uranium.  If the gross alpha particle activity result is less than the detection limit as specified in Appendix B, 1/2 the detection limit will be used to determine compliance and the future monitoring frequency.

2. Monitoring and compliance requirements for beta particle and photon radioactivity.  To determine compliance with the maximum contaminant levels in 12 VAC 5-590-400 B 5 for beta particle and photon radioactivity, a community waterworks owner must monitor at a frequency as follows:

a. Community waterworks owners (using surface or groundwater) designated by the commissioner as vulnerable must sample for beta particle and photon radioactivity.  Community waterworks owners must collect quarterly samples for beta emitters and annual samples for tritium and strontium-90 at each entry point to the distribution system, beginning within one quarter after being notified by the commissioner.  Community waterworks already designated by the commissioner must continue to sample until the commissioner reviews and either reaffirms or removes the designation.

(1) If the gross beta particle activity minus the naturally occurring potassium-40 beta particle activity at an entry point has a running annual average (computed quarterly) less than or equal to 50 pCi/L (screening level), the commissioner may reduce the frequency of monitoring at that entry point to once every three years.  Community waterworks owners must collect all samples required in subdivision 2 a of this subsection during the reduced monitoring period.

(2) For community waterworks in the vicinity of a nuclear facility, the commissioner may allow the community waterworks owners to utilize environmental surveillance data collected by the nuclear facility in lieu of monitoring at the community waterworks' entry point(s), where the commissioner determines if such data is applicable to a particular community waterworks.  In the event that there is a release from a nuclear facility, community waterworks owners which are using surveillance data must begin monitoring at the community waterworks' entry point(s) in accordance with subdivision 2 a of this subsection.

b. Community waterworks owners (using surface or groundwater) designated by the commissioner as utilizing waters contaminated by effluents from nuclear facilities must sample for beta particle and photon radioactivity.  Community waterworks owners must collect quarterly samples for beta emitters and iodine-131 and annual samples for tritium and strontium-90 at each entry point to the distribution system, beginning within one quarter after being notified by the commissioner.  Owners of community waterworks already designated by the commissioner as using waters contaminated by effluents from nuclear facilities must continue to sample until the commissioner reviews and either reaffirms or removes the designation.

(1) Quarterly monitoring for gross beta particle activity shall be based on the analysis of monthly samples or the analysis of a composite of three monthly samples.  The former is recommended.

(2) For iodine-131, a composite of five consecutive daily samples shall be analyzed once each quarter.  As directed by the commission, more frequent monitoring shall be conducted when iodine-131 is identified in the finished water.

(3) Annual monitoring for strontium-90 and tritium shall be conducted by means of the analysis of a composite of four consecutive quarterly samples or analysis of four quarterly samples.  The latter procedure is recommended.

(4) If the gross beta particle activity minus the naturally occurring potassium-40 beta particle activity at a sampling point has a running annual average (computed quarterly) less than or equal to 15 pCi/L (screening level), the commissioner may reduce the frequency of monitoring at that sampling point to every three years.  Community waterworks owners must collect all samples required in subdivision 2 b of this subsection during the reduced monitoring period.

(5) For community waterworks in the vicinity of a nuclear facility, the commissioner may allow the community waterworks owner to utilize environmental surveillance data collected by the nuclear facility in lieu of the monitoring at the community waterworks' entry point(s), where the commissioner determines such data is applicable to a particular waterworks.  In the event that there is a release from a nuclear facility, community waterworks owners which are using surveillance data must begin monitoring at the community waterworks' entry point(s) in accordance with subdivision 2 b of this subsection.

c. Owners of community waterworks designated by the commissioner to monitor for beta particle and photon radioactivity can not apply to the commissioner for a waiver from the monitoring frequencies specified in subdivision 2 a or b of this subsection.

d. Community waterworks owners may analyze for naturally occurring potassium-40 beta particle activity from the same or equivalent sample used for the gross beta particle activity analysis.  Community waterworks owners are allowed to subtract the potassium-40 beta particle activity value from the total gross beta particle activity value to determine if the screening level is exceeded.  The potassium-40 beta particle activity must be calculated by multiplying elemental potassium concentrations (in mg/l) by a factor of 0.82.

e. If the gross beta particle activity minus the naturally occurring potassium-40 beta particle activity exceeds the appropriate screening level, an analysis of the sample must be performed to identify the major radioactive constituents present in the sample and the appropriate doses must be calculated and summed to determine compliance with 12 VAC 5-590-400 B 5 a, using the formula in 12 VAC 590-400 B 5 b. Doses must also be calculated and combined for measured levels of tritium and strontium to determine compliance.

f. Community waterworks owners must monitor monthly at the entry point(s) which exceed the maximum contaminant level in 12 VAC 5-590-400 B 5 beginning the month after the exceedance occurs.  Community waterworks owners must continue monthly monitoring until the community waterworks has established, by a rolling average of three monthly samples, that the PMCL is being met.  Community waterworks owners who establish at that the PMCL is being met must return to quarterly monitoring until they meet the requirements set forth in subdivision 2 a (2) (1) or 2 b (1) (4) of this subsection.

3. General monitoring and compliance requirements for radionuclides.

a. The commissioner may require more frequent monitoring than specified in subdivisions 1 and 2 of this subsection, or may require confirmation samples at his discretion.  The results of the initial and confirmation samples will be averaged for use in compliance determinations.

b. Each community waterworks owner shall monitor at the time designated by the commissioner during each compliance period.

c. Compliance:  Compliance with 12 VAC 5-590-400 B 2 through 12 VAC 5-590-400 B 5 will be determined based on the analytical results(s) obtained at each entry point.  If one entry point is in violation of a PMCL, the community waterworks is in violation of the PMCL.

(1) For community waterworks monitoring more than once per year, compliance with the PMCL is determined by a running annual average at each entry point.  If the average of any entry point is greater than the PMCL, then the community waterworks is out of compliance with the PMCL.

(2) For community waterworks monitoring more than once per year, if any sample result will cause the running average to exceed the PMCL at any entry point, the community waterworks is out of compliance with the PMCL immediately.

(3) Community waterworks owners must include all samples taken and analyzed under the provisions of this section in determining compliance, even if that number is greater than the minimum required.

(4) If a community waterworks owner does not collect all required samples when compliance is based on a running annual average of quarterly samples, compliance will be based on the running average of the samples collected.

(5) If a sample result is less than the detection limit as specified in Appendix B, zero will be used to calculate the annual average, unless a gross alpha particle activity is being used in lieu of radium-226 and/or uranium.  If the gross alpha particle activity result is less than the detection limit as specified in Appendix B, 1/2 the detection limit will be used to calculate the annual average.

d. The commissioner has the discretion to delete results of obvious sampling or analytic errors.

e. If the PMCL for radioactivity set forth in 12 VAC 5-590-400 B through 12 VAC 5-590-400 B 5 is exceeded, the owner of a community waterworks must give notice to the commissioner pursuant to 12 VAC 5-590-530 and to the public as required by 12 VAC 5-590-540.

12 VAC 5-590-400. Radiological quality.

The effects of human radiation exposure are viewed as harmful, and any unnecessary exposure to ionizing radiation should be avoided.

A. Maximum contaminant level goals for radionuclides are listed in subsection A of Table 2.5 of 12 VAC 5-590-440.

B. Maximum contaminant levels for radionuclides are applicable to community waterworks only and are listed in this section and subsection B of Table 2.5.

1. (Reserved.)

2. PMCL for combined radium-226 and radium-228. The primary maximum contaminant level for combined radium-226 and radium-228 is 5 pCi/L. The combined radium-226 and radium-228 value is determined by the addition of the results of the analysis for radium-226 and the analysis for radium-228.

3. PMCL for gross alpha particle activity (excluding radon and uranium). The primary maximum contaminant level for gross alpha particle activity (including radium-226 but excluding radon and uranium) is 15 pCi/L.

4. PMCL for uranium.  The primary maximum contaminant level for uranium is 30 µg/l.

5. PMCL for beta particle and photon radioactivity.

a. The average annual concentration of beta particle and photon radioactivity from man-made radionuclides in drinking water must not produce an annual dose equivalent to the total body or any internal organ greater than 4 millirem/year (mrem/year).

b. Except for the radionuclides listed in schedule 1 of Table 2.5, the concentration of man-made radionuclides causing 4 mrem total body or organ dose equivalents must be calculated on the basis of 2 liter per day drinking water intake using the 168 hour data list in "Maximum Permissible Body Burdens and Maximum Permissible Concentrations of Radionuclides in Air and in Water for Occupational Exposure," NBX (National Bureau of Standards) Handbook 69 as amended August 1963, U.S. Department of Commerce.  A copy of this document may be reviewed at the Virginia Department of Health Division Office of Drinking Water office in Richmond, Virginia.  If two or more radionuclides are present, the sum of their annual dose equivalent to the total body or to any organ shall not exceed 4 mrem/year.

6. Compliance dates. Compliance dates for combined radium-226 and radium-228, gross alpha particle activity, gross beat beta particle and photon radioactivity, and uranium:  community waterworks owners must comply with the PMCLs listed in subdivisions 2, 3, 4, and 5 of this subsection beginning December 8, 2003, and compliance shall be determined in accordance with the requirements of 12 VAC 5-590-370 D.  Compliance with reporting requirements for the radionuclides under 12 VAC 5-590-545 and 12 VAC 5-590-540 is required on December 8, 2003.

12 VAC 5-590-410. Determination of compliance.

For the purposes of determining compliance with a PMCL or action level, the following criteria shall be used:

A. Bacteriological results.  Compliance with the PMCL for coliform bacteria shall be determined as specified in 12 VAC 5-590-380 C. Repeat samples shall be used as a basis for determining compliance with these regulations.

B. Inorganic chemicals.

1. Antimony, asbestos, barium, beryllium, cadmium, cyanide (as free cyanide), chromium, fluoride, mercury, nickel, selenium, and thallium.  Where the results of sampling for antimony, asbestos, barium, beryllium, cadmium, cyanide (as free cyanide), chromium, fluoride, mercury, nickel, selenium, or thallium exceed the PMCL, the waterworks shall take a confirmation sample, at the same sampling point, within two weeks of notification of the analytical results of the first sample.

a. The results of the initial and confirmation samples shall be averaged to determine compliance with subdivision 1 c of this subsection.  The commissioner has the discretion to delete results of obvious sampling errors.

b. The commissioner may require more frequent monitoring.

c. Compliance with antimony, asbestos, barium, beryllium, cadmium, cyanide (as free cyanide), chromium, fluoride, mercury, nickel, selenium, and thallium in Table 2.2 of 12 VAC 5-590-440 shall be determined based on the analytical result(s) obtained at each sampling point.

(1) For waterworks which are conducting monitoring more frequently than annually, compliance with the PMCL for antimony, asbestos, barium, beryllium, cadmium, cyanide (as free cyanide), chromium, fluoride, mercury, nickel, selenium, and thallium is determined by a running annual average at each sampling point.  If the average at any sampling point is greater than the PMCL, then the waterworks is out of compliance.  If any one sample would cause the annual average to be exceeded, then the waterworks is out of compliance immediately.  Any sample below the detection limit shall be calculated at zero for the purpose of determining the annual average.  (NOTE:  Refer to detection definition at 12 VAC 5-590-370 B 2 h.)

(2) For waterworks which are monitoring annually, or less frequently, the waterworks is out of compliance with the PMCL for antimony, asbestos, barium, beryllium, cadmium, cyanide (as free cyanide), chromium, fluoride, mercury, nickel, selenium, and thallium if the average of the original sample and a confirmation sample of a contaminant at any sampling point is greater than the PMCL. However, if the confirmation sample is not collected, the waterworks is in violation of the PMCL for antimony, asbestos, barium, beryllium, cadmium, cyanide (as free cyanide), chromium, fluoride, mercury, nickel, selenium, or thallium.

2. Nitrate and nitrite.  Compliance with the PMCL is determined based on one sample from each sampling point if the levels of these contaminants are below the PMCLs.  Where nitrate or nitrite sample results exceed the PMCL, the waterworks owner shall take a confirmation sample from the same sampling point that exceeded the PMCL within 24 hours of the waterworks' receipt of the analytical results of the first sample.  The results of the initial and confirmation sample shall be averaged to determine compliance with this subdivision.  Waterworks owners unable to comply with the 24-hour sampling requirement must immediately notify the consumers in the area served by the waterworks in accordance with 12 VAC 5-590-540.  Waterworks exercising this option must take and analyze a confirmation sample within two weeks of notification of the analytical results of the first sample.  The commissioner may require more frequent monitoring.  The commissioner has the discretion to delete results of obvious sampling errors.

3. Compliance with the PMCL for arsenic is determined by the average of four analyses made pursuant to 12 VAC 5-590-370 B 1 d (6).  When the average is rounded off to the same number of significant figures as the PMCL and exceeds the PMCL the owner shall notify the commissioner and give notice to the public pursuant to 12 VAC 5-590-540.  Monitoring after public notification shall be at a frequency designated by the commissioner and shall continue until the PMCL has not been exceeded in two successive samples or until a monitoring schedule as a condition to a variance, exemption or enforcement action shall become effective.

C. Organic chemicals.

1. VOCs and SOCs.  A confirmation sample shall be required for positive results for contaminants listed in Table 2.3.  The commissioner has the discretion to delete results of obvious sampling errors from this calculation.

a. The results of the initial and confirmation sample shall be averaged to determine the waterworks' compliance in accordance with subdivision 1 b of this subsection.

b. Compliance with Table 2.3 shall be determined based on the analytical results obtained at each sampling point.

(1) For waterworks which are conducting monitoring more frequently than annually, compliance is determined by a running annual average of all samples taken at each sampling point.  If the annual average of any sampling point is greater than the PMCL, then the waterworks is out of compliance.  If the initial sample or a subsequent sample would cause the annual average to be exceeded, then the waterworks is out of compliance immediately.  Any samples below the detection limit shall be calculated as zero for purposes of determining the annual average.  (Note:  Refer to detection definition at 12 VAC 5-590-370 B 2 h.)

(2) If monitoring is conducted annually, or less frequently, the waterworks is out of compliance if the level of a contaminant at any sampling point is greater than the PMCL. The determination of compliance will be based on the average of the initial and confirmation sample.

2. Disinfectant residuals, disinfection byproducts and disinfection byproduct precursors.  Compliance with 12 VAC 5-590-370 B 3 a through B 3 k is as follows:

a. General requirements.

(1) Where compliance is based on a running annual average of monthly or quarterly samples or averages and the waterworks fails to monitor for TTHM, HAA5, or bromate, this failure to monitor will be treated as a monitoring violation for the entire period covered by the annual average.  Where compliance is based on a running annual average of monthly or quarterly samples or averages and the waterworks' failure to monitor makes it impossible to determine compliance with MRDLs for chlorine and chloramines, this failure to monitor will be treated as a monitoring violation for the entire period covered by the annual average.

(2) All samples taken and analyzed under the provisions of this subpart must be included in determining compliance, even if that number is greater than the minimum required.

(3) If during the first year of monitoring under 12 VAC 5-590-370 B 3 b, any individual quarter's average will cause the running annual average of that waterworks to exceed the PMCL in Table 2.12 and Table 2.13, the waterworks is out of compliance at the end of that quarter.

b. Disinfection byproducts.

(1) TTHMs and HAA5.

(a) For waterworks monitoring quarterly, compliance with PMCLs in Table 2.13 must be based on a running annual arithmetic average, computed quarterly, of quarterly arithmetic averages of all samples collected by the waterworks as prescribed by 12 VAC 5-590-370 B 3 e (1).

(b) For waterworks monitoring less frequently than quarterly, the waterworks demonstrate PMCL compliance if the average of samples taken that year under the provisions of 12 VAC 5-590-370 B 3 e (1) does not exceed the PMCLs in Table 2.13.  If the average of these samples exceeds the PMCL, the waterworks must increase monitoring to once per quarter per treatment plant and such a waterworks is not in violation of the PMCL until it has completed one year of quarterly monitoring, unless the result of fewer then four quarter of monitoring will cause the running annual average to exceed the PMCL, in which case the waterworks is in violation at the end of that quarter.  Waterworks required to increase monitoring frequency to quarterly monitoring must calculate compliance by including the sample that triggered the increase monitoring plus the following three quarter of monitoring.

(c) If the running annual arithmetic average of quarterly averages covering any consecutive four-quarter period exceeds the PMCL in Table 2.12 and Table 2.13, the waterworks is in violation of the PMCL and must notify the public pursuant to 12 VAC 5-590-540 in addition to reporting to the commissioner pursuant to 12 VAC 5-590-530.

(d) If a waterworks fails to complete four consecutive quarters of monitoring, compliance with the PMCL in Table 2.13 for the last four-quarter compliance period must be based on an average of the available data.

(2) Bromate.  Compliance must be based on a running annual arithmetic average, computed quarterly, of monthly samples (or, for months in which the waterworks takes more than one sample, the average of all samples taken during the month) collected by the waterworks as prescribed by 12 VAC 5-590-370 B 3 g. If the average of samples covering any consecutive four-quarter period exceeds the PMCL in Table 2.13, the waterworks is in violation of the PMCL and must notify the public pursuant to 12 VAC 5-590-540, in addition to reporting to the commissioner pursuant to 12 VAC 5-590-530.  If a waterworks fails to complete 12 consecutive months' monitoring, compliance with the PMCL for the last four-quarter compliance period must be based on an average of the available data.

(3) Chlorite.  Compliance must be based on an arithmetic average of each three sample set taken in the distribution system as prescribed by 12 VAC 5-590-370 B 3 f (1) (a), (b) and (c).  If the arithmetic average of any three sample set exceeds the PMCL in Table 2.13, the waterworks is in violation of the PMCL and must notify the public pursuant to 12 VAC 5-590-540, in addition to reporting to the commissioner pursuant to 12 VAC 5-590-530.

c. Disinfectant residuals.

(1) Chlorine and chloramines.

(a) Compliance must be based on a running annual arithmetic average, computed quarterly, of monthly averages of all samples collected by the waterworks under 12 VAC 5-590-370 B 3 h (1) (a).  If the average covering any consecutive four-quarter period exceeds the MRDL in Table 2.12, the waterworks is in violation of the MRDL and must notify the public pursuant to 12 VAC 5-590-540, in addition to reporting to the commissioner pursuant to 12 VAC 5-590-530.

(b) In cases where waterworks switch between the use of chlorine and chloramines for residual disinfection during the year, compliance must be determined by including together all monitoring results of both chlorine and chloramines in calculating compliance.  Reports submitted pursuant to 12 VAC 5-590-530 must clearly indicate which residual disinfectant was analyzed for each sample.

(2) Chlorine dioxide.

(a) Acute violations.  Compliance must be based on consecutive daily samples collected by the waterworks under 12 VAC 5-590-370 B 3 h (2) (a).  If any daily sample taken at the entrance to the distribution system exceeds the MRDL in Table 2.12, and on the following day one (or more) of the three samples taken in the distribution system exceed the MRDL, the waterworks is in violation of the MRDL and must take immediate corrective action to lower the level of chlorine dioxide below the MRDL and must notify the public pursuant to the procedures for Tier 1 conditions in 12 VAC 5-590-540 in addition to reporting to the commissioner in pursuant to 12 VAC 5-590-530.  Failure to take samples in the distribution system the day following an exceedance of the chlorine dioxide MRDL at the entrance to the distribution system will also be considered an MRDL violation and the waterworks must notify the public of the violation in accordance with the provisions for Tier 1 conditions in 12 VAC 5-590-540 in addition to reporting to the commissioner in pursuant to 12 VAC 5-590-530.

(b) Nonacute violations.  Compliance must be based on consecutive daily samples collected by the waterworks under 12 VAC 5-590-370 B 3 h (2) (a).  If any two consecutive daily samples taken at the entrance to the distribution system exceed the MRDL in Table 2.12 and all distribution system samples taken are below the MRDL, the waterworks is in violation of the MRDL and must take corrective action to lower the level of chlorine dioxide below the MRDL at the point of sampling and shall notify the public pursuant to the procedures for Tier 2 conditions in 12 VAC 5-590-540 in addition to reporting to the commissioner in pursuant to 12 VAC 5-590-530.  Failure to monitor at the entrance to the distribution system the day following an exceedance of the chlorine dioxide MRDL at the entrance to the distribution system is also an MRDL violation and the waterworks must notify the public of the violation in accordance with the provisions for Tier 2 conditions in 12 VAC 5-590-540 in addition to reporting to the commissioner in pursuant to 12 VAC 5-590-530.

d. Disinfection byproduct precursors (DBPP).  Compliance must be determined as specified by 12 VAC 5-590-420 H 3.  Waterworks may begin monitoring to determine whether Step 1 TOC removals can be met 12 months prior to the compliance date for the waterworks.  This monitoring is not required and failure to monitor during this period is not a violation.  However, any waterworks that does not monitor during this period, and then determines in the first 12 months after the compliance date that it is not able to meet the Step 1 requirements in 12 VAC 5-590-420 H 2 b and must therefore apply for alternate minimum TOC removal (Step 2) requirements, is not eligible for retroactive approval of alternate minimum TOC removal (Step 2) requirements as allowed pursuant to 12 VAC 5-590-420 H 2 c and is in violation.  Waterworks may apply for alternate minimum TOC removal (Step 2) requirements any time after the compliance date.  For waterworks required to meet Step 1 TOC removals, if the value calculated under 12 VAC 5-590-420 H 3 a (4) is less than 1.00, the waterworks is in violation of the treatment technique requirements and must notify the public pursuant to 12 VAC 5-590-540 in addition to reporting to the commissioner pursuant to 12 VAC 5-90-530.

D. Radiological results (gross alpha, combined radium-226 and radium-228, uranium and man-made radioactivity). Compliance with the radiological Primary Maximum Contaminant Levels shall be in accordance with 12 VAC 5-590-370 D 3 c. Primary Maximum Contaminant Levels are indicated in subsection B of Table 2.5.  Sampling for radiological analysis shall be in compliance with 12 VAC 5-590-370 D 1 and D 2.  Furthermore, compliance shall be determined by rounding off results to the same number of significant figures as the Primary Maximum Contaminant Level for the substance in question.

E. Lead and copper action levels.

1. The lead action level is exceeded if the concentration of lead in more than 10% of tap water samples collected during any monitoring period conducted in accordance with 12 VAC 5-590-370 B 6 a is greater than 0.015 mg/l (i.e., if the "90th percentile" lead level is greater than 0.015 mg/l).

2. The copper action level is exceeded if the concentration of copper in more than 10% of tap water samples collected during any monitoring period conducted in accordance with 12 VAC 5-590-370 B 6 a is greater than 1.3 mg/l (i.e., if the "90th percentile" copper level is greater than 1.3 mg/l).

3. The 90th percentile lead and copper levels shall be computed as follows:

a. The results of all lead or copper samples taken during a monitoring period shall be placed in ascending order from the sample with the lowest concentration to the sample with the highest concentration.  Each sampling result shall be assigned a number, ascending by single integers beginning with the number 1 for the sample with the lowest contaminant level.  The number assigned to the sample with the highest contaminant level shall be equal to the total number of samples taken.

b. The number of samples taken during the monitoring period shall be multiplied by 0.9.

c. The contaminant concentration in the numbered sample yielded by the calculation in subdivision 3 b of this subsection is the 90th percentile contaminant level.

d. For waterworks serving fewer than 100 people that collect five samples per monitoring period, the 90th percentile is computed by taking the average of the highest and second highest concentrations.

F. Turbidity. The requirements in this subsection apply to filtered waterworks until June 29, 1993.  The requirements in this section apply to unfiltered waterworks with surface water sources or groundwater sources under the direct influence of surface water that are required to install filtration equipment until June 29, 1993, or until filtration is installed, whichever is later.  When a sample exceeds the PMCL for turbidity a confirmation sample shall be collected for analysis as soon as possible.  In cases where a turbidimeter is required at the waterworks, the preferable resampling time is within one hour of the initial sampling.  The repeat sample shall be the sample used for the purpose of calculating the monthly average.  Compliance for public notification purposes shall be based on the monthly averages of the daily samples.  However, public notification is also required if the average of samples taken on two consecutive days exceeds five NTU.

G. All analyses for PMCL and action level compliance determinations shall be consistent with current Environmental Protection Agency Regulations found at 40 CFR Part 141.

12 VAC 5-590-440. Analytical methods.

Analytical methods to determine compliance with the requirements of this chapter shall be those specified in the applicable edition of "Standard Methods for the Examination of Water and Wastewater," published by the American Public Health Association, the American Water Works Association, and the Water Pollution Control Federation;  "Methods for Chemical Analysis of Water and Wastes," Environmental Protection Agency, Office of Technology Transfer, Washington, D.C. 20460, 1974;  and "Methods for the Determination of Organic Compounds in Finished Drinking Water and Raw Source Water" (Sept 1986), EPA, Environmental Monitoring and Support Laboratory, Cincinnati, OH 45268 or in the case of primary maximum contaminant levels and lead and copper action levels, those methods shall be followed by the Division of Consolidated Laboratory Services and consistent with current U.S. Environmental Protection Agency regulations found at 40 CFR Part 141.  All laboratories seeking certification to perform drinking water analyses must comply with 1 VAC 30-40 promulgated by the Department of General Services, Division of Consolidated Laboratory Services.

Table 2.2
Inorganic Chemicals.

| Substance | Primary Maximum Contaminant Level (mg/L) |
| --- | --- |
| Antimony | 0.006 |
| Arsenic (As) | 0.05 |
| Asbestos | 7 Million Fibers/Liter (longer than 10 um) |
| Barium (Ba) | 2 |
| Beryllium | 0.004 |
| Cadium (Cd) | 0.005 |
| Chromium (Cr) | 0.1 |
| Cyanide (as free Cyanide) | 0.2 |
| Fluoride (F) | 4.0 # |
| Mercury (Hg) | 0.002 |
| Nickel | 0.1 |
| Nitrate (as N) | 10 ** |
| Nitrite (as N) | 1 |
| Total Nitrate and Nitrite (as N) | 10 |
| Selenium (Se) | 0.05 |
| Thallium | 0.002 |
| Substance | Secondary Maximum Contaminant Level (mg/L) |
| Chloride (Cl) | 250.0 |
| Corrosivity | Noncorrosive, See Appendix B |
| Fluoride | 2.0 |
| Foaming Agents | 0.5 * |
| Iron (Fe) | 0.3 |
| Manganese (Mn) | 0.05 |
| Sodium (Na) | No Limits Designated |
| Sulfate (SO4) | 250.0 |
| Zinc (Zn) | 5.0 |
| Substance | Action Level (mg/L) |
| Lead (Pb) | 0.015 |
| Copper (Cu) | 1.3 |

# Note. For artificially fluoridated waterworks the minimum concentration of fluoride should be 0.8 mg/L and the maximum should be 1.0 mg/L. The optimum control limit is 0.9 mg/L. (See Appendix B)

* Note. Concentration reported in terms of Methylene Blue Active Substances.

** Note. See Appendix B for Exception Regarding Noncommunity Waterworks.

Table 2.3
Organic Chemicals.

| Substance | Primary Maximum Contaminant Levels (mg/L) |
| --- | --- |
| VOC |  |
| 1. Vinyl Chloride | 0.002 |
| 2. Benzene | 0.005 |
| 3. Carbon Tetrachloride | 0.005 |
| 4. 1,2-Dichloroethane | 0.005 |
| 5. Trichloroethylene (TCE) | 0.005 |
| 6. 1,1-Dichloroethylene | 0.007 |
| 7. 1,1,1-Trichloroethane | 0.2 |
| 8. para-Dichlorobenzene | 0.075 |
| 9. cis-1,2-Dichloroethylene | 0.07 |
| 10. 1,2-Dichloropropane | 0.005 |
| 11. Ethylbenzene | 0.7 |
| 12. Monochlorobenzene | 0.1 |
| 13. o-Dichlorobenznen | 0.6 |
| 14. Styrene | 0.1 |
| 15. Tetrachloroethylene | 0.005 |
| 16. Toluene | 1 |
| 17. trans-1,2-Dichloroethylene | 0.1 |
| 18. Xylene (total) | 10 |
| 19. Dichloromethane | 0.005 |
| 20. 1,2,4-Trichlorobenzene | 0.07 |
| 21. 1,1,2-Trichloroethane | 0.05 |
| SOC |  |
| 1. Alachlor | 0.002 |
| 2. Atrazine | 0.003 |
| 3. Carbofuran | 0.04 |
| 4. Chlordane | 0.002 |
| 5. Heptachlor | 0.0004 |
| 6. Heptachlor epoxide | 0.0002 |
| 7. Polychlorinated biphenyls (PCBs) | 0.0005 |
| 8. Dibromochloropropane (DBCP) | 0.0002 |
| 9. Ethylene dibromide (EDB) | 0.00005 |
| 10. Lindane | 0.0002 |
| 11. Methoxychlor | 0.04 |
| 12. Toxaphene | 0.003 |
| 13. ,4-Dichlorophenoxyacetic Acid (2,4-D) | 0.07 |
| 14. 2,4,5-Trichlorophenoxypropionic Acid (2,4,5-TP or Silvex) | 0.05 |
| 15. Reserved |  |
| 16. Reserved |  |
| 17. Reserved |  |
| 18. Pentachlorophenol | 0.001 |
| 19. Benzo(a)pyrene | 0.0002 |
| 20. Dalapon | 0.2 |
| 21. Di(2-ethylhexy)adipate | 0.4 |
| 22. Di(2-ethylhexy)phthalate | 0.006 |
| 23. Dinoseb | 0.007 |
| 24. Diquat | 0.02 |
| 25. Endothall | 0.1 |
| 26. Endrin | 0.002 |
| 27. Glyphosate | 0.7 |
| 28. Hexachlorobenzene | 0.001 |
| 29. Hexachlorocyclopentadiene | 0.05 |
| 30. Oxamyl (Vydate) | 0.2 |
| 31. Picloram | 0.5 |
| 32. Simazine | 0.004 |
| 33. 2,3,7,8-TCDD (Dioxin) | 3 X 10-8 |

Table 2.4
Physical Quality.

| Parameter | Maximum Contaminant Level | Concentration |
| --- | --- | --- |
| Color | Secondary | 15 Color Units |
| Odor | Secondary | 3 Threshold odor numbers |
| pH | Secondary | 6.5-8.5 |
| Total Dissolved | Secondary | 500 mg/L Solids (TDS) |
| Turbidity | Primary | *1 Turbidity Unit |

* See Appendix B for operational requirements.

Table 2.5
Radiological Quality.

| A. Maximum Contaminant Level Goals for Radionuclides |
| --- |
| SUBSTANCE | MCLG |
| 1. Combined radium-226 and radium-228 | zero |
| 2. Gross alpha particle activity (excluding Radon and uranium) | zero |
| 3. Beta particle and photon radioactivity | zero |
| 4. Uranium | zero |
| B. Primary Maximum Contaminant Levels for Radionuclides |
| SUBSTANCE | Primary Maximum Contaminant Level |
| 1. Combined radium-226 and radium-228 | 5 pCi/L |
| 2. Gross Alpha Activity (excluding Radon and Uranium) | 15 pCi/L |
| 3. Uranium | 30 μg/L |

Primary Maximum Contaminant Levels for Beta Particle and Photon Radioactivity from Man-Made Radionuclides

1. The average annual concentration of Beta particle and Photon radioactivity from man-made radionuclides in drinking water shall not produce an annual dose equivalent to the total body or any internal organ greater than 4 millirem/year.

2. Except for the radionuclides listed in Schedule I, the concentration of man-made radionuclides causing 4 MREM total body or organ dose equivalents shall be calculated on the basis of a 2 liter per day drinking water intake using the 168-hour data listed in 'Maximum Permissible Body Burdens and Maximum Permissible Concentrations of Radionuclides in Air and Water for Occupational Exposure,' MBS Handbook 69 as amended August 1963, U.S. Department of Commerce. If two or more radionuclides are present, the sum of their annual dose equivalent to the total body or to any organ exceed 4 millirem/year.

| Schedule 1 Average annual concentrations assumed to produce a total body organ dose of 4 MREM mrem/year. |
| --- |
| Radionuclide | Critical Organ | pCi/liter |
| Tritium | Total Body | 20,000 |
| Strontium-90 | Bone Marrow | 8 |

* See Appendix B.

Table 2.6
Unregulated Contaminant Organics to be Monitored.

| Group A |
| --- |
| 1. Chloroform | 12. Chloromethane |
| 2. Bromodichloromethane | 13. Bromoethane |
| 3. Chlorodibromomethane | 14. 1,2,3-Trichloropropane |
| 4. Bromoform | 15. 1,1,1,2-Tetrachloroethane |
| 5. Chlorobenzene | 16. Chloroethane |
| 6. m-Dichlorobenzene | 17. 2,2-Dichloropropane |
| 7. Dibromomethane | 18. o-Chlorotoluene |
| 8. 1,1-Dichloropropene | 19. p-Chlorotoluene |
| 9. 1,1-Dichloroethane | 20. Bromobenzene |
| 10. 1,1,2,2-Tetrachloroethane | 21. 1,3-Dichloropropene |
| 11. 1,3-Dichloropropane |  |
| Group B |
| 1. Aldrin | 8. Metoachlor |
| 2. Butachlor | 9. Metribuzin |
| 3. Carbaryl | 10. Propachlor |
| 4. Dicamba | 11. Aldicarb |
| 5. Dieldrin | 12. Aldicarb sulfone |
| 6. Methomyl | 13. Aldicarb sulfoxide |
| 7. 3-Hyposycarbofuran |  |

Table 2.7
Organic Chemical Monitoring Implementation Schedule Inorganics to be Monitored.

Sulfate

Table 2.8
Organic Chemical Monitoring Implementation Schedule.

| Number of Persons Served | Monitoring to Begin During the Quarter that Begins |
| --- | --- |
| over 10,000 | January 1, 1988 |
| 3,300 to 10,000 | January 1, 1989 |
| less than 3,300 | January 1, 1991 |

Table 2.9
PMCL Effective Dates.

| Table 2.3, Organics Chemicals, VOC 1 through 8 (Phase I) | January 9, 1989 |
| --- | --- |
| Total Trihalomethanes and Fluoride | July 1, 1991 |
| Table 2.3, Organics Chemicals, VOC 9 through 18 and SOC 1 through 14 (Phase II VOCs and SOCs) | July 30, 1992 |
| Asbestos, Cadmium, Chromium, Mercury, Nitrate, Nitrite, Total Nitrate+Nitrite, Selenium (Phase II IOCs) | July 30,1992 |
| Table 2.3, Organics Chemicals, SOC 15 through 18 and Table 2.2, Inorganic Chemicals, Barium (Phase II SOCs and IOCs) | January 1, 1993 |
| Table 2.3, Organics Chemicals, VOC 19 through 21, SOC 19 through 33 and Table 2.2, Inorganic Chemicals; antimony, beryllium, cyanide (as free cyanide), nickel, and thallium | January 17, 1994 |
| Uranium | December 8, 2003 |

Table 2.10
Maximum Contaminant Level Goals for Microbiological Contaminants.

| Contaminant | MCLG |
| --- | --- |
| Giardia lamblia | zero |
| Viruses | zero |
| Legionella | zero |
| Total coliforms (including fecal coliforms and Escherichia coli) | zero |
| Cryptosporidium | zero |

Table 2.11
Maximum Contaminant Level Goals for Disinfection Byproducts.

| Disinfection byproduct | MCLG (mg/L) |
| --- | --- |
| Chloroform | zero |
| Bromodichloromethane | zero |
| Bromoform | zero |
| Bromate | zero |
| Dichloroacetic acid | zero |
| Trichloroacetic acid | 0.3 |
| Chlorite | 0.8 |
| Dibromochloromethane | 0.06 |

Table 2.12
Maximum Residual Disinfectant Level Goals (MRDLG) and Maximum Residual Disinfectant Levels (MRDL) for Disinfectants

| Disinfectant residual | MRDLG(mg/L) | MRDL (mg/L) |
| --- | --- | --- |
| Chlorine | 4 (as Cl2) | 4.0 (as Cl2) |
| Chloramines | 4 (as Cl2) | 4.0 (as Cl2) |
| Chlorine dioxide | 0.8 (as ClO2) | 0.8 (as ClO2) |

Notwithstanding the MRDLs in Table 2.12, waterworks may increase residual disinfectant levels in the distribution system of chlorine or chloramines (but not chlorine dioxide) to a level and for a time necessary to protect public health, to address specific microbiological contamination problems caused by circumstances such as, but not limited to, distribution line breaks, storm run-off events, source water contamination events, or cross-connection events.

Table 2.13
Primary Maximum Contaminant Levels (PMCL) for Disinfection Byproducts

| Disinfection byproduct | Current PMCL1 (mg/L) | Future PMCL2 (mg/L) |
| --- | --- | --- |
| Total trihalomethanes (TTHM) | 0.10 | 0.080 |
| Haloacetic acids (five) (HAA5) |  | 0.060 |
| Bromate |  | 0.010 |
| Chlorite |  | 1.0 |

1The primary maximum contaminant level (PMCL) of 0.10 mg/L for total trihalomethanes (the sum of the concentrations of bromodichloromethane, dibromochloromethane, tribromomethane (bromoform), and trichloromethane (chloroform)) applies to community waterworks using surface water or groundwater under the direct influence of surface water that serve a population of 10,000 people or more until December 31, 2001. This level applies to community waterworks that use only groundwater not under the direct influence of surface water and that serve a population of 10,000 people or more until December 31, 2003. Compliance with the primary maximum contaminant level for total trihalomethanes is calculated pursuant to 12 VAC 5-590-370 C 2 b (2) (a) (i). After December 31, 2003, this PMCL is no longer applicable.

2Community or nontransient noncommunity waterworks that use surface water or groundwater under the direct influence of surface water and serving 10,000 or more persons, must comply with this PMCL beginning January 1, 2002. Community or nontransient noncommunity waterworks that use surface water or groundwater under the direct influence of surface water serving fewer than 10,000 persons and waterworks using only groundwater not under the direct influence of surface water must comply with this PMCL beginning January 1, 2004.

12 VAC 5-590-540. Public notices.

A. All community and noncommunity waterworks owners shall give public notice to (i) persons served by the waterworks and (ii) the owner of any consecutive waterworks to which it sells or otherwise provides water under the following circumstances:

1. Tier 1.

a. Violation of the PMCL for total coliforms when fecal coliform or E. coli are present in the distribution system;

b. Failure to test for fecal coliforms or E. coli when any repeat sample tests positive for coliform;

c. Violation of the PMCL for nitrate, nitrate, nitrite, or total nitrate and nitrite;

d. Failure to take a confirmation sample within 24 hours of the waterworks receipt of the first sample showing an exceedance of the nitrate or nitrite PMCL;

e. Exceedance of the nitrate PMCL by noncommunity waterworks, where permitted to exceed the PMCL by the commissioner;

f. Violation of the MRDL for chlorine dioxide when one or more samples taken in the distribution system the day following an exceedance of the MRDL at the entry point of the distribution system exceed the MRDL;

g. Failure to monitor chlorine dioxide residuals in the distribution system the day following an exceedance of the chlorine dioxide MRDL at the entrance to the distribution system;

h. Violation of the treatment technique requirements for filtration and disinfection resulting from a single exceedance of the maximum allowable turbidity limit, where the commissioner determines after consultation that a Tier 1 notice is required;

i. Failure to consult with the commissioner within 24 hours after the owner learns of the violation of the treatment technique requirements for filtration and disinfection resulting from a single exceedance of the maximum allowable turbidity limit;

j. Occurrence of a waterborne disease outbreak or other waterborne emergency (such as a failure or significant interruption in key water treatment processes, a natural disaster that disrupts the water supply or distribution system, or a chemical spill or unexpected loading of possible pathogens into the source water that significantly increases the potential for drinking water contamination);

k. Other violations or situations with significant potential to have serious adverse effects on human health as a result of short-term exposure, as determined by the commissioner on a case-by-case basis.

2. Tier 2.

a. All violations of the PMCL, MRDL, and treatment technique requirements, except where a Tier 1 public notice is required or where the commissioner determines that a Tier 1 notice is required per subdivision 1 k of this subsection;

b. Violations of the monitoring and testing procedure requirements, where the commissioner determines that a Tier 2 rather than a Tier 3 public notice is required, taking into account potential health impacts and persistence of the violation;  and

c. Failure to comply with the terms and conditions of any variance or exemption in place.

3. Tier 3.

a. Monitoring violations, except where a Tier 1 public notice is required per subdivisions 1 d and 1 g of this subsection, or where the commissioner determines that a Tier 2 public notice is required per subdivision 2 b of this subsection;

b. Failure to comply with a testing procedure, except where a Tier 1 notice is required per subdivision 1 b of this subsection or where the commissioner determines that a Tier 2 notice is required per subdivision 2 b of this subsection;

c. Operation under a variance or an exemption;

d. Availability of unregulated contaminant monitoring results;  and

e. Exceedance of the fluoride secondary maximum contaminant level (SMCL).

B. If a waterworks has a violation, failure, exceedance, or situation in a portion of the distribution system that is physically or hydraulically isolated from other parts of the distribution system, the commissioner may allow the owner to limit distribution of the public notice to only those persons served by that portion of the waterworks which is out of compliance.  The decision granting limited distribution of the public notice shall be issued in writing.

C. Public notice distribution requirements.

1. For Tier 1 violations, exceedances, or situations, the owner shall:

a. Provide a public notice as soon as practical but no later than 24 hours after the waterworks learns of the violation, exceedance, or situation;

b. Initiate consultation with the commissioner as soon as practical, but no later than 24 hours after the waterworks learns of the violation or situation, to determine additional public notice requirements;

c. Comply with any additional public notice requirements, including any repeat notices or direction on the duration of the posted notices, that are established as a result of the consultation with the commissioner.  Such requirements may include the timing, form, manner, frequency, and content of repeat notices (if any) and other actions designed to reach all persons served;  and

d. Provide the public notice in a form and manner reasonably calculated to reach all persons served.  The form and manner shall fit the specific situation, and shall be designed to reach residential, transient, and non-transient users of the waterworks.  In order to reach all persons served, owners shall use, at a minimum, one or more of the following forms of delivery:

(1) Appropriate broadcast media (such as radio and television);

(2) Posting of the public notice in conspicuous locations throughout the area served by the waterworks;

(3) Hand delivery of the public notice to persons served by the water system;  or

(4) Another delivery method approved in writing by the commissioner.

2. For Tier 2 violations, exceedances, or situations the owner shall:

a. Provide the public notice as soon as practical, but no later than 30 days after the waterworks learns of the violation, exceedance, or situation.  The commissioner may allow, on a case-by-case determination, additional time for the initial notice of up to three months from the date the waterworks learns of the violation, exceedance, or situation;  however, the commissioner shall not grant an extension to the 30-day deadline for any unresolved violation.

b. Repeat the public notice every three months as long as the violation, exceedance, or situation persists, unless the commissioner determines that appropriate circumstances warrant a different repeat notice frequency.  In no circumstance shall the repeat notice be given less frequently than once per year.  Repeat notice frequency less than every three months shall not be allowed for (i) a PMCL violation total coliforms;  (ii) a treatment technique violation for filtration and disinfection;  and (iii) other ongoing violations, exceedances, or situations.

c. Consult with the commissioner as soon as practical but no later than 24 hours after the waterworks learns of a violation of the treatment technique requirements for filtration and disinfection resulting from a single exceedance of the maximum allowable turbidity limit to determine whether a Tier 1 public notice is required to protect public health.  If consultation does not take place within the 24-hour period, the waterworks shall distribute a Tier 1 public notice of the violation within the next 24 hours (i.e., no later than 48 hours after the waterworks learns of the violation).

d. Provide the initial public notice and any repeat notices in a form and manner that is reasonably calculated to reach persons served in the required time period.

(1) For community waterworks, the owner shall:

(a) Mail or otherwise directly deliver the public notice to each customer receiving a bill and to other service connections to which water is delivered by the waterworks; and

(b) Use any other distribution method reasonably calculated to reach other persons regularly served by the waterworks, if they would not normally be reached by the notice required in subdivision 2 d (1) (a) of this subsection.  Such persons may include those who do not pay water bills or do not have service connection addresses (e.g., house renters, apartment dwellers, university students, nursing home patients, prison inmates, etc.). Other methods may include:  Publication in a local newspaper;  delivery of multiple copies for distribution by customers that provide their drinking water to others (e.g., apartment building owners or large private employers);  posting in public places served by the system or on the Internet;  or delivery to community organizations.

(2) For noncommunity waterworks, the owner shall:

(a) Post the public notice in conspicuous locations throughout The distribution system frequented by persons served by the waterworks, or by mail or direct delivery to each customer and service connection (where known);  and

(b) Use any other method reasonably calculated to reach other persons served by the system if they would not normally be reached by the notice required in subdivision 2 d (2) (a) of this subsection.  Such persons may include those served who may not see a posted notice because the posted notice is not in a location they routinely pass by.

Other methods may include publication in a local newspaper or newsletter distributed to customers, use of e-mail to notify employees or students, or delivery of multiple copies in central locations (e.g., community centers).

e. Maintain a posted public notice in place for as long as the violation, exceedance, or situation persists, but in no case for less than seven days, even if the violation, exceedance, or situation is resolved.

3. For Tier 3 violations, exceedances, or situations the owner shall:

a. Provide the public notice not later than one year after the waterworks learns of the violation, exceedance, or situation or begins operating under a variance or exemption.

b. Repeat the public notice annually for as long as the violation, exceedance, variance, exemption, or other situation persists.

c. Maintain a posted public notice in place for as long as the violation, exceedance, variance, exemption, or other situation persists, but in no case less than seven days even if the violation or situation is resolved.

d. Instead of individual Tier 3 public notices, the owner may use an annual report detailing all violations, exceedances, and situations that occurred during the previous twelve months, as long as the timing requirements of subdivision 3 a of this subsection are met.  For community waterworks the Consumer Confidence Report (CCR) may be used as a vehicle for the initial Tier 3 public notice and all required repeat notices, provided:

(1) The CCR is provided to persons served by the waterworks no later than 12 months after the waterworks learns of the violation, exceedance, or other situation;

(2) The Tier 3 public notice contained in the CCR meets the content requirements in subsection E of this section.

(3)The CCR is distributed in a manner meeting the delivery requirements in subdivision D 3 e of this section.

e. For community waterworks the owner shall:

(1) Mail or otherwise directly deliver the public notice to each customer receiving a bill and to other service connections to which water is delivered by the waterworks;  and

(2) Use any other method reasonably calculated to reach other persons regularly served by the system, if they would not normally be reached by the notice required in subdivision 3 e (1) of this subsection.  Such persons may include those who do not pay water bills or do not have service connection addresses (e.g., house renters, apartment dwellers, university students, nursing home patients, prison inmates, etc.). Other methods may include publication in a local newspaper, delivery of multiple copies for distribution by customers that provide their drinking water to others (e.g., apartment building owners or large private employers), posting in public places or on the Internet, or delivery to community organizations.

f. For noncommunity waterworks the owner shall:

(1) Post the public notice in conspicuous locations throughout the distribution system frequented by persons served by the waterworks, or by mail or direct delivery to each customer and service connection (where known);  and

(2) Use any other method reasonably calculated to reach other persons served by the system, if they would not normally be reached by the notice required in subdivision 3 f (1) of this subsection.  Such persons may include those who may not see a posted notice because the notice is not in a location they routinely pass by.  Other methods may include:  Publication in a local newspaper or newsletter distributed to customers;  use of E-mail to notify employees or students;  or, delivery of multiple copies in central locations (e.g., community centers).

D. Public notice contents.

1. Each public notice for PMCL, MRDL, and TT violations and other situations requiring a public notice shall include the following elements:

a. A description of the violation, exceedance, or situation, including the contaminant(s) of concern, and (as applicable) the contaminant level(s);

b. When the violation or situation occurred;

c. Any potential adverse health effects from the violation, exceedance, or situation, including the standard language under subdivision 5 a or 5 b of this subsection, whichever is applicable;

d. The population at risk, including subpopulations particularly vulnerable if exposed to the contaminant in their drinking water;

e. Whether alternative water supplies should be used;

f. What actions consumers should take, including when they should seek medical help, if known;

g. What the waterworks is doing to correct the violation, exceedance, or situation;

h. When the waterworks expects to return to compliance or resolve the situation;

i. The name, business address, and phone number of the waterworks owner, operator, or designee as a source of additional information concerning the notice;  and

j. A statement to encourage the notice recipient to distribute the public notice to other persons served, using the standard language under subdivision 5 c of this subsection, where applicable.

2. Each public notice for a waterworks that has been granted a variance or exemption shall include the following elements:

a. An explanation of the reasons for the variance or exemption;

b. The date on which the variance or exemption was issued;

c. A brief status report on the steps the waterworks is taking to install treatment, find alternative sources of water, or otherwise comply with the terms and schedules of the variance or exemption;  and

d. A notice of any opportunity for public input in the review of the variance or exemption.

3. Each public notice for a waterworks that violates the conditions of a variance or exemption shall contain the ten elements listed in subdivision 1 of this subsection.

4. Each public notice shall:

a. Be displayed in a conspicuous way when printed or posted;

b. Not contain overly technical language or very small print;

c. Not be formatted in a way that defeats the purpose of the notice;

d. Not contain language which nullifies the purpose of the notice.

e. Contain information in the appropriate language(s), for waterworks serving a large proportion of non-English speaking consumers, regarding the importance of the notice or contain a telephone number or address where persons served may contact the waterworks to obtain a translated copy of the notice or to request assistance in the appropriate language.

5. The public notice shall include the following standard language:

a. For PMCL or MRDL violations, treatment technique violations, and violations of the condition of a variance or exemption--standard health effects language as specified in Appendix O corresponding to each PMCL, MRDL, and treatment technique violation and for each violation of a condition of a variance or exemption.

b. For monitoring and testing procedure violations --standard language as specified below, including the language necessary to fill in the blanks:

We are required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether or not your drinking water meets health standards.  During (compliance period), we (did not monitor or test or did not complete all monitoring or testing) for (contaminant(s)), and therefore cannot be sure of the quality of your drinking water during that time.

c. For all public notices--standard language (where applicable), as specified below:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

E. Public notice to new billing units or customers.

1. For community waterworks the owner shall give a copy of the most recent public notice for any continuing violation, variance or exemption, or other ongoing situations requiring a public notice to all new billing units or new customers prior to or at the time service begins.

2. For noncommunity waterworks the owner shall continuously post the public notice in conspicuous locations in order to inform new consumers of any continuing violation, variance or exemption, or other situation requiring a public notice for as long as the violation, variance, exemption, or other situation persists.

F. Special notice of the availability of unregulated contaminant monitoring results.

1. The owner of a community waterworks or non-transient, noncommunity waterworks shall notify persons served by the system of the availability of the results of such sampling no later than 12 months after the monitoring results are known.

2. The special notice shall meet the requirements for a Tier 3 public notice and shall identify a person and telephone number to contact for information on the monitoring results.

G. Special notice for exceedance of the SMCL for fluoride.

1. Community waterworks that exceed the fluoride secondary maximum contaminant level (SMCL) of 2 mg/l, but do not exceed the primary maximum contaminant level (PMCL) of 4 mg/l for fluoride, shall provide public notice to persons served as soon as practical but no later than 12 months from the day the waterworks learns of the exceedance.

2. A copy of the notice shall be sent to all new billing units and new customers at the time service begins and to the engineering field office.

3. The owner shall repeat the notice at least annually for as long as the SMCL is exceeded.

4. If the public notice is posted, the notice shall remain in place for as long as the SMCL is exceeded, but in no case less than seven days even if the exceedance is eliminated.

5. On a case-by-case basis, the commissioner may require an initial notice sooner than 12 months and repeat notices more frequently than annually.

6. The form and manner of the public notice (including repeat notices) shall meet the requirements for a Tier 3 public notice.

7. The public notice shall contain the following language, including the language necessary to fill in the blanks:

This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age.  At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/l) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community waterworks (name) has a fluoride concentration of (insert value) mg/l.  Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth.  This problem occurs only in developing teeth, before they erupt from the gums.  Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the excess fluoride to avoid the possibility of staining and pitting of their permanent teeth.  You may also want to contact your dentist about proper use by young children of fluoride-containing products by young children.  Older children and adults may safely drink the water.  Drinking water containing more than 4 mg/l of fluoride (the U.S. Environmental Protection Agency's drinking water standard) can increase your risk of developing bone disease.  Your drinking water does not contain more than 4 mg/l of fluoride, but we are required to notify you when we discover that the fluoride levels in your drinking water exceed 2 mg/l because of this cosmetic dental problem.  For more information, please call (name of water system contact) of (name of community waterworks) at (phone number). Some home water treatment units are also available to remove fluoride from drinking water.  To learn more about available home water treatment units, you may call NSF International at 1-877-NSF-HELP.

H. Special notice for nitrate exceedances above PMCL by noncommunity waterworks.

1. The owner of a noncommunity waterworks granted permission by the commissioner to exceed the nitrate PMCL shall provide public notice to persons served meeting the requirements for a Tier 1 notice.

2. The public notice shall be posted continuously and shall indicate the fact that nitrate levels exceed 10 mg/l and the potential health effects of exposure, meeting the requirements for Tier 1 public notice delivery and content.

I. The division office may give notice to the public required by this section on behalf of the owner of the waterworks if the division office complies with the requirements of this section.  However, the owner of the waterworks remains legally responsible for ensuring that the requirements of this section are met.

J. Within 10 days of completion of each initial and repeat public notice, the waterworks owner shall provide the appropriate field office:

1. A certification that he has fully complied with the public notice requirements;  and

2. A representative copy of each type of notice distributed, published, posted and made available to the persons served by the waterworks and to the media.

K. The owner shall maintain copies of each public notice and certification for at least three years after issuance.

APPENDIX B. BACKGROUND USED IN DEVELOPING THE CHEMICAL, PHYSICAL AND RADIOLOGICAL LIMITS OF THE DRINKING WATER STANDARDS.

COPPER

ACTION LEVEL--1.3 mg/L

Copper is an essential and beneficial element in human metabolism.  The daily copper requirement for adults has been estimated to be 2.0 mg.  Preschool age children require about 0.1 mg daily for normal growth.  Copper at high doses has, however, been shown to cause stomach and intestinal distress, liver and kidney damage, and anemia.

A primary source of high concentrations of copper in drinking water is from the internal corrosion of copper plumbing within the home.  The EPA has established an action level of 1.3 mg/L of copper in first draw tap sample which may result in public waterworks installing measures to control corrosion.

CORROSION

Corrosion is responsible for many problems in the water distribution system including tuberculation with loss of carrying capacity and increased pumping costs, leaks, main ruptures, discoloration and loss of chlorine residual.  The corrosivity of drinking water is a parameter which has not only esthetic and economic significance, but is health significant as well.  The products of corrosion having the greatest health significance at the present time, cadmium and lead, are addressed as primary maximum contaminants, but there is also a sufficient basis to include corrosivity as a secondary maximum contaminant level.

Corrosivity is controlled by pH adjustment, the use of chemical stabilizers, or other means which are dependent upon the specific conditions of the water.  The two major corrosion indicators utilized in Virginia are the Langelier Index (L.I.) and the Aggressive Index (A.I.). Other indicators also exist.  The L.I. and A.I. are determined by utilizing some or all of the following parameters:

- pH

- Calcium Hardness

- Alkalinity

- Temperature

- TDS

All waterworks owners will be notified periodically of the corrosivity of their drinking water by the commissioner, either as L.I., A.I. or other appropriate index.  Noncorrosive water should be the goal of each waterworks owner.

Furthermore, EPA requires each owner to be aware of type of materials used in the distribution system (including service connections and household plumbing) such as:

| LEAD | COPPER |
| --- | --- |
| Pipe | Piping |
| Solder | Service Lines |
| Caulking | Household Plumbing |
| Lining of Distribution Mains |  |
| Household Plumbing |  |
| GALVANIZED | Ferrous Piping (cast iron and steel) |
| Service Lines | Asbestos Cement Pipe |
| Household Plumbing | Vinyl Lined Asbestos Cement Pipe |
|  | Coal Tar Lined Pipes |
|  | Plastic Pipe |
|  | Piping |
|  | Service Line |
|  | Household Plumbing |

FLUORIDE

When the fluoride concentration in drinking water is maintained within the recommended ranges of 0.8 mg/L minimum and 1.0 mg/L maximum with the optimum being 0.9 mg/L, the consumer will realize a reduction in dental caries.  When supplemental fluoridation is practiced, it is particularly advantageous to maintain a fluoride concentration at or near the optimum.  The reduction in dental caries experienced at optimal fluoride concentrations will be diminished by as much as 50% when the concentration is 0.2 mg/L below the optimum.  An approval limit slightly higher than the optimum can be tolerated without any mottling of teeth, so where fluorides are native to the water supply, these concentrations are acceptable.  Higher levels should be reduced by treatment or blending with other sources lower in fluoride content.  The U.S. Environmental Protection Agency has determined that the PMCL for fluoride is 4.0 mg/L based on long term toxicity data.  The EPA has also determined that the SMCL for fluoride is 2.0 mg/L based on the potential formation of cosmetically objectionable dental fluorosis as a result of long term exposure.  The level of the SMCL was based on a balancing of the beneficial and undesirable effects of fluoride.

FOAMING AGENTS

Foaming is an undesirable property of drinking water because it is esthetically displeasing and therefore should be absent.  Because no convenient standardized formability test exists, and because surfactants are one major class of substances that cause foaming, this property is determined indirectly by measuring the anionic surfactant concentration of substances measured by the methylene blue method and should not exceed 0.5 mg/L as methylene blue active substances (MBAS).

LEAD

ACTION LEVEL - 0.015 mg/L

Lead is a toxic metal that tends to accumulate in the bone of man and animals. Signs of lead intoxication include gastrointestinal disturbances, fatigue, anemia, muscular paralysis, and encephalopathy. Irreversible damage to the brain is the frequent result of lead intoxication in children because of their eating lead containing paint still found in older homes. The most serious effects on the nervous system are seldom seen in the adult population however.

Household plumbing has been identified as a significant contributor of lead to our drinking water; therefore; any notice to the public concerning lead should advise persons served by the system to use only the cold water faucet for drinking and for use in cooking or preparing baby formula, and to run the water until it gets as cold as it is going to get before each use. If there has recently been major water use in the household, such as showering or bathing, flushing toilets, or doing laundry with cold water, flushing the pipes should take 5 to 30 seconds, if not, flushing the pipes could take as long as several minutes. Each notice (see 12 VAC 5-590-520 A 8) should also advise persons served by the system to check to see if lead pipes, solder, or flux have been used in plumbing that provides tap water and to ensure that new plumbing and plumbing repairs use lead free materials.

The EPA's national primary drinking water regulation requires all public water systems to optimize corrosion control to minimize lead contamination resulting from the corrosion of plumbing materials. Public water systems serving 50,000 people or fewer that have lead concentrations below 15 parts per billion (ppb) in more than 90% of tap water samples (the EPA "action level") have optimized their corrosion control treatment. Any water system that exceeds the action level must also monitor their source water to determine whether treatment to remove lead in source water is needed. Any water system that continues to exceed the action level after installation of corrosion control and/or source water treatment must eventually replace all lead service lines contributing in excess of 15 ppb of lead to drinking water. Any water system that exceeds the action level must also undertake a public education program to inform consumers of ways they can reduce their exposure to potentially high levels of lead in drinking water.

NITRATE

Nitrate nitrogen (NO3-N) levels not exceeding 20 mg/L may be allowed in a noncommunity waterworks if the owner demonstrates:

1. Such water will not be available to children under 6 months of age;  and

2. There will be continuous posting of the fact that NO3-N levels exceed 10 mg/L and the potential health effects of exposure;  and

3. Health officials will be notified annually of NO3-N levels that exceed 10 mg/L;  and

4. No adverse health effects will result.

NOTE:  Nitrite in water poses a greater health hazard but fortunately it seldom occurs in high concentrations.  Waters with nitrite-nitrogen concentrations over 1 mg/L should not be used for infant feedings.

MANMADE RADIONUCLIDES

To determine compliance with subsection B of Table 2.5, the detection limits shall not exceed the concentrations listed in the following table:

| DETECTION LIMITS FOR MAN-MADE BETA PARTICLE PHOTON EMITTERS |
| --- |
| RADIONUCLIDE | DETECTION LIMIT |
| Tritium | 1,000 pCi/L |
| Strontium-89 | 10 pCi/L |
| Strontium-90 | 2 pCi/L |
| Iodine-131 | 1 pCi/L |
| Cesium-134 | 10 pCi/L |
| Gross Beta | 4 pCi/L |
| Other radionuclides | 1/10 of the applicable limit |

RADIONUCLIDES

To determine compliance with subsection B of Table 2.5, the detection limits shall not exceed the concentrations listed in the following table:

| DETECTION LIMITS FOR GROSS ALPHA PARTICLE ACTIVITY, RADIUM-226, RADIUM-228, AND URANIUM |
| --- |
| Contaminant | Detection Limit |
| Gross alpha particle activity | 3 pCi/L |
| Radium-226 | 1 pCi/L |
| Radium-228 | 1 pCi/L |
| Uranium | Reserve 1µg/L |

TURBIDITY

Operational requirement:  Conventional water filtration plants utilizing surface waters as a source of supply are capable of producing filtered water with a turbidity consistently less than 0.1 NTU. Therefore, for water filtration plants the filter effluent turbidity for each filter, before any post-filtration chemical addition, operational limit is 0.1 NTU.

APPENDIX N. INORGANIC COMPOUNDS AND ORGANIC CHEMICALS

TABLE I

INORGANIC COMPOUNDS

| Contaminant | BAT(s) |
| --- | --- |
| Antimony | 2, 7 |
| Asbestos | 2, 3, 8 |
| Barium | 5, 6, 7, 9 |
| Beryllium | 1, 2, 5, 6, 7 |
| Cadmium | 2, 5, 6, 7 |
| Chromium | 2, 5, 6b, 7 |
| Cyanide | 5, 7, 10 13 |
| Fluoride | 1, 7, 9 |
| Mercury | 2a, 4, 6a, 7a |
| Nickel | 5, 6, 7 |
| Nitrate | 5, 7, 9 |
| Nitrite | 5, 7 |
| Selenium | 1, 2c, 6, 7, 9 |
| Thallium | 1,5 |

Key to Best Available Technologies/Treatment Techniques

1.  Activated Alumina

2.  Coagulation/Filtration (except for waterworks serving less than 500 service connections)

3.  Direct or Diatomite Filtration

4.  Granular Activated Carbon

5.  Ion Exchange

6.  Lime Softening (except for waterworks serving less than 500 service connections)

7.  Reverse Osmosis

8.  Corrosion Control

9.  Electrodialysis/Electrodialysis Reversing

10.  Chlorine (except for water having cyanide (as free cyanide) exceeding 0.2 mg).

11. Ultraviolet

12. Oxidation/Filtration

13. Alkaline Chlorination pH≥8.5

NOTES ON BAT DESIGNATIONS

a.  BAT only if influent mercury concentrations are less than or equal to 10 µg/l

b.  BAT for Chromium III only

c.  BAT for Selenium IV only

TABLE II
ORGANIC CHEMICALS

| Contaminant | BAT(s) |
| --- | --- |
| Acrylamide | 3 |
| Alachlor | 1 |
| Aldicarb | 1 |
| Aldicarb sulfoxide | 1 |
| Aldicarb sulfone | 1 |
| Atrazine | 1 |
| Benzene | 1, 2 |
| Carbofuran | 1 |
| Carbon tetrachloride | 1, 2 |
| Chlordane | 1 |
| 2,4-D | 1 |
| Dibromochloropropane (DBCP) | 1, 2 |
| o-Dichlorobenzene | 1, 2 |
| p-Dichlorobenzene | 1, 2 |
| 1,2-Dichloroethane | 1, 2 |
| 1,1-Dichloroethylene | 1, 2 |
| cis-1,2-Dichloroethylene | 1, 2 |
| trans-1,2-Dichloroethylene | 1, 2 |
| 1,2-Dichloropropane | 1, 2 |
| Epichlorohydrin | 3 |
| Ethylene dibromide (EDB) | 1, 2 |
| Ethylbenzene | 1, 2 |
| Heptachlor | 1 |
| Heptachlor epoxide | 1 |
| Lindane | 1 |
| Methoxychlor | 1 |
| Monochlorobenzene | 1, 2 |
| PCBs | 1 |
| Pentachlorophenol | 1 |
| Styrene | 1, 2 |
| 2,4,5-TP (Silvex) | 1 |
| Tetrachloroethylene | 1, 2 |
| 1,1,1-Trichloroethane | 1, 2 |
| Trichloroethylene | 1, 2 |
| Toluene | 1, 2 |
| Toxaphene | 1 |
| Vinyl chloride | 2 |
| Xylenes (total) | 1, 2 |
| Benzo(a)pyrene | 1 |
| Dalapon | 1 |
| Dichloromethane | 2 |
| Di(2-ethylhexyl)adipate | 1, 2 |
| Di(2-ethylhexyl)phthalate | 1 |
| Dinoseb | 1 |
| Diquat | 1 |
| Endothall | 1 |
| Endrin | 1 |
| Glyphosate | 4 |
| Hexachlorobenzene | 1 |
| Hexachloropentadiene | 1, 2 |
| Oxamyl (Vydate) | 1 |
| Picloram | 1 |
| Simazine | 1 |
| 1,2,4-Trichlorobenzene | 1, 2 |
| 1,1,2-Trichloroethane | 1, 2 |
| 2,3,7,8-TCDD (Dioxin) | 1 |

Key to Best Available Technologies/Treatment Techniques

1.  Granular Activated Carbon

2.  Packed Tower Aeration

3.  Polymer Addition Practices

4.  Oxidation (chlorination, with the exception of water having cyanide (as free cyanide) exceeding 0.2 mg/l, or ozonation)