TITLE 20. PUBLIC UTILITIES AND COMMUNICATIONS

STATE CORPORATION COMMISSION

REGISTRAR’S NOTICE: The State Corporation Commission is exempt from the Administrative Process Act in accordance with § 2.2-4002 A 2 of the Code of Virginia, which exempts courts, any agency of the Supreme Court, and any agency that by the Constitution is expressly granted any of the powers of a court of record.

Final Regulation

Title of Regulation:  20 VAC 5-315. Regulations Governing Net Energy Metering (amending 20 VAC 5-315-10, 20 VAC 5-315-20, 20 VAC 5-315-30 and 20 VAC 5-315-40).

Statutory Authority:  §§ 12.1-13 and 56-594 of the Code of Virginia.

Effective Date:  September 26, 2006.

Agency Contact:  Kara Hart, Attorney, Office of General Counsel, State Corporation Commission, P.O. Box 1197, Richmond, VA 23218, telephone (804) 371-9671, FAX (804) 371-9240, toll free 1-800-552-7945 or email kara.hart@scc.virginia.gov.

Summary:

The amendments revise and expand the definition of "eligible customer-generator" to conform the regulation with § 56-594 of the Code of Virginia as amended by Chapter 470 of the 2006 Acts of Assembly. The amendment of the definition of "eligible customer-generator" provides that it include not only a customer who owns and operates an electrical generating facility, but also one who contracts with other persons to own, operate, or both, the electrical generating facility. The  amendments also (i) expand the types of permissible fuels for the electrical generating facility to include energy from waste, wave motion, tides, and geothermal power and (ii) provide that the generator be located on the customer’s premises and be connected to the customer’s wiring on the customer’s side of its interconnection with the distributor.

The final amendments incorporate several changes from the proposed amendments.  The commission adopted  (i) a definition of the term "person" in 20 VAC 5-315-20 to be clear as to the meaning of the term which appeared in the proposed regulation; (ii)  language in 20 VAC 5-315-30 requiring notice to the electric distribution company, or energy service provider if applicable, to include certain contact information for the owner or operator, or both; and (iii) a new subsection of 20 VAC 5-315-40 requiring immediate notification of any changes in ownership of or operational responsibility for the generator.

AT RICHMOND, SEPTEMBER 25, 2006

COMMONWEALTH OF VIRGINIA ex rel.

STATE CORPORATION COMMISSION

CASE NO. PUE-2006-00073

Ex Parte:  In the matter of amending

regulations governing net energy metering

ORDER ADOPTING FINAL REGULATIONS

The Regulations Governing Net Energy Metering, 20 VAC 5-315-10 et seq. ("Net Energy Metering Rules"), adopted by the State Corporation Commission ("Commission") pursuant to § 56-594 of the Virginia Electric Utility Restructuring Act, Chapter 23 (§ 56-576 et seq.) of Title 56 of the Code of Virginia ("Restructuring Act"), establish the requirements for participation by an eligible customer-generator in net energy metering in the Commonwealth.  The Net Energy Metering Rules include conditions for interconnection and metering, billing, and contract requirements between net metering customers, electric distribution companies, and energy service providers.

On June 23, 2006, the Commission entered an Order Establishing Proceeding to amend the Net Energy Metering Rules to reflect statutory changes enacted by Chapter 470 of the 2006 Acts of Assembly, which amended § 56-594 of the Restructuring Act to revise the definition of eligible customer-generator.  As amended, eligible customer-generator means a customer that owns and operates, or contracts with other persons to own, operate, or both, an electrical generating facility that:  (i) has a capacity of not more than 10 kilowatts for residential customers and 500 kilowatts for nonresidential customers; (ii) uses as its total source of fuel renewable energy, as defined in Va. Code § 56-576; (iii) is located on the customer's premises and is connected to the customer's wiring on the customer's side of its interconnection with the distributor; (iv) is interconnected and operated in parallel with an electric company's transmission and distribution facilities; and (v) is intended primarily to offset all or part of the customer's own electricity requirements.

The Commission proposed amendments to the Net Energy Metering Rules ("Proposed Rules") to reflect an expansion of the definition of eligible customer-generator such that it will include not only a customer who owns and operates an electrical generating facility, but also one who contracts with other persons to own, operate, or both, the electrical generating facility.  The Proposed Rules also reflects the expansion of the types of permissible fuels for the electrical generating facility.  In addition to previously permitted solar, wind, and hydro, energy from waste, wave motion, tides, and geothermal power are now permissible fuels.1  Moreover, now not only is the generator required to be located on the customer's premises, but it must also be connected to the customer's wiring on the customer's side of its interconnection with the distributor.

Notice of the proceeding was published in the Virginia Register of Regulations and in newspapers of general circulation throughout the Commonwealth.  Interested persons were directed to file any comments and requests for hearing on the Proposed Rules.

Appalachian Power Company ("APCO"); Michel A. King, President, Old Mill Power Company ("Mr. King"), and Debra A. Jacobson, Professorial Lecturer in Energy Law, George Washington University Law School ("Professor Jacobson"); Virginia Electric and Power Company ("Virginia Power"); Virginia, Maryland & Delaware Association of Electric Cooperatives ("Cooperatives");2 and J. R. Yago & Associates, Consulting Engineers ("J. R. Yago"), filed comments on or before the August 21, 2006, deadline.

The Cooperatives stated that it is necessary for the electric utility to have detailed contact information of the generation facilities' actual owner/operator and proposed to revise the Proposed Rules to require such information.  The Cooperatives indicated that the landowner may be unfamiliar with the actual operations of the generating facility or that the electric utility may need to directly interact with the owner or operator of a facility in the instance of, e.g., a failure of paralleling switches, generator controls or other customer-generator equipment.  Finally, the Cooperatives stated its belief in the importance of the net energy metering capacity cap and the necessity of fundamentally restructuring the system of cost allocation for net energy metering if the cap is modified or eliminated in the future.

APCO endorsed the Cooperatives' comments with respect to the expansion of the class of customers eligible for net metering service as it may be necessary for an electric utility to contact the third party owner of the generation facilities, rather than the landowner that contracted with the third party to own and operate the facilities on the landowner's property.

Mr. King and Professor Jacobson expressed agreement with the Proposed Rules insofar as they implement the amendments to § 56-594 of the Restructuring Act.  However, Mr. King and Professor Jacobson requested that the scope of the instant proceeding be expanded so that the Commission consider time-of-use net metering.  Among other things, Mr. King and Professor Jacobson reiterated their comments filed in Case No. PUE-2006-000033 that net metering customers may not currently employ time-of-use metering and that time-based rate schedules would enable a customer to manage energy use and cost.

Virginia Power indicated that the Proposed Rules appropriately incorporated Chapter 470 and suggested that the definition of "person" as defined in § 56-576 of the Restructuring Act be included in the final amendments.

J. R. Yago stated that it took no exception to the Proposed Rules.

NOW THE COMMISSION, upon consideration of the record and applicable statutes, is of the opinion and finds that the regulations attached hereto as Appendix A should be adopted as final rules.  We will not expand the scope of this proceeding to consider issues beyond those required to implement the amendments to § 56-594 of the Restructuring Act.

We agree that the electric utilities must be able to readily contact those net metering customers contracting with other persons to own, operate, or both, a renewable fuel generator under a net metering service arrangement.  Therefore, we will adopt the language proposed by the Cooperatives requiring contact information for the owner, operator, or both.  Rule 20 VAC 5-315-30 will be amended to insert after the first sentence of that section:

If the prospective net metering customer has contracted with another person to own, operate, or both, the renewable fuel generator, then the notice will include detailed, current and accurate contact information for the owner, operator, or both, including without limitation, the name and title of one or more individuals responsible for the interconnection and operation of the generator, a telephone number, a physical street address other than a post office box, a fax number, and an e-mail address for each such person or persons.

In addition, we will adopt the new subsection proposed by the Cooperatives requiring immediate notification of any changes in ownership or operational responsibility.  Rule 20 VAC 5-315-40 will be amended by adding a new subsection D:

The net energy metering customer shall immediately notify the electric distribution company of any changes in the ownership of, operational responsibility for, or contact information for the generator.

The Proposed Rules incorporated amendments that introduced the term "person" in the Net Energy Metering Rules.  We will adopt the definition of "person" as contained in § 56-576 of the Restructuring Act in order to be clear as to the meaning of the term.  Rule 20 VAC 5-315-20 will be amended by adding the following:

"Person" means any individual, corporation, partnership, association, company, business, trust, joint venture, or other private legal entity, and the Commonwealth or any municipality.

Accordingly, IT IS ORDERED THAT:

(1)	 The Regulations Governing Net Energy Metering are herby adopted as shown in Appendix A to this Order.

(2)	 A copy of this Order and the Regulations Governing Net Energy Metering shall be forwarded to the Registrar of Regulations for publication in the Virginia Register of Regulations.

(3)	 On or before November 3, 2006, all electric utilities in the Commonwealth subject to Chapter 10 (§ 56-232 et seq.) of Title 56 of Code of Virginia shall file with the Commission's Division of Energy Regulation any revised tariff provisions necessary to implement the regulations as adopted herein.

(4)	 There being nothing further to come before the Commission, this case shall be removed from the docket and the papers filed herein be placed in the file for ended causes.

AN ATTESTED COPY hereof shall be sent by the Clerk of the Commission to all persons on the official Service List in this matter.  The Service List is available from the Clerk of the State Corporation Commission, c/o Document Control Center, 1300 East Main Street, First Floor, Tyler Building, Richmond, Virginia 23219.

20 VAC 5-315-10. Applicability and scope.

These regulations are promulgated pursuant to the provisions of § 56-594 of the Virginia Electric Utility Restructuring Act (§ 56-576 et seq. of the Code of Virginia) They establish requirements intended to facilitate net energy metering for customers owning and operating, or contracting with persons to own or operate, or both, an electrical generator that uses renewable energy, as defined by § 56-576 of the Code of Virginia as its total fuel source solar, wind or hydro energy. These regulations will standardize the interconnection requirements for such facilities and will govern the metering, billing and contract requirements between net metering customers, electric distribution companies and energy service providers.

20 VAC 5-315-20. Definitions.

The following words and terms when used in this chapter shall have the following meaning meanings unless the context clearly indicates otherwise:

"Billing period" means, as to a particular customer, the time period between the dates on which the electric distribution company or energy service provider, as the case may be, issues the customer's bills.

"Electric distribution company" means the entity that owns and/or operates the distribution facilities delivering electricity to the net metering customer's premises.

"Energy service provider" means the entity providing electric energy to a net metering customer, either as a tariffed, competitive, or default service pursuant to § 56-585 of the Code of Virginia.

"Net metering customer" means a customer owning and operating, or contracting with other persons to own or operate, or both, a renewable fuel generator under a net metering service arrangement.

"Net metering period" means each successive 12-month period beginning with the first meter reading date following the date of final interconnection of the renewable fuel generator with the electric distribution company's facilities.

"Net metering service" means measuring the difference, over the net metering period between electricity supplied to a net metering customer from the electric grid and the electricity generated and fed back to the electric grid by the net metering customer, using a single meter or, as provided in 20 VAC 5-315-70, additional meters.

[ "Person" means any individual, corporation, partnership, association, company, business, trust, joint venture, or other private legal entity and the Commonwealth or any municipality. ]

"Renewable fuel generator" means an electrical generating facility that:

1. Has an alternating current capacity of not more than 10 kilowatts for residential customers and not more than 500 kilowatts for nonresidential customers;

2. Uses renewable energy, as defined by § 56-576 of the Code of Virginia, as its total fuel source solar, wind, or hydro energy;

3. Is owned and operated by the net metering customer and is located on the customer's premises The net metering customer owns and operates, or has contracted with other persons to own [ , or ] operate, or both;

4. Is located on the customer's premises and is connected to the customer's wiring on the customer's side of its interconnection with the distributor;

4. 5. Is interconnected pursuant to a net metering arrangement and operated in parallel with the electric distribution company's facilities; and

5. 6. Is intended primarily to offset all or part of the net metering customer's own electricity requirements.

[ 20 VAC 5-315-30. Company notification.

A. The prospective net metering customer shall submit a completed commission-approved notification form to the electric distribution company and, if different from the electric distribution company, to the energy service provider, according to the following time limits in this subsection.  If the prospective net metering customer has contracted with another person to own or operate, or both, the renewable fuel generator, then the notice will include detailed, current and accurate contract information for the owner or operator, or both including without limitation, the name and title of one or more individuals responsible for the interconnection and operation of the generator, a telephone number, a physical street address other than a post office box, a fax number, and an email address for each such person or persons.

1. For a renewable fuel generator with an alternating current capacity of 25 kilowatts or less, the notification form shall be submitted at least 30 days prior to the date the customer intends to interconnect his renewable fuel generator to the electric distribution company's facilities.  Such net metering customer shall have all equipment necessary to complete the grid interconnection installed prior to such notification.  The electric distribution company shall have 30 days from the date of notification to determine whether the requirements contained in 20 VAC 5-315-40 have been met.  The date of notification shall be considered to be the third day following the mailing of such notification form by the prospective net metering customer.

2. For a renewable fuel generator with an alternating current capacity greater than 25 kilowatts, the notification form shall be submitted at least 60 days prior to the date the customer intends to interconnect his renewable fuel generator to the electric distribution company's facilities.  Such net metering customer shall have all equipment necessary to complete the grid interconnection installed prior to such notification.  Such net metering customer should contact his electric distribution company prior to making financial commitments.  The electric distribution company shall have 60 days from the date of notification to determine whether the requirements contained in 20 VAC 5-315-40 have been met.  The date of notification shall be considered to be the third day following the mailing of such notification form by the prospective net metering customer.

B. Thirty-one days after the date of notification for renewable fuel generators with a rated capacity of 25 kilowatts or less, and 61 days after the date of notification for renewable fuel generators with an alternating current capacity greater than 25 kilowatts, a net metering customer may interconnect his renewable fuel generator and begin operation of said renewable fuel generator unless the electric distribution company or the energy service provider requests a waiver of this requirement under the provisions of 20 VAC 5-315-80 prior to said 31st or 61st day, respectively.  In cases where the electric distribution company or energy service provider requests a waiver, a copy of the request for waiver must be mailed simultaneously by the requesting party to the net metering customer and to the commission's Division of Energy Regulation.

C. The electric distribution company shall file with the commission's Division of Energy Regulation a copy of each completed notification form within 30 days of final interconnection.

20 VAC 5-315-40. Conditions of interconnection.

A. A prospective net metering customer may begin operation of his renewable fuel generator on an interconnected basis when:

1. The net metering customer has properly notified both the electric distribution company and energy service provider (in accordance with 20 VAC 5-315-30) of his intent to interconnect;

2. If required by the electric distribution company's net metering tariff, the net metering customer has installed a lockable, electric distribution company accessible, load breaking manual disconnect switch;

3. A licensed electrician has certified, by signing the commission-approved notification form, that any required manual disconnect switch has been installed properly and that the renewable fuel generator has been installed in accordance with the manufacturer's specifications as well as all applicable provisions of the National Electrical Code;

4. The vendor has certified, by signing the commission-approved notification form, that the renewable fuel generator being installed is in compliance with the requirements established by Underwriters Laboratories or other national testing laboratories in accordance with IEEE Standard 1547, Standard for Interconnecting Distributed Resources with Electric Power Systems, July 2003;

5. In the case of static inverter-connected renewable fuel generators with an alternating current capacity in excess of 10 kilowatts, the net metering customer has had the inverter settings inspected by the electric distribution company.  The inspecting electric distribution company may impose a fee on the net metering customer of no more than $50 for such inspection;

6. In the case of nonstatic inverter-connected renewable fuel generators, the net metering customer has interconnected according to the electric distribution company's interconnection guidelines and the electric distribution company has inspected all protective equipment settings.  The inspecting electric distribution company may impose a fee on the net metering customer of no more than $50 for such inspection.

7. In the case of renewable fuel generators with an alternating current capacity greater than 25 kilowatts, the following requirements shall be met before interconnection may occur:

a. Electric distribution facilities and customer impact limitations.  A renewable fuel generator shall not be permitted to interconnect to distribution facilities if the interconnection would reasonably lead to damage to any of the electric distribution company's facilities or would reasonably lead to voltage regulation or power quality problems at other customer revenue meters due to the incremental effect of the generator on the performance of the electric distribution system, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

b. Secondary, service, and service entrance limitations.  The capacity of the renewable fuel generator shall be less than the capacity of the electric distribution company-owned secondary, service, and service entrance cable connected to the point of interconnection, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

c. Transformer loading limitations.  The renewable fuel generator shall not have the ability to overload the electric distribution company transformer, or any transformer winding, beyond manufacturer or nameplate ratings, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

d. Integration with electric distribution company facilities grounding.  The grounding scheme of the renewable fuel generator shall comply with IEEE 1547, Standard for Interconnecting Distributed Resources with Electric Power Systems, July 2003, and shall be consistent with the grounding scheme used by the electric distribution company.  If requested by a prospective net metering customer, the electric distribution company shall assist the prospective net metering customer in selecting a grounding scheme that coordinates with its distribution system.

e. Balance limitation.  The renewable fuel generator shall not create a voltage imbalance of more than 3.0% at any other customer's revenue meter if the electric distribution company transformer, with the secondary connected to the point of interconnection, is a three-phase transformer, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

B. A prospective net metering customer shall not be allowed to interconnect a renewable fuel generator if doing so will cause the total rated generating alternating current capacity of all interconnected renewable fuel generators within that customer's electric distribution company's Virginia service territory to exceed 0.1% of that company's Virginia peak-load forecast for the previous year.  In any case where a prospective net metering customer has submitted a notification form required by 20 VAC 5-315-30 and that customer's interconnection would cause the total rated generating alternating current capacity of all interconnected renewable fuel generators within that electric distribution company's service territory to exceed 0.1% of that company's Virginia peak-load forecast for the previous year, the electric distribution company shall, at the time it becomes aware of the fact, send written notification to such prospective net metering customer and to the commission's Division of Energy Regulation that the interconnection is not allowed.  In addition, upon request from any customer, the electric distribution company shall provide to the customer the amount of capacity still available for interconnection pursuant to § 56-594 D of the Code of Virginia.

C. Neither the electric distribution company nor the energy service provider shall impose any charges upon a net metering customer for any interconnection requirements specified by this chapter, except as provided under subdivisions A 5 and 6 of this section, and 20 VAC 5-315-50 as related to off-site metering.

D. The net energy metering customer shall immediately notify the electric distribution company of any changes in the ownership of, operational responsibility for, or contact information for the generator. ]

VA.R. Doc. No. R06-280; Filed September 26, 2006, 1:05 p.m.

# Footnotes

1 Va. Code § 56-576.  Renewable energy does not include energy derived from coal, oil, natural gas or nuclear power.

2 On behalf of its Virginia members:  A & N Electric Cooperative, BARC Electric Cooperative, Central Virginia Electric Cooperative, Community Electric Cooperative, Craig-Botetourt Electric Cooperative, Mecklenburg Electric Cooperative, Northern Neck Electric Cooperative, Northern Virginia Electric Cooperative, Prince George Electric Cooperative, Rappahannock Electric Cooperative, Shenandoah Valley Electric Cooperative, and Southside Electric Cooperative.

3 Case No. PUE-2006-00003, Commonwealth of Virginia ex rel. State Corporation Commission, Ex Parte: In the matter of considering § 1252 of the Energy Policy Act of 2005, Comments, Doc. No. 369260, May 12, 2006.