TITLE 9. ENVIRONMENT

STATE WATER CONTROL BOARD

Fast-Track Regulation

Title of Regulation: 9VAC25-720. Water Quality Management Planning Regulation - North River (amending 9VAC25-720-50).

Statutory Authority: §62.1-44.15 of the Code of Virginia; 33 USC §1313(e) of the Clean Water Act.

Public Hearing Information:

August 30, 2007 – 1:30 p.m. – Department of Environmental Quality, Valley Regional Office, 4411 Early Road, Harrisonburg, VA

Public Comments: Public comments may be submitted until 5 p.m. on September 21, 2007.

Effective Date: October 22, 2007.

Agency Contact: Charles H. Martin, Department of Environmental Quality, 629 East Main Street, P.O. Box 1105, Richmond, VA 23218, telephone (804) 698-4462, FAX (804) 698-4116, email chmartin@deq.virginia.gov.

Basis: Section 62.1-44.15 of the Code of Virginia is the source of legal authority identified to promulgate these amendments. The scope and purpose of the State Water Control Law is to protect and to restore the quality of state waters, to safeguard the clean waters from pollution, to prevent and to reduce pollution and to promote water conservation. Section 62.1-44.15 (10) of the Code of Virginia mandates the board to adopt such regulations as it deems necessary to enforce the general water quality management program of the board in all or part of the Commonwealth. In addition, §62.1-44.15 (14) requires the board to establish requirements for the treatment of sewage, industrial wastes and other wastes that are consistent with the purposes of this chapter. The specific effluent limits needed to meet the water quality goals are discretionary.

The correlation between the proposed regulatory action and the legal authority identified above is that the amendment being considered will result in a modified waste load allocation that has been shown to be protective of water quality and that will contribute to the attainment of the Virginia Water Quality Standards.

Purpose: The amendments are needed to allow for the planned expansion of the North River WWTF while ensuring that the expanded discharge remains protective of water quality in the receiving stream North River.  The modified waste load allocations reflect limits for CBOD5 and TKN that are protective of water quality at the expanded flow tiers.

Rationale for Using Fast-Track Process: The proposed amendments are expected to be non-controversial, and therefore justify using the fast-track process.  The amendments will reflect effluent limitations outlined in the current VPDES permits at various flow tiers and have been shown to be protective of water quality for North River downstream of the North River WWTF.  The current VPDES permit was issued with the original WQMP limits, with the revised effluent limits outlined as available to the facility once the WQMP is amended.  The permit was reviewed by EPA and public noticed with all public comment issues addressed.  The permit’s effective date was September 11, 2006.

Substance: In 9VAC25-720-50 B, for the North River WWTF (VA0060640), change the CBOD5, Jan-May waste load allocation from 1030 kg/d to 700 kg/d and the CBOD5, Jun-Dec waste load allocation from 606 kg/d to 800 kg/d.

In 9VAC25-720-50 B, for the North River WWTF (VA0060640), change the TKN, Jun-Dec waste load allocation from 303 kg/d to 420 kg/d and the TKN, Jan-May waste load allocation from 545 kg/d to 850 kg/d.

Issues: The public will benefit, as these amendments will ensure the attainment and preservation of water quality standards in the North River downstream of the North River WWTF discharge.  There is no disadvantage to the agency or the Commonwealth that will result from the adoption of these amendments.

Department of Planning and Budget's Economic Impact Analysis:

Summary of the Proposed Regulation. The State Water Control Board (Board) proposes to amend the seasonal 5-day Carbonaceous Biochemical Oxygen Demand (CBOD5) limits and Total Kjeldahl Nitrogen (TKN) limits for the North River Wastewater Treatment Facility (WWTF). The revised limits were outlined in the current Virginia Pollutant Discharge Elimination System (VPDES) permit as available to the facility once the Water Quality Management Planning Regulation is amended. The permit was reviewed by EPA and has been shown to be protective of water quality for North River downstream of the North River WWTF. The public was noticed with all public comment issues addressed.

Results of Analysis. There is insufficient data to accurately compare the magnitude of the benefits versus the costs. Detailed analysis of the benefits and costs can be found in the next section.

Estimated Economic Impact. The Board proposes to amend the seasonal CBOD5 and TKN limits for the North River WWTF in the current Water Quality Management Planning Regulation. The revised limits were outlined in the current VPDES permit as available to the facility once the current regulation is amended. Once approved, the CBOD5 (January-May) waste load allocation for the facility will be reduced from 1030 kilogram/day (kg/d) to 700 kg/d. The CBOD5 (June-December) waste load allocation for the facility will be increased from 606 kg/d to 800 kg/d. The TKN (June-December) and TKN (January-May) waste load allocations will be increased from 303 kg/d to 420 kg/d and 545 kg/d to 850 kg/d, respectively. The revised permit limits will accommodate an expansion of capacity from 22 million gallons per day (MGD)[1]to 28 MGD.

The proposed amendment will likely benefit the North River WWTF in that the facility will be able to expand and upgrade its capacity. On the other hand, the proposed amendment may increase the actual discharges to the North River downstream of the North River WWTF. According to DEQ, the current VPDES permit, with the revised effluent limits outlined as available to the facility once the regulation is amended, was reviewed by EPA and has been shown to be protective of water quality for North River downstream of the North River WWTF. The public has been noticed of the permit and all public comment issues have been addressed. Therefore, the proposed amendment will likely not have any significant adverse impact on public health or the environment.

Businesses and Entities Affected. The proposed regulation will affect the North River WWTF.

Localities Particularly Affected. The proposed regulation will particularly affect members of the Harrisonburg-Rockingham Regional Sewer Authority including City of Harrisonburg, Town of Dayton, Town of Bridgewater, Town of Mt. Crawford, and Rockingham County.

Projected Impact on Employment. The proposed amendment will likely have a positive impact on the number of people employed by the North River WWTF due to the facility’s ability to operate at its expanded capacity.

Effects on the Use and Value of Private Property. The North River WWTF is a public-owned facility. The proposed regulation will likely not have any significant impact on the use and value of private property.

Small Businesses: Costs and Other Effects. No small businesses will be affected.

Small Businesses: Alternative Method that Minimizes Adverse Impact. No small businesses will be affected

Legal mandate. The Department of Planning and Budget (DPB) has analyzed the economic impact of this proposed regulation in accordance with §2.2-4007 H of the Administrative Process Act and Executive Order Number 21 (02). Section 2.2-4007 H requires that such economic impact analyses include, but need not be limited to, the projected number of businesses or other entities to whom the regulation would apply, the identity of any localities and types of businesses or other entities particularly affected, the projected number of persons and employment positions to be affected, the projected costs to affected businesses or entities to implement or comply with the regulation, and the impact on the use and value of private property. Further, if the proposed regulation has an adverse effect on small businesses, §2.2-4007 H requires that such economic impact analyses include (i) an identification and estimate of the number of small businesses subject to the regulation; (ii) the projected reporting, recordkeeping, and other administrative costs required for small businesses to comply with the regulation, including the type of professional skills necessary for preparing required reports and other documents; (iii) a statement of the probable effect of the regulation on affected small businesses; and (iv) a description of any less intrusive or less costly alternative methods of achieving the purpose of the regulation. The analysis presented above represents DPB’s best estimate of these economic impacts.

[1] According to the Department of Environmental Quality, the current design flow of the facility is 16 MGD.

Agency's Response to the Department of Planning and Budget's Economic Impact Analysis:  The department has reviewed the economic impact analysis prepared by the Department of Planning and Budget and has no comment.

Summary:

The Harrisonburg-Rockingham Regional Sewer Authority has plans to expand and upgrade its facility on the North River, a tributary to the South Fork Shenandoah River.  The seasonal CBOD5 and TKN limits for the North River WWTF (VA0060640) are proposed for modification to reflect waste load allocations that have been shown to be protective of water quality at the 28 MGD flow tier.  The current section of the Water Quality Management Planning Regulation was adopted by the State Water Control Board at its September 28, 2005, meeting.  As expressed in the regulation, the North River WWTF is limited to a CBOD5 (Jan-May) waste load allocation of 1030 kg/d and CBOD5 (Jun-Dec) of 606 kg/d.  The facility is also limited to a TKN (Jun-Dec) waste load allocation of 303 kg/d and TKN (Jan-May) of 545 kg/d. During the permit reissuance process, the discharge was remodeled using the QUAL2E model because critical flows in North River had decreased and additional flow tiers were requested.  The limits outlined in this regulatory action were demonstrated to be protective of water quality conditions in the North River downstream of the facility’s discharge.

9VAC25-720-50. Potomac-Shenandoah River Basin.

A. Total Maximum Daily Load (TMDLs).

| TMDL # | Stream Name | TMDL Title | City/County | WBID | Pollutant | WLA | Units |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Muddy Creek | Nitrate TMDL Development for Muddy Creek/Dry River, Virginia | Rockingham | B21R | Nitrate | 49,389.00 | LB/YR |
| 2. | Blacks Run | TMDL Development for Blacks Run and Cooks Creek | Rockingham | B25R | Sediment | 32,844.00 | LB/YR |
| 3. | Cooks Creek | TMDL Development for Blacks Run and Cooks Creek | Rockingham | B25R | Sediment | 69,301.00 | LB/YR |
| 4. | Cooks Creek | TMDL Development for Blacks Run and Cooks Creek | Rockingham | B25R | Phosphorus | 0 | LB/YR |
| 5. | Muddy Creek | TMDL Development for Muddy Creek and Holmans Creek, Virginia | Rockingham | B22R | Sediment | 286,939.00 | LB/YR |
| 6. | Muddy Creek | TMDL Development for Muddy Creek and Holmans Creek, Virginia | Rockingham | B22R | Phosphorus | 38.00 | LB/YR |
| 7. | Holmans Creek | TMDL Development for Muddy Creek and Holmans Creek, Virginia | Rockingham/ Shenandoah | B45R | Sediment | 78,141.00 | LB/YR |
| 8. | Mill Creek | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B29R | Sediment | 276.00 | LB/YR |
| 9. | Mill Creek | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B29R | Phosphorus | 138.00 | LB/YR |
| 10. | Pleasant Run | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B27R | Sediment | 0.00 | LB/YR |
| 11. | Pleasant Run | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B27R | Phosphorus | 0.00 | LB/YR |
| 12. | Linville Creek | Total Maximum Load Development for Linville Creek: Bacteria and Benthic Impairments | Rockingham | B46R | Sediment | 5.50 | TONS/YR |
| 13. | Quail Run | Benthic TMDL for Quail Run | Rockingham | B35R | Ammonia | 7,185.00 | KG/YR |
| 14. | Quail Run | Benthic TMDL for Quail Run | Rockingham | B35R | Chlorine | 27.63 | KG/YR |
| 15. | Shenandoah River | Development of Shenandoah River PCB TMDL (South Fork and Main Stem) | Warren & Clarke | B41R B55R B57R B58R | PCBs | 179.38 | G/YR |
| 16. | Shenandoah River | Development of Shenandoah River PCB TMDL (North Fork) | Warren & Clarke | B51R | PCBs | 0.00 | G/YR |
| 17. | Shenandoah River | Development of Shenandoah River PCB TMDL (Main Stem) | Warren & Clarke | WV | PCBs | 179.38 | G/YR |
| 18. | Cockran Spring | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Augusta | B10R | Organic Solids | 1,556.00 | LB/YR |
| 19. | Lacey Spring | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Rockingham | B47R | Organic Solids | 680.00 | LB/YR |
| 20. | Orndorff Spring | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Shenandoah | B52R | Organic Solids | 103.00 | LB/YR |
| 21. | Toms Brook | Benthic TMDL for Toms Brook in Shenandoah County, Virginia | Shenandoah | B50R | Sediment | 8.1 | T/YR |
| 22. | Goose Creek | Benthic TMDLs for the Goose Creek Watershed | Loudoun, Fauquier | A08R | Sediment | 1,587 | T/YR |
| 23. | Little River | Benthic TMDLs for the Goose Creek Watershed | Loudoun | A08R | Sediment | 105 | T/YR |
| 24. | Christians Creek | Fecal Bacteria and General Standard Total Maximum Daily Load Development for Impaired Streams in the Middle River and Upper South River Watersheds, Augusta County, VA | Augusta | B14R | Sediment | 145 | T/YR |
| 25. | Moffett Creek | Fecal Bacteria and General Standard Total Maximum Daily Load Development for Impaired Streams in the Middle River and Upper South River Watersheds, Augusta County, VA | Augusta | B13R | Sediment | 0 | T/YR |
| 26. | Upper Middle River | Fecal Bacteria and General Standard Total Maximum Daily Load Development for Impaired Streams in the Middle River and Upper South River Watersheds, Augusta County, VA | Augusta | B10R | Sediment | 1.355 | T/YR |
| 27. | Mossy Creek | Total Maximum Daily Load Development for Mossy Creek and Long Glade Run: Bacteria and General Standard (Benthic) Impairments | Rockingham | B19R | Sediment | 0.04 | T/YR |
| 28. | Smith Creek | Total Maximum Daily Load (TMDL) Development for Smith Creek | Rockingham, Shenandoah | B47R | Sediment | 353,867 | LB/YR |
| 29. | Abrams Creek | Opequon Watershed TMDLs for Benthic Impairments: Abrams Creek and Lower Opequon Creek, Frederick and Clarke counties, Virginia | Frederick | B09R | Sediment | 478 | T/YR |
| 30. | Lower Opequon Creek | Opequon Watershed TMDLs for Benthic Impairments: Abrams Creek and Lower Opequon Creek, Frederick and Clarke counties, Virginia | Frederick, Clarke | B09R | Sediment | 1,039 | T/YR |
| 31. | Mill Creek | Mill Creek Sediment TMDL for a Benthic Impairment, Shenandoah County, Virginia | Shenandoah | B48R | Sediment | 0.9 | T/YR |
| 32. | South Run | Benthic TMDL Development for South Run, Virginia | Fauquier | A19R | Phosphorus | 0.038 | T/YR |
| 33. | Lewis Creek | Total Maximum Daily Load Development for Lewis Creek, General Standard (Benthic) | Augusta | B12R | Sediment | 40 | T/YR |
| 34. | Lewis Creek | Total Maximum Daily Load Development for Lewis Creek, General Standard (Benthic) | Augusta | B12R | Lead | 0 | KG/YR |
| 35. | Lewis Creek | Total Maximum Daily Load Development for Lewis Creek, General Standard (Benthic) | Augusta | B12R | PAHs | 0 | KG/YR |

B. Non-TMDL waste load allocations.

| Water Body | Permit No. | Facility Name | Outfall No. | Receiving Stream | River Mile | Parameter Description | WLA | Units WLA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VAV-B02R | VA0023281 | Monterey STP | 001 | West Strait Creek | 3.85 | CBOD5 | 11.4 | KG/D |
| VAV-B08R | VA0065552 | Opequon Water Reclamation Facility | 001 | Opequon Creek | 32.66 | BOD5, JUN-NOV | 207 | KG/D |
|  |  | AKA Winchester – Frederick Regional |  |  |  | CBOD5, DEC-MAY | 1514 | KG/D |
| VAV-B14R | VA0025291 | Fishersville Regional STP | 001 | Christians Creek | 12.36 | BOD5 | 182 | KG/D |
| VAV-B23R | VA0060640 | North River WWTF | 001 | North River | 15.01 | CBOD5, JAN-MAY | 1030 700 | KG/D |
|  | 7.23.04 | AKA Harrisonburg – Rockingham Reg. Sewer Auth. |  |  |  | CBOD5, JUN-DEC | 606 800 | KG/D |
|  |  |  |  |  |  | TKN, JUN-DEC | 303 420 | KG/D |
|  |  |  |  |  |  | TKN, JAN-MAY | 545 850 | KG/D |
| VAV-B32R | VA0002160 | INVISTA - Waynesboro Formerly Dupont - Waynesboro | 001 | South River | 25.3 | BOD5 | 272 | KG/D |
| VAV-B32R | VA0025151 | Waynesboro STP | 001 | South River | 23.54 | CBOD5 CBOD5, JUN-OCT | 227 113.6 | KG/D KG/D |
| VAV-B35R | VA0024732 | Massanutten Public Service STP | 001 | Quail Run | 5.07 | BOD5 | 75.7 | KG/D |
| VAV-B37R | VA0002178 | Merck & Company | 001 | S.F. Shenandoah River | 88.09 | BOD5 AMMONIA, AS N | 1570 645.9 | KG/D KG/D |
| VAV-B49R | VA0028380 | Stoney Creek Sanitary District STP | 001 | Stoney Creek | 19.87 | BOD5, JUN-NOV | 29.5 | KG/D |
| VAV-B53R | VA0020982 | Middletown STP | 001 | Meadow Brook | 2.19 | CBOD5 | 20.8 | KG/D |
| VAV-B58R | VA0020532 | Berryville STP | 001 | Shenandoah River | 24.23 | CBOD5 | 42.6 | KG/D |

C. Nitrogen and phosphorus waste load allocations to restore the Chesapeake Bay and its tidal rivers.

The following table presents nitrogen and phosphorus waste load allocations for the identified significant dischargers and the total nitrogen and total phosphorus waste load allocations for the listed facilities.

| Virginia Waterbody ID | Discharger Name | VPDES Permit No. | Total Nitrogen (TN) Waste Load Allocation (lbs/yr) | Total Phosphorus (TP) Waste Load Allocation (lbs/yr) |
| --- | --- | --- | --- | --- |
| B37R | Coors Brewing Company | VA0073245 | 54,820 | 4,112 |
| B14R | Fishersville Regional STP | VA0025291 | 48,729 | 3,655 |
| B32R | INVISTA - Waynesboro (Outfall 101) | VA0002160 | 78,941 | 1,009 |
| B39R | Luray STP | VA0062642 | 19,492 | 1,462 |
| B35R | Massanutten PSA STP | VA0024732 | 18,273 | 1,371 |
| B37R | Merck - Stonewall WWTP (Outfall 101) | VA0002178 | 14,619 | 1,096 |
| B12R | Middle River Regional STP | VA0064793 | 82,839 | 6,213 |
| B23R | North River WWTF (2) | VA0060640 | 253,391 | 19,004 |
| B22R | VA Poultry Growers -Hinton | VA0002313 | 27,410 | 1,371 |
| B38R | Pilgrims Pride - Alma | VA0001961 | 18,273 | 914 |
| B31R | Stuarts Draft WWTP | VA0066877 | 48,729 | 3,655 |
| B32R | Waynesboro STP | VA0025151 | 48,729 | 3,655 |
| B23R | Weyers Cave STP | VA0022349 | 6,091 | 457 |
| B58R | Berryville STP | VA0020532 | 8,528 | 640 |
| B55R | Front Royal STP | VA0062812 | 48,729 | 3,655 |
| B49R | Georges Chicken LLC | VA0077402 | 31,065 | 1,553 |
| B48R | Mt. Jackson STP (3) | VA0026441 | 8,528 | 640 |
| B45R | New Market STP | VA0022853 | 6,091 | 457 |
| B45R | North Fork (SIL) WWTF | VA0090263 | 23,390 | 1,754 |
| B49R | Stoney Creek SD STP | VA0028380 | 7,309 | 548 |
| B50R | North Fork Regional WWTP (1) | VA0090328 | 9,137 | 685 |
| B51R | Strasburg STP | VA0020311 | 11,939 | 895 |
| B50R | Woodstock STP | VA0026468 | 24,364 | 1,827 |
| A06R | Basham Simms WWTF (4) | VA0022802 | 18,273 | 1,371 |
| A09R | Broad Run WRF (5) | VA0091383 | 134,005 | 3,350 |
| A08R | Leesburg WPCF | MD0066184 | 121,822 | 9,137 |
| A06R | Round Hill Town WWTF | VA0026212 | 9,137 | 685 |
| A25R | DSC - Section 1 WWTF (6) | VA0024724 | 42,029 | 2,522 |
| A25R | DSC - Section 8 WWTF (7) | VA0024678 | 42,029 | 2,522 |
| A25E | H L Mooney WWTF | VA0025101 | 219,280 | 13,157 |
| A22R | UOSA - Centreville | VA0024988 | 1,315,682 | 16,446 |
| A19R | Vint Hill WWTF (8) | VA0020460 | 8,680 | 868 |
| B08R | Opequon WRF | VA0065552 | 102,336 | 7,675 |
| B08R | Parkins Mills STP (9) | VA0075191 | 60,911 | 4,568 |
| A13E | Alexandria SA WWTF | VA0025160 | 493,381 | 29,603 |
| A12E | Arlington County Water PCF | VA0025143 | 365,467 | 21,928 |
| A16R | Noman M Cole Jr PCF | VA0025364 | 612,158 | 36,729 |
| A12R | Blue Plains (VA Share) | DC0021199 | 581,458 | 26,166 |
| A26R | Quantico WWTF | VA0028363 | 20,101 | 1,206 |
| A28R | Aquia WWTF | VA0060968 | 73,093 | 4,386 |
| A31E | Colonial Beach STP | VA0026409 | 18,273 | 1,827 |
| A30E | Dahlgren WWTF | VA0026514 | 9,137 | 914 |
| A29E | Fairview Beach | MD0056464 | 1,827 | 183 |
| A30E | US NSWC-Dahlgren WWTF | VA0021067 | 6,578 | 658 |
| A31R | Purkins Corner STP | VA0070106 | 1,096 | 110 |
|  | TOTALS: |  | 5,156,169 | 246,635 |

NOTE:  (1) Shenandoah Co. - North Fork Regional WWTP waste load allocations (WLAs) based on a design flow capacity of 0.75 million gallons per day (MGD). If plant is not certified to operate at 0.75 MGD design flow capacity by December 31, 2010, the WLAs will be deleted and facility removed from Significant Discharger List.

(2) Harrisonburg-Rockingham Regional S.A.-North River STP:  waste load allocations (WLAs) based on a design flow capacity of 20.8 million gallons per day (MGD). If plant is not certified to operate at 20.8 MGD design flow capacity by December 31, 2010, the WLAs will decrease to TN = 194,916 lbs/yr; TP = 14,619 lbs/yr, based on a design flow capacity of 16.0 MGD.

(3) Mount Jackson STP:  waste load allocations (WLAs) based on a design flow capacity of 0.7 million gallons per day (MGD). If plant is not certified to operate at 0.7 MGD design flow capacity by December 31, 2010, the WLAs will decrease to TN = 7,309 lbs/yr; TP = 548 lbs/yr, based on a design flow capacity of 0.6 MGD.

(4) Purcellville-Basham Simms STP:  waste load allocations (WLAs) based on a design flow capacity of 1.5 million gallons per day (MGD). If plant is not certified to operate at 1.5 MGD design flow capacity by December 31, 2010, the

WLAs will decrease to TN = 12,182 lbs/yr; TP = 914lbs/yr, based on a design flow capacity of 1.0 MGD.

(5) Loudoun Co. S.A.-Broad Run WRF:  waste load allocations (WLAs) based on a design flow capacity of 11.0 million gallons per day (MGD). If plant is not certified to operate at 11.0 MGD design flow capacity by December 31,

2010, the WLAs will decrease to TN = 121,822 lbs/yr; TP = 3,046 lbs/yr, based on a design flow capacity of 10.0 MGD.

(6) Dale Service Corp.-Section 1 WWTF:  waste load allocations (WLAs) based on a design flow capacity of 4.6 million gallons per day (MGD). If plant is not certified to operate at 4.6 MGD design flow capacity by December 31, 2010, the WLAs will decrease to TN = 36,547 lbs/yr; TP = 2,193 lbs/yr, based on a design flow capacity of 4.0 MGD.

(7) Dale Service Corp.-Section 8 WWTF:  waste load allocations (WLAs) based on a design flow capacity of 4.6 million gallons per day (MGD). If plant is not certified to operate at 4.6 MGD design flow capacity by December 31, 2010, the WLAs will decrease to TN = 36,547 lbs/yr; TP = 2,193 lbs/yr, based on a design flow capacity of 4.0 MGD.

(8) Fauquier Co. W&SA-Vint Hill STP:  waste load allocations (WLAs) based on a design flow capacity of 0.95 million gallons per day (MGD). If plant is not certified to operate at 0.95 MGD design flow capacity by December 31,

2010, the WLAs will decrease to TN = 5,482 lbs/yr; TP = 548 lbs/yr, based on a design flow capacity of 0.6 MGD.

(9) Parkins Mill STP:  waste load allocations (WLAs) based on a design flow capacity of 5.0 million gallons per day (MGD). If plant is not certified to operate at 5.0 MGD design flow capacity by December 31, 2010, the WLAs will decrease to TN = 36,547 lbs/yr; TP = 2,741 lbs/yr, based on a design flow capacity of 3.0 MGD.

VA.R. Doc. No. R07-289; Filed June 28, 2007, 12:45 p.m.