TITLE 20. PUBLIC UTILITIES AND TELECOMMUNICATIONS

STATE CORPORATION COMMISSION

Proposed Regulation

REGISTRAR'S NOTICE: The State Corporation Commission is exempt from the Administrative Process Act in accordance with §2.2-4002 A 2 of the Code of Virginia, which exempts courts, any agency of the Supreme Court, and any agency that by the Constitution is expressly granted any of the powers of a court of record.

Title of Regulation: 20VAC5-314. Regulations Governing Interconnection of Small Electrical Generators (adding 20VAC5-314-10 through 20VAC5-314-170).

Statutory Authority: §§12.1-13 and 56-578 of the Code of Virginia.

Public Hearing Information: A public hearing will be scheduled upon request.

Public Comments: Public comments may be submitted until 5 p.m. on May 19, 2008.

Agency Contact: Mike Martin, Senior Utilities Engineer, Energy Division, P.O. Box 1197, 1300 East Main Street, Richmond, VA 23218, telephone (804) 371-9336, FAX (804) 371-9350, or email mike.martin@scc.virginia.gov.

Summary:

Pursuant to §56-578 A of the Virginia Electric Utility Restructuring Act, Chapter 23 (§56-576 et seq.) of Title 56 of the Code of Virginia (Restructuring Act), all electric energy distributors have the obligation to connect any retail customer, including those using distributed generation, located within its service territory to the distributor's facilities used for delivery of retail electric energy, subject to State Corporation Commission rules and regulations and approved tariff provisions relating to connection of service. In accordance with §56-578 C of the Restructuring Act, the commission proposes interconnection standards, not inconsistent with nationally recognized standards, to ensure transmission and distribution safety and reliability.

The interconnection regulations establish standardized interconnection and operating requirements for the safe operation of electric generating facilities with a rated capacity of 20 MW or less connected to the distribution systems of electric utilities under the jurisdiction of the Virginia State Corporation Commission. These requirements apply to retail electric customers, independently owned generators or any other parties operating or intending to operate a distributed generation facility. The regulations establish three interconnection review paths for interconnection of customer-sited generation in Virginia - Level 1, Level 2 and Level 3. Level 1 interconnections must include a request to interconnect a certified inverter-based generating facility no larger than 500 kW. To qualify for a Level 2 interconnection request, the generating facility can be no larger than 2 MW and the proposed generator must meet certain specified codes, standards, and certification requirements. Level 3 interconnection requests apply to generating facilities larger than 2 MW but no larger than 20 MW or a generating facility that does not pass the Level 1 or Level 2 process.

AT RICHMOND, FEBRUARY 26, 2008

COMMONWEALTH OF VIRGINIA, ex rel.

STATE CORPORATION COMMISSION

CASE NO. PUE-2008-00004

Ex Parte: In the matter of establishing
interconnection standards for distributed
electric generation

ORDER ESTABLISHING PROCEEDING

Pursuant to §56-578 A of the Virginia Electric Utility Restructuring Act, Chapter 23 (§56-576 et seq.) of Title 56 of the Code of Virginia ("Restructuring Act"), all electric energy distributors have the obligation to connect any retail customer, including those using distributed generation, located within its service territory to the distributor's facilities used for delivery of retail electric energy, subject to State Corporation Commission ("Commission") rules and regulations and approved tariff provisions relating to connection of service.

In accordance with §56-578 C of the Restructuring Act, the Commission shall establish interconnection standards, not inconsistent with nationally recognized standards acceptable to the Commission, to ensure transmission and distribution safety and reliability. In adopting the interconnection standards, the Commission shall seek to prevent barriers to new technology and shall not make compliance unduly burdensome and expensive.

NOW THE COMMISSION, upon consideration of the matter, is of the opinion and finds that a proceeding should be established to consider interconnection standards for distributed generation for the Commonwealth in accordance with §56-578 C of the Restructuring Act.  The Staff of the Commission ("Staff") has developed proposed rules to meet the requirements of §56-578 C of the Restructuring Act, Chapter 314 Regulations Governing Interconnection of Small Electrical Generators, which is attached hereto as Appendix A.  We will direct that notice be given to the public1 and that interested persons have an opportunity to comment on Staff's proposed rules (Appendix A) and other issues raised herein.

We note that the Federal Energy Regulatory Commission ("FERC") has asserted jurisdiction over certain generator interconnections.2 The extent of the FERC's authority and other Virginia statutes may bear on the degree to which the Commission develops interconnection standards for distributed generation facilities.  Interested persons are asked to include in their comments a discussion of the Commission's jurisdiction and authority to develop interconnection standards for distributed generation as contemplated in Appendix A. Where submitting that the FERC Small Generator Interconnection Rules in general or a certain provision therein are preemptive of this Commission's rulemaking as proposed in Appendix A or any portion therein, interested persons must provide specific justification as to why such proposed standard need not be addressed in the Commission's rulemaking or provide a clear alternative for consideration.

Finally, we invite interested persons to comment on any specific issues not addressed by Staff in its proposed rules (Appendix A), which would require additional rules or consideration. Such comments may discuss matters beyond the point of actual interconnection of the generating facility with the utility's electric distribution system that may need to be addressed in this proceeding.

Accordingly, IT IS ORDERED THAT:

(1) This case is docketed and assigned Case No. PUE-2008-00004.

(2) The Commission's Division of Information Resources shall forward a copy of this Order including Appendix A to the Registrar of Regulations for publication in the Virginia Register.

(3) Within five (5) business days of the filing of this Order with the Clerk of the Commission, the Staff shall transmit electronically or mail copies of this Order including Appendix A to interested persons identified by Staff.  Staff shall file with the Clerk of the Commission a certificate of transmission or mailing and include a list of the names and addresses to whom the Order was transmitted or mailed.

(4) On or before May 19, 2008, interested persons may file an original and fifteen (15) copies of comments with Joel H. Peck, Clerk, State Corporation Commission, c/o Document Control Center, P.O. Box 2118, Richmond, Virginia 23218. Comments shall refer to Case No. PUE-2008-00004 and address Staff's proposed rules (Appendix A) and the specific issues raised herein. Interested persons desiring to submit comments electronically may do so by following the instructions available at the Commission's website: http://www.scc.virginia.gov/caseinfo.htm.

(5) This matter shall remain open for further order of the Commission.

AN ATTESTED COPY hereof shall be sent by the Clerk of the Commission to: C. Meade Browder, Jr., Senior Assistant Attorney General, Division of Consumer Counsel, Office of Attorney General, 900 East Main Street, 2nd Floor, Richmond, Virginia 23219; and the Commission's Office of General Counsel and Divisions of Economics and Finance and Energy Regulation.

________________________________________

1 The Staff has developed a list of persons that may be interested in this proceeding and is directed to provide copies of this Order by electronic transmission or, where necessary, by mail to the persons on this list.  We also direct that a copy of this Order be forwarded to the Registrar of Regulations for publication in the Virginia Register.

2 The FERC has adopted two sets of rules to standardize the terms and conditions governing interconnection with a utility's transmission system subject to FERC jurisdiction -— one for facilities generating more than 20 MW and one for those generating less.  See Standardization of Generator Interconnection Agreements and Procedures, Order No. 2003, 68 FR 49845 (August 19, 2003), FERC Stats. & Regs ¶ 31,146 (2003), order on reh'g, Order No. 2003-A, 69 FR 15932 (March 26, 2004), FERC Stats. & Regs ¶ 31,160 (2004), order on reh'g, Order No. 2003-B, 70 FR 265 (January 4, 2005), FERC Stats. & Regs ¶ 31,171 (2005), order on reh'g, Order No. 2003-C, 70 FR 37661 (June 30, 2005), FERC Stats. & Regs ¶ 31,190 (2005); Standardization of Small Generator Interconnection Agreements and Procedures, Order No. 2006, 70 FR 34190 (June 13, 2005), FERC Stats. & Regs ¶ 31,180 (2005), order on clarification, Order No. 2006-A, 70 FR 71760 (November 30, 2005), FERC Stats. & Regs ¶ 31,196 (2005), Order on Clarification, Order No. 2006-B, 71 FR 42587 (July 27, 2006) ("FERC Small Generator Interconnection Standards").  In the FERC Small Generator Interconnection Standards, the FERC indicated that the standards would not apply to the local distribution facility used to deliver energy to an unbundled retail customer.  Order No. 2006 at 4-5 and fn. 8.

CHAPTER 314
REGULATIONS GOVERNING INTERCONNECTION OF SMALL ELECTRICAL GENERATORS

20VAC5-314-10. Applicability and scope.

These regulations are promulgated pursuant to §56-578 of the Virginia Electric Utility Restructuring Act (§56-576 et seq. of the Code of Virginia). They establish standardized interconnection and operating requirements for the safe operation of electric generating facilities with a rated capacity of 20 megawatts (MW) or less connected to distribution companies' distribution systems in Virginia. These requirements apply to retail electric customers, independently owned generators or any other parties operating or intending to operate a distributed generation facility. Interconnections that fall under the jurisdiction of the Federal Energy Regulatory Commission are not subject to these regulations.

There are three interconnection review paths for interconnection of customer-sited generation in Virginia:

Level 1 - A request to interconnect a certified inverter-based small generating facility no larger than 500 kilowatts (kW) shall be evaluated under the Level 1 process.

Level 2 - A request to interconnect a certified small generating facility larger than 500 kW but no larger than 2 MW shall be evaluated under the Level 2 process.

Level 3 - A request to interconnect a small generating facility larger than 2 MW but no larger than 20 MW or a small generating facility that does not pass the Level 1 or Level 2 process, shall be evaluated under the Level 3 process.

The utility shall designate an employee or office from which information on the application process can be obtained through informal requests from the interconnection customer presenting a proposed project for a specific site. The name, telephone number, and email address of such contact employee or office shall be made available on the utility's Internet web site. Electric system information for specific locations, feeders, or small areas shall be provided to the interconnection customer upon request and may include relevant system studies, interconnection studies, and other materials useful to an understanding of an interconnection at a particular point on the utility's system, to the extent such provision does not violate confidentiality provisions of prior agreements or critical infrastructure requirements. The utility shall comply with reasonable requests for such information unless the information is proprietary or confidential and cannot be provided pursuant to a confidentiality agreement.

The utility shall make reasonable efforts to meet all time frames provided in these procedures unless the utility and the interconnection customer agree to a different schedule. If the utility cannot meet a deadline provided herein, it shall notify the interconnection customer, explain the reason for the failure to meet the deadline, and provide an estimated time by which it will complete the applicable interconnection procedure in the process.

20VAC5-314-20. Definitions.

The following terms when used in this chapter shall have the following meaning unless the context clearly indicates otherwise:

"Affected system" means an electric system other than the utility's distribution system that may be affected by the proposed interconnection.

"Business day" means Monday through Friday, excluding federal holidays.

"Commission" means the Virginia State Corporation Commission.

"Distribution company" means the utility that owns and/or operates the distribution system located in Virginia to which the small generation facility proposes to interconnect its small generating facility.

"Distribution system" means a utility's facilities and equipment generally delivering electricity to ultimate customers from substations supplied by higher voltages (usually at transmission level). For purposes of these interconnection rules, all portions of the distribution company's transmission system regulated by the commission for which interconnections are not within Federal Energy Regulatory Commission (FERC) jurisdiction are considered to be part of these interconnection rules.

"Distribution upgrades" means the additions, modifications, and upgrades to the utility's distribution system at or beyond the point of interconnection to facilitate interconnection of the small generating facility and to render the service necessary to effect the interconnection customer's operation of on-site generation. Distribution upgrades do not include interconnection facilities.

"Energy service provider" means any entity supplying electric energy to the producer, either as tariffed, competitive, or default service pursuant to §56-585 of the Code of Virginia.

"Interconnection customer" or "IC" means any entity, including the utility, any affiliates or subsidiaries of either, proposing to interconnect a new small generating facility with the utility's system under this chapter.

"Interconnection facilities" means the utility's interconnection facilities and the interconnection customer's interconnection facilities. Collectively, interconnection facilities include all facilities and equipment between the small generating facility and the point of interconnection, including any modification, additions or upgrades that are necessary to physically and electrically interconnect the small generating facility to the utility's distribution system. Interconnection facilities are sole use facilities and shall not include distribution upgrades.

"Interconnection request" means the interconnection customer's request, in accordance with the tariff, to interconnect a new small generating facility, or to increase the capacity of, or make a material modification to the operating characteristics of, an existing small generating facility that is interconnected with the utility's system.

"Interconnection study" means the study that is undertaken by the company, or a mutually agreed upon third party agreed to by the company and the producer, in order to determine the interaction of the small generating facility and the distribution system, and to specify any modification to the small generating facility or the distribution system needed to ensure safe and reliable operation of the small generating facility in parallel with the distribution system.

"Party" or "parties" means the utility, interconnection customer, or any combination thereof.

"Point of interconnection" means the point where the interconnection facilities connect with the utility's system.

"Producer" means a person operating a small generating facility interconnected to the distribution system of a utility for the purpose of parallel operation.

"Small generating facility" means the interconnection customer's device for the production of electricity identified in the interconnection request, but shall not include the interconnection facilities not owned by the interconnection customer.

"Study process" means the procedure for evaluating an interconnection request that includes the Level 3 scoping meeting, feasibility study, system impact study, and facilities study.

"System" means the facilities owned, controlled, or operated by the utility that are used to provide electric service under the tariff.

"Tariff" means the rates, terms and conditions filed by the utility with the commission for the purpose of providing commission-regulated electric service to retail customers.

"Utility" means the public utility company subject to regulation by the commission pursuant to Chapter 10 (§56-232 et seq.) of Title 56 of the Code of Virginia with regard to rates and/or service quality.

20VAC5-314-30. Siting of distributed generation facilities.

Prior to installing a small generating facility, the IC must ensure compliance with local, state and federal laws and regulations, including siting.  If the producer has satisfied the requirements of this chapter and has submitted a copy of his interconnection notification form to the commission's Division of Energy Regulation, the statutory requirements of §56-580 D of the Code of Virginia shall be deemed to have been met.

20VAC5-314-40. Level 1 interconnection process.

The Level 1 interconnection path is available to any IC proposing to interconnect a small generating facility with the utility's distribution system if the small generating facility is no larger than 500 kW. In order to interconnect under this path, the small generating facility shall complete the streamlined Interconnection Request Form contained in 20VAC5-314-170 as Schedule 1. The utility shall follow the same time line established by the commission in 20VAC5-315-30 of the Net Metering Regulations.

20VAC5-314-50. Levels 1 and 2 interconnection request general requirements.

A. The interconnection customer shall submit its Interconnection Request Form contained in 20VAC5-314-170 (Schedule 4) to the utility, with the processing fee or deposit specified in the Interconnection Request Form. The utility shall provide a copy of the Interconnection Request Form to the commission's Division of Energy Regulation. The Interconnection Request Form shall be date- and time-stamped upon receipt by the utility, which shall be used as the qualifying date- and time-stamp for the purposes of any timetable in these procedures. The interconnection customer shall be notified of receipt by the utility within three business days of receiving the interconnection request, which notification may be to an email address or fax number provided by the IC.

The utility shall notify the interconnection customer within 10 business days of the receipt of the Interconnection Request Form as to whether the Interconnection Request Form is complete or incomplete. If the Interconnection Request Form is incomplete, the utility shall provide, along with the notice that the Interconnection Request Form is incomplete, a written list detailing all information that must be provided to complete the Interconnection Request Form.

The interconnection customer will have 10 business days after receipt of the notice to submit the listed information or to request an extension of time to provide such information. If the interconnection customer does not provide the listed information or a request for an extension of time within the deadline, the Interconnection Request Form will be deemed withdrawn. An Interconnection Request Form will be deemed complete upon submission of the listed information to the utility.

B. Any modification to machine data or equipment configuration or to the interconnection site of the small generating facility as specified in the Interconnection Request Form but not agreed to in writing by the utility and the interconnection customer may be deemed a withdrawal of the Interconnection Request Form and may require submission of a new Interconnection Request Form, unless proper notification of each party by the other and a reasonable time to cure the problems created by the changes are undertaken.

C. Site control documentation must be submitted with the interconnection request.  Site control may be demonstrated through:

1. Ownership of, a leasehold interest in, or a right to develop a site for the purpose of constructing the small generating facility;

2. An option to purchase or acquire a leasehold site for such purpose;

3. An exclusivity or other business relationship between the interconnection customer and the entity having the right to sell, lease, or grant the interconnection customer the right to possess or occupy a site for such purpose.

D. The utility shall place interconnection requests in a first come, first served order per feeder and per substation based upon the date- and time-stamp of the Interconnection Request Form. The order of each Interconnection Request Form will be used to determine the cost responsibility for the upgrades necessary to accommodate the interconnection. At the utility's option, interconnection requests may be studied serially or in clusters for the purpose of the system impact study.

20VAC5-314-60. Level 2 interconnection process.

A. The Level 2 interconnection process is available to an interconnection customer proposing to interconnect a small generating facility with the utility's distribution system if the small generating facility is no larger than 2 MW and if the interconnection customer's proposed small generating facility meets the codes, standards, and certification requirements of Schedules 2 and 3 in 20VAC5-314-170.

B. Within 15 business days after the utility notifies the interconnection customer it has received a complete interconnection request, the utility shall perform an initial review using the screens set forth below and shall notify the interconnection customer of the results including copies of the analysis and data underlying the utility's determinations under the screens.

1. The proposed small generating facility's point of interconnection must be on a portion of the utility's distribution system that is subject to the tariff.

2. For interconnection of a proposed small generating facility to a radial distribution circuit, the aggregated generation, including the proposed small generating facility, on the circuit shall not exceed 15% of the line section's annual peak load as most recently measured at the substation or calculated for the line segment. A line section is that portion of a utility's electric system connected to a customer bounded by automatic sectionalizing devices or the end of the distribution line.

3. The proposed small generating facility, in aggregation with other generation on the distribution circuit, shall not contribute more than 10% to the distribution circuit's maximum fault current at the point on the distribution feeder voltage (primary) level nearest the proposed point of change of ownership.

4. The proposed small generating facility, in aggregate with other generation on the distribution circuit, shall not cause any distribution protective devices and equipment (including, but not limited to, substation breakers, fuse cutouts, and line reclosers), or interconnection customer equipment on the system to exceed 87.5% of the short circuit interrupting capability; nor shall the interconnection be proposed for a circuit that already exceeds 87.5% of the short circuit interrupting capability.

5. Using the table below, determine the type of interconnection to a primary distribution line. This screen includes a review of the type of electrical service provided to the interconnection customer, including line configuration and the transformer connection to limit the potential for creating over-voltages on the utility's electric power system due to a loss of ground during the operating time of any anti-islanding function.

| Primary Distribution Line Type | Type of Interconnection to Primary Distribution Line | Result/Criteria |
| --- | --- | --- |
| Three-phase, three wire | Three-phase or single phase, phase-to-phase | Pass screen |
| Three-phase, four wire | Effectively-grounded three phase or single-phase, line-to-neutral | Pass screen |

6. If the proposed small generating facility is to be interconnected on single-phase shared secondary, the aggregate generation capacity on the shared secondary, including the proposed small generating facility, shall not exceed 20 kW.

7. If the proposed small generating facility is single-phase and is to be interconnected on a center tap neutral of a 240 volt service, its addition shall not create an imbalance between the two sides of the 240 volt service of more than 20% of the nameplate rating of the service transformer.

8. The small generating facility, in aggregate with other generation interconnected to the transmission side of a substation transformer feeding the circuit where the small generating facility proposes to interconnect shall not exceed 10 MW in an area where there are known, or posted, transient stability limitations to generating units located in the general electrical vicinity (e.g., three or four transmission busses from the point of interconnection).

9. No construction of facilities by the utility on its own system shall be required to accommodate the small generating facility.

C. Interconnections to distribution systems.

1. For interconnection of a proposed small generating facility to the load side of spot network protectors serving more than a single customer, the proposed small generating facility must utilize an inverter-based equipment package and, together with the aggregated other inverter-based generation, shall not exceed the smaller of 5.0% of a spot network's maximum load or 300 kW. For spot networks serving a single customer, the small generating facility must use inverter-based equipment package and either meet the requirements above or shall use a protection scheme or operate the generator so as not to exceed on-site load or otherwise prevent nuisance operation of the spot network protectors.

2. For interconnection of a proposed small generating facility to the load side of area network protectors, the proposed small generating facility must utilize an inverter-based equipment package and, together with the aggregated other inverter-based generation, shall not exceed the smaller of 10% of an area network's minimum load or 500 kW.

3. Notwithstanding subdivision 1 or 2 of this subsection, each utility may incorporate into its interconnection standards any change in interconnection guidelines related to networks pursuant to standards developed under IEEE 1547 for interconnections to networks. To the extent the new IEEE standards conflict with this chapter, the new standards shall apply. In addition, and with the consent of the utility, a small generating facility may be interconnected to a spot or area network provided the facility utilizes a protection scheme that will prevent any power export from the customer's site including inadvertent export under fault conditions or otherwise prevent nuisance operation of the network protectors.

D. If the proposed interconnection passes the screens, the interconnection request shall be approved and the utility will provide the interconnection customer an executable interconnection agreement within 10 business days after the determination.

E. If the proposed interconnection fails any screens, but the utility determines that the small generating facility may nevertheless be interconnected consistent with safety, reliability, and power quality standards, the utility shall provide the interconnection customer an executable interconnection agreement within five business days after the determination.

F. If the proposed interconnection fails the screens, but the utility does not or cannot determine from the initial review that the small generating facility may nevertheless be interconnected consistent with safety, reliability, and power quality standards unless the interconnection customer is willing to consider minor modifications or further study, the utility shall provide the interconnection customer with the opportunity to attend a customer options meeting.

G. If the utility determines the Interconnection Request Form cannot be approved without minor modifications at minimal cost; a supplemental study or other additional studies or actions; or at significant cost to address safety, reliability, or power quality problems, within the five business day period after the determination, the utility shall notify the interconnection customer and provide copies of the data and analyses underlying its conclusion. Within 10 business days of the utility's determination, the utility shall offer to convene a customer options meeting with the utility to review possible interconnection customer facility modifications or the screen analysis and related results, to determine what further steps are needed to permit the small generating facility to be connected safely and reliably. At the time of notification of the utility's determination, or at the customer options meeting, the utility shall:

1. Offer to perform facility modifications or minor modifications to the utility's electric system (e.g., changing meters, fuses, relay settings) and provide a nonbinding good faith estimate of the limited cost to make such modifications to the utility's electric system;

2. Offer to perform a supplemental review if the utility concludes that the supplemental review might determine that the small generating facility could continue to qualify for interconnection pursuant to the fast track process, and provide a nonbinding good faith estimate of the costs and time of such review; or

3. Obtain the interconnection customer's agreement to continue evaluating the interconnection request under the Level 3 study process.

H. If the interconnection customer agrees to a supplemental review, the interconnection customer shall agree in writing within 15 business days of the offer and submit a deposit for the estimated costs provided in subdivision G 2 of this section. The interconnection customer shall be responsible for the utility's actual costs for conducting the supplemental review. The interconnection customer shall pay any review costs that exceed the deposit within 20 business days of receipt of the invoice or resolution of any dispute. If the deposit exceeds the invoiced costs, the utility will return such excess within 20 business days of the invoice without interest.

Within 10 business days following receipt of the deposit for a supplemental review, the utility will determine if the small generating facility can be interconnected safely and reliably.

1. If so, the utility shall forward an executable interconnection agreement to the interconnection customer within five business days.

2. If so, and interconnection customer facility modifications are required to allow the small generating facility to be interconnected consistent with safety, reliability, and power quality standards under these procedures, the utility shall forward an executable interconnection agreement to the interconnection customer within five business days after confirmation that the interconnection customer has agreed to make the necessary changes at the interconnection customer's cost.

3. If so, and minor modifications to the utility's electric system are required to allow the small generating facility to be interconnected consistent with safety, reliability, and power quality standards under the Level 2 process, the utility shall forward an executable interconnection agreement to the interconnection customer within 10 business days that requires the interconnection customer to pay the costs of such system modifications prior to interconnection.

4. If not, the interconnection request will continue to be evaluated under the Level 3 study process.

20VAC5-314-70. Level 3 interconnection process.

A. The Level 3 interconnection process shall be used by an IC proposing to interconnect a small generating facility with the utility's distribution system if the small generating facility is (i) larger than 2 MW but no larger than 20 MW, (ii) not certified, or (iii) certified but did not pass the Level 1 or Level 2 interconnection process. A study process consisting of scoping, feasibility, system impact, and facilities shall precede the preparation of an interconnection agreement. Feasibility studies, scoping studies, and facility studies may be combined for simpler projects by mutual agreement of the utility and the parties.

B. Scoping study.

1. A scoping meeting will be held within 10 business days after the interconnection request is deemed complete, or as otherwise mutually agreed to by the parties. The utility and the interconnection customer shall bring to the meeting personnel, including system engineers and other resources as may be reasonably required to accomplish the purpose of the meeting.

2. The purpose of the scoping meeting is to discuss the interconnection request. The parties shall further discuss whether the utility should perform a feasibility study or proceed directly to a system impact study, or a facilities study, or an interconnection agreement. If the parties agree that a feasibility study should be performed, the utility shall provide the interconnection customer, as soon as possible, but not later than five business days after the scoping meeting, a feasibility study agreement including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the study.

3. The scoping meeting may be omitted by mutual agreement. In order to remain in consideration for interconnection, an interconnection customer who has requested a feasibility study must return the executed feasibility study agreement within 15 business days. If the parties agree not to perform a feasibility study, the utility shall provide the interconnection customer, no later than five business days after the scoping meeting, a system impact study agreement including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the study.

C. Feasibility study.

1. A feasibility study shall identify any potential adverse system impacts that would result from the interconnection of the small generating facility.

2. A deposit of the lesser of 50% of the good faith estimated feasibility study costs or earnest money of $1,000 may be required from the interconnection customer.

a. Any study fees shall be based on the distribution company's actual costs and will be invoiced to the interconnection customer after the study is completed and delivered and will include a summary of professional time.

b. The interconnection customer must pay any study costs that exceed the deposit without interest within 30 calendar days on receipt of the invoice or resolution of any dispute. If the deposit exceeds the invoiced fees, the distribution company shall refund such excess within 30 calendar days of the invoice without interest.

3. The feasibility study shall be based on the technical information provided by the interconnection customer in the interconnection request, as may be modified as the result of the scoping meeting. The distribution company reserves the right to request additional technical information from the interconnection customer as may reasonably become necessary consistent with good utility practice during the course of the feasibility study and as designated in accordance with the standard small generator interconnection procedures. If the interconnection customer modifies its interconnection request, the time to complete the feasibility study may be extended by agreement of the parties.

4. In performing the study, the distribution company shall rely, to the extent reasonably practicable, on recent studies. The interconnection customer shall not be charged for such existing studies; however, the interconnection customer shall be responsible for charges associated with any new study or modifications to existing studies that are reasonably necessary to perform the feasibility study.

5. The feasibility study report shall provide the following analyses for the purpose of identifying any potential adverse system impacts that would result from the interconnection of the small generating facility as proposed:

a. Initial identification of any circuit breaker short circuit capability limits exceeded as a result of the interconnection;

b. Initial identification of any thermal overload or voltage limit violations resulting from the interconnection;

c. Initial review of grounding requirements and electric system protection; and

d. Description and nonbonding estimated cost of facilities required to interconnect the proposed small generating facility and to address the identified short circuit and power flow issues.

6. The feasibility study shall model the impact of the small generating facility regardless of purpose in order to avoid the further expense and interruption of operation for reexamination of feasibility and impacts if the interconnection customer later changes the purpose for which the small generating facility is being installed.

7. The study shall include the feasibility of any interconnection at a proposed project site where there could be multiple potential points of interconnection, as requested by the interconnection customer and at the interconnection customer's cost.

8. Once the feasibility study is completed, a feasibility study report shall be prepared and transmitted to the interconnection customer. Barring unusual circumstances, the feasibility study must be completed and the feasibility study report transmitted within 30 business days of the interconnection customer's agreement to conduct a feasibility study.

9. If the feasibility study shows no potential for adverse system impacts, the utility shall send the interconnection customer a facilities study agreement, including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the study.

10. If the feasibility study shows the potential for adverse system impacts, the review process shall proceed to the appropriate system impact study or studies.

D. System impact study.

1. A system impact study shall identify and detail the electric system impacts that would result if the proposed small generating facility were interconnected without project modifications or electric system modifications, focusing on the adverse system impacts identified in the feasibility study, or to study potential impacts, including but not limited to those identified in the scoping meeting. A system impact study shall evaluate the impact of the proposed interconnection on the reliability of the electric system.

2. A system impact study will be based upon the results of the feasibility study and the technical information provided by the interconnection customer in the interconnection request. The distribution company reserves the right to request additional technical information from the interconnection customer as may reasonably become necessary consistent with good utility practice during the course of the system impact study. If the interconnection customer modifies its designated point of interconnection, interconnection request, or the technical information provided therein is modified, the time to complete the system impact study may be extended.

3. A system impact study shall consist of a short circuit analysis, a stability analysis, a power flow analysis, voltage drop and flicker studies, protection and set point coordination studies, and grounding reviews, as necessary. A system impact study shall state the assumptions upon which it is based, state the results of the analyses, and provide the requirement or potential impediments to providing the requested interconnection service, including a preliminary indication of the cost and length of time that would be necessary to correct any problems identified in those analyses and implement the interconnection. A system impact study shall provide a list of facilities that are required as a result of the interconnection request and nonbinding good faith estimates of cost responsibility and time to construct.

4. A distribution system impact study shall incorporate a distribution load flow study, an analysis of equipment interrupting ratings, protection coordination study, voltage drop and flicker studies, protection and set point coordination studies, grounding reviews, and the impact on electric system operation, as necessary.

5. Affected systems may participate in the preparation of a system impact study, with a division of costs among such entities as they may agree. All affected systems shall be afforded an opportunity to review and comment upon a system impact study that covers potential adverse system impacts on their electric systems, and the distribution company has 20 additional business days to complete a system impact study requiring review by affected systems.

6. If the utility uses a queuing procedure for sorting or prioritizing projects and their associated cost responsibilities for any required network upgrades, the system impact study shall consider all generating facilities (and with respect to clause iii below, any identified upgrades associated with such higher queued interconnection) that, on the date the system impact study is commenced are: (i) directly interconnected with the distribution company's electric system; or (ii) interconnected with affected systems and may have an impact on the proposed interconnection; and (iii) have a pending higher queued interconnection request to interconnect with the utility's electric system.

7. A distribution system impact study, if required, shall be completed and the results transmitted to the interconnection customer within 30 business days after an agreement is signed by the parties. A transmission system impact study, if required, shall be completed and the results transmitted to the interconnection customer within 45 business days after an agreement is signed by the parties, or in accordance with the  utility's queuing procedures.

8. A deposit of the equivalent of the good faith estimated cost of a distribution system impact study and one-half of the good faith estimated cost of a transmission system impact study may be required from the interconnection customer.

9. Any study fees shall be based on the utility's actual costs and will be invoiced to the interconnection customer after the study is completed and delivered and will include a summary of professional time.

10. The interconnection customer shall pay any study costs that exceed the deposit within 30 calendar days on receipt of the invoice or resolution of any dispute. If the deposit exceeds the invoiced fees, the utility shall refund such excess within 30 calendar days of the invoice. Interest shall not apply.

11. If no transmission system impact study is required, adverse distribution system impacts are identified in the scoping meeting or shown in the feasibility study, a distribution system impact study shall be performed. The utility shall send the interconnection customer a distribution system impact study agreement within 15 business days of transmittal of the feasibility study report, including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the study, or following the scoping meeting if no feasibility study is to be performed.

12. In instances where the feasibility study or the distribution system impact study shows potential for transmission system adverse system impacts, within five business days following transmittal of the feasibility study report, the utility shall send the interconnection customer a transmission system impact study agreement, including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the study, if such a study is required.

13. If a transmission system impact study is not required, but adverse distribution system impacts are shown by the feasibility study to be possible and no distribution system impact study has been conducted, the utility shall send the interconnection customer a distribution system impact study agreement.

14. If the feasibility study shows no potential for transmission system or distribution system adverse impacts, the utility shall send the interconnection customer either an executable Small Generator Interconnection Agreement (SGIA) included in this chapter as Schedule 5 in 20VAC5-314-170, or a facilities study agreement, including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the study, as applicable.

15. In order to remain under consideration for interconnection, the interconnection customer shall return executed system impact study agreements, if applicable, within 30 business days.

E. Facilities study.

1. Once the required system impact study (or studies) is completed, a system impact study report shall be prepared and transmitted to the interconnection customer along with a facilities study agreement within five business days, including an outline of the scope of the study and a nonbinding good faith estimate of the cost to perform the facilities study. In the case where one or both impact studies are determined to be unnecessary, a notice of the fact shall be transmitted to the interconnection customer within the same timeframe.

2. In order to remain under consideration for interconnection, or, as appropriate, in the utility's interconnection queue, the interconnection customer shall provide the following information, or a request for an extension of time within 30 business days, and the facilities study shall be based on the responses of the IC to the following queries:

a. Provide a location plan and simplified one-line diagram of the plant and station facilities. For staged projects, please indicate future generation, transmission circuits, etc. On the one-line diagram, indicate the generation capacity attached at each metering location. (Maximum load on CT (current transformer)/PT (partial transformer)  On the one-line diagram, indicate the location of auxiliary power. (Minimum load on CT/PT) Amps

b. One set of metering is required for each generation connection to the new ring bus or existing distribution company station. Number of generation connections: _____________________

c. Will an alternate source of auxiliary power be available during CT/PT maintenance?
Yes ___________ No ________________

d. Will a transfer bus on the generation side of the metering require that each meter set be designed for the total plant generation? Yes ____________ No _____ (Please indicate on the one-line diagram).

e. What type of control system or Programmable Logic Controller (PLC) will be located at the small generating facility? ______________________________________________

f. What protocol does the control system or PLC use?

______________________________________________

g. Provide a 7.5-minute quadrangle map of the site. Indicate the plant, station, transmission line, and property lines.

h. Physical dimensions of the proposed interconnection station: ______________________________________________

i. Bus length from generation to interconnection station: ______________________________

j. Line length from interconnection station to utility's transmission system. _____________________________

k. Tower number observed in the field. (Painted on tower leg)*:  ______________________________________________

l. Number of third party easements required for transmission lines*: _____________________________

* To be completed in coordination with distribution company.

m. Is the small generating facility located in utility's service area? Yes __________ No _____;
If No, please provide name of local provider:

______________________________________________

n. Please provide the following proposed schedule dates:

Begin Construction Date:_________________________

Generator step-up transformers receive back feed power date: ___________________

Generation Testing Date:__________________________

Commercial Operation Date:_______________________

3. The facilities study shall specify and estimate the cost of the equipment, engineering, procurement, and construction work (including overheads) needed to implement the conclusions of the system impact study or studies.

4. A deposit of the good faith estimated facilities study costs may be required from the interconnection customer.

5. Any study fees shall be based on the distribution company's actual costs and will be invoiced to the interconnection customer after the study is completed and delivered and will include a summary of professional time.

6. The interconnection customer shall pay any study costs that exceed the deposit within 30 calendar days on receipt of the invoice or resolution of any dispute. If the deposit exceeds the invoiced fees, the distribution company shall refund such excess within 30 calendar days of the invoice.  Interest shall not apply.

7. Design for any required interconnection facilities and/or upgrades shall be performed under the facilities study agreement. The utility may contract with consultants to perform activities required under the facilities study agreement. The interconnection customer and the utility may agree to allow the interconnection customer to separately arrange for the design of some of the interconnection facilities. In such cases, facilities design will be reviewed and/or modified prior to acceptance by the utility, under the provisions of the facilities study agreement. If the parties agree to separately arrange for design and construction, and provided security and confidentiality requirements can be met, the utility shall make sufficient information available to the interconnection customer in accordance with confidentiality and critical infrastructure requirements to permit the interconnection customer to obtain an independent design and cost estimate for any necessary facilities.

8. The facilities study shall specify and estimate the cost of the equipment, engineering, procurement and construction work (including overheads) needed to implement the conclusions of the system impact study or studies. The facilities study shall also identify (i) the electrical switching configuration of the equipment, including, without limitation, transformer, switchgear, meters, and other station equipment, (ii) the nature and estimated cost of the utility's interconnection facilities and upgrades necessary to accomplish the interconnection, and (iii) an estimate of the time required to complete the construction and installation of such facilities.

9. The utility may propose to group facilities required for more than one interconnection customer in order to minimize facilities costs through economies of scale, but any interconnection customer may require the installation of facilities required for its own small generating facility if it is willing to pay the costs of those facilities.

10. Once the facilities study is completed, a facilities study report shall be prepared and transmitted to the interconnection customer. Barring unusual circumstances, the facilities study must be completed and the facilities study report transmitted within 30 business days of the interconnection customer's agreement to conduct a facilities study.

11. In cases where upgrades are required, the facilities study must be completed within 45 business days of the receipt of this facilities study agreement. In cases where no upgrades are necessary, and the required facilities are limited to interconnection facilities, the facilities study must be completed within 30 business days.

F. Interconnection agreement.

1. Upon completion of the facilities study, and with the agreement of the interconnection customer to pay for interconnection facilities and upgrades identified in the facilities study, the utility shall provide the interconnection customer an executable SGIA within five business days.

2. After receiving an interconnection agreement from the utility, the interconnection customer shall have 30 business days or another mutually agreeable time frame to sign and return the interconnection agreement, or request that the utility file an unexecuted interconnection agreement with the commission. If the interconnection customer does not sign the interconnection agreement, or ask that it be filed unexecuted by the utility within 30 business days, the interconnection request shall be deemed withdrawn. After the interconnection agreement is signed by the parties, the interconnection of the small generating facility shall proceed under the provisions of the SGIA.

20VAC5-314-80. Interconnection metering.

Any metering necessitated by the use of the small generating facility shall be installed at the interconnection customer's expense in accordance with commission requirements or the utility's specifications.

20VAC5-314-90. Commissioning tests.

Commissioning tests of the interconnection customer's installed equipment shall be performed pursuant to applicable codes and standards, including IEEE 1547.1 2005 "IEEE Standard Conformance Test Procedures for Equipment Interconnecting Distributed Resources with Electric Power Systems." The utility shall be given at least five business days written notice, or notice as otherwise mutually agreed to by the parties, of the tests and may be present to witness the commissioning tests. The utility shall be compensated by the interconnection customer for its expense in witnessing Level 2 and Level 3 commissioning tests.

20VAC5-314-100. Disputes.

A. The parties agree to attempt to resolve all disputes arising out of the interconnection process according to the provisions of this section.

B. In the event of a dispute, either party shall provide the other party with a written notice of dispute. The notice shall describe in detail the nature of the dispute. If the dispute has not been resolved within five business days after receipt of the notice, either party may contact a mutually agreed upon third party dispute resolution service for assistance in resolving the dispute.

C. The dispute resolution service will assist the parties in either resolving the dispute or in selecting an appropriate dispute resolution venue (e.g., mediation, settlement judge, early neutral evaluation, or technical expert) to assist the parties in resolving their dispute.

D. Each party agrees to conduct all negotiations in good faith and will be responsible for 1/2 of any costs paid to neutral third parties.

E. If neither party elects to seek assistance from the dispute resolution service, or if the attempted dispute resolution fails, then either party may exercise whatever rights and remedies it may have in equity or law consistent with the terms of the agreements between the parties or it may seek resolution at the commission.

20VAC5-314-110. Confidential information.

A. Confidential information shall mean any confidential and/or proprietary information provided by one party to the other party that is clearly marked or otherwise designated "Confidential." All design, operating specifications, and metering data provided by the interconnection customer shall be deemed confidential information regardless of whether it is clearly marked or otherwise designated as such.

B. Confidential information does not include information previously in the public domain, required to be publicly submitted or divulged by governmental authorities (after notice to the other party and after exhausting any opportunity to oppose such publication or release), or necessary to be divulged in an action to enforce an agreement between the parties. Each party receiving confidential information shall hold such information in confidence and shall not disclose it to any third party nor to the public without the prior written authorization from the party providing that information, except to fulfill obligations under agreements between the parties, or to fulfill legal or regulatory requirements.

1. Each party shall employ at least the same standard of care to protect confidential information obtained from the other party as it employs to protect its own confidential information.

2. Each party is entitled to equitable relief, by injunction or otherwise, to enforce its rights under this section to prevent the release of confidential information without bond or proof of damages, and may seek other remedies available at law or in equity for breach of this provision.

C. Notwithstanding anything in this chapter to the contrary, if the commission, during the course of an investigation or otherwise, requests information from one of the parties that is otherwise required to be maintained in confidence, the party shall provide the requested information to the commission, within the time provided for in the request for information. In providing the information to the commission, the party may request that the information be treated as confidential and nonpublic by the commission and that the information be withheld from public disclosure. Parties are prohibited from notifying the other party prior to the release of the confidential information to the commission. The party shall notify the other party when it is notified by the commission that a request to release confidential information has been received by the commission, at which time either of the parties may respond before such information would be made public.

20VAC5-314-120. Comparability.

The utility shall receive, process, and analyze all interconnection requests in a timely manner as set forth in this chapter. The utility shall use the same reasonable efforts in processing and analyzing interconnection requests from all Interconnection customers, whether the small generating facility is owned or operated by the utility, its subsidiaries or affiliates, or others.

20VAC5-314-130. Record retention.

The utility shall maintain, subject to audit, records for three years of (i) all interconnection requests received pursuant to this chapter, (ii) the times required to complete interconnection request approvals and disapprovals, and (iii) justification for the actions taken on the interconnection requests.

20VAC5-314-140. Coordination with affected systems.

The utility shall coordinate the conduct of any studies required to determine the impact of the interconnection request on affected systems with affected system operators and, if possible, include those results (if available) in its applicable interconnection study within the time frame specified in this chapter. The utility will include such affected system operators in all meetings held with the interconnection customer as required by this chapter. The interconnection customer shall cooperate with the utility in all matters related to the conduct of studies and the determination of modifications to affected systems. A utility which may be an affected system shall cooperate with the utility with whom interconnection has been requested in all matters related to the conduct of studies and the determination of modifications to affected systems.

20VAC5-314-150. Capacity of the small generating facility.

A. If the interconnection request is for an increase in capacity for an existing small generating facility, the interconnection request shall be evaluated on the basis of the new total capacity of the small generating facility.

B. If the interconnection request is for a small generating facility that includes multiple energy production devices at a site for which the interconnection customer seeks a single point of interconnection, the interconnection request shall be evaluated on the basis of the aggregate capacity of the multiple devices.

C. The interconnection request shall be evaluated using the maximum rated capacity of the small generating facility.

20VAC5-314-160. Insurance.

A. For systems of 500 kW or less, the IC, at its own expense, shall secure and maintain in effect during the term of the agreement liability insurance with a combined single limit for bodily injury and property damage of not less than $300,000 for each occurrence.

For systems greater than 500 kW but smaller than 2 MW, the IC, at its own expense, shall secure and maintain in effect during the term of the agreement liability insurance with a combined single limit for bodily injury and property damage of not less than $2 million for each occurrence. Insurance coverage for systems greater than 2 MW shall be determined on a case-by-case basis by the utility and shall reflect the size of the installation and the potential for system damage.

B. Except for those photovoltaic systems installed on a residential premise that have a design capacity of 500 kW or less, the utility shall be named as an additional insured by endorsement to the insurance policy and the policy shall provide that written notice be given to the utility at least 30 days prior to any cancellation or reduction of any coverage. Such liability insurance shall provide, by endorsement to the policy, that the utility shall not by reason of its inclusion as an additional insured incur liability to the insurance carrier for the payment of premium of such insurance. For all photovoltaic systems, the liability insurance shall not exclude coverage for any incident related to the subject generator or its operation.

C. Certificates of insurance evidencing the requisite coverage and provision shall be furnished to a utility prior to the date of interconnection of the small generating facility. Utilities shall be permitted to periodically obtain proof of current insurance coverage form the producer in order to verify proper liability insurance coverage. IC will not be allowed to commence or continue interconnected operations unless evidence is provided that satisfactory insurance coverage is in effect at all times.

20VAC5-314-170. Schedules for Chapter 314.

The following schedules shall be used in the administration of this chapter.

Schedule 1

LEVEL 1 INTERCONNECTION REQUEST FORM 
FOR SMALL GENERATING FACILITY LESS THAN 500 kW

PURSUANT TO 20 VAC 5-314-40 OF THE COMMISSION'S REGULATIONS GOVERNING INTERCONNECTION OF SMALL ELECTRIC GENERATORS, APPLICANT HEREBY GIVES NOTICE OF INTENT TO OPERATE A GENERATING FACILITY.

Section 1. Applicant Information

Name:______________________________________________________________

Mailing Address:________________________________________________________

City: ______________________________State: _____________ Zip Code: _____

Street Address: ______________________________________________________

City: ______________________________State: _____________ Zip Code: _____

Phone Number(s): ___________________________________________________

Fax Number: _____________________________ Email Address: _____________

Facility location (if different from above): __________________________________

Distribution Company: _________________________________________________

Distribution Company Account Number: ___________________________________

Energy Service Provider (ESP) (if different than electric distribution company):______________

ESP Account Number (if applicable): ______________________________________

Proposed Interconnection Date:_____________________________________________________

Section 2. Generating Facility Information

Facility owner and/or Operator name (if different from Applicant): ______________

Business relationship to applicant: _______________________________________

Mailing address: ______________________________________________________

City: ________________________________State: ____________ Zip Code: ______

Street Address: _______________________________________________________

City: ________________________________State: ____________ Zip Code: ______

Phone Number(s): ____________________________________________________

Fax Number: ______________________________ Email Address: _____________

Fuel Type:____________________________________________________________

Generator Manufacturer and Model: ______________________________________

Rated Capacity in kilowatts: AC: _________________________ DC: ____________

Inverter Manufacturer and Model:_________________________________________

Battery Backup (circle one): Yes No_____

Section 3. Information for Generators with an AC capacity in excess of 25 kilowatts

Is the proposed generator inverter based? Yes ____ No ____

Generator Type (circle one): Inverter Induction Synchronous

Frequency: ____________ Hz; Number of phases (circle one): One Three

Rated Capacity: DC _________KW; AC apparent ___________ KVA; AC real _________ KW;

Power factor ____________%; AC voltage _________; AC amperage___________

Facility schematic and equipment layout must be attached to this form.

Section 4. Vendor Certification

The system hardware is listed by Underwriters Laboratories to be in compliance with UL 1741.

Signed (Vendor): ______________________________________________ Date: __________

Name (printed): _______________________________________________________________

Company: ___________________________________________________________________

Phone Number: _______________________________

Mailing Address:_______________________________________________________________

City: _______________________________ State: _____________ Zip Code: _____________

Section 5. Electrician Certification

The system has been installed in accordance with the manufacturer's specifications as well as all applicable provisions of the National Electrical Code.

Signed (Licensed Electrician): ___________________________ Date: ______

Name (printed): ___________________________________________________

License Number: __________________________ Phone Number: ___________

Mailing Address: ____________________________________________________

City: ___________________________ State: _____________ Zip Code: _______

Utility signature signifies only receipt of this form, in compliance with the State Corporation Commission's net energy metering regulations, 20 VAC 5-315-30.

Signed (Utility Representative): ___________________________ Date: _______

I hereby certify that, to the best of my knowledge, all of the information provided in this Request Form is true and correct.

Signature of Applicant: _____________________________________________

Date:________________________

Schedule 2

Certification of Small Generator Equipment Packages

Small generating facility equipment proposed for use separately or packaged with other equipment in an interconnection system shall be considered certified for interconnected operation if (i) it has been tested in accordance with industry standards for continuous utility interactive operation in compliance with the appropriate codes and standards referenced below by any Nationally Recognized Testing Laboratory (NRTL) recognized by the United States Occupational Safety and Health Administration to test and certify interconnection equipment pursuant to the relevant codes and standards listed in SGIP Schedule 3, (ii) it has been labeled and is publicly listed by such NRTL at the time of the interconnection application, and (iii) such NRTL makes readily available for verification all test standards and procedures it utilized in performing such equipment certification, and, with consumer approval, the test data itself. The NRTL may make such information available on its website and by encouraging such information to be included in the manufacturer's literature accompanying the equipment.

The interconnection customer must verify that the intended use of the equipment falls within the use or uses for which the equipment was tested, labeled, and listed by the NRTL.

Certified equipment shall not require further type-test review, testing, or additional equipment to meet the requirements of this interconnection procedure; however, nothing herein shall preclude the need for an on-site commissioning test by the parties to the interconnection nor follow up production testing by the NRTL.

If the certified equipment package includes only interface components (switchgear, inverters, or other interface devices), then an interconnection customer must show that the generator or other electric source being utilized with the equipment package is compatible with the equipment package and is consistent with the testing and listing specified for this type of interconnection equipment.

Provided the generator or electric source, when combined with the equipment package, is within the range of capabilities for which it was tested by the NRTL, and does not violate the interface components' labeling and listing performed by the NRTL, no further design review, testing or additional equipment on the customer side of the point of common coupling shall be required to meet the requirements of this interconnection procedure.

An equipment package does not include equipment provided by the utility.

Schedule 3

Certification Codes and Standards

IEEE1547 Standard for Interconnecting Distributed Resources with Electric Power Systems (including use of IEEE 1547.1 testing protocols to establish conformity)

UL 1741 Inverters, Converters, and Controllers for Use in Independent Power Systems

IEEE Std 929-2000 IEEE Recommended Practice for Utility Interface of Photovoltaic (PV) Systems

NFPA 70 (2005), National Electrical Code

IEEE Std C37.90.1-1989 (R1994), IEEE Standard Surge Withstand Capability (SWC) Tests for Protective Relays and Relay Systems

IEEE Std C37.90.2 (1995), IEEE Standard Withstand Capability of Relay Systems to Radiated Electromagnetic Interference from Transceivers

IEEE Std C37.108-1989 (R2002), IEEE Guide for the Protection of Network Transformers

IEEE Std C57.12.44-2000, IEEE Standard Requirements for Secondary Network Protectors

IEEE Std C62.41.2-2002, IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits

IEEE Std C62.45-1992 (R2002), IEEE Recommended Practice on Surge Testing for Equipment Connected to Low-Voltage (1000V and Less) AC Power Circuits

ANSI C84.1-1995 Electric Power Systems and Equipment – Voltage Ratings (60 Hertz)

IEEE Std 100-2000, IEEE Standard Dictionary of Electrical and Electronic Terms

NEMA MG 1-1998, Motors and Small Resources, Revision 3

IEEE Std 519-1992, IEEE Recommended Practices and Requirements for Harmonic Control in Electrical Power Systems

NEMA MG 1-2003 (Rev 2004), Motors and Generators, Revision 1

Schedule 4

LEVEL 2 AND 3 INTERCONNECTION REQUEST FORM 
FOR SMALL GENERATING FACILITIES LESS THAN 20 MW

Distribution Company:_____________________________________________

Designated Contact Person: ________________________________________

Address: ________________________________________________________

Telephone Number: ________________________

Fax:________________________________

E-Mail Address: __________________________________________________

An Interconnection Request is considered complete when it provides all applicable and correct information required below.

Processing Fee or Deposit

If the Interconnection Request is submitted as Level 2, the nonrefundable processing fee payable to the distribution company is $500.

If the interconnection request is submitted as Level 3, the interconnection customer shall submit to the distribution company a deposit not to exceed $1,000 towards the cost of the feasibility study.

Interconnection Customer Information

Legal Name of the Interconnection Customer (or, if an individual, individual's name)

Name:__________________________________________________________

Account Number: _________________________________________________

Contact person:__________________________________________________

Mailing Address:__________________________________________________

City: State: Zip:___________________________________________________

Facility location (if different from above):_______________________________

Telephone (Day): __________________ Telephone (Evening): _____________

Fax: _________________________ E-Mail Address:_____________________

Alternative contact information (if different from the interconnection customer)

Contact Name: ___________________________________________________

Title: ___________________________________________________________

Address:________________________________________________________
_______________________________________________________________

Telephone (Day): ________________ Telephone (Evening): _______________

Fax: ___________________________ E-Mail Address: __________________

| Application is for: | New Small Generating Facility |
| --- | --- |
|  | Capacity addition to Existing Small Generating Facility |
| If capacity addition to existing facility, please describe: _______________________________________________________________ |
| Will the Small Generating Facility be used for any of the following? |
|  | To supply power to the interconnection customer? Yes ___No ___ |
|  | To supply power to others? Yes _______ No ____ |

Contact Name: ___________________________________________________

Title: ___________________________________________________________

Address: ________________________________________________________

Telephone (Day): ___________________Telephone (Evening): ____________

Fax: ___________________________ E-Mail Address: __________________

Requested point of interconnection: __________________________________

Interconnection customer's requested in-service date: ____________________

Small Generating Facility Information

Data apply only to the small generating facility, not the interconnection facilities.
Energy Source: ___ Solar ___ Wind ___ Hydro ___ Hydro Type (e.g. Run-of-River):_________ 
Diesel ___ Natural Gas ___ Fuel Oil ___ Other (state type) ______________________________
Prime Mover: Fuel Cell__ Recip Engine__ Gas Turb__ Steam Turb__ Microturbine__ PV__ Other__

Type of Generator: ____Synchronous ____Induction ____ Inverter
Generator Nameplate Rating: ________kW (Typical) Generator Nameplate kVAR: ______

Interconnection customer or customer-site load: _________________kW (if none, so state)

Typical reactive load (if known): _________________

Maximum physical export capability requested: ______________ kW

List components of the small generating facility equipment package that are currently certified:

| Equipment Type | Certifying Entity |
| --- | --- |
| 1.____________________________ | 1.____________________________ |
| 2.____________________________ | 2.____________________________ |
| 3.____________________________ | 3.____________________________ |
| 4.____________________________ | 4.____________________________ |
| 5.____________________________ | 5.____________________________ |

Is the prime mover compatible with the certified protective relay package? ____Yes ____No

Generator (or solar collector)

Manufacturer, model name & number:_____________________________________

Version Number:________________________________________________________

Nameplate Output Power Rating in kW: (Summer) _________ (Winter) ______

Nameplate Output Power Rating in kVA: (Summer) ________ (Winter) _______

Individual Generator Power Factor

Rated Power Factor: Leading: _____________Lagging: _______________

Total number of generators in wind farm to be interconnected pursuant to this

Interconnection Request: _______ Elevation: ____ ___Single phase ___Three phase

Inverter manufacturer, model name & number (if used):___________________

List of adjustable set points for the protective equipment or software:_________

Note: A completed power systems load flow data sheet must be supplied with the Interconnection Request.

Small Generating Facility Characteristic Data (for inverter-based machines)

Max design fault contribution current:________ Instantaneous_____ or RMS?_________

Harmonics characteristics: __________________________________________

Start-up requirements: _____________________________________________

Small Generating Facility Characteristic Data (for rotating machines)

RPM Frequency: _______________________________________________

(*) Neutral Grounding Resistor (If Applicable): ____________

Synchronous Generators:

Direct Axis Synchronous Reactance, Xd: _______ P.U.

Direct Axis Transient Reactance, X'd: ___________P.U.

Direct Axis Subtransient Reactance, X"d: ______________P.U.

Negative Sequence Reactance, X2: _________ P.U.

Zero Sequence Reactance, X0: ____________ P.U.

KVA Base: __________________________

Field Volts: ______________

Field Amperes: ______________

Induction Generators:

Motoring Power (kW): ______________

I2 2t or K (Heating Time Constant): ______________

Rotor Resistance, Rr: ______________

Stator Resistance, Rs: ______________

Stator Reactance, Xs: ______________

Rotor Reactance, Xr: ______________

Magnetizing Reactance, Xm: ______________

Short Circuit Reactance, Xd'': ______________

Exciting Current: ______________

Temperature Rise: ______________

Frame Size: ______________

Design Letter: ______________

Reactive Power Required In Vars (No Load): ______________

Reactive Power Required In Vars (Full Load): ______________

Total Rotating Inertia, H: _____________ Per Unit on kVA Base

Excitation and Governor System Data for Synchronous Generators Only

Provide appropriate IEEE model block diagram of excitation system, governor system and power system stabilizer (PSS) in accordance with the regional reliability council criteria. A PSS may be determined to be required by applicable studies. A copy of the manufacturer's block diagram may not be substituted.

Interconnection Facilities Information

Will a transformer be used between the generator and the point of common coupling? ___Yes ____No

Will the transformer be provided by the interconnection customer? ____Yes ____No

Transformer Data (If applicable, for interconnection customer-owned transformer):

Is the transformer: ____single phase _____three phase? Size: ___________kVA

Transformer Impedance: _______% on __________kVA Base

If Three Phase:

Transformer Primary:_____ Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Secondary: _____ Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Tertiary:_____ Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Fuse Data (If applicable, for interconnection customer-owned fuse):

(Attach copy of fuse manufacturer's minimum melt and total clearing time-current curves)

Manufacturer: ____________ Type: __________ Size: ______Speed: _______

Interconnecting Circuit Breaker (if applicable):

Manufacturer: ____________________________ Type: __________

Load Rating (Amps): ______ Interrupting Rating (Amps): _______ Trip Speed (Cycles): ______

Interconnection Protective Relays (If Applicable):

If microprocessor-controlled:

Manufacturer: ___________________________ Type: ___________________________ Model No. _____________ Firmware ID: _______________ Instruction Book No. ______________

List of functions and adjustable setpoints for the protective equipment or software:

| Setpoint Function | Minimum | Maximum |
| --- | --- | --- |
| 1.________________________________ | ____________ | __________ |
| 2.________________________________ | ____________ | __________ |
| 3.________________________________ | ____________ | __________ |
| 4.________________________________ | ____________ | __________ |
| 5.________________________________ | ____________ | __________ |
| 6.________________________________ | ____________ | __________ |

If Discrete Components:

(Enclose copy of any proposed time-overcurrent coordination curves)

Manufacturer: ___________Type: _______ Style/Catalog No.: ______ Proposed Setting: ______

Manufacturer: ___________Type: _______ Style/Catalog No.: ______ Proposed Setting: ______

Manufacturer: ___________Type: _______ Style/Catalog No.: ______ Proposed Setting: ______

Manufacturer: ___________Type: _______ Style/Catalog No.: ______ Proposed Setting: ______

Manufacturer: ___________Type: _______ Style/Catalog No.: ______ Proposed Setting: ______

Current Transformer Data (If applicable):

(Enclose copy of manufacturer's excitation and ratio correction curves)

Manufacturer:_________________________________________________

Type: _______ Accuracy Class: ________Proposed Ratio Connection: ____

Manufacturer:_________________________________________________

Type: _______ Accuracy Class: ________Proposed Ratio Connection: ____

Potential Transformer Data (If applicable):

Manufacturer:_________________________________________________

Type: __________ Accuracy Class: _______Proposed Ratio Connection: ____

Manufacturer:_________________________________________________

Type: ________ Accuracy Class: _________Proposed Ratio Connection: ____

General Information

Enclose copy of site electrical one-line diagram showing the configuration of all small generating facility equipment, current and potential circuits, and protection and control schemes.

Enclose copy of any site documentation that indicates the precise physical location of the proposed small generating facility (e.g., United States Geological Survey (USGS) topographic map or other diagram or documentation).

Proposed location of protective interface equipment on property (include address if different from the interconnection customer's address) ____________________________________________________

Enclose copy of any site documentation that describes and details the operation of the protection and control schemes. Is available documentation enclosed? ___Yes ____No

Enclose copies of schematic drawings for all protection and control circuits, relay current circuits, relay potential circuits, and alarm/monitoring circuits (if applicable).

Are schematic drawings enclosed? ___Yes ____No

Applicant Signature

I hereby certify that, to the best of my knowledge, all the information provided in this Interconnection Request is true and correct.

For Interconnection Customer: _________________________ Date: ________

Schedule 5

SMALL GENERATOR
INTERCONNECTION AGREEMENT (SGIA)
(For Small Generating Facilities Subject to the Level 3 Process)

This Interconnection Agreement ("Agreement") is made and entered into this ______ day of ____________, 20__, by _______________________________

("Distribution Company"), and ______________________________________

("Interconnection Customer") each hereinafter sometimes referred to individually as "Party" or both referred to collectively as the "Parties."

Distribution Company Information

Distribution Company: _____________________________________________

Attention: _______________________________________________________

Address: ________________________________________________________

City: ________________________ State: ________________ Zip: _________

Phone: _____________________ Fax: _______________________________

Interconnection Customer Information

Interconnection Customer: __________________________________________

Attention: _______________________________________________________

Address: ________________________________________________________

City: _________________________ State: _______________ Zip: _________

Phone: _______________________ Fax: _____________________________

Interconnection Customer Application No: _____________

In consideration of the mutual covenants set forth herein, the Parties agree as follows:

Article 1. Scope and Limitations of Agreement

1.1 This Agreement shall be used for all Interconnection Requests submitted under the Small Generator Interconnection Procedures (SGIP).

1.2 This Agreement governs the terms and conditions under which the Interconnection Customer's Small Generating Facility will interconnect with, and operate in parallel with, the utility's distribution system.

1.3 This Agreement does not constitute an agreement to purchase or deliver the Interconnection Customer's power. The purchase or delivery of power and other services that the Interconnection Customer may require will be covered under separate agreements. The Interconnection Customer will be responsible for separately making all necessary arrangements (including scheduling) for delivery of electricity with the applicable Distribution Company.

1.4 Nothing in this Agreement is intended to affect any other agreement between the Distribution Company and the Interconnection Customer.

1.5 Responsibilities of the Parties

1.5.1 The Parties shall perform all obligations of this Agreement in accordance with all applicable laws and regulations, operating requirements, and Good Distribution Company Practice.

1.5.2 The Interconnection Customer shall construct, interconnect, operate and maintain its Small Generating Facility and construct, operate, and maintain its Interconnection Facilities in accordance with the applicable manufacturer's recommended maintenance schedule, in accordance with this Agreement, and with Good Distribution Company Practice.

1.5.3 The Distribution Company shall construct, operate, and maintain its distribution and transmission system and interconnection facilities in accordance with this Agreement, and with Good Distribution Company Practice.

1.5.4 The Interconnection Customer agrees to construct its facilities or systems in accordance with applicable specifications that meet or exceed those provided by the National Electrical Safety Code, the American National Standards Institute, IEEE, Underwriter's Laboratory, and operating requirements in effect at the time of construction and other applicable national and state codes and standards. The Interconnection Customer agrees to design, install, maintain, and operate its small generating facility so as to reasonably minimize the likelihood of a disturbance adversely affecting or impairing the system or equipment of the Distribution Company or affected systems.

1.5.5 Each Party shall operate, maintain, repair, and inspect, and shall be fully responsible for the facilities that it now or subsequently may own unless otherwise specified in the Attachments to this Agreement. Each Party shall be responsible for the safe installation, maintenance, repair and condition of their respective lines and appurtenances on their respective sides of the point of change of ownership. The Distribution Company and the Interconnection Customer, as appropriate, shall provide Interconnection Facilities that adequately protect the Distribution Company's Transmission System, personnel, and other persons from damage and injury. The allocation of responsibility for the design, installation, operation,

maintenance and ownership of Interconnection Facilities shall be delineated in the Attachments to this Agreement.

1.5.6 The Distribution Company shall coordinate with all affected systems to support the interconnection.

1.6 Parallel operation obligations

Once the small generating facility has been authorized to commence parallel operation, the Interconnection Customer shall abide by all rules and procedures pertaining to the parallel operation of the small generating facility including, but not limited to the rules and procedures concerning the operation of generation set forth in the tariff.

1.7 Metering

The Interconnection Customer shall be responsible for the Distribution Company's reasonable and necessary cost for the purchase, installation, operation, maintenance, testing, repair, and replacement of metering and data acquisition equipment specified in Attachments 2 and 3 of this Agreement. The Interconnection Customer's metering (and data acquisition, as required) equipment shall conform to applicable industry rules and operating requirements.

1.8 Reactive power

1.8.1 The Interconnection Customer shall design its small generating facility to maintain a composite power delivery at continuous rated power output at the point of interconnection at a power factor within the range of 0.95 leading to 0.95 lagging, unless the Distribution Company has established different requirements that apply to all similarly situated generators in the control area on a comparable basis. The requirements of this paragraph shall not apply to wind generators.

1.8.2 The Distribution Company is required to pay the Interconnection Customer for reactive power that the Interconnection Customer provides or absorbs from the small generating facility when the Distribution Company requests the Interconnection Customer to operate its small generating facility outside the range specified in article 1.8.1. In addition, if the Distribution Company pays its own or affiliated generators for reactive power service within the specified range, it must also pay the Interconnection Customer.

1.8.3 Payments shall be in accordance with the Interconnection Customer's applicable rate schedule then in effect. To the extent that no rate schedule is in effect at the time the Interconnection Customer is required to provide or absorb reactive power under this Agreement, the Parties agree to expeditiously file such rate schedule and agree to support any request for waiver of the State Corporation Commission's prior notice requirement in order to compensate the Interconnection Customer from the time service commenced.

1.9 Capitalized terms used herein shall have the meanings specified in the Glossary of Terms in Attachment 1 to Schedule 5 or the body of this Agreement.

Article 2. Inspection, Testing, Authorization, and Right of Access

2.1 Equipment testing and inspection

2.1.1 The Interconnection Customer shall test and inspect its small generating facility and interconnection facilities prior to interconnection. The Interconnection Customer shall notify the Distribution Company of such activities no fewer than five business days (or as may be agreed to by the Parties) prior to such testing and inspection. Testing and inspection shall occur on a business day. The Distribution Company may, at its own expense, send qualified personnel to the small generating facility site to inspect the interconnection and observe the testing. The Interconnection Customer shall provide the Distribution Company a written test report when such testing and inspection is completed.

2.1.2 The Distribution Company shall provide the Interconnection Customer written acknowledgment that it has received the Interconnection Customer's written test report. Such written acknowledgment shall not be deemed to be or construed as any representation, assurance, guarantee, or warranty by the Distribution Company of the safety, durability, suitability, or reliability of the small generating facility or any associated control, protective, and safety devices owned or controlled by the Interconnection Customer or the quality of power produced by the small generating facility.

2.2 Authorization required prior to parallel operation

2.2.1 The Distribution Company shall use reasonable efforts to list applicable parallel operation requirements in Attachment 5 of this Agreement. Additionally, the Distribution Company shall notify the Interconnection Customer of any changes to these requirements as soon as they are known. The Distribution Company shall make reasonable efforts to cooperate with the Interconnection Customer in meeting requirements necessary for the Interconnection Customer to commence parallel operations by the in-service date.

2.2.2 The Interconnection Customer shall not operate its small generating facility in parallel with the Distribution Company's system without prior written authorization of the Distribution Company. The Distribution Company will provide such authorization once the Distribution Company receives notification that the Interconnection Customer has complied with all applicable parallel operation requirements. Such authorization shall not be unreasonably withheld, conditioned, or delayed.

2.3 Right of access

2.3.1 Upon reasonable notice, the Distribution Company may send a qualified person to the premises of the Interconnection Customer at or immediately before the time the small generating facility first produces energy to inspect the interconnection, and observe the commissioning of the small generating facility (including any required testing), startup, and operation for a period of up to three business days after initial start-up of the unit. In addition, the Interconnection Customer shall notify the Distribution Company at least five business days prior to conducting any on-site verification testing of the small generating facility.

2.3.2 Following the initial inspection process described above, at reasonable hours, and upon reasonable notice, or at any time without notice in the event of an emergency or hazardous condition, the Distribution Company shall have access to the Interconnection Customer's premises for any reasonable purpose in connection with the performance of the obligations imposed on it by this Agreement or if necessary to meet its legal obligation to provide service to its customers.

2.3.3 Each Party shall be responsible for its own costs associated with following this article.

Article 3. Effective Date, Term, Termination, and Disconnection

3.1 Effective date

This Agreement shall become effective upon execution by the Parties subject to acceptance by the State Corporation Commission's Division of Energy Regulation (if applicable), or if filed unexecuted, upon the date specified by the State Corporation Commission's Division of Energy Regulation. The Distribution Company shall promptly file this Agreement with the State Corporation Commission's Division of Energy Regulation upon execution, if required.

3.2 Term of Agreement

This Agreement shall become effective on the effective date and shall remain in effect for a period of 10 years from the effective date or such other longer period as the Interconnection Customer may request and shall be automatically renewed for each successive one-year period thereafter, unless terminated earlier in accordance with article 3.3 of this Agreement.

3.3 Termination

No termination shall become effective until the Parties have complied with all applicable laws and regulations applicable to such termination, including the filing with the State Corporation Commission's Division of Energy Regulation of a notice of termination of this Agreement (if required), which notice has been accepted for filing by commission's Division of Energy Regulation.

3.3.1 The Interconnection Customer may terminate this Agreement at any time by giving the Distribution Company 20 business days written notice.

3.3.2 Either Party may terminate this Agreement after default pursuant to article 7.6.

3.3.3 Upon termination of this Agreement, the small generating facility will be disconnected from the Distribution Company's system. The termination of this Agreement shall not relieve either Party of its liabilities and obligations, owed or continuing at the time of the termination.

3.3.4 This provisions of this article shall survive termination or expiration of this Agreement.

3.4 Temporary disconnection

Temporary disconnection shall continue only for so long as reasonably necessary under Good Distribution Company Practice.

3.4.1 Emergency Conditions -- "Emergency Condition" shall mean a condition or situation: (i) that in the judgment of the Party making the claim is imminently likely to endanger life or property; or (ii) that, in the case of the Distribution Company, is imminently likely (as determined in a non-discriminatory manner) to cause a material adverse effect on the security of, or damage to the distribution system, the Distribution Company's Interconnection Facilities or the electrical facilities of others to which the Distribution Company's distribution system is directly connected; or (iii) that, in the case of the Interconnection Customer, is imminently likely (as determined in a non-discriminatory manner) to cause a material adverse effect on the security of, or damage to, the small generating facility or the Interconnection Customer's interconnection facilities. Under emergency conditions, the Distribution Company may immediately suspend interconnection service and temporarily disconnect the small generating facility. The Distribution Company shall notify the Interconnection Customer promptly when it becomes aware of an emergency condition that may reasonably be expected to affect the Interconnection Customer's operation of the small generating facility. The Interconnection Customer shall notify the Distribution Company promptly when it becomes aware of an emergency condition that may reasonably be expected to affect the Distribution Company's system or other affected systems. To the extent information is known, the notification shall describe the emergency condition, the extent of the damage or deficiency, the expected effect on the operation of both Parties' facilities and operations, its anticipated duration, and the necessary corrective action.

3.4.2 Routine maintenance, construction, and repair

The Distribution Company may interrupt interconnection service or curtail the output of the small generating facility and temporarily disconnect the small generating facility from the Distribution Company's distribution system when necessary for routine maintenance, construction, and repairs on the Distribution Company's distribution system. The Distribution Company shall provide the Interconnection Customer with five business days notice prior to such interruption. The Distribution Company shall use reasonable efforts to coordinate such reduction or temporary disconnection with the Interconnection Customer.

3.4.3 Forced outages

During any forced outage, the Distribution Company may suspend interconnection service to effect immediate repairs on the Distribution Company's distribution system. The Distribution Company shall use reasonable efforts to provide the Interconnection Customer with prior notice. If prior notice is not given, the Distribution Company shall, upon request, provide the Interconnection Customer written documentation after the fact explaining the circumstances of the disconnection.

3.4.4 Adverse operating effects

The Distribution Company shall notify the Interconnection Customer as soon as practicable if, based on Good Distribution Company Practice, operation of the small generating facility may cause disruption or deterioration of service to other customers served from the same electric system, or if operating the small generating facility could cause damage to the Distribution Company's distribution system or affected systems. Supporting documentation used to reach the decision to disconnect shall be provided to the Interconnection Customer upon request. If, after notice, the Interconnection Customer fails to remedy the adverse operating effect within a reasonable time, the Distribution Company may disconnect the small generating facility. The Distribution Company shall provide the Interconnection Customer with a five business day notice of such disconnection, unless the provisions of article 3.4.1 apply.

3.4.5 Modification of the small generating facility

The Interconnection Customer must receive written authorization from the Distribution Company before making any change to the small generating facility that may have a material impact on the safety or reliability of the Distribution Company's system. Such authorization shall not be unreasonably withheld. Modifications shall be done in accordance with Good Distribution Company Practice. If the Interconnection Customer makes such modification without the Distribution Company's prior written authorization, the latter shall have the right to temporarily disconnect the small generating facility.

3.4.6 Reconnection

The Parties shall cooperate with each other to restore the small generating facility, interconnection facilities, and the Distribution Company's distribution system to their normal operating state as soon as reasonably practicable following a temporary disconnection.

Article 4. Cost Responsibility for Interconnection Facilities and Distribution Upgrades

4.1 Interconnection facilities

4.1.1 The Interconnection Customer shall pay for the cost of the interconnection facilities itemized in Attachment 2 of this Agreement. The Distribution Company shall provide a best estimate cost, including overheads, for the purchase and construction of its interconnection facilities and provide a detailed itemization of such costs. Costs associated with interconnection facilities may be shared with other entities that may benefit from such facilities by agreement of the Interconnection Customer, such other entities, and the Distribution Company.

4.1.2 The Interconnection Customer shall be responsible for its share of all reasonable expenses, including overheads, associated with (i) owning, operating, maintaining, repairing, and replacing its own interconnection facilities, and (ii) operating, maintaining, repairing, and replacing the Distribution Company's interconnection facilities.

4.2 Distribution upgrades

The Distribution Company shall design, procure, construct, install, and own the distribution upgrades described in Attachment 6 of this Agreement. If the Distribution Company and the Interconnection Customer agree, the Interconnection Customer may construct distribution upgrades that are located on land owned by the Interconnection Customer. The actual cost of the distribution upgrades, including overheads, shall be directly assigned to the Interconnection Customer.

Article 5. Cost Responsibility for System Upgrades

5.1 Applicability

No portion of this article 5 shall apply unless the interconnection of the small generating facility requires system upgrades.

5.2 System upgrades

The Distribution Company shall design, procure, construct, install, and own the system upgrades described in Attachment 3 of this Agreement. If the Distribution Company and the Interconnection Customer agree, the Interconnection Customer may construct system upgrades that are located on land owned by the Interconnection Customer. Unless the Distribution Company elects to pay for system upgrades, the actual cost of the system upgrades, including overheads, shall be borne initially by the Interconnection Customer.

5.2.1 Repayment of amounts advanced for system upgrades

The Interconnection Customer shall be entitled to a cash repayment, equal to the total amount paid to the Distribution Company and affected system operator, if any, for system upgrades, including any tax gross-up or other tax-related payments associated with the system upgrades, and not otherwise refunded to the Interconnection Customer, to be paid to the Interconnection Customer on a dollar-for-dollar basis for the nonusage sensitive portion of transmission charges, as payments are made under the Distribution Company's tariff and affected system's tariff for distribution services with respect to the small generating facility. Upgrades through the date on which the Interconnection Customer receives a repayment of such payment pursuant to this subparagraph. The Interconnection Customer may assign such repayment rights to any person.

5.2.1.1 Notwithstanding the foregoing, the Interconnection Customer, the Distribution Company, and affected system operator may adopt any alternative payment schedule that is mutually agreeable so long as the Distribution Company and affected system operator take one of the following actions no later than five years from the commercial operation date: (i) return to the Interconnection Customer any amounts advanced for system upgrades not previously repaid, or (ii) declare in writing that the Distribution Company or affected system operator will continue to provide payments to the Interconnection Customer on a dollar-for-dollar basis for the nonusage sensitive portion of transmission charges, or develop an alternative schedule that is mutually agreeable and provides for the return of all amounts advanced for system upgrades not previously repaid; however, full reimbursement shall not extend beyond 20 years from the commercial operation date.

5.2.1.2 If the small generating facility fails to achieve commercial operation, but it or another generating facility is later constructed and requires use of the system upgrades, the Distribution Company and affected system operator shall at that time reimburse the Interconnection Customer for the amounts advanced for the system upgrades. Before any such reimbursement can occur, the Interconnection Customer, or the entity that ultimately constructs the generating facility, if different, is responsible for identifying the entity to which reimbursement must be made.

5.3 Special provisions for affected systems

Unless the Distribution Company provides, under this Agreement, for the repayment of amounts advanced to affected system operator for system upgrades, the Interconnection Customer and affected system operator shall enter into an agreement that provides for such repayment. The agreement shall specify the terms governing payments to be made by the Interconnection Customer to affected system operator as well as the repayment by affected system operator.

5.4 Rights under other agreements

Notwithstanding any other provision of this Agreement, nothing herein shall be construed as relinquishing or foreclosing any rights, including but not limited to firm transmission rights, capacity rights, transmission congestion rights, or transmission credits, that the Interconnection Customer shall be entitled to, now or in the future, under any other agreement or tariff as a result of, or otherwise associated with system upgrades, including the right to obtain cash reimbursements or transmission credits for transmission service that is not associated with the small generating facility.

Article 6. Billing, Payment, Milestones, and Financial Security

6.1 Billing and payment procedures and final accounting

6.1.1 The Distribution Company shall bill the Interconnection Customer for the design, engineering, construction, and procurement costs of interconnection facilities and upgrades contemplated by this Agreement on a monthly basis, or as otherwise agreed by the Parties. The Interconnection Customer shall pay each bill within 30 calendar days of receipt, or as otherwise agreed to by the Parties.

6.1.2 Within three months of completing the construction and installation of the Distribution Company's interconnection facilities and/or upgrades described in the Attachments to this Agreement, the Distribution Company shall provide the Interconnection Customer with a final accounting report of any difference between (i) the Interconnection Customer's cost responsibility for the actual cost of such facilities or upgrades, and (ii) the Interconnection Customer's previous aggregate payments to the Distribution Company for such facilities or upgrades. If the Interconnection Customer's cost responsibility exceeds its previous aggregate payments, the Distribution Company shall invoice the Interconnection Customer for the amount due and the Interconnection Customer shall make payment to the Distribution Company within 30 calendar days. If the Interconnection Customer's previous aggregate payments exceed its cost responsibility under this Agreement, the Distribution Company shall refund to the Interconnection Customer an amount equal to the difference within 30 calendar days of the final accounting report.

6.2 Milestones

The Parties shall agree on milestones for which each Party is responsible and list them in Attachment 4 of this Agreement. A Party's obligations under this provision may be extended by agreement. If a Party anticipates that it will be unable to meet a milestone for any reason other than a Force Majeure Event, it shall immediately notify the other Party of the reason(s) for not meeting the milestone and (i) propose the earliest reasonable alternate date by which it can attain this and future milestones, and (ii) requesting appropriate amendments to Attachment 4. The Party affected by the failure to meet a milestone shall not unreasonably withhold agreement to such an amendment unless it will suffer significant uncompensated economic or operational harm from the delay, attainment of the same milestone has previously been delayed, or it has reason to believe that the delay in meeting the milestone is intentional or unwarranted notwithstanding the circumstances explained by the Party proposing the amendment.

6.3 Financial security arrangements

At least 20 business days prior to the commencement of the design, procurement, installation, or construction of a discrete portion of the Distribution Company's interconnection facilities and upgrades, the Interconnection Customer shall provide the Distribution Company, at the Interconnection Customer's option, a guarantee, a surety bond, letter of credit or other form of security that is reasonably acceptable to the Distribution Company and is consistent with the Uniform Commercial Code of the jurisdiction where the point of interconnection is located. Such security for payment shall be in an amount sufficient to cover the costs for constructing, designing, procuring, and installing the applicable portion of the Distribution Company's interconnection facilities and upgrades and shall be reduced on a dollar-for-dollar basis for payments made to the Distribution Company under this Agreement during its term. In addition:

6.3.1 The guarantee must be made by an entity that meets the creditworthiness requirements of the Distribution Company, and contain terms and conditions that guarantee payment of any amount that may be due from the Interconnection Customer, up to an agreed-to maximum amount.

6.3.2 The letter of credit or surety bond must be issued by a financial institution or insured reasonably acceptable to the Distribution Company and must specify a reasonable expiration date.

Article 7. Assignment, Liability, Indemnity, Force Majeure, Consequential Damages, and Default

7.1 Assignment

This Agreement may be assigned by either Party upon 15 business days prior written notice and opportunity to object by the other Party; provided that:

7.1.1 Either Party may assign this Agreement without the consent of the other Party to any affiliate of the assigning Party with an equal or greater credit rating and with the legal authority and operational ability to satisfy the obligations of the assigning Party under this Agreement;

7.1.2 The Interconnection Customer shall have the right to assign this Agreement, without the consent of the Distribution Company, for collateral security purposes to aid in providing financing for the small generating facility, provided that the Interconnection Customer will promptly notify the Distribution Company of any such assignment.

7.1.3 Any attempted assignment that violates this article is void and ineffective.

Assignment shall not relieve a Party of its obligations, nor shall a Party's obligations be enlarged, in whole or in part, by reason thereof. An assignee is responsible for meeting the same financial, credit, and insurance obligations as the Interconnection Customer. Where required, consent to assignment will not be unreasonably withheld, conditioned or delayed.

7.2 Limitation of liability

Each Party's liability to the other Party for any loss, cost, claim, injury, liability, or expense, including reasonable attorney's fees, relating to or arising from any act or omission in its performance of this Agreement, shall be limited to the amount of direct damage actually incurred. In no event shall either Party be liable to the other Party for any indirect, special, consequential, or punitive damages, except as authorized by this Agreement.

7.3 Indemnity

7.3.1 This provision protects each Party from liability incurred to third parties as a result of carrying out the provisions of this Agreement. Liability under this provision is exempt from the general limitations on liability found in article 7.2.

7.3.2 The Parties shall at all times indemnify, defend, and hold the other Party harmless from, any and all damages, losses, claims, including claims and actions relating to injury to or death of any person or damage to property, demand, suits, recoveries, costs and expenses, court costs, attorney fees, and all other obligations by or to third parties, arising out of or resulting from the other Party's action or failure to meet its obligations under this Agreement on behalf of the indemnifying Party, except in cases of gross negligence or intentional wrongdoing by the indemnified Party.

7.3.3 If an indemnified person is entitled to indemnification under this article as a result of a claim by a third party, and the indemnifying Party fails, after notice and reasonable opportunity to proceed under this article, to assume the defense of such claim, such indemnified person may at the expense of the indemnifying Party contest, settle or consent to the entry of any judgment with respect to, or pay in full, such claim.

7.3.4 If an indemnifying party is obligated to indemnify and hold any indemnified person harmless under this article, the amount owing to the indemnified person shall be the amount of such indemnified person's actual loss, net of any insurance or other recovery.

7.3.5 Promptly after receipt by an indemnified person of any claim or notice of the commencement of any action or administrative or legal proceeding or small generator investigation as to which the indemnity provided for in this article may apply, the indemnified person shall notify the indemnifying party of such fact. Any failure of or delay in such notification shall not affect a Party's indemnification obligation unless such failure or delay is materially prejudicial to the indemnifying party.

7.4 Consequential damages

Other than as expressly provided for in this Agreement, neither Party shall be liable under any provision of this Agreement for any losses, damages, costs or expenses for any special, indirect, incidental, consequential, or punitive damages, including but not limited to loss of profit or revenue, loss of the use of equipment, cost of capital, cost of temporary equipment or services, whether based in whole or in part in contract, in tort, including negligence, strict liability, or any other theory of liability; provided that damages for which a Party may be liable to the other Party under another agreement will not be considered to be special, indirect, incidental, or consequential damages hereunder.

7.5 Force Majeure

7.5.1 As used in this article, a Force Majeure Event means "any act of God, labor disturbance, act of the public enemy, war, insurrection, riot, fire, storm or flood, explosion, breakage or accident to machinery or equipment, any order, regulation or restriction imposed by governmental, military or lawfully established civilian authorities, or any other cause beyond a Party's control. A Force Majeure Event does not include an act of negligence or intentional wrongdoing."

7.5.2 If a Force Majeure Event prevents a Party from fulfilling any obligations under this Agreement, the Party affected by the Force Majeure Event (Affected Party) shall promptly notify the other Party, either in writing or via the telephone, of the existence of the Force Majeure Event. The notification must specify in reasonable detail the circumstances of the Force Majeure Event, its expected duration, and the steps that the Affected Party is taking to mitigate the effects of the event on its performance. The Affected Party shall keep the other Party informed on a continuing basis of developments relating to the Force Majeure Event until the event ends. The Affected Party will be entitled to suspend or modify its performance of obligations under this Agreement (other than the obligation to make payments) only to the extent that the effect of the Force Majeure Event cannot be mitigated by the use of reasonable efforts. The Affected Party will use reasonable efforts to resume its performance as soon as possible.

7.6 Default

7.6.1 No default shall exist where such failure to discharge an obligation (other than the payment of money) is the result of a Force Majeure Event as defined in this Small Generator Interconnection Agreement or the result of an act or omission of the other Party. Upon a default, the nondefaulting Party shall give written notice of such default to the defaulting Party. Except as provided in article 7.6.2, the defaulting Party shall have 60 calendar days from receipt of the default notice within which to cure the default; however, if the default is not capable of cure within 60 calendar days, the defaulting Party shall commence the cure within 20 calendar days after notice and continuously and diligently complete the cure within six months from receipt of the default notice; and, if cured within such time, the default specified in such notice shall cease to exist.

7.6.2 If a default is not cured as provided in this article, or if a default is not capable of being cured within the period provided for herein, the nondefaulting Party shall have the right to terminate this Agreement by written notice at any time until cure occurs, and be relieved of any further obligation hereunder and, whether or not that Party terminates this Agreement, to recover from the defaulting Party all amounts due hereunder, plus all other damages and remedies to which it is entitled at law or in equity. The provisions of this article will survive termination of this Agreement.

Article 8. Insurance

8.1 The Interconnection Customer shall, at its own expense, maintain in force general liability insurance without any exclusion for liabilities related to the interconnection undertaken pursuant to this Agreement. The amount of such insurance shall be sufficient to insure against all reasonably foreseeable direct liabilities given the size and nature of the generating equipment being interconnected, the interconnection itself, and the characteristics of the system to which the interconnection is made. The Interconnection Customer shall obtain additional insurance only if necessary as a function of owning and operating a generating facility. Insurance shall be obtained from an insurance provider authorized to do business in the State where the interconnection is located. Certification that such insurance is in effect shall be provided upon request of the Distribution Company, except that the Interconnection Customer shall show proof of insurance to the Distribution Company no later than 10 business days prior to the anticipated commercial operation date. An Interconnection Customer of sufficient creditworthiness may propose to self-insure for such liabilities, and such a proposal shall not be unreasonably rejected.

8.2 The Distribution Company agrees to maintain general liability insurance or self insurance consistent with the Distribution Company's commercial practice. Such insurance or self-insurance shall not exclude coverage for the Distribution Company's liabilities undertaken pursuant to this Agreement.

8.3 The Parties further agree to notify each other whenever an accident or incident occurs resulting in any injuries or damages that are included within the scope of coverage of such insurance, whether or not such coverage is sought.

Article 9. Confidentiality

9.1 Confidential information shall mean any confidential and/or proprietary information provided by one Party to the other Party that is clearly marked or otherwise designated "Confidential." For purposes of this Agreement all design, operating specifications, and metering data provided by the Interconnection Customer shall be deemed confidential information regardless of whether it is clearly marked or otherwise designated as such.

9.2 Confidential information does not include information previously in the public domain, required to be publicly submitted or divulged by governmental authorities (after notice to the other Party and after exhausting any opportunity to oppose such publication or release), or necessary to be divulged in an action to enforce this Agreement. Each Party receiving confidential information shall hold such information in confidence and shall not disclose it to any third party nor to the public without the prior written authorization from the Party providing that information, except to fulfill obligations under this Agreement, or to fulfill legal or regulatory requirements.

9.2.1 Each Party shall employ at least the same standard of care to protect confidential information obtained from the other Party as it employs to protect its own confidential information.

9.2.2 Each Party is entitled to equitable relief, by injunction or otherwise, to enforce its rights under this provision to prevent the release of confidential information without bond or proof of damages, and may seek other remedies available at law or in equity for breach of this provision.

Article 10. Disputes

10.1 The Parties agree to attempt to resolve all disputes arising out of the interconnection process according to the provisions of this article.

10.2 In the event of a dispute, either Party shall provide the other Party with a written Notice of Dispute. Such Notice shall describe in detail the nature of the dispute.

10.3 If the dispute has not been resolved within two business days after receipt of the Notice, either Party may contact the Division of Energy Regulation for assistance in resolving the dispute.

10.4 Each Party agrees to conduct all negotiations in good faith and will be responsible for one-half of any costs paid to neutral third-parties.

10.5 If neither Party elects to seek assistance from the State Corporation Commission's Division of Energy Regulation, or if the attempted dispute resolution fails, then either Party may exercise whatever rights and remedies it may have in equity or law consistent with the terms of this Agreement.

Article 11. Taxes

11.1 The Parties agree to follow all applicable tax laws and regulations

11.2 Each Party shall cooperate with the other to maintain the other Party's tax status. Nothing in this Agreement is intended to adversely affect the Distribution Company's tax exempt status with respect to the issuance of bonds including, but not limited to, local furnishing bonds.

Article 12. Miscellaneous

12.1 Governing Law, Regulatory Authority, and Rules

The validity, interpretation and enforcement of this Agreement and each of its provisions shall be governed by the laws of the state Virginia without regard to its conflicts of law principles. This Agreement is subject to all applicable laws and regulations. Each Party expressly reserves the right to seek changes in, appeal, or otherwise contest any laws, orders, or regulations of a governmental authority.

12.2 Amendment

The Parties may amend this Agreement by a written instrument duly executed by both Parties.

12.3 No Third-Party Beneficiaries

This Agreement is not intended to and does not create rights, remedies, or benefits of any character whatsoever in favor of any persons, corporations, associations, or entities other than the Parties, and the obligations herein assumed are solely for the use and benefit of the Parties, their successors in interest and where permitted, their assigns.

12.4 Waiver

12.4.1 The failure of a Party to this Agreement to insist, on any occasion, upon strict performance of any provision of this Agreement will not be considered a waiver of any obligation, right, or duty of, or imposed upon, such Party.

12.4.2 Any waiver at any time by either Party of its rights with respect to this Agreement shall not be deemed a continuing waiver or a waiver with respect to any other failure to comply with any other obligation, right, duty of this Agreement. Termination or default of this Agreement for any reason by Interconnection Customer shall not constitute a waiver of the Interconnection Customer's legal rights to obtain an interconnection from the Distribution Company. Any waiver of this Agreement shall, if requested, be provided in writing.

12.5 Entire Agreement

This Agreement, including all Attachments, constitutes the entire agreement between the Parties with reference to the subject matter hereof, and supersedes all prior and contemporaneous understandings or agreements, oral or written, between the Parties with respect to the subject matter of this Agreement. There are no other agreements, representations, warranties, or covenants which constitute any part of the consideration for, or any condition to, either Party's compliance with its obligations under this Agreement.

12.6 Multiple Counterparts

This Agreement may be executed in two or more counterparts, each of which is deemed an original but all constitute one and the same instrument.

12.7 No Partnership

This Agreement shall not be interpreted or construed to create an association, joint venture, agency relationship, or partnership between the Parties or to impose any partnership obligation or partnership liability upon either Party. Neither Party shall have any right, power or authority to enter into any agreement or undertaking for, or act on behalf of, or to act as or be an agent or representative of, or to otherwise bind, the other Party.

12.8 Severability

If any provision or portion of this Agreement shall for any reason be held or adjudged to be invalid or illegal or unenforceable by any court of competent jurisdiction or other governmental authority, (i) such portion or provision shall be deemed separate and independent, (ii) the Parties shall negotiate in good faith to restore insofar as practicable the benefits to each Party that were affected by such ruling, and (iii) the remainder of this Agreement shall remain in full force and effect.

12.9 Environmental Releases

Each Party shall notify the other Party, first orally and then in writing, of the release of any hazardous substances, any asbestos or lead abatement activities, or any type of remediation activities related to the small generating facility or the interconnection facilities, each of which may reasonably be expected to affect the other Party. The notifying Party shall (i) provide the notice as soon as practicable, provided such Party makes a good faith effort to provide the notice no later than 24 hours after such Party becomes aware of the occurrence, and (ii) promptly furnish to the other Party copies of any publicly available reports filed with any governmental authorities addressing such events.

12.10 Subcontractors

Nothing in this Agreement shall prevent a Party from utilizing the services of any subcontractor as it deems appropriate to perform its obligations under this Agreement; however, each Party shall require its subcontractors to comply with all applicable terms and conditions of this Agreement in providing such services and each Party shall remain primarily liable to the other Party for the performance of such subcontractor.

12.10.1 The creation of any subcontract relationship shall not relieve the hiring Party of any of its obligations under this Agreement. The hiring Party shall be fully responsible to the other Party for the acts or omissions of any subcontractor the hiring Party hires as if no subcontract had been made; however, in no event shall the Distribution Company be liable for the actions or inactions of the Interconnection Customer or its subcontractors with respect to obligations of the Interconnection Customer under this Agreement. Any applicable obligation imposed by this Agreement upon the hiring Party shall be equally binding upon, and shall be construed as having application to, any subcontractor of such Party.

12.10.2 The obligations under this article will not be limited in any way by any limitation of subcontractor's insurance.

12.11 Reservation of Rights

The Distribution Company shall have the right to make a unilateral filing with the Commission to modify this Agreement with respect to any rates, terms and conditions, charges, classifications of service, rule or regulation.

Article 13. Notices

13.1 General

Unless otherwise provided in this Agreement, any written notice, demand, or request required or authorized in connection with this Agreement ("Notice") shall be deemed properly given if delivered in person, delivered by recognized national currier service, or sent by first class mail, postage prepaid, to the person specified below:

If to the Interconnection Customer:

Interconnection Customer: __________________________

Attention: _______________________________________

Address: ________________________________________

City: ___________________ State:________ Zip:_______

Phone: __________________ Fax: ___________________

If to the Distribution Company:

Distribution Company: _____________________________

Attention: _______________________________________

Address:_________________________________________

City: _____________________ State:______ Zip:_______

Phone: __________________ Fax: ___________________

13.2 Billing and Payment

Billings and payments shall be sent to the addresses set out below:

If to the Interconnection Customer:

Interconnection Customer: __________________________

Attention: _______________________________________

Address: ________________________________________

City: ____________________ State:_______ Zip:_______

If to the Distribution Company:

Distribution Company: _____________________________

Attention: _______________________________________

Address:_________________________________________

City: _____________________ State:______ Zip:_______

13.3 Alternative Forms of Notice

Any notice or request required or permitted to be given by either Party to the other and not required by this Agreement to be given in writing may be so given by telephone, facsimile or e-mail to the telephone numbers and e-mail addresses set out below:

If to the Interconnection Customer:

Interconnection Customer: __________________________

Attention: _______________________________________

Address: ________________________________________

City: ____________________ State:_______ Zip:_______

Phone: ___________________ Fax: __________________

If to the Distribution Company:

Distribution Company: _____________________________

Attention: _______________________________________

Address:_________________________________________

City: _____________________ State:______ Zip:_______

Phone: __________________ Fax: ___________________

13.4 Designated Operating Representative

The Parties may also designate operating representatives to conduct the communications which may be necessary or convenient for the administration of this Agreement. This person will also serve as the point of contact with respect to operations and maintenance of the Party's facilities.

Interconnection Customer's Operating Representative:

Interconnection Customer: __________________________

Attention: _______________________________________

Address: ________________________________________

City: ____________________ State:_______ Zip:_______

Phone: __________________ Fax: ___________________

Distribution Company's Operating Representative:

Distribution Company: _____________________________

Attention: _______________________________________

Address:_________________________________________

City: ____________________ State:_______ Zip:_______

Phone: __________________ Fax: ___________________

13.5 Changes to the Notice Information

Either Party may change this information by giving five business days written notice prior to the effective date of the change.

Article 14. Signatures

IN WITNESS WHEREOF, the Parties have caused this Agreement to be executed by their respective duly authorized representatives.

For the Distribution Company

Name: __________________________________________

Title: ___________________________________________

Date: ___________________________________________

For the Interconnection Customer

Name: __________________________________________

Title: ___________________________________________

Date: ___________________________________________

Attachment 1 to
Schedule 5

Glossary of Terms

Affected system – An electric system other than the Distribution Company's transmission system that may be affected by the proposed interconnection.

Applicable laws and regulations – All duly promulgated applicable federal, state and local laws, regulations, rules, ordinances, codes, decrees, judgments, directives, or judicial or administrative orders, permits and other duly authorized actions of any governmental authority.

Business Day – Monday through Friday, excluding federal holidays.

Default – The failure of a breaching Party to cure its breach under the Small Generator Interconnection Agreement.

Distribution Company – The Utility that owns and/or operates the Distribution System located in Virginia to which the small generation facility proposes to interconnect its small generating facility.

Distribution system – The Distribution Company's facilities and equipment used to transmit electricity to ultimate usage points such as homes and industries directly from nearby generators or from interchanges with higher voltage transmission systems which transport bulk power over longer distances. The voltage levels at which distribution systems operate differ among areas.

Distribution upgrades – The additions, modifications, and upgrades to the Distribution Company's distribution system at or beyond the point of interconnection to facilitate interconnection of the small generating facility and render the transmission service necessary to effect the Interconnection Customer's wholesale sale of electricity in interstate commerce. Distribution upgrades do not include interconnection facilities.

Good Distribution Company Practice – Any of the practices, methods and acts engaged in or approved by a significant portion of the electric industry during the relevant time period, or any of the practices, methods and acts which, in the exercise of reasonable judgment in light of the facts known at the time the decision was made, could have been expected to accomplish the desired result at a reasonable cost consistent with good business practices, reliability, safety and expedition. Good Distribution Company Practice is not intended to be limited to the optimum practice, method, or act to the exclusion of all others, but rather to be acceptable practices, methods, or acts generally accepted in the region.

Governmental authority – Any federal, state, local or other governmental regulatory or administrative agency, court, commission, department, board, or other governmental subdivision, legislature, rulemaking board, tribunal, or other governmental authority having jurisdiction over the Parties, their respective facilities, or the respective services they provide, and exercising or entitled to exercise any administrative, executive, police, or taxing authority or power; provided that such term does not include the Interconnection Customer, the interconnection provider, or any Affiliate thereof.

Interconnection Customer – Any entity, including the Distribution Company, the transmission owner or any of the affiliates or subsidiaries of either, that proposes to interconnect its small generating facility with the Distribution Company's transmission system.

Interconnection facilities – The Distribution Company's interconnection facilities and the Interconnection Customer's interconnection facilities. Collectively, interconnection facilities include all facilities and equipment between the small generating facility and the point of interconnection, including any modification, additions or upgrades that are necessary to physically and electrically interconnect the small generating facility to the Distribution Company's transmission system. Interconnection facilities are sole use facilities and shall not include distribution upgrades or system upgrades.

Interconnection request – The Interconnection Customer's request, in accordance with the tariff, to interconnect a new small generating facility, or to increase the capacity of, or make a material modification to the operating characteristics of, an existing small generating facility that is interconnected with the Distribution Company's system.

Material modification – A modification that has a material impact on the cost or timing of any Interconnection Request with a later queue priority date.

System upgrades – Additions, modifications, and upgrades to the Distribution Company's distribution and transmission system required at or beyond the point at which the small generating facility interconnects with the system to accommodate the interconnection of the small generating facility with the Distribution Company's transmission system.

Operating requirements – Any operating and technical requirements that may be applicable due to Regional Transmission Organization, Independent System Operator, control area, or the Distribution Company's requirements, including those set forth in the Small Generator Interconnection Agreement.

Party or Parties – The Distribution Company, Interconnection Customer or any combination of the above.

Point of interconnection – The point where the interconnection facilities connect with the Distribution Company's transmission system.

Reasonable efforts – With respect to an action required to be attempted or taken by a Party under the Small Generator Interconnection Agreement, efforts that are timely and consistent with Good Distribution Company Practice and are otherwise substantially equivalent to those a Party would use to protect its own interests.

Small Generating Facility – The Interconnection Customer's device for the production of electricity identified in the Interconnection Request, but shall not include the Interconnection Customer's interconnection facilities.

Tariff – The rates, terms and conditions filed by the utility with the State Corporation Commission for the purpose of providing commission-regulated electric service to retail customers.

Upgrades – The required additions and modifications to the Distribution Company's distribution or transmission system at or beyond the point of interconnection. Upgrades do not include interconnection facilities.

Attachment 2 to
Schedule 5

Description and Costs of the Small Generating Facility, Interconnection Facilities, and Metering Equipment

Equipment, including the small generating facility, interconnection facilities, and metering equipment shall be itemized and identified as being owned by the Interconnection Customer or the Distribution Company. The Distribution Company will provide a best estimate itemized cost, including overheads, of its interconnection facilities and metering equipment, and a best estimate itemized cost of the annual operation and maintenance expenses associated with its interconnection facilities and metering equipment.

Attachment 3 to
Schedule 5

[Diagram to be provided by applicant]

One-line Diagram Depicting the Small Generating Facility, Interconnection Facilities, Metering Equipment, and Upgrades

Attachment 4 to
Schedule 5

Milestones

In-Service Date: ___________________

Critical milestones and responsibility as agreed to by the Parties:

| Milestone/Date | Responsible Party |
| --- | --- |
| (1)__________________ | __________________ |
| (2)__________________ | __________________ |
| (3)__________________ | __________________ |
| (4)__________________ | __________________ |
| (5)__________________ | __________________ |
| (6)__________________ | __________________ |
| (7)__________________ | __________________ |
| (8)__________________ | __________________ |
| (9)__________________ | __________________ |
| (10)_________________ | __________________ |

Agreed to by:

For the Distribution Company________________________ Date_____________

For the Transmission Owner (If Applicable) ____________ Date____________

For the Interconnection Customer_____________________ Date___________

Attachment 5 to
Schedule 5

Additional Operating Requirements for the Distribution Company's System and Affected Systems Needed to Support the Interconnection Customer's Needs

The Distribution Company shall also provide requirements that must be met by the Interconnection Customer prior to initiating parallel operation with the Distribution Company's system.

Attachment 6 to
Schedule 5

Distribution Company's Description of its Upgrades and Best Estimate of Upgrade Costs

The Distribution Company shall describe upgrades and provide an itemized estimate of the cost, including overheads, of the upgrades and annual operation and maintenance expenses associated with such upgrades. The Distribution Company shall functionalize upgrade costs and annual expenses as either transmission or distribution related.

Attestation

VA.R. Doc. No. R08-1147; Filed February 26, 2008, 2:56 p.m.