TITLE 9. ENVIRONMENT

STATE WATER CONTROL BOARD

Proposed Regulation

Title of Regulation: 9VAC25-260. Water Quality Standards (amending 9VAC25-260-10, 9VAC25-260-20, 9VAC25-260-30, 9VAC25-260-50, 9VAC25-260-90, 9VAC25-260-140, 9VAC25-260-170, 9VAC25-260-185, 9VAC25-260-310, 9VAC25-260-350, 9VAC25-260-360, 9VAC25-260-380, 9VAC25-260-390, 9VAC25-260-400, 9VAC25-260-410, 9VAC25-260-415, 9VAC25-260-420, 9VAC25-260-430, 9VAC25-260-440, 9VAC25-260-450, 9VAC25-260-460, 9VAC25-260-470, 9VAC25-260-480, 9VAC25-260-490, 9VAC25-260-500, 9VAC25-260-510, 9VAC25-260-520, 9VAC25-260-530, 9VAC25-260-540, repealing 9VAC25-260-55, 9VAC25-260-290, 9VAC25-260-320).

Statutory Authority: §62.1-44.15 of the Code of Virginia; Clean Water Act (33 USC §1251 et seq.); 40 CFR Part 131.

Public Hearing Information:

May 1, 2008 - 7 p.m. - Department of Environmental Quality, West Central Regional Office, Conference Room 600, 3019 Peters Creek Road, Roanoke, VA

May 8, 2008 - 7 p.m. - Department of Environmental Quality, Tidewater Regional Office, Conference Rooms 1, 2 and 3, 5636 Southern Boulevard, Virginia Beach, Roanoke, VA

May 2, 2008 - 10 am - Department of Environmental Quality, Piedmont Regional Office, Training Room, 4949-A Cox Road, Glen Allen, Roanoke, VA

Public Comments: Public comments may be submitted until 5 p.m. on May 30, 2008.

Agency Contact: Jean W. Gregory, Department of Environmental Quality, P.O. Box 1105, 629 East Main Street, Richmond, VA 23218, telephone (804) 698-4113, FAX (804) 698-4116, or email jwgregory@deq.virginia.gov.

Basis: Federal and state mandates in the Clean Water Act at §303(c), 40 CFR Part 131, and §62.1-44.15(3a) of the Code of Virginia require that water quality standards be adopted, modified or cancelled every three years. These are the most relevant laws and regulations.  The promulgating entity is the State Water Control Board.

The Clean Water Act authorizes restoration and maintenance of the chemical, physical, and biological integrity of the nation's waters. The Clean Water Act at §303(c)(1) requires that the states hold public hearings for the purpose of reviewing applicable water quality standards and, as appropriate, modifying and adopting standards.

The federal regulations at 40 CFR Part 131 authorize requirements and procedures for developing, reviewing, revising and approving water quality standards by the states as authorized by §303(c) of the Clean Water Act. 40 CFR Part 131 specifically requires the states to adopt criteria to protect designated uses.

The State Water Control Law (i) authorizes protection and restoration of the quality of state waters, (ii) safeguarding the clean waters from pollution, (iii) prevention and reduction of pollution, and (iv) promotion of water conservation. The State Water Control Law (§62.1-44.15(3a) of the Code of Virginia) requires the board to establish standards of quality and to modify, amend or cancel any such standards or policies. It also requires the board to hold public hearings from time to time for the purpose of reviewing the water quality standards and, as appropriate, adopting, modifying or canceling such standards.

The authority to adopt standards as provided by the provisions in the previously referenced citations is mandated, although the specific standards to be adopted or modified are discretionary to the Environmental Protection Agency and the state.

Purpose: The rulemaking is essential to the protection of health, safety or welfare of the citizens of the Commonwealth because proper water quality standards protect water quality and living resources of Virginia's waters for consumption of fish and shellfish, recreational uses and conservation in general.

These standards will be used in setting Virginia Pollutant Discharge Elimination System Permit limits and for evaluating the waters of the Commonwealth for inclusion in the Clean Water Act §305(b) report and on the §303(d) list. Waters not meeting standards will require development of a total maximum daily load under the Clean Water Act at §303(e). The Water Quality Standards are the cornerstone for all these other programs. It is the goal to provide the citizens of the Commonwealth with a technical regulation that is protective of water quality in surface waters, reflects recent scientific information, reflects agency procedures, and is reasonable and practical.

The environment will benefit because implementation of these amendments will result in better water quality in the Commonwealth for recreation, consumption of fish and shellfish, and protection of aquatic life.

A specific goal of these amendments was to address several problems related to the clean up plans (known as total maximum daily loads or TMDLs) for impaired waters that became evident to the agency in the last several years. For example, the existing bacteria criteria resulted in unreasonable and unattainable end points. This makes many TMDLs impractical to implement and, for stakeholders, undermines the feasibility of achieving standards and the credibility of the program. Staff has done some preliminary modeling efforts and found that the slight adjustment from 126 CFU to 206 CFU provides more reasonable, but still very challenging, bacteria reduction targets in some watersheds. For example, at the current level many watersheds must eliminate 100% of the bacteria loading to the watershed, including natural input from wildlife. As illustrated in the following table, the suggested increase in the criteria allows for reasonable, but challenging, attainment compared to unrealistic bacteria loading caps.

| Percent Reductions in Bacteria Loading from Source Categories |
| --- |
| Needed to Achieve Existing Criteria vs. Proposed Criteria |
| SOURCE CATEGORY | Lower Pigg River | Chestnut Creek | Northeast Creek |
|  | Existing | Proposed | Existing | Proposed | Existing | Proposed |
| Straight Pipes/Failing On-Site Systems | 100 | 100 | 100 | 100 | 100 | 100 |
| Livestock | 100 | 80 | 65 | 0 | 100 | 98 |
| Agricultural Runoff | 100 | 0 | 98 | 76 | 100 | 86 |
| Residential/Urban Runoff | 100 | 0 | 98 | 78 | 100 | 100 |
| Wildlife | 30 | 0 | 0 | 0 | 92 | 86 |

Under the proposed criteria, a more cost-effective mix of approaches can be relied upon to achieve standards. Generally, direct inputs of bacteria, from straight pipes and livestock in streams, are primary implementation targets because of human health concerns and relative ease of corrective action. Reductions from runoff are more difficult to control and expensive to treat due to the large areas affected and diffuse nature.

The addition of several special site specific standards will prevent several unreasonable TMDLs from moving forward. For example, the special standard proposed in 9 VAC 25-260-310 gg is a new benthic numerical criterion for the Little Calfpasture River that reflects a subcategory of aquatic life uses due to the presence of Goshen Dam. It is common that aquatic life uses will be modified below dams. However, the standards currently do not reflect this and the result was a TMDL that cannot be reasonably implemented without removal of the dam. If the standard is adopted, the TMDL will not need to include removal of the dam as an option. By adopting this and the other special standards, the goal of solving some of the problems related to unreasonable and unattainable TMDLs will be achieved.

Substance:

Dissolved Oxygen, pH in Class VII, Swamp Waters 9VAC25-260-50

Virginia has some unique aquatic ecosystems in eastern and southeastern Virginia that are naturally low in dissolved oxygen (D.O.) and pH and the aquatic biota have adapted to these conditions. While the regulation includes a separate classification for these waters (Class VII Swamp Waters), many waters have been listed as impaired under §303(d) of the Clean Water Act for D.O. and pH because they were listed prior to having specific information about the natural conditions of these waters.  To address this concern, a narrative exemption from the dissolved oxygen and pH criteria is proposed for these waters when it is determined that conditions are natural and not due to human-induced sources. It was decided that the most protective approach would be to use a narrative criterion to recognize the natural fluctuations of these waters rather than to develop numerical criteria for each swamp. This approach is supported by the Department of Game and Inland Fisheries and the US Fish and Wildlife Service. In addition to the narrative, the proposal includes an adjustment to the existing Class VII pH criterion from 4.3 – 9.0 to 3.7-8.0 to better reflect natural conditions.

The proposal also includes the deletion of section 55 (implementation procedure for dissolved oxygen criteria in waters naturally low in dissolved oxygen). This section was designed to address natural dissolved oxygen impairments for the stratified waters of the Bay, stratified lakes and swamp waters. The Bay and lakes have been addressed via other rulemakings and since we are now addressing the swamp waters via a narrative criterion, the section is no longer needed.

Table of Parameters (Toxics) 9VAC25-260-140

The Table of Parameters has been updated and 93 of the human health parameters have been recalculated using the EPA 2000 Human Health Methodology. The new methodology results in human health criteria that are 60-80% more stringent.

Also included in the Table of Parameters is a new fish tissue criterion for methyl mercury of 0.30 mg/kg. Mercury is methylated quickly in the environment and bioaccumulated in the fatty tissue of fish. EPA determined the best way to protect designated uses was to develop a fish tissue criterion rather than a water column number. This is agreeable to DEQ since we monitor fish tissue for many bioaccumulative substances, including mercury. This is the first fish tissue criterion for Virginia.

Nonylphenol is a new criterion proposed that is an organic chemical produced in large quantity in the United States. It is toxic to aquatic life, causing reproductive effects in aquatic organisms. It is used as a chemical intermediate and is often found in wastewater treatment plant effluent as a breakdown product from surfactants and detergents.

Diazinon is a new criterion proposed and is toxic to aquatic life, particularly invertebrates. Diazinon is frequently found in wastewater treatment plant effluent and urban and agricultural runoff.

A revision to the existing aquatic life criteria for cadmium is proposed based on more recent EPA guidance. The cadmium proposed criteria is more stringent than the existing criteria.

A revision to the existing aquatic life criteria for tributyltin is made based on more recent EPA guidance. The tributyltin revised criteria is less stringent than the existing.

Bacteria for Recreational Waters 9VAC25-260-170

Staff is proposing two alternatives for the geometric mean criteria for bacteria. The purpose of this is to receive public input on the pros and cons of both values. Only one value will be adopted into the final regulation. The first value is 126 colony forming units (CFU)/100 ml of water, which is the existing criterion and is based on a risk level of 0.8% (8 out of 1,000 swimmers may get gastrointestinal illness). The second value is 206 and is based on a risk level of 1.0% (10 out of 1,000 swimmers may get gastrointestinal illness). It is the risk level that will be the focus of public comment. Note that the risk level for Virginia coastal beaches is, and always has been, 1.9% (19 out of 1,000 swimmers – this is not a change from existing regulation). A risk level of 8-10 is considered protective of primary contact recreation in freshwater and is acceptable to the EPA.

The bacteria section has also been clarified to list the geometric mean as the main criteria to protect primary contact recreational uses as this is considered the environmentally relevant endpoint. Where there is insufficient data to calculate the geometric mean, then no more than 10% of the total samples in the assessment period shall exceed a maximum value (e.g., 235 or 384 for E. coli). This is a change from the existing regulation, which lists both the geometric mean and the single sample maximum as the main criteria. Also, the presentation of two values (e.g., 235 or 384) is because these values are mathematically derived from the geometric means, which are presented as two alternatives. Only one single sample maximum criterion will be adopted based on the risk level decided upon for the geometric mean (e.g., 0.8% or 1.0%).

Also included in the regulation are single sample maxima criteria for use in establishing beach advisories and closures in freshwater and saltwater. Two values (e.g., 235 or 384) are presented here as well because these values are mathematically derived from the geometric means, which are presented as two alternatives. Only one will be adopted as previously stated.

Special Standards 9VAC25-260-310

There are several new special site specific standards proposed. The first is a special pH standard for Lake Curtis to maintain the fishery, the second is a special manganese criterion for one intake location on the Kerr Reservoir to protect the aesthetic qualities of the water supply, and another is a new benthic numerical criterion for the Little Calfpasture River that reflects a subcategory of benthic aquatic life uses due to the presence of Goshen Dam.

River Basin Section Tables 9VAC25-260-390 – 9VAC25-260-540

There are revisions to trout streams designations, additions of new Class VII Swamp Waters, deletions of several pH nonlimestone stream special standards, and other miscellaneous corrections.

Issues: The primary advantage to the public is that the updated numerical toxics criteria are based on better scientific information to protect water quality.  The disadvantage is that the public may see the change to the bacteria criteria as an attempt to "lower the bar" on water quality.  However, the goal is to set realistic, protective goals in water quality management and to maintain the most scientifically defensible criteria in the water quality standards regulation.  EPA has also provided guidance that these criteria are "approvable" under the Clean Water Act.

The advantage to the agency or the Commonwealth that will result from the adoption of these amendments will be more accurate and scientifically defensible permit limits, assessments and clean-up plans (TMDLs). These are discussed under the "purpose" section where the goals of the proposal, the environmental benefits, and the problems the proposal is intended to solve are discussed.

The regulated community will find the amendments pertinent to the regulants' operations, particularly where the numerical criteria are more stringent since that may require additional capital or operating costs (see Economic Impact).

There is no disadvantage to the agency or the Commonwealth that will result from the adoption of these amendments.

Localities Particularly Affected: Localities particularly affected were considered those where a specific amendment was proposed to change a classification, designated use, or criteria that was not statewide in nature. There is no expected monetary impact.

Counties:  Alleghany, Amelia,  Bath, Caroline, Charles City, Charlotte, Chesterfield, Dinwiddie, Essex, Frederick, Halifax, Hanover, Henrico, Isle of Wight, King George, King & Queen, King William, Mecklenburg, New Kent, Nottoway, Roanoke, Rockingham, Rockbridge, Richmond, Shenandoah, Southampton, Stafford, Westmoreland

Towns: Branchville, Blackstone, Burkeville, Clarkesville, Crewe, Montross

Cities: Chesapeake, Lexington, Roanoke, Salem, Suffolk

Public Participation: In addition to any other comments, the agency is seeking comments on the costs and benefits of the proposal and the potential impacts of this regulatory proposal.  Also, the agency is seeking information on impacts on small businesses as defined in §2.2-4007.1 of the Code of Virginia.  Information may include (i) projected reporting, recordkeeping and other administrative costs, (ii) probable effect of the regulation on affected small businesses, and (iii) description of less intrusive or costly alternative methods of achieving the purpose of the regulation.

Anyone wishing to submit written comments may do so by mail, email or fax to Jean Gregory, P.O. Box 1105, Richmond, VA 23218, (804) 698-4113, fax (804) 698-4116 and email jwgregory@deq.virginia.gov.  Written comments (including emails) must include the name and address of the commenter.  In order to be considered, comments must be received by the last date of the public comment period (5 p.m. on May 30, 2008).

Three public hearings will be held and notice of the public hearings appear on the Virginia Regulatory Town Hall website (www.townhall.virginia.gov), and can be found in the Virginia Register of Regulations at the beginning of this proposal.  Both oral and written comments may be submitted at that time.

A formal hearing will be held at a time and place to be determined if a request for a formal hearing is received by the contact person within 30 days of publication of the notice of public comment period in the Virginia Register of Regulations.  The request for formal hearing is to include the information set forth in 9VAC25-230-130 B of the board’s Procedural Rule No. 1.

The Department of Planning and Budget's Economic Impact Analysis:

Summary of the Proposed Amendments to Regulation. The State Water Control Law (Code of Virginia §62.1-44.15(3a)) requires the State Water Control Board (Board) to establish standards of quality for state waters. In addition, federal and state mandates in the Clean Water Act 303(c), 40 CFR 131 and the State Water Control Law require that the Board review water quality standards every three years and adopt, modify, or cancel standards as appropriate.

As a result of the most recent triennial review, the Board’s proposed changes include: (1) revised pH criteria for Class VII swamp waters from 4.3-9.0 to 3.7-8.0 and an expanded narrative criteria to recognize that in these waters, dissolved oxygen (DO) and pH can naturally fluctuate outside of these values, (2) deletion of a protocol for developing site specific temperature criteria, (3) revisions to the human health and aquatic life criteria for surface water including the addition of two new aquatic life criteria (nonylephenol and diazinon), (4) a possible increase in the E.coli geometric and single sample mean criteria for freshwater (the change will be made depending upon public reaction during the public comment period) and a revision of the regulation to make the geometric mean criteria the main standard for evaluation, (5) deletion of the disinfection waiver for sewage discharge, (6) deletion of the section on tidal water sampling, (7) deletion of a special standard for chlorides, and (8) a revision to the criteria for the specific sites of the Mattaponi Chesapeake Bay segment, Lake Curtis in Stafford County, John H. Kerr Reservoir, and a section of the Little Calfpasture River.

Result of Analysis. The benefits likely exceed the costs for one or more proposed changes. For one proposed change, costs likely exceed the benefits. There is insufficient data to accurately compare the magnitude of the benefits versus the costs for other changes.

Estimated Economic Impact. Class VII Swamp Waters. Under the current regulation, the pH criteria for Class VII swamp waters is 4.3-9.0.  The current regulation also recognizes that the natural quality of swamp waters may fall outside of the ranges for pH (and dissolved oxygen) and allows, on a case-by-case basis, criteria for specific Class VII waters to be developed that reflect the natural quality of the water body. In addition, Virginia Pollutant Discharge Elimination System limitations in Class VII waters are currently required to meet a pH criteria of 6.0-9.0. Under the proposed amendments, the pH criteria for Class VII swamp waters would be 3.7-8.0, and water quality standards would not be considered violated when fluctuations outside of the ranges for pH and dissolved oxygen (DO) are determined by the Board to be natural and not due to human-induced sources. The proposed amendment specifies that the Board may develop site-specific criteria for Class VII waters that reflect the natural quality of the water body when the evidence is sufficient to demonstrate that the site specific criteria rather than narrative criterion will fully protect aquatic life. In addition, under the proposed amendment, Virginia Pollutant Discharge Elimination System limitations in Class VII waters do not have to meet a pH range, but "shall not cause significant changes to the naturally occurring dissolved oxygen and pH fluctuations in these waters." In sum, this proposed amendment changes the pH criteria for Class VII waters and allows the Board to use a narrative criterion instead of a site-specific numerical criterion to judge if the Class VII standards are violated when the pH or DO levels are outside of the water quality criteria. This amendment affects not only those waters currently classified as Class VII waters, but also those waters that the amendments propose be classified as Class VII waters.

Swamp waters are waters with naturally occurring low pH and low DO. These conditions are caused by both low flow velocity that prevents mixing and reaeration of stagnant, shallow waters and the decomposition of vegetation that lowers DO concentrations and causes tannic acids to color the water and lower the pH. Every year, the Department of Environmental Quality (Department) extensively tests Virginia’s rivers, lakes, and tidal waters for pollutants. Waters that do not meet the required water quality standards are considered “impaired waters” and the Department must develop plans to restore and maintain the water quality for the impaired waters. The plans are called Total Maximum Daily Loads (TMDLs), a term referring to the total pollutant a waterbody can assimilate and still meet standards. Under the current regulation, many swamp waters are considered impaired and therefore require TMDLs even though the “impairment” is natural. Under current regulation, in order to eliminate the incorrect impairment listings, the Department is required to develop site specific criteria. Upon reviewing the large fluctuations in the DO concentrations (sometimes close to zero)  and working closely with the Department of Game and Inland Fisheries and the U.S. Fish and Wildlife Service, however, the Department decided that a narrative criterion was more protective than site specific criteria.

These amendments will allow the regulation to more accurately represent the conditions in swamp waters and give the Board flexibility in determining whether a water body is impaired. There are two potential benefits. First, it is possible that the situation of the aquatic species in the swamp waters will improve, or at least, not deteriorate. The ecological conditions of the swamp waters, including the lower pH and lower DO concentrations, have forced the aquatic species inhabiting the swamps to adapt. If the Department allowed higher DO concentrations or higher pH levels to occur in a swamp, other species that cannot tolerate the usual swamp conditions could migrate into the swamp from a connecting flowing river and out-compete (and overwhelm) the swamp species. On the whole, this could alter the unique swamp community of aquatic life. Although this hypothetical situation is difficult to quantify, it is still potentially an important benefit of this amendment.

The other benefit lies in the removal of a number of naturally-impaired swamp waters from the impaired waters list. The Department estimates that between this amendment and the special standards that this amendment proposes (discussed below), approximately 42 TMDLs will be removed from the TMDL development effort. Removing 42 TMDLs will provide a net cost-savings of $600,000.1 Since the "impairment" of these waters is natural, the Department argues that it is not an efficient use of state resources—and is often infeasible—to alter the pH and dissolved oxygen levels to meet the water quality criteria.

There is no environmental cost to removing these waters from the impaired waters list, since it will only affect those waters determined by the Board to be naturally impaired. The removal will not exempt the waters from the usual water quality monitoring and related treatment processes. The revision of the pH criteria for swamp waters could inflict a cost on those entities discharging into Class VII waters; however, when the Department called the facilities that were likely to be impacted by this amendment, the facilities responded that this amendment would not require them to alter their current monitoring process. Therefore, the benefits likely outweigh the costs for this proposed amendment.

Site Specific Temperature Criteria

The Board is proposing to delete the protocol for developing site-specific temperature criteria from the regulation. Under current regulation, the temperature limits set forth in 9VAC 25-260-50 through 9VAC25-260-80 may be suspended in certain locations either by Site Specific Temperature Criteria or where a thermal variance demonstration is performed in accordance with §316(a) of the Clean Water Act. Under the proposed amendment, the technical protocol for developing site specific criteria will no longer be regulated. Site specific temperature criteria can still be done, however, under the general allowance for site specific numerical criteria in 9VAC 25-260-140 D (Site specific modifications). Since the protocol for site-specific temperature criteria has never been used2, the cost should not be significant. The benefit of the repeal is to delete a protocol that the Department feels is more appropriate as guidance than regulation. Since both the costs and the benefits of this proposed change are small and not easily quantifiable, the net impact of this proposal is not clear, but will likely be very small.

Human Health and Aquatic Life Criteria for Surface Water

The Board is proposing changes to 93 of the human health criteria for surface water. The criteria were recalculated using the EPA 2000 Human Health Methodology, which results in human health criteria that are 60-80 percent more stringent. In addition, the Board is proposing adding a fish tissue criterion for methyl mercury of 0.30 mg/kg, a revision to the aquatic life criterion for cadmium, lead, tributyltin, and two new aquatic life criteria: nonylphenol and diazinon.

The human health criteria are becoming more stringent for two reasons. First, new research has suggested to the scientific community and to EPA that the general public eats almost three times as much fish than was previously estimated; therefore concentration rates of certain chemicals in fish must decrease in order to ensure that humans are not ingesting unsafe amounts. Second, some of the criteria include a Relative Source Contribution factor. This means that for some of the chemicals, EPA determined that humans are potentially exposed to these chemicals not only from contaminated water and fish, but also from other media.

The human health criteria are being altered because of scientific research indicating that humans should not be exposed to the chemicals in the amounts that we are currently being exposed, given the amount of fish that we eat and the other ways that we ingest the chemicals. Therefore, the benefit of the proposed changes to the human health criteria, according to EPA, the Board, and the scientific community, is to better protect the public. According to the Department, of the 103 facilities in Virginia that qualify for potential impacts as a result of the proposed changes in limits, 25 discharge the relevant pollutants, and 15 facilities have discharge levels for the specific pollutants that are within close range of the limits being proposed. The Department made every effort to contact these Virginia Pollutant Discharge Elimination System (VPDES) permit-based facilities (i.e., permittees) and found that most of them already employ more stringent controls on the pollutants of interest than those that would be needed under the proposed criteria. According to the Department, for most permittees, human health criteria are not the binding constraints; it is the aquatic life criteria that drive most of the monitoring and control processes. The remaining facilities could not provide an estimate of the changes in management and/or operation to comply with the revised changes, but did not believe that the costs would be very high. Therefore, the proposed changes in the human health criteria are not predicted to impose very high costs on facilities, or offer much benefit in terms of water quality, since facilities will not be significantly changing much in their discharge procedure.

Mercury mixes quickly into the environment and is bioaccumulated in the fatty tissue of fish. EPA determined that the best way to protect designated uses is to develop a fish tissue criterion rather than a water column number. Again, the benefits of the new criteria lie in better protection of the public and the environment. High levels of mercury in children can lead to retardation, cerebral palsy, deafness, and blindness; in adults, mercury poisoning can affect fertility and blood pressure regulation and can cause memory loss, tremors, and vision loss. According to the Department, this new criterion will not create any increase in state monitoring costs, since they already monitor fish tissue for many bioaccumulative substances, including mercury. This addition should not impose any cost to permittees, since it represents a change in measurement procedure, not in the permitted levels of mercury.3

Revisions to the existing aquatic life criteria for tributylin, cadmium, and lead, and the addition of nonylphenol and diazinon are proposed based on more recent EPA guidance.4 The proposed tributylin criterion is less restrictive than the existing criterion and the proposed criteria for cadmium and lead are both more stringent than existing criteria. The Department anticipated that the new tributylin criterion could potentially affect permittees in the Norfolk/Hampton Roads area, that the new cadmium criterion could affect four permittees in Virginia, and that the new lead criterion could affect five permittees in Virginia. Upon holding discussions with the permittees, however, the Department found that the facilities were not likely to need to change their procedures based on the new criteria; the facilities either have permit limits that are below existing detection limits, or are already in compliance with more stringent criteria that are driving the discharge procedure. Therefore, there are no clear benefits or costs to the proposed changes to existing criteria.

Nonylphenol is an organic chemical that can have adverse effects on the reproductive life of aquatic organisms. It is used as a chemical intermediate and is often found in wastewater treatment plant effluent as a breakdown product from surfactants and detergents. Diazinon is also toxic to aquatic life, particularly invertebrates. The chemical is frequently found in wastewater treatment plant effluent and urban and agricultural runoff. Both of these chemicals are toxic to aquatic life; therefore, the benefit of imposing limits lies in maintaining the health of Virginia’s water and aquatic organisms. The Department anticipates that there will be a cost associated with adding these criteria; however, facilities were not yet able to quantify the costs. The Department anticipates more comment from facilities during the public comment period before the final regulation is adopted.

Bacteria Criteria for Recreational (Fresh) Waters

Under current regulation, the geometric mean criterion for E.Coli in freshwater is 126 colony forming units (CFU)/100 ml of water. This criterion is based on an illness rate of 0.8% (eight out of 1000 swimmers may get gastrointestinal illness). The Board has proposed an alternative criteria of 206 CFU/100 ml of water that is based on an illness rate of 1.0% (ten out of 1000 swimmers may get gastrointestinal illness). The criteria will be changed depending upon public input into the costs and benefits of both values. Both criteria meet federal standards; EPA has recently published guidance that considers an illness rate of 8-10 per 1000 people for primary contact recreation in freshwater acceptable.

One benefit of changing the criteria is that facilities—mostly public sector entities—will not have to spend as much trying to reach the more stringent bacteria criteria.  One public sector wastewater utility representative estimated that his city would save approximately $20 million over the long-term on one body of water with the change in the criteria.5 The Department feels that this change may also make private facilities more willing to increase their participation in the voluntary aspects of the TMDL implementation plans. According to the Department, some stakeholders have said that the existing bacteria criteria results in unreasonable and unattainable end points that undermine the feasibility of achieving standards and the credibility of the program. At the current level, some watersheds must eliminate 100 percent of the bacteria loading to the watershed, including the removal of some naturally occurring bacteria. The unreasonable and unattainable end points can also make TMDLs impractical to implement and the Department anticipates savings in state resources, including staff time, under this amendment. The cost of the amendment is, of course, that swimmers in freshwater in Virginia will have a slightly higher probability of contracting gastrointestinal illness after engaging in freshwater-based recreational activities. However, the wastewater utility representative and the Department agree that most freshwater bodies in the Commonwealth cannot meet, or have not yet met, the current criteria. This amendment, therefore, should not change the probability of illness for Virginia citizens from its current level. Although the information that the Department anticipates receiving during the public comment period should be closely analyzed, it is likely that the benefits significantly outweigh the costs of the proposed amendment to change the bacteria criteria.

Under current regulation, the bacteria criteria are expressed as a geometric mean and as a single sample maximum. The proposed amendment lists the geometric mean as the main criteria to protect primary contact recreational uses. If there is insufficient data to compute the geometric mean, however, no more than ten percent of the total samples in the assessment period shall exceed a maximum value, which is the single sample maximum value. This change is being made because, according to EPA, the geometric mean is the environmentally relevant endpoint. The benefits of this change are having criteria that are environmentally relevant, more protective, and more consistent. In practice, this should not affect the monitoring practices of facilities, since a facility’s sampling frequency and permit limits are determined by the Department in the permit. Therefore, there are neither costs nor benefits to this amendment.

Disinfection Waivers

Under current regulation, the Board, with the advice of the Virginia Department of Health, may issue disinfection waivers to allow reduced or no disinfection of a sewage discharge on a seasonal or year-round basis. These determinations are made on a case-by-case basis and the Board must provide a 45-day public notice period and an opportunity for public hearing. Under the proposed amendments, permittees with disinfection waivers—or those pursuing disinfection waivers—will have to get a variance that must be approved by EPA. This change is occurring because EPA has issued guidance on temporary use changes (disinfection waivers are temporary use changes), and the Department feels it best to be in line with EPA guidance. In addition, a court decision ruled that a change in water quality standards cannot be effective until EPA approves it, so the Department would anyway need to start getting EPA approval for disinfection waivers. Still, this amendment will add cost both for the state and the permittee. Gaining EPA approval uses staff time that will impose a cost on the state. In addition, although the permittee may submit data that was gathered for each previous waiver and let that partially serve as a variance submittal, the original information will need repackaging and perhaps some instream bacterial level monitoring. If a permittee does not have the ability to do this monitoring or properly write up the report, the permittee may be forced to hire a consultant, which can cost anywhere from a few thousand dollars, to $15,000. (Most consultants charge $8-10 K/year for each round of water quality sampling.)6 The Department estimates that there are five facilities currently with waivers. The Department realizes that, in the end, the small town permittees with waivers will not be able to pay consultants, so Department staff will provide the necessary assistance in taking pictures, writing memos or reports, issuing the permit, and sending it to EPA for approval. Although many of these costs will be one-time costs in order to move from a disinfection waiver to a variance, the overall costs of this proposed amendment are likely to exceed the benefits. Most of the costs are likely to be borne by existing Department staff.

Tidal Water Sampling

The current regulation requires that tidal water samples for determining compliance with standards shall be collected at slack before flood tide or slack before ebb tide (“slack water” sampling). Under the proposed amendment, there will be no specification on the timing of tide water sampling. According to the Department, slack water occurs for approximately 30-60 minutes, four times per day, at different times each day and at different times for each place. While slack water times can be somewhat predicted in advance, they will vary from predictions based on wind conditions each day. It is also time consuming and difficult when collecting data to tell if it is slack water or not. According to the Department, because of a lack of resources, this regulation has never been exactly followed for the Chesapeake Bay Program and rarely exactly followed in other programs. Therefore, this amendment reflects what is currently happening in practice and will not significantly affect either procedure or the type/quality of data being collected.

Special Standards

The Board proposes to cancel the special standard that chlorides not exceed 40 mg/l at any time. The special standard was originally added in response to a proposed discharge that might affect tobacco farming in the area; tobacco farmers believed that chlorides had an adverse effect on tobacco at 35 mg/l. The proposed discharge never occurred, however, so the special standard was never applied. Therefore, the special standard has no effect on current water quality standards and can be deleted. There are neither costs nor benefits to this change.

The Board also proposes several new special site specific standards. First, a pH criterion of 5.0-8.0 is proposed to apply to the tidal freshwater Mattaponi Chesapeake Bay segment. Second, a special pH standard for Lake Curtis is proposed to maintain the fishery. Third, a manganese criterion for one intake location on the Kerr Reservoir is proposed to protect the aesthetic qualities of the water supply. Third, a new benthic numerical criterion is proposed for the Little Calfpasture River, which, according to the Department, reflects a subcategory of benthic aquatic life uses due to the presence of the Goshen Dam. Finally, the maximum temperature for seasonally stockable trout waters of 31° C is proposed that will apply May 1 through October 31. The benefit of the changes is to make criteria better reflect natural conditions and to prevent what the Department considers “unreasonable” TMDLs from moving forward. For example, it is common that aquatic life uses are modified below dams. Current standards for the Little Calfpasture River in the area of the Goshen Dam, however, do not reflect the environmental conditions inevitable to the area around a dam, and the result is a TMDL which, according to the Department, cannot be reasonably implemented without removal of the Dam. The monetary benefit of these changes to the site-specific criteria is included in the $600,000 that the Department anticipates to save by removing unnecessary TMDLs (approximately $14-$15 K per TMDL). There should not be any environmental cost, since the water bodies will simply reflect their natural conditions (given the existence of the Goshen Dam), nor will there by any cost to discharge facilities, as they indicated that they would not need to change their processes.7 Therefore, the benefits should outweigh the costs for these amendments.

The Board has also made a number of changes to the River Basin Tables, including making the pH requirements less stringent for certain water bodies (limestone streams have naturally higher pH conditions) and adding certain water bodies into the Class VII swamp water category. The costs and benefits of these changes have been covered above. For all of these changes, either the benefits outweigh the costs or there are neither quantifiable benefits nor costs to the change.

Businesses and Entities Affected. According to the Department, there are 103 facilities that could be affected by the proposed amendments. Fifty-three of the facilities are municipal localities and 50 are businesses. Only 15 entities are “most likely” to be affected by proposed changes, based on their discharge and permit limits.

Localities Particularly Affected. The localities that are considered particularly affected are those containing a water body for which a specific, non-statewide amendment is being proposed to change a classification, designated use, or criteria. The counties included in this list are: Alleghany, Amelia, Bath, Caroline, Charles City, Charlotte, Chesterfield, Dinwiddie, Essex, Frederick, Halifax, Hanover, Henrico, Isle of Wight, King George, King & Queen, King William, Mecklenburg, New Kent, Nottoway, Roanoke, Rockingham, Rockbridge, Richmond, Shenandoah, Southampton, Stafford, and Westmoreland. The towns are: Branchville, Blackstone, Burkeville, Clarkesville, Crewe, and Montross. The cities are: Chesapeake, Lexington, Roanoke, Salem, and Suffolk.

There is no expected monetary impact on these localities.

Projected Impact on Employment. The proposals have no projected impact on employment.

Effects on the Use and Value of Private Property. If the change in bacteria criteria offers significant cost savings to specific permittees, they could see the value of their business rise. If the addition of diazinon and nonylphenol to the aquatic life criteria, or the disallowance of the disinfection waiver, create significant cost for certain permittees, then they could see a fall in the value of their business.

Small Businesses: Costs and Other Effects. All of the 15 facilities most likely to be impacted by the proposed changes qualify as small businesses. If after reviewing the proposed regulation, these facilities determine that the addition of nonylphenol and diazinon to the aquatic life criteria imposes significant cost, then that will be a cost borne by small businesses. In addition, the disallowance of disinfection waivers could also impose the cost of consultant fees on small businesses who seek an EPA variance, although the Department believes that Department staff will complete the tasks for which permittees might have had to hire a consultant. Finally, small businesses might save resources if the E.coli criterion for freshwater is made less stringent.

Small Businesses: Alternative Method that Minimizes Adverse Impact. There is no apparent alternative method that minimizes adverse impact while still accomplishing the intended positive policy goals.

Real Estate Development Costs. If the increased stringency of the human health or aquatic life criteria increases the cost of developing land, then this amendment could increase the costs of real estate development. Similarly, if the Department makes the bacteria criteria for freshwater less stringent, and this decreases the cost of developing land, then this amendment could decrease costs for real estate developers.

Legal Mandate. The Department of Planning and Budget (DPB) has analyzed the economic impact of this proposed regulation in accordance with §2.2-4007.04 of the Administrative Process Act and Executive Order Number 36 (06). Section 2.2-4007.04 requires that such economic impact analyses include, but need not be limited to, the projected number of businesses or other entities to whom the regulation would apply, the identity of any localities and types of businesses or other entities particularly affected, the projected number of persons and employment positions to be affected, the projected costs to affected businesses or entities to implement or comply with the regulation, and the impact on the use and value of private property.  Further, if the proposed regulation has adverse effect on small businesses, Section 2.2-4007.04 requires that such economic impact analyses include (i) an identification and estimate of the number of small businesses subject to the regulation; (ii) the projected reporting, recordkeeping, and other administrative costs required for small businesses to comply with the regulation, including the type of professional skills necessary for preparing required reports and other documents; (iii) a statement of the probable effect of the regulation on affected small businesses; and (iv) a description of any less intrusive or less costly alternative methods of achieving the purpose of the regulation. The analysis presented above represents DPB’s best estimate of these economic impacts.

_________________________________________

1 Source: Department of Environmental Quality

2 Source: Department of Environmental Quality

3 Source: Department of Environmental Quality

4 For information on the EPA research and criteria, see the EPA guidance documents at: http://www.epa.gov/waterscience/criteria/tributyltin/tbt-final.pdf, http://www.epa.gov/waterscience/criteria/aqualife/cadmium/, http://www.epa.gov/waterscience/criteria/wqcriteria.html

5 For more information, see http://www.deq.virginia.gov/wqs/documents/TR_BACT_CSO_PRESEN_12_06_001.pdf

6 Source: Department of Environmental Quality

7 Source: Department of Environmental Quality

Agency's Response to the Department of Planning and Budget's Economic Impact Analysis: The department has reviewed the economic impact analysis prepared by the Department of Planning and Budget and has no comment.

Summary:

The most important potential changes to the water quality standards are a narrative criterion to recognize that certain waters in the Commonwealth are naturally low in dissolved oxygen and pH (swamp waters), and updates to the toxics and bacteria criteria and special standards to reflect site specific conditions. There are changes in many other sections of the regulation during this review. These include the updates to the Chesapeake Bay nutrient related criteria, updates to stream classifications in the river basin section tables, deletions of sections that are unused or no longer needed, and miscellaneous updates and clarifications.

9VAC25-260-10. Designation of uses.

A. All state waters, including wetlands, are designated for the following uses: recreational uses, e.g., swimming and boating; the propagation and growth of a balanced, indigenous population of aquatic life, including game fish, which might reasonably be expected to inhabit them; wildlife; and the production of edible and marketable natural resources, e.g., fish and shellfish.

B. Subcategories of the propagation and growth of a balanced indigenous population of aquatic life, including game fish designated use for waters in the Chesapeake Bay and its tidal tributaries are listed in this subsection.

1. Migratory Fish Spawning and Nursery Designated Use: waters in the Chesapeake Bay and its tidal tributaries that protect the survival, growth and propagation of the early life stages of a balanced, indigenous population of anadromous, semi-anadromous, catadromous and tidal-fresh resident fish species inhabiting spawning and nursery grounds. This designated use extends from the end of tidal waters to the downriver end of spawning and nursery habitats that have been determined through a composite of all targeted anadromous and semi-anadromous fish species' spawning and nursery habitats (see boundaries in U.S. Environmental Protection Agency, 2004, Technical Support Document for Identification of Chesapeake Bay Designated Uses and Attainability 2004 Addendum, Chesapeake Bay Program Office, Annapolis, Maryland). This designated use extends horizontally from the shoreline of the body of water to the adjacent shoreline, and extends down through the water column to the bottom water-sediment interface. This use applies February 1 through May 31 and applies in addition to the open-water use described in this subsection.

2. Shallow-water Submerged Aquatic Vegetation Designated Use: waters in the Chesapeake Bay and its tidal tributaries that support the survival, growth and propagation of submerged aquatic vegetation (rooted, underwater bay grasses). This use applies April 1 through October 31 in tidal-fresh, oligohaline and mesohaline Chesapeake Bay Program segments, and March 1 through November 30 in polyhaline Chesapeake Bay Program segments and applies in addition to the open-water use described in this subsection.

3. Open Water Aquatic Life Designated Use: waters in the Chesapeake Bay and its tidal tributaries that protect the survival, growth and propagation of a balanced, indigenous population of aquatic life inhabiting open-water habitats. This designated use applies year-round but the vertical boundaries change seasonally. October 1 through May 31, the open water aquatic life use extends horizontally from the shoreline at mean low water, to the adjacent shoreline, and extending through the water column to the bottom water-sediment interface. June 1 through September 30, if a pycnocline is present and, in combination with bottom bathymetry and water column circulation patterns, presents a barrier to oxygen replenishment of deeper waters, this designated use extends down into the water column only as far as the upper boundary of the pycnocline. June 1 through September 30, if a pycnocline is present but other physical circulation patterns (such as influx of oxygen rich oceanic bottom waters) provide for oxygen replenishment of deeper waters, the open-water aquatic life designated use extends down into the bottom water-sediment interface (see boundaries in U.S. Environmental Protection Agency, 2004 Technical Support Document for Identification of Chesapeake Bay Designated Uses and Attainability 2004 Addendum, Chesapeake Bay Program Office, Annapolis, Maryland). This designated use includes the migratory fish spawning and nursery and shallow-water submerged aquatic vegetation uses.

4. Deep Water Aquatic Life Designated Use: waters in the Chesapeake Bay and its tidal tributaries that protect the survival and growth of a balanced, indigenous population of aquatic life inhabiting deep-water habitats. This designated use extends to the tidally influenced waters located between the upper and lower boundaries of the pycnocline where, in combination with bottom bathymetry and water circulation patterns, a pycnocline is present and presents a barrier to oxygen replenishment of deeper waters. In some areas, the deep-water designated use extends from the upper boundary of the pycnocline down to the bottom water-sediment interface (see boundaries in U.S. Environmental Protection Agency, 2004 Technical Support Document for Identification of Chesapeake Bay Designated Uses and Attainability 2004 Addendum, Chesapeake Bay Program Office, Annapolis, Maryland). This use applies June 1 through September 30.

5. Deep Channel Seasonal Refuge Designated Use: waters in the Chesapeake Bay and its tidal tributaries that protect the survival of a balanced, indigenous population of benthic infauna and epifauna inhabiting deep-channel habitats. This designated use extends to the tidally influenced waters at depths greater than the lower boundary of the pycnocline in areas where, in combination with bottom bathymetry and water circulation patterns, the pycnocline presents a barrier to oxygen replenishment of deeper waters (see boundaries in U.S. Environmental Protection Agency, 2004 Technical Support Document for Identification of Chesapeake Bay Designated Uses and Attainability 2004 Addendum, Chesapeake Bay Program Office, Annapolis, Maryland). This use applies June 1 through September 30.

C. In designating uses of a water body and the appropriate criteria for those uses, the board shall take into consideration the water quality standards of downstream waters and shall ensure that its water quality standards provide for the attainment and maintenance of the water quality standards of downstream waters.

D. The board may adopt subcategories of a use and set the appropriate criteria to reflect varying needs of such subcategories of uses, for instance, to differentiate between cold water (trout streams) and warm water fisheries.

E. At a minimum, uses are deemed attainable if they can be achieved by the imposition of effluent limits required under §§301(b) §§301(b)(1)(A) and (B) and 306 of the Clean Water Act and cost-effective and reasonable best management practices for nonpoint source control.

F. Prior to adding or removing any use, or establishing subcategories of a use, the board shall provide notice and an opportunity for a public hearing under the Administrative Process Act (§2.2-4000 et seq. of the Code of Virginia).

G. The board may adopt seasonal uses as an alternative to reclassifying a water body or segment thereof to uses requiring less stringent water quality criteria. If seasonal uses are adopted, water quality criteria should be adjusted to reflect the seasonal uses; however, such criteria shall not preclude the attainment and maintenance of a more protective use in another season.

H. The board may remove a designated use which is not an existing use, or establish subcategories of a use, if the board can demonstrate that attaining the designated use is not feasible because:

1. Naturally occurring pollutant concentrations prevent the attainment of the use;

2. Natural, ephemeral, intermittent or low flow conditions or water levels prevent the attainment of the use unless these conditions may be compensated for by the discharge of sufficient volume of effluent discharges without violating state water conservation requirements to enable uses to be met;

3. Human caused conditions or sources of pollution prevent the attainment of the use and cannot be remedied or would cause more environmental damage to correct than to leave in place;

4. Dams, diversions or other types of hydrologic modifications preclude the attainment of the use, and it is not feasible to restore the water body to its original condition or to operate such modification in a way that would result in the attainment of the use;

5. Physical conditions related to the natural features of the water body, such as the lack of a proper substrate, cover, flow, depth, pools, riffles, and the like, unrelated to water quality, preclude attainment of aquatic life protection uses; or

6. Controls more stringent than those required by §§301(b) and 306 of the Clean Water Act would result in substantial and widespread economic and social impact.

I. The board may not remove designated uses if:

1. They are existing uses, unless a use requiring more stringent criteria is added; or

2. Such uses will be attained by implementing effluent limits required under §§301(b) §§301(b)(1)(A) and (B) and 306 of the Clean Water Act and by implementing cost-effective and reasonable best management practices for nonpoint source control.

J. Where existing water quality standards specify designated uses less than those which are presently being attained, the board shall revise its standards to reflect the uses actually being attained.

K. The board must conduct a use attainability analysis whenever:

1. The board designates or has designated uses that do not include the uses specified in §101(a)(2) of the Clean Water Act; or

2. The board wishes to remove a designated use that is specified in §101(a)(2) of the Clean Water Act or to adopt subcategories of uses specified in §101(a)(2) of the Clean Water Act which require less stringent criteria.

L. The board is not required to conduct a use attainability analysis under this chapter whenever designating uses which include those specified in subsection A of this section.

9VAC25-260-20. General criteria.

A. State waters, including wetlands, shall be free from substances attributable to sewage, industrial waste, or other waste in concentrations, amounts, or combinations which contravene established standards or interfere directly or indirectly with designated uses of such water or which are inimical or harmful to human, animal, plant, or aquatic life.

Specific substances to be controlled include, but are not limited to: floating debris, oil, scum, and other floating materials; toxic substances (including those which bioaccumulate); substances that produce color, tastes, turbidity, odors, or settle to form sludge deposits; and substances which nourish undesirable or nuisance aquatic plant life. Effluents which tend to raise the temperature of the receiving water will also be controlled. Conditions within mixing zones established according to 9VAC25-260-20 B do not violate the provisions of this subsection.

B. The board may use mixing zone concepts in evaluating limitations for Virginia Pollutant Discharge Elimination System permits.

1. Mixing zones evaluated or established by the board in fresh water shall not:

a. Prevent movement of or cause lethality to passing and drifting aquatic organisms through the water body in question;

b. Constitute more than one half of the width of the receiving watercourse nor constitute more than one third of the area of any cross section of the receiving watercourse;

c. Extend downstream at any time a distance more than five times the width of the receiving watercourse at the point of discharge.

2. Mixing zones evaluated or established by the board in open ocean, estuarine and transition zone waters (see 9VAC25-260-140 C) shall not:

a. Prevent movement of or cause lethality to passing and drifting aquatic organisms through the water body in question;

b. Extend more than five times in any direction the average depth along a line extending 1/3 of the way across the receiving water from the discharge point to the opposite shore.

3. A subsurface diffuser shall be required for any new or expanded freshwater discharge greater than or equal to 0.5 MGD to open ocean, estuarine and transition zone waters (see 9VAC25-260-140 C) and the acute and chronic criteria shall be met at the edge of the zone of initial mixing. The zone of initial mixing is the area where mixing of ambient water and effluent is driven by the jet effect and/or momentum of the effluent. Beyond this zone the mixing is driven by ambient turbulence.

4. Mixing zones shall not be allowed by the board for effluents discharged to wetlands, swamps, marshes, lakes or ponds.

5. An allocated impact zone may be allowed within a mixing zone. This zone is the area of initial dilution of the effluent with the receiving water where the concentration of the effluent will be its greatest in the water column. Mixing within these allocated impact zones shall be as quick as practical and shall be sized to prevent lethality to passing and drifting aquatic organisms. The acute aquatic life criteria are not required to be attained in the allocated impact zone.

6. Mixing zones shall be evaluated or established such that acute criteria are met outside the allocated impact zone and chronic criteria are met at the edge of the mixing zone.

7. No mixing zone shall be used for, or considered as, a substitute for minimum treatment technology required by the Clean Water Act and other applicable state and federal laws.

8. The board shall not approve a mixing zone that violates the federal Endangered Species Act of 1973 (16 USCA §§1531-1543) or the Virginia Endangered Species Act, Article 6 (§29.1-563 et seq.) of Chapter 5 of Title 29.1 of the Code of Virginia.

9. Mixing zones shall not be allowed for the bacteria criteria in 9VAC25-260-170.

10. The board may waive the requirements of subdivisions B 1 b and c, B 2 b, B 3 and B 4 of this subsection on a case-by-case basis if:

a. The board determines that a complete mix assumption is appropriate; or

b. A discharger provides an acceptable demonstration of:

(1) Information defining the actual boundaries of the mixing zone in question; and

(2) Information and data demonstrating no violation of subdivisions B 1 a, 2 a and B 7 of this subsection by the mixing zone in question.

1011. The size of a thermal mixing zone shall be determined on a case-by-case basis. This determination shall be based upon a sound rationale and be supported by substantial biological, chemical, physical, and engineering evidence and analysis. Any such determination shall show to the board's satisfaction that no adverse changes in the protection and propagation of balanced indigenous populations of fish, aquatic life, and wildlife may reasonably be expected to occur. A satisfactory showing made in conformance with §316(a) of the Clean Water Act shall be deemed as compliance with the requirements of this section.

1112. Notwithstanding the above, no new or expanded mixing zone shall:

a. Be allowed in waters listed in 9VAC25-260-30 A 3 c;

b. Be allowed in waters defined in 9VAC25-260-30 A 2 for new or increased existing discharges unless the requirements outlined in 9VAC25-260-30 A 2 are satisfied.

9VAC25-260-30. Antidegradation policy.

A. All surface waters of the Commonwealth shall be provided one of the following three levels, or tiers, of antidegradation protection. This antidegradation policy shall be applied whenever any activity is proposed that has the potential to affect existing surface water quality.

1. As a minimum, existing instream water uses and the level of water quality necessary to protect the existing uses shall be maintained and protected.

2. Where the quality of the waters exceed water quality standards, that quality shall be maintained and protected unless the board finds, after full satisfaction of the intergovernmental coordination and public participation provisions of the Commonwealth's continuing planning process, that allowing lower water quality is necessary to accommodate important economic or social development in the area in which the waters are located. In allowing such degradation or lower water quality, the board shall assure water quality adequate to protect existing uses fully. Further, the board shall assure that there shall be achieved the highest statutory and regulatory requirements applicable to all new or existing point source discharges of effluent and all cost-effective and reasonable best management practices for nonpoint source control.

3. Surface waters, or portions of these, which provide exceptional environmental settings and exceptional aquatic communities or exceptional recreational opportunities may be designated and protected as described in subdivisions 3 a, b and c of this subsection.

a. Designation procedures.

(1) Designations shall be adopted in accordance with the provisions of the Administrative Process Act (§2.2-4000 et seq. of the Code of Virginia) and the board's public participation guidelines.

(2) Upon receiving a nomination of a waterway or segment of a waterway for designation as an exceptional state water pursuant to the board's antidegradation policy, as required by 40 CFR 131.12, the board shall notify each locality in which the waterway or segment lies and shall make a good faith effort to provide notice to impacted riparian property owners. The written notice shall include, at a minimum: (i) a description of the location of the waterway or segment; (ii) the procedures and criteria for designation as well as the impact of the designation; (iii) the name of the person making the nomination; and (iv) the name of a contact person at the Department of Environmental Quality who is knowledgeable about the nomination and the waterway or segment. Notice to property owners shall be based on names and addresses taken from local tax rolls. Such names and addresses shall be provided by the Commissioners of the Revenue or the tax assessor's office of the affected jurisdiction upon request by the board. After receipt of the notice of the nomination, localities shall be provided 60 days to comment on the consistency of the nomination with the locality's comprehensive plan. The comment period established by subdivision 3 a (2) of this subsection shall in no way impact a locality's ability to comment during any additional comment periods established by the board.

b. Implementation procedures.

(1) The quality of waters designated in subdivision 3 c of this subsection shall be maintained and protected to prevent permanent or long-term degradation or impairment.

(2) No new, additional, or increased discharge of sewage, industrial wastes or other pollution into waters designated in subdivision 3 c of this subsection shall be allowed.

(3) Activities causing temporary sources of pollution may be allowed in waters designated in subdivision 3 c of this subsection even if degradation may be expected to temporarily occur provided that after a minimal period of time the waters are returned or restored to conditions equal to or better than those existing just prior to the temporary source of pollution.

c. Surface waters designated under this subdivision are as follows:

(1) Little Stony Creek in Giles County from the first footbridge above the Cascades picnic area, upstream to the 3,300-foot elevation.

(2) Bottom Creek in Montgomery County and Roanoke County from Route 669 (Patterson Drive) downstream to the last property boundary of the Nature Conservancy on the southern side of the creek.

(3) Lake Drummond, located on U.S. Fish and Wildlife Service property, is nominated in its entirety within the cities of Chesapeake and Suffolk excluding any ditches and/or tributaries.

(4) North Creek in Botetourt County from the first bridge above the United States Forest Service North Creek Camping Area to its headwaters.

(5) Brown Mountain Creek, located on U.S. Forest Service land in Amherst County, from the City of Lynchburg property boundary upstream to the first crossing with the national forest property boundary.

(6) Laurel Fork, located on U.S. Forest Service land in Highland County, from the national forest property boundary below Route 642 downstream to the Virginia/West Virginia state line.

(7) North Fork of the Buffalo River, located on U.S. Forest Service land in Amherst County, from its confluence with Rocky Branch upstream to its headwaters.

(8) Pedlar River, located on U.S. Forest Service land in Amherst County, from where the river crosses FR 39 upstream to the first crossing with the national forest property boundary.

(9) Ramseys Draft, located on U.S. Forest Service land in Augusta County, from its headwaters (which includes Right and Left Prong Ramseys Draft) downstream to the Wilderness Area boundary.

(10) Whitetop Laurel Creek, located on U.S. Forest Service land in Washington County, from the national forest boundary immediately upstream from the second railroad trestle crossing the creek above Taylors Valley upstream to the confluence of Green Cove Creek.

(11) Ragged Island Creek in Isle of Wight County from its confluence with the James River at a line drawn across the creek mouth at N36°56.306'/W76°29.136' to N36°55.469'/W76°29.802' upstream to a line drawn across the main stem of the creek at N36°57.094'/W76°30.473' to N36°57.113'/W76°30.434', excluding wetlands and impounded areas and including only those tributaries completely contained within the Ragged Island Creek Wildlife Management Area on the northeastern side of the creek.

(12) Big Run in Rockingham County from its headwaters downstream to the first crossing with the Shenandoah National Park boundary and all tributaries to this segment of Big Run within the confines of Shenandoah National Park.

(13) Doyles River in Albemarle County from its headwaters to the first crossing with the Shenandoah National Park boundary and Jones Falls Run from its headwaters to its confluence with Doyles River and all tributaries to these segments of Doyles River and Jones Fall Run within the confines of Shenandoah National Park.

(14) East Hawksbill Creek in Page County from its headwaters downstream to the first crossing with the Shenandoah National Park boundary and all tributaries to this segment of East Hawksbill Creek within the confines of Shenandoah National Park.

(15) Jeremys Run in Page County from its headwaters downstream to the first crossing with the Shenandoah National Park boundary and all tributaries to this segment of Jeremys Run within the confines of Shenandoah National Park.

(16) East Branch Naked Creek in Page County from its headwaters downstream to the first crossing with the Shenandoah National Park boundary and all tributaries to this segment of East Branch Naked Creek within the confines of Shenandoah National Park.

(17) Piney River in Rappahannock County from its headwaters downstream to the first crossing with the Shenandoah National Park boundary and all tributaries to this segment of the Piney River within the confines of Shenandoah National Park.

(18) North Fork Thornton River in Rappahannock County from its headwaters downstream to the first crossing with the Shenandoah National Park boundary and all tributaries to this segment of the North Fork Thornton River within the confines of Shenandoah National Park.

(19) Blue Suck Branch from its headwaters downstream to the first crossing with the George Washington National Forest boundary.

(20) Downy Branch from its headwaters downstream to the first crossing with the George Washington National Forest boundary.

(21) North Branch Simpson Creek (Brushy Run) from its headwaters downstream to its confluence with Simpson Creek.

(22) Roberts Creek from its confluence with the Pedlar River upstream to its first crossing with the National Forest boundary.

(23) Shady Mountain Creek from its headwaters downstream to its confluence with the Pedlar River.

(24) Cove Creek from its headwaters downstream to the National Forest boundary.

(25) Little Cove Creek and its tributaries from the headwaters downstream to the National Forest boundary.

(26) Rocky Branch from its headwaters downstream to its confluence with the North Fork of the Buffalo River.

(27) North Fork of the Buffalo River from its confluence with Rocky Branch downstream to the National Forest Boundary.

B. Any determinations concerning thermal discharge limitations made under §316(a) of the Clean Water Act will be considered to be in compliance with the antidegradation policy.

9VAC25-260-50. Numerical criteria for dissolved oxygen, pH, and maximum temperature.***

| CLASS***** | DESCRIPTION OF WATERS | DISSOLVED OXYGEN (mg/l)**** | pH | Max. Temp. (°C) |
| --- | --- | --- | --- | --- |
|  |  | Min. | Daily Avg. |  |  |
| I | Open Ocean | 5.0 | -- | 6.0-9.0 | -- |
| II | Estuarine Waters (Tidal Water-Coastal Zone to Fall Line) | 4.0 | 5.0 | 6.0-9.0 | -- |
| III | Nontidal Waters (Coastal and Piedmont Zones) | 4.0 | 5.0 | 6.0-9.0 | 32 |
| IV | Mountainous Zones Waters | 4.0 | 5.0 | 6.0-9.0 | 31 |
| V | Stockable Trout Waters | 5.0 | 6.0 | 6.0-9.0 | 21 |
| VI | Natural Trout Waters | 6.0 | 7.0 | 6.0-9.0 | 20 |
| VII | Swamp Waters | * | * | 4.3-9.0* 3.7-8.0* | ** |

*This classification recognizes that the natural quality of these waters may fall fluctuate outside of the ranges values for D.O. and pH set forth above as water quality criteria; therefore, on a case-by-case basis, in Class I through VI waters. The natural quality of these waters is the water quality found or expected in the absence of human-induced pollution. Water quality standards will not be considered violated when conditions are determined by the board to be natural and not due to human-induced sources. The board may develop site specific criteria for specific Class VII waters can be developed that reflect the natural quality of the waterbody when the evidence is sufficient to demonstrate that the site specific criteria rather than narrative criterion will fully protect aquatic life uses. Virginia Pollutant Discharge Elimination System limitations in Class VII waters shall meet pH of 6.0 - 9.0 not cause significant changes to the naturally occurring dissolved oxygen and pH fluctuations in these waters.

**Maximum temperature will be the same as that for Classes I through VI waters as appropriate.

***The water quality criteria in this section do not apply below the lowest flow averaged (arithmetic mean) over a period of seven consecutive days that can be statistically expected to occur once every 10 climatic years (a climatic year begins April 1 and ends March 31). See 9VAC25-260-310 and 9VAC25-260-380 through 9VAC25-260-540 for site specific adjustments to these criteria.

****See 9VAC25-260-55 for implementation of these criteria in waters naturally low in dissolved oxygen.

*****For a thermally stratified man-made lake or reservoir in Class III, IV, V or VI waters that are listed in 9VAC25-260-187, these dissolved oxygen criteria apply only to the epilimnion in the lacustrine portion of the water body. When these waters are not stratified, the dissolved oxygen criteria apply throughout the water column.

9VAC25-260-55. Implementation procedure for dissolved oxygen criteria in waters naturally low in dissolved oxygen. (Repealed.)

A. The board shall implement this procedure when assessing dissolved oxygen data in preparation of Clean Water Act §§305(b) and 303(d) reports in accordance with §62.1-44.19:5 of the Water Quality Monitoring Information and Restoration Act. The board recognizes that dissolved oxygen concentrations may seasonally fall below the criteria established in 9VAC25-260-50 due to nonanthropogenic sources and physical and chemical processes resulting from:

1. Density stratification and depth in Class II waters that prevent mixing and reaeration of the deep waters;

2. Temperature stratification and depth in lakes and reservoirs in Class III, IV, V and VI waters that prevent mixing and reaeration of the deep waters; or

3. Minimal flow velocity and decomposition of vegetation that prevent mixing and reaeration of stagnant, shallow waters.

B. In preparation of the Clean Water Act §§305(b) and 303(d) reports, the board shall list waters as naturally impaired in accordance with §62.1-44.19:5 C of the Code of Virginia when the board determines that the low dissolved oxygen concentrations result from nonanthropogenic sources and the physical and chemical processes described in subsection A of this section. The board shall make this determination based upon an evaluation of aquatic life, habitat (including anadromous fish spawning areas), monitoring data, computer modeling results or other accepted scientific principles. The board shall also conduct a watershed assessment to document anthropogenic sources that individually or cumulatively cause low dissolved oxygen concentrations including locating and identifying all point and nonpoint sources of pollution and identifying any man-made activities (such as water withdrawals) that cause low flow conditions and result in low dissolved oxygen levels.

C. The proposed determinations in subsection B of this section shall be subject to public comment on draft §303(d) reports.

D. The final determinations in subsection B of this section shall be made available to the public in final §303(d) reports.

E. Following a determination made under subsection B of this section, the board shall initiate a rulemaking to set site-specific criteria that reflect the natural quality of that water body or segment.

9VAC25-260-90. Site-specific temperature requirements Thermal variances.

A. The temperature limits set forth in 9VAC25-260-50 through 9VAC25-260-80 may be superseded in certain locations by Site-Specific Temperature Criteria or in the case where a thermal variance demonstration is performed in accordance with §316(a) of the Clean Water Act. The protocol for development of site-specific temperature requirements is found in subsection A of this section. Information regarding §316(a) demonstrations is found in subsection B of this section.

B. Protocol for Developing Site-Specific Temperature Criteria. For any specified time of year there shall be two upper limiting temperatures for a location based on temperature requirements of important sensitive species found at the location at that time. These limiting temperatures are:

1. A maximum weekly average temperature that:

a. In the warmer months is determined by adding to the physiological optimum temperature (usually the optimum for growth) for the most sensitive important species (and appropriate life stage) that normally is found at that location and time; a factor calculated as one third of the difference between the ultimate upper incipient lethal temperature and the optimum temperature for that species;

b. In the cooler months is an elevated temperature that would still ensure that important species would survive if the temperature suddenly dropped to the normal ambient temperature;

c. During reproduction seasons meets specific site requirements for successful migration, spawning, egg incubation, fry rearing, and other reproductive functions of important species; and

d. At a specific site is found necessary to preserve normal species diversity or prevent undesirable growths of nuisance organisms.

2. A time-dependent maximum temperature for short exposures.

Baseline thermal conditions shall be measured at a site where there is no unnatural thermal addition from any source, which site is in reasonable proximity to the thermal discharge (within five miles), and which has similar hydrography to that of the receiving waters at the point of discharge.

Criteria development should be in accordance with Water Quality Criteria 1972: A Report of the Committee on Water Quality Criteria and Quality Criteria for Water, U.S. Environmental Protection Agency.

C. §316(a) Determinations. A successful demonstration accepted by the board concerning thermal discharge limits carried out under §316(a) of the Clean Water Act shall constitute compliance with the temperature requirements of these standards. A successful demonstration must assure the protection and propagation of a balanced indigenous population of aquatic species and wildlife in or on the water into which the discharge is made. When making a determination concerning thermal discharge limits under §316(a) of the Clean Water Act, the board shall provide notice and opportunity for a public hearing.

9VAC25-260-140. Criteria for surface water.

A. Instream water quality conditions shall not be acutely2 acutely1 or chronically3 chronically2 toxic except as allowed in 9VAC25-260-20 B (mixing zones). The following are definitions of acute and chronic toxicity conditions:

"Acute toxicity" means an adverse effect that usually occurs shortly after exposure to a pollutant. Lethality to an organism is the usual measure of acute toxicity. Where death is not easily detected, immobilization is considered equivalent to death.

"Chronic toxicity" means an adverse effect that is irreversible or progressive or occurs because the rate of injury is greater than the rate of repair during prolonged exposure to a pollutant. This includes low level, long-term effects such as reduction in growth or reproduction.

B. The following table is a list of numerical water quality criteria for specific parameters.

When information has become available from the Environmental Protection Agency to calculate additional aquatic life or human health criteria not contained in the table, the board may employ these values in establishing effluent limitations or other limitations pursuant to 9VAC25-260-20 A necessary to protect designated uses until the board has completed the regulatory standards adoption process.

Table of Parameters 6, 7

| PARAMETER CAS Number | USE DESIGNATION |
| --- | --- |
|  | AQUATIC LIFE | HUMAN HEALTH |
|  | FRESHWATER | SALTWATER | Public Water Supply 3 | All Other Surface Waters4 |
|  | Acute1 | Chronic2 | Acute1 | Chronic2 |  |  |
| Acenapthene (μg/l) 83329 |  |  |  |  | 1,200 670 | 2,700 990 |
| Acrolein (μg/l) 107028 |  |  |  |  | 320 6.1 | 780 9.3 |
| Acrylonitrile (μg/l) 107131 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.59 0.51 | 6.6 2.5 |
| Aldrin (μg/l) 309002 Known or suspected carcinogen; human health criteria at risk level 10-5. | 3.0 |  | 1.3 |  | 0.0013 0.00049 | 0.0014 0.00050 |
| Ammonia (μg/l) 766-41-7 Chronic criterion is a 30-day average concentration not to be exceeded more than once every three (3) years on the average. (see 9VAC25-260-155) |  |  |  |  |  |  |
| Anthracene (μg/l) 120127 |  |  |  |  | 9,600 8,300 | 110,000 40,000 |
| Antimony (μg/l) 7440360 |  |  |  |  | 14 5.6 | 4,300 640 |
| Arsenic (μg/l)5 7440382 | 340 | 150 | 69 | 36 | 10 |  |
| Bacteria (see 9VAC25-260-160 and 170) |  |  |  |  |  |  |
| Barium (μg/l) 7440393 |  |  |  |  | 2,000 |  |
| Benzene (μg/l) 71432 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 12 22 | 710 510 |
| Benzidine (μg/l) 92875 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.0012 0.00086 | 0.0054 0.0020 |
| Benzo (a) anthracene (μg/l) 56553 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.044 0.038 | 0.49 0.18 |
| Benzo (b) fluoranthene (μg/l) 205992 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.044 0.038 | 0.49 0.18 |
| Benzo (k) fluoranthene (μg/l) 207089 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.044 0.038 | 0.49 0.18 |
| Benzo (a) pyrene (μg/l) 50328 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.044 0.038 | 0.49 0.18 |
| Bis2-Chloroethyl Ether 111444 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.31 0.30 | 14 5.3 |
| Bis2-Chloroisopropyl Ether (μg/l) 39638329 108601 |  |  |  |  | 1,400 | 170,000 65,000 |
| Bis2-Ethylhexyl Phthalate (μg/l) 117817 Known or suspected carcinogen; human health criteria at risk level 10-5. Synonym = Di-2-Ethylhexyl Phthalate. |  |  |  |  | 12 | 22 |
| Bromoform (μg/l) 75252 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 44 43 | 3,600 1,400 |
| Butyl benzyl phthalate (μg/l) 85687 |  |  |  |  | 3,000 1,500 | 5,200 1,900 |
| Cadmium (μg/l)5 7440439 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) mg/l and the WER. The minimum hardness allowed for use in the equation below shall be 25 and the maximum hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) WER [e {1.128[In(hardness)] – 3.828}] WER [e {1.0166[ln(hardness)] – 3.924}](CFa) Freshwater chronic criterion (μg/l) WER [e {0.7852[In(hardness)] – 3.490}] WER [e {0.7409[ln(hardness)] – 4.719}](CFc) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140 F and listed in 9VAC25-260-310 e = natural antilogarithm ln = natural logarithm CF = conversion factor a (acute) or c (chronic) CFa= 1.136672-[(ln hardness)(0.041838)] CFc= 1.101672-[(ln hardness)(0.041838)] Acute criteria are 24-hour averages not to be exceeded more than once every three years on the average. | 3.9 2.0 WER=1; CaCO3 = 100 | 1.1 0.25 WER=1; CaCO3 = 100 | 40 WER=1 X WER | 8.8 WER=1 X WER | 5 |  |
| Carbon tetrachloride (μg/l) 56235 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 2.5 2.3 | 44 16 |
| Chlordane (μg/l) 57749 Known or suspected carcinogen; human health criteria at risk level 10-5. | 2.4 | 0.0043 | 0.09 | 0.0040 | 0.021 0.0080 | 0.022 0.0081 |
| Chloride (μg/l) 16887006 Human Health criterion to maintain acceptable taste and aesthetic quality and applies at the drinking water intake. Chloride criteria do not apply in Class II transition zones (see subsection C of this section). | 860,000 | 230,000 |  |  | 250,000 |  |
| Chlorine, Total Residual (μg/l) 7782505 In DGIF class i and ii trout waters (9VAC25-260 subsections 390-540) (9VAC25-260-390 through 9VAC25-260-540) or waters with threatened or endangered species are subject to the halogen ban (subsection 110) (9VAC25-260-110). | 19 See 9VAC25-260-110 | 11 See 9VAC25-260-110 |  |  |  |  |
| Chlorine Produced Oxidant (μg/l) 7782505 |  |  | 13 | 7.5 |  |  |
| Chlorobenzene (μg/l) 108907 |  |  |  |  | 680 130 | 21,000 1,600 |
| Chlorodibromomethane (μg/l) 124481 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 4.1 4.0 | 340 130 |
| Chloroform (μg/l) 67663 Known or suspected carcinogen; however, non-carcinogen calculation used and is protective of carcinogenic effects. Use 30Q5 as default design flow (see footnote 6). |  |  |  |  | 350 340 | 29,000 11,000 |
| 2-Chloronaphthalene (μg/l) 91587 |  |  |  |  | 1,700 1,000 | 4,300 1,600 |
| 2-Chlorophenol (μg/l) 95578 |  |  |  |  | 120 81 | 400 150 |
| Chlorpyrifos (μg/l) 2921882 | 0.083 | 0.041 | 0.011 | 0.0056 |  |  |
| Chromium III (μg/l)5 16065831 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) CaCO3 mg/l and the WER. The minimum hardness allowed for use in the equation below shall be 25 and the maximum hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) μg/l WER [e{0.8190[In(hardness)]+3.7256}] (CFa) Freshwater chronic criterion (μg/l) μg/l WER [e{0.8190[In(hardness)]+0.6848}] (CFc) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140.F and listed in 9VAC25-260-310 e = natural antilogarithm ln=natural logarithm CF = conversion factor a (acute) or c (chronic) CFa= 0.316 CFc=0.860 | 570 (WER=1; (CaCO3 = 100) | 74 (WER=1; (CaCO3 = 100) |  |  | 100 (total Cr) |  |
| Chromium VI (μg/l)5 18540299 | 16 | 11 | 1,100 | 50 |  |  |
| Chrysene (μg/l) 218019 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.044 0.0038 | 0.49 0.018 |
| Copper (μg/l)5 7440508 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) CaCO3 mg/l and the WER. The minimum hardness allowed for use in the equation below shall be 25 and the maximum hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) WER [e {0.9422[In(hardness)]-1.700}] (CFa) Freshwater chronic criterion (μg/l) WER [e {0.8545[In(hardness)]-1.702}] (CFc) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140 F and listed in 9VAC25-260-310. e = natural antilogarithm ln = natural logarithm CF = conversion factor a (acute) or c (chronic) CFa = 0.960 CFc = 0.960 Acute saltwater criterion is a 24-hour average not to be exceeded more than once every three years on the average. | 13 WER=1; CaCO 3 = 100 | 9.0 WER=1; CaCO3 = 100 | 9.3 WER=1 X WER | 6.0 WER=1 X WER | 1,300 |  |
| Cyanide, Free (μg/l) 57125 | 22 | 5.2 | 1.0 | 1.0 | 700 140 | 220,000 16,000 |
| DDD (μg/l) 72548 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.0083 0.0031 | 0.0084 0.0031 |
| DDE (μg/l) 72559 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.0059 0.0022 | 0.0059 0.0022 |
| DDT (μg/l) 50293 Known or suspected carcinogen; human health criteria at risk level 10-5. Total concentration of DDT and metabolites shall not exceed aquatic life criteria. | 1.1 | 0.0010 | 0.13 | 0.0010 | 0.0059 0.0022 | 0.0059 0.0022 |
| Demeton (μg/l) 8065483 |  | 0.1 |  | 0.1 |  |  |
| Diazinon 333415 | 0.17 | 0.17 | 0.82 | 0.82 |  |  |
| Dibenz (a, h) anthracene (μg/l) 53703 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.044 0.038 | 0.49 0.18 |
| Dibutyl phthalate (μg/l) 84742 |  |  |  |  | 2,700 2,000 | 12,000 4,500 |
| Dichloromethane (μg/l) 75092 Known or suspected carcinogen; human health criteria at risk level 10-5 Synonym = Methylene Chloride |  |  |  |  | 47 | 16,000 |
| 1,2–Dichlorobenzene (μg/l) 95501 |  |  |  |  | 2,700 420 | 17,000 1,300 |
| 1,3– Dichlorobenzene (μg/l) 541731 |  |  |  |  | 400 320 | 2,600 960 |
| 1,4 Dichlorobenzene (μg/l) 106467 |  |  |  |  | 400 63 | 2,600 190 |
| 3,3 Dichlorobenzidine 91941 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.4 0.21 | 0.77 0.28 |
| Dichlorobromomethane (μg/l) 75274 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 5.6 5.5 | 460 170 |
| 1,2 Dichloroethane (μg/l) 107062 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 3.8 | 990 370 |
| 1,1 Dichloroethylene (μg/l) 75354 |  |  |  |  | 310 330 | 17,000 7,100 |
| 1,2-trans-dichloroethylene (μg/l) 156605 |  |  |  |  | 700 140 | 140,000 10,000 |
| 2,4 Dichlorophenol (μg/l) 120832 |  |  |  |  | 93 77 | 790 290 |
| 2,4 Dichlorophenoxy acetic acid (2,4-D) (μg/l) 94757 |  |  |  |  | 100 |  |
| 1,2-Dichloropropane (μg/l) 78875 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 5.2 5.0 | 390 150 |
| 1,3-Dichloropropene (μg/l) 542756 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 10 3.4 | 1,700 210 |
| Dieldrin (μg/l) 60571 Known or suspected carcinogen; human health criteria at risk level 10-5. | 0.24 | 0.056 | 0.71 | 0.0019 | 0.0014 0.00052 | 0.0014 0.00054 |
| Diethyl Phthalate (μg/l) 84662 |  |  |  |  | 23,000 17,000 | 120,000 44,000 |
| Di-2-Ethylhexyl Phthalate (μg/l) 117817 Known or suspected carcinogen; human health criteria at risk level 10-5. Synonym = Bis2-Ethylhexyl Phthalate. |  |  |  |  | 18 | 59 |
| 2,4 Dimethylphenol (μg/l) 105679 |  |  |  |  | 540 380 | 2,300 850 |
| Dimethyl Phthalate (μg/l) 131113 |  |  |  |  | 313,000 270,000 | 2,900,000 1,100,000 |
| Di-n-Butyl Phthalate (μg/l) 84742 |  |  |  |  | 2,700 2,000 | 12,000 4,500 |
| 2,4 Dinitrophenol (μg/l) 51285 |  |  |  |  | 70 69 | 14,000 5,300 |
| 2-Methyl-4,6-Dinitrophenol (μg/l) 534521 |  |  |  |  | 13.4 13 | 765 280 |
| 2,4 Dinitrotoluene (μg/l) 121142 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 1.1 | 91 34 |
| Dioxin (2, 3, 7, 8-tetrachlorodibenzo-p-dioxin) (ppq) Dioxin 2, 3, 7, 8-tetrachlorodibenzo-p-dioxin (μg/l) 1746016 Criteria are based on a risk level of 10-5 and potency of 1.75 x 10-4 (mg/kg–day)-1 To calculate an average effluent permit limit, use mean annual stream flow. |  |  |  |  | 1.2 5.0 E-8 | 1.2 5.1 E-8 |
| 1,2-Diphenylhydrazine (μg/l) 122667 Known or suspected carcinogen; human health criteria at risk level 10-5 |  |  |  |  | 0.40 0.36 | 5.4 2.0 |
| Dissolved Oxygen (mg/l) (μg/l) See (See 9VAC25-260-50 and 9VAC25-260-55 ) |  |  |  |  |  |  |
| Alpha-Endosulfan (μg/l) 959988 Total concentration alpha and beta-endosulfan shall not exceed aquatic life criteria. | 0.22 | 0.056 | 0.034 | 0.0087 | 110 62 | 240 89 |
| Beta-Endosulfan (μg/l) 33213659 Total concentration alpha and beta-endosulfan shall not exceed aquatic life criteria. | 0.22 | 0.056 | 0.034 | 0.0087 | 110 62 | 240 89 |
| Endosulfan Sulfate (μg/l) 1031078 |  |  |  |  | 110 62 | 240 89 |
| Endrin (μg/l) 72208 | 0.086 | 0.036 | 0.037 | 0.0023 | 0.76 0.059 | 0.81 0.060 |
| Endrin Aldehyde (μg/l) 7421934 |  |  |  |  | 0.76 0.29 | 0.81 0.30 |
| Ethylbenzene (μg/l) 100414 |  |  |  |  | 3,100 530 | 29,000 2,100 |
| Fecal Coliform (see 9VAC25-260-160 and 9VAC25-260-170) |  |  |  |  |  |  |
| Fluoranthene (μg/l) 206440 |  |  |  |  | 300 130 | 370 140 |
| Fluorene (μg/l) 86737 |  |  |  |  | 1,300 1,100 | 14,000 5,300 |
| Foaming Agents (μg/l) Criterion measured as methylene blue active substances. Criterion to maintain acceptable taste, odor, or aesthetic quality of drinking water and applies at the drinking water intake. |  |  |  |  | 500 |  |
| Guthion (μg/l) 86500 |  | 0.01 |  | 0.01 |  |  |
| Heptachlor (μg/l) 76448 Known or suspected carcinogen; human health criteria at risk level 10-5. | 0.52 | 0.0038 | 0.053 | 0.0036 | 0.0021 0.00079 | 0.0021 0.00079 |
| Heptachlor Epoxide (μg/l) 1024573 Known or suspected carcinogen; human health criteria at risk level 10-5. | 0.52 | 0.0038 | 0.053 | 0.0036 | 0.0010 0.00039 | 0.0011 0.00039 |
| Hexachlorobenzene (μg/l) 118741 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.0075 0.0028 | 0.0077 0.0029 |
| Hexachlorobutadiene (μg/l) 87683 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 4.4 | 500 180 |
| Hexachlorocyclohexane Alpha-BHC (μg/l) 319846 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.039 0.026 | 0.13 0.049 |
| Hexachlorocyclohexane Beta-BHC (μg/l) 319857 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.14 0.091 | 0.46 0.17 |
| Hexachlorocyclohexane (μg/l) (Lindane) Gamma-BHC 58899 Known or suspected carcinogen; human health criteria at risk level 10-5. | 0.95 |  | 0.16 |  | 0.19 0.98 | 0.63 1.8 |
| Hexachlorocyclopentadiene (μg/l) 77474 |  |  |  |  | 240 40 | 17,000 1,100 |
| Hexachloroethane (μg/l) 67721 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 19 14 | 89 33 |
| Hydrogen sulfide (μg/l) 7783064 |  | 2.0 |  | 2.0 |  |  |
| Indeno (1,2,3,-cd) pyrene (μg/l) 193395 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.044 0.038 | 0.49 0.18 |
| Iron (μg/l) 7439896 Criterion to maintain acceptable taste, odor or aesthetic quality of drinking water and applies at the drinking water intake. |  |  |  |  | 300 |  |
| Isophorone (μg/l) 78591 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 360 350 | 26,000 9,600 |
| Kepone (μg/l) 143500 |  | zero |  | zero |  |  |
| Lead (μg/l)5 7439921 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) CaCO3 mg/l and the water effect ratio. The minimum hardness allowed for use in the equation below shall be 25 and the maximum hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) WER [e {1.273[In(hardness)]-1.084}] WER [e {1.273[ln(hardness)]- 1.084 }](CFa) Freshwater chronic criterion (μg/l) WER [e {1.273[In(hardness)]-3.259}] WER [e {1.273[ln(hardness)]- 3.259}](CFc) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140 F and listed in 9VAC25-260-310 e = natural antilogarithm ln = natural logarithm CF = conversion factor a (acute) or c (chronic) CFa = 1.46203-[(ln hardness)(0.145712)] CFc = 1.46203-[(ln hardness)(0.145712)] | 120 94 WER=1; CaCO3 = 100 | 14 11 WER=1; CaCO3 = 100 | 240 WER=1 230 X WER | 9.3 WER=1 8.8 X WER | 15 |  |
| Malathion (μg/l) 121755 |  | 0.1 |  | 0.1 |  |  |
| Manganese (μg/l) 7439965 Criterion to maintain acceptable taste, odor or aesthetic quality of drinking water and applies at the drinking water intake. |  |  |  |  | 50 |  |
| Mercury (μg/l) 5 7439976 | 1.4 | 0.77 | 1.8 | 0.94 | 0.050 | 0.051 |
| Methyl Bromide (μg/l) 74839 |  |  |  |  | 48 47 | 4,000 1,500 |
| Methyl Mercury (Fish Tissue Criterion mg/kg) 22967926 |  |  |  |  | 0.30 | 0.30 |
| Methylene Chloride (μg/l) 75092 Known or suspected carcinogen; human health criteria at risk level 10-5 Synonym = Dichloromethane |  |  |  |  | 46 | 5,900 |
| Methoxychlor (μg/l) 72435 |  | 0.03 |  | 0.03 | 100 |  |
| Mirex (μg/l) 2385855 |  | zero |  | zero |  |  |
| Monochlorobenzene (μg/l) 108907 |  |  |  |  | 680 | 21,000 |
| Nickel (μg/L)5 (μg/l)5 744002 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) CaCO3 mg/l and the WER. The minimum hardness allowed for use in the equation below shall be 25 and the maximum hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) μg/l WER [e {0.8460[In(hardness)] + 1.312}] (CFa) Freshwater chronic criterion (μg/l) WER [e {0.8460[In(hardness)] - 0.8840}] (CFc) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140 F and listed in 9VAC25-250-310 e = natural antilogarithm ln = natural logarithm CF = conversion factor a (acute) or c (chronic) (CFa) CFa = 0.998 (CFc) CFc = 0.997 | 180 WER=1; CaCO3 = 100 | 20 WER=1; CaCO3 = 100 | 74 X WER WER=1 | 8.2 X WER WER=1 | 610 | 4,600 |
| Nitrate as N (μg/l) 14797558 |  |  |  |  | 10,000 |  |
| Nitrobenzene (μg/l) 98953 |  |  |  |  | 17 | 1,900 690 |
| N-Nitrosodimethylamine (μg/l) 62759 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.0069 | 81 30 |
| N-Nitrosodiphenylamine (μg/l) 86306 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 50 33 | 160 60 |
| N-Nitrosodi-n-propylamine (μg/l) 621647 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.05 0.050 | 14 5.1 |
| Nonylphenol 1044051 | 28 | 6.6 | 7.0 | 1.7 |  |  |
| Parathion (μg/l) 56382 | 0.065 | 0.013 |  |  |  |  |
| PCB 1260 (μg/l) 11096825 |  | 0.014 |  | 0.030 |  |  |
| PCB 1254 (μg/l) 11097691 |  | 0.014 |  | 0.030 |  |  |
| PCB 1248 (μg/l) 12672296 |  | 0.014 |  | 0.030 |  |  |
| PCB 1242 (μg/l) 53469219 |  | 0.014 |  | 0.030 |  |  |
| PCB 1232 (μg/l) 11141165 |  | 0.014 |  | 0.030 |  |  |
| PCB 1221 (μg/l) 11104282 |  | 0.014 |  | 0.030 |  |  |
| PCB 1016 (μg/l) 12674112 |  | 0.014 |  | 0.030 |  |  |
| PCB Total (μg/l) 1336363 Known or suspected carcinogen; human health criteria at risk level 10-5 |  | 0.014 |  | 0.030 | 0.0017 0.00064 | 0.0017 0.00064 |
| Pentachlorophenol (μg/l) 87865 Known or suspected carcinogen; human health criteria risk level at 10-5 Freshwater acute criterion (μg/l) e (1.005(pH)-4.869) Freshwater chronic criterion (μg/l) e (1.005(pH)-5.134) | 8.7 pH = 7.0 | 6.7 pH = 7.0 | 13 | 7.9 | 2.8 2.7 | 82 30 |
| pH See 9VAC25-260-50 |  |  |  |  |  |  |
| Phenol (μg/l) 108952 |  |  |  |  | 21,000 10,000 | 4,600,000 860,000 |
| Phosphorus (Elemental μg/l) Elemental (μg/l) 7723140 |  |  |  | 0.10 |  |  |
| Pyrene (μg/l) 129000 |  |  |  |  | 960 830 | 11,000 4,000 |
| Radionuclides Gross Alpha Particle Activity (pCi/L) Beta Particle & Photon Activity (mrem/yr) (formerly man-made radio nuclides) Strontium 90 (pCi/L) Tritium (pCi/L) Combined Radium 226 and 228 (pCi/L) Uranium (μg/L) |  |  |  |  | 15 4 8 20,000 5 30 | 15 4 8 20,000 |
| Selenium (μg/l)5 7782492 WER shall not be used for freshwater acute and chronic criteria. Freshwater criteria expressed as total recoverable. | 20 | 5.0 | 300 WER=1 290 X WER | 71 WER=1 X WER | 170 | 11,000 4,200 |
| Silver (μg/l)5 7440224 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) mg/l and the WER. The minimum hardness allowed for use in the equation below shall be 25 and the maximum hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) WER [e {1.72[In(hardness)]-6.52}] (CFa) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140 F and listed in 9VAC25-260-310 e = natural antilogarithm ln=natural logarithm CF = conversion factor a (acute) or c (chronic) (CFa ) CFa = 0.85 | 3.4 WER=1; CaCO3 = 100 |  | 2.0 WER=1 1.9 X WER |  |  |  |
| Sulfate (μg/l) Criterion to maintain acceptable taste, odor or aesthetic quality of drinking water and applies at the drinking water intake. |  |  |  |  | 250,000 |  |
| Temperature See 9VAC25-260-50 |  |  |  |  |  |  |
| 1,1,2,2-Tetrachloroethane (μg/l) 79345 Known or suspected carcinogen; human health criteria at risk level 10-5) |  |  |  |  | 1.7 | 110 40 |
| Tetrachloroethylene (μg/l) 127184 Known or suspected carcinogen; human health criteria at risk level 10-5) |  |  |  |  | 8.0 6.9 | 89 33 |
| Thallium (μg/l) 7440280 |  |  |  |  | 1.7 0.24 | 6.3 0.47 |
| Toluene (μg/l) 108883 |  |  |  |  | 6,800 510 | 200,000 6,000 |
| Total Dissolved Solids (μg/l) Criterion to maintain acceptable taste, odor or aesthetic quality of drinking water and applies at the drinking water intake. |  |  |  |  | 500,000 |  |
| Toxaphene (μg/l) 8001352 The chronic aquatic life criteria have been calculated to also protect wildlife from harmful effects through ingestion of contaminated tissue. Known or suspected carcinogen; human health criteria at risk level 10-5. | 0.73 | 0.0002 | 0.21 | 0.0002 | 0.0073 0.0028 | 0.0075 0.0028 |
| Tributyltin (μg/l) 60105 | 0.46 | 0.063 0.072 | 0.38 0.42 | 0.001 0.0074 |  |  |
| 1, 2, 4 Trichlorobenzene (μg/l) 120821 |  |  |  |  | 260 35 | 940 70 |
| 1,1,2-Trichloroethane (μg/l) 79005 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 6.0 5.9 | 420 160 |
| Trichloroethylene (μg/l) 79016 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 27 25 | 810 300 |
| 2, 4, 6 –Trichlorophenol 88062 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 21 14 | 65 24 |
| 2–(2, 4, 5 –Trichlorophenoxy propionic acid (Silvex) (μg/l) 93721 |  |  |  |  | 50 |  |
| Vinyl Chloride (μg/l) 75014 Known or suspected carcinogen; human health criteria at risk level 10-5. |  |  |  |  | 0.23 0.25 | 61 24 |
| Zinc (μg/l)5 744066 Freshwater values are a function of total hardness as calcium carbonate (CaCO3) mg/l and the WER. The minimum hardness allowed for use in the equation below shall be 25 and the maximum, hardness shall be 400 even when the actual ambient hardness is less than 25 or greater than 400. Freshwater acute criterion (μg/l) μg/l WER [e {0.8473[In(hardness)]+0.884}] (CFa) Freshwater chronic criterion (μg/l) μg/l WER [e{0.8473[In(hardness)]+0.884}] (CFc) WER = Water Effect Ratio = 1 unless shown determined otherwise under 9VAC25-260-140 F and listed in 9VAC25-260-310 e = base e exponential function. ln = log normal function CFa = 0.978 CFc = 0.986 | 120 WER=1; CaCO3 = 100 | 120 WER=1; CaCO3 = 100 | 90 WER=1 X WER | 81 WER=1 X WER | 9,100 7,400 | 69,000 26,000 |

1One hour average concentration not to be exceeded more than once every 3 years on the average, unless otherwise noted.

2Four-day average concentration not to be exceeded more than once every 3 years on the average, unless otherwise noted.

3Criteria have been calculated to protect human health from toxic effects through drinking water and fish consumption, unless otherwise noted and apply in segments designated as PWS in 9VAC25-260-390-540.

4Criteria have been calculated to protect human health from toxic effects through fish consumption, unless otherwise noted and apply in all other surface waters not designated as PWS in 9VAC25-260-390-540.

5Acute and chronic saltwater and freshwater aquatic life criteria apply to the biologically available form of the metal and apply as a function of the pollutant's water effect ratio (WER) as defined in 9VAC25-260-140 F (WER X criterion). Metals measured as dissolved shall be considered to be biologically available, or, because local receiving water characteristics may otherwise affect the biological availability of the metal, the biologically available equivalent measurement of the metal can be further defined by determining a Water Effect Ratio (WER) and multiplying the numerical value shown in 9VAC25-260-140 B by the WER. Refer to 9VAC25-260-140 F. Values displayed above in the table are examples and correspond to a WER of 1.0. Metals criteria have been adjusted to convert the total recoverable fraction to dissolved fraction using a conversion factor. Criteria that change with hardness have the conversion factor listed in the table above.

6 = The flows listed below are default design flows for calculating steady state waste load allocations unless statistically valid methods are employed which demonstrate compliance with the duration and return frequency of the water quality criteria.

Aquatic Life:

| Acute criteria | 1Q10 |
| --- | --- |
| Chronic criteria | 7Q10 |
| Chronic criteria (ammonia) | 30Q10 |

Human Health:

| Noncarcinogens | 30Q5 |
| --- | --- |
| Carcinogens | Harmonic mean (An exception to this is for the carcinogen dioxin. The applicable stream flow for dioxin is the mean annual stream flow.) |

The following are defined for this section:

"1Q10" means the lowest flow averaged over a period of one day which on a statistical basis can be expected to occur once every 10 climatic years.

"7Q10" means the lowest flow averaged over a period of seven consecutive days that can be statistically expected to occur once every 10 climatic years.

"30Q5" means the lowest flow averaged over a period of 30 consecutive days that can be statistically expected to occur once every five climatic years.

"30Q10" means the lowest flow averaged over a period of 30 consecutive days that can be statistically expected to occur once every 10 climatic years.

"Averaged" means an arithmetic mean.

"Climatic year" means a year beginning on April 1 and ending on March 31.

7The criteria listed in this table are two significant digits. For other criteria that are referenced to other sections of this regulation in this table, all numbers listed as criteria values are significant.

C. Application of freshwater and saltwater numerical criteria. The numerical water quality criteria listed in subsection B of this section (excluding dissolved oxygen, pH, temperature) shall be applied according to the following classes of waters (see 9VAC25-260-50) and boundary designations:

| CLASS OF WATERS | NUMERICAL CRITERIA |
| --- | --- |
| I and II (Estuarine Waters) | Saltwater criteria apply |
| II (Transition Zone) | More stringent of either the freshwater or saltwater criteria apply |
| II (Tidal Freshwater), III, IV, V, VI and VII | Freshwater criteria apply |

The following described describes the boundary designations for Class II, (estuarine, transition zone and tidal freshwater waters) by river basin:

1. Rappahannock Basin. Tidal freshwater is from the fall line of the Rappahannock River to Buoy 37 near Tappahannock, Virginia, the upstream boundary of the transition zone including all tidal tributaries that enter the tidal freshwater Rappahannock River.

Transition zone is from Buoy 37 to Buoy 11 near Morattico, Virginia, including all tidal tributaries that enter the transition zone of the Rappahannock River.

Transition zone upstream boundary – 38° 4' 56.59"/-76° 58' 47.93" (430 feet east of Hutchinson Swamp) to 38° 5' 23.33"/-76° 58' 24.39" (0.7 miles upstream of Peedee Creek).

Transition zone downstream boundary - 37° 58' 45.80"/-76° 55' 28.75" (1,000 feet downstream of Jenkins Landing) to 37° 59' 20.07/ -76° 53' 45.09" (0.33 miles upstream of Mulberry Point). All tidal waters that enter the transition zone are themselves transition zone waters.

Estuarine waters are from Buoy 11 the downstream boundary of the transition zone to the mouth of the Rappahannock River (Buoy 6), including all tidal tributaries that enter the estuarine waters of the Rappahannock River.

2. York Basin. Tidal freshwater is from the fall line of the Mattaponi River at N37° 47' 20.03"/W77° 6' 15.16" (800 feet upstream of the Route 360 bridge in Aylett) to Clifton, Virginia the upstream boundary of the Mattaponi River transition zone, and from the fall line of the Pamunkey River at N37° 41' 22.64" /W77° 12' 50.83" (2,000 feet upstream of Totopotomy Creek) to Sweet Hall Landing, Virginia the upstream boundary of the Pamunkey River transition zone, including all tidal tributaries that enter the tidal freshwaters of the Mattaponi and Pamunkey Rivers.

Transition Mattaponni River transition zone upstream boundary of the Mattaponi River is from Clifton, Virginia to the York River and the transition zone of the Pamunkey River is from Sweet Hall Landing, Virginia, to the York River – N37° 39' 29.65"/W76° 52' 53.29" (1,000 feet upstream of Mitchell Hill Creek) to N37° 39' 24.20"/W76° 52' 55.87" (across from Courthouse Landing). Mattaponi River transition zone downstream boundary – N37° 32' 19.76"/W76° 47' 29.41" (old Lord Delaware Bridge, west side) to N37° 32' 13.25"/W76° 47' 10.30" (old Lord Delaware Bridge, east side).

Pamunkey River transition zone upstream boundary – N37° 32' 36.63"/W76° 58' 29.88" (Cohoke Marsh, 0.9 miles upstream of Turkey Creek) to N37° 32' 36.51"/W76° 58' 36.48" (0.75 miles upstream of creek at Cook Landing). Pamunkey River transition zone downstream boundary – N37° 31' 57.90"/ 76° 48' 38.22" (old Eltham Bridge, west side) to N37° 32' 6.25"/W76° 14' 18.82" (old Eltham Bridge, east side).

The transition zone for the York River is from West Point, Virginia, to Buoy 13 near Poropotank Bay. All tidal tributaries that enter the transition zones of the Mattaponi, and Pamunkey, and York Rivers are themselves in the transition zone.

Estuarine waters are from Buoy 13 the downstream boundary of the transition zones of the Mattaponi and Pamunkey Rivers to the mouth of the York River (Tue Marsh Light) including all tidal tributaries that enter the estuarine waters of the York River.

3. James Basin. Tidal Freshwater is from the fall line of the James River in the City of Richmond upstream of Mayo Bridge to the confluence of the Chickahominy River (Buoy 70) upstream boundary of the transition zone, including all tidal tributaries that enter the tidal freshwater James River.

Transition James River transition zone is from Buoy 70 to Buoy 47 near Jamestown Island including all tidal tributaries that enter the transition zone of the James River upstream boundary – N37° 14' 28.25"/W76° 56' 44.47" (at Tettington) to N37° 13' 38.56"/W76° 56' 47.13" 0.3 miles downstream of Sloop Point.

Chickahominy River transition zone upstream boundary – N37° 25' 44.79"/W77° 1' 41.76" (Holly Landing).

Transition zone downstream boundary – N37° 12' 7.23/W76° 37' 34.70" (near Carters Grove Home, 1.25 downstream of Grove Creek) to N37° 9' 17.23/W76° 40' 13.45" (0.7 miles upstream of Hunnicutt Creek). All tidal waters that enter the transition zone are themselves transition zone waters.

Estuarine waters are from Buoy 47 the downstream transition zone boundary to the mouth of the James River (Buoy 25) including all tidal tributaries that enter the estuarine waters of the James River.

4. Potomac Basin. Tidal Freshwater includes all tidal tributaries that enter the Potomac River from its fall line at the Chain Bridge (N38° 55' 46.28"/W77° 6' 59.23") to Buoy 43 the upstream transition zone boundary near Quantico, Virginia.

Transition zone includes all tidal tributaries that enter the Potomac River from Buoy 43 N38° 31' 27.05"/W77° 17' 7.06" (midway between Shipping Point and Quantico Pier) to Buoy 33 near Dahlgren, Virginia N38° 23' 22.78"/W77° 1' 45.50" (one mile southeast of Mathias Point).

Estuarine waters includes all tidal tributaries that enter the Potomac River from Buoy 33 the downstream transition zone boundary to the mouth of the Potomac River (Buoy 44B).

5. Chesapeake Bay, Atlantic Ocean, and small coastal basins. Estuarine waters include the Atlantic Ocean tidal tributaries, and the Chesapeake Bay and its small coastal basins from the Virginia state line to the mouth of the bay (a line from Cape Henry drawn through Buoys 3 and 8 to Fishermans Island), and its tidal tributaries, excluding the Potomac tributaries and those tributaries listed above.

6. Chowan River Basin. Tidal freshwater includes the Northwest River and its tidal tributaries from the Virginia-North Carolina state line to the free flowing portion, the Blackwater River and its tidal tributaries from the Virginia-North Carolina state line to the end of tidal waters at approximately state route 611 at river mile 20.90, the Nottoway River and its tidal tributaries from the Virginia-North Carolina state line to the end of tidal waters at approximately Route 674, and the North Landing River and its tidal tributaries from the Virginia-North Carolina state line to the Great Bridge Lock.

Transition zone includes Back Bay and its tributaries in the City of Virginia Beach to the Virginia-North Carolina state line.

D. Site-specific modifications to numerical water quality criteria.

1. The board may consider site-specific modifications to numerical water quality criteria in subsection B of this section where the applicant or permittee demonstrates that the alternate numerical water quality criteria are sufficient to protect all designated uses (see 9VAC25-260-10) of that particular surface water segment or body.

2. Any demonstration for site-specific human health criteria shall be restricted to a reevaluation of the bioconcentration or bioaccumulation properties of the pollutant. The exceptions to this restriction are for site-specific criteria for taste, odor, and aesthetic compounds noted by double asterisks in subsection B of this section and nitrates.

3. Site-specific temperature requirements are found in 9VAC25-260-90.

4. Procedures for promulgation and review of site-specific modifications to numerical water quality criteria resulting from subdivisions 1 and 2 of this subsection.

a. Proposals describing the details of the site-specific study shall be submitted to the board's staff for approval prior to commencing the study.

b. Any site-specific modification shall be promulgated as a regulation in accordance with the Administrative Process Act. All site-specific modifications shall be listed in 9VAC25-260-310 (Special standards and requirements).

E. Variances to water quality standards.

1. A variance from numeric criteria may be granted to a discharger if it can be demonstrated that one or more of the conditions in 9VAC25-260-10 G H limit the attainment of one or more specific designated uses.

a. Variances shall apply only to the discharger to whom they are granted and shall be reevaluated and either continued, modified or revoked at the time of permit issuance. At that time the permittee shall make a showing that the conditions for granting the variance still apply.

b. Variances shall be described in the public notice published for the permit. The decision to approve a variance shall be subject to the public participation requirements of the Virginia Pollutant Discharge Elimination System (VPDES) Permit Regulation, 9VAC25-31 (Permit Regulation).

c. Variances shall not prevent the maintenance and protection of existing uses or exempt the discharger or regulated activity from compliance with other appropriate technology or water quality-based limits or best management practices.

d. Variances granted under this section shall not apply to new discharges.

e. Variances shall be submitted by the department's Division of Scientific Research or its successors to the Environmental Protection Agency for review and approval/disapproval.

f. A list of variances granted shall be maintained by the department's Division of Scientific Research or its successors.

2. None of the variances in this subsection shall apply to the halogen ban section (9VAC25-260-110) or temperature criteria in 9VAC25-260-50 if superseded by §316(a) of the Clean Water Act requirements. No variances in this subsection shall apply to the criteria that are designed to protect human health from carcinogenic and noncarcinogenic toxic effects (subsection B of this section) with the exception of the metals, and the taste, odor, and aesthetic compounds noted by double asterisks and nitrates, listed in subsection B of this section.

F. Water effect ratio.

1. A water effects ratio (WER) shall be determined by measuring the effect of receiving water (as it is or will be affected by any discharges) on the bioavailability or toxicity of a metal by using standard test organisms and a metal to conduct toxicity tests simultaneously in receiving water and laboratory water. The ratio of toxicities of the metal(s) in the two waters is the WER (toxicity in receiving water divided by toxicity in laboratory water = WER). Once an acceptable WER for a metal is established, the numerical value for the metal in subsection B of this section is multiplied by the WER to produce an instream concentration that will protect designated uses. This instream concentration shall be utilized in permitting decisions.

2. The WER shall be assigned a value of 1.0 unless the applicant or permittee demonstrates to the department's satisfaction in a permit proceeding that another value is appropriate, or unless available data allow the department to compute a WER for the receiving waters. The applicant or permittee is responsible for proposing and conducting the study to develop a WER. The study may require multiple testing over several seasons. The applicant or permittee shall obtain the department's Division of Scientific Research or its successor approval of the study protocol and the final WER.

3. The Permit Regulation at 9VAC25-31-230 C requires that permit limits for metals be expressed as total recoverable measurements. To that end, the study used to establish the WER may be based on total recoverable measurements of the metals.

4. The Environmental Protection Agency views the WER in any particular case as a site-specific criterion. Therefore, the department's Division of Scientific Research or its successor shall submit the results of the study to the Environmental Protection Agency for review and approval/disapproval within 30 days of the receipt of certification from the state's Office of the Attorney General. Nonetheless, the WER is established in a permit proceeding, shall be described in the public notice associated with the permit proceeding, and applies only to the applicant or permittee in that proceeding. The department's action to approve or disapprove a WER is a case decision, not an amendment to the present regulation.

The decision to approve or disapprove a WER shall be subject to the public participation requirements of the Permit Regulation, 9VAC25-31-260 et seq. A list of final WERs will be maintained by the department's Division of Scientific Research or its successor.

5. A WER shall not be used for the freshwater and saltwater chronic mercury criteria or the freshwater acute and chronic selenium criteria.

9VAC25-260-170. Bacteria; other recreational waters.

A. In surface waters, except shellfish waters and certain waters identified in subsections B and C of this section, the The following bacteria criteria (colony forming units (CFU)/100 ml) shall apply to protect primary contact recreational uses in surface waters, except waters identified in subsection B of this section:

1. Fecal coliform bacteria shall not exceed a geometric mean of 200 fecal coliform bacteria per 100 ml of water for two or more samples over a calendar month nor shall more than 10% of the total samples taken during any calendar month exceed 400 fecal coliform bacteria per 100 ml of water. This criterion shall not apply for a sampling station after the bacterial indicators described in subdivision 2 of this subsection have a minimum of 12 data points or after June 30, 2008, whichever comes first.

2. E. coli and enterococci bacteria per 100 ml of water shall not exceed the following:

|  | Geometric Mean1 | Single Sample Maximum2 |
| --- | --- | --- |
| Freshwater3 |  |  |
|  | E. coli | 126 | 235 |
| Saltwater and Transition Zone3 |  |  |
|  | enterococci | 35 | 104 |

1For two or more samples taken during any calendar month.

2No single sample maximum for enterococci and E. coli shall exceed a 75% upper one-sided confidence limit based on a site-specific log standard deviation. If site data are insufficient to establish a site-specific log standard deviation, then 0.4 shall be used as the log standard deviation in fresh water and 0.7 shall be as the log standard deviation in saltwater and transition zone. Values shown are based on a log standard deviation of 0.4 in freshwater and 0.7 in saltwater.

3See 9 VAC 25-260-140 C for freshwater and transition zone delineation.

E.coli bacteria shall not exceed a monthly geometric mean of 126 CFU/100 ml in freshwater, or E.coli bacteria shall not exceed a monthly geometric mean of 206 CFU/100 ml in freshwater.

Enterococci bacteria shall not exceed a monthly geometric mean of 35 CFU/100 ml in transition and saltwater.

1. See 9VAC25-260-140 C for boundary delineations for freshwater, transition and saltwater.

2. Geometric means shall be calculated using all data collected during any calendar month with a minimum of four weekly samples.

3. If there is insufficient data to calculate monthly geometric means in freshwater, no more than 10% of the total samples in the assessment period shall exceed 235 E.coli CFU/100 ml, or if there is insufficient data to calculate monthly geometric means in freshwater, no more than 10% of the total samples in the assessment period shall exceed 384 E.coli CFU/100 ml.

4. If there is insufficient data to calculate monthly geometric means in transition and saltwater, no more than 10% of the total samples in the assessment period shall exceed enterococci 104 CFU/100 ml.

5. For beach advisories or closures, a single sample maximum of 235 E.coli CFU/100 ml in freshwater and a single sample maximum of 104 enterococci CFU/100 ml in saltwater and transition zones shall apply, or for beach advisories or closures, a single sample maximum of 384 E.coli CFU/100 ml in freshwater and a single sample maximum of 104 enterococci CFU/100 ml in saltwater and transition zones shall apply.

B. Notwithstanding the above, all sewage discharges shall be disinfected to achieve the applicable bacteria concentrations in subdivision A 2 of this section prior to discharge.

However, the board, with the advice of the State Department of Health, may determine that reduced or no disinfection of a discharge is appropriate on a seasonal or year-round basis. In making such a determination, the board shall consider the designated uses of these waters and the seasonal nature of those uses. Such determinations will be made during the process of approving, issuing, or reissuing the discharge permit and shall be in conformance with a board approved site-specific use-attainability analysis performed by the permittee. When making a case-by-case determination concerning the appropriate level of disinfection for sewage discharges into these waters, the board shall provide a 45-day public notice period and opportunity for a public hearing.

C. Surface waters, or portions of these, may be designated in accordance with 9VAC25-260-10 to protect secondary contact recreation.

1. Sewage discharges to secondary contact recreational waters shall meet the requirements of the disinfection policy set forth in subsection B of this section.

2. In surface waters, except shellfish waters, designated for secondary contact recreation under this subsection, the B. The following bacteria criteria per 100 ml (CFU/100 ml) of water shall apply:

|  | Geometric Mean1 | Single Sample Maximum2 |
| --- | --- | --- |
| Freshwater3 |  |  |
|  | E. coli | 630 | 1173 |
| Saltwater and Transition Zone3 |  |  |
|  | enterococci | 175 | 519 |

1Calendar month average for two or more samples.

2No single sample maximum for enterococci and E. coli in secondary contact waters shall exceed a 75% upper one-sided confidence limit based on a site-specific log standard deviation. If site data are insufficient to establish a site-specific log standard deviation, then 0.4 shall be the log standard deviation in fresh and transition zone waters and 0.7 shall be the log standard deviation in saltwater. Values shown are based on a log standard deviation of 0.4 in freshwater and 0.7 in saltwater.

3See subsection 9 VAC 25-260-140 C for freshwater and transition zone delineation.

E.coli bacteria shall not exceed a monthly geometric mean of 630 CFU/100 ml in freshwater.

Enterococci bacteria shall not exceed a monthly geometric mean of 175 CFU/100 ml in transition and saltwater.

1. See 9VAC25-260-140 C for boundary delineations for freshwater, transition and saltwater.

2. Geometric means shall be calculated using all data collected during any calendar month with a minimum of four weekly samples.

3. If there is insufficient data to calculate monthly geometric means in freshwater, no more than 10% of the total samples in the assessment period shall exceed 1173 E.coli CFU/100 ml.

4. If there is insufficient data to calculate monthly geometric means in transition and saltwater, no more than 10% of the total samples in the assessment period shall exceed 519 enterococci CFU/100 ml.

5. Where the existing water quality for bacteria is below the geometric mean criteria in a water body designated for secondary contact in subdivision 6 of this subsection that higher water quality will be maintained in accordance with 9VAC25-260-30 A 2.

3. 6. Surface waters designated under this subsection are as follows:

a. (Reserved)

b. (Reserved)

c. (Reserved)

9VAC25-260-185. Criteria to protect designated uses from the impacts of nutrients and suspended sediment in the Chesapeake Bay and its tidal tributaries.

A. Dissolved oxygen.

| Designated Use | Criteria Concentration/ Duration | Temporal Application |
| --- | --- | --- |
| Migratory fish spawning and nursery | 7-day mean ≥ 6 mg/l (tidal habitats with 0-0.5 ppt salinity) | February 1-May 31 |
|  | Instantaneous minimum ≥ 5 mg/l |  |
| Open water1 | 30 day mean ≥ 5.5 mg/l (tidal habitats with 0-0.5 ppt salinity) | year-round2 June 1 – September 30 October 1 – May 31 |
|  | 30 day mean ≥ 5 mg/l (tidal habitats with > 0.5 ppt salinity) |  |
|  | 7 day mean ≥ 4 mg/l |  |
|  | Instantaneous minimum ≥ 3.2 mg/l at temperatures < 29°C Instantaneous minimum ≥ 4.3 mg/l at temperatures ≥ 29°C |  |
| Deep water | 30 day mean ≥ 3 mg/l | June 1- September 30 |
|  | 1 day mean ≥ 2.3 mg/l |  |
|  | Instantaneous minimum ≥ 1.7 mg/l |  |
| Deep channel | Instantaneous minimum ≥ 1 mg/l | June 1- September 30 |
| 1In applying this open water instantaneous criterion to the Chesapeake Bay and its tidal tributaries where the existing water quality for dissolved oxygen exceeds an instantaneous minimum of 3.2 mg/l, that higher water quality for dissolved oxygen shall be provided antidegradation protection in accordance with 9 VAC 25-610-30 A 2. 2Open-water dissolved oxygen criteria attainment is assessed separately over two time periods: summer (June 1- September 30) and nonsummer (October 1-May 31) months. |

B. Submerged aquatic vegetation and water clarity. If the submerged aquatic vegetation (SAV) acres in this subsection are met in any individual Chesapeake Bay Program segment as described in subsection D of this section, then the shallow water submerged aquatic vegetation use is met in that segment. If the SAV acres in this subsection are not met in any individual Chesapeake Bay Program segment, then the water clarity criteria shall apply to the water clarity acres in that segment. If these water clarity criteria are met to the bottom water sediment interface for the number of water clarity acres in that segment, then the shallow-water submerged aquatic vegetation use is met; regardless of the number of acres of SAV in that segment. Attainment of the shallow-water submerged aquatic vegetation designated use shall be determined using any of the following criteria:

| Designated Use | Chesapeake Bay Program Segment | SAV Acres1 | Water Clarity Criteria (percent light-through-water)2 Percent Light-Through-Water2 | Water Clarity Acres1 | Temporal Application |
| --- | --- | --- | --- | --- | --- |
| Shallow Water Submerged Aquatic Vegetation Use | CB5MH | 7,633 | 22% | 14,514 | April 1 - October 31 |
|  | CB6PH | 1,267 | 22% | 3,168 | March 1 - November 30 |
|  | CB7PH | 15,107 | 22% | 34,085 | March 1 - November 30 |
|  | CB8PH | 11 | 22% | 28 | March 1 - November 30 |
|  | POTTF | 2,093 | 13% | 5,233 | April 1 - October 31 |
|  | POTOH | 1,503 | 13% | 3,758 | April 1 - October 31 |
|  | POTMH | 4,250 | 22% | 10,625 | April 1 - October 31 |
|  | RPPTF | 66 | 13% | 165 | April 1 - October 31 |
|  | RPPOH | 0 4 | - 13% | 0 10 | April 1 - October 31 |
|  | RPPMH | 1700 | 22% | 5000 | April 1 - October 31 |
|  | CRRMH | 768 | 22% | 1,920 | April 1 - October 31 |
|  | PIAMH | 3,479 | 22% | 8,014 | April 1 - October 31 |
|  | MPNTF | 85 | 13% | 213 | April 1 - October 31 |
|  | MPNOH | 0 - | - | 0 - | - |
|  | PMKTF | 187 | 13% | 468 | April 1 - October 31 |
|  | PMKOH | 0 - | - | 0 - | - |
|  | YRKMH | 239 | 22% | 598 | April 1 - October 31 |
|  | YRKPH | 2,793 | 22% | 6,982 | March 1 - November 30 |
|  | MOBPH | 15,901 | 22% | 33,990 | March 1 - November 30 |
|  | JMSTF2 | 200 | 13% | 500 | April 1 - October 31 |
|  | JMSTF1 | 1000 | 13% | 2500 | April 1 - October 31 |
|  | APPTF | 379 | 13% | 948 | April 1 - October 31 |
|  | JMSOH | 15 | 13% | 38 | April 1 - October 31 |
|  | CHKOH | 535 | 13% | 1,338 | April 1 - October 31 |
|  | JMSMH | 200 | 22% | 500 | April 1 - October 31 |
|  | JMSPH | 300 | 22% | 750 | March 1 - November 30 |
|  | WBEMH | 0 | - | 0 | - |
|  | SBEMH | 0 | - | 0 | - |
|  | EBEMH | 0 | - | 0 | - |
|  | LAFMH | 0 | - | 0 | - |
|  | ELIPH | 0 | - | 0 | - |
|  | LYNPH | 107 | 22% | 268 | March 1 - November 30 |
|  | POCOH | 0 - | - | 0 - | - |
|  | POCMH | 4,066 | 22% | 9,368 | April 1 - October 31 |
|  | TANMH | 13,579 | 22% | 22,064 | April 1 - October 31 |

1The assessment period for SAV and water clarity acres shall be the single best year in the most recent three consecutive years. When three consecutive years of data are not available, a minimum of three years within the most recent five years shall be used data assessment window.

2Percent Light through Water = 100e(-KdZ) where Kd is water column light attenuation coefficient and can be measured directly or converted from a measured secchi depth where Kd = 1.45/secchi depth. Z = depth at location of measurement of Kd.

C. Chlorophyll a.

| Designated Use | Chlorophyll a Narrative* Criterion | Temporal Application |
| --- | --- | --- |
| Open Water | Concentrations of chlorophyll a in free-floating microscopic aquatic plants (algae) shall not exceed levels that result in undesirable or nuisance aquatic plant life, or render tidal waters unsuitable for the propagation and growth of a balanced, indigenous population of aquatic life or otherwise result in ecologically undesirable water quality conditions such as reduced water clarity, low dissolved oxygen, food supply imbalances, proliferation of species deemed potentially harmful to aquatic life or humans or aesthetically objectionable conditions. | March 1 - September 30 |
| *See 9VAC25-260-310 special standard bb for numerical chlorophyll criteria for the tidal James River. |

D. Implementation.

1. Chesapeake Bay program segmentation scheme as described in Chesapeake Bay Program, 2004 Chesapeake Bay Program Analytical Segmentation Scheme-Revisions, Decisions and Rationales: 1983—2003, CBP/TRS 268/04, EPA 903-R-04-008, Chesapeake Bay Program, Annapolis, Maryland, and the Chesapeake Bay Program published 2005 addendum (CBP/TRS 278-06; EPA 903-R-05-004) is listed below and shall be used as the spatial assessment unit to determine attainment of the criteria in this section for each designated use.

| Chesapeake Bay Segment Description | Segment Name1 | Chesapeake Bay Segment Description | Segment Name1 |
| --- | --- | --- | --- |
| Lower Central Chesapeake Bay | CB5MH | Mobjack Bay | MOBPH |
| Western Lower Chesapeake Bay | CB6PH | Upper Tidal Fresh James River | JMSTF2 |
| Eastern Lower Chesapeake Bay | CB7PH | Lower Tidal Fresh James River | JMSTF1 |
| Mouth of the Chesapeake Bay | CB8PH | Appomattox River | APPTF |
| Upper Potomac River | POTTF | Middle James River | JMSOH |
| Middle Potomac River | POTOH | Chickahominy River | CHKOH |
| Lower Potomac River | POTMH | Lower James River | JMSMH |
| Upper Rappahannock River | RPPTF | Mouth of the James River | JMSPH |
| Middle Rapphannock River | RPPOH | Western Branch Elizabeth River | WBEMH |
| Lower Rapphannock River | RPPMH | Southern Branch Elizabeth River | SBEMH |
| Corrotoman River | CRRMH | Eastern Branch Elizabeth River | EBEMH |
| Piankatank River | PIAMH | Lafayette River | LAFMH |
| Upper Mattaponi River | MPNTF | Mouth of the Elizabeth River | ELIPH |
| Lower Mattaponi River | MPNOH | Lynnhaven River | LYNPH |
| Upper Pamunkey River | PMKTF | Middle Pocomoke River | POCOH |
| Lower Pamunkey River | PMKOH | Lower Pocomoke River | POCMH |
| Middle York River | YRKMH | Tangier Sound | TANMH |
| Lower York River | YRKPH |  |  |

1First three letters of segment name represent Chesapeake Bay segment description, letters four and five represent the salinity regime of that segment (TF = Tidal Fresh, OH = Oligohaline, MH = Mesohaline and PH = Polyhaline) and a sixth space is reserved for subdivisions of that segment.

2. The assessment period shall be the most recent three consecutive years. When three consecutive years of data are not available, a minimum of three years within the most recent five years shall be used the data assessment window.

3. Attainment of these criteria shall be assessed through comparison of the generated cumulative frequency distribution of the monitoring data to the applicable criteria reference curve for each designated use. If the monitoring data cumulative frequency curve is completely contained inside the reference curve, then the segment is in attainment of the designated use. The reference curves and procedures to be followed are published in the USEPA, Ambient Water Quality Criteria for Dissolved Oxygen, Water Clarity and Chlorophyll a for the Chesapeake Bay and Its Tidal Tributaries, EPA 903-R-03-002, April 2003 and the 2004 (EPA 903-R-03-002 October 2004) and 2007 (CBA/TRS 285-07, EPA 903-R-07-003) addenda. If no reference curve is published, the cumulative frequency distribution reference curve in Figure 1, which represents 10% allowable exceedences equally distributed between time and space, shall be the applicable reference curve. An exception to this requirement is in measuring attainment of the SAV and water clarity acres, which are compared directly to the criteria.

Figure 1.

9VAC25-260-290. Tidal water sampling. (Repealed.)

Samples for determining compliance with standards established for estuarine or open ocean waters shall be collected at slack before flood tide or slack before ebb tide.

Part VII 
Special Standards and Scenic Rivers Listings

9VAC25-260-310. Special standards and requirements.

The special standards are shown in small letters to correspond to lettering in the basin tables. The special standards are as follows:

a. Shellfish waters. In all open ocean or estuarine waters capable of propagating shellfish or in specific areas where public or leased private shellfish beds are present, including those waters on which condemnation or restriction classifications are established by the State Department of Health, the following criteria for fecal coliform bacteria will apply:

The geometric mean fecal coliform value for a sampling station shall not exceed an MPN (most probable number) of 14 per 100 ml of sample and the 90th percentile shall not exceed 43 for a 5-tube, 3-dilution test or 49 for a 3-tube, 3-dilution test.

The shellfish area is not to be so contaminated by radionuclides, pesticides, herbicides, or fecal material that the consumption of shellfish might be hazardous.

b. Policy for the Potomac Embayments. At its meeting on September 12, 1996, the board adopted a policy (9VAC25-415. Policy for the Potomac Embayments) to control point source discharges of conventional pollutants into the Virginia embayment waters of the Potomac River, and their tributaries, from the fall line at Chain Bridge in Arlington County to the Route 301 bridge in King George County. The policy sets effluent limits for BOD5, total suspended solids, phosphorus, and ammonia, to protect the water quality of these high profile waterbodies.

c. Cancelled.

d. Cancelled.

e. Cancelled.

f. Cancelled.

g. Occoquan watershed policy. At its meeting on July 26, 1971 (Minute 10), the board adopted a comprehensive pollution abatement and water quality management policy for the Occoquan watershed. The policy set stringent treatment and discharge requirements in order to improve and protect water quality, particularly since the waters are an important water supply for Northern Virginia. Following a public hearing on November 20, 1980, the board, at its December 10-12, 1980 meeting, adopted as of February 1, 1981, revisions to this policy (Minute 20). These revisions became effective March 4, 1981. Additional amendments were made following a public hearing on August 22, 1990, and adopted by the board at its September 24, 1990, meeting (Minute 24) and became effective on December 5, 1990. Copies are available upon request from the Department of Environmental Quality.

h. Cancelled.

i. Cancelled.

j. Cancelled.

k. Cancelled.

l. Cancelled.

m. The following effluent limitations apply to wastewater treatment facilities in the entire Chickahominy watershed above Walker's Dam (this excludes effluents discharges consisting solely of stormwater):

|  | CONSTITUENT | CONCENTRATION |
| --- | --- | --- |
|  | 1. Biochemical Oxygen demand 5-day at 20 | 6.0 6 mg/l monthly average, with not more than 5% of individual samples to exceed 8.0 8 mg/l |
|  | 2. Settleable Solids | Not to exceed 0.1 ml/l monthly average |
|  | 3. Suspended Solids | 5.0 mg/l monthly average, with not more than 5% of individual samples to exceed 7.5 mg/l |
|  | 4. Ammonia Nitrogen | Not to exceed 2.0 mg/l monthly average as N |
|  | 5. Total Phosphorus | Not to exceed 0.1 0.10 mg/l monthly average for all discharges with the exception of Tyson Foods, Inc. which shall meet 0.3 0.30 mg/l monthly average and 0.5 0.50 mg/l daily maximum. |
|  | 6. Other Physical and Chemical Constituents | Other physical or chemical constituents not specifically mentioned will be covered by additional specifications as conditions detrimental to the stream arise. The specific mention of items 1 through 5 does not necessarily mean that the addition of other physical or chemical constituents will be condoned. |

n. No sewage discharges, regardless of degree of treatment, should be allowed into the James River between Bosher and Williams Island Dams.

o. The concentration and total amount of impurities in Tuckahoe Creek and its tributaries of sewage origin shall be limited to those amounts from sewage, industrial wastes, and other wastes which are now present in the stream from natural sources and from existing discharges in the watershed.

p. Cancelled.

q. Cancelled.

r. Cancelled.

s. Chlorides not to exceed 40 mg/l at any time. Cancelled.

t. Cancelled.

u. Maximum temperature for the New River Basin from West Virginia state line upstream to the Giles-Montgomery County line:

The maximum temperature shall be 27°C (81°F) unless caused by natural conditions; the maximum rise above natural temperatures shall not exceed 2.8°C (5°F).

This maximum temperature limit of 81°F was established in the 1970 water quality standards amendments so that Virginia temperature criteria for the New River would be consistent with those of West Virginia, since the stream flows into that state.

v. The maximum temperature of the New River and its tributaries (except trout waters) from the Montgomery-Giles County line upstream to the Virginia-North Carolina state line shall be 29°C (84°F).

w. Cancelled.

x. Clinch River from the confluence of Dumps Creek at river mile 268 at Carbo downstream to river mile 255.4. The special water quality criteria for copper (measured as total recoverable) in this section of the Clinch River are 12.4 μg/l for protection from chronic effects and 19.5 μg/l for protection from acute effects. These site-specific criteria are needed to provide protection to several endangered species of freshwater mussels.

y. Tidal freshwater Potomac River and tidal tributaries that enter the tidal freshwater Potomac River from Cockpit Point (below Occoquan Bay) to the fall line at Chain Bridge. During November 1 through February 14 of each year the 30-day average concentration of total ammonia nitrogen (in mg N/L) shall not exceed, more than once every three years on the average, the following chronic ammonia criterion:

| ( | 0.0577 | + | 2.487 | ) | x 1.45(100.028(25-MAX)) |
| --- | --- | --- | --- | --- | --- |
|  | 1 + 107.688-pH |  | 1 + 10pH-7.688 |  |  |

MAX = temperature in °C or 7, whichever is greater.

The default design flow for calculating steady state waste load allocations for this chronic ammonia criterion is the 30Q10, unless statistically valid methods are employed which demonstrate compliance with the duration and return frequency of this water quality criterion.

z. A site specific dissolved copper aquatic life criterion of 16.3 μg/l for protection from acute effects and 10.5 μg/l for protection from chronic effects applies in the following area:

Little Creek to the Route 60 (Shore Drive) bridge including Little Channel, Desert Cove, Fishermans Cove and Little Creek Cove.

Hampton Roads Harbor including the waters within the boundary lines formed by I-664 (Monitor-Merrimac Bridge Tunnel) and I-64 (Hampton Roads Bridge Tunnel), Willoughby Bay and the Elizabeth River and its tidal tributaries.

This criterion reflects the acute and chronic copper aquatic life criterion for saltwater in 9VAC25-260-140 B X a water effect ratio. The water effect ratio was derived in accordance with 9VAC25-260-140 F.

aa. The following site-specific dissolved oxygen criteria apply to the tidal Mattaponi and Pamunkey Rivers and their tidal tributaries because of seasonal lower dissolved oxygen concentration due to the natural oxygen depleting processes present in the extensive surrounding tidal wetlands. These criteria apply June 1 through September 30 to Chesapeake Bay segments MPNTF, MPNOH, PMKTF, PMKOH and are implemented in accordance with subsection D of 9VAC25-260-185. These criteria supersede the open water criteria listed in subsection A of 9VAC25-260-185.

|  | Designated use | Criteria Concentration/ Duration | Temporal Application |
| --- | --- | --- | --- |
|  | Open Water | 30 day mean ≥ 4.0 mg/l | June 1 - September 30 |
|  |  | Instantaneous minimum ≥ 3.2 mg/l at temperatures <29°C Instantaneous minimum ≥ 4.3 mg/l at temperatures ≥ 29°C |  |

A site-specific pH criterion of 5.0-8.0 applies to the tidal freshwater Mattaponi Chesapeake Bay segment MPNTF to reflect natural conditions.

bb. The following site specific numerical chlorophyll a criteria apply March 1 through May 31 and July 1 through September 30 as seasonal means to the tidal James River (excludes tributaries) segments JMSTF2, JMSTF1, JMSOH, JMSMH, JMSPH and are implemented in accordance with subsection D of 9VAC25-260-185.

| Designated Use | Chlorophyll a µ/l | Chesapeake Bay Program Segment | Temporal Application |
| --- | --- | --- | --- |
| Open Water | 10 | JMSTF2 | March 1 - May 31 |
|  | 15 | JMSTF1 |  |
|  | 15 | JMSOH |  |
|  | 12 | JMSMH |  |
|  | 12 | JMSPH |  |
|  | 15 | JMSTF2 | July 1 - September 30 |
|  | 23 | JMSTF1 |  |
|  | 22 | JMSOH |  |
|  | 10 | JMSMH |  |
|  | 10 | JMSPH |  |

cc. For Mountain Lake in Giles County, chlorophyll a shall not exceed 6 µg/L at a depth of 6 meters and orthophosphate-P shall not exceed 8 µg/L at a depth of one meter or less.

dd. For Lake Drummond, located within the boundaries of Chesapeake and Suffolk in the Great Dismal Swamp, chlorophyll a shall not exceed 35 µg/L and total phosphorus shall not exceed 40 µg/L at a depth of one meter or less.

ee. Lake Curtis in Stafford County has a pH standard of 5.5-9.6, which is protective of the aquatic life in this reservoir and is a result of the fertilization techniques used to manage the fishery.

ff. John H. Kerr Reservoir at the Clarksville water supply intake has a dissolved manganese criterion of 50 µg/l to protect the acceptable taste, odor or aesthetic quality of the drinking water.

gg. Little Calfpasture River from the Goshen Dam to 0.76 miles above its confluence with the Calfpasture River has a stream condition index (A Stream Condition Index for Virginia Non-Coastal Streams, September 2003, Tetra Tech, Inc.) of at least 20.5 to protect the subcategory of aquatic life that exists here as a result of the hydrologic modification. From 0.76 miles to 0.02 miles above its confluence with the Calfpasture River, aquatic life conditions are expected to gradually recover and meet the general aquatic life uses at 0.02 miles above its confluence with the Calfpasture River.

hh. Maximum temperature for these seasonally stockable trout waters is 31°C and applies May 1 through October 31.

9VAC25-260-320. Scenic rivers. (Repealed.)

The following section recognizes waters which the General Assembly has determined to be of special ecological or recreational significance to the state. The designation of a scenic river and the significance of this designation are the subject of the Scenic Rivers Act (§10.1-400 et seq. of the Code of Virginia) and are listed here for informational purposes only.

POTOMAC RIVER BASIN

POTOMAC RIVER SUBBASIN

Goose Creek from its confluence with the Potomac River upstream to the Fauquier-Loudoun County line (7+ miles).

Catoctin Creek in Loudoun County from its confluence with the Potomac River upstream to the Town of Waterford (16+ miles).

SHENANDOAH RIVER SUBBASIN

The Shenandoah River in Clarke County from the Warren-Clarke County line to Lockes Landing (14+ miles).

JAMES RIVER BASIN

The Saint Marys River in Augusta County within the George Washington National Forest. (6+ miles).

Rivanna River from its confluence with the James River upstream to the base of the dam at the Woolen Mills in the City of Charlottesville to the junction of the Rivanna with the James River (37+ miles).

Appomattox River from the Route 36 bridge crossing in the City of Petersburg upstream to the abutment dam located about 1.3 miles below Lake Chesdin (5+ miles).

The James River from Orleans Street extended in the City of Richmond westward to the 1970 corporate limits of the city (8+ miles).

The Upper James River from a point two miles below Eagle Rock to the Route 630 bridge in Springwood (14+/- miles).

Chickahominy River from Route 360 to the junction of the Hanover/Henrico/New Kent County line in Hanover County (10.2+ miles).

The Moormans River in Albemarle County, from the foot of the dam of the Charlottesville water supply reservoir to the junction with the Mechums River below Route 601 (13+ miles).

Rockfish River from the Route 693 bridge in Schuyler to its confluence with the James River (9.75+ miles).

Lower James River, from an unnamed tributary to the James River approximately 1.2 miles east of Trees Point in Charles City County (northside) and Upper Chippokes Creek (southside) to Grices Run (northside) and Lawnes Creek (southside) (25+ miles).

RAPPAHANNOCK RIVER BASIN

Rappahannock River in Rappahannock, Culpeper, Fauquier, Stafford, and Spotsylvania Counties and the City of Fredericksburg from its headwaters near Chester Gap to the Ferry Farm-Mayfield Bridge (86+/- miles).

ROANOKE RIVER BASIN

ROANOKE RIVER SUBBASIN

Roanoke (Staunton) River from State Route 360 upstream to State Route 761 at the Long Island Bridge (40.5 +/- miles).

CHOWAN AND DISMAL SWAMP BASIN

CHOWAN RIVER SUBBASIN

Nottoway River in Sussex County from the Route 40 bridge at Stony Creek to the Southampton County line (33+ miles).

North Meherrin River in Lunenburg County from the Route 712 bridge to the confluence with the Meherrin River (7.5 miles).

ALBEMARLE SOUND SUBBASIN

The North Landing River from the North Carolina line to the bridge at Route 165, Pocaty River from its junction with North Landing River to the Blackwater Road Bridge, West Neck Creek from the junction with the North Landing River to Indian River Road Bridge, and Blackwater Creek from the junction with the North Landing River to its confluence, approximately 4.2 miles, of an unnamed tributary 1.75+/- miles west of Blackwater Road (26+ miles).

TENNESSEE AND BIG SANDY RIVER BASINS

CLINCH RIVER SUBBASIN

Guest River from a point 100 feet downstream of the Route 72 Bridge to the junction with the Clinch River in Scott and Wise County (6.5+ miles).

9VAC25-260-350. Designation of nutrient enriched waters.

A. The following state waters are hereby designated as "nutrient enriched waters":

1. Smith Mountain Lake and all tributaries* of the impoundment upstream to their headwaters;

2. Lake Chesdin from its dam upstream to where the Route 360 bridge (Goodes Bridge) crosses the Appomattox River, including all tributaries to their headwaters that enter between the dam and the Route 360 bridge; (Repealed.)

3. South Fork Rivanna Reservoir and all tributaries of the impoundment upstream to their headwaters; (Repealed.)

4. New River and its tributaries, except Peak Creek above Interstate 81, from Claytor Dam upstream to Big Reed Island Creek (Claytor Lake).

5. Peak Creek from its headwaters to its mouth (confluence with Claytor Lake), including all tributaries to their headwaters;

6. through 20. (Repealed.)

7. (Repealed.)

8. (Repealed.)

9. (Repealed.)

10. (Repealed.)

11. (Repealed.)

12. (Repealed.)

13. (Repealed.)

14. (Repealed.)

15. (Repealed.)

16. (Repealed.)

17. (Repealed.)

18. (Repealed.)

19. (Repealed.)

20. (Repealed.)

21. Tidal freshwater Blackwater River from the Norfolk and Western railway bridge at Burdette, Virginia, and tidal freshwater Nottoway River from the Norfolk and Western railway bridge at Courtland, Virginia, to the state line, including all tributaries to their headwaters that enter the tidal freshwater portions of the Blackwater River and the Nottoway River; and

22. Stony Creek from its confluence with the North Fork Shenandoah River to its headwaters including all named and unnamed tributaries to their headwaters. (Repealed.)

B. Whenever any water body is designated as "nutrient enriched waters," the board shall modify the VPDES permits of point source dischargers into the "nutrient enriched waters" as provided in the board's Policy for Nutrient Enriched Waters (9VAC25-40).

*When the word "tributaries" is used in this standard, it does not refer to the mainstem of the water body that has been named.

Part IX 
River Basin Section Tables

9VAC25-260-360. Section number and description columns.

A. Basin descriptions. The tables that follow divide the state's surface waters into nine river basins, some with subbasins: Potomac River Basin (Potomac and Shenandoah Subbasins), James River Basin (Appomattox River Subbasin), Rappahannock River Basin, Roanoke River Basin (Roanoke and Yadkin Subbasins), Yadkin River Basin, Chowan and Dismal Swamp Basin (Chowan and Albemarle Sound Subbasins), Tennessee and Big Sandy Basins (Big Sandy, Clinch and Holston Subbasins), Chesapeake Bay, Atlantic Ocean and Small Coastal Basin, York River Basin and New River Basin. (See Figure 2.)

Each basin is further divided into sections. Each section is assigned a class, represented by Roman Numerals I through VII, based on its geographic location or, in the case of trout waters, on its use. Descriptions of these classes are found in 9VAC25-260-50.

B. Potomac water supplies (raw water intakes). The Leesburg and County of Fairfax intakes in the Potomac are in Maryland waters and the board cannot adopt the public water supply criteria in 9VAC25-260-140 B to apply at the raw water intake points. However, applications to discharge into, or otherwise alter the physical, chemical, or biological properties of Virginia waters within an area five miles upstream of the intake will be reviewed on a case-by-case basis to ensure that they will protect the water supply. Basin sections where this would be applicable are shown with an asterisk (*) in the basin and section description columns.

9VAC25-260-380. Special standards column.

A. Bacteria criteria. All surface waters have criteria for fecal coliform bacteria. The bacteria criteria for shellfish waters are set forth in 9VAC25-260-160; the criteria applying to all other surface recreational waters are found in 9VAC25-260-170. The letter "a" in the special standards column next to a river basin section indicates that there are shellfish waters somewhere within that section and the bacteria criteria for shellfish waters applies to those shellfish waters. (It should be noted that even though the column contains the letter "a" the entire section may not be shellfish waters.)

B. Natural variation. In some cases natural water quality does not fall within the criteria set by these standards. (For example streams in some areas of the state may naturally exceed the usual pH range of 6.0 to 9.0.) In these instances the board may have set more appropriate criteria that reflect natural quality, and this special limit is shown in the special standards column.

C. Additional requirements. In other cases the basic water quality parameters of DO, pH, temperature, and bacteria have not been sufficient to protect water quality in certain areas, and effluent limits or treatment requirements have been established for these areas. This fact is also indicated in the special standards column. If the applicable standard was too long to print in its entirety in that column, the column contains only a lower case letter, and the standard itself will be found in the special standards 9VAC25-260-310 under that letter.

D. Other special standards or designations.

1. Public water supplies (PWS). Sections that are public water supplies are indicated in the special standards column with a PWS. This designation indicates that additional criteria are applicable in this section. See 9VAC25-260-140 B for applicable criteria. Taste and odor criteria to maintain acceptable taste, odor or aesthetic quality of drinking water apply at the drinking water intake.

2. Nutrient enriched waters (NEW). If a section contains a waterbody that has been designated as nutrient enriched in 9VAC25-260-350, the special standards column indicates this with the letters "NEW-" followed by a number. The appropriate waterway can be found listed in 9VAC25-260-350. The entire section is not necessarily nutrient enriched, only that portion specifically listed in 9VAC25-260-350.

3. Exceptional state waters (ESW). If a section contains a waterbody that has been designated as exceptional state waters in 9VAC25-260-30 A 3 the special standard column indicates this with ESW followed by a number. The appropriate waterway can be found listed in 9VAC25-260-30 A 3 c. The entire section within the basin table is not necessarily designated as exceptional state waters, only that portion specifically listed in 9VAC25-260-30 A 3 c.

4. If a section contains a waterbody that has been assigned a special standard (indicated by lower case letters in the special standards column), the appropriate waterway can be found listed in 9VAC25-260-310. The special standard does not necessarily apply to the entire section, only that portion specifically listed in 9VAC25-260-310.

9VAC25-260-390. Potomac River Basin (Potomac River Subbasin).

Potomac River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | II | a | Tidal tributaries of the Potomac River from Smith Point to Upper Machodoc Creek (Baber Point). |
| 1a | III |  | All free flowing portions of tributaries to the Potomac River from Smith Point to the Route 301 Bridge in King George County unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 1a |
|  |  |  | Pine Hill Creek and its tributaries from the confluence with Rosier Creek to their headwaters. |
| 1b | III | b,NEW-12 | All free flowing portions of tributaries to the Potomac River from the Route 301 Bridge in King George County to, and including, Potomac Creek, unless otherwise designated in this chapter. |
| 1c | III | PWS,b, NEW-12 | Potomac Creek and its tributaries from the Stafford County water supply dam (Able Lake Reservoir) to their headwaters. |
| 2 | II | a,NEW-14 | Tidal Upper Machodoc Creek and the tidal portions of its tributaries. |
| 2a | III | NEW-14 | Free flowing portions of Upper Machodoc Creek and its tributaries. |
| 3 | II | b,NEW-12 | Tidal portions of the tributaries to the Potomac River from the Route 301 Bridge in King George County to Marlboro Point. |
| 4 | II | b,d,NEW-6 | Tidal portions of the tributaries to the Potomac River from Marlboro Point to Brent Point (to include Aquia Creek and its tributaries). |
| 4a | III | b,d,NEW-6 | Free flowing portions of tributaries to the Potomac River in Section 4 up to the Aquia Sanitary District Water Impoundment. |
| 4b | III | PWS,b,d,NEW-6 | Aquia Creek from the Aquia Sanitary District Water Impoundment, and other tributaries into the impoundment, including Beaverdam Run and the Lunga Reservoir upstream to their headwaters. |
| 5 | II | b | Tidal portions of tributaries to the Potomac River from Brent Point to Shipping Point, including tidal portions of Chopawamsic Creek and its tidal tributaries. |
| 5a | III | b | Free flowing portions of Chopawamsic Creek and its tributaries to Quantico Marine Base water supply dam. |
| 5b | III | PWS,b | Chopawamsic Creek and its tributaries above the Quantico Marine Base water supply intakes at the Gray and Breckenridge Reservoirs to their headwaters. |
| 6 | II | b, y, NEW-7,8,9,10,11,13 | Tidal portions of tributaries to the Potomac River from Shipping Point to Chain Bridge. |
| 7 | III | b,NEW-7,8,9,10,11,13 | Free flowing portions of tributaries to the Potomac River from Shipping Point to Chain Bridge, unless otherwise designated in this chapter. |
| 7a | III | g | Occoquan River and its tributaries to their headwaters above Fairfax County Water Authority's water supply impoundment, unless otherwise designated in this chapter. |
| 7b | III | PWS,g | The impounded waters of Occoquan River above the water supply dam of the Fairfax County Water Authority to backwater of the impoundment on Bull Run and Occoquan River, and the tributaries of Occoquan above the dam to points 5 miles above the dam. |
| 7c | III | PWS,g | Broad Run and its tributaries above the water supply dam of the City of Manassas upstream to points 5 miles above the dam. |
| 7d |  |  | (Deleted) |
| 7e | III | PWS,g | Cedar Run and its tributaries from the Town of Warrenton's raw water intake to points 5 miles upstream (Fauquier County). |
| 7f | III | PWS,g | The Quantico Marine Base Camp Upshur and its tributaries' raw water intake on Cedar Run (located approximately 0.2 mile above its confluence with Lucky Run) to points 5 miles upstream. |
| 7g | III | PWS,g | The proposed impounded waters of Licking Run above the multiple purpose impoundment structure in Licking Run near Midland (Fauquier County) upstream to points 5 miles above the proposed impoundment. |
| 7h | III | PWS,g | The proposed impounded waters of Cedar Run above the proposed multiple purpose impoundment structure on the main stem of Cedar Run near Auburn (Fauquier County), to points 5 miles above the impoundment. |
| 8 | III | PWS | Tributaries to the Potomac River in Virginia between Chain Bridge and the Monacacy River from their confluence with the Potomac upstream 5 miles, to include Goose Creek to the City of Fairfax's raw water intake, unless otherwise designated in this chapter. |
| 8a | VI | PWS | Big Spring Creek and its tributaries in Loudoun County, from its confluence with the Potomac River upstream to their headwaters. (The temperature standard for natural trout water may be exceeded in the area above Big Spring and Little Spring at Routes 15 and 740 due to natural conditions). This section was given a PWS designation due to the Town of Leesburg's intake on the Potomac as referenced in Section 8b below. |
|  | iii |  | Big Spring Creek from its confluence with the Potomac River upstream to Big Spring. |
| 8b | III | PWS | Those portions of Virginia tributaries into the Potomac River that are within a 5 mile distance upstream of the Town of Leesburg's intake on the Potomac River, unless otherwise designated in this chapter.* |
| 8c | III | PWS | Those portions of Virginia tributaries into the Potomac River that are within a 5 mile distance upstream of the County of Fairfax's intake on the Potomac River.* |
| 9 | III |  | Broad Run, Sugarland Run, Difficult Run, Tuscarora Creek, Sycoline Creek, and other streams tributary to streams in Section 8 from a point 5 miles above their confluence with the Potomac River to their headwaters, unless otherwise designated in this chapter. |
| 9a | III | PWS | All the impounded water of Goose Creek from the City of Fairfax's water supply dam upstream to backwater, and its tributaries above the dam to points 5 miles above the dam. |
| 9b | III | PWS | The Town of Round Hill's (inactive-early 1980's) raw water intake at the Round Hill Reservoir, and including the two spring impoundments located northwest of the town on the eastern slope of the Blue Ridge Mountains. |
| 9c | III | PWS | Unnamed tributary to Goose Creek, from Camp Highroad's (inactive-late 1980's) raw water intake (Loudoun County) located in an old quarry (at latitude 39°02'02"; longitude 77°40'49") to its headwaters. |
| 9d | III | PWS | Sleeter Lake (Loudoun County). |
| 10 | III |  | Tributaries of the Potomac River from the Monacacy River to the West Virginia-Virginia state line in Loudoun County, from their confluence with the Potomac River upstream to their headwaters, unless otherwise designated in this chapter. |
| 10a | III | PWS | North Fork Catoctin Creek from Purcellville's raw water intake to its headwaters. |
| 10b | III |  | South Fork Catoctin Creek and its tributaries from its confluence with the North Fork Catoctin Creek to its headwaters. |
| 11 | IV | pH-6.5-9.5 | Tributaries of the Potomac River in Frederick and Clarke Counties, Virginia, unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 11 |
|  | *** | pH-6.5-9.5 | Back Creek (upper) from Rock Enon 4 miles upstream. |
|  | *** | pH-6.5-9.5 | Back Creek (lower) from Route 600 to the mouth of Hogue Creek - 2 miles. |
|  | *** | hh | Hogue Creek from Route 679 upstream 6 miles to the Forks below Route 612. |
|  | vi | pH-6.5-9.5 | Opequon Creek (in Frederick County) from its confluence with Hoge Run upstream to the point at which Route 620 first crosses the stream. |
|  | vi | pH-6.5-9.6 | Turkey Run (Frederick County) from its confluence with Opequon Creek 3.6 miles upstream. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 11 |
|  | ii | pH-6.5-9.5 | Bear Garden Run from its confluence with Sleepy Creek 3.1 miles upstream. |
|  | iii | pH-6.5-9.5 | Redbud Run from its confluence with Opequon Creek 4.4 miles upstream. |
| 11a | IV | pH-6.5-9.5 | Hot Run and its tributaries from its confluence with Opequon Creek to its headwaters. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 11a |
|  | vi | pH-6.5-9.5 | Clearbrook Run from its confluence with Hot Run 2.1 miles upstream. |
| 12 | IV | pH-6.5-9.5 ESW-6 | South Branch Potomac River and its tributaries, such as Strait Creek, and the North Fork River and its tributaries from the Virginia-West Virginia state line to their headwaters. |
|  | V |  | Stockable Trout Waters in Section 12 |
|  | vi |  | Frank Run from its confluence with the South Branch Potomac River 0.8 mile upstream. |
|  | vii | pH-6.5-9.5 | South Branch Potomac River (in Highland County) from 69.2 miles above its confluence with the Potomac River 4.9 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 12 |
|  | ii |  | Blights Run from its confluence with Laurel Fork (Highland County) upstream including all named and unnamed tributaries. |
|  | ii |  | Buck Run (Highland County) from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Collins Run from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Fork (Highland County) from 1.9 miles above its confluence with the North Fork South Branch Potomac River upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Laurel Run (Highland County) from its confluence with Strait Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Locust Spring Run from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Lost Run from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Mullenax Run from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Newman Run from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Slabcamp Run from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Strait Creek (Highland County) from its confluence with the South Branch Potomac River upstream to the confluence of West Strait Creek. |

9VAC25-260-400. Potomac River Basin (Shenandoah River Subbasin).

Shenandoah River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | IV | pH-6.5-9.5 | Shenandoah River and its tributaries in Clarke County, Virginia, from the Virginia-West Virginia state line to Lockes Landing, unless otherwise designated in this chapter. |
| 1a | IV | PWS pH-6.5-9.5 | Shenandoah River and its tributaries from river mile 24.66 (latitude 39°16'19"; longitude 77°54'33") approximately 0.7 mile downstream of the confluence of the Shenandoah River and Dog Run to 5 miles above Berryville's raw water intake (latitude 39°05'56"; longitude 77°58'31"), unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 1a |
|  | vi | pH-6.5-9.5 | Chapel Run (Clarke County) from its confluence with the Shenandoah River 5.7 miles upstream. |
|  | vi | pH-6.5-9.5 | Spout Run (Clarke County) from its confluence with the Shenandoah River (in the vicinity of the Ebenezer Church at Route 604) to its headwaters. |
| 1b |  |  | (Deleted) |
| 1c | IV | pH-6.5-9.5 | Shenandoah River and its tributaries from a point 5 miles above Berryville's raw water intake to the confluence of the North and South Forks of the Shenandoah River. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 1c |
|  | iii | pH-6.5-9.5 | Page Brook from its confluence with Spout Run, 1 mile upstream. |
|  | *** | pH-6.5-9.5 | Roseville Run (Clarke County) from its confluence with Spout Run upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Spout Run (Clarke County) from its confluence with the Shenandoah River (in the vicinity of Calmes Neck at Rts 651 and 621), 3.9 miles upstream. |
|  | *** | pH-6.5-9.5 | Westbrook Run (Clarke County) from its confluence with Spout Run upstream including all named and unnamed tributaries. |
| 1d |  |  | (Note: Moved to section 2 b). |
| 2 | IV | pH-6.5-9.5 EWS-12.14.15 | South Fork Shenandoah River from its confluence with the North Fork Shenandoah River, upstream to a point 5 miles above the Town of Shenandoah's raw water intake and its tributaries to their headwaters in this section, unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 2 |
|  | vii | pH-6.5-9.5 | Bear Lithia Spring from its confluence with the South Fork Shenandoah River 0.8 miles upstream. |
|  | vi | pH-6.5-9.5 | Flint Run from its confluence with the South Fork Shenandoah River 4 miles upstream. |
|  | *** | pH-6.5-9.5 | Gooney Run from the mouth to its confluence with Broad Run above Browntown (in the vicinity of Route 632). |
|  | *** | pH-6.5-9.5, hh | Hawksbill Creek from Route 675 in Luray to 1 mile above Route 631. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 2 |
|  | ii | pH-6.5-9.5 | Big Creek (Page County) from its confluence with the East Branch Naked Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Big Ugly Run from its confluence with the South Branch Naked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Boone Run from 4.6 miles above its confluence with the South Fork Shenandoah River (in the vicinity) of Route 637 upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Browns Run from its confluence with Big Run upstream including all named and unnamed tributaries. |
|  | ii |  | Cub Run (Page County) from Pitt Spring Run upstream including all named and unnamed tributaries. |
|  | *** | pH-6.5-9.5 | Cub Run from its mouth to Pitt Spring Run. |
|  | i | pH-6.5-9.5 | East Branch Naked Creek from its confluence with Naked Creek at Route 759 upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Fultz Run from the Park boundary (river mile 1.8) upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Gooney Run (in Warren County) from 6.6 miles above its confluence with the South Fork Shenandoah River 3.9 miles upstream. |
|  | ii | pH-6.5-9.5 | Hawksbill Creek in the vicinity of Pine Grove at Route 624 (river mile 17.7) 1.5 miles upstream. |
|  | ii | pH-6.5-9.5 | Jeremys Run from the National Park boundary upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Lands Run from its confluence with Gooney Run upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Little Creek (Page County) from its confluence with Big Creek upstream including all named and unnamed tributaries. |
|  | i | pH-6.5-9.5 | Little Hawksbill Creek from Route 626 upstream including all named and unnamed tributaries. |
|  | ii |  | Morgan Run (Page County) from its confluence with Cub Run upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Overall Run from its confluence with the South Fork Shenandoah River 4.8 miles upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Pass Run (Page County) from its confluence with Hawksbill Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Pitt Spring Run from its confluence with Cub Run upstream including all named and unnamed tributaries. |
|  | ii |  | Roaring Run from its confluence with Cub Run upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | South Branch Naked Creek from 1.7 miles above its confluence with Naked Creek in the vicinity of Route 607 upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Stony Run (Page County) from 1.6 miles above its confluence with Naked Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | West Branch Naked Creek from 2.1 miles above its confluence with Naked Creek upstream including all named and unnamed tributaries. |
| 2a | IV | PWS, pH-6.5-9.5 | Happy Creek and Sloan Creek from Front Royal's raw water intake to its headwaters. |
| 2b | IV | PWS | The South Fork Shenandoah River and its tributaries from the Town of Front Royal's raw water intake (at the State Route 619 bridge at Front Royal) to points 5 miles upstream. |
| 2c |  |  | (Deleted) |
| 2d |  |  | (Deleted) |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 2d |
|  | vii |  | Bear Lithia Spring from its confluence with the South Fork Shenandoah River 0.8 mile upstream. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 2d |
|  | ii |  | Big Creek (Page County) from its confluence with the East Branch Naked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Big Ugly Run from its confluence with the South Branch Naked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Boone Run from 4.6 miles above its confluence with the South Fork Shenandoah River (in the vicinity of Route 637) upstream including all named and unnamed tributaries. |
|  | i |  | East Branch Naked Creek from its confluence with Naked Creek at Route 759 upstream including all named and unnamed tributaries. |
|  | ii |  | Little Creek (Page County) from its confluence with Big Creek upstream including all named and unnamed tributaries. |
|  | ii |  | South Branch Naked Creek from 1.7 miles above its confluence with Naked Creek (in the vicinity of Route 607) upstream including all named and unnamed tributaries. |
|  | iv |  | Stony Run (Page County) from 1.6 miles above its confluence with Naked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | West Branch Naked Creek from 2.1 miles above its confluence with Naked Creek upstream including all named and unnamed tributaries. |
| 3 | IV | pH-6.5-9.5, ESW-16 | South Fork Shenandoah River from 5 miles above the Town of Shenandoah's raw water intake to its confluence with the North and South Rivers and its tributaries to their headwaters in this section, and the South River and its tributaries from its confluence with the South Fork Shenandoah River to their headwaters, unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 3 |
|  | vi | pH-6.5-9.5 | Hawksbill Creek (Rockingham County) from 0.8 mile above its confluence with the South Fork Shenandoah River 6.6 miles upstream. |
|  | vi | pH-6.5-9.5 | Mills Creek (Augusta County) from 1.8 miles above its confluence with Back Creek 2 miles upstream. |
|  | vi | pH-6.5-9.5 | North Fork Back Creek (Augusta County) from its confluence with Back Creek 2.6 miles upstream, unless otherwise designated in this chapter. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 3 |
|  | i | pH-6.5-9.5 | Bearwallow Run from its confluence with Onemile Run upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Big Run (Rockingham County) from 3.3 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Cold Spring Branch (Augusta County) from Sengers Mountain Lake (Rhema Lake) upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Cool Springs Hollow (Augusta County) from Route 612 upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Deep Run (Rockingham County) from 1.8 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | East Fork Back Creek from its confluence with the South Fork Back Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Gap Run from 1.7 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | iii |  | Inch Branch (Augusta County) from the dam upstream including all named and unnamed tributaries. |
|  | ii |  | Johns Run (Augusta County) from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | iv |  | Jones Hollow (Augusta County) from 1.1 miles above its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii |  | Kennedy Creek from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Lee Run from 0.6 mile above its confluence with Elk Run 3.3 miles upstream. |
|  | iii | pH-6.5-9.5 | Loves Run (Augusta County) from 2.7 miles above its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Lower Lewis Run (Rockingham County) from 1.7 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Madison Run (Rockingham County) from 2.9 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Meadow Run (Augusta County) from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | North Fork Back Creek (Augusta County) from river mile 2.6 (in the vicinity of its confluence with Williams Creek) upstream including all named and unnamed tributaries. |
|  | i | pH-6.5-9.5 | Onemile Run (Rockingham County) from 1.5 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | iv |  | Orebank Creek from its confluence with Back Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Paine Run (Augusta County) from 1.7 miles above its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii |  | Robinson Hollow (Augusta County) from the dam upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Rocky Mountain Run from its confluence with Big Run upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Sawmill Run from 2.5 miles above its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | South Fork Back Creek from its confluence with Back Creek at Route 814 (river mile 2.1) upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Stony Run (Augusta County) from 3.5 miles above its confluence with the South River upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Stony Run (Rockingham County) from 4.1 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | iii |  | Toms Branch (Augusta County) from 1.1 miles above its confluence with Back Creek upstream including all named and unnamed tributaries. |
|  | i | pH-6.5-9.5 | Twomile Run from 1.4 miles above its confluence with the South Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Upper Lewis Run from 0.5 mile above its confluence with Lower Lewis Run upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | West Swift Run (Rockingham County) from the Route 33 crossing upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Whiteoak Run from its confluence with Madison Run upstream including all named and unnamed tributaries. |
| 3a | IV | pH-6.5-9.5 | South River from the dam above Waynesboro (all waters of the impoundment). |
| 3b | IV | PWS pH-6.5-9.5 | Coles Run and Mills Creek from South River Sanitary District's raw water intake to their headwaters. |
|  | VI | PWS | Natural Trout Waters in Section 3b |
|  | ii | pH-6.5-9.5 | Coles Run (Augusta County) from 3.9 miles above its confluence with the South River Sanitary District's raw water intake (Coles Run Dam) upstream including all named and unnamed tributaries. |
|  | ii |  | Mills Creek (Augusta County) from the South River Sanitary District's raw water intake (river mile 3.8) upstream including all named and unnamed tributaries. |
| 3c | IV | PWS pH-6.5-9.5 | A tributary to Coles Run from Stuarts Draft raw water intake approximately one-half mile south of Stuarts Draft and just off Route 610, to its headwaters. |
| 4 | IV | pH-6.5-9.5 | Middle River and its tributaries from the confluence with the North River upstream to its headwaters, unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 4 |
|  | v | pH-6.5-9.5 | Barterbrook Branch from its confluence with Christians Creek 2.8 miles upstream. |
|  | *** | pH-6.5-9.5 | East Dry Branch from its confluence with the Buffalo Branch to its confluence with Mountain Run. |
|  | vi | pH-6.5-9.5 | Folly Mills Creek from 2.4 miles above its confluence with Christians Creek (in the vicinity of Route 81) 4.5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 4 |
|  | iv |  | Buffalo Branch from Route 703 upstream including all named and unnamed tributaries. |
|  | ii |  | Cabin Mill Run (Augusta County) from the Camp Shenandoah Boy Scout Lake upstream including all named and unnamed tributaries. |
|  | iv |  | East Dry Branch (Augusta County) from the confluence of Mountain Run upstream including all named and unnamed tributaries. |
|  | iv |  | Jennings Branch (Augusta County) from the confluence of White Oak Draft upstream including all named and unnamed tributaries. |
| 4a | IV | PWS pH-6.5-9.5 | Middle River and its tributaries from Staunton's raw water intake at Gardner Spring to points 5 miles upstream. |
| 5 | IV | pH-6.5-9.5 | North River and its tributaries from its confluence with the South River upstream to its headwaters, unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 5 |
|  | v | pH-6.5-9.5 | Beaver Creek (Rockingham County) from its confluence with Briery Branch to its headwaters to the spring at a point 2.75 miles upstream. |
|  | v | pH-6.5-9.5 | Naked Creek (Augusta County) from 3.7 miles above its confluence with the North River at Route 696, 2 miles upstream. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 5 |
|  | iv |  | Big Run (Augusta County) from 0.9 mile above its confluence with Little River upstream including all named and unnamed tributaries. |
|  | ii |  | Black Run (Rockingham County) from its mouth upstream including all named and unnamed tributaries. |
|  | iii |  | Briery Branch (Rockingham County) from river mile 6.9 upstream including all named and unnamed tributaries. |
|  | iv |  | Gum Run from its mouth upstream including all named and unnamed tributaries. |
|  | iii |  | Hone Quarry Run from its confluence with Briery Branch upstream including all named and unnamed tributaries. |
|  | iv |  | Little River from its confluence with the North River at Route 718 upstream including all named and unnamed tributaries. |
|  | iv |  | Maple Spring Run from its mouth upstream including all named and unnamed tributaries. |
|  | iv |  | Mines Run from its confluence with Briery Branch upstream including all named and unnamed tributaries. |
|  | iv |  | Rocky Run (which is tributary to Briery Branch in Rockingham County) from its mouth upstream including all named and unnamed tributaries. |
|  | iii |  | Rocky Run (which is tributary to Dry River in Rockingham County) from its mouth upstream including all named and unnamed tributaries. |
|  | ii |  | Union Springs Run from 3 miles above its confluence with Beaver Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Wolf Run (Augusta County) from its confluence with Briery Branch upstream including all named and unnamed tributaries. |
| 5a | IV | PWS pH-6.5-9.5 | Silver Lake |
| 5b | IV | PWS pH-6.5-9.5 | North River and its tributaries from Harrisonburg's raw water intake at Bridgewater to points 5 miles above Bridgewater's raw water intake to include Dry River and Muddy Creek. |
|  | V | PWS pH-6.5-9.5 | Stockable Trout Waters in Section 5b |
|  | v | pH-6.5-9.5 | Mossy Creek from its confluence with the North River 7.1 miles upstream. |
|  | v | pH-6.5-9.5 | Spring Creek (Rockingham County) from its confluence with the North River 2 miles upstream. |
| 5c | IV | PWS pH-6.5-9.5 | Dry River in Rockingham County from Harrisonburg's raw water intake (approximately 11.7 miles above its confluence with the North River) to a point 5 miles upstream, unless otherwise designated in this chapter. |
|  | V | PWS | Stockable Trout Waters in Section 5c |
|  | viii | pH-6.5-9.5 | Raccoon Run (Rockingham County) from its confluence with Dry River to its headwaters. |
|  | VI | PWS | Natural Trout Waters in Section 5c |
|  | iv | pH-6.5-9.5 | Dry River (Rockingham County) from Harrisonburg's raw water intake (approximately 11.7 miles above its confluence with the North River) to a point 5 miles upstream. |
|  | iv |  | Dry Run (Rockingham County) from its confluence with Dry River upstream including all named and unnamed tributaries. |
|  | iv |  | Hopkins Hollow from its confluence with Peach Run upstream including all named and unnamed tributaries. |
|  | iv |  | Kephart Run from its confluence with Dry River upstream including all named and unnamed tributaries. |
| 5d | VI | pH-6.5-9.5 | Dry River and its tributaries from 5 miles above Harrisonburg's raw water intake to its headwaters. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 5d |
|  | iv |  | Dry River (Rockingham County) from 5 miles above Harrisonburg's raw water intake upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Run (Rockingham County) from its confluence with Dry River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Laurel Run from its confluence with Dry River upstream including all named and unnamed tributaries. |
|  | ii |  | Low Place Run from its confluence with Dry River upstream including all named and unnamed tributaries. |
|  | iv |  | Miller Spring Run from its confluence with Dry River upstream including all named and unnamed tributaries. |
|  | iii |  | Sand Run from its confluence with Dry River upstream including all named and unnamed tributaries. |
|  | iv |  | Skidmore Fork from its confluence with Dry River upstream including all named and unnamed tributaries. |
| 5e | VI | PWS pH-6.5-9.5 | North River from Staunton Dam to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 5e |
|  | iv |  | North River from Elkhorn Dam upstream including all named and unnamed tributaries. |
| 6 | IV | pH-6.5-9.5 NEW-22 | North Fork Shenandoah River from its confluence with the Shenandoah River to its headwaters, unless otherwise designated in this chapter. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 6 |
|  | vi | pH-6.5-9.5 | Bear Run from its confluence with Foltz Creek to its headwaters. |
|  | *** |  | Stony Creek from Route 685 above Edinburg upstream to Basye. |
|  | vi | pH-6.5-9.5 | Bull Run (Shenandoah County) from its confluence with Foltz Creek to its headwaters. |
|  | vi | pH-6.5-9.5 | Falls Run from its confluence with Stony Creek to its headwaters. |
|  | vi | pH-6.5-9.5 | Foltz Creek from its confluence with Stony Creek to its headwaters. |
|  | vi | pH-6.5-9.5 | Little Passage Creek from its confluence with Passage Creek to the Strasburg Reservoir Dam. |
|  | *** | pH-6.5-9.5, hh | Mill Creek from Mount Jackson to Route 720 - 3.5 miles. |
|  | vi | pH-6.5-9.5 | Mountain Run from its mouth at Passage Creek to its headwaters. |
|  | *** | pH-6.5-9.5 | Passage Creek from the U.S. Forest Service line (in the vicinity of Blue Hole and Buzzard Rock) 4 miles upstream. |
|  | vi | pH-6.5-9.5 | Passage Creek from 29.6 miles above its confluence with the North Fork Shenandoah River to its headwaters. |
|  | vi | pH-6.5-9.5 | Peters Mill Run from the mouth to its headwaters. |
|  | *** | pH-6.5-9.5 | Shoemaker River from 612 at Hebron Church to its junction with Route 817 at the Shoemaker's confluence with Slate Lick Branch. |
|  | v | pH-6.5-9.5 | Stony Creek from its confluence with the North Fork Shenandoah River to Route 682. |
| *** | *** | pH-6.5-9.5 | Stony Creek from Route 682 above Edinburg upstream to Basye. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 6 |
|  | ii | pH-6.5-9.5 | Anderson Run (Shenandoah County) from 1.1 miles above its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Beech Lick Run from its confluence with the German River upstream including all named and unnamed tributaries. |
|  | iii |  | Bible Run from its confluence with Little Dry River upstream including all named and unnamed tributaries. |
|  | ii |  | Camp Rader Run from its confluence with the German River upstream including all named and unnamed tributaries. |
|  | iv |  | Carr Run from its confluence with Little Dry River upstream including all named and unnamed tributaries. |
|  | iv |  | Clay Lick Hollow from its confluence with Carr Run upstream including all named and unnamed tributaries. |
|  | iv |  | Gate Run from its confluence with Little Dry River upstream including all named and unnamed tributaries. |
|  | iv |  | German River (Rockingham County) from its confluence with the North Fork Shenandoah River (at Route 820) upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Run (Shenandoah County) from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Stony Creek from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Marshall Run (Rockingham County) from 1.2 miles above its confluence with the North Fork Shenandoah River upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Mine Run (Shenandoah County) from its confluence with Passage Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Poplar Run (Shenandoah County) from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Rattlesnake Run (Rockingham County) from its confluence with Spruce Run upstream including all named and unnamed tributaries. |
|  | iv |  | Root Run from its confluence with Marshall Run upstream including all named and unnamed tributaries. |
|  | iv |  | Seventy Buck Lick Run from its confluence with Carr Run upstream including all named and unnamed tributaries. |
|  | iv |  | Sirks Run (Spring Run) from 1.3 miles above its confluence with Crab Run upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Spruce Run (Rockingham County) from its confluence with Capon Run upstream including all named and unnamed tributaries. |
|  | iv | pH-6.5-9.5 | Sumac Run from its confluence with the German River upstream including all named and unnamed tributaries. |
| 6a | IV | PWS pH-6.5-9.5 | Little Passage Creek from the Strasburg Reservoir Dam upstream to its headwaters, unless otherwise designated in this chapter. |
|  | V | PWS pH-6.5-9.5 | Stockable Trout Waters in Section 6a |
|  | vi | pH-6.5-9.5 | Little Passage Creek from the Strasburg Reservoir Dam upstream to its headwaters. |
| 6b | IV | PWS pH-6.5-9.5 | North Fork Shenandoah River and its tributaries from the Winchester raw water intake to points 5 miles upstream (to include Cedar Creek and its tributaries to their headwaters). |
|  | V | PWS pH-6.5-9.5 | Stockable Trout Waters in Section 6b |
|  | *** | pH-6.5-9.5 | Cedar Creek (Shenandoah County) from Route 55 (river mile 23.56) to the U.S. Forest Service Boundary (river mile 32.0) - approximately 7 miles. |
|  | v | PWS pH-6.5-9.5 | Meadow Brook (Frederick County) from its confluence with Cedar Creek 5 miles upstream. |
|  | VI | PWS pH-6.5-9.5 | Natural Trout Waters in Section 6b |
|  | iii | pH-6.5-9.5 | Cedar Creek (Shenandoah County) from the U.S. Forest Service boundary (river mile 32.0) near Route 600 upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Duck Run from its confluence with Cedar Creek upstream including all named and unnamed tributaries. |
|  |  |  | Paddy Run (Frederick County) from the mouth upstream including all named and unnamed tributaries. |
|  | *** |  | (Paddy Run (Frederick County) from its mouth (0.0) to river mile 1.8.) |
|  | vi** |  | (Paddy Run (Frederick County) from river mile 1.8 to 8.1-6.3 miles.) |
|  | iii | pH-6.5-9.5 | Sulphur Springs Gap (Shenandoah County) from its confluence with Cedar Creek 1.9 miles upstream. |
| 6c | IV | PWS pH-6.5-9.5 | North Fork Shenandoah River and its tributaries from Strasburg's raw water intake to points 5 miles upstream. |
| 6d | IV | PWS pH-6.5-9.5 | North Fork Shenandoah River and its tributaries from Woodstock's raw water intake (approximately 1/4 mile upstream of State Route 609 bridge near Woodstock) to points 5 miles upstream. |
| 6e | IV | PWS pH-6.5-9.5 | Smith Creek and its tributaries from New Market's raw water intake to its headwaters. |
|  |  |  | Natural Trout Waters in Section 6e |
|  | iv | pH-6.5-9.5 | Mountain Run (Fridley Branch, Rockingham County) from Route 722 upstream including all named and unnamed tributaries. |
| 6f | IV | PWS pH-6.5-9.5 | North Fork Shenandoah River and its tributaries from the Food Processors Water Coop, Inc. dam at Timberville and the Town of Broadway's intakes on Linville Creek and the North Fork Shenandoah to points 5 miles upstream. |
| 6g | IV | pH-6.5-9.5 | Shoemaker River and its tributaries from Slate Lick Run, and including Slate Lick Run, to its headwaters. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 6g |
|  | *** |  | Slate Lick Run from its confluence with the Shoemaker River upstream to the 1500 foot elevation. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 6g |
|  | iv |  | Long Run (Rockingham County) from its confluence with the Shoemaker River upstream including all named and unnamed tributaries. |
|  | iv |  | Slate Lick Run from the 1500 foot elevation upstream upstream including all named and unnamed tributaries. |
| 6h | IV | PWS pH-6.5-9.5 | Unnamed tributary of North Fork Shenandoah River (on the western slope of Short Mountain opposite Mt. Jackson) from the Town of Mt. Jackson's (inactive mid-1992) raw water intake (north and east dams) to its headwaters. |
| 6i | IV | PWS pH-6.5-9.5 | Little Sulfur Creek, Dan's Hollow and Horns Gully (tributaries of the North Fork Shenandoah River on the western slope of Short Mountain opposite Mt. Jackson) which served as a water supply for the Town of Edinburg until March 31, 1992, from the Edinburg intakes upstream to their headwaters. |

9VAC25-260-410. James River Basin (Lower).

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | II | a,z, bb NEW-19 , ESW-11 | James River and its tidal tributaries from Old Point Comfort - Fort Wool to the end of tidal waters (fall line, Mayo's Bridge, 14th Street, Richmond), except prohibited or spoil areas, unless otherwise designated in this chapter. |
| 1a | III | NEW-19 | Free flowing or nontidal portions of streams in Section 1, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 1a |
|  |  |  | Gunns Run and its tributaries from the head of tide at river mile 2.64 to its headwaters. |
| 1b | II | a,z, NEW-19 | Eastern and Western Branches of the Elizabeth River and tidal portions of their tributaries from their confluence with the Elizabeth River to the end of tidal waters. |
| 1c | III | NEW-19 | Free flowing portions of the Eastern Branch of the Elizabeth River and its tributaries. Includes Salem Canal up to its intersection with Timberlake Road at N36°48'35.67"/W76°08'31.70". |
| 1d | II | a,z, NEW-19 | Southern Branch of the Elizabeth River from its confluence with the Elizabeth River to the lock at Great Bridge. |
| 1e | III | NEW-19 | Free flowing portions of the Western Branch of the Elizabeth River and of the Southern Branch of the Elizabeth River from their confluence with the Elizabeth River to the lock at Great Bridge. |
| 1f | II | a,NEW-19 | Nansemond River and its tributaries from its confluence with the James River to Suffolk (dam at Lake Meade), unless otherwise designated in this chapter. |
| 1g | III | NEW-19 | Shingle Creek from its confluence with the Nansemond River to its headwaters in the Dismal Swamp. |
| 1h | III | PWS,NEW-19 | Lake Prince, Lake Burnt Mills and Western Branch impoundments for Norfolk raw water supply and Lake Kilby - Cahoon Pond, Lake Meade and Lake Speight impoundments for Portsmouth raw water supply and including all tributaries to these impoundments. |
|  | VII |  | Swamp waters in Section 1h |
|  |  |  | Eley Swamp and its tributaries from Route 736 upstream to their headwaters. |
| 1i | III | NEW-19 | Free flowing portions of the Pagan River and its free flowing tributaries. |
| 1j |  |  | (Deleted) |
| 1k | III | PWS,NEW-19 | Skiffes Creek Reservoir (Newport News water impoundment). |
| 1l | III | PWS,NEW-19 | The Lone Star lakes and impoundments in the City of Suffolk, Chuckatuck Creek watershed which serve as a water source for the City of Suffolk. |
| 1m | III | PWS,NEW-19 | The Lee Hall Reservoir system, near Skiffes Creek and the Warwick River, in the City of Newport News. |
| 1n | III | PWS,NEW-19 | Chuckatuck Creek and its tributaries from Suffolk's raw water intake (at Godwin's Millpond) to a point 5 miles upstream. |
| 1o | II | PWS,NEW-18, bb | James River from City Point (Hopewell) to a point 5 miles above American Tobacco Company's raw water intake. |
| 1p | III | PWS,NEW-18, bb | Free flowing tributaries to section 1o. |
| 2 | III | NEW-18, 19 | Free flowing tributaries of the James River from Buoy 64 to Brandon and free flowing tributaries of the Chickahominy River to Walkers Dam, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 2 |
|  |  |  | Morris Creek and its tributaries from the head of tide at river mile 5.97 upstream to its headwaters. |
| 2a | III | PWS,NEW-18 | Diascund Creek and its tributaries from Newport News' raw water intake dam to its headwaters. |
| 2b | III | PWS,NEW-18 | Little Creek Reservoir and its tributaries from the City of Newport News impoundment dam to 5 miles upstream of the raw water intake. |
| 3 | III | m,NEW-18 | Chickahominy River and its tributaries from Walkers Dam to Bottoms Bridge (Route 60 bridge), unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 3 |
|  |  | m | Chickahominy River from its confluence with Toe Ink Swamp at river mile 43.07 upstream to Bottoms Bridge (Route 60). |
|  |  | m | White Oak Swamp and its tributaries from its confluence with the Chickahominy River to their headwaters. |
| 3a | III | PWS,m, NEW-18 | Chickahominy River from Walkers Dam to a point 5 miles upstream. |
| 4 | III | m | Chickahominy River and its tributaries, unless otherwise designated in this chapter, from Bottoms Bridge (Route 60 bridge) to its headwaters. |
|  | VII |  | Swamp waters in Section 4 |
|  |  | m | Chickahominy River from Bottoms Bridge (Route 60) upstream to its confluence with Stony Run at rivermile 71.03. |
| 5 | III |  | Free flowing tributaries to the James River from Brandon to the fall line at Richmond, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 5 |
|  |  |  | Fourmile Creek and its tributaries to their headwaters. |

9VAC25-260-415. James River Basin (Lower) (Appomattox River Basin Subbasin).

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 5 | II | NEW-18 | Appomattox River and its tidal tributaries from its confluence with the James River to the end of tidal waters. |
| 5a | II | PWS, NEW-18 | Appomattox River and its tidal tributaries from its mouth to 5 miles upstream of the Virginia-American Water Company's raw water intake. |
| 5b | III | PWS, NEW-18 | Free flowing tributaries to section 2a 5a. |
| 5c | III | NEW-2 | Appomattox River from the head of tidal waters, and free flowing tributaries to the Appomattox River, to their headwaters, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 5c |
|  |  |  | Skinquarter Creek from its confluence with the Appomattox River upstream to river mile 5.27. |
|  |  |  | Deep Creek from the confluence with Winningham Creek downstream to the confluence of Little Creek, a distance of .54 river miles. |
| 5d | III |  | Swift Creek and its tributaries from the dam at Pocahontas State Park upstream to Chesterfield County's raw water impoundment dam. |
| 5e | III | PWS | Swift Creek and its tributaries from Chesterfield County's raw water impoundment dam to points 5 miles upstream. |
| 5f | III | PWS,NEW-2 | Appomattox River and its tributaries from Appomattox River Water Authority's raw water intake located at the dam at Lake Chesdin to the headwaters of the lake. |
|  | VII |  | Swamp waters in Section 5f |
|  |  |  | Winticomack Creek from its confluence with the Appomattox River to its headwaters including unnamed tributaries at river miles 1.92, 3.15, 8.77, and 11.16. |
|  |  |  | Winterpock Creek and its tributaries (excluding Surline Branch) from its confluence with Lake Chesdin upstream to river mile 8.47. |
| 5g | III | PWS | The Appomattox River and its tributaries from Farmville's raw water intake (approximately 2.5 miles above the Route 15/45 bridge) to points 5 miles upstream. |

9VAC25-260-420. James River Basin (Middle).

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 6 | III |  | James River and its tributaries from the fall line at Richmond (Mayo's Bridge, 14th Street) to the Rockfish River unless otherwise designated in this chapter. |
| 7 | III | NEW-18 | Free flowing tributaries to the James River from Brandon to the fall line at Richmond, unless otherwise designated in this chapter. (Deleted) |
| 7a |  |  | (Deleted) |
| 8 | III |  | James River and its tributaries from the low water dam above 14th Street Bridge to Richmond's raw water intake at Williams Island Dam. |
| 9 | III | PWS,n | James River and its tributaries, unless otherwise designated in this chapter, from Richmond's raw water intake at Douglasdale Road, inclusive of the Williams Island Dam intake, the Henrico County raw water intake (at latitude 37°33'32"; longitude 77°37'16") and the Benedictine Society's raw water intake (latitude 37°34'33"; longitude 77°40'39") to river mile 127.26 (at latitude 37°35'24"; longitude 77°42'33") near public landing site. |
| 9a | III | PWS,o | Tuckahoe Creek and its tributaries from its confluence with the James River to its headwaters. |
|  | VII |  | Swamp waters in Section 9a |
|  |  |  | Tuckahoe Creek from its confluence with Little Tuckahoe Creek to the confluence with the James River. |
| 10 | III | NEW-3 | James River and its tributaries from a point at latitude 37°40'32"; longitude 77°54'08" to, and including the Rockfish River, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 10 |
|  | vii |  | Lynch River from the upper Route 810 crossing near the intersection of Route 628 2.9 miles upstream (to Ivy Creek). |
|  | *** |  | Rockfish Creek from its confluence with the South Fork Rockfish River to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 10 |
|  | ii |  | Doyles River from 6.4 miles above its confluence with Moormans River above Browns Cove at Route 629 including all named and unnamed tributaries. |
|  | iii |  | Fork Hollow from its confluence with Ivy Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Ivy Creek (Greene County) from its confluence with the Lynch River upstream including all named and unnamed tributaries. |
|  | ii |  | Jones Falls Run from its confluence with Doyles River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Stony Creek (Nelson County) from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Mill Creek (Nelson County) from its confluence with Goodwin Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Mutton Hollow from its confluence with Swift Run upstream including all named and unnamed tributaries. |
|  | iv |  | Pauls Creek (Nelson County) from 1.3 miles above its confluence with the North Fork Rockfish River upstream including all named and unnamed tributaries. |
|  | iv |  | Rodes Creek from its confluence with Goodwin Creek upstream including all named and unnamed tributaries. |
|  | ii |  | South Fork Rockfish River from 8 miles above its confluence with the Rockfish River upstream including all named and unnamed tributaries. |
|  | ii |  | Spruce Creek (Nelson County) from 1.5 miles above its confluence with the South Fork Rockfish River upstream including all named and unnamed tributaries. |
|  | ii |  | Stony Creek (Nelson County) from 1 mile above its confluence with the South Fork Rockfish River upstream including all named and unnamed tributaries. |
|  | ii |  | Swift Run from 14.5 miles above its confluence with the North Fork Rivanna River upstream including all named and unnamed tributaries. |
| 10a | III | PWS | James River at river mile 127.26 near the public landing site and its tributaries from, and including, Little River to 5 miles above State Farm's raw water intake (N37°40'32"/W77°54'09"), including Beaverdam and Courthouse Creeks, to their headwaters. |
| 10b |  |  | (Deleted.) |
| 10c | III |  | Willis River and its tributaries within Cumberland State Forest. |
| 10d | III | PWS | Johnson Creek above the Schuyler (Nelson County Service Authority) raw water intake to its headwaters. |
| 10e | III | PWS | Totier Creek and its tributaries from the Scottsville (Rivanna Water and Sewer Authority) raw water intake to their headwaters (including the Reservoir). |
| 10f | III |  | Powell Creek and its tributaries from its confluence with the Rivanna River upstream to their headwaters. |
| 10g | III | PWS,NEW-3 | Beaver Creek and its tributaries from the Crozet (Rivanna Water and Sewer Authority) raw water intake upstream to their headwaters (including the reservoir). |
| 10h | III | PWS,NEW-3 | Mechums River and its tributaries from the Rivanna Water and Sewer Authority's raw water intake to points 5 miles upstream. |
| 10i | III | PWS,NEW-3 | Moormans River and its tributaries from the Rivanna Water and Sewer Authority's raw water intake to points 5 miles upstream (including Sugar Hollow Reservoir). |
|  | VI |  | Natural Trout Waters in Section 10i |
|  | ii |  | North Fork Moormans River from its confluence with Moormans River upstream including all named and unnamed tributaries. |
|  | ii |  | Pond Ridge Branch from its confluence with the North Fork Moormans River upstream including all named and unnamed tributaries. |
|  | iii |  | South Fork Moormans River from its confluence with Moormans River upstream including all named and unnamed tributaries. |
| 10j | III | PWS,NEW-3 | South Fork Rivanna River and its tributaries to their headwaters; except Ivy Creek, from the Rivanna Water and Sewer Authority's South Fork Rivanna River Dam to its confluence with the Moormans River, and Ivy Creek to a point 5 miles above the dam. |
| 10k | III | PWS | James River and its tributaries from Fork Union Sanitary District's raw water intake (just below the Route 15 bridge) to points 5 miles upstream, including the Slate River to a point 5 miles above the intake. |
| 10l | III |  | Lake Monticello in Fluvanna County. |
| 10m | III | PWS | Rivanna River and its tributaries from the raw water intake for Lake Monticello (about 2.76 miles above the Route 600 bridge in Fluvanna County) to points 5 miles upstream. |
| 10n | III | PWS | Ragged Mountain Reservoir (intake for the Rivanna Water and Sewer Authority) including its tributaries to their headwaters. |
| 10o | III | PWS | The North Fork Rivanna River and its tributaries from the Rivanna Water and Sewer Authority's raw water intake (approximately 1/4 mile upstream of the U. S. Route 29 bridge north of Charlottesville) to points 5 miles upstream. |
| 10p | III | PWS | Troublesome Creek in Buckingham County from Buckingham County's raw water intake point at a flood control dam south of the Route 631 bridge to a point 5 miles upstream. |
| 10q | III | PWS | Allen Creek and its tributaries from the Wintergreen Mountain Village's primary raw water intake at Lake Monocan at latitude 37°54'15"; longitude 78°52'10" to a point upstream at latitude 37°53'59"; longitude 78°53'14". |
| 10r | III | PWS | Stony Creek from the diversion structure at latitude 37°54'00"; longitude 78°53'47" to its headwaters inclusive of the Stony Creek raw water intake just upstream of the Peggy's Pinch booster pump station. |
| 10s | III | PWS | Mechunk Creek and its tributaries from the Department of Corrections raw water intake (at the US Route 250 bridge 37°58'57.6", 78°18'48.1") to points 5 miles upstream. |
| 11 | III | ESW-7, 8, 22, 23, 24, 25, 26, 27 | James River and its tributaries from, but not including, the Rockfish River to Balcony Falls, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 11 |
|  | vi |  | Dancing Creek from the junction of Routes 610 and 641 to its headwaters. |
|  | vi |  | North Fork Buffalo River from its confluence with the Buffalo River 1.8 miles upstream. |
|  | vi |  | Pedlar River from the confluence of Enchanted Creek to Lynchburg's raw water intake. |
|  | vi |  | Terrapin Creek from its confluence with Otter Creek to its headwaters. |
|  | *** |  | Tye River from Tyro upstream to its confluence with the South and North Fork Tye Rivers. |
|  | VI |  | Natural Trout Waters in Section 11 |
|  | ii |  | Big Branch from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Bluff Creek from its confluence with Enchanted Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Browns Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Campbell Creek (Nelson County) from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Cove Creek from its confluence with the North Fork Buffalo River upstream including all named and unnamed tributaries. |
|  | ii |  | Coxs Creek from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Crabtree Creek (Nelson County) from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Crawleys Creek from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Cub Creek (Nelson County) from 1.4 miles above its confluence with the Tye River (in the vicinity of Route 699), upstream including all named and unnamed tributaries. |
|  | ii |  | Davis Mill Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Durham Run from its confluence with the North Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Elk Pond Branch from its confluence with the North Fork Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Enchanted Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Georges Creek from its confluence with the Little Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Greasy Spring Branch from its confluence with the South Fork Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Harpers Creek from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | King Creek from its confluence with the Little Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Lady Slipper Run from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Cove Creek from its confluence with the North Fork Buffalo River upstream including all named and unnamed tributaries. |
|  | iii |  | Little Irish Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Piney River from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | i |  | Louisa Spring Branch from its confluence with the North Fork Piney River 1.6 miles upstream. |
|  | ii |  | Maidenhead Branch from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Meadow Creek (Nelson County) from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Nelson County) from its confluence with the North Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Nelson County) from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Nicholson Run from its confluence with Lady Slipper Run upstream including all named and unnamed tributaries. |
|  | ii |  | North Fork Buffalo River from 1.8 miles above its confluence with the Buffalo River upstream including all named and unnamed tributaries. |
|  | i |  | North Fork Piney River from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | iii |  | North Fork Thrashers Creek from its confluence with Thrashers Creek upstream including all named and unnamed tributaries. |
|  |  |  | North Fork Tye River from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | iii |  | (North Fork Tye River from its confluence with the Tye River 1.6 miles upstream.) |
|  | ii |  | (North Fork Tye River from 1.6 miles above its confluence with the Tye River 8.3 miles upstream.) |
|  | iii |  | Pedlar River from 5 miles above Lynchburg's raw water intake upstream including all named and unnamed tributaries. |
|  | ii |  | Piney River from river mile 13.3 upstream including all named and unnamed tributaries. |
|  | ii |  | Pompey Creek from its confluence with the Little Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Reed Creek from the junction of Routes 764 and 638 upstream including all named and unnamed tributaries. |
|  | ii |  | Rocky Branch from its confluence with the North Fork Buffalo River upstream including all named and unnamed tributaries. |
|  | ii |  | Rocky Run (Nelson County) from 1.6 miles above its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | i |  | Shoe Creek (Nelson County) from its confluence with Piney River upstream including all named and unnamed tributaries. |
|  | iii |  | Silver Creek from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | South Fork Piney River from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | South Fork Tye River from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Statons Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | iii |  | Wheelers Run from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | White Rock Creek (Nelson County) from its confluence with the North Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Wiggins Branch from its confluence with Statons Creek upstream including all named and unnamed tributaries. |
| 11a | III | PWS | Unnamed tributary to Williams Creek from Sweet Briar College's (inactive) raw water intake to its headwaters. |
| 11b | III | PWS | Buffalo River and its tributaries from Amherst's raw water intake to points 5 miles upstream. |
| 11c | III | PWS | Black Creek and its tributaries from the Nelson County Service Authority intake at latitude N37°42'41.64"; longitude W78°57'10.09" (approximately 1000 feet downstream of the Route 56 bridge) upstream to their headwaters (including the reservoir). |
| 11d | III |  | James River and its tributaries from a point 0.25 mile above the confluence of the Tye River to Six Mile Bridge. |
| 11e | III |  | James River and its tributaries, excluding Blackwater Creek, from Six Mile Bridge to the Business Route 29 bridge in Lynchburg. |
| 11f |  |  | (Deleted) |
| 11g | III | PWS | James River and its tributaries from the Business Route 29 bridge in Lynchburg to Reusens Dam to include the City of Lynchburg's alternate raw water intake at the Route 29 bridge and the Amherst County Service Authority's intake on Harris and Graham Creeks. |
| 11h | III | PWS | James River and its tributaries, excluding the Pedlar River, from Reusens Dam to Coleman Dam, including the Eagle Eyrie raw water intake on an unnamed tributary to Judith Creek 1.0 mile from the confluence with Judith Creek, to its headwaters, and also the City of Lynchburg's raw water intake on the James River at Abert. |
| 11i | III | PWS,ESW-5, 8, 2, 23 | Pedlar River and its tributaries from Lynchburg's raw water intake to points 5 miles upstream. |
|  | V |  | Stockable Trout Waters in Section 11i |
|  | vi |  | Pedlar River from Lynchburg's raw water intake to a point 5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 11i |
|  | ii |  | Brown Mountain Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | iii |  | Roberts Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
| 11j | III |  | James River and its tributaries from the Owens-Illinois raw water intake near Big Island to Balcony Falls. |
|  | V |  | Stockable Trout Waters in Section 11j |
|  | vi |  | Battery Creek from its confluence with the James River to its headwaters. |
|  | vi |  | Cashaw Creek from its confluence with the James River to its headwaters. |
|  | vi |  | Otter Creek from its confluence with the James River to a point 4.9 miles upstream. |
|  | vi |  | Rocky Row Run from its confluence with the James River to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 11j |
|  | iii |  | Falling Rock Creek from its confluence with Peters Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Hunting Creek from a point 3.7 miles from its confluence with the James River upstream including all named and unnamed tributaries. |
|  | iii |  | Otter Creek from 4.9 miles above its confluence with the James River upstream including all named and unnamed tributaries. |
|  | ii |  | Peters Creek from a point 0.2 mile above its confluence with the James River upstream including all named and unnamed tributaries. |
| 11k |  |  | (Deleted) |

9VAC25-260-430. James River Basin (Upper).

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 11 | III |  | James River and its tributaries from, but not including, the Rockfish River to Balcony Falls, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 11 |
|  | vi |  | Dancing Creek from the junction of Routes 610 and 641 to its headwaters. |
|  | vi |  | North Fork Buffalo River from its confluence with the Buffalo River 1.8 miles upstream. |
|  | vi |  | Pedlar River from the confluence of Enchanted Creek to Lynchburg's raw water intake. |
|  | vi |  | Terrapin Creek from its confluence with Otter Creek to its headwaters. |
|  | *** |  | Tye River from Tyro upstream to its confluence with the South and North Fork Tye Rivers. |
|  | VI |  | Natural Trout Waters in Section 11 |
|  | ii |  | Big Branch from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Bluff Creek from its confluence with Enchanted Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Browns Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Campbell Creek (Nelson County) from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Cove Creek from its confluence with the North Fork Buffalo River upstream including all named and unnamed tributaries. |
|  | ii |  | Coxs Creek from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Crabtree Creek (Nelson County) from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Crawleys Creek from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Cub Creek (Nelson County) from 1.4 miles above its confluence with the Tye River (in the vicinity of Route 699), upstream including all named and unnamed tributaries. |
|  | ii |  | Davis Mill Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Durham Run from its confluence with the North Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Elk Pond Branch from its confluence with the North Fork Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Enchanted Creek from its confluence with the Pedlar River upstream upstream including all named and unnamed tributaries. |
|  | ii |  | Georges Creek from its confluence with the Little Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Greasy Spring Branch from its confluence with the South Fork Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Harpers Creek from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | King Creek from its confluence with the Little Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Lady Slipper Run from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Cove Creek from its confluence with the North Fork Buffalo River upstream including all named and unnamed tributaries. |
|  | iii |  | Little Irish Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Piney River from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | i |  | Louisa Spring Branch from its confluence with the North Fork Piney River 1.6 miles upstream. |
|  | ii |  | Maidenhead Branch from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Meadow Creek (Nelson County) from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Nelson County) from its confluence with the North Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Nelson County) from its confluence with the South Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Nicholson Run from its confluence with Lady Slipper Run upstream including all named and unnamed tributaries. |
|  | ii |  | North Fork Buffalo River from 1.8 miles above its confluence with the Buffalo River upstream including all named and unnamed tributaries. |
|  | i |  | North Fork Piney River from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | iii |  | North Fork Thrashers Creek from its confluence with Thrashers Creek upstream including all named and unnamed tributaries. |
|  |  |  | North Fork Tye River from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | iii |  | (North Fork Tye River from its confluence with the Tye River 1.6 miles upstream.) |
|  | ii |  | (North Fork Tye River from 1.6 miles above its confluence with the Tye River 8.3 miles upstream.) |
|  | iii |  | Pedlar River from 5 miles above Lynchburg's raw water intake upstream including all named and unnamed tributaries. |
|  | ii |  | Piney River from river mile 13.3 upstream including all named and unnamed tributaries. |
|  | ii |  | Pompey Creek from its confluence with the Little Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | Reed Creek from the junction of Routes 764 and 638 upstream including all named and unnamed tributaries. |
|  | ii |  | Rocky Branch from its confluence with the North Fork Buffalo River upstream including all named and unnamed tributaries. |
|  | ii |  | Rocky Run (Nelson County) from 1.6 miles above its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | i |  | Shoe Creek (Nelson County) from its confluence with Piney River upstream including all named and unnamed tributaries. |
|  | iii |  | Silver Creek from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | South Fork Piney River from its confluence with the Piney River upstream including all named and unnamed tributaries. |
|  | ii |  | South Fork Tye River from its confluence with the Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Statons Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | iii |  | Wheelers Run from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | ii |  | White Rock Creek (Nelson County) from its confluence with the North Fork Tye River upstream including all named and unnamed tributaries. |
|  | ii |  | Wiggins Branch from its confluence with Statons Creek upstream including all named and unnamed tributaries. |
| 11a | III | PWS | Unnamed tributary to Williams Creek from Sweet Briar College's (inactive) raw water intake to its headwaters. |
| 11b | III | PWS | Buffalo River and its tributaries from Amherst's raw water intake to points 5 miles upstream. |
| 11c | III | PWS | Black Creek and its tributaries from the Nelson County Service Authority intake at latitude 37°42'41.64"; longitude 78°57'10.09" (approximately 1000 feet downstream of the Route 56 bridge) upstream to their headwaters (including the reservoir). |
| 11d | III |  | James River and its tributaries from a point 0.25 mile above the confluence of the Tye River to Six Mile Bridge. |
| 11e | III |  | James River and its tributaries, excluding Blackwater Creek, from Six Mile Bridge to the Business Route 29 bridge in Lynchburg. |
| 11f |  |  | (Deleted) |
| 11g | III | PWS | James River and its tributaries from the Business Route 29 bridge in Lynchburg to Reusens Dam to include the City of Lynchburg's alternate raw water intake at the Route 29 bridge and the Amherst County Service Authority's intake on Harris and Graham Creeks. |
| 11h | III | PWS | James River and its tributaries, excluding the Pedlar River, from Reusens Dam to Coleman Dam, including the Eagle Eyrie raw water intake on an unnamed tributary to Judith Creek 1.0 mile from the confluence with Judith Creek, to its headwaters, and also the City of Lynchburg's raw water intake on the James River at Abert. |
| 11i | III | PWS | Pedlar River and its tributaries from Lynchburg's raw water intake to points 5 miles upstream. |
|  | V |  | Stockable Trout Waters in Section 11i |
|  | vi |  | Pedlar River from Lynchburg's raw water intake to a point 5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 11i |
|  | ii |  | Brown Mountain Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
|  | iii |  | Roberts Creek from its confluence with the Pedlar River upstream including all named and unnamed tributaries. |
| 11j | III |  | James River and its tributaries from the Owens-Illinois raw water intake near Big Island to Balcony Falls. |
|  | V |  | Stockable Trout Waters in Section 11j |
|  | vi |  | Battery Creek from its confluence with the James River to its headwaters. |
|  | vi |  | Cashaw Creek from its confluence with the James River to its headwaters. |
|  | vi |  | Otter Creek from its confluence with the James River to a point 4.9 miles upstream. |
|  | vi |  | Rocky Row Run from its confluence with the James River to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 11j |
|  | iii |  | Falling Rock Creek from its confluence with Peters Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Hunting Creek from a point 3.7 miles from its confluence with the James River upstream including all named and unnamed tributaries. |
|  | iii |  | Otter Creek from 4.9 miles above its confluence with the James River upstream including all named and unnamed tributaries. |
|  | ii |  | Peters Creek from a point 0.2 mile above its confluence with the James River upstream including all named and unnamed tributaries. |
| 11k |  |  | (Deleted) |
| 12 | IV | ESW-4, 9, 19, 20, 21 | James River and its tributaries from Balcony Falls to their headwaters, unless otherwise designated in this chapter. (The Maury River and its tributaries between its confluence with the James River upstream to its headwaters (the confluence of the Calfpasture and Little Calfpasture Rivers) and the tributaries within this section to their headwaters have a special pH standard of 6.5-9.5 due to natural conditions.) |
|  | V |  | Stockable Trout Waters in Section 12 |
|  | vi |  | Alum Creek from its confluence with Brattons Creek 1.7 miles upstream. |
|  | vi |  | Back Creek (Highland County) from 37.1 miles above its confluence with the Jackson River 3.2 miles upstream. |
|  | vi |  | Back Run from its confluence with the James River 2.1 miles upstream. |
|  | vi |  | Borden Creek from its confluence with Catawba Creek to a point 1.7 miles upstream. |
|  | v | pH-6.5-9.5 | Buffalo Creek (Rockbridge County) from the confluence with Colliers Creek 3 miles upstream. |
|  | v |  | Bullpasture River from the junction of the Cowpasture River and Route 678 to its headwaters. |
|  | vi |  | Cowpasture River (Highland County) from 75.4 miles above its confluence with the James River 2.7 miles upstream. |
|  | vi |  | Craig Creek from the confluence of Muddy Branch to its headwaters. |
|  | vi |  | Crush Run from its confluence with Catawba Creek to a point 2.8 miles upstream. |
|  | vi |  | Elk Creek from its mouth to 0.6 mile upstream. |
|  | vi |  | Elk Creek from 1.9 miles above its confluence with the James River 1.2 miles upstream. |
|  | vi |  | Ellis Run from its confluence with Back Creek in Botetourt County to a point 1.6 miles upstream. |
|  | v |  | Falling Spring Creek from its confluence with the Jackson River to its headwaters. |
|  | v |  | Jackson River from 1.8 miles above Route 39 (river mile 65.4) 12.2 miles upstream. |
|  | vi |  | Jackson River from 77.6 miles above its confluence with the James River to river mile 85.4. |
|  | *** |  | Jackson River from river mile 89.2 to headwaters. |
|  | vi |  | Jennings Creek from the Norfolk and Western Railroad to the confluence of Yellowstone Branch. |
|  | viii |  | Jerrys Run from its confluence with Dunlap Creek to the C&O Railroad crossing. |
|  | *** |  | Johns Creek (Craig County) from the junction of Routes 632 and 658 to Eliber Springs Branch. |
|  | vi |  | Lees Creek from its confluence with Catawba Creek to a point 2 miles upstream. |
|  | vi |  | McFalls Creek from its confluence with Jennings Creek to its headwaters. |
|  | vi |  | Mill Creek (Bath County) from 2.2 miles above its confluence with the Calfpasture River to its headwaters. |
|  | vi |  | Mill Creek from its confluence with Craig Creek to a point 2.1 miles upstream (Craig County). |
|  | vi |  | Miller Branch from its confluence with Tygers Creek to its headwaters. |
|  | vi | pH-6.5-9.5 | North Buffalo Creek from its confluence with Buffalo Creek 2.8 miles upstream. |
|  | viii |  | Pads Creek from river mile 2.2 - 8.2 (6 miles), unless otherwise designated in this chapter. |
|  | vi |  | Pheasanty Run (Spring Run) from its confluence with the Cowpasture River 0.7 mile upstream. |
|  | v |  | Potts Creek from the junction of Route 614 upstream to Boiling Spring. |
|  | *** |  | Potts Creek from the Craig County line to its headwaters. |
|  | v |  | Roaring Run from Route 615 to its headwaters. |
|  | vi |  | South Fork Pads Creek from its confluence with Pads Creek approximately to its headwaters. |
|  | vi |  | Spreading Spring Branch from its confluence with the James River to the intersection of Routes 635 and 630. |
|  | v |  | Sweet Springs Creek from its confluence with Dunlap Creek to the West Virginia state line. |
|  | vi |  | Trout Creek and all of its tributaries (except Pickles Branch) from its confluence with Craig Creek to their headwaters (including the tributaries' headwaters). |
|  | vii |  | Tygers Creek from its confluence with Dunlap Creek to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 12 |
|  | iv |  | Als Run from its confluence with Jerrys Run upstream including all named and unnamed tributaries. |
|  | ii |  | Back Creek from its confluence with the James River near Buchanan upstream including all named and unnamed tributaries. |
|  | ii |  | Barbours Creek from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Barney Run from its confluence with Mare Run upstream including all named and unnamed tributaries. |
|  | ii |  | Bear Hole Run from its confluence with Dry Run upstream including all named and unnamed tributaries. |
|  | ii |  | Bear Loop Branch from its confluence with Wilson Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Beaver Run (Bath County) from its confluence with Back Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Bennetts Run (Rockbridge County) from its confluence with the Maury River upstream including all named and unnamed tributaries. |
|  | iv |  | Benson Run from its confluence with the Cowpasture River upstream including all named and unnamed tributaries. |
|  | iii |  | Biggs Run from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Big Laurel Branch from its confluence with Johns Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Big Lick Run from its confluence with Little Back Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Big Run from its confluence with Little Back Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Black Run (Augusta County) from its confluence with Smith Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Blue Spring Run from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Blue Suck Branch from its confluence with Simpson Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Bolar Run from its confluence with the Jackson River to Bolar Spring. |
|  | ii |  | Brattons Run from the confluence of Alum Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Broad Run from its junction with Routes 311 and 618 upstream including all named and unnamed tributaries. |
|  | ii |  | Cascades Creek from its confluence with Cedar Creek (Bath County) upstream including all named and unnamed tributaries. |
|  | ii |  | Castle Run from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Cast Steel Run from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Cedar Creek from its confluence with the Jackson River to its confluence with Hot Springs Run from a spring on the west bank located downstream of Route 605. |
|  | ii |  | Cedar Creek (Rockbridge County) from 6.4 miles above its confluence with the James River upstream including all named and unnamed tributaries. |
|  | ii |  | Chestnut Run from its confluence with Jennings Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Christleys Run from its confluence with Kempers Run upstream including all named and unnamed tributaries. |
|  | ii |  | Clayton Mill Creek from its confluence with the Calfpasture River upstream including all named and unnamed tributaries. |
|  | ii |  | Cornelius Creek from its confluence with North Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Cove Branch from its confluence with Barbours Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Cowardin Run from its confluence with Rowan Run upstream including all named and unnamed tributaries. |
|  | ii |  | Crab Run from its confluence with the Bullpasture River upstream including all named and unnamed tributaries. |
|  | ii |  | Crow Run from its confluence with Dunlap Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Cub Run (Bath County) from its confluence with Dry Run upstream including all named and unnamed tributaries. |
|  | iv |  | Davidson Run (Rockbridge County) from Route 501 upstream including all named and unnamed tributaries. |
|  | ii |  | Davis Run from Route 678 upstream including all named and unnamed tributaries. |
|  | iii |  | Downey Branch from its confluence with Blue Suck Branch upstream including all named and unnamed tributaries. |
|  | iv |  | Dry Run (Allegheny County) from the Covington City limits upstream including all named and unnamed tributaries. |
|  | ii |  | Dry Run (Bath County) from 1.5 miles above its confluence with the Cowpasture River upstream including all named and unnamed tributaries. |
|  | ii |  | Duffs Run from its confluence with the Bullpasture River upstream 1.0 miles. |
|  | ii |  | East Fork Elk Creek from 0.8 mile above its confluence with Elk Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Eliber Springs Branch from its confluence with Johns Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Ewin Run from its confluence with Potts Creek to the West Virginia state line. |
|  | ii |  | Falling Springs Creek from its confluence with the Jackson River to Route 220. |
|  | ii |  | Fallingwater Creek from its confluence with Jennings Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Ferrol Creek from its confluence with the Little Calfpasture River upstream including all named and unnamed tributaries. |
|  | ii |  | Ford Run (Bath County) from its confluence with Back Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Fridleys Branch from its confluence with the Calfpasture River upstream including all named and unnamed tributaries. |
|  | iii |  | Furnace Branch from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Glover Run from its confluence with Allen Run upstream including all named and unnamed tributaries. |
|  | ii |  | Gochenour Branch from its confluence with Brattons Run upstream including all named and unnamed tributaries. |
|  | ii |  | Grannys Creek from its confluence with Johns Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Guys Run (Bath County) from its confluence with the Cowpasture River upstream including all named and unnamed tributaries. |
|  | ii |  | Guys Run (Rockbridge County) from its confluence with the Calfpasture River (at Camp Virginia, Route 39) upstream including all named and unnamed tributaries. |
|  | iii |  | Hays Creek from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Hidden Valley Spring from its confluence with the Jackson River 1.1 miles upstream. |
|  | ii |  | Hipes Branch from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Hite Hollow (Augusta County) from 0.8 miles above its mouth upstream including all named and unnamed tributaries. |
|  | *** |  | Hypes Creek from Route 696 upstream including all named and unnamed tributaries. |
|  | iii |  | Indian Draft from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Jackson River from 5 miles above the City of Covington's raw water intake to the Gathright Dam. |
|  | ii |  | Jackson River from river mile 85.4 to river mile 89.2. |
|  | ii |  | Jennings Creek from the confluence of Yellowstone Branch upstream including all named and unnamed tributaries. |
|  | iv |  | Jerkemtight Branch from its confluence with the Calfpasture River upstream including all named and unnamed tributaries. |
|  | iv |  | Jerrys Run (Allegheny County) from the C&O railroad upstream including all named and unnamed tributaries. |
|  | iv |  | Jerrys Run (Augusta County) from its confluence with Ramseys Draft upstream including all named and unnamed tributaries. |
|  | ii |  | Johns Creek from the confluence of Eliber Springs Branch upstream including all named and unnamed tributaries. |
|  | ii |  | Jordan Run (Bath County) from its confluence with Thompson Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Karnes Creek from a point 1.4 miles upstream of its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Kelly Run (Bath County) from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Kelso Spring Branch from its confluence with the Little Calfpasture River 1.3 miles upstream. |
|  | ii |  | Laurel Run (Bath County) from its confluence with Dry Run upstream including all named and unnamed tributaries. |
|  | iv |  | Left Prong Ramseys Draft from its confluence with Ramseys Draft upstream including all named and unnamed tributaries. |
|  | ii |  | Left Prong Wilson Creek from its confluence with Wilson Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Lick Block Run from its confluence with the Left Prong Wilson Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Lick Branch from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Lick Run (Bath County) from 3.3 miles above its confluence with Stuart Run 3.3 miles upstream. |
|  | ii |  | Little Back Creek (Bath County) from Route 600 upstream including all named and unnamed tributaries. |
|  | iv |  | Little Calfpasture River from 17.2 miles above its confluence with the Maury River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Crow Run from its confluence with Crow Run upstream including all named and unnamed tributaries. |
|  | ii |  | Little Mill Creek (Bath County) from its confluence with Mill Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Wilson Creek (from 1 mile above its confluence with Mill Creek) upstream including all named and unnamed tributaries. |
|  | ii |  | Long Spring Run from its confluence with Little Back Creek upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Lowry Run from 0.2 mile above its confluence with the Maury River upstream including all named and unnamed tributaries. |
|  | ii |  | Madison Creek from Route 682 upstream including all named and unnamed tributaries. |
|  | ii |  | Mare Run from its junction with Route 39 at Bath Alum upstream including all named and unnamed tributaries. |
|  | ii |  | Meadow Creek from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Middle Creek from its confluence with Jennings Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Branch from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | i |  | Mill Creek (Bath County) from its confluence with the Cowpasture River 3.2 miles upstream. |
|  | iii |  | Mill Creek from Rebecca Furnace upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek from its confluence with Craig Creek near Webbs Mill in Craig County upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Bath County) from its confluence with the Jackson River (Lake Moomaw) upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Run (Highland County) from its confluence with the Bullpasture River 0.5 mile upstream. |
|  | ii |  | Muddy Run (Bath County) from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Nelse Branch from its confluence with Mill Branch upstream including all named and unnamed tributaries. |
|  | ii |  | North Branch Simpson Creek from its confluence with Simpson Creek upstream including all named and unnamed tributaries. |
|  | ii |  | North Creek from its confluence with Jennings Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Paint Bank Branch from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Panther Run from its confluence with Mare Run upstream including all named and unnamed tributaries. |
|  | ii |  | Paxton Branch from its confluence with Johns Creek upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Pedlar Gap Run from 1 mile above its confluence with the Maury River upstream including all named and unnamed tributaries. |
|  | ii |  | Pickles Branch (a tributary to Trout Creek) from its mouth upstream including all named and unnamed tributaries. |
|  | ii |  | Piney Branch (Rockbridge County) from its confluence with Guys Run upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Poplar Cove Run from its confluence with Lowry Run upstream including all named and unnamed tributaries. |
|  | iii |  | Porters Mill Creek from its confluence with Mill Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Pounding Mill Creek from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Purgatory Creek from its confluence with the James River upstream including all named and unnamed tributaries. |
|  | iv |  | Ramseys Draft from its confluence with the Calfpasture River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Reservoir Hollow from 0.7 mile above its confluence with Indian Gap Run upstream including all named and unnamed tributaries. |
|  | iv |  | Right Prong Ramseys Draft from its confluence with Ramseys Draft upstream including all named and unnamed tributaries. |
|  | ii |  | Rocky Creek from its confluence with Ramseys Draft upstream including all named and unnamed tributaries. |
|  | ii |  | Rocky Run (Bath County) from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Rowan Run from its confluence with the Jackson River to the confluence with Cowardin Run. |
|  | ii |  | Sawmill Run (Bath County) from its confluence with Back Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Shawvers Run from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Simpson Creek from the junction of Route 776 and U. S. Route 60 upstream including all named and unnamed tributaries. |
|  | ii |  | Sinking Creek from Route 697 upstream including all named and unnamed tributaries. |
|  | iii |  | Smith Branch from its confluence with Mill Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Smith Creek (Alleghany-Clifton Forge City) from Interstate 64, 2.4 miles upstream. |
|  | ii |  | Snake Run from its confluence with Dunlap Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | South Buffalo Creek from its confluence with Buffalo Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Spring Branch (Bath County) from its confluence with Mill Creek 0.8 mile upstream. |
|  | ii |  | Spring Run (Bath County) from its confluence with Back Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Still Run from its confluence with the Calfpasture River upstream including all named and unnamed tributaries. |
|  | iii |  | Stony Run from its confluence with Craig Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Stony Run (Highland County) from its confluence with the Jackson River upstream including all named and unnamed tributaries. |
|  | ii |  | Sugar Run (Allegheny County) from its confluence with Potts Creek upstream 0.75 miles. |
|  | iii |  | Thompson Creek from the Route 39 crossing upstream to the confluence of Mares and Jordan Runs. |
|  | ii |  | Trout Run from its confluence with Sinking Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Unnamed tributary to Brattons Run 0.7 mile above the confluence of Gochenour Branch from its mouth upstream including all named and unnamed tributaries. |
|  | ii |  | Valley Branch from its confluence with Potts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Vinegar Run from its confluence with the Jackson River upstream 0.4 miles. |
|  | iii |  | Wildcat Hollow from its confluence with Little Back Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Wilson Creek (Bath County) within Douthat State Park Lake upstream including all named and unnamed tributaries. |
| 12a | IV | pH-6.5-9.5 | Maury River and its tributaries, unless otherwise designated in this chapter, from U.S. Route 60 upstream bridge to its headwaters (the confluence of the Calfpasture and Little Calfpasture Rivers). |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 12a |
|  | *** |  | Hays Creek from its confluence with the Maury River to Brownsburg (9.5 miles). |
|  | *** |  | Irish Creek from its confluence with the South River to river mile 8.9. |
|  | v | pH-6.5-9.5 | Marlbrook Creek from its confluence with the South River 2.2 miles upstream. |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 12a |
|  | iv |  | Big Bend Creek from its confluence with Irish Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Big Marys Creek from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Chimney Branch from its confluence with Saint Marys River upstream including all named and unnamed tributaries. |
|  | ii |  | Hogback Creek from its confluence with Saint Marys River upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Irish Creek from river mile 8.9 upstream including all named and unnamed tributaries. |
|  | i | pH-6.5-9.5 | Laurel Run from its confluence with the Maury River upstream including all named and unnamed tributaries. |
|  | ii |  | Little Marys Creek from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | *** |  | Mill Creek from its confluence with the Maury River at Lexington upstream including all named and unnamed tributaries. |
|  | ii |  | Mine Bank Creek from its confluence with Saint Marys River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Nettle Creek from its confluence with Irish Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Nettle Spring Branch from its confluence with Nettle Creek upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Otts Creek from its confluence with Hayes Creek upstream to Route 726. |
|  | iv |  | Rock Branch from its confluence with Irish Creek upstream including all named and unnamed tributaries. |
|  |  |  | Saint Marys River from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Saint Marys River from its confluence with the South River 3.6 miles upstream. |
|  | i |  | Saint Marys River from 3.6 miles above its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii |  | Spy Run from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | ii |  | Sugartree Branch from its confluence with Saint Marys River upstream including all named and unnamed tributaries. |
|  | ii |  | Wigwam Creek from its confluence with Nettle Creek upstream including all named and unnamed tributaries. |
| 12b | IV | PWS pH-6.5-9.5 | Maury River and its tributaries from Lexington's raw water intake to a point 5 miles upstream. |
| 12c | IV | PWS | Black Run from Craigsville's raw water intake to its headwaters. |
| 12d | IV | PWS | Moores Creek located on Brushy Mountain. |
| 12e | IV |  | Cowpasture River from the Alleghany-Botetourt County line upstream to U.S. Route 60 bridge. |
| 12f | IV | PWS | Smith Creek and Clifton Forge Reservoir from Clifton Forge's raw water intake to their headwaters. |
|  | VI | PWS | Natural Trout Waters in Section 12f |
|  | ii |  | Piney Branch from its confluence with Smith Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Smith Creek (Alleghany County) from 4 miles north of Clifton Forge near Route 606 (at the stream gage upstream of the filtration plant) upstream including all named and unnamed tributaries. |
| 12g | IV | PWS | Mill Branch and its tributaries located on Horse Mountain. |
| 12h | IV | PWS | Potts Creek and its tributaries from Hercules, Inc.'s raw water intake to points 5 miles upstream. |
| 12i | IV | PWS | Dunlap Creek and its tributaries from the Covington Boys Home raw water intake to points 5 miles upstream. |
| 12j | IV | PWS | Jackson River and its tributaries from Covington's raw water intake to points 5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 12j |
|  | ii |  | Jackson River from Covington's raw water intake to a point 5 miles upstream. |
| 12k | IV | PWS | Roaring Run above Clearwater Park's raw water intake to its headwaters. |
| 12l | IV | PWS | Catawba Creek and its tributaries from the City of Roanoke's raw water intake 0.1 mile upstream from its confluence with Buchanan Branch to points 5 miles upstream. |
| 12m | IV | PWS | Unnamed tributary to Catawba Creek from the Catawba State Hospital's raw water intake (approximately 1,000 feet north of the Hospital's main building), upstream to its headwaters. |

9VAC25-260-440. Rappahannock River Basin.

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | II | a,NEW-15,16 | Rappahannock River and the tidal portions of its tributaries from Stingray and Windmill Points to Route 1 Alternate Bridge at Fredericksburg. |
| 1a | II | NEW-16 | Hoskins Creek from the confluence with the Rappahannock River to its tidal headwaters. |
| 2 | III | NEW-15,16 | Free flowing tributaries of the Rappahannock from Stingray and Windmill Points upstream to Blandfield Point, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 2 |
|  |  |  | Cat Point Creek and its tributaries, from their headwaters to the head of tide at river mile 10.54. |
|  |  |  | Mount Landing Creek and its tributaries from the end of tidal waters at river mile 4.4 to their headwaters. |
|  |  |  | Piscataway Creek and its tributaries from the confluence of Sturgeon Swamp to their headwaters. |
| 3 | III |  | The Rappahannock River from the Route 1 Alternate Bridge at Fredericksburg upstream to the low dam water intake at Waterloo (Fauquier County). |
| 3a | III | PWS | The Rappahannock River and its tributaries from Spotsylvania County's raw water intake near Golin Run at 38°18'35.4638" latitude and 77°32'03.448" longitude to points 5 miles upstream (excluding Motts Run and tributaries, which is in section 4c). |
| 3b | III | PWS | The Rappahannock River and its tributaries from the low dam water intake at Waterloo, Fauquier County, to points 5 miles upstream. |
| 4 | III | NEW-15 ESW 17, 18 | Free flowing tributaries of the Rappahannock from Blandfield Point to its headwaters, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 4 |
|  |  |  | Occupacia Creek and its tributaries from the end of tidal waters at river mile 8.89 on Occupacia Creek to their headwaters. |
|  | V |  | Stockable Trout Waters in Section 4 |
|  | *** |  | Hughes River (Madison County) from Route 231 upstream to the upper crossing of Route 707 near the confluence of Rocky Run. |
|  | *** |  | Robinson River from Route 231 to river mile 26.7. |
|  | *** |  | Rose River from its confluence with the Robinson River 2.6 miles upstream. |
|  | *** |  | South River from 5 miles above its confluence with the Rapidan River 3.9 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 4 |
|  | ii |  | Berry Hollow from its confluence with the Robinson River upstream including all named and unnamed tributaries. |
|  | Ii |  | Bolton Branch from 1.7 miles above its confluence with Hittles Mill Stream upstream including all named and unnamed tributaries. |
|  | Ii |  | Broad Hollow Run from its confluence with Hazel River upstream including all named and unnamed tributaries. |
|  | I |  | Brokenback Run from its confluence with the Hughes River upstream including all named and unnamed tributaries. |
|  | I |  | Bush Mountain Stream from its confluence with the Conway River upstream including all named and unnamed tributaries. |
|  | I |  | Cedar Run (Madison County) from 0.8 mile above its confluence with the Robinson River upstream including all named and unnamed tributaries. |
|  | I |  | Conway River (Greene County) from the Town of Fletcher upstream including all named and unnamed tributaries. |
|  | Ii |  | Dark Hollow from its confluence with the Rose River upstream including all named and unnamed tributaries. |
|  | I |  | Devils Ditch from its confluence with the Conway River upstream including all named and unnamed tributaries. |
|  | iii |  | Entry Run from its confluence with the South River upstream including all named and unnamed tributaries. |
|  | iii |  | Garth Run from 1.9 miles above its confluence with the Rapidan River at the Route 665 crossing upstream including all named and unnamed tributaries. |
|  | ii |  | Hannah Run from its confluence with the Hughes River upstream including all named and unnamed tributaries. |
|  | ii |  | Hazel River (Rappahannock County) from the Route 707 bridge upstream including all named and unnamed tributaries. |
|  | ii |  | Hogcamp Branch from its confluence with the Rose River upstream including all named and unnamed tributaries. |
|  | i |  | Hughes River (Madison County) from the upper crossing of Route 707 near the confluence of Rocky Run upstream including all named and unnamed tributaries. |
|  | iii |  | Indian Run (Rappahannock County) from 3.4 miles above its confluence with the Hittles Mill Stream upstream including all named and unnamed tributaries. |
|  | ii |  | Jordan River (Rappahannock County) from 10.9 miles above its confluence with the Rappahannock River upstream including all named and unnamed tributaries. |
|  | iii |  | Kinsey Run from its confluence with the Rapidan River upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Prong from its confluence with the Rapidan River upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Prong from its confluence with the Rapidan River upstream including all named and unnamed tributaries. |
|  | ii |  | Negro Run (Madison County) from its confluence with the Robinson River upstream including all named and unnamed tributaries. |
|  | ii |  | North Fork Thornton River from 3.2 miles above its confluence with the Thornton River upstream including all named and unnamed tributaries. |
|  | ii |  | Piney River (Rappahannock County) from 0.8 mile above its confluence with the North Fork Thornton River upstream including all named and unnamed tributaries. |
|  | ii |  | Pocosin Hollow from its confluence with the Conway River upstream including all named and unnamed tributaries. |
|  | ii |  | Ragged Run from 0.6 mile above its confluence with Popham Run upstream including all named and unnamed tributaries. |
|  | i |  | Rapidan River from Graves Mill (Route 615) upstream including all named and unnamed tributaries. |
|  | ii |  | Robinson River (Madison County) from river mile 26.7 to river mile 29.7. |
|  | i |  | Robinson River (Madison County) from river mile 29.7 upstream including all named and unnamed tributaries. |
|  | i |  | Rose River from river mile 2.6 upstream including all named and unnamed tributaries. |
|  | iv |  | Rush River (Rappahannock County) from the confluence of Big Devil Stairs (approximate river mile 10.2) upstream including all named and unnamed tributaries. |
|  | ii |  | Sams Run from its confluence with the Hazel River upstream including all named and unnamed tributaries. |
|  | ii |  | South River from 8.9 miles above its confluence with the Rapidan River upstream including all named and unnamed tributaries. |
|  | ii |  | Sprucepine Branch from its confluence with Bearwallow Creek upstream including all named and unnamed tributaries. |
|  | i |  | Staunton River (Madison County) from its confluence with the Rapidan River upstream including all named and unnamed tributaries. |
|  | ii |  | Strother Run from its confluence with the Rose River upstream including all named and unnamed tributaries. |
|  | iii |  | Thornton River (Rappahannock County) from 25.7 miles above its confluence with the Hazel River upstream including all named and unnamed tributaries. |
|  | ii |  | Wilson Run from its confluence with the Staunton River upstream including all named and unnamed tributaries. |
| 4a |  |  | (Deleted) |
| 4b | III | PWS | The Rappahannock River and its tributaries, to include the VEPCO Canal, from Fredericksburg's (inactive May 2000) raw water intake to points 5 miles upstream. |
| 4c | III | PWS | Motts Run and its tributaries. |
| 4d | III |  | Horsepen Run and its tributaries. |
| 4e | III | PWS | Hunting Run and its tributaries. |
| 4f | III |  | Wilderness Run and its tributaries. |
| 4g | III |  | Deep Run and its tributaries. |
| 4h |  |  | (Deleted) |
| 4i | III | PWS | Mountain Run and its tributaries from Culpeper's raw water intake to points 5 miles upstream. |
| 4j | III | PWS | White Oak Run and its tributaries from the Town of Madison's raw water intake to points 5 miles upstream. |
| 4k | III | PWS | Rapidan River and its tributaries from Orange's raw water intake near Poplar Run to points 5 miles upstream. |
| 4l | III | PWS | Rapidan River and its tributaries from the Rapidan Service Authority's raw water intake (just upstream of the Route 29 bridge) upstream to points 5 miles above the intake. |
| 4m | III | PWS | Rapidan River and its tributaries from the Wilderness Shores raw water intake (38°22'30", 77°44'50", Orange County - Rapidan Service Authority) to points 5 miles upstream. |

9VAC25-260-450. Roanoke River Basin (Roanoke River Subbasin).

Roanoke River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | III | PWS, ff | Lake Gaston and the John Kerr Reservoir in Virginia and their tributaries in Virginia, unless otherwise designated in this chapter (not including the Roanoke or the Dan Rivers). The Roanoke River Service Authority's water supply intake is in this section. |
| 1a | III | s | Dockery Creek and its tributaries to their headwaters. |
| 2 | III |  | Dan River and its tributaries from the John Kerr Reservoir to the Virginia-North Carolina state line just east of the Pittsylvania-Halifax County line, unless otherwise designated in this chapter. |
| 2a | III | PWS | Dan River from South Boston's raw water intake upstream to Paces (below Route 658 bridge). |
| 2b | III | PWS | Banister River and its tributaries from Burlington Industries' inactive raw water intake (about 2000 feet downstream of Route 360) inclusive of the Town of Halifax intake at the Banister Lake dam upstream to the Pittsylvania/Halifax County Line (designation for main stem and tributaries ends at the county line). |
| 2c |  |  | (Deleted) |
| 2d | III | PWS | Cherrystone Creek from Chatham's raw water intake upstream to its headwaters. |
| 2e | III | PWS | Georges Creek from Gretna's raw water intake upstream to its headwaters. |
| 2f | III | PWS | Banister River and its tributaries from point below its confluence with Bearskin Creek (at latitude 36°46'15"; longitude 79°27'08") just east of Route 703, upstream to their headwaters. |
| 2g | III | PWS | Whitethorn Creek and its tributaries from its confluence with Georges Creek upstream to their headwaters. |
| 3 | III |  | Dan River and its tributaries from the Virginia-North Carolina state line just east of the Pittsylvania-Halifax County line upstream to the state line just east of Draper, N. C., unless otherwise designated in this chapter. |
| 3a | III | PWS | Dan River from the Schoolfield Dam including the City of Danville's main water intake located just upstream of the Schoolfield Dam, upstream to the Virginia-North Carolina state line. |
| 3b | IV | PWS | Cascade Creek and its tributaries. |
| 3c | IV | PWS | Smith River and its tributaries from the Virginia-North Carolina state line to, but not including, Home Creek. |
| 3d | VI | PWS | Smith River from DuPont's (inactive) raw water intake upstream to the Philpott Dam, unless otherwise designated in this chapter. |
|  | VI | PWS | Natural Trout Waters in Section 3d |
|  | ii |  | Smith River from DuPont's (inactive) raw water intake upstream to the Philpott Dam, unless otherwise designated in this chapter. |
| 3e | IV |  | Philpott Reservoir, Fairystone Lake and their tributaries. |
|  | V |  | Stockable Trout Waters in Section 3e |
|  | v |  | Otter Creek from its confluence with Rennet Bag Creek (Philpott Reservoir) to its headwaters. |
|  | v |  | Smith River (Philpott Reservoir portion) from the Philpott Dam (river mile 46.80) to river mile 61.14, just above the confluence with Small Creek. |
|  | v |  | Rennet Bag Creek from its confluence with the Smith River to the confluence of Long Branch Creek. |
|  | VI |  | Natural Trout Waters in Section 3e |
|  | ii |  | Brogan Branch from its confluence with Rennet Bag Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Rennet Bag Creek from the confluence of Long Branch Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Roaring Run from its confluence with Rennet Bag Creek upstream including all named and unnamed tributaries. |
| 3f | IV | PWS | North Mayo River and South Mayo River and their tributaries from the Virginia-North Carolina state line to points 5 miles upstream. |
| 3g | IV |  | Interstate streams in the Dan River watershed above the point where the Dan crosses the Virginia-North Carolina state line just east of Draper, N. C., (including the Mayo and the Smith watersheds), unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 3g |
|  | vi |  | Dan River from the Virginia-North Carolina state line upstream to the Pinnacles Power House. |
|  | *** |  | Little Dan River from its confluence with the Dan River 7.8 miles upstream. |
|  | v |  | Smith River from river mile 61.14 (just below the confluence of Small Creek), to Route 704 (river mile 69.20). |
|  | VI |  | Natural Trout Waters in Section 3g |
|  | ii |  | Dan River from Pinnacles Power House to Townes Dam. |
|  | ii |  | Dan River from headwaters of Townes Reservoir to Talbott Dam. |
|  | iii |  | Little Dan River from 7.8 miles above its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | i |  | North Prong of the North Fork Smith River from its confluence with the North Fork Smith River upstream including all named and unnamed tributaries. |
|  | ii |  | North Fork Smith River from its confluence with the Smith River upstream including all named and unnamed tributaries. |
|  | iii |  | Smith River from Route 704 (river mile 69.20) to Route 8 (river mile 77.55). |
|  | ii |  | Smith River from Route 8 (approximate river mile 77.55) upstream including all named and unnamed tributaries. |
|  | ii |  | South Mayo River from river mile 38.8 upstream including all named and unnamed tributaries. |
| 3h | IV | PWS | South Mayo River and its tributaries from the Town of Stuart's raw water intake 0.4 mile upstream of its confluence with the North Fork Mayo River to points 5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 3h |
|  | iii |  | Brushy Fork from its confluence with the South Mayo River upstream including all named and unnamed tributaries. |
|  | iii |  | Lily Cove Branch from its confluence with Rye Cove Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Rye Cove Creek from its confluence with the South Mayo River upstream including all named and unnamed tributaries. |
|  | iii |  | South Mayo River from river mile 33.8 upstream including all named and unnamed tributaries. |
| 3i | IV | PWS | Hale Creek and its tributaries from the Fairy Stone State Park's raw water intake 1.7 miles from its confluence with Fairy Stone Lake upstream to its headwaters. |
| 3j | VI | PWS | Smith River and its tributaries from the Henry County Public Service Authority's raw water intake about 0.2 mile upstream of its confluence with Town Creek to points 5 miles upstream. |
| 4 | III |  | Intrastate tributaries to the Dan River above the Virginia-North Carolina state line just east of Draper, North Carolina, to their headwaters, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 4 |
|  | vi |  | Browns Dan River from the intersection of Routes 647 and 646 to its headwaters. |
|  | vi |  | Little Spencer Creek from its confluence with Spencer Creek to its headwaters. |
|  | vi |  | Poorhouse Creek from its confluence with North Fork South Mayo River upstream to Route 817. |
|  | *** |  | Rock Castle Creek from its confluence with the Smith River upstream to Route 40. |
|  | VI |  | Natural Trout Waters in Section 4 |
|  | ii |  | Barnard Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | ii |  | Big Cherry Creek from its confluence with Ivy Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Ivy Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | iii |  | Camp Branch from its confluence with Ivy Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Haunted Branch from its confluence with Barnard Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Hookers Creek from its confluence with the Little Dan River upstream including all named and unnamed tributaries. |
|  | iii |  | Ivy Creek from Coleman's Mill Pond upstream to Route 58 (approximately 2.5 miles). |
|  | iii |  | Little Ivy Creek from its confluence with Ivy Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Little Rock Castle Creek from its confluence with Rock Castle Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Maple Swamp Branch from its confluence with Round Meadow Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Mayberry Creek from its confluence with Round Meadow Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | iii |  | North Fork South Mayo River from its confluence with the South Mayo River upstream including all named and unnamed tributaries. |
|  | vi** |  | Patrick Springs Branch from its confluence with Laurel Branch upstream including all named and unnamed tributaries. |
|  | iii |  | Polebridge Creek from Route 692 upstream including all named and unnamed tributaries. |
|  | ii |  | Poorhouse Creek from Route 817 upstream including all named and unnamed tributaries. |
|  | ii |  | Rhody Creek from its confluence with the South Mayo River upstream including all named and unnamed tributaries. |
|  | iii |  | Rich Creek from Route 58 upstream including all named and unnamed tributaries. |
|  | ii |  | Roaring Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | i |  | Rock Castle Creek from Route 40 upstream including all named and unnamed tributaries. |
|  | iii |  | Round Meadow Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | ii |  | Sawpit Branch from its confluence with Round Meadow Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Shooting Creek from its confluence with the Smith River upstream including all named and unnamed tributaries. |
|  | vi** |  | Spencer Creek from Route 692 upstream including all named and unnamed tributaries. |
|  | iii |  | Squall Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | ii |  | Tuggle Creek from its confluence with the Dan River upstream including all named and unnamed tributaries. |
|  | ii |  | Widgeon Creek from its confluence with the Smith River upstream including all named and unnamed tributaries. |
| 4a | III | PWS | Intrastate tributaries (includes Beaver Creek, Little Beaver Creek, and Jones Creek, for the City of Martinsville) to the Smith River from DuPont's (inactive) raw water intake to points 5 miles upstream from Fieldcrest Cannon's raw water intake. |
| 4b | III | PWS | Marrowbone Creek and its tributaries from the Henry County Public Service Authority's raw water intake (about 1/4 mile upstream from Route 220) to their headwaters. |
| 4c | III | PWS | Leatherwood Creek and its tributaries from the Henry County Public Service Authority's raw water intake 8 miles upstream of its confluence with the Smith River to points 5 miles upstream. |
| 5 | IV | PWS | Roanoke Staunton River from the headwaters of the John Kerr Reservoir to Leesville Dam unless otherwise designated in this chapter. |
| 5a | III |  | Tributaries to the Roanoke Staunton River from the headwaters of the John Kerr Reservoir to Leesville Dam, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 5a |
|  | vi |  | Day Creek from Route 741 to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 5a |
|  | iii |  | Gunstock Creek from its confluence with Overstreet Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Overstreet Creek from its confluence with North Otter Creek upstream including all named and unnamed tributaries. |
| 5b | III | PWS | Spring Creek from Keysville's raw water intake upstream to its headwaters. |
| 5c | III | PWS | Falling River and its tributaries from a point just upstream from State Route 40 (the raw water source for Dan River, Inc.) to points 5 miles upstream and including the entire Phelps Creek watershed which contains the Brookneal Reservoir. |
| 5d | III |  | Falling River and its tributaries from 5 miles above Dan River, Inc. raw water intake to its headwaters. |
| 5e | III | PWS | Reed Creek from Altavista's raw water intake upstream to its headwaters. |
| 5f | III | PWS | Big Otter River and its tributaries from Bedford's raw water intake to points 5 miles upstream, and Stony Creek and Little Stony Creek upstream to their headwaters. |
|  | VI | PWS | Natural Trout Waters in Section 5f |
|  | ii |  | Little Stony Creek from 1 mile above its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Stony Creek from the Bedford Reservoir upstream including all named and unnamed tributaries. |
| 5g | III |  | Big Otter River and its tributaries from 5 miles above Bedford's raw water intake upstream to their headwaters. |
| 5h | III |  | Ash Camp Creek and that portion of Little Roanoke Creek from its confluence with Ash Camp Creek to the Route 47 bridge. |
| 5i | III | PWS | The Roanoke River and its tributaries from the Town of Altavista's raw water intake, 0.1 mile upstream from the confluence of Sycamore Creek, to points 5 miles upstream. |
| 5j | III | PWS | Big Otter River and its tributaries from the Campbell County Utilities and Service Authority's raw water intake to points 5 miles upstream. |
| 6 | IV | pH-6.5-9.5 | Roanoke River from a point (at latitude 37°15'53"; longitude 79°54'00") 5 miles above the headwaters of Smith Mountain Lake upstream to Salem's #1 raw water intake. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 6 |
|  | *** | pH-6.5-9.5 | Roanoke River from its junction from Routes 11 and 419 to Salem's #1 raw water intake. |
| 6a | III | NEW-1 | Tributaries of the Roanoke River from Leesville Dam to Niagra Reservoir, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 6a |
|  | vi |  | Gourd Creek from 1.3 miles above its confluence with Snow Creek to its headwaters. |
|  | vi |  | Maggodee Creek from Boones Mill upstream to Route 862 (approximately 3.8 miles). |
|  | vii |  | South Fork Blackwater River form its confluence with the Blackwater River upstream to Roaring Run. |
|  | vi |  | South Prong Pigg River from its confluence with the Pigg River to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 6a |
|  | iii |  | Daniels Branch from its confluence with the South Fork Blackwater River upstream including all named and unnamed tributaries. |
|  | ii |  | Green Creek from Roaring Run upstream including all named and unnamed tributaries. |
|  | ii |  | Pigg River from 1 mile above the confluence of the South Prong Pigg River upstream including all named and unnamed tributaries. |
|  | ii |  | Roaring Run from its confluence with the South Fork Blackwater River upstream including all named and unnamed tributaries. |
| 6b |  |  | (Deleted) |
| 6c | III | PWS | Falling Creek Reservoir and Beaverdam Reservoir. |
| 6d | IV |  | Tributaries of the Roanoke River from Niagra Reservoir to Salem's #1 raw water intake, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 6d |
|  | vii | hh | Tinker Creek from its confluence with the Roanoke River north to Routes 11 and 220. |
|  | VI |  | Natural Trout Waters in Section 6d |
|  | iii |  | Glade Creek from its junction with Route 633 Berkley Road NE to the Bedford County line confluence of Coyner Branch. |
| 6e | IV | PWS | Carvin Cove Reservoir and its tributaries to their headwaters. |
| 6f | IV | PWS, NEW-1 | Blackwater River and its tributaries from the Town of Rocky Mount's raw water intake (just upstream of State Route 220) to points 5 miles upstream. |
| 6g | IV | PWS | Tinker Creek from the City of Roanoke's raw water intake (about 0.4 mile downstream from Glebe Mills) upstream 5 miles. |
| 6h | IV | PWS | Roanoke River from Leesville Dam to Smith Mountain Dam (Gap of Smith Mountain), excluding all tributaries to Leesville Lake. |
| 6i | IV | PWS | Roanoke River from Smith Mountain Dam (Gap of Smith Mountain) upstream to a point (at latitude 37°15'53"; longitude 79°54'00" and its tributaries to points 5 miles above the 795.0 foot contour (normal pool elevation) of Smith Mountain Lake. |
| 7 | IV | pH-6.5-9.5,ESW-2 | Roanoke River and its tributaries, unless otherwise designated in this chapter, from Salem's #1 raw water intake to their headwaters. |
|  | V | pH-6.5-9.5 | Stockable Trout Waters in Section 7 |
|  | vi | pH-6.5-9.5 | Elliott Creek from the confluence of Rocky Branch to its headwaters. |
|  | vi | pH-6.5-9.5 | Goose Creek from its confluence with the South Fork Roanoke River to its headwaters. |
|  | vi | pH-6.5-9.5 | Mill Creek from its confluence with Bottom Creek to its headwaters. |
|  | *** | pH-6.5-9.5,hh | Roanoke River from 5 miles above Salem's #2 raw water intake to the Spring Hollow Reservoir intake (see section 7b). |
|  | vi | pH-6.5-9.5 | Smith Creek from its confluence with Elliott Creek to its headwaters. |
|  | vi | pH-6.5-9.5 | South Fork Roanoke River from 5 miles above the Spring Hollow Reservoir intake (see section 7b) to the mouth of Bottom Creek (river mile 17.1). |
|  | VI | pH-6.5-9.5 | Natural Trout Waters in Section 7 |
|  | ii | pH-6.5-9.5 | Big Laurel Creek from its confluence with Bottom Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Bottom Creek from its confluence with the South Fork Roanoke River upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Lick Fork (Floyd County) from its confluence with Goose Creek upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Mill Creek from its confluence with the North Fork Roanoke River upstream including all named and unnamed tributaries. |
|  | iii | pH-6.5-9.5 | Purgatory Creek from Camp Alta Mons upstream including all named and unnamed tributaries. |
|  | ii | pH-6.5-9.5 | Spring Branch from its confluence with the South Fork Roanoke River upstream including all named and unnamed tributaries. |
| 7a | IV | PWS pH-6.5-9.5 | Roanoke River and its tributaries from Salem's #1 raw water intake to points 5 miles upstream from Salem's #2 raw water intake. |
|  | V | PWS pH-6.5-9.5 | Stockable Trout Waters in Section 7a |
|  | *** | pH-6.5-9.5, hh | Roanoke River from Salem's #1 raw water intake to a point 5 miles upstream from Salem's #2 raw water intake. |
| 7b | IV | PWS pH-6.5-9.5 | Roanoke River and its tributaries from the Spring Hollow Reservoir intake (N37°14'2.59"/W80°10'39.61") upstream to points 5 miles upstream. |
|  | V | PWS, pH 6.5-9.5 | Stockable Trout Waters in Section 7b |
|  | *** | pH-6.5-9.5, hh | Roanoke River from the Spring Hollow Reservoir intake to the Montgomery County line. |
|  | vi | pH-6.5-9.5 | South Fork Roanoke River from its confluence with the Roanoke River to 5 miles above the Spring Hollow Reservoir intake. |

9VAC25-260-460. Roanoke Yadkin River Basin (Yadkin River Subbasin).

Yadkin River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | IV | PWS | Yadkin River Basin in Virginia including Ararat River, Johnson Creek, Little Fisher River, Lovills Creek, Pauls Creek and Stewarts Creek - the entire reach of these streams from the Virginia-North Carolina state line to their headwaters. |
|  | V | PWS | Stockable Trout Waters in Section 1 |
|  | *** |  | Ararat River from Route 823 upstream to Route 671. |
|  | vi |  | Halls Branch from its confluence with Lovills Creek 4.5 miles upstream. |
|  | vi |  | Johnson Creek from the Virginia-North Carolina state line to its headwaters. |
|  | vii |  | Lovills Creek from the Virginia-North Carolina state line 1.8 miles upstream (to the Natural Resource Conservation Service dam). |
|  | vii |  | Pauls Creek (at the Carroll County line at Route 690) from 6.7 miles above its confluence with Stewarts Creek 4.2 miles upstream. |
|  | VI | PWS | Natural Trout Waters in Section 1 |
|  | iii |  | Ararat River from Route 671 upstream including all named and unnamed tributaries. |
|  | iii |  | East Fork Johnson Creek from its confluence with Johnson Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Elk Spur Branch from its confluence with Lovills Creek upstream including all named and unnamed tributaries. |
|  | i |  | Little Fisher Creek from the Virginia-North Carolina state line upstream including all named and unnamed tributaries. |
|  | ii |  | Little Pauls Creek in the vicinity of Route 692 (4 miles above its confluence with Pauls Creek) upstream including all named and unnamed tributaries. |
|  | iii |  | Lovills Creek from the Natural Resource Conservation Service dam (1.8 miles above the Virginia-North Carolina state line) to river mile 7.8 (at the confluence of Elk Spur and Waterfall Branch). |
|  | ii |  | North Fork Stewarts Creek from its confluence with Stewarts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Pauls Creek (Carroll County) from 10.9 miles above its confluence with Stewarts Creek upstream including all named and unnamed tributaries. |
|  | i |  | South Fork Stewarts Creek from its confluence with Stewarts Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Stewarts Creek below Lambsburg in the vicinity of Route 696 (10.4 miles above its confluence with the Ararat River) to the confluence of the North and South Forks of Stewarts Creek. |
|  | iii |  | Sun Run from its confluence with the Ararat River upstream including all named and unnamed tributaries. |
|  | iii |  | Thompson Creek from its confluence with the Ararat River upstream including all named and unnamed tributaries. |
|  | ii |  | Turkey Creek from its confluence with Stewarts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Waterfall Branch from its confluence with Lovills Creek upstream including all named and unnamed tributaries. |

9VAC25-260-470. Chowan and Dismal Swamp (Chowan River Subbasin).

Chowan River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | II | NEW-21 | Blackwater River and its tidal tributaries from the Virginia-North Carolina state line to the end of tidal waters at approximately State Route 611 at river mile 20.90; Nottoway River and its tidal tributaries from the Virginia-North Carolina state line to the end of tidal waters at approximately Route 674. |
| 2 | VII | NEW-21 | Blackwater River from the end of tidal waters to its headwaters and its free-flowing tributaries in Virginia, unless otherwise designated in this chapter. |
| 2a | VII | PWS | Blackwater River and its tributaries from Norfolk's auxiliary raw water intake near Burdette, Virginia, to points 5 miles above the raw water intake, to include Corrowaugh Swamp to a point 5 miles above the raw water intake. |
| 2b | III |  | Nottoway River from the end of tidal waters to its headwaters and its free-flowing tributaries in Virginia, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 2b |
|  |  |  | Assamoosick Swamp and its tributaries from its confluence with the Nottoway River to its headwaters. |
|  |  |  | Black Branch Swamp from its confluence with the Nottoway River to its headwaters. |
|  |  |  | Butterwood Creek from river mile 4.65 (near Route 622) upstream to river mile 14.59 (near Route 643). |
|  |  |  | Cabin Point Swamp from its confluence with the Nottoway River to its headwaters. |
|  |  |  | Cooks Branch from its confluence with Butterwood Creek to river mile 1.08 |
|  |  |  | Gosee Swamp and its tributaries from its confluence with the Nottoway River to river mile 6.88. |
|  |  |  | Gravelly Run and its tributaries from river mile 0.22 upstream to river mile 8.56. |
|  |  |  | Harris Swamp and its tributaries from its confluence with the Nottoway River to river mile 8.72. |
|  |  |  | Hatcher Run and its tributaries from its confluence with Rowanty Creek to river mile 19.27 excluding Picture Branch and Hatcher Run from an unnamed tributary below Route 675 upstream to Steers Millpond. |
|  |  |  | Hunting Quarter Swamp and its tributaries from its confluence with the Nottoway River to its headwaters. |
|  |  |  | Moores and Jones Holes Swamp and tributaries from their confluence with the Nottoway River to its headwaters. |
|  |  |  | Nebletts Mill Run and its tributaries from its confluence with the Nottoway River to its headwaters. |
|  |  |  | Raccoon Creek and its tributaries from its confluence with the Nottoway River to its headwaters. |
|  |  |  | Rowanty Creek and its tributaries from its confluence with the Nottoway River to Gravelly Run. |
|  |  |  | Southwest Swamp and its tributaries from its confluence with Stony Creek to river mile 8.55. |
|  |  |  | Three Creek and its tributaries from its confluence with the Nottoway River to its headwaters. |
|  |  |  | White Oak Creek from its headwaters to its confluence with Butterwood Creek. |
| 2c | III | PWS | Nottoway River and its tributaries from Norfolk's auxiliary raw water intake near Courtland, Virginia, to points 5 miles upstream. |
| 2d |  |  | (Deleted) |
| 2e | III | PWS | Nottoway River from the Georgia-Pacific and the Town of Jarratt's raw water intakes near Jarratt, Virginia, to a point 5 miles above the intakes. |
| 2f | III | PWS | Nottoway River and its tributaries from the Town of Blackstone's raw water intake to points 5 miles above the raw water intake. |
| 2g | III | PWS | Lazaretto Creek and its tributaries from Crewe's raw water intake to points 5 miles upstream. |
| 2h | III | PWS | Modest Creek and its tributaries from Victoria's raw water intake to their headwaters. |
| 2i | III | PWS | Nottoway River and its tributaries from the Town of Victoria's raw water intake at the Falls (about 200 feet upstream from State Route 49) to points 5 miles upstream. |
| 2j | III | PWS | Big Hounds Creek from the Town of Victoria's auxiliary raw water intake (on Lunenburg Lake) to its headwaters. |
| 2k | VII |  | Assamoosick Swamp and its tributaries from its confluence with the Nottoway River to its headwaters. |
| 2l | VII |  | Three Creek and its tributaries from its confluence with the Nottoway River to its headwaters. |
| 2m | VII |  | Raccoon Creek and its tributaries from its confluence with the Nottoway River to its headwaters. |
| 2n | VII |  | Nebletts Mill Run and its tributaries from its confluence with the Nottoway River to its headwaters. |
| 2o | VII |  | Rowanty Creek and its tributaries from its confluence with the Nottoway River to Gravelly Run and Hatcher Run. |
| 3 | III |  | Meherrin River and its tributaries in Virginia from the Virginia-North Carolina state line to its headwaters, unless otherwise designated in this chapter. |
|  | VII |  | Swamp waters in Section 3 |
|  |  |  | Tarrara Creek and its tributaries from its confluence with the Meherrin River to its headwaters. |
|  |  |  | Fountains Creek and its tributaries from its confluence with the Meherrin River to Route 301. |
| 3a | III | PWS | Meherrin River and its tributaries from Emporia's water supply dam to points 5 miles upstream. |
| 3b | III | PWS | Great Creek from Lawrenceville's raw water intake to a point 7.6 miles upstream. |
| 3c | III | PWS | Meherrin River from Lawrenceville's raw water intake to a point 5 miles upstream. |
| 3d | III | PWS | Flat Rock Creek from Kenbridge's raw water intake upstream to its headwaters. |
| 3e | III | PWS | Meherrin River and its tributaries from South Hill's raw water intake to points 5 miles upstream. |
| 3f | III |  | Couches Creek from a point 1.6 miles downstream from the Industrial Development Authority discharge to its headwaters. |
| 3g | VII |  | Tarrara Creek and its tributaries from its confluence with the Meherrin River to its headwaters. |
| 3h | VII |  | Fountains Creek and its tributaries from its confluence with the Meherrin River to Route 301. |
| 4 | III |  | Free flowing tributaries to the Chowan River in Virginia unless otherwise designated in this section. |
|  | VII |  | Swamp waters in Section 4 |
|  |  |  | Unnamed tributary to Buckhorn Creek from its headwaters to the Virginia/North Carolina state line. |
|  |  |  | Somerton Creek and its tributaries from the Virginia/North Carolina state line at river mile 0.00 upstream to river mile 13.78. |

9VAC25-260-480. Chowan and Dismal Swamp (Albemarle Sound Subbasin).

Albemarle Sound Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | II |  | Back Bay and its tributaries in the City of Virginia Beach to the Virginia-North Carolina state line and the Northwest River and its tidal tributaries from the Virginia-North Carolina state line to the free flowing portion, unless otherwise designated in this chapter and North Landing River and its tidal tributaries from the Virginia-North Carolina state line to the Great Bridge Lock of the Intracoastal Waterway and Salem Canal up to its intersection with Timberlake Road at N36°48'35.67"/W76°08'31.70". Includes West Neck Creek to the Dam Neck Road bridge at N36°47'20.00"/W76°04'12.10". |
| 1a | III |  | The free flowing portions of streams in Section 1 and tributaries of Stumpy Lake. |
| 1b | III | PWS | Stumpy Lake (raw water supply for the City of Norfolk) and feeder streams to points 5 miles upstream. |
| 1c | II | PWS | Northwest River and its tributaries from the City of Chesapeake's raw water intake to points 5 miles upstream and points 5 miles downstream. |
| 2 | III |  | Intracoastal Waterway (portions not described in Section 1). |
|  | VII |  | Swamp Waters in Section 2 |
|  |  |  | Dismal Swamp Canal and tributaries from the Deep Creek Locks downstream to the Virginia/North Carolina state line. |
| 3 | III | dd, ESW-3 | Lake Drummond, including feeder ditches, and all interstate tributaries of the Dismal Swamp between Virginia and North Carolina. |
|  | VII |  | Swamp Waters in Section 3 |
|  |  |  | Feeder Ditch to Lake Drummond and tributaries. |

9VAC25-260-490. Tennessee and Big Sandy River Basins (Big Sandy River Subbasin).

Big Sandy River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | IV |  | All tributaries of Tug Fork in Virginia. |
| 2 | IV |  | All tributaries of Jacobs Fork and Dry Fork in Virginia. |
| 2a | IV | PWS | Crockett Cove, a tributary to Jacobs Fork, from Bishop's raw water intake to its headwaters. |
| 3 | IV |  | Levisa Fork and its tributaries and Knox Creek and its tributaries, unless otherwise designated in this chapter, from the Virginia-Kentucky state line upstream to their headwaters. |
|  | V |  | Stockable Trout Waters in Section 3 |
|  | vi |  | Dismal Creek from its mouth to its headwaters. |
| 4 | IV |  | Russell Fork and its tributaries, unless otherwise designated in this chapter, from the Virginia-Kentucky state line upstream to their headwaters. |
|  | V |  | Stockable Trout Waters in Section 4 |
|  | *** |  | Caney Creek from Long Branch Creek upstream 5.5 miles. |
|  | vi |  | Fryingpan Frying Pan Creek from 1.3 miles above its confluence with Russell Fork 8.6 miles upstream (in vicinity of Bucu). |
|  | vi |  | North Fork Pound River from the town limits of Pound upstream to the water supply dam. |
|  | *** |  | Russell Fork from the confluence of Pound River to the Virginia-Kentucky state line. |
|  | VI |  | Natural Trout Waters in Section 4 |
|  | iii |  | Pound River from its confluence with Russell Fork upstream to the John W. Flannagan Dam. |
| 4a | IV | PWS | Pound River and its tributaries from the John W. Flannagan Dam, including the Cranes Nest River and its tributaries to points 5 miles above the John W. Flannagan Water Authority's raw water intake. |
| 4b | IV | PWS | North Fork Pound River and its tributaries from North Fork Pound River Dam and the Town of Pound's raw water intake upstream to their headwaters, unless otherwise designated in this chapter. |
| 4c |  |  | (Deleted) |
| 4d | IV |  | Phillips Creek from its mouth to its headwaters and the North Fork Pound River from Wise County's swimming area around the mouth of Phillips Creek to a point 1/2 mile upstream. |
| 4e | IV | PWS | Russell Fork River and its tributaries from the Kentucky state line 2.2 miles upstream (Elkhorn City, Kentucky raw water intake including Grassy Creek from its confluence with Russell Fork northeast to the Kentucky state line, Hunts Creek from its confluence with Grassy Creek to 1 mile upstream, Laurel Branch to its headwaters including Laurel Lake (Breaks Interstate Park raw water intake). |
|  | V |  | Stockable Trout Waters in Section 4e |
|  | *** | PWS | Russell Fork from the Kentucky state line 2.2 miles upstream. |

9VAC25-260-500. Tennessee and Big Sandy River Basins (Clinch River Subbasin).

Clinch River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | IV |  | Powell River and its tributaries from the Virginia-Tennessee state line to their headwaters; Indian Creek and Martin Creek in Virginia, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 1 |
|  | vi |  | Batie Creek from its confluence with the Powell River 0.8 mile upstream. |
|  | vi |  | Dry Creek from its confluence with Hardy Creek to its headwaters. |
|  | vi |  | Hardy Creek and its tributaries to their headwaters. |
|  | vi |  | Lick Branch from its confluence with Indian Creek 1.4 miles upstream. |
|  | vi |  | Martin Creek (Lee County) from the Virginia-Tennessee state line to its headwaters. |
|  | vii |  | North Fork Powell River from the confluence of Straight Creek to its headwaters. |
|  | vi |  | Poor Valley Branch from its confluence with Martin Creek 1.4 miles upstream. |
|  | vi |  | Sims Creek from its confluence with the Powell River 1.1 miles upstream to Sims Spring. |
|  | vi |  | Station Creek at the boundary of the Cumberland Gap National Historical Park (river mile 2.2) 2.6 miles upstream. |
|  | vi |  | Wallen Creek above its confluence with the Powell River (at Rasnic Hollow) to its headwaters. |
|  | vi |  | White Branch from its confluence with Poor Valley Branch 0.7 mile upstream (to the Falls at Falling Water Gap). |
| 1a | IV | PWS | Powell River from Pennington Gap's raw water intake to 5 miles upstream. |
| 1b | IV | PWS | Bens Branch from Appalachia's raw water intake to its headwaters. |
| 1c | IV | PWS | South Fork Powell River from Big Stone Gap's raw water intake to its headwaters. |
| 1d | IV | PWS | Benges Branch from Norton's raw water intake to its headwaters. |
| 1e | IV | PWS | Robinette Branch from Norton's raw water intake to its headwaters. |
| 1f | IV | PWS | Fleenortown Creek and its tributaries from the Winn #1 and Barker Springs intakes (which provide raw water to the Town of Jonesville WTP) to points 5 miles upstream. |
| 2 | IV |  | Clinch River and its tributaries from the Virginia-Tennessee state line to their headwaters; North Fork Clinch River and its tributaries, Blackwater Creek and its tributaries, and Little Creek in Virginia, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 2 |
|  | vi |  | Amos Branch from its confluence with Copper Creek 3.3 miles upstream. |
|  | *** |  | Big Cedar Creek from its confluence with Little Cedar Creek to the mouths of Elk Garden Creek and Loop Creek. |
|  | viii |  | Burns Creek from its confluence with the Guest River to its headwaters. |
|  | viii |  | Clear Creek (Wise County) from 1/2 mile above its confluence with the Guest River to its headwaters. |
|  | vi |  | Copper Creek (Russell County) from Route 678 below Parsonage - river mile 52.5 - 4.3 miles upstream. |
|  | vi |  | Cove Creek from river mile 6.5 (above Stanleytown) 5.5 miles upstream. |
|  | vi |  | Cowan Creek from its confluence with Sinking Creek 2.7 miles upstream. |
|  | vi |  | Devil Fork from its confluence with Straight Fork 3.2 miles upstream. |
|  | vi |  | Fall Creek from its confluence with the Clinch River 4.6 miles upstream. |
|  | vi |  | Gillinswater Branch from its confluence with Obeys Creek 2.8 miles upstream. |
|  | vi |  | Gray Branch from its confluence with Mill Creek (Scott County) 1.6 miles upstream. |
|  | vi |  | Jessee Branch from its confluence with Copper Creek at Thompson Ford 2 miles upstream. |
|  | vi |  | Lark Creek from its confluence with Copper Creek 3 miles upstream. |
|  | viii |  | Laurel Fork (Scott County) from its confluence with Stock Creek 4 miles upstream. |
|  | vi |  | Liberty Creek from its confluence with Little River 1.6 miles upstream. |
|  | vi |  | Little Stony Creek from the intersection of the stream and Route 72 upstream to its headwaters. |
|  | vi |  | Mill Creek (Scott County) from its confluence with the Clinch River at Grays Ford 1.6 miles upstream. |
|  | vi |  | Obeys Creek from 2.5 miles above its confluence with Copper Creek 6 miles upstream. |
|  | vi |  | Palmer Branch from its confluence with the Clinch River 1.8 miles upstream. |
|  | vi |  | Powers Branch from its confluence with the Clinch River 2.4 miles upstream. |
|  | vi |  | Stock Creek from 0.25 mile north of Sunbright to 1.5 miles north of Mabe. |
|  |  |  | Stony Creek from Fort Blackmore upstream to its headwaters. |
|  | *** |  | (Stony Creek from Fort Blackmore (river mile 0.56) 5.5 miles upstream.) |
|  | vi |  | (Stony Creek from 5.5 miles above its confluence with the Clinch River (in the vicinity of Greens Chapel) 7.2 miles upstream.) |
|  | vi |  | Straight Fork (Scott County) from its confluence with Stony Creek 5.1 miles upstream. |
|  | vi |  | Valley Creek from 1.1 miles above its confluence with Copper Creek 6.8 miles upstream. |
|  | viii |  | Wolf Creek (Scott County) from its confluence with Laurel Fork 1.8 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 2 |
|  | iii |  | Maiden Spring Creek from 15 miles above its confluence with Little River at Route 602 above Benbow 5.3 miles upstream. |
|  | iii |  | Mill Creek (Russell County) from its confluence with the Clinch River 2.7 miles upstream. |
| 2a | IV | PWS, x | Clinch River and its tributaries to their headwaters from the Wise County Public Service Authority's raw water intakes to 5 miles upstream from St. Paul's raw water intake. |
| 2b | IV | PWS | Clinch River and its tributaries to their headwaters from Raven-Doran's raw water intake to a point 5 miles upstream of the Richland's raw water intake. |
| 2c | IV | PWS | Clinch River and its tributaries from Tazewell's raw water intake to their headwaters. |
| 2d | IV | PWS | North Fork Clinch River and its tributaries, including Spurlock Branch, from Duffield Development Authority's raw water intake at the confluence with Spurlock Branch and the intake on Spurlock Branch to 5 miles upstream. |
| 2e | IV | PWS | Bear Creek from Wise's raw water intake to its headwaters. |
| 2f | IV | PWS | Toms Creek from Coeburn's raw water intake to its headwaters. |
| 2g | IV | PWS | Little River and its tributaries from the Tazewell County Water and Sewer Authority's (Claypool Hill Water Treatment Plant) raw water intake to points 5 miles upstream. |
| 2h | IV | PWS | Unnamed tributary to the North Fork Clinch River from the Divides raw water intake upstream to its headwaters. |
| 2i | IV | PWS | Big Cedar Creek and its tributaries from Lebanon's raw water intake to points 5 miles upstream. |
| 2j | IV | PWS | Cavitts Creek from the proposed Baptist Valley raw water intake to its headwaters. |
| 2k | IV | PWS | Unnamed tributary to Big Creek (Tazewell County) from the Tazewell County Water and Sewer Authority's Jewell Ridge raw water intake upstream to its headwaters. |
| 2l |  |  | (moved to 1f) |

9VAC25-260-510. Tennessee and Big Sandy River Basins (Holston River Subbasin).

Holston River Subbasin

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | IV |  | North Fork Holston River and its tributaries, unless otherwise designated in this chapter, from the Virginia-Tennessee state line to their headwaters, and those sections of Timbertree Branch and Boozy Creek in Virginia. |
|  | V |  | Stockable Trout Waters in Section 1 |
|  | vi |  | Greendale Creek from its confluence with the North Fork Holston River 4.1 miles upstream. |
|  | v |  | Laurel Bed Creek from its confluence with Tumbling Creek 1.8 miles upstream. |
|  | vi |  | Laurel Creek within the Thomas Jefferson National Forest boundaries. |
|  | *** |  | Laurel Creek from Route 16 to its confluence with Roaring Fork. |
|  | vi |  | Lick Creek (Bland County) from 5.5 miles above its confluence with the North Fork Holston River 10.9 miles upstream. |
|  | vi |  | Little Tumbling Creek from Tannersville upstream to where the powerline crosses the stream. |
|  | vi |  | Lynn Camp Creek from its confluence with Lick Creek 3.9 miles upstream. |
|  | vi |  | Punch and Judy Creek from its confluence with Laurel Creek 3.2 miles upstream. |
|  | v |  | Tumbling Creek from its confluence with the North Fork Holston River 7.1 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 1 |
|  | ii |  | Barkcamp Branch from its confluence with Roaring Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Beartown Branch from its confluence with Sprouts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Beaver Creek (Smyth County) from its confluence with the North Fork Holston River 2.8 miles upstream. |
|  | *** |  | Big Tumbling Creek from its confluence with the North Fork Holston River upstream including all named and unnamed tributaries. |
|  | ii |  | Brier Cove from its confluence with Tumbling Creek upstream including all named and unnamed tributaries. |
|  |  |  | Brumley Creek from its confluence with the North Fork Holston River upstream including all named and unnamed tributaries. |
|  | *** |  | Brumley Creek from its confluence with the North Fork Holston River (at Duncanville) 4 miles upstream. |
|  | iii |  | Brumley Creek from 4 miles above its confluence with the North Fork Holston River (at Duncanville) 6.9 miles upstream. |
|  | iii |  | Campbell Creek (Smyth County) from its confluence with the North Fork Holston River at Ellendale Ford 1 mile upstream. |
|  | ii |  | Coon Branch from its confluence with Barkcamp upstream including all named and unnamed tributaries. |
|  | ii |  | Cove Branch from its confluence with Roaring Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Henshaw Branch from its confluence with Lick Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Sprouts Creek from its confluence with Sprouts Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Tumbling Creek from the powerline crossing upstream including all named and unnamed tributaries. |
|  | v** |  | Red Creek from its confluence with Tumbling Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Roaring Fork (Tazewell County) from its confluence with Laurel Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Sprouts Creek from its confluence with the North Fork Holston River upstream including all named and unnamed tributaries. |
|  | ii |  | Toole Creek from its confluence with the North Fork Holston River 5.9 miles upstream. |
| 1a | IV |  | North Fork Holston River from the Olin Corporation downstream to the Virginia-Tennessee state line. |
| 1b | IV | PWS | Big Moccasin Creek and its tributaries from Weber City's raw water intake to points 5 miles upstream from Gate City's raw water intake. |
| 1c |  |  | (Deleted) |
| 1d | IV | PWS | Unnamed tributary to the North Fork Holston River from Hilton's Community No. 2 public water supply raw water intake to its headwaters. (Latitude N36°39'32" and Longitude W82°27'30"). |
| 2 | IV | PWS | South Holston Lake in Virginia and South Holston Lake and its tributaries from the Bristol Virginia Utilities Board's raw water intake at N36°38'06"/W81°57'36" to points 5 miles upstream. |
| 3 | IV |  | Tributaries of the South Holston Lake, and Sinking Creek and Nicely Branch in Virginia, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 3 |
|  | vi |  | Berry Creek from its confluence with Fifteenmile Creek (Washington County) 2 miles upstream. |
|  | vi |  | Spring Creek from its confluence with the South Holston Lake to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 3 |
|  | ii |  | Cox Mill Creek from its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
| 3a | IV |  | Wolf Creek and its tributaries from the northern corporate limits of Abingdon to their headwaters. (Deleted) |
| 4 | IV |  | Steel Creek and Beaver Creek and their tributaries in Virginia. |
|  | V |  | Stockable Trout Waters in Section 4 |
|  | vi |  | Beaver Creek (Washington County) and its tributaries from the flood control dam (near Route 11) to their headwaters. |
|  | vi |  | Sinking Creek (tributary to Paperville Creek-Washington County) from the Virginia-Tennessee state line at Bristol 3.4 miles upstream. |
| 5 | IV |  | Middle Fork Holston River and its tributaries, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 5 |
|  | vi |  | Dry Run from its confluence with the Middle Fork Holston River 1.6 miles upstream. |
|  | vi |  | Dutton Branch from its confluence with the Middle Fork Holston River 2 miles upstream. |
|  | vi |  | Laurel Springs Creek from its confluence with the Middle Fork Holston River 2 miles upstream. |
|  | vi |  | Middle Fork Holston River from 5 miles above Marion's raw water intake (river mile 45.83) to the headwaters. |
|  | vi |  | Preston Hollow from 0.5 mile above its confluence with the Middle Fork Holston River 1.5 miles upstream. |
|  | vi |  | Staley Creek from its confluence with the Middle Fork Holston River 1 mile upstream. |
|  | VI |  | Natural Trout Waters in Section 5 |
|  | iii |  | East Fork Nicks Creek from its confluence with Nicks Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Nicks Creek within the National Forest boundary (river mile 1.6) upstream including all named and unnamed tributaries. |
|  | iii |  | Staley Creek from 1 mile above its confluence with the Middle Fork Holston River upstream including all named and unnamed tributaries. |
| 5a | IV |  | Middle Fork Holston River and its tributaries from Edmondson Dam upstream to the Route 91 bridge. |
| 5b | IV |  | Hungry Mother Creek from the dam upstream including all named and unnamed tributaries. |
| 5c | IV | PWS | Middle Fork Holston River and its tributaries from Marion's raw water intake to points 5 miles upstream, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 5c |
|  | vi |  | Middle Fork Holston River from Marion's raw water intake at Mt. Carmel at river mile 45.83 to a point 5 miles upstream (river mile 50.83). |
| 5d | IV | PWS | Middle Fork Holston River and its tributaries from Washington County Service Authority's raw water intake to points 5 miles upstream. |
| 6 | IV | ESW-10 | South Fork Holston River and its tributaries in Virginia, unless otherwise designated in this chapter. |
|  | V |  | Stockable Trout Waters in Section 6 |
|  | vi |  | Grosses Creek from its confluence with the South Fork Holston River 3.4 miles upstream. |
|  | vi |  | Rush Creek (Washington County) from its confluence with the South Fork Holston River 2.2 miles upstream. |
|  | vi |  | Straight Branch from its confluence with Whitetop Laurel Creek 2.5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 6 |
|  | iii |  | Barkcamp Branch from its confluence with Rowland Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Beaverdam Creek (Washington County) from its confluence with Laurel Creek to the Virginia-Tennessee state line 2 miles upstream. |
|  | iii |  | Bell Hollow from its confluence with Dickey Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Big Branch from its confluence with Big Laurel Creek upstream including all named and unnamed tributaries. |
|  |  |  | Big Laurel Creek (Smyth County) from its confluence with Whitetop Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Big Laurel Creek (Smyth County) from its confluence with Whitetop Laurel Creek 2.6 miles upstream. |
|  | ii |  | Big Laurel Creek (Smyth County) from 2.6 miles above its confluence with Whitetop Laurel Creek (at Laurel Valley Church) upstream including all named and unnamed tributaries. |
|  | iii |  | Brush Creek from its confluence with Rush Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Buckeye Branch from its confluence with Green Cove Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Charlies Branch from its confluence with Big Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Cold Branch from its confluence with Jerrys Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Comers Creek from its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
|  | ii |  | Cressy Creek from 1.7 miles above its confluence with the South Fork Holston River at Route 16 upstream including all named and unnamed tributaries. |
|  | ii |  | Daves Branch from its confluence with Big Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Dickey Creek from 0.6 mile above its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
|  | ii |  | Dry Fork from 1.2 miles above its confluence with St. Clair Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Feathercamp Branch from its confluence with Straight Branch upstream including all named and unnamed tributaries. |
|  | ii |  | Grassy Branch from its confluence with Big Laurel Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Green Cove Creek from its confluence with Whitetop Laurel Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Grindstone Branch from its confluence with Big Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | High Trestle Branch from its confluence with Buckeye Branch upstream including all named and unnamed tributaries. |
|  | iii |  | Hopkins Branch from its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
|  | iii |  | Houndshell Branch from its confluence with Cressy Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Hurricane Creek (Smyth County) from its confluence with Comers Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Hutton Branch from its confluence with Dickey Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Jerrys Creek (Smyth County) from 1.5 miles above its confluence with Rowland Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Laurel Creek (Smyth County) from its confluence with Whitetop Laurel Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Laurel Creek from its confluence with Beaverdam Creek (Washington County) to the state line. |
|  | ii |  | London Bridge Branch from its confluence with Beaverdam Creek (Washington County) 0.6 mile upstream. |
|  | iii |  | Long Branch from its confluence with Jerrys Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Washington County) from its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
|  | iii |  | Parks Creek from its confluence with Cressy Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Pennington Branch from its confluence with Whitetop Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Quarter Branch from 1.1 miles above its confluence with Cressy Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Raccoon Branch from its confluence with Dickey Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Rowland Creek from 2.5 miles above its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
|  | ii |  | Rush Creek (Washington County) from 2.2 miles above its confluence with the South Fork Holston River upstream including all named and unnamed tributaries. |
|  | iii |  | Scott Branch from its confluence with Dickey Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Slemp Creek from 2 miles above its confluence with Cressy Creek upstream including all named and unnamed tributaries. |
|  | ii |  | South Fork Holston River from 101.8 miles above its confluence with the Holston River to the Thomas Bridge Water Corporation's raw water intake (see section 6a). |
|  | ii |  | South Fork Holston River from 5 miles above the Thomas Bridge Water Corporation's raw water intake to a point 12.9 miles upstream (see section 6a). |
|  | ii |  | Star Hill Branch from its confluence with Green Cove Creek upstream including all named and unnamed tributaries. |
|  | ii |  | St. Clair Creek from 3.3 miles above its confluence with the South Fork Holston River (at Route 600) above Horseshoe Bend upstream including all named and unnamed tributaries. |
|  | ii |  | Sturgill Branch from its confluence with Whitetop Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Valley Creek (Washington County) from its confluence with Whitetop Laurel Creek upstream including all named and unnamed tributaries. |
|  |  |  | Whitetop Laurel Creek from its confluence with Laurel Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Whitetop Laurel Creek from its confluence with Laurel Creek 8.1 miles upstream. |
|  | i |  | Whitetop Laurel Creek from 8.1 miles above its confluence with Laurel Creek 4.4 miles upstream. |
|  | iii |  | Whitetop Laurel Creek from 12.5 miles above its confluence with Laurel Creek 3.8 miles upstream. |
| 6a | IV | PWS | South Fork Holston River and its tributaries from Thomas Bridge Water Corporation's raw water intake at N36°46'25.78" latitude and W81°34'35.91" longitude to points 5 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 6a |
|  | ii |  | South Fork Holston River from Thomas Bridge Water Corporation's raw water intake to a point 5 miles upstream. |

9VAC25-260-520. Chesapeake Bay, Atlantic Ocean and small coastal basins.

| SEC. | CLASS | SP. STDS. | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | I | a | The Atlantic Ocean from Cape Henry Light (Latitude 36°55'06" North; Longitude 76°00'04" West) east to the three mile limit and south to the North Carolina state line. The Atlantic Ocean from Cape Henry Light to Thimble Shoal Channel (Latitude 36°57'30" North; Longitude 76°02'30" West) from Thimble Shoal Channel to Smith Island (Latitude 37°07'04" North; Longitude 75°54'04" West) and north to the Virginia-Maryland state line. |
| 1a | III |  | All free flowing portions of the streams, creeks and coves in Section 1 east of the east-west divide boundary on the Eastern Shore of Virginia. |
| 1b | II | a | Tidal portions of streams, creeks and coves in Section 1 east of the east-west divide boundary on the Eastern Shore of Virginia. |
| 2 | II | a,NEW-20 | Chesapeake Bay and its tidal tributaries from Old Point Comfort Tower (Latitude 37°00'00" North; Longitude 76°18'08" West) to Thimble Shoal Light (Latitude 37°00'09" North; Longitude 76°14'04" West) to and along the south side of Thimble Shoal Channel to its eastern end (Latitude 36°57'03" North; Longitude 76°02'03" West) to Smith Island (Latitude 37°07'04" North; Longitude 75°54'04" West) north to the Virginia-Maryland border following the east-west divide boundary on the Eastern Shore of Virginia, west along the Virginia-Maryland border, to the Virginia Coast, (Latitude 37°53'23" North; Longitude 76°14'25" West) and south following the Virginia Coast to Old Point Comfort Tower (previously described), unless otherwise designated in this chapter. |
| 2a | III |  | Free flowing portions of streams lying on the Eastern Shore of Virginia west of the east-west divide boundary unless otherwise designated in this chapter. |
| 2b | III |  | Drummonds Millpond including Coards Branch. |
| 2c | III |  | The Virginia Department of Agriculture experimental station pond and its tributaries. |
| 2d | III |  | The free flowing streams tributary to the western portion of the Chesapeake Bay lying between the Virginia-Maryland state line and Old Point Comfort. |
| 2e | III | PWS | Harwood's Mill Reservoir (in Poquoson River's headwaters - a source of water for the City of Newport News) and its tributaries. |
| 2f | III | PWS | Brick Kiln Creek and its tributaries from Fort Monroe's raw water intake (at the Big Bethel Reservoir) to points 5 miles upstream. |
| 2g | III | PWS | Beaverdam Swamp and its tributaries (including Beaverdam Swamp Reservoir) from the Gloucester County Water System raw water intake (at latitude 37°26'23" North; longitude 76°32'47" West) to its headwaters. |
| 3 | II | a,NEW-20 | Chesapeake Bay from Old Point Comfort Tower (Latitude 37°00'00" North; Longitude 76°18'08" West) to Thimble Shoal Light (Latitude 37°00'09" North; Longitude 76°14'04" West) along the south side of Thimble Shoal Channel to Cape Henry Light (Latitude 36°55'06" North; Longitude 76°00'04" West). |
| 3a | II | a,NEW-20,z | Little Creek from its confluence with Chesapeake Bay (Lynnhaven Roads) to end of navigable waters. |
| 3b | II | a,NEW-20 | Tidal portions of Lynnhaven watershed from its confluence with the Chesapeake Bay (Lynnhaven Roads) to and including Lynnhaven Bay, Western Branch Lynnhaven River, Eastern Branch Lynnhaven River, Long Creek, Broad Bay and Linkhorn Bay, Thalia Creek and its tributaries to the end of tidal waters. Great Neck Creek and Little Neck Creek from their confluence with Linkhorn Bay and their tidal tributaries. Rainey Gut and Crystal Lake from their confluence with Linkhorn Bay. |
| 3c | III |  | Free flowing portions of streams in Section 3b, unless otherwise designated in this chapter. |
| 3d | III | PWS | The impoundments on the Little Creek watershed including Little Creek Reservoir, Lake Smith, Lake Whitehurst, Lake Lawson, and Lake Wright. |
| 3e | II | NEW-20 | London Bridge Creek from its confluence with the Eastern Branch of Lynnhaven River to the end of tidal waters. Wolfsnare Creek from its confluence with the Eastern Branch Lynnhaven River to the fall line. |
| 3f | III |  | Free flowing portions of London Bridge Creek and Wolfsnare Creek to the Dam Neck Road Bridge at N36°47'20.00"/W76°04'12.10" (West Neck Creek) and their free flowing tributaries. |
| 3g | III |  | Lake Joyce and Lake Bradford. |

9VAC25-260-530. York River Basin.

| SEC. | CLASS | SP. STDS | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | II | a,NEW-17,aa | York River and the tidal portions of its tributaries from Goodwin Neck and Sandy Point upstream to Thorofare Creek and Little Salem Creek near West Point; Mattaponi River and the tidal portions of its tributaries from Little Salem Creek to the end of tidal waters; Pamunkey River and the tidal portions of its tributaries from Thorofare Creek near West Point to the end of tidal waters. |
| 2 | III | NEW-17 | Free flowing tributaries of the York River, free flowing tributaries of the Mattaponi River to Clifton and the Pamunkey River to Romancoke, unless otherwise designated in this chapter. |
| 2a | III | PWS,NEW-17 | Waller Mill Reservoir and its drainage area above Waller Mill dam which serves as a raw water supply for the City of Williamsburg. |
| 2b | III | PWS,NEW-17 | Jones Pond (a tributary of Queen Creek near Williamsburg which serves as the raw water supply for Cheatham Annex Naval Station) and its tributaries to points 5 miles upstream. |
| 3 | III |  | Free flowing portions of the Mattaponi and Pamunkey Rivers, free flowing tributaries of the Mattaponi above Clifton, and free flowing tributaries of the Pamunkey above Romancoke, unless otherwise designated in this chapter. |
| 3a | III | PWS | South Anna River from Ashland's raw water intake to a point 5 miles upstream. |
|  | VII |  | Swamp Waters in Section 3 |
|  |  |  | Herring Creek from its headwaters at river mile 17.2 downstream to the confluence with the Mattaponi River and three named tributaries: Dorrell Creek, Fork Bridge Creek and Millpond Creek from their headwaters to their confluence with Herring Creek. |
|  |  |  | Matadequin Creek and its tributaries, from below an unnamed tributary to Matadequin Creek at river mile 9.93 (between Rt. 350 and Sandy Valley Creek) downstream to its confluence with the Pamunkey River. |
|  |  |  | Mattaponi River from its confluence with Maracossic Creek at river mile 57.17 to the head of tidal waters. |
|  |  |  | Mechumps Creek from the confluence with Slayden Creek to the Pamunkey River, Slayden Creek and its tributaries to their headwaters, and Campbell Creek from the unnamed tributary at river mile 3.86 downstream to the confluence with Mechumps Creek. |
|  |  |  | Reedy Creek from its headwaters to its confluence with Reedy Millpond at river mile 1.06. |
| 3b | III | PWS | Northeast Creek from the Louisa County Water Authority's impoundment dam (approximately 1/8 mile upstream of Route 33) to its headwaters. |
| 3c | III |  | South Anna River from Route 15 upstream to a point 1.5 miles below the effluent from the Gordonsville Sewage Treatment Plant. |
| 3d | III | PWS | Ni River and its tributaries from Spotsylvania's raw water intake near Route 627 to their headwaters. |
| 3e | III | PWS | The North Anna River and its tributaries from Hanover County's raw water intake near Doswell (approximately 1/2 mile upstream from State Route 30) to points 5 miles upstream. |
| 3f | III | PWS | Stevens Mill Run from the Lake Caroline water impoundment, and other tributaries into the impoundment upstream to their headwaters. |

9VAC25-260-540. New River Basin.

| SEC. | CLASS | SP. STDS | SECTION DESCRIPTION |
| --- | --- | --- | --- |
| 1 | IV | u | New River and its tributaries, unless otherwise designated in this chapter, from the Virginia-West Virginia state line to the Montgomery-Giles County line. |
|  | V |  | Stockable Trout Waters in Section 1 |
|  | *** |  | Laurel Creek (a tributary to Wolf Creek in Bland County) from Rocky Gap to the Route 613 bridge one mile west of the junction of Routes 613 and 21. |
|  | viii |  | Laurel Creek (Bland County) from its confluence with Hunting Camp Creek 3.2 miles upstream. |
|  | viii |  | Little Wolf Creek (Bland County) from its confluence with Laurel Creek 2.6 miles upstream. |
|  | v |  | Sinking Creek from 5.1 miles above its confluence with the New River 10.8 miles upstream (near the Route 778 crossing). |
|  | vi |  | Sinking Creek from the Route 778 crossing to the Route 628 crossing. |
|  | vi |  | Spur Branch from its confluence with Little Walker Creek to its headwaters. |
|  | v |  | Walker Creek from the Route 52 bridge to its headwaters. |
|  | *** |  | Wolf Creek (Bland County) from Grapefield to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 1 |
|  | ii |  | Bear Spring Branch from its confluence with the New River upstream including all named and unnamed tributaries. |
|  | iii |  | Clear Fork (Bland County) from river mile 8.5 upstream including all named and unnamed tributaries. |
|  | ii |  | Cove Creek (Tazewell County) from its confluence with Clear Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Cox Branch from its confluence with Clear Fork to Tazewell's raw water intake (river mile 1.6). |
|  | iii |  | Ding Branch from its confluence with Nobusiness Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Dry Fork (Bland County) from 4.8 miles above its confluence with Laurel Creek upstream including all named and unnamed tributaries. |
|  | ii |  | East Fork Cove Creek (Tazewell County) from its confluence with Cove Creek upstream including all named and unnamed tributaries. |
|  |  |  | Hunting Camp Creek from its confluence with Wolf Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Hunting Camp Creek from its confluence with Wolf Creek 8.9 miles upstream. |
|  | iii |  | Hunting Camp Creek from 8.9 miles above its confluence with Wolf Creek 3 miles upstream. |
|  | ii |  | Laurel Creek (tributary to Wolf Creek in Bland County) from Camp Laurel in the vicinity of Laurel Fork Church, upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Creek from a point 0.7 mile from its confluence with Sinking Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Creek (Tazewell County) from 1.5 miles above its confluence with Wolf Creek above the Tazewell County Sportsmen's Club Lake upstream including all named and unnamed tributaries. |
|  | ii |  | Mercy Branch from its confluence with Mill Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek from the Narrows Town line upstream including all named and unnamed tributaries. |
|  | ii |  | Mudley Branch from its confluence with the West Fork Cove Creek upstream including all named and unnamed tributaries. |
|  |  |  | Nobusiness Creek from its confluence with Kimberling Creek upstream including all named and unnamed tributaries. |
|  | *** |  | (Nobusiness Creek from its confluence with Kimberling Creek 4.7 miles upstream.) |
|  | iii |  | (Nobusiness Creek from 4.7 miles above its confluence with Kimberling Creek upstream including all named and unnamed tributaries.) |
|  | ii |  | Oneida Branch from its confluence with the West Fork Cove Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Panther Den Branch from its confluence with Nobusiness Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Piney Creek from its confluence with the New River upstream including all named and unnamed tributaries. |
|  | ii |  | Wabash Creek from its confluence with Walker Creek upstream including all named and unnamed tributaries. |
|  | ii |  | West Fork Cove Creek from its confluence with Cove Creek upstream including all named and unnamed tributaries. |
| 1a |  |  | (Deleted) |
| 1b | IV | u | Wolf Creek and its tributaries in Virginia from its confluence with Mill Creek upstream to the Giles-Bland County line. |
| 1c |  |  | (Deleted) |
| 1d | IV | u, ESW-1 | Stony Creek and its tributaries, unless otherwise designated in this chapter, from its confluence with the New River upstream to its headwaters, and Little Stony Creek and its tributaries from its confluence with the New River to its headwaters. |
|  | V |  | Stockable Trout Waters in Section 1d |
|  | vi |  | Stony Creek (Giles County) from its confluence with the New River to its confluence with Laurel Branch. |
|  | VI |  | Natural Trout Waters in Section 1d |
|  | iii |  | Dismal Branch from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Dixon Branch from its confluence with North Fork Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Hemlock Branch from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Branch from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Creek from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Stony Creek from its confluence with the New River upstream including all named and unnamed tributaries. |
|  | ii |  | Maple Flats Branch from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Meredith Branch from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Nettle Hollow from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | North Fork Stony Creek from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Pine Swamp Branch from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Pond Drain from its confluence with Little Stony Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Stony Creek (Giles County) from the confluence of Laurel Branch at Olean upstream including all named and unnamed tributaries. |
|  | ii |  | White Rock Branch from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Wildcat Hollow from its confluence with Stony Creek upstream including all named and unnamed tributaries. |
| 1e | IV | PWS, u | Kimberling Creek and its tributaries from Bland Correctional Farm's raw water intake to points 5 miles upstream. |
|  | VI | PWS | Natural Trout Waters in Section 1e |
|  | iii |  | Dismal Creek from its confluence with Kimberling Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Pearis Thompson Branch from its confluence with Dismal Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Standrock Branch from its confluence with Dismal Creek upstream including all named and unnamed tributaries. |
| 1f |  |  | (Deleted) |
| 1g | IV | U | Bluestone River and its tributaries, unless otherwise designated in this chapter, from the Virginia-West Virginia state line upstream to their headwaters. |
| 1h | IV | PWS, u | Bluestone River and its tributaries from Bluefield's raw water intake upstream to its headwaters. |
|  | VI | PWS | Natural Trout Waters in Section 1h |
|  | iii |  | Bluestone River from a point adjacent to the Route 650/460 650/720 intersection to a point 5.7 miles upstream. |
| 1i | IV | PWS | Big Spring Branch from the Town of Pocahontas' intake, from the Virginia-West Virginia state line, including the entire watershed in Abbs Valley (the Town of Pocahontas' intake is located in West Virginia (at latitude 37°18'23" and longitude 81°18'54"). |
| 1j |  |  | (Deleted) |
| 1k | IV | PWS | Walker Creek and its tributaries from the Wythe-Bland Water and Sewer Authority's raw water intake (for Bland) to points 5 miles upstream. |
| 1l | VI ii | PWS | Cox Branch and its tributaries from Tazewell's raw water intake at the Tazewell Reservoir (river mile 1.6) to headwaters. |
| 2 | IV | v, NEW-5 | New River and its tributaries, unless otherwise designated in this chapter, from the Montgomery-Giles County line upstream to the Virginia-North Carolina state line (to include Peach Bottom Creek from its confluence with the New River to the mouth of Little Peach Bottom Creek). |
|  | V |  | Stockable Trout Waters in Section 2 |
|  | v |  | Beaverdam Creek from its confluence with the Little River to its headwaters. |
|  | v |  | Big Indian Creek from its confluence with the Little River to a point 7.4 miles upstream. |
|  | vi |  | Boyd Spring Run from its confluence with the New River to its headwaters. |
|  | *** |  | Brush Creek from the first bridge on Route 617 south of the junction of Routes 617 and 601 to the Floyd County line. |
|  | vi |  | Camp Creek from its confluence with the Little River to its headwaters. |
|  | vi |  | Cove Creek (Wythe County) from Route 77, 8.1 miles above its confluence with Reed Creek, 10.5 miles upstream. |
|  |  |  | Dodd Creek from its confluence with the West Fork Little River to its headwaters. |
|  | *** |  | Dodd Creek from its confluence with the West Fork Little River 4 miles upstream. |
|  | vi |  | Dodd Creek from 4 miles above its confluence with the West Fork Little River to its headwaters. |
|  | vi |  | East Fork Stony Fork from its confluence with Stony Fork 4 miles upstream. |
|  | *** |  | Elk Creek from its confluence with Knob Fork Creek to the junction of State Routes 611 and 662. |
|  | vi |  | Gullion Fork from its confluence with Reed Creek 3.3 miles upstream. |
|  | vi |  | Little Brush Creek from its confluence with Brush Creek 1.9 miles upstream. |
|  | vi |  | Lost Bent Creek from its confluence with the Little River to its headwaters. |
|  | vi |  | Middle Creek from its confluence with Little River to its headwaters. |
|  | vi |  | Middle Fox Creek from its confluence with Fox Creek 4.1 miles upstream. |
|  | vi |  | Mill Creek (Wythe County) from its confluence with the New River 3.7 miles upstream. |
|  | v |  | North Fork Greasy Creek from its confluence with Greasy Creek to its headwaters. |
|  | vi |  | Oldfield Creek from its confluence with the Little River to its headwaters. |
|  | vi |  | Peach Bottom Creek from the mouth of Little Peach Bottom Creek to its headwaters. |
|  | vi |  | Pine Branch from its confluence with the Little River to its headwaters. |
|  | vi |  | Pine Creek (Carroll County) from its confluence with Big Reed Island Creek to its headwaters. |
|  | vi |  | Piney Fork from its confluence with Greasy Creek to its headwaters. |
|  | vi |  | Poor Branch from its confluence with the New River to its headwaters. |
|  | vi |  | Poverty Creek (Montgomery County) from its confluence with Toms Creek to its headwaters. |
|  | vi |  | Reed Creek (Wythe County) within the Jefferson National Forest from 57 miles above its confluence with the New River 6.8 miles upstream, unless otherwise designated in this chapter. |
|  | vi |  | Shady Branch from its confluence with Greasy Creek to its headwaters. |
|  | vi |  | Shorts Creek from 6.2 miles above its confluence with the New River in the vicinity of Route 747, 3 miles upstream. |
|  | vi |  | South Fork Reed Creek from river mile 6.8 (at Route 666 below Groseclose) 11.9 miles upstream. |
|  | vi |  | St. Lukes Fork from its confluence with Cove Creek 1.4 miles upstream. |
|  | vi |  | Stony Fork (Wythe County) from 1.9 miles above its confluence with Reed Creek at the intersection of Routes 600, 682, and 21/52 at Favonia 5.7 miles upstream. |
|  | *** |  | Toms Creek from its confluence with the New River to its headwaters. |
|  | vi |  | West Fork Big Indian Creek from its confluence with Big Indian Creek to its headwaters. |
|  | *** |  | West Fork Peak Creek from the Forest Service Boundary to its headwaters. |
|  | vi |  | Wolf Branch from its confluence with Poor Branch 1.2 miles upstream. |
|  | VI |  | Natural Trout Waters in Section 2 |
|  | ii |  | Baker Branch from its confluence with Cabin Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Baldwin Branch from 0.2 mile above its confluence with Big Horse Creek at the Grayson County - Ashe County state line upstream including all named and unnamed tributaries. |
|  | ii |  | Bear Creek (Carroll County) from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iii |  | Beaver Creek from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Beaverdam Creek (Carroll County) from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Big Branch from its confluence with Greasy Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Big Horse Creek from 12.8 miles above its confluence with the North Fork New River (above the state line below Whitetop) upstream including all named and unnamed tributaries. |
|  | ii |  | Big Indian Creek from a point 7.4 miles upstream of its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | ii |  | Big Laurel Creek from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Big Laurel Creek from its confluence with Pine Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Big Reed Island Creek from Route 221 upstream including all named and unnamed tributaries. |
|  | iii |  | Big Run from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  |  |  | Big Wilson Creek from its confluence with the New River upstream including all named and unnamed tributaries. |
|  | *** |  | Big Wilson Creek from its confluence with the New River 8.8 miles upstream. |
|  | ii |  | Big Wilson Creek from 8.8 miles above its confluence with the New River 6.6 miles upstream. |
|  | iii |  | Blue Spring Creek from its confluence with Cripple Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Boothe Creek from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | ii |  | Bournes Branch from its confluence with Brush Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Brannon Branch from its confluence with Burks Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Brier Run from its confluence with Big Wilson Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Buffalo Branch from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iii |  | Burgess Creek from its confluence with Big Horse Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Burks Fork from the Floyd-Carroll County line upstream including all named and unnamed tributaries. |
|  | ii |  | Byars Creek from its confluence with Whitetop Creek upstream including all named and unnamed tributaries. |
|  |  |  | Cabin Creek from its confluence with Helton Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Cabin Creek from its confluence with Helton Creek 3.2 miles upstream. |
|  | i |  | Cabin Creek from 3.2 miles above its confluence with Helton Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Cherry Creek from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Chisholm Creek from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iv |  | Crigger Creek from its confluence with Cripple Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Cripple Creek from the junction of the stream and U. S. Route 21 in Wythe County upstream including all named and unnamed tributaries. |
|  | iii |  | Crooked Creek (Carroll County) from Route 707 to Route 620. |
|  | ii |  | Crooked Creek from Route 620 upstream including all named and unnamed tributaries. |
|  | iii |  | Daniel Branch from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Dobbins Creek from its confluence with the West Fork Little River upstream including all named and unnamed tributaries. |
|  | iv |  | Dry Creek from 1.9 miles above its confluence with Blue Spring Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Dry Run (Wythe County) from its confluence with Cripple Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Earls Branch from its confluence with Beaver Creek upstream including all named and unnamed tributaries. |
|  | iii |  | East Fork Crooked Creek from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | East Fork Dry Run from its confluence with Dry Run upstream including all named and unnamed tributaries. |
|  | ii |  | East Prong Furnace Creek from its confluence with Furnace Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Elkhorn Creek from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Fox Creek from junction of the Creek and Route 734 upstream including all named and unnamed tributaries. |
|  | iii |  | Francis Mill Creek from its confluence with Cripple Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Furnace Creek from its confluence with the West Fork Little River upstream including all named and unnamed tributaries. |
|  | *** |  | Glade Creek (Carroll County) from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Grassy Creek (Carroll County) from its confluence with Big Reed Island Creek at Route 641, upstream including all named and unnamed tributaries. |
|  | vi** |  | Grassy Creek (Carroll County) from its confluence with Little Reed Island Creek at Route 769, upstream including all named and unnamed tributaries. |
|  | iii |  | Greasy Creek from the Floyd-Carroll County line upstream including all named and unnamed tributaries. |
|  | iii |  | Greens Creek from its confluence with Stone Mountain Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Guffey Creek from its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Helton Creek from the Virginia-North Carolina state line upstream including all named and unnamed tributaries. |
|  | ii |  | Howell Creek from its confluence with the West Fork Little River upstream including all named and unnamed tributaries. |
|  | ii |  | Jerry Creek (Grayson County) from its confluence with Middle Fox Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Jones Creek (Wythe County) from its confluence with Kinser Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Killinger Creek from its confluence with Cripple Creek and White Rock Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Kinser Creek from 0.4 mile above its confluence with Crigger Creek above the National Forest Boundary at Groseclose Chapel upstream including all named and unnamed tributaries. |
|  | iii |  | Laurel Branch (Carroll County) from its confluence with Staunton Branch upstream including all named and unnamed tributaries. |
|  | iii |  | Laurel Creek (Grayson County) from its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Laurel Fork from the Floyd-Carroll County line upstream including all named and unnamed tributaries. |
|  | iii |  | Laurel Fork (Carroll County) from its confluence with Big Reed Island Creek to the Floyd-Carroll County line. |
|  | i |  | Lewis Fork from its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Little Cranberry Creek from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Helton Creek from the Grayson County-Ashe County state line upstream including all named and unnamed tributaries. |
|  | *** |  | Little Reed Island Creek from the junction of the stream and State Routes 782 and 772 upstream including all named and unnamed tributaries, unless otherwise designated in this chapter. |
|  | *** |  | Little River from its junction with Route 706 upstream including all named and unnamed tributaries. |
|  | ii |  | Little Snake Creek from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Little Wilson Creek from its confluence with Wilson Creek (at Route 16 at Volney) upstream including all named and unnamed tributaries. |
|  | ii |  | Long Mountain Creek from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iii |  | Meadow Creek (Floyd County) from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Meadow View Run from its confluence with Burks Fork upstream including all named and unnamed tributaries. |
|  | iii |  | Middle Creek from its confluence with Crigger Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Middle Fork Helton Creek from its confluence with Helton Creek 2.2 miles upstream. |
|  | i |  | Middle Fork Helton Creek from 2.2 miles above its confluence with Helton Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Middle Fox Creek from 4.1 miles above its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Mill Creek (Carroll County) from its confluence with Little Reed Island Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Mill Creek (Grayson County) from its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Mira Fork from its confluence with Greasy Creek upstream including all named and unnamed tributaries. |
|  | ii |  | North Branch Elk Creek from its confluence with Elk Creek upstream including all named and unnamed tributaries. |
|  | iii |  | North Prong Buckhorn Creek from its confluence with Buckhorn Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Oldfield Creek from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | ii |  | Opossum Creek from its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Payne Creek from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Peak Creek from 19 miles above its confluence with the New River above the Gatewood Reservoir upstream including all named and unnamed tributaries. |
|  | iii |  | Pine Creek (Carroll County) from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Pine Creek (Floyd County) from its confluence with Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Pipestem Branch from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | i |  | Quebec Branch from its confluence with Big Wilson Creek upstream including all named and unnamed tributaries. |
|  | iv |  | Raccoon Branch from its confluence with White Rock Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Reed Creek (Wythe County) from 5 miles above Wytheville's raw water intake upstream including all named and unnamed tributaries. |
|  | ii |  | Ripshin Creek from its confluence with Laurel Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Road Creek (Carroll County) from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Roads Creek (Carroll County) from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iv |  | Rock Creek from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Silverleaf Branch from its confluence with the Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Snake Creek from Route 670 (3.2 miles above its confluence with Big Reed Island Creek) upstream including all named and unnamed tributaries. |
|  | ii |  | Solomon Branch from its confluence with Fox Creek upstream including all named and unnamed tributaries. |
|  | vi** |  | South Branch Elk Creek from its confluence with Elk Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Spurlock Creek from its confluence with the West Fork Little River upstream including all named and unnamed tributaries. |
|  | iii |  | Staunton Branch from its confluence with Crooked Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Stone Mountain Creek from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Straight Branch (Carroll County) from its confluence with Greens Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Sulphur Spring Branch from its confluence with Big Reed Island Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Tory Creek from its confluence with Laurel Fork upstream including all named and unnamed tributaries. |
|  | iii |  | Tract Fork from the confluence of Fortnerfield Branch upstream including all named and unnamed tributaries. |
|  | ii |  | Trout Branch from its confluence with Little Reed Island creek upstream including all named and unnamed tributaries. |
|  | iii |  | Turkey Fork from 2.6 miles above its confluence with Elk Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Venrick Run from its confluence with Reed Creek upstream including all named and unnamed tributaries. |
|  | iii |  | West Fork Comers Rock Branch from its confluence with Comers Rock Branch upstream including all named and unnamed tributaries. |
|  | iii |  | West Fork Dodd Creek from its confluence with Dodd Creek upstream including all named and unnamed tributaries. |
|  | iii |  | West Fork Dry Run from its confluence with Dry Run 2 miles upstream. |
|  | iii |  | West Fork Little Reed Island Creek (Carroll County) from its confluence with Little Reed Island Creek upstream including all named and unnamed tributaries. |
|  | *** |  | West Fork Little River from its confluence with Little River upstream including all named and unnamed tributaries. |
|  | iii |  | West Prong Furnace Creek from its confluence with Furnace Creek upstream including all named and unnamed tributaries. |
|  |  |  | White Rock Creek from its confluence with Cripple Creek upstream including all named and unnamed tributaries. |
|  | *** |  | White Rock Creek from its confluence with Cripple Creek 1.9 miles upstream. |
|  | iv |  | White Rock Creek from 1.9 miles above its confluence with Cripple Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Whitetop Creek from its confluence with Big Horse Creek upstream including all named and unnamed tributaries. |
|  | i |  | Wilburn Branch from its confluence with Big Wilson Creek upstream including all named and unnamed tributaries. |
| 2a | IV | PWS, v | New River from Radford Army Ammunition Plant's raw water intake (that intake which is the further downstream), upstream to a point 5 miles above the Blacksburg- Christiansburg, V.P.I. Water Authority's raw water intake and including tributaries in this area to points 5 miles above the respective raw water intakes. |
| 2b | IV | PWS, v | New River from Radford's raw water intake upstream to Claytor Dam and including tributaries to points 5 miles above the intake. |
| 2c | IV | v, NEW-4 | New River and its tributaries, except Peak Creek above Interstate Route 81, from Claytor Dam to Big Reed Island Creek (Claytor Lake). |
|  | V |  | Stockable Trout Waters in Section 2c |
|  | vi |  | Chimney Branch from its confluence with Big Macks Creek to its headwaters. |
|  | vi |  | White Oak Camp Branch from its confluence with Chimney Branch to its headwaters. |
|  | VI |  | Natural Trout Waters in Section 2c |
|  | ii |  | Bark Camp Branch from its confluence with Big Macks Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Big Macks Creek from Powhatan Camp upstream including all named and unnamed tributaries. |
|  | iii |  | Little Macks Creek from its confluence with Big Macks Creek upstream including all named and unnamed tributaries. |
|  | ii |  | Puncheoncamp Branch from its confluence with Big Macks Creek upstream including all named and unnamed tributaries. |
| 2d | IV | PWS, v, NEW - 5 | Peak Creek and its tributaries from Pulaski's raw water intake upstream, including Hogan Branch to its headwaters and Gatewood Reservoir. |
|  | V |  | Stockable Trout Waters in Section 2d |
|  | *** |  | (West Fork) Peak Creek from the Forest Service Boundary to its headwaters. |
| 2e |  |  | (Deleted) |
| 2f | IV | PWS, v | Little Reed Island Creek and its tributaries from Hillsville's upstream raw water intake near Cranberry Creek to points 5 miles above Hillsville's upstream raw water intake, including the entire watershed of the East Fork Little Reed Island Creek. |
|  | VI | PWS | Natural Trout Waters in Section 2f |
|  | iii |  | East Fork Little Reed Island Creek from its confluence with West Fork Little Reed Island Creek upstream including all named and unnamed tributaries. |
|  | *** |  | Little Reed Island Creek from Hillsville's upstream raw water intake to a point 5 miles upstream. |
|  | Iii |  | Mine Branch from its confluence with the East Fork Little Reed Island Creek 2 miles upstream. |
| 2g | IV | PWS, v | Reed Creek and its tributaries from Wytheville's raw water intake to 5 miles upstream. |
|  | VI | PWS, v | Natural Trout Waters in Section 2g |
|  | *** |  | Reed Creek from the western town limits of Wytheville to 5 miles upstream. |
| 2h | IV | PWS, v | Chestnut Creek and its tributaries from Galax's raw water intake upstream to their headwaters or to the Virginia-North Carolina state line. |
|  | VI | PWS | Natural Trout Waters in Section 2h |
|  | *** |  | Coal Creek from its confluence with Chestnut Creek upstream including all named and unnamed tributaries. |
|  | ii |  | East Fork Chestnut Creek (Grayson County) from its confluence with Chestnut Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Hanks Branch from its confluence with the East Fork Chestnut Creek upstream including all named and unnamed tributaries. |
|  | iii |  | Linard Creek from its confluence with Hanks Branch upstream including all named and unnamed tributaries. |
| 2i | IV |  | Fries Reservoir section of the New River. |
| 2j | IV | PWS | Eagle Bottom Creek from Fries' raw water intake upstream to its headwaters. |
| 2k | IV |  | Stuart Reservoir section of the New River. |
| 2l | IV | PWS | New River and its tributaries inclusive of the Wythe County Water Department's Austinville intake at latitude N36°51'8.47" and longitude W80°55'29.31", and the Wythe County Water Department's Ivanhoe intake on Powder Mill Branch at latitude N36°49'15.96" and longitude W80°58'11.28" to points 5 miles above the intakes. |
|  | V | PWS | Stockable Trout Waters in Section 2l |
|  | vi |  | Powder Mill Branch (from 0.6 mile above its confluence with the New River) 2.1 miles upstream. |
| 2m | IV | PWS, NEW-4, 5 | New River (Claytor Lake) from the Klopman Mills raw water intake to the Pulaski County Public Service Authority's raw water intake and tributaries to points 5 miles upstream of each intake. |
| 2n |  |  | (Deleted) |

DOCUMENTS INCORPORATED BY REFERENCE

Chesapeake Bay Program Analytical Segmentation Scheme—Revisions, Decisions and Rationales 1983-2003, EPA CBP/TRS 268/04, October 2004, US EPA Region III Chesapeake Bay Office.

Chesapeake Bay Program Analytical Segmentation Scheme—Revisions, Decisions and Rationales 1983-2003, EPA 903-R-04-008, October 2004, US EPA Region III Chesapeake Bay Office.

Chesapeake Bay Program Analytical Segmentation Scheme—Revisions, Decisions and Rationales 1983-2003, EPA 903-R-05-004, December 2005, US EPA Region III Chesapeake Bay Office.

Ambient Water Quality Criteria for Dissolved Oxygen, Water Clarity and Chlorophyll a for the Chesapeake Bay and Its Tidal Tributaries, EPA 903-R-03-002, April 2003 and 2004 Addendum, October 2004, US EPA Region III Chesapeake Bay Office.

Ambient Water Quality Criteria for Dissolved Oxygen, Water Clarity and Chlorophyll a for the Chesapeake Bay and Its Tidal Tributaries, EPA 903-R-07-003, 2007 Addendum, July 2007, US EPA Region III Chesapeake Bay Office.

Technical Support Document for Identification of Chesapeake Bay Designated Uses and Attainability, EPA 903-R-03-004, October 2003 and 2004 Addendum, October 2004, US EPA Region III Chesapeake Bay Office.

VA.R. Doc. No. R06-344; Filed March 12, 2008, 10:45 a.m.