TITLE 20. PUBLIC UTILITIES AND TELECOMMUNICATIONS

STATE CORPORATION COMMISSION

Final Regulation

REGISTRAR'S NOTICE: The State Corporation Commission is exempt from the Administrative Process Act in accordance with §2.2-4002 A 2 of the Code of Virginia, which exempts courts, any agency of the Supreme Court, and any agency that by the Constitution is expressly granted any of the powers of a court of record.

Title of Regulation: 20VAC5-315. Regulations Governing Net Energy Metering (amending 20VAC5-315-10, 20VAC5-315-20, 20VAC5-315-40, 20VAC5-315-50).

Statutory Authority: §§12.1-13 and 56-594 of the Code of Virginia.

Effective Date: August 25, 2008.

Agency Contact: Kelly Gravely, Utilities Analyst, State Corporation Commission, P.O. Box 1197, Richmond, VA 23218, telephone (804) 371-9765 or email kelli.gravely@scc.virginia.gov.

Summary:

Pursuant to Chapters 877, 888, and 933 of the 2007 Acts of Assembly, §56-594 of the Code of Virginia was amended to (i) increase the allowable total aggregate generation capacity of net metering customers in each utility's Virginia service territory from 0.1% to 1.0% of the utility's adjusted Virginia peak-load forecast in the previous year; and (ii) require each utility, upon written request of a net metering customer (i.e., eligible customer-generator), to enter into a contract to purchase the generation that exceeds the customer's own usage for the 12-month net metering period at a rate approved by the commission, unless the parties agree to a higher rate. The amendments to the rules reflect the statutory increase of allowable total aggregate generation capacity of net metering customers and establish a framework for eligible customer-generators to contract with their electric distribution company for sale of generation exceeding their usage, and make a technical correction to 20VAC5-315-50. Changes from the proposed regulation include modification of the payment rate for investor-owned electric distribution companies to be equal to each individual electric distribution company's PJM zonal Locational Marginal Price (LMP), rather than the systemwide PJM LMP. Investor-owned electric distribution companies not providing Virginia retail service within a PJM load zone will use the PJM systemwide LMP, as in the proposed regulation. Cooperatives will pay net metering customers a rate equal to the simple average of such cooperative’s hourly avoidable cost of energy, including fuel, based on the energy and energy-related charges of its primary wholesale power supplier for the net metering period. The final regulation also amends the proposed regulation to allow the electric distribution company to offer the net metering customer the choice of an account credit in lieu of a direct payment, and to allow the electric distribution company to provide a link to the online version of its tariff in lieu of a hard copy upon request of the net metering customer.

AT RICHMOND, AUGUST 7, 2008

COMMONWEALTH OF VIRGINIA, ex rel.

STATE CORPORATION COMMISSION

CASE NO. PUE-2008-00008

Ex Parte: In the matter of amending regulations
governing net energy metering

ORDER ADOPTING FINAL REGULATIONS

The Regulations Governing Net Energy Metering, 20 VAC 5-315-10 et seq. ("Net Energy Metering Rules"), adopted by the State Corporation Commission ("Commission") pursuant to § 56-594 of the Virginia Electric Utility Restructuring Act ("Restructuring Act"), Chapter 23 (§ 56-576 et seq.) of Title 56 of the Code of Virginia ("Code"), establish the requirements for participation by an eligible customer-generator in net energy metering in the Commonwealth. The Net Energy Metering Rules include conditions for interconnection and metering, billing, and contract requirements between net metering customers, electric distribution companies, and energy service providers.

On May 1, 2008, the Commission entered an Order Establishing Proceeding to amend the Net Metering Rules ("Order") to reflect statutory changes enacted by Chapters 877, 888, and 933 of the 2007 Acts of Assembly, which amended § 56-594 of the Code to: (1) increase the allowable total aggregate generation capacity of net metering customers in each utility's Virginia service territory from 0.1% to 1% of the utility's adjusted Virginia peak-load forecast in the previous year; and (2) require each utility, upon written request of a net metering customer (i.e., eligible customer-generator), to enter into a contract to purchase the generation that exceeds the customer's own usage for the 12-month net metering period at a rate approved by the Commission, unless the parties agree to a higher rate.

The Commission appended to its Order proposed amendments to the current Net Energy Metering Rules ("Proposed Rules") prepared by the Commission Staff to reflect the increase of allowable total aggregate generation capacity of net metering customers and to establish the framework for eligible customer-generators to contract with their electric distribution company for the sale of generation exceeding their usage.  In addition, the Proposed Rules included a needed technical correction to 20 VAC 5-315-50.

Notice of the proceeding was published in the Virginia Register of Regulations on May 26, 2008, and in newspapers of general circulation throughout the Commonwealth.1 Interested persons were directed to file any comments and requests for hearing on the Proposed Rules on or before June 26, 2008.

Appalachian Power Company ("APCo"); Virginia Electric and Power Company ("Virginia Power"); the Interstate Renewable Energy Council ("IREC"); and the Potomac Edison Company d/b/a Allegheny Power ("Allegheny") filed comments on or before the June 26, 2008 deadline. The Virginia Energy Purchasing Governmental Association ("VEPGA") filed a Notice of Participation as a Respondent prior to the deadline, but did not comment on the Proposed Rules. In addition, the MD-DC-VA Solar Energy Industries Association and Old Mill Power Company (collectively, "MDV-SEIA") and Virginia, Maryland & Delaware Association of Electric Cooperatives ("Cooperatives")2 filed comments after the deadline and requested leave from the Commission to file such comments out of time. No requests for hearing on the Proposed Rules were filed.

The Commission will accept the late-filed comments.

NOW THE COMMISSION, upon consideration of the record and applicable statutes, is of the opinion and finds that the regulations attached hereto as Appendix A should be adopted as final rules. To the extent parties have requested changes to the Proposed Rules that go beyond the scope of such rules, we will not expand the scope of this proceeding to consider issues beyond those required to implement the amendments to § 56-594 of the Restructuring Act and the needed technical correction.

The Proposed Rules required electric distribution companies that are also the energy service provider to purchase excess generation from net metering customers at a rate equal to the system-wide PJM day-ahead annual, simple average Locational Marginal Price ("LMP"). In filed comments, most interested parties proposed alternative payment rate methodologies. APCo requested that the Commission use each utility's individual PJM day-ahead annual, simple average LMP rather than the PJM system-wide LMP. Allegheny proposed a payment rate equal to the all-hours rate provided in each electric distribution company's co-generation tariff, less any distribution and transmission charges provided in the retail rate schedule under which the customer receives electric service. The Cooperatives proposed a payment rate equal to the avoided cost of energy, including fuel, under its respective wholesale power purchase agreement with the utility. IREC requested that the Commission establish a rate equal to the full retail rate (including transmission and distribution) applicable to the net metering customer.  Finally, MDV-SEIA proposed three alternative payment rate methodologies, including: (1) the value of distributed photovoltaic and distributed wind systems to that specific utility and its non-net metering ratepayers at current electricity prices; (2) the full retail rate (including transmission and distribution) applicable to the net metering customer; or (3) each electric distribution company's zonal PJM LMP.

With respect to investor-owned electric distribution companies, the Commission agrees with APCo and MDV-SEIA that a payment rate equal to each individual electric distribution company's PJM zonal LMP is preferable to the system-wide PJM LMP and more accurately reflects the market conditions in each zone and the avoidable energy cost of the investor-owned utilities.  Therefore, the Proposed Rules will be amended to require the investor-owned electric distribution company that is also the energy service provider to purchase excess generation from net metering customers at a rate equal to the PJM zonal day-ahead annual, simple average LMP for the load zone within which the electric distribution company's Virginia retail service territory resides. For those investor-owned electric distribution companies not providing Virginia retail service within a PJM load zone, the Commission will continue to prescribe the PJM system-wide LMP, as described in the Proposed Rules.

The Commission also recognizes that Cooperatives do not buy power directly from, or sell power to, the PJM energy markets and agrees that a more appropriate Cooperative rate for purchasing excess generation from net metering customers is the avoidable energy cost based on each Cooperative's wholesale power purchase agreement. Accordingly, the Proposed Rules will be amended to require each Cooperative that is also the energy service provider to purchase excess generation from net metering customers at a rate equal to the simple average of such Cooperative's hourly avoidable cost of energy, including fuel, based on the energy and energy-related charges of its primary wholesale power supplier for the net metering period.

The Proposed Rules require an electric distribution company to make full payment to the net metering customer no later than thirty days following the end of each net metering period or publication of the applicable LMP. Virginia Power requested that the Proposed Rules be amended to allow utilities to make payment within sixty days following the end of the net metering period or publication of the applicable LMP. The Cooperatives requested that utilities be provided flexibility in contracting with net metering customers, including the applicable due date for payment. The Commission finds that the thirty day period in the Proposed Rules is appropriate and will not change this period in the final rules.

Several commenters requested that the Commission permit flexibility in the form of payment for excess generation provided by net metering customers. Virginia Power proposed that utilities be provided the option to credit customers' future bills rather than make payment for excess generation. The Cooperatives requested that distribution companies and net metering customers be permitted to contract for alternative payment arrangements, including credits for excess generation, rather than payment.  MDV-SEIA proposed on-going and unlimited "roll-over" of excess generation from one net metering period to the next (rather than annual cash payments) until such time as the net metering customer requests a cash settlement, or until the generator ceases to be a net metering customer. The Commission will amend the Proposed Rules to allow the electric distribution company to offer the net metering customer the choice of an account credit in lieu of a direct payment.

Virginia Power requested that utilities be allowed to provide net metering customers an internet link to the applicable net metering tariff, rather than a hard copy of such tariff. The Commission agrees that an internet link may be preferable for some customers, and will allow the electric distribution company to provide a link in lieu of a hard copy upon request of the net metering customer.

The Cooperatives requested that the Commission impose limits on a non-residential net metering customer's generation to ensure that net metering is used primarily to offset all or part of the net metering customer's consumption, and proposed that no limits be placed on the distribution company if it elects to take reasonable steps to regulate abuse of the net metering rules.  The Commission will not address the Cooperatives' general concerns as part of this proceeding.  In the event that a Cooperative believes a specific net metering customer has violated the requirements of the Restructuring Act or the Net Metering Rules and files a proper complaint with the Commission thereon, we will address such violations on a case-by-case basis. Likewise, the Commission declines to expand the scope of this proceeding to address time-of-use metering, as requested by MDV-SEIA.

The Cooperatives requested that the Commission clarify that a net metering customer may submit a single request for a power purchase agreement ("PPA") covering multiple net metering periods, rather than a separate request for each individual net metering period. The Commission clarifies that a single PPA request for multiple net metering periods is permissible under the rules as revised herein. IREC requested that the Commission clarify that the rules do not limit the aggregate generation capacity of distributed generation facilities that electric distribution companies are required to interconnect pursuant to Va. Code § 56-578 A.  The Commission does not believe that any change to the Proposed Rules is required to address IREC's concerns.  The Commission notes that the net metering rules specifically and carefully define Renewable Fuel Generator so as to avoid any conflict with interconnection requirements relative to the broader category of distributed generation in § 56-578 A.

Accordingly, IT IS ORDERED THAT:

(1) The Regulations Governing Net Energy Metering are hereby adopted as shown in Appendix A to this Order, effective as of August 25, 2008.

(2)  A copy of this Order with Appendix A including the Regulations Governing Net Energy Metering shall be forwarded to the Registrar of Regulations for publication in the Virginia Register of Regulations.

(3)  On or before October 3, 2008, all electric utilities in the Commonwealth subject to Chapter 10 (§ 56-232 et seq.) of Title 56 of the Code of Virginia shall file with the Commission's Division of Energy Regulation any revised tariff provisions necessary to implement the regulations as adopted herein.

(4)  There being nothing further to come before the Commission, this case shall be removed from the docket and the papers filed herein be placed in the file for ended causes.

AN ATTESTED COPY hereof shall be sent by the Clerk of the Commission to all persons on the official Service List in this matter. The Service List is available from the Clerk of the State Corporation Commission, c/o Document Control Center, 1300 East Main Street, First Floor, Tyler Building, Richmond, Virginia 23219.

1 See, Memorandum from Laura S. Martin and Affidavits of Publication, filed in this docket on June 2, 2008.

2 The Association submitted its comments along with and on behalf of its Virginia members: A&N Electric Cooperative, BARC Electric Cooperative, Central Virginia Electric Cooperative, Community Electric Cooperative, Craig-Botetourt Electric Cooperative, Mecklenburg Electric Cooperative, Northern Neck Electric Cooperative, Northern Virginia Electric Cooperative, Prince George Electric Cooperative, Rappahannock Electric Cooperative, Shenandoah Valley Electric Cooperative and Southside Electric Cooperative.

20VAC5-315-10. Applicability and scope.

These regulations are promulgated pursuant to the provisions of §56-594 of the Virginia Electric Utility Restructuring Act (§56-576 et seq. of the Code of Virginia). They establish requirements intended to facilitate net energy metering for customers owning and operating, or contracting with persons to own or operate, or both, an electrical generator that uses renewable energy, as defined by §56-576 of the Code of Virginia as its total fuel source. These regulations will standardize the interconnection requirements for such facilities and will govern the metering, billing, payment and contract requirements between net metering customers, electric distribution companies and energy service providers.

20VAC5-315-20. Definitions.

The following words and terms when used in this chapter shall have the following meanings unless the context clearly indicates otherwise:

"Billing period" means, as to a particular customer, the time period between the dates on which the electric distribution company or energy service provider, as the case may be, issues the customer's bills.

"Electric distribution company" means the entity that owns and/or operates the distribution facilities delivering electricity to the net metering customer's premises.

"Energy service provider" means the entity providing electric energy to a net metering customer, either as a tariffed, competitive, or default service pursuant to §56-585 of the Code of Virginia.

"Excess generation" means the amount by which electricity generated by the renewable fuel generator exceeds the electricity consumed by the net metering customer for the net metering period.

"Net metering customer" means a customer owning and operating, or contracting with other persons to own or operate, or both, a renewable fuel generator under a net metering service arrangement.

"Net metering period" means each successive 12-month period beginning with the first meter reading date following the date of final interconnection of the renewable fuel generator with the electric distribution company's facilities.

"Net metering service" means measuring the difference, over the net metering period between electricity supplied to a net metering customer from the electric grid and the electricity generated and fed back to the electric grid by the net metering customer, using a single meter or, as provided in 20VAC5-315-70, additional meters.

"Person" means any individual, corporation, partnership, association, company, business, trust, joint venture, or other private legal entity and the Commonwealth or any municipality.

"Renewable fuel generator" means an electrical generating facility that:

1. Has an alternating current capacity of not more than 10 kilowatts for residential customers and not more than 500 kilowatts for nonresidential customers;

2. Uses renewable energy, as defined by §56-576 of the Code of Virginia, as its total fuel source;

3. The net metering customer owns and operates, or has contracted with other persons to own or operate, or both;

4. Is located on the customer's premises and is connected to the customer's wiring on the customer's side of its interconnection with the distributor;

5. Is interconnected pursuant to a net metering arrangement and operated in parallel with the electric distribution company's facilities; and

6. Is intended primarily to offset all or part of the net metering customer's own electricity requirements.

20VAC5-315-40. Conditions of interconnection.

A. A prospective net metering customer may begin operation of his renewable fuel generator on an interconnected basis when:

1. The net metering customer has properly notified both the electric distribution company and energy service provider (in accordance with 20VAC5-315-30) of his intent to interconnect;

2. If required by the electric distribution company's net metering tariff, the net metering customer has installed a lockable, electric distribution company accessible, load breaking manual disconnect switch;

3. A licensed electrician has certified, by signing the commission-approved notification form, that any required manual disconnect switch has been installed properly and that the renewable fuel generator has been installed in accordance with the manufacturer's specifications as well as all applicable provisions of the National Electrical Code;

4. The vendor has certified, by signing the commission-approved notification form, that the renewable fuel generator being installed is in compliance with the requirements established by Underwriters Laboratories or other national testing laboratories in accordance with IEEE Standard 1547, Standard for Interconnecting Distributed Resources with Electric Power Systems, July 2003;

5. In the case of static inverter-connected renewable fuel generators with an alternating current capacity in excess of 10 kilowatts, the net metering customer has had the inverter settings inspected by the electric distribution company. The inspecting electric distribution company may impose a fee on the net metering customer of no more than $50 for such inspection;

6. In the case of nonstatic inverter-connected renewable fuel generators, the net metering customer has interconnected according to the electric distribution company's interconnection guidelines and the electric distribution company has inspected all protective equipment settings. The inspecting electric distribution company may impose a fee on the net metering customer of no more than $50 for such inspection.

7. In the case of renewable fuel generators with an alternating current capacity greater than 25 kilowatts, the following requirements shall be met before interconnection may occur:

a. Electric distribution facilities and customer impact limitations. A renewable fuel generator shall not be permitted to interconnect to distribution facilities if the interconnection would reasonably lead to damage to any of the electric distribution company's facilities or would reasonably lead to voltage regulation or power quality problems at other customer revenue meters due to the incremental effect of the generator on the performance of the electric distribution system, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

b. Secondary, service, and service entrance limitations. The capacity of the renewable fuel generator shall be less than the capacity of the electric distribution company-owned secondary, service, and service entrance cable connected to the point of interconnection, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

c. Transformer loading limitations. The renewable fuel generator shall not have the ability to overload the electric distribution company transformer, or any transformer winding, beyond manufacturer or nameplate ratings, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

d. Integration with electric distribution company facilities grounding. The grounding scheme of the renewable fuel generator shall comply with IEEE 1547, Standard for Interconnecting Distributed Resources with Electric Power Systems, July 2003, and shall be consistent with the grounding scheme used by the electric distribution company. If requested by a prospective net metering customer, the electric distribution company shall assist the prospective net metering customer in selecting a grounding scheme that coordinates with its distribution system.

e. Balance limitation. The renewable fuel generator shall not create a voltage imbalance of more than 3.0% at any other customer's revenue meter if the electric distribution company transformer, with the secondary connected to the point of interconnection, is a three-phase transformer, unless the customer reimburses the electric distribution company for its cost to modify any facilities needed to accommodate the interconnection.

B. A prospective net metering customer shall not be allowed to interconnect a renewable fuel generator if doing so will cause the total rated generating alternating current capacity of all interconnected renewable fuel generators within that customer's electric distribution company's Virginia service territory to exceed 0.1% 1.0% of that company's Virginia peak-load forecast for the previous year. In any case where a prospective net metering customer has submitted a notification form required by 20VAC5-315-30 and that customer's interconnection would cause the total rated generating alternating current capacity of all interconnected renewable fuel generators within that electric distribution company's service territory to exceed 0.1% 1.0% of that company's Virginia peak-load forecast for the previous year, the electric distribution company shall, at the time it becomes aware of the fact, send written notification to such prospective net metering customer and to the commission's Division of Energy Regulation that the interconnection is not allowed. In addition, upon request from any customer, the electric distribution company shall provide to the customer the amount of capacity still available for interconnection pursuant to §56-594 D of the Code of Virginia.

C. Neither the electric distribution company nor the energy service provider shall impose any charges upon a net metering customer for any interconnection requirements specified by this chapter, except as provided under subdivisions A 5 and 6 of this section, and 20VAC5-315-50 as related to off-site metering.

D. The net energy metering customer shall immediately notify the electric distribution company of any changes in the ownership of, operational responsibility for, or contact information for the generator.

20VAC5-315-50. Metering, billing, payment and tariff considerations.

Net metered energy shall be measured in accordance with standard metering practices by metering equipment capable of measuring (but not necessarily displaying) power flow in both directions. Each contract or tariff governing the relationship between a net metering customer, electric distribution company or energy service provider shall be identical, with respect to the rate structure, all retail rate components, and monthly charges, to the contract or tariff under which the same customer would be served if such customer was not a net metering customer with the exception that time of use metering is not permitted. Said contract or tariff shall be applicable to both the electric energy supplied to, and consumed from, the grid by that customer.

In instances where net metering customers' metering equipment is of a type for which meter readings are made off site and where this equipment has, or will be, installed for the convenience of the electric distribution company, the electric distribution company shall provide the necessary additional metering equipment to enable net metering service at no charge to the net metering customer. In instances where a net metering customer has requested, and where the electric distribution company would not have otherwise installed, metering equipment which is intended to be read off site, the electric distribution company may charge the net metering customer its actual cost of installing any additional equipment necessary to implement net metering service.

If electricity generated by the net metering customer and fed back to the electric grid exceeds the electricity supplied to the net metering customer from the grid) grid during a net metering period, the net metering customer shall receive no compensation from the electric distribution company nor the energy service provider unless that net metering customer has entered into a purchase power purchase agreement [ contract ] with the electric distribution company and/or the energy service provider.

If the electric distribution company is also the energy service provider of the net metering customer, the electric distribution company, upon the written request of the net metering customer, shall enter into a power purchase agreement for the excess generation for [ one or more ] net metering periods [ , as requested by the net metering customer, ] that begin on or after July 1, 2007. For net metering periods beginning during the time period July 1, 2007, through December 31, 2008, the written request of the net metering customer shall be submitted prior to the end of the net metering period. For net metering periods beginning on or after January 1, 2009, the written request of the net metering customer shall be submitted prior to the beginning of the net metering period. The power purchase agreement shall be consistent with this chapter and obligate the [ investor-owned ] electric distribution company to purchase the excess generation for requested net metering periods at a price equal to the [ systemwide ] PJM Interconnection, L.L.C. (PJM) [ zonal ] day-ahead annual, simple average LMP (locational marginal price) [ for the PJM load zone in which the electric distribution company's Virginia retail service territory resides ], as published by the PJM Market Monitoring Unit, for the most recent calendar year ending on or before the end of each net metering period, unless the electric distribution company and the net metering customer mutually agree to a higher price or unless, after notice and opportunity for hearing, the commission establishes a different price or pricing methodology. [ If the Virginia retail service territory of the investor-owned electric distribution company does not reside within a PJM load zone, the power purchase agreement shall obligate the electric distribution company to purchase excess generation for requested net metering periods at a price equal to the systemwide PJM day-ahead annual, simple average LMP, as published by the PJM Market Monitoring Unit, for the most recent calendar year ending on or before the end of each net metering period, unless the electric distribution company and the net metering customer mutually agree to a higher price or unless, after notice and opportunity for hearing, the commission establishes a different price or pricing methodology. The cooperative electric distribution company shall be obligated by the power purchase agreement to purchase excess generation for requested net metering periods at a price equal to the simple average of the cooperative electric distribution company’s hourly avoidable cost of energy, including fuel, based on the energy and energy-related charges of its primary wholesale power supplier for the net metering period, unless the electric distribution company and the net metering customer mutually agree to a higher price or unless, after notice and opportunity for hearing, the commission establishes a different price or pricing methodology. ] The electric distribution company shall make full payment annually to the net metering customer within 30 days following the latter of the end of the net metering period or the [ date of the ] PJM Market Monitoring Unit’s publication of the [ applicable calendar-year previous calendar-year's applicable zonal or ] systemwide PJM day-ahead annual, simple average LMP (locational marginal price). [ The electric distribution company may offer the net metering customer the choice of an account credit in lieu of a direct payment. ] The option of a net metering customer to request payment for excess generation for the net metering period and the corresponding price or pricing formula applicable to such excess generation shall be clearly delineated in the net metering tariff of the electric distribution company. A copy of such tariff [ or an Internet link to such tariff, at the option of the customer, ] shall be provided to each customer requesting interconnection of a renewable fuel generator.

If electricity generated by the net metering customer and fed back to the electric grid exceeds the electricity supplied to the net metering customer from the grid during any billing period (billing period credit), the net metering customer shall be required to pay only the nonusage sensitive charges for that billing period. Such billing period credits shall be accumulated, carried forward and applied at the first opportunity to any billing periods having positive net consumptions. However, any accumulated billing period credits remaining unused at the end of a net metering period shall be carried forward into the next net metering period only to the extent that such accumulated billing period credits carried forward do not exceed the net metering customer's positive net billed consumption for the current net metering period, adjusted to exclude accumulated billing period credits carried forward and applied from the previous net metering period.

VA.R. Doc. No. R08-1264; Filed August 7, 2008, 2:09 p.m.