PROPOSED REGULATIONS

For information concerning Proposed Regulations, see Information Page.

Symbol Key

Roman type indicates existing text of regulations.  Italic type indicates proposed new text.
Language which has been stricken indicates proposed text for deletion.

Proposed Regulations

Proposed Regulations


STATE BOARD OF HEALTH

REGISTRAR'S NOTICE: Due to its length, the proposed regulation filed by the Department of Health is not being published. However, in accordance with § 9-6.14:22 of the Code of Virginia, the summary is being published in lieu of the full text. The full text of the regulation is available for public inspection at the office of the Registrar of Regulations and at the Department of Health (see contact information below).

Title of Regulation: 12 VAC 5-581-10 et seq. Sewage Collection and Treatment (SCAT) Regulations.

Statutory Authority: §§ 32.1-164 and 62.1-44.19 of the Code of Virginia.

Public Hearing Dates:
August 13, 2001 - 7 p.m. (Spotsylvania)

August 15, 2001 - 7 p.m. (Williamsburg)

August 16, 2001 - 7 p.m. (Roanoke)

Public comments may be submitted until September 10, 2001.

(See Calendar of Events section

for additional information)

Agency Contact: Dr. Calmet M. Sawyer, Ph.D., P.E., Division Director, Division of Wastewater Engineering, Department of Health, 1500 East Main Street, Room 109, Richmond, VA 23219, telephone (804) 786-1755, FAX (804) 786-5567, e-mail csawyer@vdh.state.va.us.

Basis: Section 32.1-164 of the Code of Virginia authorizes the State Board of Health to promulgate regulations to govern the safe and sanitary collection, transportation, treatment, and disposal of sewage for all sewerage systems.  Section 62.1-44.18 et seq. of the Code of Virginia describes the interrelationship of the State Water Control Board and the Virginia Department of Health for regulation of sewage discharges.

Section 62.1-44.18 of the Code of Virginia specifies that all sewerage systems and sewage treatment works shall be under the general supervision of the VDH and the State Water Control Board/Department of Environmental Quality (DEQ).

Section 62.1-44.19 of the Code of Virginia specifies that before any owner may erect, construct, open, expand or operate a sewerage system or sewage treatment works that will have a potential discharge or actual discharge to state waters, such owner shall file with the State Water Control Board/DEQ an application for a certificate.  Before issuing the certificate, the State Water Control Board consults with and gives consideration to the written recommendations of the VDH pertaining to the protection of public health.

Upon completion of public notice, the State Water Control Board/DEQ determines whether the application is complete.  After the certificate has been issued by the State Water Control Board/DEQ, the owner must acquire from the VDH (i) authorization to construct the systems or works for which the board has issued a discharge certificate and (ii) upon completion of construction, authorization to operate the sewerage system or sewage treatment works.  These authorizations are to be obtained in accordance with regulations promulgated by the State Board of Health under § 32.1-164 of the Code of Virginia.  The VDH will then notify the State Water Control Board/DEQ when such authorizations are granted.  Such authorization will be in the form of construction and operation permits issued by the State Health Commissioner, in accordance with the provisions of the SCAT Regulations.

Certain federal (PL 87-128, 7 USC 1989, 7 CFR Part 1942, Subpart A) and private loan institutions require a state certification of the adequacy of designs for sewage collection and treatment systems prior to any commitment to provide funds for construction of such projects. These loans have previously amounted to nearly 100 million dollars annually.

Purpose: The proposed Sewage Collection and Treatment (SCAT) Regulations will replace the existing Sewerage Regulations jointly adopted by the State Water Control Board and the State Board of Health in 1977. The 1977 joint regulations established the accepted standards for design of sewage collection systems and sewage treatment works as necessary to protect public health and prevent violations of water quality standards from improperly treated sewage discharges. The existing Sewerage Regulations were also developed in response to the creation of the Federal Construction Grants program administered by the U.S. Environmental Protection Agency.  A revolving loan program involving more incentives to begin construction as expeditiously as possible has now replaced the construction grants program. The proposed SCAT Regulations are necessary in order to establish the procedures and standards that will streamline the current regulatory process for evaluating and approving the construction of sewage collection and treatment systems.

The goal of the proposed SCAT Regulations is to provide for a number of important services that will benefit the public, the private business sector and local governments, especially small communities, including:

1. Assure financial institutions that fiscal responsibility will be provided by the proposed system design so that revolving loans will be available for final design and construction.

2. Provide the means to evaluate new or nonconventional equipment in order that equipment manufacturers will be able to compete fairly and responsibly to provide the most economical technology.

3. Provide technical assistance and liability protection to consultants so that owners with limited resources can procure reasonably priced professional design services.

4. Provide assurance that constructed systems can be operated in compliance with permit requirements so that owners will not have to bear legal and other costs of permit enforcement actions.

The proposed SCAT Regulations will revise outdated technical design standards contained in the existing regulations and provide for more efficient issuance of construction and operation permits by the State Health Commissioner in order to streamline the current permit process.

Substance: The existing 1977 Sewerage Regulations promulgated jointly by the State Water Control Board and the State Board of Health will remain in effect until superseded by the proposed SCAT Regulations adopted by either board as appropriate (Chapter 194 of the 1991 Acts of the General Assembly).  Implementation of the proposed SCAT Regulations by the Virginia Department of Health (VDH) will provide owners, operators, consultants, contractors, and equipment suppliers with updated, uniform standards for design and installation of sewage collection, treatment, reuse and disposal of sewage for large and small communities.

The proposed SCAT Regulations include the following:

1. Update compliance and enforcement issues in accordance with the Administrative Process Act.

2. Establish new permit requirements and provide for waivers of formal permits for small sewage collection and treatment systems.

3. Establish procedures that are much more flexible than the procedures specified in the current Sewerage Regulations.

4. Make available a general permit for local approval of projects involving the expansion of sewage collection systems.

5. Allow the issuance of construction permits without formal technical evaluations of design documents, based upon submittals of signed statements by responsible design consultants that the designs meet the required standards.

6. Define "sludge management plans" and provide a link to the Biosolids Use Regulations (12 VAC 5-585), which have replaced several sections of the current Sewerage Regulations.

7. Update the procedures to be used to evaluate and approve new untried (nonconventional) treatment processes.

8. Address previous deficiencies in the current Sewerage Regulations, including specific information on assurance resources for performance guarantees and schedules for performance reliability testing.

9. Address a regulatory deficiency through procedures for issuance of permits for large-scale (5,000 gpd or more) subsurface sewage disposal systems that are not provided for in the Sewage Handling and Disposal Regulations (12 VAC 5-610).

10. Describe the jurisdictional relationships for approving building sewer service.

11. Provide for a more representative Regulation Advisory Committee than that specified in the current regulations.

12. Update testing and monitoring requirements in comparison to the outdated requirements in the current regulations.

13. Outline recommendations for operation of treatment works that were not included in the Sewerage Regulations.

14. Include current design standards for disinfection of treated sewage discharges including alternatives to chlorination that are not included in the current regulations.

15. Update the procedures and technical design standards for land treatment systems and other natural treatment processes.

16. Allow a more effective and earlier determination of site suitability than provided for in the Sewerage Regulations.

17. Provide design standards for constructed wetlands for natural treatment of sewage discharges.

18. Consolidate and update the advanced wastewater treatment (AWT) design and provide new design standards for the control of nutrients in sewage discharges.

Issues: Prior to the Project Streamline Initiative HB1449 (1991), § 62.1-44.19 of the State Water Control Law required that the State Health Department conduct a technical review of proposals for sewage collection, treatment, and disposal of sewage for sewerage systems, and file a report with the State Water Control Board.  This letter report would contain the State Health Department’s recommendations for approval or disapproval of the proposal, as authorized under § 32.1-164 of the State Health Code.  Upon adoption of the SCAT Regulations, owners of sewerage facilities or associated permit applicants will be directed to obtain construction and operational permits from VDH  prior to final issuance of either a Virginia Pollutant Discharge Elimination System (VPDES) permit, or a Virginia Pollution Abatement (VPA) permit by DEQ.  After the adoption of SCAT Regulations the formal letter report procedure will be replaced by a simple notification that construction or operational permits have been issued by VDH.  This streamlined procedure will reduce the existing time periods required to notify owners and applicants to proceed with construction.  The owners will receive a notification letter including a new standard permit form authorizing construction or operation.

The proposed SCAT Regulations will outline current standards of practice and the technical design standards and operational requirements to ensure that all construction of new or upgraded processes will provide the capacity and/or performance reliability necessary to comply with permit requirements.  Permit noncompliance can result in both costly enforcement actions and the improper and unregulated disposal of sewage, which would result in pollution of surface and ground water, contamination of soil and exposure of the public to infectious agents.  The proposed SCAT Regulations administered through the VDH, Division of Wastewater Engineering (DWE) will not only facilitate a more expeditious evaluation and approval of plans and specifications for the construction of new or expanded sewerage systems and treatment works, but will also ensure that public health is not endangered and that environmental resources are properly managed.

Implementation of the proposed SCAT Regulations will provide for some consolidation of agency resources now utilized to ensure the safe and reliable collection, treatment and disposal of sewage, thus eliminating previous anticipated needs for additional staff resources. A relatively small disadvantage involves the need to revise the current interagency relationships for issuance of construction and operation permits and to inform the owners of sewage collection and treatment systems of those changes.

Department of Planning and Budget's Economic Impact Analysis: The Department of Planning and Budget (DPB) has analyzed the economic impact of this proposed regulation in accordance with § 9-6.14:7.1 G of the Administrative Process Act and Executive Order Number 25 (98).  Section 9-6.14:7.1 G requires that such economic impact analyses include, but need not be limited to, the projected number of businesses or other entities to whom the regulation would apply, the identity of any localities and types of businesses or other entities particularly affected, the projected number of persons and employment positions to be affected, the projected costs to affected businesses or entities to implement or comply with the regulation, and the impact on the use and value of private property.  The analysis presented below represents DPB’s best estimate of these economic impacts.

Summary of the proposed regulation: The proposed regulation provides standards for the design, construction and operation of sewage collection systems and sewage treatment facilities.  This revision to the existing regulations is intended to bring the regulations into line with current best practices, to reduce the time required to license and build collection and treatment facilities, and to provide flexibility for applicants who wish to use designs different from those specified in the current regulations.

Estimated economic impact. The economic impact of these changes to the sewage collection and treatment (SCAT) regulations can be usefully divided into two parts.  First, there are the costs associated with the licensing process itself.  The second set of costs are those associated with the design, construction and operation of the facilities themselves.

In the past, SCAT facility design, construction and operation have been regulated both by the Department of Environmental Quality (DEQ) and by the Department of Health (VDH).  Under the new regulations, DEQ will no longer be involved in decisions about design, construction and operation.  Rather, DEQ will limit its involvement to enforcing water quality standards and permitting while VDH will take the full responsibility for design review.  This change will simplify the licensing process and will reduce the time it takes to bring a facility on line.  The simplification of the process will ultimately result in significant savings on the costs of building and licensing new facilities.  VDH has indicated that expenditures on SCAT projects represent nearly $250 million per year.  Reducing construction times could conceivably save on the order of a few million dollars per year.

Another significant cost saving in the new regulations is the provision that allows applicants to proceed with construction during the design review process.  Most of the construction work that would be done concurrent with VDH review would be site preparation, an aspect of construction unlikely to be affected greatly by VDH review.  Savings on the order of six months could be achieved and could possibly result in savings similar to those achieved by the licensing simplification process.

While the licensing process does add some to the cost of bringing new facilities on-line, the greatest part of the cost is due to expenses of designing, construction and operation.  The question remains, what are the costs imposed by these regulations and the benefits that result.  The primary function of SCAT facilities is for the protection of water quality and hence public health and safety.  However, even in the absence of these regulations, anyone wishing to discharge effluents into state waters would have to treat wastes so that effluents would not result in violations of state water quality standards.  The setting and enforcement of these standards is the responsibility of DEQ, not VDH.  Thus, even in the absence of these regulations, SCAT facilities would be needed and would have to be built to use the best available technologies in order to allow effluents to meet standards established by the DEQ permit.

In fact, much of what is in these revised regulations is simply a restatement of best engineering practices in the field of wastewater engineering.1  Few of the provisions of these regulations impose binding constraints on plant designers relative to what would be required to meet DEQ standards.  It follows that the costs of building SCAT facilities are not primarily due to these regulations but to the water quality standards themselves.

The new VDH regulations contain numerous provisions allowing applicants to use technologies not specifically enumerated in the regulations.  Applicants wishing to use innovative processes may substitute those processes for the processes listed in the regulations so long as the applicant can provide convincing data of and, in some cases, performance bonds to ensure that if the new process does not work, funding will be available to modify the design to bring it into compliance.

The design and building of these facilities is a complicated and specialized engineering task.  All but the largest localities hire outside engineering firms rather than using in-house engineers.  Localities may often find themselves without the technical expertise to evaluate the effectiveness of a given engineering proposal.  These regulations make the process less risky for localities by specifying a set of design standards that will result in the facility performing as required.  In addition, VDH Division of Wastewater Engineering review of plans offers localities an independent evaluation of plans.  This independent evaluation may end up saving localities significant resources that would otherwise be spent on re-engineering facilities that fail to meet DEQ permit limits due to some design flaw.

In summary, SCAT facilities would need to be built to current best engineering practices to meet DEQ permit requirements.  These revised regulations update SCAT facility standards to make them consistent with current best practices.  In addition, the regulations clearly provide that applicants may use nonstandard facilities so long as they (i) have data to demonstrate effectiveness, and (ii) for more risky designs, can demonstrate the financial capacity to fix any problems if the new design does not perform up to expectations.  This flexibility opens the door to innovation while still providing a clear minimum engineering standard for those applicants choosing to use standard practices.  Relative to the standards being replaced, these changes may provide for significant cost savings in the design, construction and operation of SCAT facilities without posing any significant added risks to public health and safety.

Businesses and entities affected. Any business or municipality wishing to construct or expand a sewerage system or treatment works over a minimum size must get a license.  This includes nearly every municipality in Virginia and many private businesses.  VDH reports that it currently averages over 1,000 SCAT projects worth nearly $250 million each year.

Localities particularly affected. These regulations are not expected to have a disproportionate impact on any particular localities in Virginia.

Projected impact on employment. While these regulations are expected to save money for applicants by shortening the time it takes to build facilities, it is not expected that the shorter construction schedules will result in any net change in the level of employment in the industry.

Effects on the use and value of private property. Most of the impact of these changes will be felt by public agencies.  There may be some savings by developers and other businesses needing to build SCAT facilities, although the amount of savings by private parties is not known and hence it is not possible to give a numerical estimate of any impact on the value of the private property affected.

Agency's Response to the Department of Planning and Budget's Economic Impact Analysis: The economic impact analysis developed by the Department of Planning and Budget (DPB) for the Proposed Sewage Collection and Treatment (SCAT) Regulations was found to be thorough and complete by the Virginia Department of Health (VDH).  The VDH has no objections and no reservations concerning the DPB Economic Impact Analysis for the proposed SCAT Regulations.

Summary:

The proposed regulations provide standards for the design, construction and operation of sewage collection systems and sewage treatment facilities. This proposal is intended to bring the regulations into line with current best practices, to reduce the time required to license and build collection and treatment facilities, and to provide flexibility for applicants who wish to use designs different from those specified in the current regulations.

The existing 1977 Sewerage Regulations promulgated jointly by the State Water Control Board and the State Board of Health will remain in effect until superseded by the proposed Sewage Collection and Treatment (SCAT) Regulations adopted by either board as appropriate (Chapter 194 of the 1991 Acts of the General Assembly).  Implementation of the proposed SCAT Regulations by the Virginia Department of Health (VDH) will provide owners, operators, consultants, contractors, and equipment suppliers with updated, uniform standards for design and installation of sewage collection, treatment, reuse and disposal of sewage for large and small communities.

The proposed SCAT Regulations include the following:

1. Update compliance and enforcement issues in accordance with the Administrative Process Act.

2. Establish new permit requirements and provide for waivers of formal permits for small sewage collection and treatment systems.

3. Establish procedures that are much more flexible than the procedures specified in the current Sewerage Regulations.

4. Make available a general permit for local approval of projects involving the expansion of sewage collection systems.

5. Allow the issuance of construction permits without formal technical evaluations of design documents, based upon submittals of signed statements by responsible design consultants that the designs meet the required standards.

6. Define "sludge management plans" and provide a link to the Biosolids Use Regulations (12 VAC 5-585), which have replaced several sections of the current Sewerage Regulations.

7. Update the procedures to be used to evaluate and approve new untried (nonconventional) treatment processes.

8. Address previous deficiencies in the current Sewerage Regulations, including specific information on assurance resources for performance guarantees and schedules for performance reliability testing.

9. Address a regulatory deficiency through procedures for issuance of permits for large-scale (5,000 gpd or more) subsurface sewage disposal systems that are not provided for in the Sewage Handling and Disposal Regulations (12 VAC 5-610).

10. Describe the jurisdictional relationships for approving building sewer service.

11. Provide for a more representative Regulation Advisory Committee than that specified in the current regulations.

12. Update testing and monitoring requirements in comparison to the outdated requirements in the current regulations.

13. Outline recommendations for operation of treatment works that were not included in the Sewerage Regulations.

14. Include current design standards for disinfection of treated sewage discharges including alternatives to chlorination that are not included in the current regulations.

15. Update the procedures and technical design standards for land treatment systems and other natural treatment processes.

16. Allow a more effective and earlier determination of site suitability than provided for in the Sewerage Regulations.

17. Provide design standards for constructed wetlands for natural treatment of sewage discharges.

18. Consolidate and update the advanced wastewater treatment (AWT) design and provide new design standards for the control of nutrients in sewage discharges.

VA.R. Doc. No. R01-229; Filed June 13, 2001, 11:01 a.m.

1 Personal conversation with Dr. Clifford Randall, Virginia Tech, 2/22/00.





Volume 17, Issue 21
Virginia Register of Regulations
Monday, July 2, 2001
1
Volume 17, Issue 21
Virginia Register of Regulations
Monday, July 2, 2001
4
Volume 17, Issue 21
Virginia Register of Regulations
Monday, July 2, 2001
5

