DEPARTMENT OF LABOR AND INDUSTRY

Safety and Health Codes Board

REGISTRAR’S NOTICE: The following regulations are exempt from the Administrative Process Act in accordance with § 2.2-4006 A 4 c of the Code of Virginia, which excludes regulations that are necessary to meet the requirements of federal law or regulations, provided such regulations do not differ materially from those required by federal law or regulation. The Safety and Health Codes Board will receive, consider and respond to petitions by any interested person at any time with respect to reconsideration or revision.

Title of Regulation: 16 VAC 25-90-1910. Federal Identical General Industry Standards (29 CFR Part 1910) - Exit Routes, Emergency Action Plans and Fire Prevention Plans (amending 16 VAC 25-90-1910.35 through 16 VAC 25-90-1910.38, 16 VAC 25-90-1910.119, 16 VAC 25-90-1910.120, 16 VAC 25-90-1910.157, 16 VAC 25-90-1910.268, 16 VAC 25-90-1910.272, 16 VAC 25-90-1910.1047, 16 VAC 25-90-1910.1050, and 16 VAC 25-90-1910.1051; adding 16 VAC 25-90-1910.33, 16 VAC 25-90-1910.34 and 16 VAC 25-90-1910.39).

Statutory Authority: § 40.1-22 of the Code of Virginia.

Effective Date: March 1, 2003.

Summary:

The Occupational Safety and Health Administration (OSHA) revised its standard for means of egress. The revised final rules are performance oriented to the extent possible, and more concise than the original, with fewer subparagraphs, and fewer cross-references to other OSHA standards. A table of contents has also been added to make the standards easier to use. In addition, compliance by an employer with the National Fire Protection Association, NFPA 101-2000, the Life Safety Code, will be deemed to be in compliance with the corresponding requirements of the revised standard. The name of Subpart E has also been changed from “Means of Egress” to “Exit Routes, Emergency Action Plans and Fire Prevention Plans” to more accurately reflect the full content of the subpart. Other related general industry regulations were also amended to conform with revisions to § 1910.38(a) regarding emergency action plans or § 1910.39(a) regarding a fire prevention plan.

Agency Contact: John Crisanti, VOSH Planning Manager, Department of Labor and Industry, 13 South 13th Street, Richmond, VA 23219, telephone (804) 786-4300, FAX (804) 786-8418, e-mail jjc@doli.state.va.us.

Note on Incorporation by Reference

Pursuant to § 2.2-4103 of the Code of Virginia, Exit Routes, Emergency Action Plans and Fire Prevention Plans, Subpart E, General Industry (29 CFR 1910.33 through 1910.39) and related amendments to Subpart H, Hazardous Materials (29 CFR 1910.119 and 29 CFR 1910.120); Subpart L, Fire Protection (29 CFR 1910.157); Subpart R, Special Industries (29 CFR 1910.268 and 29 CFR 1910.272); and Subpart Z, Toxic and Hazardous Substances (29 CFR 1910.1047, 29 CFR 1910.1050 and 29 CFR 1910.1051) are declared documents generally available to the public and appropriate for incorporation by reference. For this reason the document will not be printed in the Virginia Register of Regulations. Copies of the document are available for inspection at the Department of Labor and Industry, 13 South 13th Street, Richmond, Virginia 23219, and in the office of the Registrar of Regulations, General Assembly Building, 9th and Broad Streets, Richmond, Virginia 23219.

On December 2, 2002, the Safety and Health Codes Board adopted an identical version of federal OSHA's amendments to the final rule for Exit Routes, Emergency Action Plans and Fire Prevention Plans, Subpart E, General Industry, 29 CFR 1910.33 through 29 CFR 1910.39, and amendments to the following related general industry regulations.

1. 29 CFR 1910.119, Process Safety Management of Highly Hazardous Chemicals

2. 29 CFR 1910.120, Hazardous Waste Operations and Emergency Response

3. 29 CFR 1910.157, Portable Fire Extinguishers

4. 29 CFR 1910.268, Telecommunications

5. 29 CFR 1910.272, Grain Handling Facilities

6. 29 CFR 1910.1047, Occupational Exposure to Ethylene Oxide

7. 29 CFR 1910.1050, Occupational Exposure to Methylenedianiline

8. 29 CFR 1910.1051, Occupational Exposure to 1,3-Butadiene

The text of the amendments can be found in the November 7, 2002, issue of the Federal Register, Volume 67, Number 216, pages 67949-67965.

When the regulations, as set forth in the amendments to Exit Routes, Emergency Action Plans and Fire Prevention Plans, 16 VAC 25-90-1910.33 through 16 VAC 25-90-1910.39, and related amendments to 16 VAC 25-90-1910.119, 16 VAC 25-90-1910.120, 16 VAC 25-90-1910.157, 16 VAC 25-90-1910.268, 16 VAC 25-90-1910.272, 16 VAC 25-90-1910.1047, 16 VAC 25-90-1910.1050, 16 VAC 25-90-1910.1051 are applied to the Commissioner of the Department of Labor and Industry or to Virginia employers, the following terms shall be considered to read as follows:

| Federal Terms | VOSH Equivalent |
| --- | --- |
| 29 CFR | VOSH Standard |
| Assistant Secretary | Commissioner of Labor and Industry |
| Agency | Department |
| December 9, 2002 | March 1, 2003 |

VA.R. Doc. No. R03-93; Filed December 20, 2002, 10:40 a.m.