Title of Regulation:  13 VAC 5-91. Virginia Industrialized Building Safety Regulations (amending 13 VAC 5-91-10, 13 VAC 5-91-40, 13 VAC 5-91-50, 13 VAC 5-91-60, 13 VAC 5-91-100, 13 VAC 5-91-110, 13 VAC 5-91-120, 13 VAC 5-91-140, 13 VAC 5-91-160, 13 VAC 5-91-180, 13 VAC 5-91-200, 13 VAC 5-91-210, 13 VAC 5-91-250, 13 VAC 5-91-260 and 13 VAC 5-91-270; adding 13 VAC 5-91-245; repealing 13 VAC 5-91-230).

Statutory Authority:  § 36-73 of the Code of Virginia.

# Effective Date:  October 1, 2003.

Agency Contact:  Stephen W. Calhoun, Regulatory Coordinator, Department of Housing and Community Development, 501 North Second Street, Richmond, VA 23219, telephone (804) 371-7015, FAX (804) 371-7090, or e-mail scalhoun@dhcd.state.va.us. Copies of the regulation may be obtained from the Department of Housing and Community Development.  There will be a $.10 charge per page for copies.

# Summary:

The amendments (i) update the construction model codes and standards to the same editions of the International Code Council (ICC) and National Fire Protection Association (NFPA) codes and standards as are being adopted for the Uniform Statewide Building Code (USBC); (ii) increase the registration seal fee for an industrialized building from $50 to $75 per seal; (iii) expand the type of information about an industrialized building and its use to be included on the manufacturer's data plate and placed within the unit; (iv) expand and update definitions used within the regulation for clarity; and (v) specify the state government office responsible for the administration and enforcement of the Industrialized Building Safety Regulations.

REGISTRAR'S NOTICE: The proposed regulation was adopted as published in 19:6 VA.R. 948-954 December 2, 2002, with the changes identified below. Pursuant to § 2.2-4031 A of the Code of Virginia, the adopted regulation is not published at length; however, the sections that have changed since publication of the proposed are set out.

Summary of Public Comment and Agency Response:  No public comments received.

13 VAC 5-91-10 through 13 VAC 5-9-110. [ No change from proposed. ]

# 13 VAC 5-91-120. Unregistered industrialized buildings.

A. The local code building official shall determine whether any unregistered industrialized building complies with this chapter and shall require any noncomplying unregistered building to be brought into compliance with this chapter. The local code building official shall enforce all applicable requirements of this chapter including those relating to the sale, rental and disposition of noncomplying buildings. The local code building official may require submission of full plans and specifications for each building. Concealed parts of the building may be exposed to the extent necessary to permit inspection to determine compliance with the applicable requirements. The building official may also accept reports of inspections and tests from individuals or agencies deemed acceptable to the [ code building ] official.

B. Unregistered industrialized buildings offered for sale by dealers in this Commonwealth shall be marked by a warning sign to prospective purchasers that the building is not registered in accordance with this chapter and must be inspected and approved by the local code official having jurisdiction. The sign shall be of a size and form approved by the administrator and shall be conspicuously posted on the exterior of the unit near the main entrance door.

# 13 VAC 5-91-140. [ No change from proposed. ]

13 VAC 5-91-160. Hazards prohibited Use of model codes and standards specified.

A. Industrialized buildings produced after [ (insert the effective date of this chapter) October 1, 2003, ] shall be reasonably safe for the users and shall provide reasonable protection to the public against hazards to life, health and property. Compliance with all applicable requirements of the following codes and standards, subject to the specified time limitations, shall be acceptable evidence of compliance with this provision:

The following codes and standards may be used until [ (insert date) January 1, 2004 ] :

1. BOCA National Building Code

a. 1993 Edition - until June 1,1997

b. 1996 Edition - no time limit

2. BOCA National Plumbing Code

1993 Edition - until June 1,1997

3. 2. ICC International Plumbing Code

1995 Edition with 1996 Supplement - no time limit

4. BOCA National Mechanical Code

1993 Edition - until June 1, 1997

5. 3. ICC International Mechanical Code

1996 Edition [ - no time limit ]

6. 4. National Electrical Code - NFPA [ NO. ] 70

a. 1993 Edition - until June 1, 1997

[ b. ] 1996 Edition - no time limit

7. 5. CABO One- and Two-Family Dwelling Code

a. 1992 Edition and 1993 Amendments - until June 1, 1997

[ b. ] 1995 Edition - no time limit [ 1995 Edition ]

The CABO One- and Two-Family Dwelling Code may be used as an optional alternative standard for one- and two-family dwellings to the standards specified in subdivisions 1 through 6 of this section.

B. The following documents are adopted and incorporated by reference to be an enforceable part of these regulations:

1. ICC International Building Code - 2000 Edition

2. ICC International Plumbing Code - 2000 Edition

3. ICC International Mechanical Code - 2000 Edition

4. NFPA 70 National Electrical Code - 1999 Edition

5. ICC International Residential Code - 2000 Edition

NOTE: The codes and standards (BOCA, CABO, ICC and NFPA) referenced above may be procured from:

[ Building Officials and Codes Administrators International, Inc.

4051 West Flossmoor Road

Country Club Hills, Illinois 60478-5795

International Code Council, Inc.

5203 Leesburg Pike, Suite 708

Falls Church, VA 22041-3401 ]

13 VAC 5-91-180 through 13 VAC 5-91-280. [ No change from proposed. ]

# DOCUMENTS INCORPORATED BY REFERENCE

In addition to the documents referenced in 13 VAC 5-91-160, the following document is incorporated by reference:

BOCA National Building Code - 1996 Edition.

ICC International Plumbing Code - 1995 Edition with 1996 Supplement.

ICC International Mechanical Code - 1996 Edition.

National Electrical Code - NFPA [ NO. ] 70 [ - ] 1996 [ and 1999 ] Edition.

CABO One- and Two-Family Dwelling Code [ - ] 1995 Edition.

ICC International Building Code - 2000 Edition.

ICC International Plumbing Code - 2000 Edition.

ICC International Mechanical Code - 2000 Edition.

[ NFPA 70 National Electrical Code - 1999 Edition. ]

ICC International Residential Code - 2000 Edition.

ASTM E541-84, Standard Criteria for Agencies Engaged in System Analysis and Compliance Assurance for Manufactured Buildings, American Society for Testing and Materials.

VA.R. Doc. No. R02-173; Filed July 23, 2003, 10:06 a.m.