TITLE 6. CRIMINAL JUSTICE AND CORRECTIONS

CRIMINAL JUSTICES SERVICES BOARD

REGISTRAR'S NOTICE:  The following regulatory action is exempt from the Administrative Process Act in accordance with (i) § 2.2-4006 A 2 of the Code of Virginia, which excludes regulations that establish or prescribe agency organization internal practice or procedures, including delegations of authority and (ii) § 2.2-4006 A 3 of the Code of Virginia, which excludes regulations that consist only of changes in style or form or corrections of technical errors.  The Department of Criminal Justices Services will receive, consider and respond to petitions by any interested person at any time with respect to reconsideration or revision.

Title of Regulation: 6 VAC 20-190. Regulations for Breath Alcohol Testing (amending 6 VAC 20-190-10, 6 VAC 20-190-40, 6 VAC 20-190-60, 6 VAC 20-190-90, 6 VAC 20-190-100, 6 VAC 20-190-120, 6 VAC 20-190-150, 6 VAC 20-190-160 and 6 VAC 20-190-170).

Statutory Authority: § 9.1-102 of the Code of Virginia.

Effective Date: December 3, 2003.

Summary:

The amendments make technical corrections to the regulations and clarify breath test administrative procedures, the approval of breath test devices, licensing procedures, required forms and records, and specifications of preliminary breath test devices.

Agency Contact: Judy Kirkendall, Regulatory Coordinator, Department of Criminal Justice Services, 805 East Broad Street, Richmond, VA 23219, telephone (804) 786-8003, FAX (804) 786-0410 or e-mail jkirkendall@dcjs.state.va.us.

6 VAC 20-190-10. Definitions.

The following words and terms when used in this chapter shall have the following meanings, unless the context clearly indicates otherwise:

"Agency" means any town, city, county, or state law-enforcement agency under whose auspices breath tests are performed.

"Blood alcohol concentration" or Blood alcohol level" means percent by weight of alcohol in a person's blood based upon grams of alcohol per 100 milliliters of blood or grams of alcohol per 210 liters of breath.

"Breath test device" means, as used in Part II (6 VAC 20-190-30 et seq.) of this chapter, an instrument designed to perform a quantitative chemical test for alcohol on a sample of breath of a person subject to the provisions of §§ 18.2-268.1 through 18.2-268.3, 18.2-268.9, 29.1-738.2, 46.2-341.26:1 through 46.2-341.26:3 or 46.2-341.26:9 of the Code of Virginia or a parallel local ordinance.

"Chemical test" or "chemical analysis" means a quantitative test for alcohol using photometric, infrared, oxidation-reduction, or fuel cell methodologies or any a combination thereof performed on a sample or samples of breath of a person subject to the provisions of §§ 18.2-267, 18.2-268.1 through 18.2-268.3, 18.2-268.9, 29.1-738.1, 29.1-738.2, 46.2-341.25, 46.2-341.26:1 through 46.2-341.26:3 or 46.2-341.26:9 of the Code of Virginia or a parallel local ordinance.

"Division" means the Division of Forensic Science.

"Licensee" means a person holding a valid license from the division to perform a breath test of the type set forth within these regulations under the provisions of § 18.2-268.9 of the Code of Virginia or a parallel local ordinance.

"Preliminary breath test device" means, as used in Part III (6 VAC 20-190-170 et seq.) of this chapter, an instrument designed to perform a quantitative chemical test for alcohol on a sample of breath of a person suspected of an offense subjecting such person to the provisions of § 18.2-267, 29.1-738.1 or 46.2-341.25 of the Code of Virginia.

"Supplies and accessories" means any item, device, chemical, reagent, tube, mouthpiece, replacement part, or glassware, whether or not reusable, which is used in conjunction with a breath test device or a preliminary breath test device to determine the blood alcohol level concentration of any person subject to the provisions of §§ 18.2-267,18.2-268.1 through 18.2-268.3, 18.2-268.9, 29.1-738.1, 29.1-738.2, 46.2-341.25, 46.2-341.26:1 through 46.2-341.26:3 or 46.2-341.26:9 of the Code of Virginia or a parallel local ordinance.

6 VAC 20-190-40. Storage.

The breath test device must be stored in a clean, dry location that is only accessible to an authorized licensee for the purpose of actually administering a breath test, preventative maintenance check, or other official uses licensees and to other authorized individuals.

6 VAC 20-190-60. Modifications.

No modifications shall be made on to any breath test device by an agency without the written consent of the division.

6 VAC 20-190-90. Publishing list of devices.

The division shall periodically publish in the Virginia Register of Regulations a list of any devices device(s) approved for use as breath test devices device(s).  Such list shall be published forthwith after any addition or deletion of any device(s) to or from the division's approved list.  The division may, in addition, provide copies of its approved list to any agency subject to this chapter.

6 VAC 20-190-100. Publishing list of supplies.

The division shall periodically publish in the Virginia Register of Regulations a list of approved any supplies and accessories approved for use with breath test devices that may be purchased by an agency.  Such list shall be published forthwith after any addition or deletion of any supplies or accessories to or from the division's approved list.  The division may, in addition, provide copies of its approved list to any agency subject to this chapter.

6 VAC 20-190-120. Licensing procedures.

A. The division shall issue, renew, terminate and revoke licenses for individuals to perform breath alcohol tests on the basis of standards set forth in this chapter.

B. Application for an initial license to perform breath tests shall be made in writing to the division.  The applicant shall have the endorsement of the appropriate supervisory law-enforcement officer or designated representative unless an exception is granted by the division.

C. The initial licenses shall be granted to individuals who demonstrate the ability to perform breath tests accurately and reliably in accordance with the methods approved by the division and who satisfactorily explain the theoretical basis for such chemical analysis.

D. Only individuals successfully completing a basic course of instruction shall be deemed to have demonstrated competence to qualify for the issuance of a an initial license. Further instruction may be required by the division to qualify a licensee to perform tests using additional breath test devices.

E. Licenses shall be limited in scope to those breath test devices on which the individual applying for an initial or renewal license has demonstrated competence.  This limitation may be upon the device(s) on which the applicant received instruction in the course referred to in subsection D of this section or in such further instruction as may be necessary to qualify the individual for additional breath test device(s).

F. Licenses shall state the date upon which they are to expire, which date shall, in no event, be later than 24 months after the date of issuance.  Licenses shall be subject to renewal at expiration or at such time prior to expiration as is convenient for the division on demonstration by the licensee of continuing competency to perform accurate and reliable breath tests.  The division may at any time examine licensees to determine such continuing competency.  Licenses shall expire at the end of the expiration date, unless renewed on or before that date.  Licenses may be terminated or revoked by the division at any time upon its finding that the licensee no longer meets the qualifications necessary for the issuance of a license.

G. Any individual whose license has expired may renew his license within one year after its expiration date by successfully completing a recertification class and by demonstrating his competence in the performance of breath tests.  Any individual (i) who fails the recertification class or (ii) whose license has expired and who does not renew his license within one year after its expiration date may renew his license by again attending and successfully completing the basic course of instruction referred to in subsection D of this section and demonstrating competence in the performance of breath tests as otherwise required.

H. The failure of a licensee to comply with this chapter may be grounds for revocation of such individual's license.

6 VAC 20-190-150. Log.

A. For each agency to which a breath test device is assigned shall keep to an agency, a permanent log of all completed, evidential tests and simulator solution changes administered by the licensees of that agency or other agencies shall be kept.  This log shall be provided by the division and must be kept in the same location with the breath test device.  The log shall be subject to periodic inspection by the division at any time.  At least once each month, a copy of the log entries for the preceding month shall be submitted to the division to be kept on file for at least three years.

B. For each agency to which a breath test device is assigned to an agency, the division shall download by modem, at least once each month, data also recorded on the breath testing log.  The division shall keep this data on file for at least three years.

6 VAC 20-190-160. Checklist.

A. At least once For each month, each agency to which a breath test device is assigned shall complete to an agency, a preventive maintenance checklist provided by the division shall be completed at least once each month.  A signed copy of this preventative maintenance checklist shall be submitted to the division to be kept on file for at least three years.

B. For each agency to which a breath test device is assigned to an agency, the division shall download by modem, at least once each month, data also recorded on the preventive maintenance checklist.  The division shall keep this data on file for

6 VAC 20-190-170. Preliminary breath test device.

All preliminary breath tests shall be performed on a preliminary breath test device approved by the division.  Such devices shall offer convenience and efficiency in operation as determined by the division and shall also satisfy the requirements of either subdivision 1 or 2 of this section.

1. For instruments having a numeric readout, the device shall have a systematic error not exceeding ±10%.

2. For instruments having a pass/fail, colored light readout, the device satisfies shall satisfy the following specifications:

a. When a sample of breath is properly taken from a person with an actual blood alcohol level concentration of 0.05% or less by weight by volume or 0.05 grams of alcohol per 210 liters of breath, the device shall not indicate a positive result.

b. When a sample of breath is properly taken from a person with an actual blood alcohol level concentration of 0.09% 0.08% or more by weight by volume or 0.09 0.08 grams of alcohol per 210 liters of breath, the device shall not indicate a negative result.

VA.R. Doc. No. R04-21; Filed October 9, 2003, 1:31 p.m.