TITLE 9. ENVIRONMENT

STATE AIR POLLUTION CONTROL BOARD

Title of Regulation: 9 VAC 5-40. Existing Stationary Sources (amending 9 VAC 5-40-5800, 9 VAC 5-40-5810, 9 VAC 5-40-5820, 9 VAC 5-40-5822, 9 VAC 5-40-5824, 9 VAC 5-40-5850, 9 VAC 5-40-5855, 9 VAC 5-40-5860, 9 VAC 5-40-5870, 9 VAC 5-40-5880, 9 VAC 5-40-5890, 9 VAC 5-40-5910, and 9 VAC 5-40-5920).

Statutory Authority: § 10.1-1308 of the Code of Virginia; §§ 110, 111, 123, 129, 171, 172, and 182 of the Clean Air Act; 40 CFR Parts 51 and 60.

Effective Date:  January 29, 2004.

Agency Contact: Karen G. Sabasteanski, Department of Environmental Quality, P.O. Box 10009, Richmond, VA 23240, telephone (804) 698-4426, FAX (804) 698-4510, or e-mail kgsabastea@deq.state.va.us.

Summary:

The amendments (i) replace general cross references to "design applicability criteria" and "emission rate applicability criteria" with specific criteria throughout the regulation; (ii) revise the specific design capacity criteria for consistency with 40 CFR Part 60; (iii) conform the regulations to comply with the following regulatory revisions promulgated by EPA:  June 16, 1998 (63 FR 32743), February 24, 1999 (64 FR 9258), April 10, 2000 (65 FR 18906), October 17, 2000 (65 FR 61778); and (iv) make minor revisions for clarity.

Since publication of the proposed regulation, the following changes were made:

1. In 9 VAC 5-40-5800 C, the requirement to obtain a federal operating permit has been revised to reference 9 VAC 5-80-80 C of the primary operating permit regulation rather than a generic date tied to plan approval or a specific date that is no longer relevant.

2. In 9 VAC 5-40-5810 C, the definitions of "industrial solid waste" and "municipal solid waste landfill" have been revised to better delineate the relationship among the federal law and regulations, and state regulations, Also, the definition of  "municipal solid waste landfill" has been revised to reference RCRA regulations in addition to the Virginia regulations.

Summary of Public Comment and Agency Response:  A summary of comments made by the public and the agency's response may be obtained from the promulgating agency or viewed at the Office of the Registrar of Regulations.

REGISTRAR'S NOTICE: The proposed regulation was adopted as published in 19:12 VA.R. 1840-1859 February 24, 2003, with the changes identified below. Pursuant to § 2.2-4031 A of the Code of Virginia, the adopted regulation is not published at length; however, the sections that have changed since publication of the proposed are set out.

9 VAC 5-40-5800. Applicability and designation of affected facility.

A. The affected facility to which the provisions of this article apply is each municipal solid waste (MSW) landfill which commenced construction, reconstruction, or modification before May 30, 1991.

B. The provisions of this article apply throughout the Commonwealth of Virginia.

C. For purposes of obtaining a federal operating permit, the owner of an MSW landfill subject to this article with a design capacity less than 2.5 million megagrams or 2.5 million cubic meters is not subject to the requirement to obtain a federal operating permit for the landfill, unless the landfill is otherwise subject to federal operating permit requirements. For purposes of submitting a timely application for a federal operating permit, the owner of an MSW landfill subject to this article with a design capacity greater than or equal to 2.5 million megagrams and 2.5 million cubic meters on the effective date of EPA approval of the board's program under § 111(d) of the federal Clean Air Act, and otherwise not subject to federal operating permit requirements, [ becomes subject to federal operating permit requirements 90 days after the effective date of such § 111(d) program approval shall submit an operating permit application as provided in 9 VAC 5-80-80 C ], even if the design capacity report is submitted earlier.

D. When an MSW landfill subject to this article becomes closed, the owner is no longer subject to the requirement to maintain a federal operating permit for the landfill if the landfill is not otherwise subject to federal operating permit requirements and if either of the following conditions is met:

1. The landfill was never subject to the requirement for a control system under 9 VAC 5-40-5820 C 2; or

2. The owner meets the conditions for control system removal specified in 9 VAC 5-40-5820 C 2 e.

E. Activities required by or conducted pursuant to a CERCLA, RCRA, or board remedial action are not considered construction, reconstruction, or modification for the purposes of this article.

9 VAC 5-40-5810. Definitions.

A. For the purpose of applying this article in the context of the Regulations for the Control and Abatement of Air Pollution and subsequent amendments or any orders issued by the board related uses, the words or terms shall have the meanings given them in subsection C of this section.

B. As used in this article, all terms not defined here shall have the meanings given them in 9 VAC 5 Chapter 10 (9 VAC 5-10-10 et seq.), unless otherwise required by context.

C. Terms defined.

"Active collection system" means a gas collection system that uses gas mover equipment.

"Active landfill" means a landfill in which solid waste is being placed or a landfill that is planned to accept waste in the future.

"CERCLA" means the federal Comprehensive Environmental Response, Compensation and Liability Act (42 USC § 9601 et seq.).

"Closed landfill" means a landfill in which solid waste is no longer being placed, and in which no additional solid wastes will be placed without first obtaining a permit or permit amendment under Part VII (9 VAC 20-80-480 et seq.) of 9 VAC 20 Chapter 80 (Solid Waste Management Regulations) filing a notification of modification, as prescribed under 40 CFR 60.7(a)(4), with the board. Once such permit a notification of modification has been issued filed, and additional solid waste is placed in the landfill, the landfill is no longer closed.

"Closure" means that point in time when a landfill becomes a closed landfill.

"Commenced" means that an owner has undertaken a continuous program of construction or modification or that an owner has entered into a contractual obligation to undertake and complete, within a reasonable time, a continuous program of construction or modification.

"Commercial waste" means all types of solid waste generated by stores, offices, restaurants, warehouses, and other nonmanufacturing activities, excluding construction, household, and industrial wastes.

"Construction" means fabrication, erection, or installation of an affected facility.

"Controlled landfill" means any landfill at which collection and control systems are required under this article as a result of the nonmethane organic compounds emission rate. The landfill is considered controlled at the time a collection and control system design plan is submitted in compliance with 9 VAC 5-40-5820 C 2 a.

"Design capacity" means the maximum amount of solid waste a landfill can accept, as indicated in terms of volume or mass in the most recent permit issued by the department under Part VII (9 VAC 20-80-480 et seq.) of 9 VAC 20 Chapter 80 (Solid Waste Management Regulations), plus any in-place waste not accounted for in the most recent permit, or as calculated using good engineering practices acceptable to the board. If the owner chooses to convert the design capacity from volume to mass or from mass to volume to demonstrate that its design capacity is less than the design capacity applicability criteria in 9 VAC 5-40-5820 A (i) 1.0 million megagrams or 1.0 million cubic meters in the Northern Virginia Volatile Organic Compound Emissions Control Area or (ii) 2.5 million megagrams or 2.5 million cubic meters in the remaining areas of the Commonwealth, the calculation must include a site-specific density, which must be recalculated annually.

"Disposal facility" means all contiguous land and structures, other appurtenances, and improvements on the land used for the disposal of solid waste.

"Emission rate cutoff" means the threshold annual emission rate to which a landfill compares its estimated emission rate to determine if control under the regulation is required.

"Enclosed combustor" means an enclosed firebox which maintains a relatively constant limited peak temperature generally using a limited supply of combustion air. An enclosed flare is considered an enclosed combustor.

"Federal operating permit" means a permit issued under Article 1 (9 VAC 5-80-50 et seq.) or Article 3 (9 VAC 5-80-360 et seq.) of Part II of 9 VAC 5 Chapter 80.

"Flare" means an open combustor without enclosure or shroud.

"Gas management system" means a method for the collection and destruction or use of landfill gases.

"Gas mover equipment" means the equipment (i.e., fan, blower, compressor) used to transport landfill gas through the header system.

"Household waste" mean any solid waste, including garbage, trash and refuse, derived from households (including, but not limited to, single and multiple residences, hotels and motels, bunkhouses, ranger stations, crew quarters, campgrounds, picnic grounds and day-use recreational areas). For the purpose purposes of determining capacity as required by 9 VAC 5-40-5820 and NMOC emission rates as required by 9 VAC 5-40-5860, household wastes include waste includes sanitary waste (septage) in septic tanks.

"Industrial solid waste" means any solid waste generated by manufacturing or industrial processes that is not a hazardous waste regulated under Subtitle C [ (42 USC § 6921 et seq.) ] of RCRA ([ as reflected in ] 40 CFR Parts 264 and 265) [ , ] and [ implemented by the department in ] 9 VAC 20 Chapter 60 (9 VAC 20-60-12 et seq., Virginia Hazardous Waste Management Regulations). Such waste may include, but is not limited to, waste resulting from the following manufacturing processes: electric power generation; fertilizer and agricultural chemicals; food and related products and byproducts; inorganic chemicals; iron and steel manufacturing; leather and leather products; nonferrous metals manufacturing and foundries; organic chemicals; plastics and resins manufacturing; pulp and paper industry; rubber and miscellaneous plastic products; stone, glass, clay, and concrete products; textile manufacturing; transportation equipment; and water treatment. This term does not include mining waste or oil and gas waste.

"Interior well" means any well or similar collection component located inside the perimeter of the landfill waste. A perimeter well located outside the landfilled waste is not an interior well.

"Landfill" means an area of land or an excavation in which wastes are placed for permanent disposal, and that is not a land application unit, surface impoundment, injection well, or waste pile as those terms are defined under Part I (9 VAC 20-80-10 et seq.) of 9 VAC 20 Chapter 80 (Solid Waste Management Regulations).

"Landfill gas" means any gas derived from the decomposition of organic waste deposited in an MSW landfill or from the evolution of volatile organic species in the waste. Emissions from MSW landfills is equivalent to landfill gas emissions.

"Lateral expansion" means a horizontal expansion of the waste boundaries of an existing MSW landfill. A lateral expansion is not a modification unless it results in an increase in the design capacity of the landfill.

"Modification" means an increase in the permitted volume design capacity of the landfill by either horizontal or vertical expansion based on its permitted design capacity as of May 30, 1991. Modification does not occur until the owner commences construction on the horizontal or vertical expansion.

"Municipal solid waste landfill" or "MSW landfill" means an entire disposal facility in a contiguous geographical space where household waste is placed in or on land. An MSW landfill may also receive other types of solid wastes [ regulated under Subtitle D (42 USC § 6941 et seq.) of RCRA (as reflected in 40 CFR 257.2) and implemented by the department in 9 VAC 20-80-250 (Solid Waste Management Regulations) ] such as commercial solid waste, nonhazardous sludge, conditionally exempt small quantity generator waste, and nonhazardous industrial solid waste [ as provided in 9 VAC 20-80-250 (Solid Waste Management Regulations) ]. Portions of an MSW landfill may be separated by access roads. An MSW landfill may be publicly or privately owned. An MSW landfill may be a new MSW landfill, an existing MSW landfill, or a lateral expansion.

"Municipal solid waste landfill emissions" or "MSW landfill emissions" means gas generated by the decomposition of organic waste deposited in an MSW landfill or derived from the evolution of organic compounds in the waste.

"NMOC" means nonmethane organic compounds, as measured according to the provisions of 9 VAC 5-40-5860 B through E.

"Nondegradable waste" means any waste that does not decompose through chemical breakdown or microbiological activity. Examples include, but are not limited to, concrete, municipal waste combustor ash, and metals.

"Passive collection system" means a gas collection system that solely uses positive pressure within the landfill to move the gas rather than using gas mover equipment.

"Offsite gas migration" means underground landfill gases detected at any point on the landfill perimeter.

"RCRA" means the federal Resource Conservation and Recovery Act (42 USC § 6901 et seq.).

"Refuse" means trash, rubbish, garbage, and other forms of solid or liquid waste, including, but not limited to, wastes resulting from residential, agricultural, commercial, industrial, institutional, trade, construction, land clearing, forest management, and emergency operations.

"Sludge" means any solid, semi-solid, or liquid waste generated from a municipal, commercial, or industrial wastewater treatment plant, water supply treatment plant, or air pollution control facility exclusive of the treated effluent from a wastewater treatment plant.

"Solid waste" means any garbage, sludge from a wastewater treatment plant, water supply treatment plant, or air pollution control facility and other discarded material, including solid, liquid, semi-solid, or contained gaseous material resulting from industrial, commercial, mining, and agricultural operations, and from community activities, but does not include solid or dissolved material in domestic sewage, or solid or dissolved materials in irrigation return flows or industrial discharges that are point sources subject to permits under 33 USC § 1342, or source, special nuclear, or byproduct material as defined by the Atomic Energy Act of 1954 (42 USC § 2011 et seq.). For more detail, see Part III (9 VAC 20-80-130 et seq.) of 9 VAC 20 Chapter 80 (Solid Waste Management Regulations).

"Sufficient density" means any number, spacing, and combination of collection system components, including vertical wells, horizontal collectors, and surface collectors, necessary to maintain emission and migration control as determined by measures of performance set forth in this part.

"Sufficient extraction rate" means a rate sufficient to maintain a negative pressure at all wellheads in the collection system without causing air infiltration, including any wellheads connected to the system as a result of expansion or excess surface emissions, for the life of the blower.

9 VAC 5-40-5820. [ No change from proposed ].

9 VAC 5-40-5822. Operational standards for collection and control systems.

A. Each owner of an MSW landfill with a gas collection and control system used to comply with the provisions of 9 VAC 5-40-5820 C 2 b shall comply with the following requirements:

A. 1. Operate the collection system such that gas is collected from each area, cell, or group of cells in the MSW landfill in which solid waste has been in place for:

1. a. Five years or more if active; or

2. b. Two years or more if closed or at final grade;.

B. 2. Operate the collection system with negative pressure at each wellhead except under the following conditions:

1. a. A fire or increased well temperature. The owner shall record instances when positive pressure occurs in efforts to avoid a fire. These records shall be submitted with the annual reports as provided in 9 VAC 5-40-5880 H 1;

2. b. Use of a geomembrane or synthetic cover. The owner shall develop acceptable pressure limits in the design plan; and

3. c. A decommissioned well. A well may experience a static positive pressure after shut down to accommodate for declining flows. All design changes shall be approved by the board;.

C. 3. Operate each interior wellhead in the collection system with a landfill gas temperature less than 55 [ C degrees Celsius ] and with either a nitrogen level less than 20% or an oxygen level less than 5.0%. The owner may establish a higher operating temperature, nitrogen, or oxygen value at a particular well. A higher operating value demonstration shall show supporting data that the elevated parameter does not cause fires or significantly inhibit anaerobic decomposition by killing methanogens.

1. a. The nitrogen level shall be determined using Reference Method 3C in Appendix A of 40 CFR Part 60, unless an alternative method is established as allowed by 9 VAC 5-40-5820 C 2 a.

2. b. Unless an alternative method is established as allowed by 9 VAC 5-40-5820 C 2 a, the oxygen shall be determined by an oxygen meter using Reference Method 3A in Appendix A of 40 CFR Part 60 except that:

a. (1) The span shall be set so that the regulatory limit is between 20 and 50% of the span;

b. (2) A data recorder is not required;

c. (3) Only two calibration gases are required, a zero and span, and ambient air may be used as the span;

d. (4) A calibration error check is not required; and

e. (5) The allowable sample bias, zero drift, and calibration drift are ±10%.

D. 4. Operate the collection system so that the methane concentration is less than 500 parts per million above background at the surface of the landfill. To determine if this level is exceeded, the owner shall conduct surface testing around the perimeter of the collection area and along a pattern that traverses the landfill at 30-meter intervals and where visual observations indicate elevated concentrations of landfill gas, such as distressed vegetation and cracks or seeps in the cover. The owner may establish an alternative traversing pattern that ensures equivalent coverage. A surface monitoring design plan shall be developed that includes a topographical map with the monitoring route and the rationale for any site-specific deviations from the 30-meter intervals. Areas with steep slopes or other dangerous areas may be excluded from the surface testing.

E. 5. Operate the system such that all collected gases are vented to a control system designed and operated in compliance with 9 VAC 5-40-5820 C 2 c. In the event the collection or control system is inoperable, the gas mover system shall be shut down and all valves in the collection and control system contributing to venting of the gas to the atmosphere shall be closed within one hour; and.

F. 6. Operate the control or treatment system at all times when the collected gas is routed to the system.

G. B. If monitoring demonstrates that the operational requirement in subsections B, C, or D subdivision A 2, 3 or 4 of this section are not met, corrective action shall be taken as specified in 9 VAC 5-40-5850 C 3 through 5 or 9 VAC 5-40-5850 E. If corrective actions are taken as specified in 9 VAC 5-40-5850, the monitored exceedance is not a violation of the operational requirements in this section.

9 VAC 5-40-5824 through 9 VAC 5-40-5860 [ No change from proposed ].

9 VAC 5-40-5870. Monitoring.

A. The provisions of 9 VAC 5-40-40 (Monitoring) apply.

B. Except as provided in 9 VAC 5-40-5820 C 2 a (2), the provisions of subsections C through H of this section apply.

C. Each owner seeking to comply with 9 VAC 5-40-5820 C 2 b (1) for an active gas collection system shall install a sampling port and a thermometer, other temperature measuring device, or an access port for temperature measurements at each wellhead and:

1. Measure the gauge pressure in the gas collection header on a monthly basis as provided in 9 VAC 5-40-5850 C 3; and

2. Monitor nitrogen or oxygen concentration in the landfill gas on a monthly basis as provided in 9 VAC 5-40-5850 C 5; and

3. Monitor temperature of the landfill gas on a monthly basis as provided in 9 VAC 5-40-5850 C 5.

D. Each owner seeking to comply with 9 VAC 5-40-5820 C 2 c using an enclosed combustor shall calibrate, maintain, and operate according to the manufacturer's specifications, the following equipment.

1. A temperature monitoring device equipped with a continuous recorder and having a minimum accuracy of ± 1.0 percent of the temperature being measured expressed in degrees Celsius or ± 0.5 [ °C degrees Celsius ], whichever is greater. A temperature monitoring device is not required for boilers or process heaters with design heat input capacity equal to or greater than 44 megawatts.

2. A device that records flow to or bypass of the control device. The owner shall either:

a. Install, calibrate, and maintain a gas flow rate measuring device that shall record the flow to the control device at least every 15 minutes; or

b. Secure the bypass line valve in the closed position with a car-seal or a lock-and-key type configuration. A visual inspection of the seal or closure mechanism shall be performed at least once every month to ensure that the valve is maintained in the closed position and that the gas flow is not diverted through the bypass line.

E. Each owner seeking to comply with 9 VAC 5-40-5820 C 2 c using an open flare shall install, calibrate, maintain, and operate according to the manufacturer's specifications the following equipment:

1. A heat sensing device, such as an ultraviolet beam sensor or thermocouple, at the pilot light or the flame itself to indicate the continuous presence of a flame.

2. A device that records flow to or bypass of the flare. The owner shall either:

a. Install, calibrate, and maintain a gas flow rate measuring device that shall record the flow to the control device at least every 15 minutes; or

b. Secure the bypass line valve in the closed position with a car-seal or a lock-and-key type configuration. A visual inspection of the seal or closure mechanism shall be performed at least once every month to ensure that the valve is maintained in the closed position and that the gas flow is not diverted through the bypass line.

F. Each owner seeking to demonstrate compliance with 9 VAC 5-40-5820 C 2 c using a device other than an open flare or an enclosed combustor shall provide information acceptable to the board as provided in 9 VAC 5-40-5820 C 2 a (2) describing the operation of the control device, the operating parameters that would indicate proper performance, and appropriate monitoring procedures. The board shall will review the information and either approve it, or request that additional information be submitted. The board may specify additional appropriate monitoring procedures.

G. Each owner seeking to install a collection system that does not meet the specifications in 9 VAC 5-40-5824 or seeking to monitor alternative parameters to those required by 9 VAC 5-40-5822, 9 VAC 5-40-5850, 9 VAC 5-40-5860, and 9 VAC 5-40-5870 shall provide information acceptable to the board as provided in 9 VAC 5-40-5820 C 2 a (2) and (3) describing the design and operation of the collection system, the operating parameters that would indicate proper performance, and appropriate monitoring procedures. The board may specify additional appropriate monitoring procedures.

H. Each owner seeking to demonstrate compliance with 9 VAC 5-40-5850 E, shall monitor surface concentrations of methane according to the instrument specifications and procedures provided in 9 VAC 5-40-5850 F. Any closed landfill that has no monitored exceedances of the operational standard in three consecutive quarterly monitoring periods may skip to annual monitoring. Any methane reading of 500 parts per million or more above background detected during the annual monitoring returns the frequency for that landfill to quarterly monitoring.

9 VAC 5-40-5880. [ No change from proposed ].

9 VAC 5-40-5890. Recordkeeping.

A. The provisions of 9 VAC 5-40-50 (Notification, records and reporting) apply.

B. Except as provided in 9 VAC 5-40-5820 C 2 a (2), the provisions of subsections C through G of this section apply.

C. Each owner of an MSW landfill subject to the provisions of 9 VAC 5-40-5820 C shall keep for at least five years up-to-date, readily accessible, on-site records of the design capacity report which triggered 9 VAC 5-40-5820 C, the current amount of solid waste in-place, and the year-by-year waste acceptance rate. Off-site records may be maintained if they are retrievable within four hours. Either paper copy or electronic formats are acceptable.

D. Each owner of a controlled landfill shall keep up-to-date, readily accessible records for the life of the control equipment of the data listed in subdivisions D 1 through D 4 of this section as measured during the initial compliance test or compliance determination. Records of subsequent tests or monitoring shall be maintained for a minimum of five years. Records of the control device vendor specifications shall be maintained until removal.

1. Where an owner subject to the provisions of this article seeks to demonstrate compliance with 9 VAC 5-40-5820 C 2 b:

a. The maximum expected gas generation flow rate as calculated in 9 VAC 5-40-5850 C 1. The owner may use an alternative method to determine the maximum gas generation flow rate, if the method has been approved by the board.

b. The density of wells, horizontal collectors, surface collectors, or other gas extraction devices determined using the procedures specified in 9 VAC 5-40-5824 A 1.

2. Where an owner subject to the provisions of this article seeks to demonstrate compliance with 9 VAC 5-40-5820 C 2 c through use of an enclosed combustion device other than a boiler or process heater with a design heat input capacity equal to or greater than 44 megawatts:

a. The average combustion temperature measured at least every 15 minutes and averaged over the same time period of the compliance test.

b. The percent reduction of NMOC determined as specified in 9 VAC 5-40-5820 C 2 c (2) achieved by the control device.

3. Where an owner subject to the provisions of this article seeks to demonstrate compliance with 9 VAC 5-40-5820 C 2 c (2) (a) through use of a boiler or process heater of any size: a description of the location at which the collected gas vent stream is introduced into the boiler or process heater over the same time period of the compliance testing.

4. Where an owner subject to the provisions of this article seeks to demonstrate compliance with 9 VAC 5-40-5820 C 2 c (1) through use of an open flare, the flare type (i.e., steam-assisted, air-assisted, or nonassisted), all visible emission readings, heat content determination, flow rate or bypass flow rate measurements, and exit velocity determinations made during the compliance test as specified in 40 CFR 60.18; continuous records of the flare pilot flame or flare flame monitoring and records of all periods of operations during which the pilot flame of the flare flame is absent.

E. Each owner of a controlled landfill subject to the provisions of this article shall keep for five years up-to-date, readily accessible continuous records of the equipment operating parameters specified to be monitored in 9 VAC 5-40-5870 as well as up-to-date, readily accessible records for periods of operation during which the parameter boundaries established during the most recent compliance test are exceeded.

1. The following constitute exceedances that shall be recorded and reported under 9 VAC 5-40-5880 H:

a. For enclosed combustors except for boilers and process heaters with design heat input capacity of 44 megawatts (150 million British thermal units per hour) or greater, all three-hour periods of operation during which the average combustion temperature was more than 28 [°C degrees Celsius ] below the average combustion temperature during the most recent compliance test at which compliance with 9 VAC 5-40-5820 C 2 c was determined.

b. For boilers or process heaters, whenever there is a change in the location at which the vent stream is introduced into the flame zone as required under subdivision D 3 a of this section.

2. Each owner subject to the provisions of this article shall keep up-to-date, readily accessible continuous records of the indication of flow to the control device or the indication of bypass flow or records of monthly inspections of car-seals or lock-and-key configurations used to seal bypass lines, specified under 9 VAC 5-40-5870.

3. Each owner subject to the provisions of this article who uses a boiler or process heater with a design heat input capacity of 44 megawatts or greater to comply with 9 VAC 5-40-5820 C 2 c shall keep an up-to-date, readily accessible record of all periods of operation of the boiler or process heater. (Examples of such records could include records of steam use, fuel use, or monitoring data collected pursuant to other state or federal regulatory requirements.)

4. Each owner seeking to comply with the provisions of this article by use of an open flare shall keep up-to-date, readily accessible continuous records of the flame or flare pilot flame monitoring specified under 9 VAC 5-40-5870 E, and up-to-date, readily accessible records of all periods of operation in which the flame or flare pilot flame is absent.

F. Each owner subject to the provisions of this article shall keep for the life of the collection system an up-to-date, readily accessible plot map showing each existing and planned collector in the system and providing a unique identification location label for each collector.

1. Each owner subject to the provisions of this article shall keep up-to-date, readily accessible records of the installation date and location of all newly installed collectors as specified under 9 VAC 5-40-5850 D.

2. Each owner subject to the provisions of this article shall keep readily accessible documentation of the nature, date of deposition, amount, and location of asbestos-containing or nondegradable waste excluded from collection as provided in 9 VAC 5-40-5824 A 3 a as well as any nonproductive areas excluded from collection as provided in 9 VAC 5-40-5824 A 3 b.

G. Each owner subject to the provisions of this article shall keep for at least five years up-to-date, readily accessible records of all collection and control system exceedances of the operational standards in 9 VAC 5-40-5822, the reading in the subsequent month whether or not the second reading is an exceedance, and the location of each exceedance.

H. Landfill owners who convert design capacity from volume to mass or from mass to volume to demonstrate that the landfill design capacity is less than the design capacity applicability criteria in 9 VAC 5-40-5820 A (i) 1.0 million megagrams or 1.0 million cubic meters in the Northern Virginia Volatile Organic Compound Emissions Control Area or (ii) 2.5 million megagrams or 2.5 million cubic meters in the remaining areas of the Commonwealth, as provided in the definition of "design capacity," shall keep readily accessible, on-site records of the annual recalculation of site-specific density, design capacity, and the supporting documentation. Off-site records may be obtained if they are retrievable within four hours. Either paper copy or electronic formats are acceptable.

9 VAC 5-40-5910 and 9 VAC 5-40-5920. [ No change from proposed. ]

VA.R. Doc. No. R02-294; Filed December 9, 2003, 1:44 p.m.