TITLE 9. ENVIRONMENT

STATE WATER CONTROL BOARD

REGISTRAR'S NOTICE: The following regulatory action is exempt from the Administrative Process Act in accordance with § 2.2-4006 A 4 c of the Code of Virginia, which excludes regulations that are necessary to meet the requirements of federal law or regulations provided such regulations do not differ materially from those required by federal law or regulation. The State Water Control Board will receive, consider and respond to petitions by any interested person at any time with respect to reconsideration or revision.

Title of Regulation: 9 VAC 25-720. Water Quality Management Planning Regulation (amending 9 VAC 25-720-50, 9 VAC 25-720-60, 9 VAC 25-720-90 and 9 VAC 25-720-130).

Statutory Authority: § 62.1-44.15 of the Code of Virginia and federal Clean Water Act (33 USC § 1313e).

Effective Date: September 8, 2004.

Agency Contact: Charles Martin, Department of Environmental Quality, P.O. Box 10009, Richmond, VA 23240, telephone (804) 698-4462, FAX (804) 698-4136 or e-mail chmartin@deq.virginia.gov.

Summary:

This amendment consists of the inclusion of 28 Total Maximum Daily Load (TMDL) waste load allocations contained in 11 TMDL reports.  The TMDLs were developed in accordance with federal regulations (40 CFR 130.7) and are exempt from the provisions of Article II of the Virginia Administrative Process Act.  The TMDLs have been through the TMDL public participation process and the waste load allocations are adopted as part of 9 VAC 25-720 in accordance with Virginia’s Public Participation Procedures for Water Quality Management Planning.

9 VAC 25-720-50. Potomac-Shenandoah River Basin.

A. Total maximum daily load (TMDLs).

| TMDL # | Stream Name | TMDL Title | City/County | WBID | Pollutant | WLA | Units |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Muddy Creek | Nitrate TMDL Development for Muddy Creek/Dry River, Virginia | Rockingham | B21R | Nitrate | 49,389.00 | LB/YR |
| 2. | Blacks Run | TMDL Development for Blacks Run and Cooks Creek | Rockingham | B25R | Sediment | 32,844.00 | LB/YR |
| 3. | Cooks Creek | TMDL Development for Blacks Run and Cooks Creek | Rockingham | B25R | Sediment | 69,301.00 | LB/YR |
| 4. | Cooks Creek | TMDL Development for Blacks Run and Cooks Creek | Rockingham | B25R | Phosphorus | 0.00 | LB/YR |
| 5. | Muddy Creek | TMDL Development for Muddy Creek and Holmans Creek, Virginia | Rockingham | B22R | Sediment | 286,939.00 | LB/YR |
| 6. | Muddy Creek | TMDL Development for Muddy Creek and Holmans Creek, Virginia | Rockingham | B22R | Phosphorus | 38.00 | LB/YR |
| 7. | Holmans Creek | TMDL Development for Muddy Creek and Holmans Creek, Virginia | Rockingham/ Shenandoah | B45R | Sediment | 78,141.00 | LB/YR |
| 8. | Mill Creek | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B29R | Sediment | 276.00 | LB/YR |
| 9. | Mill Creek | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B29R | Phosphorus | 138.00 | LB/YR |
| 10. | Pleasant Run | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B27R | Sediment | 0.00 | LB/YR |
| 11. | Pleasant Run | TMDL Development for Mill Creek and Pleasant Run | Rockingham | B27R | Phosphorus | 0.00 | LB/YR |
| 12. | Linville Creek | Total Maximum Load Development for Linville Creek: Bacteria and Benthic Impairments | Rockingham | B46R | Sediment | 5.50 | TONS/YR |
| 13. | Quail Run | Benthic TMDL for Quail Run | Rockingham | B35R | Ammonia | 7,185.00 | KG/YR |
| 14. | Quail Run | Benthic TMDL for Quail Run | Rockingham | B35R | Chlorine | 27.63 | KG/YR |
| 15. | Shenandoah River | Development of Shenandoah River PCB TMDL (South Fork and Main Stem) | Warren & Clarke | B41R, B55R, B57R, B58R | PCBs | 179.38 | G/YR |
| 16. | Shenandoah River | Development of Shenandoah River PCB TMDL (North Fork) | Warren & Clarke | B51R | PCBs | 0.00 | G/YR |
| 17. | Shenandoah River | Development of Shenandoah River PCB TMDL (Main Stem) | Warren & Clarke | WV | PCBs | 179.38 | G/YR |
| 18. | Cockran Spring | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Augusta | B10R | Organic Solids | 1,556.00 | LB/YR |
| 19. | Lacey Spring | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Rockingham | B47R | Organic Solids | 680.00 | LB/YR |
| 20. | Orndorff Spring | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Shenandoah | B52R | Organic Solids | 103.00 | LB/YR |

B. Stream segment classifications, effluent limitations including water quality based effluent limitations, and waste load allocations.

TABLE B1 - POTOMAC RIVER SUB-BASIN RECOMMENDED SEGMENT CLASSIFICATIONS

| SEGMENT NUMBER | DESCRIPTION OF SEGMENT | MILE TO MILE | CLASSIFICATION |
| --- | --- | --- | --- |
| 1-23 | Potomac River tributaries from the Virginia-West Virginia state line downstream to the boundary of the Dulles Area Watershed Policy | 176.2 – 149.0 | WQ |
| 1-24 | Potomac River tributaries located within the boundaries of the Dulles Area Watershed Policy | 149.0 – 118.4 | WQ |
| 1-25 | Potomac River tributaries from the downstream limit of the Dulles Area Watershed Policy to Jones Point | 118.4 – 107.6 | WQ |
| 1-26 | Potomac River tributaries from Jones Point downstream to Route 301 bridge | 107.6 – 50.2 | WQ |
| 1-27 | All Streams included in the Occoquan Watershed Policy | __________ | WQ |
| 1-28 | Potomac tributaries from Route 301 bridge downstream to the mouth of the Potomac River | 50.2-0.0 | EL |

TABLE B2 – POTOMAC RIVER SUB-BASIN - RECOMMENDED PLAN FOR WASTEWATER FACILITIES

| Facility Number | Name | Receiving Stream | Recommended Action | SIZE | Treatment level (4) | BOD5 | OUD | TKN | P | Institutional Arrangement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Hillsboro | North Fork Catoctin Creek WQ (1 –23) | Construct new facility | .043(2) | AWT | 7(7) | - | - | - | Loudoun County Sanitation Authority (LCSA) |
| 2 | Middleburg | Wancopin Creek WQ (1-23) | Construct new facility; abandon old facility | .135 | AST | 14(5) | - | - | - | LCSA |
| 3 | Middleburg East and West | Unnamed tributary to Goose Creek WQ (1 –23) | Abandon- pump to new facility |  |  |  |  |  |  |  |
| 4 | Round Hill | North Fork Goose Creek | No further action recommended | .2 | AWT | 10(5) | - | - | - | Town of Round Hill |
| 5 | St. Louis | Beaver Dam Creek WQ (1-23) | Construct new facility | .086 | AST | 20(5) | - | - | - | LSCA |
| 6 | Waterford | South Fork Catoctin Creek WQ (1-23) | No further action recommended | .058 | AST | 24(5) | - | - | - | LSCA |
| 7 | Hamilton | Unnamed tributary to South Fork of Catoctin Creek WQ (1-23) | Upgrade and or expand | .605(2) | AWT | 7(7) | - | - | - | Town of Hamilton |
| 8 | Leesburg | Tuscarora Creek (1-24) | Upgrade and or expand | 2.5 | AWT | 1(9) | - | 1 | 0.1 | Town of Leesburg |
| 9 | Lovettesville | Dutchman Creek WQ (1-23) | Upgrade and or expand | .269(2) | AWT | 7(7) | - | - | - | Town of Lovetteville |
| 10 | Purcellville | Unnamed tributary to North Fork Goose Creek WQ (1-23) | No further action recommended | .5 | AST | 15(5) | - | - | - | Town of Purcellville |
| 11 | Paeonian Springs | Unnamed tributary to South Fork of Catoctin Creek WQ (1-23) | Construct new facility | .264(2) | AWT | 7(7) | - | - | - | LCSA |
| 12 | Cedar Run Regional | Walnut Branch or Kettle Run WQ (1-27) | Construct new facility | 1.16(2) | AWT | 1(6) | - | 1 | 0.1 | Fauquier County Sanitation Authority |
| 13 | Vint Hill Farms | South Run (1-27) | Upgrade and/or expand | .246 | AST | 14(5) | - | - | 2.5 | U.S. Army |
| 14 | Arlington | Four Mile Run WQ (1-25) | Upgrade and/or expand | 30(3) | AWT | 3(8) | - | 1 | 0.2 | Arlington County |
| 15 | Alexandria | Hunting Creek WQ (1-26) | Upgrade and/or expand | 54 | AWT | 3(8) | - | 1 | .02 | Alexandria Sanitation Authority |
| 16 | Westgate | Potomac River WQ (1-26) | Abandon- pump to Alexandria |  |  |  |  |  |  |  |
| 17 | Lower Potomac | Pohick Creek WQ (1-26) | Upgrade and/or expand | 36(3) | AWT | 3/8 | - | 1 | 0.2 | Fairfax County |
| 18 | Little Hunting Creek | Little Hunting Creek WQ (1-26) | Abandon- pump to Lower Potomac |  |  |  |  |  |  |  |
| 19 | Doque Creek | Doque Creek WQ (1-26) | Abandon- pump to Lower Potomac |  |  |  |  |  |  |  |
| 20 | Fort Belvoir 1 and 2 | Doque Creek WQ (1-26) | Abandon- pump to Lower Potomac |  |  |  |  |  |  |  |
| 21 | Lorton | Mills Branch WQ (1-26) | Upgrade and/or expand | 1.0 | AWT | 3(11) | - | 1 | 0.1 | District of Columbia |
| 22 | UOSA | Tributary to Bull Run WQ (1-27) | Expanded capacity by 5 mgd increments | 10.9(3) | AWT | 1(6) | - | 1 | 0.1 | USOA |
| 23 | Gainesville Haymarket | Tributary Rock Branch WQ (1-27) | Abandon Pump to UOSA |  |  |  |  |  |  |  |
| 24 | Potomac (Mooney) | Neabsco Creek WQ (1-26) | Construct new facility | 12(3) | AWT | 3(8) | - | 1 | 0.2 | Occoquan-Woodbridge Dumfries-Triangle Sanitary District |
| 25 | Belmont | Marumsco Creek WQ (1-26) | Abandon- pump to Potomac |  |  |  |  |  |  |  |
| 26 | Featherstone | Farm Creek WQ (1-26) | Abandon- pump to Potomac |  |  |  |  |  |  |  |
| 27 | Neabsco | Neabsco Creek WQ (1-26) | Abandon- pump to Potomac |  |  |  |  |  |  |  |
| 28 | Dumfries | Quantico Creek WQ (1-26) | Abandon- pump to Potomac |  |  |  |  |  |  |  |
| 29 | Dale City #1 | Neabsco Creek WQ (1-26) | Upgrade and /or expand | 4.0 | AWT | 3(8) | - | 1 | 0.2 | Dale Service Corporation (DSC) |
| 30 | Dale City #8 | Neabsco Creek WQ (1-26) | Upgrade and /or expand | 2.0 | AWT | 3(8) | 1 | 1 | 0.2 | DSC |
| 31 | Quantico Mainside | Potomac River WQ (1-26) | Upgrade and /or expand | 2.0 | AWT | 3(8) | - | 1 | 0.2 | U.S. Marine Corps |
| 32 | Aquia Creek | Austin Run WQ (1-26) | Construct new facility | 3.0 | AWT | 3(8) | - | 1 | 0.2 | Aquia Sanitary District |
| 33 | Aquia | Aquia Creek WQ (1-26) | Abandon- pump to new facility |  |  |  |  |  |  |  |
| 34 | Fairview Beach | Potomac River (estuary) | Construct new facility | .05 | Secondary | Secondary | - | - | - | Fairview Beach Sanitary District |
| 35 | Dahlgren | Upper Machodoc Creek WQ (1-28) | Upgrade and /or and expand | .2 | Secondary | Secondary | - | - | - | Dahlgren Sanitary District |
| 36 | Colonial Beach | Monroe Creek EL (1-28) | No further action recommended | .85 | Secondary | 28(5) (13) |  |  |  | Town of Colonial Beach |
| 37 | Machodoc Kinsale |  | Construct new facility | .89 | Secondary & Spray Irrigation | 48(10) (13) | - | - | - | Machodoc Kinsale Sanitary District |
| 38 | Callao |  | Construct new facility | .25 | Secondary & Spray Irrigation | 48(10) (13) | - | - | - | Callao Sanitary District |
| 39 | Heathsville |  | Construct new facility | .10 | Secondary & Spray Irrigation | 48(10) (13) | - | - | - | Heathsville Sanitary District |
| 40 | King George Courthouse | Pine Creek | Construct new facility | .039 | Secondary | 30(13) | - | - | - | King George County |

TABLE B2 - NOTES: POTOMAC RIVER SUB-BASIN - RECOMMENDED PLAN FOR WASTEWATER TREATMENT FACILITIES

(1) Year 2000 design flow 201 Facility Plan, P.L. 92-500, unless otherwise noted.

(2) Year 2000 average flow from Potomac/Shenandoah 303(e) Plans, Vol V-A Appendix, 1975 pp. B-33-B-44.

(3) Future expansion at unspecified date.

(4) Secondary treatment: 24-30 mg/l BOD5, advanced secondary treatment (AST): 11-23 mg/l, advanced wastewater treatment (AWT): <10mg/l BOD5. A range is given to recognize that various waste treatment processes have different treatment efficiencies.

(5) Effluent limits calculated using mathematical modeling.

(6) Effluent limits based on Occoquan Watershed Policy, presented under reevaluation.

(7) Effluent limits based on treatment levels established by the Potomac/Shenandoah 303(e) Plan, Vol. V-A 1975, p. 237, to protect low flow streams and downstream water supply.

(8) Effluent limits based on Potomac River Embayment Standards, presently under reevaluation. Nitrogen removal limits deferred until reevaluation is complete.

(9) Effluent limits based on Dulles Watershed Policy, recommended for reevaluation. Interim effluent limits of 12 mg/l BOD5 and 20 mg/l Suspended Solids will be met until the Dulles Area Watershed Standards are reevaluated.

(10) Effluent limits based on Virginia Sewerage Regulation, Section 33.02.01.

(11) Interim effluent limits of 30 mg/l BOD5, 30mg/l Suspended Solids, and 4 mg/l Phosphorus, will be effective until average daily flows exceeds 0.75 MGD. At greater flows than 0.75 MGD, the effluent limitations will be defined by the Potomac Embayment Standards.

(12) Secondary treatment is permitted for this facility due to the the extended outfall into the main stem of the Potomac River.

(13) This facility was also included in the Rappahannock Area Development Commission (RADCO) 208 Areawide Waste Treatment Management Plan and Potomac-Shenandoah River Basin 303 (e) Water Quality Management Plan.

TABLE B3 - SHENANDOAH RIVER SUB-BASIN RECOMMENDED SEGMENT CLASSIFICATIONS

| SEGMENT NUMBER | DESCRIPTION OF SEGMENT | MILE TO MILE | CLASSIFICATION |
| --- | --- | --- | --- |
| 1-1 | North River-main stream and tributaries excluding segments 1-1a, 1-1b | 56.4-0.0 | EL |
| 1-1a | Muddy Creek-main stream and War Branch, RM 0.1-0.0 | 3.7 - 1.7 | WQ |
| 1-1b | North River-main stream | 16.1 - 4.6 | WQ |
| 1-2 | Middle River-main stream and tributaries excluding segments 1-2a, 1-2b | 69.9 - 0.0 | EL |
| 1-2a | Middle River-main stream | 29.5 - 17.9 | WQ |
| 1-2b | Lewis Creek-main stream | 9.6 - 0.0 | WQ |
| 1-3 | South River-main stream and tributaries excluding segment 1-3a | 52.2 - 0.0 | EL |
| 1-4 | South Fork Shenandoah-main stream and tributaries excluding segments 1-4a, 1-4b, 1-4c | 102.9 - 0.0 | EL |
| 1-4a | South Fork Shenandoah-main stream | 88.1 - 78.2 | WQ |
| l-4b | Hawksbill Creek-main stream | 6.20 - 0.0 | WQ |
| 1-4c | Quail Run-main stream | 5.2 - 3.2 | WQ |
| 1-5 | North Fork Shenandoah- main stream and tributaries excluding segment 1-5a, 1-5h | 108.9 – 0.0 | EL |
| 1-5a | Stony Creek-main stream | 19.9 - 14.9 | WQ |
| 1-5b | North Fork Shenandoah-main stream | 89.0 - 81.4 | WQ |
| 1-6 | Shenandoah River-main stream and tributaries excluding segments 1-6a, 1-6b | 57.4 - 19.8 | EL |
| 1- 6a | Stephens Run-main stream | 8.3 - 0.0 | WQ |
| 1-6b | Dog Run-main stream | 5.2 - 0.0 | WQ |
| 1-7 | Opequon Creek-main stream and tributaries excluding segments 1-7a, 1-7b | 54.9 - 23.6 | EL |
| l-7a | Opequon Creek-main stream | 32.3 - 23.6 | WQ |
| 1-7b | Abrams Creek-main stream | 8.7 - 0.0 | WQ |
| 1-8 | All Virginia streams upstream of Opequon-Potomac confluence that have headwaters in Frederick County | -- | EL |
| 1-9 | All Virginia streams upstream of Opequon-Potomac confluence that have headwaters in Highland County | -- | EL |

* R.M. = River Mile, measured from the river mouth

TABLE B4 - SHENANDOAH RIVER SUB-BASIN - RECOMMENDED PLAN FOR SELECTED INDUSTRIAL WASTEWATER TREATMENT FACILITIES

| FACILITY NUMBER | NAME(1) | INDUSTRIAL CATEGORY | RECEIVING STREAM CLASSIFICATION | RECOMMENDED WASTELOAD ALLOCATION(2) | COMPLIANCE SCHEDULE |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | BOD5 | TKN | NH3 -N |  |
| 1 | Wampler | Food Processing | War Branch WQ (1-1a) | 84(3) | - | - | None |
| 6 | Wayn-Tex | Plastic and Synthetic Materials Mfg.* | South River WQ (1-3a) | 44(5) | - | - | None |
| 7 | DuPont | Plastic and Synthetic Materials Mfg.* | South River WQ (1-3a) | 600 | - | 50 | None |
| 8 | Crompton-Shenandoah | Textile Mills* | South River WQ (1-3a) | 60 | 173(4) | 88 | None |
| 10 | General Electric | Electroplating* | South River WQ (1-3a) | BPT Effluent Limits | None |
| 12 | Merck | Miscellaneous Chemicals (Pharmaceutical)* | S. F. Shenandoah River WQ (1-4a) | 3454 | 2846 | 1423 | Consent Order |
| 17 | VOTAN | Leather, Tanning and Finishing* | Hawksbill Creek WQ (1-4b) | 240 | 75 | - | None |
| 21 | National Fruit | Food Processing | N. F. Shenandoah River WQ (1-5b) | (6) | (6) | (6) | None |
| 22 | Rockingham Poultry | Food Processing | N. F. Shenandoah River WQ (1-5b) | (6) | (6) | (6) | None |
| 23 | Shen-Valley Meat Packers | Food Processing | N. F. Shenandoah River WQ (1-5b) | (6) | (6) | (6) | None |
| 35 | O'Sullivan | Rubber Processing* Machinery and Mechanical Products Manufacturing | Abrams Creek WQ (1-7b) | BPT Effluent Limits | None |

TABLE B4 - NOTES: SHENANDOAH RIVER SUB-BASIN - RECOMMENDED PLAN SELECTED INDUSTRIAL WASTEWATER TREATMENT FACILITIES

(1) An * identifies those industrial categories that are included in EPA's primary industry classification for which potential priority toxic pollutants have been identified.

(2) Allocation (lb/d) based upon 7Q10 stream flow. Tiered permits may allow greater wasteloads during times of higher flow. BPT = Best Practicable Technology.

(3) A summer 1979 stream survey has demonstrated instream D.O. violations. Therefore, the identified wasteload allocation is to be considered as interim and shall be subject to further analysis.

(4) The NPDES permit does not specify TKN but does specify organic-N of 85 lb/d. TKN is the sum of NH -N and organic -N.

(5) This allocation is based upon a flow of 0.847 MGD.

(6) The total assimilative capacity for segment WQ (1-5b) will be developed from an intensive stream survey program and development of an appropriate calibrated and verified model. Wasteload allocations for National Fruit, Rockingham Poultry and Shen-Valley will be determined after the development of the calibrated and verified model and the determination of the segment's assimilative capacity.

TABLE B5 - SHENANDOAH RIVER SUB-BASIN - RECOMMENDED PLAN FOR SELECTED MUNICIPAL WASTEWATER TREATMENT FACILITIES

| FACILITY NUMBER | NAME | RECOMMENDED RECEIVING STREAM | FACILITY | WASTELOAD ALLOCATION(3) lb/d BOD5 | INSTITUTIONAL ARRANGEMENT | COMPLIANCE(4) SCHEDULE |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | RECOMMENDED ACTION | SIZE(1) | TREATMENT(2) LEVEL |  |  |  |
| 2 | Harrisonburg Rockingham Reg. Sewer Auth. | North River WQ (1-1) | Correct I/I | 12.0(5) | AST | 2,0002(6) | Harrisonburg-Rockingham Regional Sewer Authority | None |
| 3 | Verona | Middle River WQ (1-2a) | Construct new facility, abandon old plant, correct I/I | 0.8 | Secondary | Secondary Limits | Augusta County Service Authority | July 1, 1983 |
| 4 | Staunton | Middle River WQ (1-2a) | Upgrade, provide outfall to Middle River, correct I/I | 4.5 | Secondary | Secondary Limits | City of Staunton | July 1, 1983 |
| 5 | Fishersville | Christians Creek EL (1-2) | No further action recommended | 2.0 | Secondary | Secondary Limits | Augusta County Service Authority | None |
| 9 | Waynesboro | South River WQ (1-3a) | Upgrade, correct I/I | 4.0 | AWT with nitrification | 250(5) | City of Waynesboro | July 1, 1983 |
| 11 | Grottoes | South River EL (1-3) | Construct new facility | 0.225 | Secondary | Secondary Limits | Town of Grottoes | No existing facility |
| 13 | Elkton | S.F. Shenandoah River WQ (1-4a) | Construct new facility, abandon old plant | 0.4 | Secondary | Secondary Limits | Town of Elkton | July 1, 1983 |
| 14 | Massanutten Public Service Corporation | Quail Run WQ (1-4c) | No further action recommended | 1.0 | AWT | 84.0(8) | Private | None |
| 15 | Shenandoah | S.F. Shenandoah River EL (1-4) | Upgrade, expand, correct I/I | 0.35 | Secondary | Secondary limits | Town of Shenandoah | No existing facility |
| 16 | Stanley | S.F. Shenandoah River EL (1-4) | Construct new facility | 0.3 | Secondary | Secondary limits | Town of Stanley | No existing facility |
| 18 | Luray | Hawksbill Creek WQ (1-4b) | Construct new facility, abandon old plant, correct I/I | 0.8 | Secondary | Secondary Limits | Town of Luray | July 1, 1983 |
| 19 | Front Royal | Shenandoah River EL (1-6) | Construct new facility, abandon old plant, correct I/I | 2.0 | Secondary | Secondary Limits | Town of Front Royal | July 1, 1983 |
| 20 | Broadway | N.F. Shenandoah River WQ (1-5b) | Upgrade, expand, investigate I/I | (6) | (6) | (6) | Town of Broadway | July 1, 1983 |
| 24 | Timberville | N.F. Shenandoah River WQ (1-5b) | Upgrade, expand, investigate I/I | (6) | (6) | (6) | Town of Timberville | July 1, 1983 |
| 25 | New Market | N.F. Shenandoah River EL (1-5) | Upgrade, investigate I/I | 0.2 | Secondary | Secondary Limits | Town of New Market | July 1, 1983 |
| 26 | Mount Jackson | N.F. Shenandoah River EL (1-5) | Upgrade, expand, correct I/I | .0.2 | Secondary | Secondary Limits | Town of Mount Jackson | July 1, 1983 |
| 27 | Edinburg | N.F. Shenandoah River EL (1-5) | Upgrade, expand, investigate I/I | 0.15 | Secondary AST | Secondary Limits 65 | Town of Edinburg Public | July 1, 1983 None |
| 28 | Stony Creek Sanitary District | River EL (1-5) Stony Creek WQ (1-5a) | No further action required | 0.6 | AST | 65 | Public |  |
| 29 | Woodstock | N.F. Shenandoah River EL (1-5) |  | 0.5 | Secondary | Secondary Limits | Town of Woodstock | July 1, 1983 |
| 30 | Toms Brook-Mauertown | Toms Brook EL (1-5) | Construct new facility | 0.189 | Secondary | Secondary Limits | Toms Brook | No existing facility |
| 31 | Strasburg | N.F. Shenandoah River EL (1-5) | Upgrade, expand, correct I/I | 0.8 | Secondary | Secondary Limits | Town of Strasburg | July 1, 1983 |
| 32 | Middletown | Meadow Brook EL (1-5) | Upgrade, expand | 0.2 | Secondary | Secondary | Town of Middletown | July 1, 1983 |
| 33 | Stephens City Stephens Run | Stephens Run EL (1-6a) | Upgrade, expand | 0.54 | AST | 72 | Frederick-Winchester Service Authority | July 1, 1983 |
| 34 | Berryville | Shenandoah River EL (1-6) | Upgrade, provide outfall to Shenandoah River, investigate I/I | 0.41 | Secondary | Secondary Limits | Town of Berryville | July 1, 1983 |
| 36 | Frederick-Winchester Regional | Opequon Creek WQ (1-7a) | Construct new facility, abandon county and city plans, correct I/I | 6.0 | AWT with nitrification | 456(7) | Frederick-Winchester Service Authority | July 1, 1983 |
| 37 | Monterey | West Strait Creek EL (1-9) | Upgrade, correct I/I | 0.075 | Secondary | Secondary Limits | Town of Monterey | July 1, 1983 |

TABLE B5 - NOTES: SHENANDOAH RIVER SUB-BASIN - RECOMMENDED PLAN FOR SELECTED MUNICIPAL WASTEWATER TREATMENT FACILITIES

(1) Year 2000 design flow (MGD) unless otherwise noted.

(2) Secondary treatment: 24-30 mg/I BOD5, advanced secondary treatment (AST): 11-23 mg/I BOD5, advanced wastewater treatment (AWT): <10 mg/l BOD5. A range is given to recognize that various waste treatment processes have different treatment efficiencies.

(3) Recommended wasteload allocation calculated using mathematical modeling based upon 7Q10 stream flows. Tiered permits may allow greater wasteloads during periods of higher stream flows. Allocations other than BOD5 are noted by footnote.

(4) The July 1, 1983, data is a statutory deadline required by P.L. 92-500, as amended by P.L. 92-217. The timing of construction grant funding may result in some localities to miss this deadline.

(5) Year 2008 design.

(6) This BOD loading is based on a 7QI0 flow rate of 26.8 cfs at the HRRSA discharge.

(7) NH3 -N = 50 lb/d.

(8) This allocation is based on a TKN loading no greater than 84 Ib/day.

9 VAC 25-720-60. James River Basin.

# A. Total maximum daily load (TMDLs).

| TMDL # | Stream Name | TMDL Title | City/County | WBID | Pollutant | WLA | Units |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Pheasanty Run | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Bath | I14R | Organic Solids | 1,231.00 | LB/YR |
| 2. | Wallace Mill Stream | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Augusta | I32R | Organic Solids | 2,814.00 | LB/YR |
| 3. | Montebello Sp. Branch | Benthic TMDL Reports for Six Impaired Stream Segments in the Potomac-Shenandoah and James River Basins | Nelson | H09R | Organic Solids | 37.00 | LB/YR |

B. Stream segment classifications, effluent limitations including water quality based effluent limitations, and waste load allocations.

TABLE B1 - UPPER JAMES RIVER BASIN RECOMMENDED SEGMENT CLASSIFICATION

| Stream Name | Segment No. | Mile to Mile | Classification | Comments |
| --- | --- | --- | --- | --- |
| Maury River | 2-4 | 80.3-0.0 | E.L. | Main & tributaries |
| James River | 2-5 | 271.5-266.0 | W.Q. | Main only |
| James River | 2-6 | 266.0-115.0 | E.L. | Main & tributaries except Tye & Rivanna River |
| Tye River | 2-7 | 41.7-0.0 | E.L. | Main & tributaries except Rutledge Creek |
| Rutledge Creek | 2-8 | 3.0-0.0 | W.Q. | Main only |
| Piney River | 2-9 | 20.6-0.0 | E.L. | Main & tributaries |
| Rivanna River | 2-10 | 20.0-0.0 | E.L. | Main & tributaries |
| Rivanna River | 2-11 | 38.1-20.0 | W.Q. | Main only |
| Rivanna River | 2-12 | 76.7-38.1 | E.L. | Main & tributaries |
| S.F. Rivanna River | 2-13 | 12.2-0.0 | E.L. | Main & tributaries |
| Mechum River | 2-14 | 23.1-0.0 | E.L. | Main & tributaries |
| N.F. Rivanna River | 2-15 | 17.0-0.0 | E.L. | Main & tributaries except Standardsville Run |
| Standardsville Run | 2-16 | 1.2-0.0 | W.Q. | Main only |
| Appomattox River | 2-17 | 156.2-27.7 | E.L. | Main & tributaries except Buffalo Creek, Courthouse Branch, and Deep Creek |
| Buffalo Creek | 2-18 | 20.9-0.0 | E.L. | Main & tributaries except Unnamed Tributary @ R.M. 9.3 |
| Unnamed Tributary of Buffalo Creek @ R.M. 9.3 | 2-19 | 1.3-0.0 | W.Q. | Main only |
| Courthouse Branch | 2-20 | 0.6-0.0 | W.Q. | Main only |
| Deep Creek | 2-21 | 29.5-0.0 | E.L. | Main & tributaries except Unnamed Tributary @ R.M. 25.0 |
| Unnamed Tributary of Deep Creek @ R.M. 25.0 | 2-22 | 2.2-0.0 | W.Q. | Main only |

TABLE B2 - UPPER JAMES RIVER BASIN LOAD ALLOCATIONS BASED ON EXISTING DISCHARGE POINT7

| Stream Name | Segment Number | Classification | Mile to Mile | Significant Discharges | Total Assimilative Capacity of Stream BOD5 lbs/day | Wasteload Allocation BOD5 lbs/day2 | Reserve BOD5 lbs/day5 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cedar Creek | 2-3 | E.L. | 1.9-0.0 | Natural Bridge, Inc. STP | 35.0 | 28.0 | 7.0 (20%) |
| Elk Creek | 2-3 | E.L. | 2.8-0.0 | Natural Bridge Camp for Boys STP | 7.0 | 3.3 | 3.7 (53%) |
| Little Calfpasture River | 2-4 | E.L. | 10.9-4.0 | Craigsville | 12.0 | 9.6 | 2.4 (20%) |
| Cabin River | 2-4 | E.L. | 1.7-0.0 | Millboro | Self -sustaining | None | None |
| Maury River | 2-4 | E.L. | 19.6-12.2 | Lexington STP | 380.0 | 380.0 | None |
| Maury River | 2-4 | E.L. | 12.2-1.2 | Georgia Bonded Fibers | 760.0 | 102.03 | 238.0 (31%) |
|  |  |  |  | Buena Vista STP |  | 420.0 |  |
| Maury River | 2-4 | E.L. | 1.2-0.0 | Lees Carpets | 790.0 | 425.03 | 290.0 (37%) |
|  |  |  |  | Glasgow STP |  | 75.0 |  |
| James River | 2-5 | W.Q. | 271.5-266.0 | Owens-Illinois | 4,640.0 | 4,640.03 | None |
| James River | 2-6 | E.L. | 257.5-231.0 | Lynchburg STP | 10,100.0 | 8,000.0 | 2,060.0 (20%) |
|  |  |  |  | Babcock & Wilcox- NNFD |  | 40.03 |  |
| James River | 2-6 | E.L. | 231.0-202.0 | Virginia Fibre | 3,500.0 | 3,500.0 | None |
| Rutledge Creek | 2-8 | W.Q. | 3.0-0.0 | Amherst STP | 46.0 | 37.0 | 9.0 (20%) |
| Town Creek | 2-7 | E.L. | 2.1-0.0 | Lovingston STP | 26.0 | 21.0 | 5.0 (20%) |
| Ivy Creek | 2-6 | E.L. | 0.1-0.0 | Schuyler | 13.8 | 11.0 | 2.8 (20%) |
| James River | 2-6 | E.L. | 186.0-179.0 | Uniroyal, Inc. | 1,400.0 | 19.36 | 1,336.0 (95%) |
|  |  |  |  | Scottsville STP |  | 45.0 |  |
| North Creek | 2-6 | E.L. | 3.1-0.0 | Fork Union STP | 31.0 | 25.0 | 6.0 (20%) |
| Howells Branch and Licking Hole Creek | 2-14 | E.L. | 0.7-0.0 | Morton Frozen Foods | 20.0 | 20.03 | None |
| Standardsville Run | 2-16 | W.Q. | 1.2-0.0 | Standardsville STP | 17.9 | 14.3 | 3.6 (20%) |
| Rivanna River | 2-11 | W.Q. | 23.5-20.0 | Lake Monticello STP | 480.0 | 380.0 | 100.0 (20%) |
| Rivanna River | 2-10 | E.L. | 15.0-0.0 | Palmyra | 250.0 | 4.0 | 158.0 (63%) |
|  |  |  |  | Schwarzenbach Huber |  | 88.03 |  |
| Unnamed Tributary of Whispering Creek | 2-6 | E.L. | 1.2-00 | Dillwyn STP | 38.0 | 30.0 | 8.0 (21%) |
| South Fork Appomattox River | 2-17 | E.L. | 5.5-0.0 | Appomattox Lagoon | 18.8 | 15.0 | 3.8 (20%) |
| Unnamed Tributary of Buffalo Creek | 2-19 | W.Q. | 1.3-0.0 | Hampden-Sydney Coll. STP | 10.0 | 8.0 | 2.0 (20%) |
| Appomattox River | 2-17 | E.L. | 106.1-88.0 | Farmville STP | 280.0 | 220.0 | 60.0 (21%) |
| Unnamed Tributary of Little Guinea Creek | 2-17 | E.L. | 2.5-1.3 | Cumberland H.S. Lagoon | 0.6 | 0.5 | 0.1 (20%) |
| Unnamed Tributary of Tear Wallet Creek | 2-17 | E.L. | 0.68-0.0 | Cumberland Courthouse | 8.8 | 7.0 | 1.8 (20%) |
| Courthouse Branch | 2-22 | W.Q. | 2.2-0.0 | Amelia STP | 21.0 | 17.0 | 4.0 (20%) |
| Unnamed Tributary of Deep Creek | 2-22 | W.Q. | 2.2-0.0 | Crewe STP | 50.311,12 | 50.111, 12 | 0.2 (0.4%)11,12,13 |

1 Recommended classification.

2 Based on 2020 loads or stream assimilative capacity less 20%.

3 Load allocation based on published NPDES permits.

4 This assimilative capacity is based upon an ammonia loading no greater than 125.1 lbs/day.

5 Percentages refer to reserve as percent of total assimilative capacity. Minimum reserve for future growth and modeling accuracy is 20% unless otherwise noted.

6 No NPDES Permits published (BPT not established) allocation base on maximum value monitored.

7 This table is for the existing discharge point. The recommended plan may involve relocation or elimination of stream discharge.

8 Assimilative capacity will be determined upon completion of the ongoing study by Hydroscience, Inc.

9 Discharges into Karnes Creek, a tributary to the Jackson River.

10 Discharges into Wilson Creek, near its confluence with Jackson River.

11 Five-day Carbonaceous Biological Oxygen Demand (cBOD5).

12 Revision supersedes all subsequent Crewe STP stream capacity, allocation, and reserve references.

13 0.4 percent reserve: determined by SWCB Piedmont Regional Office.

Source: Wiley & Wilson, Inc.

TABLE B3 - UPPER JAMES RIVER BASIN ADDITIONAL LOAD ALLOCATIONS BASED ON RECOMMENDED DISCHARGE POINT

| Stream Name | Segment Number | Classification1 | Mile to Mile | Significant Discharges | Total Assimilative Capacity of Stream BOD5 lbs/day | Wasteload2 Allocation BOD5 lbs/day | Reserve4 BOD5 lbs/day5 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Mill Creek | 2-4 | E.L. | 5.5-0.0 | Millboro | 30.0 | 7.3 | 22.7 (76%) |
| Calfpasture River | 2-4 | E.L. | 4.9-0.0 | Goshen | 65.0 | 12.0 | 53.0 (82%) |
| Maury River | 2-4 | E.L. | 1.2-0.0 | Lees Carpet | 790.0 | 425.03 | 235.0 (30%) |
|  |  |  |  | Glasgow Regional S.T.P. |  | 130.0 |  |
| Buffalo River | 2-7 | E.L. | 9.6-0.0 | Amherst S.T.P. | 150.0 | 120.0 | 30.0 (20%) |
| Rockfish River | 2-6 | E.L. | 9.5-0.0 | Schuyler S.T.P. | 110.0 | 25.0 | 85.0 (77%) |
| Standardsville Run |  | E.L. |  | Standardsville | Land Application Recommended |  |
| South Fork Appomattox River |  | E.L. |  | Appomattox Lagoon | Connect to Recommended Facility in Roanoke River Basin |
| Buffalo Creek | 2-17 | E.L. | 9.3-7.7 | Hampden-Sydney College | 46.0 | 23.0 | 23.0 (50%) |
| Unnamed trib. of Tear Wallet Creek |  | E.L. |  | Cumberland Courthouse | Land Application Recommended |  |
| Courthouse Branch |  | E.L. |  | Amelia | Land Application Recommended |  |
| Deep Creek | 2-17 | E.L. | 25.0-12.8 | Crewe S.T.P. | 69.0 | 55.0 | 14.0 (20%) |

1Recommended classification.

2Based on 2020 loads or stream assimilative capacity less 20%.

3Load allocation based on published NPDES permit.

4Percentages refer to reserve as percent of total assimilative capacity. Minimum reserve for future growth and modeling accuracy is 20% unless otherwise noted.

5Assimilative capacity will be determined upon completion of the ongoing study by Hydroscience, Inc.

Source: Wiley & Wilson, Inc.

TABLE B4 - SEGMENT CLASSIFICATION UPPER JAMES-JACKSON RIVER SUBAREA

| Stream Name | Segment Number | Mile to Mile | Stream Classification | Comments |
| --- | --- | --- | --- | --- |
| Back Creek | 2-1 | 16.06-8.46 | W.Q. | Main Only |
| Jackson River | 2-1 | 95.70-24.90 | E.L. | Main and Tributaries |
| Jackson River | 2-2 | 24.90-0.00 | W.Q. | Main Only |
| Jackson River | 2-2 | 24.90-0.00 | E.L. | Tributaries Only |
| James River | 2-3 | 349.50-308.50 | E.L. | Main and Tributaries |
| James River | 2-3 | 308.50-279.41 | E.L. | Main and Tributaries |

TABLE B5 - UPPER JAMES-JACKSON RIVER SUBAREA WASTELOAD ALLOCATIONS BASED ON EXISTING DISCHARGE POINT1

| MAP LOCATION | STREAM NAME | SEGMENT NUMBER | SEGMENT CLASSIFICATION STANDARDS | MILE to2 MILE | DISCHARGER | VPDES PERMIT NUMBER | VPDES PERMIT LIMITS BOD5 kg/day | 303(e)3 WASTELOAD ALLOCATION BOD5 kg/day |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Jackson River | 2-1 | E.L. | 93.05- | Virginia Trout | VA0071722 | N/A | Secondary |
| B | Warm Springs Run | 2-1 | E.L. | 3.62-0.00 | Warm Springs STP | VA0028233 | 9.10 | Secondary |
| 3 | Back Creek | 2-1 | W.Q. | 16.06-8.46 | VEPCO | VA0053317 | 11.50 | 11.50 |
| C | X-trib to Jackson River | 2-1 | E.L. | 0.40-0.0 | Bacova | VA0024091 | 9.10 | Secondary |
| D | Hot Springs Run | 2-1 | E.L. | 5.30-0.00 | Hot Springs Reg. STP | VA0066303 | 51.10 | Secondary |
| E | X-trib to Cascades Creek | 2-1 | E.L. | 3.00-0.00 | Ashwood-Healing Springs STP | VA0023726 | 11.30 | Secondary |
| F | Jackson River | 2-1 | E.L. | 50.36- | U.S. Forest Service Bolar Mountain | VA0032123 | 1.98 | Secondary |
| G | Jackson River | 2-1 | E.L. | 43.55 | U.S. Army COE Morris Hill Complex | VA0032115 | 1.70 | Secondary |
| H | Jackson River | 2-1 | E.L. | 29.84- | Alleghany County Clearwater Park | VA0027955 | 5.70 | Secondary |
| 4 | Jackson River | 2-1 | E.L. | 25.99 | Covington City Water Treatment Plant | VA0058491 | N/A | Secondary |
| 5 | Jackson River | 2-2 | W.Q. | 24.64-19.03 | Westvaco | VA0003646 | 4,195.00 | 4,195.004 |
| 6 |  |  |  |  | Covington City5 Asphalt Plant | VA0054411 | N/A | N/A |
| 7 |  |  |  |  | Hercules, Inc6 | VA0003450 | 94.00 | 94.00 |
| J | Jackson River | 2-2 | W.Q. | 19.03-10.5 | Covington STP | VA0025542 | 341.00 | 341.00 |
| K | Jackson River |  |  | 10.5-0.0 | Low Moor STP7 | VA0027979 | 22.70 | 22.70 |
| M |  |  |  |  | D.S. Lancaster CC8 | VA0028509 | 3.60 | 3.60 |
| L |  |  |  |  | Selma STP9 | VA0028002 | 59.00 | 59.00 |
| 10 |  |  |  |  | The Chessie System10 | VA0003344 | N/A | N/A |
| N |  |  |  |  | Clifton Forge STP11 | VA0002984 | 227.00 | 227.00 |
| 11 |  |  |  |  | Lydall12 | VA0002984 | 6.00 | 6.00 |
| P |  |  |  |  | Iron Gate STP13 | VA0020541 | 60.00 | 60.00 |
| 8 | Paint Bank Branch | 2-2 | E.L. | 1.52 | VDGIF Paint Bank Hatchery | VA0098432 | N/A | Secondary |
| I | Jerrys Run | 2-2 | E.L. | 6.72- | VDOT 1-64 Rest Area | VA0023159 | 0.54 | Secondary |
| AA | East Branch (Sulfer Spring) | 2-2 | E.L. | 2.16 | Norman F. Nicholas | VA0078403 | 0.05 | Secondary |
| BB | East Branch (Sulfer Spring) | 2-2 | E.L. | 1.91- | Daryl C. Clark | VA0067890 | 0.068 | Secondary |
| 9 | Smith Creek | 2-2 | E.L. | 3.44- | Clifton Forge Water Treatment Plant | VA0006076 | N/A | Secondary |
| O | Wilson Creek | 2-2 | E.L. | 0.20-0.0 | Cliftondale14 Park STP | VA0027987 | 24.00 | Secondary |
| 2 | Pheasanty Run | 2-3 | E.L. | 0.01- | Coursey Springs | VA0006491 | 434.90 | Secondary |
| Q | Grannys Creek | 2-3 | E.L | 1.20- | Craig Spring Conference Grounds | VA0027952 | 3.40 | Secondary |
| CC | X-trib to Big Creek | 2-3 | E.L | 1.10- | Homer Kelly Residence | VA0074926 | 0.05 | Secondary |
| 12 | Mill Creek | 2-3 | E.L | 0.16- | Columbia Gas Transmission Corp. | VA0004839 | N/A | Secondary |
| R | John Creek | 2-3 | E.L | 0.20- | New Castle STP(old) | VA0024139 | 21.00 | Secondary |
| S | Craig Creek | 2-3 | E.L | 48.45-36.0 | New Castle STP (new) | VA0064599 | 19.90 | Secondary |
| T | Craig Creek | 2-3 | E.L | 46.98- | Craig County Schools McCleary E.S. | VA0027758 | 0.57 | Secondary |
| DD | Eagle Rock Creek | 2-3 | E.L. | 0.08- | Eagle Rock STP15 (Proposed) | VA0076350 | 2.30 | Secondary |
| U | X-trib to Catawba Creek | 2-3 | E.L. | 0.16 | VDMH & R Catawba Hospital | VA0029475 | 13.60 | Secondary |
| 14 | Catawba Creek | 2-3 | E.L. | 23.84 | Tarmac-Lonestar | VA0078393 | 0.80 | Secondary |
| FF | Borden Creek | 2-3 | E.L | 2.00- | Shenandoah Baptist Church Camp | VA0075451 | 0.88 | Secondary |
| EE | X-trib to Borden Creek | 2-3 | E.L | 0.36 | David B. Pope | VA0076031 | 0.07 | Secondary |
| V | X-trib to Catawba Creek | 2-3 | E.L | 3.21- | U.S. FHA Flatwood Acres | VA0068233 | 0.03 | Secondary |
| W | Catawba Creek | 2-3 | E.L | 11.54- | Fincastle STP | VA0068233 | 8.50 | Secondary |
| X | Looney Mill Creek | 2-3 | E.L | 1.83- | VDOT I-81 Rest Area | VA0023141 | 0.91 | Secondary |
| Y | X-trib to Stoney | 2-3 | E.L | 0.57 | VDOC Field Unit No. 25 Battle Creek | VA0023523 | 1.10 | Secondary |
| Z | James River | 2-3 | E.L. | 308.5-286.0 | Buchanan STP | VA0022225 | 27.00 | Secondary |

TABLE B5 - NOTES:

N/A Currently No BOD5 limits or wasteload have been imposed by the VPDES permit. Should BOD5 limits (wasteload) be imposed a WQMP amendment would be required for water quality limited segments only.

1 Secondary treatment levels are required in effluent limiting (E.L.) segments. In water quality limiting (W.Q.) segments quantities listed represent wasteload allocations.

2 Ending river miles have not been determined for some Effluent Limited segments.

3 These allocations represent current and original (1977 WQMP) modeling. Future revisions may be necessary based on Virginia State Water Control Board modeling.

4 The total assimilative capacity at critical stream flow for this portion of Segment 2-2 has been modeled and verified by Hydroscience, Inc. (March 1977) to be 4,914 kg/day BOD5.

5 The discharge is to an unnamed tributary to the Jackson River at Jackson River mile 22.93.

6 The discharge is at Jackson River mile 19.22.

7 The discharge is to the mouth of Karnes Creek, a tributary to the Jackson River at Jackson River mile 5.44.

8 The discharge is at Jackson River mile 6.67.

9 The discharge is at Jackson River mile 5.14.

10 The discharge is at Jackson River mile 4.72.

11 The discharge is at Jackson River mile 3.46.

12 The discharge is at Jackson River mile 1.17

13 The discharge is at Jackson River mile 0.76

14 The discharge is to the mouth of Wilson Creek, a tributary to the Jackson River at Jackson River mile 2.44.

15 The discharge is to the mouth of Eagle Rock Creek, a tributary to the Jackson River at Jackson River mile 330.35.

TABLE B6 - RICHMOND CRATER INTERIM WATER QUALITY MANAGEMENT PLAN STREAM CLASSIFICATIONS - JAMES RIVER BASIN

| SEGMENT | SEGMENT NUMBER | MILE TO MILE | CLASSIFICATION |
| --- | --- | --- | --- |
| USGS HUC02080206 James River | 2-19 | 115.0-60.5 | W.Q. |
| USGS HUC02080207 Appomattox | 2-23 | 30.1-0.0 | W.Q. |

TABLE B6- * Note: A new stream segment classification for the Upper James Basin was adopted in 1981. The SWCB will renumber or realign these segments in the future to reflect these changes. This Plan covers only a portion of these segments.

TABLE B7 - RICHMOND CRATER INTERIM WATER QUALITY MANAGEMENT PLAN– CURRENT PERMITTED WASTE LOADS (March 1988)

|  | SUMMER (June-October) |  | WINTER (November-May) |
| --- | --- | --- | --- |
|  | FLOW (mgd) | BOD5 | NH3-N1 | DO2 (mg/l) |  | FLOW (mgd) | BOD5 | NH3-N1 | DO2 (mg/l) |
|  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |
| City of Richmond STP3 | 45.00 | 3002 | 8.0 | - | - | - |  | 45.00 | 5367 | 14.3 | - | - | - |
| E.I. DuPont-Spruance | 8.68 | 936 | - | - | - | - |  | 8.68 | 936 | - | - | - | - |
| Falling Creek STP | 9.00 | 1202 | 16.0 | - | - | 5.9 |  | 9.00 | 2253 | 30.0 | - | - | 5.9 |
| Proctor’s Creek STP | 6.40 | 1601 | 30.0 | - | - | 5.9 |  | 11.80 | 2952 | 30.0 | - | - | 5.9 |
| Reynolds Metals Company | 0.39 | 138 | - | 7 | - | - |  | 0.39 | 138 | - | 7 | - | - |
| Henrico STP | 30.00 | 3005 | 12.0 | - | - | 5.9 |  | 30.00 | 7260 | 29.0 | - | - | 5.9 |
| American Tobacco Company | 1.94 | 715 | - | - | - | - |  | 1.94 | 716 | - | - | - | - |
| ICI Americas, Inc. | 0.20 | 152 | - | - | - | - |  | 0.20 | 152 | - | - | - | - |
| Phillip Morris- Park 500 | 1.50 | 559 | - | - | - | - |  | 1.50 | 557 | - | - | - | - |
| Allied (Chesterfield) | 51.00 | 1207 | - | - | - | - |  | 51.00 | 1207 |  | - | - | - |
| Allied (Hopewell) | 150.00 | 2500 | - | - | - | - |  | 150.00 | 2500 | - | - | - | - |
| Hopewell Regional WTF | 34.08 | 12507 | 44.0 | - | - | 4.8 |  | 34.08 | 12507 | 44.0 | - | - | 4.8 |
| Petersburg STP | 15.00 | 2804 | 22.4 | - | - | 5.0 |  | 15.00 | 2804 | 22.4 | - | - | 5.0 |
| TOTAL | 353.19 | 30328 |  |  |  |  |  | 358.59 | 39349 |  |  |  |  |

1 NH3-N values represent ammonia as nitrogen.

2 Dissolved oxygen limits represent average minimum allowable levels.

3 Richmond STP’s BOD5 is permitted as CBOD5

TABLE B7 - WASTE LOAD ALLOCATIONS FOR THE YEAR 1990

|  | SUMMER (June-October) |  | WINTER (November-May) |
| --- | --- | --- | --- |
|  | FLOW (mgd) | CBOD5 | NH3-N1,3 | DO2 (mg/l) |  | CBOD5 | NH3-N1 | DO2 (mg/l) |
|  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |
| City of Richmond STP | 45.00 | 3002 | 8.0 | 2403 | 6.4 | 5.6 |  | 5367 | 14.3 | 5707 | 15.2 | 5.6 |
| E.I. DuPont-Spruance | 11.05 | 948 |  | 590 |  | 4.4 |  | 948 |  | 756 |  | 2.9 |
| Falling Creek STP | 10.10 | 1348 | 16.0 | 539 | 6.4 | 5.9 |  | 2023 | 24.0 | 1281 | 15.2 | 5.9 |
| Proctor’s Creek STP | 12.00 | 1602 | 16.0 | 961 | 9.6 | 5.9 |  | 2403 | 24.0 | 1402 | 14.0 | 5.9 |
| Reynolds Metals Co. | 0.49 | 172 |  | 8 |  | 6.5 |  | 172 |  | 8 |  | 6.5 |
| Henrico STP | 30.00 | 3002 | 12.0 | 2403 | 9.6 | 5.6 |  | 4756 | 19.0 | 3504 | 44.0 | 5.6 |
| American Tobacco Co. | 2.70 | 715 |  | 113 |  | 5.8 |  | 715 |  | 113 |  | 5.8 |
| ICI Americas, Inc. | 0.20 | 167 |  | 8 |  | 5.8 |  | 167 |  | 8 |  | 3.1 |
| Phillip Morris- Park 500 | 2.20 | 819 |  | 92 |  | 4.6 |  | 819 |  | 92 |  | 4.6 |
| Allied (Chesterfield) | 53.00 | 1255 |  | 442 |  | 5.7 |  | 1255 |  | 442 |  | 5.7 |
| Allied (Hopewell) | 165.00 | 2750 |  | 10326 |  | 6.1 |  | 2750 |  | 10326 |  | 6.1 |
| Hopewell Regional WTF | 34.07 | 12502 | 44.0 | 12091 | 36.2 | 4.8 |  | 12502 | 44.0 | 10291 | 36.2 | 4.8 |
| Petersburg STP | 15.00 | 2802 | 22.4 | 801 | 6.4 | 5.0 |  | 2802 | 22.4 | 2028 | 16.2 | 5.0 |
| TOTAL | 380.81 | 31084 |  | 28978 |  |  |  | 36679 | 35958 |  |  |  |

1 NH3-N values represent ammonia as nitrogen.

2 Dissolved oxygen limits represent average minimum allowable levels.

3 Allied (Hopewell) allocation may be redistributed to the Hopewell Regional WTF by VPDES permit.

TABLE B7- WASTE LOAD ALLOCATION FOR THE YEAR 2000

|  | SUMMER (June-October) |  | WINTER (November-May) |
| --- | --- | --- | --- |
|  | FLOW (mgd) | CBOD5 | NH3-N1,3 | DO2 (mg/l) |  | CBOD5 | NH3-N1 | DO2 (mg/l) |
|  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |
| City of Richmond STP | 45.08 | 3002 | 8.0 | 2403 | 6.4 | 5.6 |  | 5367 | 14.3 | 5707 | 15.2 | 5.6 |
| E.I. DuPont-Spruance | 196.99 | 948 |  | 590 |  | 4.4 |  | 948 |  | 756 |  | 2.9 |
| Falling Creek STP | 10.10 | 1348 | 16.0 | 539 | 6.4 | 5.9 |  | 2023 | 24.0 | 1281 | 15.2 | 5.9 |
| Proctor’s Creek STP | 16.80 | 1602 | 11.4 | 961 | 6.9 | 5.9 |  | 2403 | 17.1 | 1402 | 10.0 | 5.9 |
| Reynolds Metals Co. | 0.78 | 172 |  | 13 |  | 6.5 |  | 172 |  | 13 |  | 6.5 |
| Henrico STP | 32.80 | 3002 | 11.0 | 2403 | 8.8 | 5.6 |  | 4756 | 17.4 | 3504 | 12.8 | 5.6 |
| American Tobacco Co. | 3.00 | 715 |  | 113 |  | 5.8 |  | 715 |  | 113 |  | 5.8 |
| ICI Americas, Inc. | 0.20 | 167 |  | 8 |  | 5.8 |  | 167 |  | 8 |  | 3.1 |
| Phillip Morris- Park 500 | 2.90 | 819 |  | 92 |  | 4.6 |  | 819 |  | 92 |  | 4.6 |
| Allied (Chesterfield) | 56.00 | 1255 |  | 442 |  | 5.7 |  | 1255 |  | 442 |  | 5.7 |
| Allied (Hopewell) | 170.00 | 2750 |  | 10326 |  | 6.1 |  | 2750 |  | 10326 |  | 6.1 |
| Hopewell Regional WTF | 36.78 | 12502 | 40.7 | 12091 | 33.5 | 4.8 |  | 12502 | 40.7 | 10291 | 33.5 | 4.8 |
| Petersburg STP | 15.00 | 2802 | 22.4 | 801 | 6.4 | 5.0 |  | 2802 | 22.4 | 2028 | 16.2 | 5.0 |
| TOTAL | 406.43 | 31084 |  | 28982 |  |  |  | 36679 |  | 35963 |  |  |

1 NH3-N values represent ammonia as nitrogen.

2 Dissolved oxygen limits represent average minimum allowable levels.

3 Allied (Hopewell) allocation may be redistributed to the Hopewell Regional WTF by VPDES permit.

TABLE B7- WASTE LOAD ALLOCATIONS FOR THE YEAR 2010

|  | SUMMER (June-October) |  | WINTER (November-May) |
| --- | --- | --- | --- |
|  | FLOW (mgd) | CBOD5 | NH3-N1,3 | DO2 (mg/l) |  | CBOD5 | NH3-N1 | DO2 (mg/l) |
|  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |  | (lbs/d) | (mg/l) | (lbs/d) | (mg/l) |  |
| City of Richmond STP | 45.86 | 3002 | 7.8 | 2403 | 6.3 | 5.6 |  | 5367 | 14.0 | 5707 | 14.9 | 5.6 |
| E.I. DuPont-Spruance | 16.99 | 948 |  | 590 |  | 4.4 |  | 948 |  | 756 |  | 2.9 |
| Falling Creek STP | 10.10 | 1348 | 16.0 | 539 | 6.4 | 5.9 |  | 2023 | 24.0 | 1281 | 15.2 | 5.9 |
| Proctor’s Creek STP | 24.00 | 1602 | 8.0 | 961 | 4.8 | 5.9 |  | 2403 | 12.0 | 1402 | 7.0 | 5.9 |
| Reynolds Metals Co. | 0.78 | 172 |  | 13 |  | 6.5 |  | 172 |  | 13 |  | 6.5 |
| Henrico STP | 38.07 | 3002 | 9.5 | 2403 | 7.6 | 5.6 |  | 4756 | 15.0 | 3504 | 11.0 | 5.6 |
| American Tobacco Co. | 3.00 | 715 |  | 113 |  | 5.8 |  | 715 |  | 113 |  | 5.8 |
| ICI Americas, Inc. | 0.20 | 167 |  | 8 |  | 5.8 |  | 167 |  | 8 |  | 3.1 |
| Phillip Morris- Park 500 | 2.90 | 819 |  | 92 |  | 4.6 |  | 819 |  | 92 |  | 4.6 |
| Allied (Chesterfield) | 56.00 | 1255 |  | 442 |  | 5.7 |  | 1255 |  | 442 |  | 5.7 |
| Allied (Hopewell) | 180.00 | 2750 |  | 10326 |  | 6.1 |  | 2750 |  | 10326 |  | 6.1 |
| Hopewell Regional WTF | 39.61 | 12502 | 37.8 | 10291 | 31.1 | 4.8 |  | 12502 | 37.8 | 10291 | 31.1 | 4.8 |
| Petersburg STP | 15.00 | 2802 | 22.4 | 801 | 6.4 | 5.0 |  | 2802 | 22.4 | 2028 | 16.2 | 5.0 |
| TOTAL | 432.1 | 31084 |  | 28982 |  |  |  | 36679 |  | 35963 |  |  |

1 NH3-N values represent ammonia as nitrogen.

2 Dissolved oxygen limits represent average minimum allowable levels.

3 Allied (Hopewell) allocation may be redistributed to the Hopewell Regional WTF by VPDES permit.

9 VAC 25-720-90. Tennessee-Big Sandy River Basin.

A. Total maximum Daily Load (TMDLs).

| TMDL # | Stream Name | TMDL Title | City/County | WBID | Pollutant | WLA | Units |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Guest River | Guest River Total Maximum Load Report | Wise | P11R | Sediment | 317.52 | LB/YR |
| 2. | Cedar Creek | Total Maximum Daily Load (TMDL) Development for Cedar Creek, Hall/Byers Creek and Hutton Creek | Washington | O05R | Sediment | 1,789.93 | LB/YR |
| 3. | Hall/Byers Creek | Total Maximum Daily Load (TMDL) Development for Cedar Creek, Hall/Byers Creek and Hutton Creek | Washington | O05R | Sediment | 57,533.49 | LB/YR |
| 4. | Hutton Creek | Total Maximum Daily Load (TMDL) Development for Cedar Creek, Hall/Byers Creek and Hutton Creek | Washington | O05R | Sediment | 91.32 | LB/YR |

B. Stream segment classifications, effluent limitations including water quality based effluent limitations, and waste load allocations.

TABLE B1 - SEWERAGE SERVICE AREAS

| Map1 No. | Locality | Receiving Stream Classification2 | NPDES LIMITS3 | Status of Applicable4 Section 201 Programs (March 1977) |
| --- | --- | --- | --- | --- |
|  |  |  | FLOW (mgd) | BOD5 (1lbs/day) | SS (lbs/day) |  |
| 14T | Abingdon | EL | 0.6 | 840 | 840 | Step III at EPA for award. |
| 14B | Amonate | EL | Permit to be issued in future | Not on priority list. |
| 4T | Appalachia | EL | 0.3 | 75 | 75 | To be studied with Big Stone Gap |
| 5T | Big Stone Gap | EL | 0.8 | 240 | 240 | Recommended for FY 77 Step 1. |
| 13B | Bishop | EL | Permit to be issued in future | Not on priority list. |
|  | Bristol | EL | Served by plant in Tennessee | Health hazard area to be served by collection system funded in FY 76. Extension of existing interceptor into Bearer Creek & Sinking Creek area to be funded by Region IV EPA and Tennessee. Also infiltration/inflow study to be funded in FY 77. |
| 23T | Chilhowie | EL | 0.265 | 68.5 | 79.6 | Proposed Step I study with Marion. |
|  | Cleveland | WQ | 0.05 | 12.5 | 12.5 | Step III grant awarded by EPA. |
|  | Clinchport | WQ | Not to exceed present discharge | Town and Country Authority has not yet applied for Step I from FY 76 funds. |
| 2B | Clintwood | WQ | 0.235 | *70.5/117.5 | *70.5/ 117.5 | On FY 77 list for Step I. |
| 11T | Coeburn | WQ | 0.4 | 160 | 160 | On FY 77 list for Step I. |
| 18T | Damascus | EL | 0.25 | 62.5 | 62.5 | Final audit and inspection of facility completed. |
| 6T | Duffield | EL | 0.075 | 30 | 30 | Not on priority list. |
|  | Dungannon- Fort Blackmore | WQ | Permit to be issued in future | Not on priority list. |
| 10T | Gate City- Weber City | EL | 0.504 | *151/252 | *151/252 | Step I in progress. |
| 3B, 5B | Harmon-Big Rock |  | 1.25 | 156 | 312 | System is approved by state and submitted to EPA. |
| 6B, 7B | Grundy-Vansant | WQ | Permit to be issued in future | System is approved and submitted to EPA. |
| 9B | Haysi | WQ | Permit to be issued in future | Step I plan is complete. Town disapproved plan. SWCB evaluating alternatives. |
| 8B T | Hurley | WQ | Permit to be issued in future | Step I plan complete and under review by state. |
| 1T | Jonesville | EL | 0.15 | 38 | 38 | Not on priority list. |
| 13T | Lebanon | WQ | 0.2 | 60 | 60 | Step III application at EPA. |
| 25T | Marion | EL | 1.7 | 510 | 510 | Step I recommended for FY 77. Marion is proceeding on infiltration/inflow study under prior approval from EPA. |
|  | Nickelsville | WQ | Permit to be issued in future | Not on priority list. |
| 7T, 8T | Norton | WQ | 0.77, 0.22 | 832,371 | 640,0184 | Step I in process (with Wise). |
| 2T | Pennington Gap | EL | 0.315 | 410 | 315 | Step I recommended for FY 76. Community has not yet completed Step I application. |
| 1 B | Pound | WQ | 0.175 | 44 | 44 | Step III funded by EPA. Facility nearly completed. |
| 19T | Raven-Doran | WQ | 0.26 | 67.2 | 78 | System to remain unchanged. |
| 20T | Richlands | WQ | 0.8 | 845 | 650 | Step I in process. Step II recommended in FY 77. |
|  | Rosedale | WQ | Permit to be issued in future | Not on priority list. |
|  | Rose Hill-Ewing | EL | Permit to be issued in future | Not on priority list. |
| 3T | St. Charles | EL | 0.125 | 25 | 25 | Abandonment proposed. Then to be served by Pennington Gap, subject to recommendations of Facility Plan. |
| 12T | St. Paul | WQ | 0.4 | 100 | 100 | Complete and audited by EPA. |
| 22T | Saltville | EL | 0.5 | 125 | 125 | Complete and audited by EPA. |
|  | Sugar Grove-Teas | EL | Permit to be issued in future | Not on priority list. |
| 15T | Swords Creek-Honaker | EL | 0.144 | 187 | 144 | Step I in FY 76. Step II recommended in FY 77. |
| 24T | Tazewell, Town of | EL | 0.70 | *210/350 | *210/350 | Step I recommended in FY 77. |
| 10B, 11B, 12B | Trammel-McClure | WQ | Permit to be issued in future | Not on priority list. |
| 9T | Wise | WQ | 0.28 | 112 | 112 | Step I in progress (with Norton). |

1 Dischargers are shown on Plate 3-B (Map No. with “B” designates Big Sandy) and 3-T (Map No. with “T” designates Tennessee).

2 Effluent Limiting (EL) or Water Quality (WQ).

3 For existing sewage treatment facility.

4 For new sewage treatment facility.

*Seasonal NPDES allowable loading: April to September/October to March.

Source: Thompson & Litton and State Water Control Board.

B. Stream segment classifications, effluent limitations including water quality based effluent limitations, and waste load allocations.

9 VAC 25-720-130. New River.

A. Total maximum Daily Load (TMDLs).

| TMDL # | Stream Name | TMDL Title | City/County | WBID | Pollutant | WLA | Units |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Stroubles Creek | Benthic TMDL for Stroubles Creek in Montgomery County, Virginia | Montgomery | N22R | Sediment | 233.15 | T/YR |

B. Stream segment classifications, effluent limitations including water quality based effluent limitations, and waste load allocations.

TABLE B1- SEWERAGE SERVICE AREAS

| Map1 No. | Locality | Receiving2 Stream Classification | NPDES Limits3 Flow BOD5 SS (mgd) (kg/day) (kg/day) | Status of Applicable4 Section 201 Programs (January 1980) |
| --- | --- | --- | --- | --- |
|  | Abbs Valley | WQ | Permit not needed at present | Not on priority list |
|  | Austinville | EL | Permit not needed at present | Not on priority list |
|  | Bastian | EL | Permit not needed at present | Continue to use septic tanks for present |
| 1 | Blacksburg | EL | 6.0 | 544.8 | 544.8 | Completed |
|  | Bland | EL | Permit to be issued in future | Not on priority list |
| 29 | Bluefield | WQ | 3.5 | 106 | 106 | Near Completion |
|  | Boissevain | WQ | Effluent treated at Pocahontas | Redesign to treat at Pocahontas underway |
| 2 | Christiansburg | WQ | 2.0 | 113.5 | 113.5 | Completed |
| 3 | Dublin | EL | .22 | 29.9/49.9 | 29.9/49.9 | To be connected to Pepper's Ferry STP (Radford Cluster) in FY-80 |
|  | Elk Creek | EL | Permit not needed at present | Continue to use septic tanks |
| 4 | Fairlawn | EL | .26 | 47 | 47 | To be connected to Pepper's Ferry STP (Radford Cluster) |
|  | Falls Mills | WQ | .144 | 5.5 | 5.5 | Step I approved; limits for new plant |
|  | Flat Ridge | EL | Permit not needed at present | Not on priority list |
| *5 | Floyd | EL | .1 | 59.0 | 45.4 | Small community; Step IV |
| 13 | Fries | EL | .02 | 11.8 | 9.1 | Step I approved |
| 14 |  |  | .16 | 94.5 | 72.7 |  |
| 17 | Galax | EL | 1.5 | 170 | 170 | Not on priority list |
|  | Glen Lyn | EL | Permit not needed at present | Not on priority list |
| 15 | Hillsville | EL | .2 | 23 | 23 | Step I to be approved soon |
| 16 |  |  | .15 | 17 | 17 |  |
| *18 | Independence | EL | .2 | 22.7 | 22.7 | Step I approved; selected alternative was for one plant |
| 19 |  |  | .1 | 11.4 | 11.4 |  |
|  | Ivanhoe | EL | Permit not needed at present | Continue to use septic tanks |
|  | Max Meadows | EL | Permit to be issued in future | Not on priority list |
|  | Mechanicsburg | EL | Permit not needed at present | Not on priority list |
| 6 | Narrows | EL | 0.60 | 354.0 | 272.0 | Step I at EPA; Step II - FY-80 |
|  | Newport | EL | Permit not needed at present | Not on priority list |
| 7 | Pearisburg | EL | 0.30 | 177.0 | 136.0 | Step I at EPA; Step II - FY-80; Step III - FY-84 |
|  | Pembroke | EL | Permit not needed at present | Not on priority list |
| *30 | Pocahontas | WQ | .15 | 17 | 17 | Step I grant approved to correct I/I problems |
| 8 | Pulaski | EL | 2.0 | 234/303 | 234 | To be connected to Pepper's Ferry STP (Radford Cluster) in FY-80 (Step II) |
| 9 | Radford STP | EL | 2.5 | 1475 | 925 | Step II - FY-80 |
| *10 | Rich Creek | EL | .12 | 71 | 54 | Step I at EPA, Step IV - FY-83 |
| 31 | Riner | EL | .035 | 4.0 | 4.0 | Completed |
|  | Rocky Gap | EL | Permit not needed at present | Continue to use septic tanks for present |
| 12 | Rural Retreat | EL | 0.15 | 37.5 | 37.5 | Step I to be completed in FY-80 |
|  | Speedwell | EL | Permit not needed at present | Continue to use individual septic tanks for present |
|  | Troutdale | EL | Permit not needed at present | Continue to use individual septic tanks for present |
|  | Woodlawn | EL | Permit to be issued in future | Not on priority list |
| 11 | Wytheville | EL | 20 | 400 | 200 | Sewage treatment plant completed |

1Discharges are shown on Plate 3.

2Effluent Limiting (E.L.) or Water Quality Limiting (WQ).

3For existing sewage treatment facility.

4For new sewage treatment facility.

*Small communities with combined Step II and III Grants.

TABLE B2- EFFLUENT LIMITS(1) (4) NEW RIVER BASIN

| Discharge | Receiving Stream | Maximum BOD5 Loading Limits (kg/day) |
| --- | --- | --- |
| Troutdale | Fox Creek | 6.1 |
| Independence | Peachbottom Creek | 13.5 |
| Fries | New River | 50.5 |
| Galax | Chestnut Creek | 240.3 |
| Hillsville | Little Reed Island Creek | 99.6 |
| Woodlawn | Crooked Creek | 69.5 |
| Speedwell | Cripple Creek | 17.4 |
| Austinville | New River | 19.5 |
| Rural Retreat | South Fork | 50.5 |
| Wytheville | Reed Creek | 298.3 |
| Max Meadows | Reed Creek | 82.4 |
| (3)Pulaski | Peak Creek | 316.8 |
| Floyd | Dodd Creek | 24.1 |
| Riner | Mill Creek | 9.8 |
| Blacksburg | New River | 583.4 |
| Christiansburg | Crab Creek | 359.4 |
| (3)Dublin-New River-Fairlawn-Radford-Plum Creek | New River | 772.7 |
| Newport | Sinking Creek | 2.9 |
| Pembroke | New River | 28.4 |
| Bland | Walker Creek | 10.3 |
| Mechanicsburg | Walker Creek | 3.1 |
| Narrows-Pearisburg | New River | 110.8 |
| Bastian | Wolf Creek | 10.4 |
| Rocky Gap | Wolf Creek | 9.0 |
| Rich Creek | Rich Creek | 19.9 |
| Glen Lyn | New River | 5.7 |
| Bluefield | Bluestone River | 136.4 |
| (2) Abbs Valley | Laurel Fork | 11.4 |
| (2) Pocahontas | Laurel Fork | 5.5 |
| (2) Boissevain | Laurel Fork | 5.9 |

(1) Other effluent limitations will be determined by Water Quality Standards and/or Best Available Technology requirements.

(2) Secondary treatment will be required until a further verification of the model is made to document the need for treatment beyond secondary.

(3) To join Radford Cluster.

(4) This table supersedes Table 152, page 199, Thompson & Litton, Inc., New River Basin Comprehensive Water Resources Plan, Volume V-A.

TABLE B3- NEW RIVER BASIN INDUSTRIAL EFFLUENT LIMITATIONS*

# Parameters in Average kg/day or (Concentration) as mg/l

# FACILITY NUMBER

| MAP NUMBER 20 APCO 004 401 501 006 | BOD5 1.14 | SS 382 1.14 318 | OIL & GREASE 192 159 | IRON (1.0) MAX | COPPER (1.0) MAX |  |
| --- | --- | --- | --- | --- | --- | --- |
| 21 Burlington Industries 001 | BOD5 346 | SS 354 | PHENOLS 1.7 | SULFIDE 0.9 | ALUMINUM 1.0 |  |
| 22 Celanese Fibers Co. 002 003 | FLOW (MGD) 2.8 3.5 | BOD5 (30) 2,999 | SS 2,023 | COD 27,694 |  |  |
| 23 Hercules, Inc. 001 | SS 34 |  |  |  |  |  |
| 24 Lynchburg Foundry 001 | SS 143 | OIL & GREASE 53.1 | PHENOLS 1.04 |  |  |  |
| 25 RAAP Combined Ind. 026 | FLOW (MGD) 1.0 | BOD5 114 | SS 6,714 114 | COD 237 | OXIDIZED NITROGEN 18,697 | SULFATE 565 67 |
| 26 New Jersey Zinc 001 002 003 004 005 006 | BOD5 2.3 | SS (38) (.30) (20) (30) (30) 2.3 | TOTAL CYANIDE (0.02) (0.02) (0.25) | DISSOLVED LEAD (0.25) (0.25) (0.35) (1.0) (0.25) ------ | DISSOLVED ZINC (1.0) (1.0) (1.0) (0.25) (1.0) ------ | DISSOLVED IRON (0.3) (0.25) (0.25) (0.25) ------ |
| 27 Elk Creek Raycarl Products | SS (5) | OIL & GREASE (10) | IRON (1) | PHOSPHATE (2) | ZINC (0.5) |  |
| 28 Fields Mfg | BOD5 3.6 | SS 4.1 | OIL & GREASE 0.8 | TEMP. 75°F |  |  |

VA.R. Doc. No. R04-256; Filed July 13, 2004, 9:12 a.m.