TITLE 9. ENVIRONMENT

STATE WATER CONTROL BOARD

REGISTRAR'S NOTICE: The following regulations filed by the State Water Control Board are exempt from the Administrative Process Act in accordance with § 2.2-4006 A 9 of the Code of Virginia, which exempts general permits issued by the State Water Control Board pursuant to the State Water Control Law (§ 62.1-44.2 et seq.), Chapter 24 (§ 62.1-242 et seq.) of Title 62.1 and Chapter 25 (§ 62.1-254 et seq.) of Title 62.1 of the Code of Virginia if the board (i) provides a Notice of Intended Regulatory Action in conformance with the provisions of § 2.2-4007 B, (ii) following the passage of 30 days from the publication of the Notice of Intended Regulatory Action, forms a technical advisory committee composed of relevant stakeholders, including potentially affected citizens groups, to assist in the development of the general permit, (iii) provides notice and receives oral and written comment as provided in § 2.2-4007 F, and (iv) conducts at least one public hearing on the proposed general permit.

Title of Regulation: 9 VAC 25-660. Virginia Water Protection General Permit for Impacts Less Than One-Half of an Acre (amending 9 VAC 25-660-10 through 9 VAC 25-660-100).

Statutory Authority: §§ 62.1-44.15 and 62.1-44.15:5 and § 401 of the Clean Water Act (33 USC § 1251 et seq.).

Effective Date:  January 26, 2005.

Agency Contact:  Ellen Gilinsky, Department of Environmental Quality, P.O. Box 10009, Richmond, VA 23240, telephone (804) 698-4375, FAX (804) 698-4032, or e-mail egilinsky@deq.virginia.gov.

Summary:

The amendments correct several administrative procedures, clarify application and permitting requirements, and allow for a more efficient application review process.  Since implementation of this regulation in October 2001, it has become evident that these minor corrections are needed to improve applications for coverage, timeframes for issuance of authorizations, and coordination with the U.S. Army Corps of Engineers State Program General Permit (SPGP-01). No change to the upper thresholds of coverage under this regulation or to the 2:1 compensation ratio for wetland impacts is being proposed.

The proposed regulation was revised to clarify application informational requirements, types of compensation allowed, mitigation plan, monitoring and reporting requirements, and termination process for events beyond permittee’s control; to include language concerning refunds of compensation payments; to include termination process for events beyond permittee’s control; and to provide minor clarifications of a grammatical nature.  Also, the Forms section was revised to include version dates and additional document titles.

Summary of Public Comments and Agency's Response: A summary of comments made by the public and the agency's response may be obtained from the promulgating agency or viewed at the office of the Registrar of Regulations.

REGISTRAR’S NOTICE: The proposed regulation was adopted as published 20:22 VA.R. 2331-2343 July 12, 2004, with the changes identified below. Pursuant to § 2.2-4031 A of the Code of Virginia, the adopted regulation is not published at length; however the sections that have changed since publication of the proposed are set out.

9 VAC 25-660-10. [ No change from proposed. ]

9 VAC 25-660-20. [ No change from proposed. ]

9 VAC 25-660-30. Authorization to impact surface waters.

A. Any person governed by this VWP general permit is authorized to impact less than one-half of an acre of surface waters including up to 125 linear feet of perennial stream channel and up to 1,500 linear feet of nonperennial stream channel, provided that the person submits notification as required in 9 VAC 25-660-50 and 9 VAC 25-660-60, remits the required application processing fee (9 VAC 25-20-10 et seq.), complies with the limits and other requirements of 9 VAC 25-660-100, receives approval from the board, and provided that:

1. The applicant shall not have been required to obtain a VWP individual permit under the VWP permit regulation (9 VAC 25-210-10 et seq.) for the proposed project impacts.  The applicant, at his discretion, may seek a VWP individual permit, or coverage under another applicable VWP general permit, in lieu of coverage under this VWP general permit.

2. Impacts [ , both temporary and permanent, ] result from a single and complete project, including all attendant features [ both temporary and permanent ].

a. Where a road segment (i.e., the shortest segment of a road with independent utility that is part of a larger project) has multiple crossings of surface waters (several single and complete projects), the board may, at its discretion, require a VWP individual permit.

b. For the purposes of this chapter, when an interchange has multiple crossings of surface waters, the entire interchange shall be considered the single and complete project.

3. The stream impact criterion applies to all components of the project, including any structures and stream channel manipulations.  Stream channel manipulations (e.g., tie-ins or cleanout) may not exceed 100 linear feet on the upstream or downstream end of a stream crossing.

4. Compensatory mitigation Compensation for unavoidable impacts is provided in the form of the purchase or use of mitigation bank credits or a contribution to an approved in-lieu fee fund.

B. Only activities in nontidal waters may qualify for coverage under this VWP general permit.

C. The board waives the requirement for coverage under a VWP general permit for activities that occur in an isolated wetland of minimal ecological value as defined in 9 VAC 25-210-10.  Any person claiming this waiver bears the burden to demonstrate that he qualifies for the waiver.

D. Receipt of this VWP general permit does not relieve any permittee of the responsibility to comply with any other applicable federal, state or local statute, ordinance or regulation.

E. In issuing this VWP general permit, the board has not taken into consideration the structural stability of the proposed structure or structures.

F. Coverage under a nationwide or regional permit promulgated by the U.S. Army Corps of Engineers (USACE), and for which the board has issued § 401 certification existing as of October 1, 2001, shall constitute coverage under this VWP general permit unless a state programmatic general permit is approved for the covered activity or impact.  Notwithstanding any other provision, activities authorized under a nationwide or regional permit promulgated by the USACE and certified by the board in accordance with 9 VAC 25-210-130 do not need to obtain coverage under this VWP general permit unless a state programmatic general permit is approved for the covered activity or impact.

[ G. When the board determines on a case-by-case basis that concerns for water quality and the aquatic environment so indicate, the board may require individual applications and VWP individual permits rather than approving coverage under this VWP general permit. ]

9 VAC 25-660-40. [ No change from proposed. ]

9 VAC 25-660-50. [ No change from proposed. ]

9 VAC 25-660-60. Registration statement Application.

A. Registration statements Applications shall be filed with the board as follows:

1. The applicant shall file a complete registration statement application as described in 9 VAC 25-660-50 for a VWP General Permit WP1 for impacts to surface waters of less than one-half of an acre, including up to 125 linear feet of perennial stream channel and up to 1,500 linear feet of nonperennial stream channel, which will serve as a notice of intent for coverage under this VWP general permit.

2. Any applicant proposing an activity under this VWP general permit is advised to file the required registration statement at least 45 days prior to the date planned for the commencement of the activity to be regulated by the VWP general permit. The VDOT may use its monthly IACM process for submitting registration statements applications.

B. The required registration statement application shall contain the following information [ , if applicable to the project ]:

1. The applicant's name, mailing address, and telephone number and, if applicable, fax number;

2. The authorized agent's (if applicable) name, mailing address, telephone number and, if applicable, fax number and electronic mail address;

3. The existing VWP permit number (if applicable);

4. The name of the project, narrative description of project purpose of project, and a description of the proposed activity in surface waters;

5. The name of the water body or water bodies or receiving stream, as applicable;

6. The hydrologic unit code (HUC) for the project area;

7. The name of the city or county where the project is located;

8. Latitude and longitude (to the nearest second) from a central location within the project limits;

9. A detailed location map (e.g., a United States Geologic Survey topographic quadrangle map) of the project area, including the project boundary.  The map should shall be of sufficient detail such that the site may be easily located for site inspection;

10. The appropriate appendices from the JPA (Reserved);

11. The project plan view.  All plan view sketches should shall include, at a minimum, north arrow, scale, existing structures, existing contours, proposed contours (if available), limit of surface water areas, direction of flow, ordinary high water, impact limits, and location and dimension of all proposed structures in impact areas.  Cross-sectional drawings or profile sketches, as appropriate, with the information in this subdivision, may shall be required for certain projects as appropriate to demonstrate minimization of impacts;

12. (Reserved.);

13. Surface water impact information (wetlands, streams, or open water) for both permanent and temporary impacts, including a description of the impact, [ and ] the areal extent [ of the impact (area of wetland in square feet and acres; area of stream, length of stream, and average width) ], [ the ] location ([ by ] latitude and longitude) [ at the center of the impact, or at the center of each impact for linear projects ] and [ the ] type of impact [ (area ] ( [ of wetland in square feet ], linear feet or [ and acres ]) [ ; area of stream, length of stream, and average width). Wetland impacts ] should [ shall be quantified ( ] according to [ their the ] Cowardin classification or similar terminology [ ) ];

14. (Reserved.);

15. A description of the specific on-site measures considered or taken during project design and development both to avoid and minimize impacts to surface waters to the maximum extent practicable as required by 9 VAC 25-210-115 A;

16. A description of conceptual plan for the intended compensation for unavoidable impacts, including:

a. Any applicant proposing compensation plan proposing to include involving contributions to an in-lieu fee fund shall include proof state such as their conceptual compensation plan. Written documentation of the willingness of the entity to accept the donation and documentation of how the amount of the contribution was calculated shall be submitted prior to issuance of this VWP general permit authorization; and

b. Any applicant proposing compensation plan proposing involving the purchase or use of mitigation banking credits shall include as their conceptual compensation plan:

(1) The name of the proposed mitigation bank and the HUC in which it is located;

(2) The number of credits proposed to be purchased or used; and

(3) Certification from the bank owner of the availability of credits;

17. A delineation map of the geographic area of a delineated wetland for all wetlands on the site, in accordance with 9 VAC 25-210-45, including the wetlands data sheets, and the latitude and longitude (to the nearest second) of the center of the wetland impact area.  Wetland types should shall be noted according to their Cowardin classification or similar terminology.  A copy of the USACE delineation confirmation, or other correspondence from the USACE indicating their approval of the wetland boundary, shall also be provided at the time of application, or if not available at that time, as soon as it becomes available during the VWP permit review.  The delineation map should shall also include the location of all impacted and non-impacted streams, open water and other surface waters on the site.  The approximate limits of any Chesapeake Bay Resource Protection Areas (RPAs) should shall be shown on the map, as other state or local requirements may apply if the project is located within an RPA. ;

18. A copy of the FEMA flood insurance rate map or FEMA-approved local floodplain map for the project site;

19. The appropriate application processing fee for a VWP general permit (9 VAC 25-20-10 et seq.); and

20. The following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering the information, the information submitted is to the best of my knowledge and belief true, accurate, and complete.  I am aware that there are significant penalties for submitting false information including the possibility of fine and imprisonment for knowing violations."

C. The registration statement application shall be signed in accordance with 9 VAC 25-210-100.  If an agent is acting on behalf of an applicant, the applicant shall submit an authorization of the agent that includes the signatures of both the applicant and the agent.

D. Upon receipt of a complete registration statement an application by the appropriate DEQ office, the board has 15 days to review the application and either determine that the information requested in subsection B of this section is complete or inform the applicant that additional information is required to make the application complete. Coverage under this VWP general permit shall be approved, approved with conditions, or denied within 45 days of receipt of a complete application.  If the board fails to act within 45 days on a complete application, coverage under this VWP general permit shall be deemed approved.

1. In evaluating the registration statement application, the board shall make an assessment of the impacts associated with the project in combination with other existing or proposed impacts.  Coverage under this VWP general permit shall be denied if the cumulative impacts will cause or contribute to a significant impairment of state waters or fish and wildlife resources.

2. The board may place additional conditions on a project in order to approve authorization under this VWP general permit.  However, these conditions must be consistent with the VWP permit program regulation and may not override or conflict with the existing conditions of this VWP general permit related to impacts and compensatory mitigation.

E. Incomplete registration statement application.  Where a registration statement an application is incomplete, the board may require the submission of additional information and may shall suspend processing the application until such time as the applicant has supplied the missing or deficient information and the registration statement application is complete.  Further, where the applicant becomes aware that he omitted one or more relevant facts from a registration statement an application, or submitted incorrect information in a registration statement an application or in any report to the board, he shall immediately submit such facts or the correct information.  Such application with new information shall be deemed a new application [ , but shall not require an additional permit application fee ].

9 VAC 25-660-70. Mitigation Compensation.

A. For the purposes of this VWP general permit, the board shall assume that the purchase or use of mitigation bank credits or a contribution to an in-lieu fee fund is ecologically preferable to practicable on-site or other off-site individual compensatory mitigation compensation options, and no further demonstration is necessary.

B. Compensatory mitigation Compensation for unavoidable wetland impacts is shall be provided at a 2:1 replacement to loss impact ratio.

C. Compensatory mitigation Compensation for unavoidable stream impacts is shall be provided at a 1:1 replacement to loss ratio through the purchase [ or use ] of stream mitigation bank credits or contribution to an in-lieu fee fund that includes watershed enhancements.  [ The amount of One factor determining the ] required compensation [ will shall ] be [ determined based on ] an analysis of stream impacts utilizing a [ scientifically based ] stream impact assessment methodology approved by the board.

D. Compensation for open water impacts [ other than to streams ] may be required, as appropriate, at a 1:1 replacement to impact ratio to protect state waters and fish and wildlife resources from significant impairment.

E. Compensation for conversion impacts [ to wetlands ] shall be required at a 1:1 replacement to impact ratio, when such conversion results in a permanent alteration of the functions and values of the [ surface water wetland ].

E. F. In order for contribution to an in-lieu fee fund to be an acceptable form of compensatory mitigation compensation, the fund must be approved for use by the board according to the provisions of 9 VAC 25-210-115 E.

F. G. The use of mitigation banks for compensating project impacts shall be deemed appropriate if In order for purchase [ or use ] of bank credits to be an acceptable form of compensation, the bank is shall be operating in accordance with the provisions of § 62.1-44.15:5 E of the Code of Virginia and 9 VAC 25-210-115 and F. The applicant provides verification shall provide proof of purchase [ , use, ] or debit to the board of purchase or debiting of the required amount of credits DEQ [ prior to commencing activities in impact areas ].

9 VAC 25-660-80. Notice of planned changes.

A. Authorization under this VWP general permit may be modifiedsubsequent to issuance if the permittee determines that additional permanent wetland and or stream impacts are necessary, provided that the cumulative increase in acreage of wetland impacts is not greater than 1/4 acre and the cumulative increase in stream impacts is not greater than 50 linear feet, and provided that the additional impacts are fully mitigated. In no case can this authorization be modified to exceed the general permit threshold for use.

B. Authorization under this VWP general permit may be modified after issuance if the project results in less wetland or stream impacts.  Compensation requirements may be modified in relation to the adjusted impacts at the request of the permittee, provided that the adjusted compensation meets the initial authorization compensation goals. [ DEQ shall not be responsible for ensuring refunds for mitigation bank credit purchases, mitigation bank usage, or in-lieu fee fund contributions. ]

C. Authorization under this VWP general permit may be modified after issuance for a change in project plans that does not result in a change in project impacts.

D. Authorization under the VWP general permit may be modified for a change to the mitigation bank at which credits are purchased [ or used ], provided that the same amount of credits are purchased [ or used ] and all criteria for use in 9 VAC 25-210-115 are met.

E. Authorization under the VWP general permit may be modified after issuance for typographical errors.

F. A Notice of Planned Change is not required after authorization issuance for additional temporary impacts to surface waters, provided that DEQ is notified in writing regarding additional temporary impacts, and [ they are the area is ] restored to preexisting conditions in accordance with Part I C 11 of this general permit.  In no case can the additional temporary impacts exceed the general permit threshold for use.

B. G. The permittee shall notify the board in advance of the planned change, and the modification planned change request shall be reviewed according to all provisions of this regulation.

9 VAC 25-660-90. Notice of Termination of authorization by consent.

When all permitted activities requiring notification under 9 VAC 25-660-50 A 1 have been completed, or if the authorized impacts will not occur, the permittee shall submit a notice of request for termination within 30 days of final project completion or project cancellation. The director may accept this termination of authorization on behalf of the board.  The notice permittee shall contain submit the following information:

1. Name, mailing address and telephone number of the permittee;

2. Name and location of the activity;

3. The VWP permit authorization number;  and

4. One of the following certification certifications:

a. For project completion:

"I certify under penalty of law that all activities authorized by a VWP general permit have been completed.  I understand that by submitting this notice of termination [ , that ] I am no longer authorized to perform activities in surface waters in accordance with the VWP general permit, and that performing activities in surface waters is unlawful where the activity is not authorized by a VWP permit.  I also understand that the submittal of this notice does not release me from liability for any violations of this VWP general permit authorization."

b. For project cancellation:

"I certify under penalty of law that the activities authorized by this VWP general permit will not occur. I understand that by submitting this notice of termination [ , that ] I am no longer authorized to perform activities in surface waters in accordance with the VWP general permit, and that performing activities in surface waters is unlawful where the activity is not authorized by a VWP permit. I also understand that the submittal of this notice does not release me from liability for any violations of this VWP general permit authorization, nor does it allow me to resume the permitted activities without reapplication and reauthorization."

[ c. For events beyond permittee control, the permittee shall provide a detailed explanation of the events, to be approved by DEQ, and the following certification statement:

"I certify under penalty of law that all activities authorized by a VWP general permit have changed as the result of events beyond my control (see attached). I understand that by submitting this notice of termination I am no longer authorized to perform activities in surface waters in accordance with the VWP general permit, and that performing activities in surface waters is unlawful where the activity is not authorized by a VWP permit. I also understand that the submittal of this notice does not release me from liability for any violations of this VWP general permit authorization, nor does it allow me to resume the permitted activities without reapplication and reauthorization." ]

9 VAC 25-660-100. VWP general permit.

Any applicant whose registration statement application has been accepted by the board shall be subject to the following requirements:

VWP General Permit No. WP1

Authorization effective date:

Authorization expiration date:

Authorization Note(s):

VWP GENERAL PERMIT FOR IMPACTS LESS THAN ONE-HALF OF AN ACRE UNDER THE VIRGINIA WATER PROTECTION PERMIT AND THE VIRGINIA STATE WATER CONTROL LAW

Based upon an examination of the information submitted by the applicant and in compliance with § 401 of the Clean Water Act as amended (33 USC § 1341) and the State Water Control Law and regulations adopted pursuant thereto, the board has determined that there is a reasonable assurance that the activity authorized by this VWP general permit, if conducted in accordance with the conditions set forth herein, will protect instream beneficial uses and will not violate applicable water quality standards.  The board finds that the effect of the impact, together with other existing or proposed impacts to wetlands, will not cause or contribute to a significant impairment of state waters or fish and wildlife resources.

Subject to the provisions of the Clean Water Act, as amended, and pursuant to the State Water Control Law and regulations adopted pursuant to it, the permittee is authorized to impact less than one-half of an acre of nontidal surface waters including up to 125 linear feet of perennial stream channel and up to 1,500 linear feet of nonperennial stream channel.

Permittee:

Address:

Activity Location:

Activity Description:

The authorized activity shall be in accordance with this cover page, Part I--Special Conditions, Part II--Mitigation Compensation, Monitoring, and Reporting, and Part III--Conditions Applicable to All VWP General Permits, as set forth herein.

____________________________________       _________

Director, Department of Environmental Quality       Date

Part I. Special Conditions.

A. Authorized activities.

1. This permit authorizes impacts to less than one-half of an acre of nontidal surface waters, including up to 125 linear feet of perennial stream channel, and up to 1,500 linear feet of nonperennial stream channel, according to the information provided in the applicant's approved registration statement application.

2. Any additional changes to the authorized permanent impacts to surface waters associated with this project shall require either a notice of planned change in accordance with 9 VAC 25-660-80, or another VWP permit application.

3. Any changes to the authorized temporary impacts to surface waters associated with this project shall require written notification to DEQ and restoration to preexisting conditions in accordance with the conditions of this permit authorization.

4. Modification to compensation requirements may be approved at the request of the permittee when a decrease in the amount of authorized surface waters impacts occurs, provided that the adjusted compensation meets the initial authorization compensation goals.

3. 5. The activities authorized by this VWP general permit must commence and be completed within three years of the date of this authorization.

B. Continuation of coverage. Reapplication. Application for continuation of coverage under this VWP general permit or a new VWP permit may be necessary if any portion of the authorized activities or any VWP general permit requirement has not been completed within three years of the date of authorization.  Application consists of an updated or new registration statement. The request for continuation of coverage must be made no less than 60 days prior to the expiration date of this VWP general permit authorization, at which time the board will determine if continuation of the VWP general permit authorization is necessary.

C. Overall project conditions.

1. The construction or work activities authorized by this VWP general permit shall be executed in a manner so as to minimize any adverse impact on instream beneficial uses as defined in § 62.1-10(b) of the Code of Virginia.

2. No activity may substantially disrupt the movement of aquatic life indigenous to the water body, including those species that normally migrate through the area, unless the primary purpose of the activity is to impound water.  Culverts placed in streams must be installed to maintain low flow conditions.  [ The requirement to countersink does not apply to extensions or maintenance of existing culverts that are not countersunk, floodplain culverts being placed above ordinary high water, culverts being placed on bedrock, or culverts required to be placed on slopes 5.0% or greater. ]  No activity may cause more than minimal adverse effect on navigation.  Furthermore, the activity must not impede the passage of normal or expected high flows and the structure or discharge must withstand expected high flows.

3. Wet or uncured concrete shall be prohibited from entry into flowing surface waters. Excess or waste concrete shall not be disposed of in [ flowing ] surface waters or washed [ out ] into [ flowing ] surface waters.

4. All fill material shall be clean and free of contaminants in toxic concentrations or amounts in accordance with all applicable laws and regulations.

5. Erosion and sedimentation controls shall be designed in accordance with the Virginia Erosion and Sediment Control Handbook, Third Edition, 1992.  These controls shall be placed prior to clearing and grading and maintained in good working order to minimize impacts to state waters.  These controls shall remain in place until the area stabilizes is stabilized and shall then be removed.

6. Any exposed slopes and streambanks must shall be stabilized immediately upon completion of the project at work in each water body permitted impact area.  All denuded areas shall be properly stabilized in accordance with the Virginia Erosion and Sediment Control Handbook, Third Edition, 1992.

7. All construction, construction access (e.g., cofferdams, sheetpiling, and causeways) and demolition activities associated with this project shall be accomplished in a manner that minimizes construction or waste materials from entering surface waters to the maximum extent practicable, unless authorized by this VWP general permit.

8. No machinery may enter [ flowing surface ] waters, unless authorized by this VWP general permit.

9. Heavy equipment in temporarily impacted [ wetland areas surface waters ] shall be placed on mats, geotextile fabric, or other suitable measures material to minimize soil disturbance to the maximum extent practicable. Equipment and materials shall be removed immediately upon completion of work.

10. All nonimpacted surface waters within 50 feet of any permitted activities and within the project or right-of-way limits that are within 50 feet of any clearing, grading, or filling activities shall be clearly flagged or marked for the life of the construction activity within at that area location to preclude any unauthorized disturbances to these surface waters during construction.  The permittee shall notify all contractors that these marked areas are surface waters where no activities are to occur.

11. Temporary disturbances to wetlands surface waters during construction shall be avoided and minimized to the maximum extent practicable.  All temporarily disturbed wetland areas shall be restored to preconstruction conditions within 30 days of completing work, which shall include reestablishing preconstruction contours, and planted planting or seeded seeding with appropriate wetland vegetation according to cover type (emergent, scrub/shrub, or forested). The permittee shall take all appropriate measures to promote and maintain revegetation of temporarily disturbed wetland areas with wetland vegetation by through the second year post-disturbance.  All temporary fills temporarily impacted streams [ and streambanks ] shall be removed in restored to their entirety and the affected area returned to pre-existing contours original [ elevation contours ] within 30 days following the construction at that stream segment, and the banks seeded or planted with [ native the same ] vegetation [ cover type originally present along the streambanks ], [ and supplemented by including supplemental ] erosion control grasses [ (crown vetch, orchard grass, or weeping lovegrass) when stabilizing steep slopes if necessary, except for invasive species identified on DCR's Invasive Alien Plant Species of Virginia list ].

12. All materials (including fill, construction debris, and excavated and woody materials) temporarily stockpiled in wetlands shall be placed on mats or geotextile fabric, immediately stabilized to prevent entry into state waters, managed such that leachate does not enter state waters, and completely removed within 30 days following completion of that construction activity.  Disturbed areas shall be returned to original contours, stabilized restored within 30 days following removal of the stockpile, and restored to the original vegetated state with [ native vegetation or a seed mix comprised of native the same ] vegetation [ and cover type originally present, including supplemental ] erosion control grasses [ (crown vetch, orchard grass, or weeping lovegrass) when stabilizing steep slopes if necessary, except for invasive species identified on DCR's Invasive Alien Plant Species of Virginia list ].

13. Continuous flow of perennial springs shall be maintained by the installation of spring boxes, french drains, or other similar structures.

14. The permittee shall employ measures to prevent spills of fuels or lubricants into state waters.

15. The permittee shall conduct his activities in accordance with any time-of-year restrictions recommended by the Department of Game and Inland Fisheries or the Virginia Marine Resources Commission, and shall ensure that all contractors are aware of any time-of-year restrictions imposed.

16. Immediately downstream of the construction area, Water quality standards shall not be violated as a result of the construction activities, unless allowed by this permit authorization.

17. Untreated stormwater runoff shall be prohibited from directly discharging into any surface waters, unless allowed by this permit authorization.  Appropriate best management practices shall be deemed suitable treatment prior to discharge into state waters.

18. If stream channelization or relocation is required, all work in surface waters shall be done in the dry, unless authorized by this VWP general permit, and all flows shall be diverted around the channelization or relocation area until the new channel is stabilized. This work shall be accomplished by leaving a plug at the inlet and outlet ends of the new channel during excavation. Once the new channel has been stabilized, flow shall be routed into the new channel by first removing the downstream plug and then the upstream plug. [ The new stream channel shall be constructed following the typical sections submitted with the application. A low flow channel shall be constructed within the channelized or relocated area. The centerline of the low flow channel shall meander, to the extent possible, to mimic natural stream morphology. ] The rerouted stream flow must be fully established before construction activities in the old stream channel can begin.

D. Road crossings.

1. Access roads and associated bridges or culverts shall be constructed to minimize the adverse effects on surface waters to the maximum extent practicable and to follow as near as possible preconstruction contours and elevations.  Access roads constructed above preconstruction contours and elevations in surface waters must be properly bridged or culverted to maintain surface flows.

[ 2. At crossings of perennial streams, pipes and culverts shall be countersunk a minimum of six inches to provide for the re-establishment of a natural stream bottom and to maintain a low flow channel. For multiple-celled culverts, only those cells situated within the limits of ordinary high water shall be countersunk.  Countersinking ] is [ shall not be required for existing pipes or culverts that are being maintained or extended. ]

[ 3. 2. ] Installation of road crossings shall occur in the dry via the implementation of cofferdams, sheetpiling, stream diversions, or other similar structures.

4. All state waters temporarily affected by the construction of a road crossing shall be restored to their original elevations immediately following the construction of that particular crossing.

5. If stream channelization or relocation is required, all work in surface waters shall be done in the dry, unless authorized by this VWP general permit, and all flows shall be diverted around the channelization or relocation area until the new channel is stabilized.  This work shall be accomplished by leaving a plug at the inlet and outlet ends of the new channel during excavation.  Once the new channel has been stabilized, flow shall be routed into the new channel by first removing the downstream plug and then the upstream plug.  The new stream channel shall be constructed following the typical sections submitted with the application.  A low flow channel shall be constructed within the channelized or relocated area.  The centerline of the low flow channel shall meander, to the extent possible, to mimic natural stream morphology.  The rerouted stream flow must be fully established before construction activities in the old streambed can begin.

E. Utility lines.

1. All utility line work in surface waters shall be performed in a manner that minimizes disturbance, and the area must be returned to its original contours and stabilized restored within 30 days of completing work in the area, unless otherwise authorized by this VWP general permit.  [ Restoration shall be the seeding or planting of the same vegetation cover type originally present, including supplemental erosion control grasses if necessary, except for invasive species identified on DCR's Invasive Alien Plant Species of Virginia list. ]

2. Material resulting from trench excavation may be temporarily sidecast into wetlands not to exceed a total of 90 days, provided the material is not placed in a manner such that it is dispersed by currents or other forces.

3. The trench for a utility line cannot be constructed in a manner that drains wetlands (e.g., backfilling with extensive gravel layers creating a french drain effect). For example, utility lines may be backfilled with clay blocks to ensure that the trench does not drain surface waters through which the utility line is installed.

F. Bank stabilization Stream modification and stream bank protection.

1. Riprap bank stabilization shall be of an appropriate size and design in accordance with the Virginia Erosion and Sediment Control Handbook, Third Edition, 1992.

2. Riprap apron for all outfalls shall be designed in accordance with the Virginia Erosion and Sediment Control Handbook, Third Edition, 1992.

3. For stream bank protection activities, the structure and backfill shall be placed as close to the shoreline stream bank as practicable.  No material shall be placed in excess of the minimum necessary for erosion protection.

4. All stream bank erosion protection control structures shall be located to eliminate or minimize impacts to vegetated wetlands to the maximum extent practicable.

5. Asphalt and materials containing asphalt or other toxic substances shall not be used in the construction of submerged sills or breakwaters.

6. Redistribution of existing stream substrate for the purpose of erosion control is prohibited.

7. All No material removed from the stream substrate bottom shall be disposed of in an approved upland area surface waters [ , unless authorized by this permit ].

G. Stormwater management facilities.

1. Stormwater management facilities shall be designed installed in accordance with best management practices and watershed protection techniques (i.e., vegetated buffers, siting considerations to minimize adverse effects to aquatic resources, bioengineering methods incorporated into the facility design to benefit water quality and minimize adverse effects to aquatic resources) that provide for long-term aquatic resources protection and enhancement, to the maximum extent practicable.

2. Compensatory mitigation Compensation for unavoidable impacts shall not be allowed within maintenance areas of stormwater management facilities.

3. Maintenance excavation activities within stormwater management facilities shall not require additional permit authorization, or compensation, provided that the maintenance activities do not exceed the original contours of the facility, as approved and constructed, and are accomplished in designated maintenance areas as indicated in the facility maintenance or design plan.

4. Maintenance within stormwater management facilities will not require mitigation provided that the maintenance is accomplished in designated maintenance areas as indicated in the maintenance plan.

Part II.  Mitigation Compensation, Monitoring, and Reporting.

A. Compensatory mitigation Compensation.

1. The permittee shall provide appropriate and practicable compensatory mitigation compensation for all impacts meeting the conditions outlined in this VWP general permit.

2. The types of compensatory mitigation compensation options that may be considered under this VWP general permit include:

1. a. Purchases [ or use ] of credits from approved mitigation banks meeting the requirements of 9 VAC 25-210-115 F in accordance with 9 VAC 25-660-70 and provided that all impacts are compensated at a 2:1 ratio; or

2. b. Contributions to an in lieu fee fund approved in accordance with 9 VAC 25-210-115 E and dedicated to the achievement of no net loss of wetland acreage and function, provided that [ all wetland ] impacts are compensated at a 2:1 ratio.

3. A written statement that conveys the applicant's proposal to use a mitigation bank or in-lieu fee fund for compensation shall be submitted with the application and shall constitute the compensation plan for the approved project.  A site change will require a modification to the authorization.

B. 4. The permittee shall submit not initiate work in permitted impact areas until documentation within 60 days of VWP general permit issuance that the USACE has debited the required mitigation credits from the mitigation bank ledger of the mitigation bank credit purchase or that the fund contribution has been submitted to and received by DEQ.

5. The compensation plan shall be approved by the board prior to any construction activity in permitted impact areas. The board shall review and provide written comments on the plan within 30 days of receipt or it shall be deemed approved. The final compensation plan as approved by the board shall be an enforceable requirement of this VWP general permit authorization. Any deviations from the approved plan must be submitted and approved in advance by the board.

C. B. [ Impact site ] construction monitoring.

1. Photo stations shall be established to document the Construction aspects of project activities within impact areas as authorized by this permit that are within impact areas shall be monitored [ through photographic documentation and documented ].  Photographs should The [ photographic ] monitoring shall document the preconstruction conditions, activities during construction, and post-construction conditions within one week after completion of construction. [ Photographic ] Monitoring shall consist of one of the following options:

a. Photographs shall be taken during construction at the end of the first, second and twelfth third months of construction and then annually semi-annually for the remainder of the construction project.  Photographs are not necessary , except during periods of no activity within impact areas. ; [ or ]

b. An ortho-rectified photograph shall be taken prior to construction, and annually thereafter until all impacts are taken, and [ all photos ] shall clearly show the delineated surface waters and authorized impact areas [ .; or

c. In lieu of photographs, and with prior approval from DEQ, the permittee may submit a written narrative that summarizes site construction activities in impact areas.  The narrative shall be submitted at the end of the first, second, and third months of construction in impact areas, and then semi-annually for the remainder of the construction activities in impact areas, except during periods of no activity within the impact areas. ]

2. The permittee shall make provisions to monitor for any spills of petroleum products or other materials during the construction process.  These provisions shall be sufficient to detect and contain the spill and notify the appropriate authorities.  As part of construction monitoring, photographs taken at the photo stations [ or the narrative ] shall document site activities and conditions, which may include installation and maintenance of erosion and sediment controls; condition of adjacent nonimpact surface waters; flagged nonimpact surface waters; construction access and staging areas; filling, excavation, and dredging activities; culvert installation; dredge disposal; and site stabilization, grading, and associated restoration activities.  With the exception of the preconstruction photographs, photographs at an individual impact site shall not be required until construction activities are initiated at that site.  With the exception of the post-construction photographs, photographs at an individual impact site shall not be required once the site is stabilized following completion of construction at that site.

3. Stream bottom elevations at road crossings shall be measured at the inlet and outlet of the proposed structure and recorded prior to construction and within one week after the completion of construction.  This requirement shall only apply to those streams not designated as intermittent or those streams not designated in association with stream channelization. Each photograph shall be labeled to include the following information: permit number, impact area and photo station number, date and time of the photograph, name of the person taking the photograph, photograph orientation, and photograph subject description.

4. Monitoring of water quality parameters shall be conducted during rerouting of the live permanent relocation of perennial streams through the new channels in the following manner:

a. A sampling station shall be located upstream and immediately downstream of the relocated channel;

b. Temperature, pH and dissolved oxygen (D.O.) measurements shall be taken once every half hour 30 mintues for at least three readings two hours at each station prior to opening the new channels; and immediately before opening new channels.

c. After opening the new channel, Temperature, pH and D.O. readings shall be taken once after opening the channels and every half hour 30 minutes for at least three readings hours at each station within 24 hours of opening the new channel.

[ 5. ] The permittee shall report violations of water quality standards to DEQ in accordance with the procedures in Part II E.  Corrective measures and additional monitoring may be required if water quality standards are not met.  Reporting shall not be required if water quality standards are not violated.

D. C. Reporting.

1. Written communications required by this VWP general permit shall be submitted to the appropriate Department of Environmental Quality (DEQ) office.  The VWP general permit authorization number shall be included on all correspondence.

2. The board DEQ shall be notified in writing by certified letter at least 10 days prior to the start of construction activities at the first permitted site authorized by this VWP general permit authorization so that inspections of the project can be planned, if deemed necessary by DEQ.  The notification shall include identification of the impact area at which work will occur and a projected schedule for completing initiation and completion of work at each permitted impact area.

3. After construction begins, Construction monitoring reports shall be submitted to the board within 30 days of each DEQ no later than the 10th day of the month following the month in which the monitoring event specified in Part II B takes place.  The reports shall include, at a minimum, the following, as appropriate:

a. For each permitted impact area, a written statement regarding when narrative stating whether work started in the identified impact area, where work was performed, what during the monitoring period [ . , and ] if work was performed, a description of the work performed, when the work was initiated, and what work was completed expected date of completion.

b. Properly labeled photographs (to include date and time, name of the person taking the photograph, a brief description, and VWP permit number) showing representative construction activities (including, but not limited to, flagging nonimpact wetland areas, site grading and excavation, installation and maintenance of erosion and sediment controls, culvert installation, bridge and ramp construction, dredging, dredge disposal, etc.). The post-construction photographs shall be submitted within 30 days of documenting post-construction conditions. The first construction monitoring report shall include the photographs taken at each impact site prior to initiation of construction in any permitted impact area. Written notification and photographs demonstrating that all temporarily disturbed wetland and stream areas have been restored in compliance with the permit conditions shall be submitted within 30 days of restoration.

c. Summary of activities conducted to comply with the permit conditions.

d. Summary of permit noncompliance events or problems encountered, subsequent notifications, and corrective actions.

e. Summary of anticipated work to be completed during the next monitoring period [ , ] and an estimated date of construction completion at all impact areas.

f. Labeled site map depicting all impact areas and photo stations.

4. The permittee shall submit a notice of termination DEQ shall be notified in writing within 30 days of final completion in accordance with 9 VAC 25-660-90 following the completion of all activities in all permitted impact areas authorized under this permit.

5. The permittee shall notify the board DEQ in writing when unusual or potentially complex conditions are encountered that require debris removal or involve a potentially toxic substance.  Measures to remove the obstruction, material, or toxic substance or to change the location of any structure are prohibited until approved by the board DEQ.

6. The permittee shall report any fish kills or spills of oil or fuel immediately upon discovery.  If spills or fish kills occur between the hours of 8:15 a.m. to 5 p.m., Monday through Friday, the appropriate DEQ regional office shall be notified; otherwise, the Department of Emergency Management shall be notified at 1-800-468-8892.

7. Violations of state water quality standards shall be reported within 24 hours to the appropriate DEQ office.

8. All submittals required by this VWP general permit shall contain the following signed certification statement:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violation."

Part III.  Conditions Applicable to All VWP General Permits.

A. Duty to comply.  The permittee shall comply with all conditions of the VWP general permit.  Nothing in this VWP general permit shall be construed to relieve the permittee of the duty to comply with all applicable federal and state statutes, regulations and toxic standards and prohibitions.  Any VWP general permit noncompliance is a violation of the Clean Water Act and State Water Control Law, and is grounds for enforcement action, VWP general permit authorization termination for cause, VWP general permit authorization revocation, or denial of a renewal application continuation of coverage request.

B. Duty to mitigate.  The permittee shall take all reasonable steps to minimize or prevent any impacts in violation of the VWP general permit which may have a reasonable likelihood of adversely affecting human health or the environment.

C. Reopener. This VWP general permit authorization may be reopened to modify its conditions when the circumstances on which the previous VWP general permit authorization was based have materially and substantially changed, or special studies conducted by the board or the permittee show material and substantial change since the time the VWP general permit authorization was issued and thereby constitute cause for VWP general permit authorization revocation and reissuance.

D. Compliance with state and federal law.  Compliance with this VWP general permit constitutes compliance with the VWP permit requirements of the State Water Control Law.  Nothing in this VWP general permit shall be construed to preclude the institution of any legal action under or relieve the permittee from any responsibilities, liabilities, or other penalties established pursuant to any other state law or regulation or under the authority preserved by § 510 of the Clean Water Act.

E. Property rights.  Coverage under this VWP general permit does not convey any property rights in either real or personal property, or any exclusive privileges, nor does it authorize any injury to private property or any invasion of personal property rights, nor any infringement of federal, state or local laws or regulations.

F. Severability. The provisions of this VWP general permit authorization are severable.

G. Right of entry.  The permittee shall allow the board or its agents, upon the presentation of credentials, at reasonable times and under reasonable circumstances:

1. To enter the permittee's property, public or private, and have access to, inspect and copy any records that must be kept as part of the VWP general permit conditions;

2. To inspect any facilities, operations or practices (including monitoring and control equipment) regulated or required under the VWP general permit;

3. To sample or monitor any substance, parameter or activity for the purpose of assuring compliance with the conditions of the VWP general permit or as otherwise authorized by law.

For the purpose of this section, the time for inspection shall be deemed reasonable during regular business hours.  Nothing contained herein shall make an inspection time unreasonable during an emergency.

H. Transferability of VWP general permit authorization.  This VWP general permit authorization may be transferred to another person by a permittee if:

1. The current permittee notifies the board within 30 days of the transfer of the title to the facility or property;

2. The notice to the board includes a written agreement between the existing and new permittee containing a specific date of transfer of VWP general permit authorization responsibility, coverage and liability to the new permittee, or that the existing permittee will retain such responsibility, coverage, or liability, including liability for compliance with the requirements of any enforcement activities related to the permitted activity; and

3. The board does not notify the existing and new permittee of its intent to modify or revoke and reissue the VWP general permit authorization within the 30-day time period 15 days.

On the date of the VWP general permit authorization transfer, the transferred VWP general permit authorization shall be as fully effective as if it had been issued directly to the new permittee.

I. Notice of planned change.  Authorization under this VWP general permit may be modified subsequent to issuance if: (i) the permittee determines that additional permanent wetland and or stream impacts are necessary, provided that the cumulative increase in acreage of wetland impacts is not greater than 1/4 acre and the cumulative increase in stream impacts is not greater than 50 linear feet, and provided that the additional impacts are fully mitigated compensated; (ii) the project results in less wetland or stream impacts, in which case compensation requirements may be modified in relation to the adjusted impacts at the request of the permittee, provided that the adjusted compensation meets the initial authorization compensation goals; (iii) there is a change in the project plans that does not result in a change in project impacts; (iv) there is a change in the mitigation bank at which credits are purchased [ or used ], provided that the same amount of credits are purchased [ or used ] and all criteria for use are met, as detailed in 9 VAC 25-210-115; or (v) typographical errors need to be corrected.  A notice of planned change is not required if the project results in additional temporary impacts to surface waters, provided that DEQ is notified in writing, the additional temporary impacts are restored to preexisting conditions in accordance with Part I C 11 of this general permit, and the additional temporary impacts do not exceed the general permit threshold for use. The permittee shall notify the board in advance of the planned change, and the modification planned change request will be reviewed according to all provisions of this regulation.

J. VWP general permit authorization termination for cause.  This VWP general permit authorization is subject to termination for cause by the board after public notice and opportunity for a hearing.  Causes Reasons for termination for cause are as follows:

1. Noncompliance by the permittee with any condition of the VWP general permit authorization;

2. The permittee's failure in the application or during the VWP general permit authorization issuance process to disclose fully all relevant facts or the permittee's misrepresentation of any relevant facts at any time;

3. The permittee's violation of a special or judicial order; and

4. A determination by the board that the permitted activity endangers human health or the environment and can be regulated to acceptable levels by a VWP general permit authorization modification planned change or termination for cause.

K. VWP general permit authorization termination by consent.  This VWP general permit authorization may be terminated by consent when all permitted activities requiring notification under 9 VAC 25-690-50 A 1 have been completed, when the authorized impacts [ do will ] not occur, or when a planned change occurs that involves substituting a specified, approved mitigation bank or banks with another specified, approved mitigation bank.  The permittee shall submit a request for termination by consent within 30 days of project completion or project cancellation.  The director may accept this termination of authorization on behalf of the board.  The request for termination by consent shall contain the following information:

1. Name, mailing address and telephone number of the permittee;

2. Name and location of the activity;

3. The VWP permit authorization number; and

4. One of the following certifications:

a. For project completion:

"I certify under penalty of law that all activities authorized by a VWP general permit have been completed. I understand that by submitting this notice of termination [ , that ] I am no longer authorized to perform activities in surface waters in accordance with the VWP general permit, and that performing activities in surface waters is unlawful where the activity is not authorized by a VWP permit. I also understand that the submittal of this notice does not release me from liability for any violations of this VWP general permit authorization."

b. For project cancellation:

"I certify under penalty of law that the activities authorized by this VWP general permit will not occur. I understand that by submitting this notice of termination [ , that ] I am no longer authorized to perform activities in surface waters in accordance with the VWP general permit, and that performing activities in surface waters is unlawful where the activity is not authorized by a VWP permit. I also understand that the submittal of this notice does not release me from liability for any violations of this VWP general permit authorization, nor does it allow me to resume the permitted activities without reapplication and reauthorization."

[ c. For events beyond permittee control, the permittee shall provide a detailed explanation of the events, to be approved by DEQ, and the following certification statement:

"I certify under penalty of law that all activities authorized by a VWP general permit have changed as the result of events beyond my control (see attached). I understand that by submitting this notice of termination I am no longer authorized to perform activities in surface waters in accordance with the VWP general permit, and that performing activities in surface waters is unlawful where the activity is not authorized by a VWP permit. I also understand that the submittal of this notice does not release me from liability for any violations of this VWP general permit authorization, nor does it allow me to resume the permitted activities without reapplication and reauthorization." ]

K. L. Civil and criminal liability.  Nothing in this VWP general permit shall be construed to relieve the permittee from civil and criminal penalties for noncompliance.

L. M. Oil and hazardous substance liability.  Nothing in this VWP general permit shall be construed to preclude the institution of legal action or relieve the permittee from any responsibilities, liabilities, or penalties to which the permittee is or may be subject under § 311 of the Clean Water Act or §§ 62.1-44.34:14 through 62.1-44.34:23 of the State Water Control Law.

M. N. Duty to cease or confine activity.  It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the activity for which a VWP permit has been granted in order to maintain compliance with the conditions of the VWP permit.

N. O. Duty to provide information.

1. The permittee shall furnish to the board any information which the board may request to determine whether cause exists for modifying, revoking, reissuing and terminating the VWP permit, or to determine compliance with the VWP permit.  The permittee shall also furnish to the board, upon request, copies of records required to be kept by the permittee.

2. Plans, specifications, maps, conceptual reports and other relevant information shall be submitted as required by the board prior to commencing construction.

O. P. Monitoring and records requirements.

1. Monitoring of parameters, other than pollutants, shall be conducted according to approved analytical methods as specified in the VWP permit.  Analysis of pollutants will be conducted according to 40 CFR Part 136 (2000), Guidelines Establishing Test Procedures for the Analysis of Pollutants.

2. Samples and measurements taken for the purpose of monitoring shall be representative of the monitored activity.

3. The permittee shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart or electronic recordings for continuous monitoring instrumentation, copies of all reports required by the VWP permit, and records of all data used to complete the application for the VWP permit, for a period of at least three years from the date of the expiration of a granted VWP permit.  This period may be extended by request of the board at any time.

4. Records of monitoring information shall include, as appropriate:

a. The date, exact place and time of sampling or measurements;

b. The name of the individuals who performed the sampling or measurements;

c. The date and time the analyses were performed;

d. The name of the individuals who performed the analyses;

e. The analytical techniques or methods supporting the information such as observations, readings, calculations and bench data used;

f. The results of such analyses; and

g. Chain of custody documentation.

P. Q. Unauthorized discharge of pollutants.  Except in compliance with this VWP general permit, it shall be unlawful for the permittee to:

1. Discharge into state waters sewage, industrial wastes, other wastes, or any noxious or deleterious substances;

2. Excavate in a wetland;

3. Otherwise alter the physical, chemical, or biological properties of state waters and make them detrimental to the public health, to animal or aquatic life, to the uses of such waters for domestic or industrial consumption, for recreation, or for other uses; or

4. On and after October 1, 2001, conduct the following activities in a wetland:

a. New activities to cause draining that significantly alter or degrade existing wetland acreage or functions;

b. Filling or dumping;

c. Permanent flooding or impounding; or

d. New activities that cause significant alteration or degradation of existing wetland acreage or functions.

NOTICE:  The forms used in administering 9 VAC 25-660, the Virginia Water Protection General Permit for Impacts Less Than One-Half of an Acre, are not being published; however, the name of each form is listed below.  The forms are available for public inspection at the Department of Environmental Quality, 629 East Main Street, Richmond, Virginia, or at the office of the Registrar of Regulations, General Assembly Building, 2nd Floor, Richmond, Virginia.

FORMS

Department of Environmental Quality Water Division Permit Application Fee Form (eff. 8/01 7/04).

Joint Permit Application for Activities in Waters and Wetlands of the Commonwealth of Virginia (eff. 8/01 [ 4/04 10/04 ]).

Virginia Water Protection General Permit Registration Statement (eff. 10/02).

Quarterly Reporting of Impacts Less than One-Tenth Acre (insert reporting period) Statewide (eff. 4/03).

[ Joint Permit Application for Projects in Tidewater, Virginia (eff. 10/04). ]

Virginia Department of Transportation Inter-Agency Coordination Meeting Joint Permit Application (eff. 10/02).

VA.R. Doc. No. R04-100; Filed December 8, 2004, 8:12 a.m.