TITLE 13. HOUSING

BOARD OF HOUSING AND COMMUNITY DEVELOPMENT

Title of Regulation:  13 VAC 5-91. Virginia Industrialized Building Safety Regulations (amending 13 VAC 5-91-10, 13 VAC 5-91-20, 13 VAC 5-91-40, 13 VAC 5-91-50, 13 VAC 5-91-70, 13 VAC 5-91-80, 13 VAC 5-91-90, 13 VAC 5-91-110 through 13 VAC 5-91-220, and 13 VAC 5-91-245 through 13 VAC 5-91-270).

Statutory Authority:  § 36-73 of the Code of Virginia.

Public Hearing Date:  March 17, 2005 - 10 a.m.

Public comments may be submitted until April 11, 2005.

(See Calendar of Events section

for additional information)

Agency Contact:  Steve Calhoun, Regulatory Coordinator, Department of Housing and Community Development, 501 North Second Street, Richmond, VA 23219, telephone (804) 371-7015, FAX (804) 371-7090, or e-mail steve.calhoun@dhcd.virginia.gov.

Basis:  Section 36-73 of the Code of Virginia provides the board with the authority to promulgate rules and regulations prescribing standards to be complied with in industrialized buildings for protection against the hazards thereof to safety of life, health and property and prescribing procedures for the administration, enforcement and maintenance of such rules and regulations.

Purpose:  The reason this regulatory action is essential to protect the health, safety and welfare of the citizens of the Commonwealth is that without the building and fire regulations of the Board of Housing and Community Development being kept up to date by using the latest editions of the nationally recognized model codes and standards and without the correlation of this regulation with the other building and fire regulations of the board, the protection of the health, safety and welfare of Virginia’s citizens is not assured since conditions that need to be regulated are not.  In addition, where a condition that was previously determined in the nationally recognized codes and standards to need to be regulated is addressed less restrictively in the newest model codes and standards, there would be the risk of exposing Virginia's citizens to unnecessary regulations.

The goals of this regulatory action and general problems this regulatory action will solve are the same as the general reason the regulatory action is essential to protect the health, safety and welfare of the citizens of the Commonwealth.  Without keeping the codes up to date, there is the potential for not regulating necessary conditions, or over-regulating conditions determined to be less necessary of regulation.

Substance:  Since this regulation is a companion regulation to the other building and fire regulations promulgated by the board and needs to be coordinated with those regulations, and since the other building and fire regulations of the board are concurrently undergoing regulatory actions to reference the newest available nationally recognized model codes and standards, the board is therefore accepting comment on all provisions of this regulation.

The new substantive provisions that have been identified are the major differences between the 2000 edition of the I-Codes, which were incorporated in the existing regulation, and the 2003 editions of the I-Codes, which are being incorporated in this regulatory action.  The identified changes are: (i) garage construction requirements under the IRC have changed to require greater fire safety methods of construction when the garage is located beneath a habitable room, (ii) the use of fire-retardant-treated wood in roof construction of buildings of noncombustible type construction is now permitted with certain limitations, (iii) drains in both residential and commercial swimming pools are now required to have entrapment avoidance features, (iv) provisions for exterior walls adjacent to courtyards in commercial buildings have been deleted, which will permit window and door openings in such walls, (v) inclusion of provisions that permit the use of a "putty pad" protection system for electrical outlets in walls required to be of fire resistant construction methods, (vi) the use of platform lifts in lieu of ramps to provide an accessible route for persons with disabilities is now permitted in courtroom areas and exterior routes where site constraints make the use of ramps infeasible, and (vii) a prohibition against the use of wired glass and a requirement for the use of tempered glass in its place was added.

Issues:  The primary advantage to the public of this action is that the regulation will provide the least possible necessary regulations for assuring safety in the use of industrialized buildings.

There are no advantages to the Department of Housing and Community Development or to the Commonwealth resulting from this action.

There are no disadvantages to the public or to the Commonwealth resulting from this action.

Department of Planning and Budget's Economic Impact Analysis:  The Department of Planning and Budget (DPB) has analyzed the economic impact of this proposed regulation in accordance with § 2.2-4007 H of the Administrative Process Act and Executive Order Number 21 (02).  Section 2.2-4007 H requires that such economic impact analyses include, but need not be limited to, the projected number of businesses or other entities to whom the regulation would apply, the identity of any localities and types of businesses or other entities particularly affected, the projected number of persons and employment positions to be affected, the projected costs to affected businesses or entities to implement or comply with the regulation, and the impact on the use and value of private property.  The analysis presented below represents DPB’s best estimate of these economic impacts.

Summary of the proposed regulation.  The General Assembly mandates in § 36-73 of the Code of Virginia that the Virginia Board of Housing and Community Development promulgate rules and regulations prescribing standards for industrialized buildings.

The proposed regulation updates building codes and standards developed by the International Code Council (ICC) and incorporated by reference in to the Virginia Industrialized Building Safety Regulations (IBSR) from the 2000 edition to the 2003 edition.  The codes being updated include the International Building Code (IBC), the International Residential Code, and the International Property Maintenance Code.  The International Plumbing Code, the International Mechanical Code, the ICC Electrical Code, the International Fuel Gas Code, and the International Energy Conservation Code, which are referenced by the IBC, have also been updated from the 2000 edition to the 2003 edition.

There are several substantive differences between the 2000 edition and the 2003 edition of the ICC codes.  Updating from the 2000 edition to the 2003 edition (i) requires greater fire safety methods of garage construction in residential buildings when a garage is located below a habitable room, (ii) allows the limited use of wood treated with fire retardant in roof construction of certain types of noncombustible buildings, (iii) requires installation of entrapment avoidance devices in the drains of all commercial and residential swimming pools, (iv) eliminates several provisions relating to the number of window and door openings allowed in courtyard walls of commercial buildings, (v) allows a putty pad protection system to be used for electrical outlets on fire-rated walls, (vi) permits the use of platform lifts instead of ramps in certain areas to accommodate people with disabilities, and (vii) prohibits the use of wired glass in Group E (educational) occupancies and requires the use of tempered glass in its place.  However, some changes are likely to be more significant that others.  The magnitude of each change will depend on the prevalence and use of industrialized buildings in the facet of construction subject to the change.

The proposed regulation also updates the American Society of Testing and Materials (ASTM) standards relating to system analysis and compliance assurance for manufactured buildings, incorporated by reference into the IBSR, from the 1984 edition to the 2001 edition.  A review by the Department of Housing and Community Development (DHCD) determined that there are no substantive differences between the two editions.

Apart from updating documents incorporated by reference to the latest edition, the proposed regulation makes several other changes.  All unregistered buildings offered for sale now have to be inspected and approved by a building official and marked by a warning sign indicating that the building is not registered.  The size, form, and placement of the sign have to be approved by DHCD.  The remaining changes are intended to improve the understanding and implementation of the regulation.  Existing language is modified, clarifying language is added, and redundant language is deleted.

Estimated economic impact.  The IBSR govern the construction of industrialized or modular buildings.  These include any building(s) that are manufactured off site and transported to a site for installation and erection.  Industrialized buildings can be used in the construction of most buildings, including various types of residential and commercial buildings.

Substantive Changes Between the 2000 ICC Codes and the 2003 ICC Codes:  The proposed regulation updates building codes and standards developed by the ICC and incorporated by reference into the IBSR from the 2000 edition to the 2003 edition.  The following are identified by DHCD as the substantive changes between the 2000 edition and the 2003 edition of the ICC codes.  Discussion of the costs and benefits associated with each change is similar to the economic impact analysis of the proposed Uniform Statewide Building Code.  However, the magnitude of the costs and benefits, and hence net economic impact, associated with each change to manufacturers and the consumers of industrialized buildings will depend on the prevalence and use of such structures in the facet of construction subject to the change.  For example, swimming pool construction has little to do with the manufacture of industrialized buildings.  Thus, requiring entrapment avoidance devices to be installed in swimming pools is likely to have little economic impact in the context of the IBSR.

(1) The proposed regulation requires greater fire safety methods of garage construction in residential buildings when a garage is located below a habitable room.  Specifically, if a residential building is constructed with a habitable room above the garage, the ceiling of the garage must be covered with a N-inch Type X (fire resistant) gypsum board or equivalent that provides a one-hour fire rating.  The existing requirement is for the ceiling to be covered with a 1/2-inch gypsum board or equivalent that provides a 20-minute fire rating.  According to DHCD, a 4' X 8' board of N-inch Type X gypsum is likely to cost approximately $10 more than a 1/2-inch gypsum board of similar dimensions.  Thus, for a standard 12' X 22' single garage, it is likely to cost an additional $80-$90 to meet the requirements of the regulation.1  The additional cost will only be incurred on new residential construction in which the garage is constructed with a habitable room above it.  New construction of garages with habitable rooms adjacent to them and existing residential construction are unaffected by the proposed change.

The proposed change is also likely to produce some economic benefits.  Use of more fire resistant material on the ceiling of garages with habitable rooms above them could reduce the risk of damage to life and property from fires originating in a garage.  The ICC code writing body determined that fires could spread more easily through the ceiling of a garage than through its walls.  The use of fire resistant material on the ceiling increases the time it takes for the fire to spread to the house and, thus, allows more time for people to be rescued and property to be salvaged from the residence.  The proposed requirement has been in the commercial building code for many years.  Given the increased prevalence of residential construction with habitable rooms above garages, the ICC determined that the additional protection against fire was also required in the residential building code.  According to DHCD, construction of habitable rooms above garages is on an increasing trend, especially in high-end developments.

The net economic impact of the proposed change will depend on the extent to which industrialized buildings are used in residential garage construction and on whether the additional cost of protecting against the risk of damage to life and property from fire is greater than or less than the benefits of doing so.  It is not possible to make a precise determination of the net economic impact at this time.  Such an estimate would require data on the use of modular buildings in residential garage construction, the number of fires that originate in a garage below a habitable room, and the damage to life and property from such fires.  It would also require calculating the reduction in the risk to life and property by the use of more fire resistant material.  However, the additional costs of complying with the requirements of the regulation are not very large.  Moreover, the ICC code writing body determined the risk to be significant enough to recommend the use of more fire resistant material on the ceiling of garages below habitable rooms.  Thus, to the extent that the proposed change reduces the risk of damage to life and property from fire without imposing any sizeable additional costs, it is likely to produce a net positive economic impact.  The overall magnitude of the costs and benefits, and hence the net economic impact, will depend on the prevalence of industrialized buildings in residential garage construction.

(2) The proposed regulation allows the limited use of wood treated with fire retardant in roof construction of certain types of noncombustible buildings.  Under existing regulations, wood treated with fire retardant can only be used in roof construction of buildings less than three stories in height.  The proposed regulation will allow fire retardant-treated wood to also be used in Type I construction (larger noncombustible buildings) where the vertical distance from the upper floor to the roof is 20 feet or more and all Type II construction (smaller noncombustible buildings).

The proposed change is likely to produce some economic benefits.  Rather than using noncombustible framing (steel and concrete), the proposed change will allow another method of construction for Type II and certain types of Type I buildings, thus providing a greater diversity in construction methods.  According to DHCD, the proposed change is in response to fire retardant-treated wood becoming available under new standards to assure its quality.  Allowing this type of wood to be used in roof construction of Type II and certain Type I buildings will increase the range of design options available for the construction of these types of buildings.  The proposed change could also provide some cost savings.  Use of wood treated with fire retardant requires a different method of construction than roof construction with steel and concrete, making it difficult to precisely estimate the cost savings associated with the proposed change.  According to DHCD, steel construction averages $130 per square foot and concrete construction averages $177 per square foot for commercial buildings.  While the average cost of wood construction for commercial buildings is not readily available, it averages between $45 and $150 per square foot for residential buildings.  Wood construction costs for commercial buildings are likely to be similar to the wood construction costs for residential buildings.  Thus, the proposed change could result in some cost savings.

The proposed change could also impose additional economic costs by increasing the risk of damage to life and property from fire.  Commercial buildings using fire retardant treated wood in roof construction could pose more of a fire hazard than a commercial building using steel and concrete in its roof construction.  However, according to DHCD, there have been no serious problems and no known failures of the type of wood being allowed for use in roof construction.  Moreover, the ICC code writing body recognized the safety record of fire retardant treated wood and determined that its use would provide a safe and low cost alternative to using steel and concrete in the roof construction of certain types of buildings.  Thus, it is not likely that the limited use of this type of wood in roof construction permitted under the proposed regulation will significantly increase the risk of damage to life and property from fire.

The net economic impact of the proposed change will depend on the magnitude of the costs and benefits accruing from it.  To the extent that the proposed change provides a greater range of construction and design options and reduces the cost of construction for certain types of building without significantly increasing the risk to life and property, it is likely to produce a net positive economic impact.  The significance of the proposed change will depend on the extent to which industrialized buildings are used in the construction of Type I and Type II buildings.  As buildings less than three stories in height are already allowed under the existing regulations to use fire retardant treated wood in roof construction, the proposed change provides greater design and construction options for some Type I and all Type II buildings three stories or more in height.  Both the costs and the benefits of the proposed change will depend on the extent to which industrialized buildings are used in the construction of these types of structures.

(3) The proposed regulation requires installation of entrapment avoidance devices in the drains of all new commercial and residential swimming pools.  The commercial and residential building codes now require the use of anti-vortex drain covers or the use of other approved methods for preventing entrapment by swimming pool drains.  There have been several instances of death and injury (especially among children) due to body part entrapment in the drain of a swimming pool, wading pool, or spa.  In a 2003 draft report, the Consumer Products Safety Commission (CPSC) reports that it is aware of 73 cases of body entrapment, including 12 confirmed deaths, between January 1990 and October 2003. 2  Of these, 31 incidents occurred at swimming pools (commercial and residential).  The deaths occurred after the body or limb was held against the swimming pool drain by the suction of the circulation pump.  In addition, the report states that two instances of evisceration and disembowelment were reported to the CPSC over the same period.  Specifically, with respect to children, the CPSC knows of 18 incidents, including five deaths, involving body part entrapment of children between the ages of two and 14.  DHCD is not aware of any such injuries or fatalities in Virginia.  However, this could be in part due to the lack of a reporting and recording mechanism for such incidents.  The use of anti-vortex drain covers or other entrapment avoidance devices is likely to reduce the occurrence of such incidents.

The minimum cost of installing an anti-vortex drain cover meeting the requirements of the regulation ranges from $10 to $30.  According to DHCD, insurance and liability concerns ensure that most swimming pools currently manufactured in the United States are already fitted with anti-entrapment devices.  Thus, the proposed change is likely to affect the construction of those pools that do not always include entrapment avoidance devices, such as homemade pools and pools imported from other countries.

While there are costs and benefits associated with the proposed change, neither is likely to be significant.  According to DHCD, swimming pool construction has little to do with the manufacture of industrialized buildings.  DHCD believes that most swimming pool construction falls under the Uniform Statewide Building Code, not the IBSR.  Consequently, requiring swimming pools to have entrapment avoidance devices is likely to have little economic impact in the context of the IBSR.

(4) The proposed regulation eliminates several provisions relating to the number of window and door openings allowed in courtyard walls of commercial buildings.  In determining whether the walls facing a courtyard are permitted to have window and door openings, the existing regulation assumes a property line between the opposite walls of the courtyard.  In general, only if the walls are more than ten feet apart are window and door openings permitted.  Exceptions to this rule are allowed when not more than two levels of the building open into the courtyard, the aggregate area of the building (including the courtyard) is within the allowable area, and the building is not a Group I (institutional) classification.  In the case of these exceptions, courtyard walls do not have to be ten feet apart in order to have window and door openings.  The proposed regulation eliminates these requirements for commercial buildings containing courtyards.  Courtyard walls will now have no restrictions regarding the number of window and door openings permitted.  The exterior wall of the building itself will not have any limits on window and door openings unless it is within ten feet of another building on the same lot or within ten feet of the property line.

The proposed change could produce costs and benefits.  Increased costs could manifest themselves in the form of an increased risk of fire spreading within a building and from one building to another due to the lifting of restrictions on the number of window and door openings allowed in courtyard walls.  By restricting the number of window and door openings, the existing regulation could reduce the risk of a fire spreading from a building to its courtyard and hence, to other parts of the building and to neighboring buildings.  The benefits are likely to manifest themselves in the form of greater flexibility in designing commercial buildings with courtyards.  Window and door openings can now be incorporated into courtyard walls where previously they had not been allowed.

The net economic impact of the proposed change will depend on whether the costs of removing restrictions on window and door openings in courtyard walls are greater than or less than the benefits of doing so.  According to DHCD, there are very few existing commercial buildings that (i) contain a courtyard less than ten feet wide or (ii) cannot avail themselves of the exceptions provided for under the existing regulation.  This could be either because it is unusual to construct courtyards that are less than ten feet wide and do not fall under any of the exceptions or because existing restrictions on window and door openings discourage the construction of such courtyards.  In the former case, the proposed change is not likely to produce significant costs or benefits.  In the latter case, lifting the restrictions could result in more buildings being constructed with courtyards that have window and door openings that previously would not have been allowed, potentially increasing the risk of a fire spreading within a building and from one building to another.  Under these circumstances, the net economic impact of the proposed change will depend on whether the increased risk of fire is greater than or less than the benefits of allowing window and door openings in courtyard walls.  There is not enough information available at this time to make a precise determination of the net economic impact of the proposed change.  Such a calculation would require being able to estimate the impact of the proposed change on the construction of commercial buildings containing courtyards and on the increased risk of a fire spreading.  It would also require being able to estimate the benefits of providing additional flexibility in the construction of commercial building with courtyards.

However, neither the costs nor the benefits associated with the proposed change are likely to be very large.  According to DHCD, removing existing restrictions on window and door openings in courtyard walls is not likely to have a significant effect on the spread of fire within a building or to neighboring buildings3.  Moreover, the agency does not believe that the proposed change will lead to significant changes in current design and construction practices for commercial buildings.  The significance of the proposed change will depend on the use of modular buildings in the construction of commercial buildings with courtyards.  For example, the proposed change would affect buildings that have more than two levels opening onto the courtyard (buildings with no more than two levels opening onto the courtyard are exempt from these restrictions).  In this case, the overall costs and benefits, and hence the net economic impact, associated with the proposed change will depend on the extent to which modular buildings are used to construct commercial buildings more than two stories in height.

(5) The proposed regulation allows a putty pad protection system to be used for electrical outlets on fire-rated walls.  Under the existing regulation, electrical boxes in fire-rated walls are required to be separated by at least 24 inches horizontally.  The proposed regulation will allow electrical boxes to be side by side or on both sides of a fire-rated wall without a horizontal separation distance as long as a putty-pad type fire resistant pad is wrapped around the boxes.  Thus, the proposed change provides more flexibility in the placement of electrical outlets on fire-rated walls.

The proposed change is likely to have costs and benefits associated with it.  The costs could manifest themselves in the form of an increased risk of fire from electrical outlets and boxes.  However, according to DHCD, the proposed change is not likely to have a significant effect on the risk of fire.  Putty pad-type fire resistant pads have been tested and shown to protect outlets from the spread of fire.  The benefits of the proposed change could manifest themselves in the form of increased flexibility in the placement of electrical boxes on fire-rated walls.  However, these benefits are likely to be limited.  According to DHCD, putty pads are permitted under the 2000 IBC as long as they meet the specified ASTM standard and can be used as an alternative to existing requirements.  The proposed change will now allow putty pads to be used with less documentation than required under the existing regulation.  A 7.25" X 7.25" X 0.19" putty pad meeting the requirements of the regulation costs approximately $6.

The net economic impact of the proposed change will depend on the magnitude of the costs and benefits accruing from it.  Neither the costs nor the benefits associated with the proposed change appear to be very large.  Thus, while it is not possible to precisely estimate the net economic impact of the proposed change, it is not likely to be very large.

(6) The proposed regulation permits the use of platform lifts instead of ramps in certain areas to accommodate people with disabilities.  The existing regulation allows platform (or wheelchair) lifts to be used instead of ramps or elevators only under certain limited circumstances.  The proposed change expands the instances when platform lifts may be used instead of a ramp or elevator to include providing access to raised areas in courtrooms.  In addition, the proposed regulation allows the use of platform lifts for exterior accessible routes where site constraints make the use of ramps infeasible.  Platform lifts can currently be used on exterior accessible routes where ramp use is infeasible, but only after its use has been approved as a modification under the existing USBC.  Under the proposed regulation, platform lifts can be used as an alternative to ramps without having to obtain approval.  The proposed change will apply to industrialized buildings that come installed with ramps, platform lifts, and other devices that provide access to people with disabilities.

The proposed change increases the options available to industrialized building manufacturers for providing access to people with disabilities.  By providing an additional space saving alternative to ramps and elevators in courtrooms and by allowing platform lifts to be used when ramp use for exterior accessible routes is infeasible, the proposed regulation is likely to produce economic benefits.  At the same time, it is not likely to impose any significant costs.  Platform lifts meeting the requirements of the regulation are a safe alternative to ramps and elevators.  The increased use of platform lifts could result in more instances when people with disabilities are required to use a different access route than people without disabilities.  However, the increase in such instances is likely to be limited as ramps are generally cheaper to install than platform lifts4.  Thus, platform lifts are likely to be installed only when the installation of ramps is problematic.  The proposed change was recommended by the Architectural and Transportation Compliance Board and based on the new Americans with Disabilities Act accessibility guidelines.  Thus, the proposed change is likely to have a net positive economic impact, improving access for people with disabilities without imposing any significant economic costs.

(7) The proposed regulation prohibits the use of wired glass in Group E (educational) occupancies and requires the use of tempered glass in its place.  Under the existing regulation, wired glass products are permitted for use as safety glazing in fire-rated doors in all types of occupancies.  Under the proposed regulation, tempered glass will have to be used in place of wired glass in fire-rated doors of all new educational buildings, gymnasiums, and play areas.  At the time that wired glass was first permitted for use in fire-rated doors, it was the only glazing product to offer a significant degree of fire protection.  Most other types of glass could not endure the thermal shock test5 or the high temperatures in the fire test furnace.  However, wired glass has low impact resistance and tends to shatter more easily than other types of glass.  In addition, the wire mesh within the glass can cause additional injuries when the glass does break.  Due to its fire resistant qualities, wired glass has been exempt from CPSC's mandatory high impact test standards for over two decades.  However, today there are many alternatives to wired glass that provide an equivalent level of fire protection and better impact resistance.

Thus, the proposed change is likely to have costs and benefits associated with it.  The costs could manifest themselves either in the form of reduced fire protection or in the form of higher costs to maintain the existing level of fire protection.  A 100 square inch sheet of wired glass to be used in a fire-rated door typically has a 90-minute fire rating.  Tempered glass meeting the same fire rating could cost as much as 20 times more.  According to DHCD, there are many new products available that would meet the proposed requirement, ranging in price from being comparable to wired glass to being 20 times more expensive.  However, the proposed change only applies to new school construction.  The fraction of glazing requiring safety or impact resistant glazing in new school construction is minimal.  According to DHCD, a 100,000 square feet school construction project would require approximately ten square feet of safety or impact resistant glazing.  Thus, even if tempered glass were to cost 20 times as much wired glass, the increase in cost would still account for a very small fraction of total construction costs.6

The proposed change is also likely to produce some economic benefits.  As tempered glass has better impact resistance than wired glass, the proposed change is likely to reduce the risk to public health and safety from breaking glass.  There is some uncertainty regarding the number of injuries caused by wired glass.  CPSC reports only nine wired glass related injuries between 1982 and 2002 that required emergency room treatment.  However, other sources indicate that the figure is much higher.  According to the Center for Injury Control at the Rollins School of Public Health, Emory University, 90% of the 2,500 glass door injuries seen each year in the CPSC system involve wired glass.  Switching from wired glass to tempered glass is likely to reduce the occurrence of such injuries.  DHCD is not aware of any serious injuries in Virginia from the breaking of wired glass.

The net economic impact of the proposed change will depend on the extent to which industrialized buildings are used in new school construction and on whether the additional cost of replacing wired glass with tempered glass in fire-rated doors at educational facilities is greater than or less than its benefits.  In order to make a precise determination of the net economic impact we would have to weigh the increased fire risk (or the increased cost of providing the existing level of fire protection) against the reduced risk of injuries from breaking glass.  In addition, we would require data on the use of industrialized buildings in school construction.  There is not enough data on either the costs, the benefits, or the use of industrialized buildings in school construction to make such a determination at this time.

Other Changes:  All unregistered buildings offered for sale now have to be inspected and approved by a building official and marked by a warning sign indicating that the building is not registered.  The size, form, and placement of the sign have to be approved by DHCD.  Under the existing regulation, the inspection and signposting requirements applied specifically to unregistered industrialized buildings offered for sale by dealers.  According to DHCD, there is no such thing as an industrialized building dealer.  The language was left in accidentally when these regulations were combined with the manufactured home (trailer) regulations.  There are retail businesses that sell manufactured homes and industrialized buildings.  DHCD believes that these businesses are likely to be aware of the inspection and signposting requirements and are likely to be complying with them.  Thus, the proposed change will only have an impact on sales of unregistered industrialized buildings between private parties.

Private parties selling unregistered industrialized buildings are likely to incur some additional costs in meeting the requirements of the regulation.  According to DHCD, having the building inspected is not likely to impose any additional costs.  Local inspectors have the authority to charge for the enforcement of the Uniform Statewide Building Code, but not the IBSR.  Thus, the only additional cost is likely to be the cost of affixing warning signs in accordance with DHCD requirements.  The proposed change is also likely to produce some economic benefits.  It will ensure that anyone purchasing the building is aware that it is unregistered.  It will also ensure that the building is constructed in accordance with and meets the requirements of the IBSR.  However, as building code officials are required to inspect the building prior to its installation at a new location, the public safety benefits of the inspection requirement are not likely to be very large.

The net economic impact of the proposed change is not likely to be very large.  The costs and the benefits accruing from it appear to be small.  In addition, the number of businesses and individuals affected by the proposed change is not large.  According to DHCD, the number of private party transactions relating to the sale of unregistered industrialized buildings is limited.  Thus, the proposed change is not likely to produce large costs or benefits and thus is not likely to have a significant economic impact.

The proposed regulation could improve understanding and implementation of the IBSR.  It includes a number of changes intended to clarify various aspects of the regulation.  In addition, DHCD believes that the 2003 ICC codes are easier to understand and implement than previous editions.  Thus, to the extent that the proposed regulation improves understanding and implementation of the IBSR, it is likely to produce some additional economic benefits.

The proposed regulation also updates the ASTM standards relating to system analysis and compliance assurance for manufactured buildings, incorporated by reference into the IBSR, from the 1984 edition to the 2001 edition.  However, a review of the existing and proposed standards by DHCD determined that there are no substantive differences between the two editions.

Possible Additional Changes:  DHCD states in its agency document that it anticipates receiving requests during the public comment period for substantive changes to this regulation.  Depending on the nature of the comments received, the agency may choose to repropose the regulation with additional changes.  DHCD has a number of technical advisory committees looking at various issues and developing proposals for change.  Some of the committees have been established to look into implementing changes to the Code of Virginia.  For example, the 2004 General Assembly amended the Code of Virginia to require that the Board of Housing and Community Development promulgate regulations establishing (i) standards of design and construction for commercial, industrial, and multi-family buildings such that they contain the appropriate equipment and can be used by emergency public safety personnel to send and receive emergency communications and (ii) standards for smoke detectors and other fire detection and suppression systems such that the safety of facilities marketed to senior citizens is improved.  DHCD also has a number of committees reviewing issues relating to the rehabilitation code, the propane gas industry, the design and construction of elevators, the expanded use of platform lifts, and the training and certification of building and fire officials.  The agency has already received a number of proposals for change from these committees.  In addition, it has also received a number of proposals from various individuals and interest groups.  Following an evaluation of the various proposals for change, DHCD will decide whether to repropose the regulation or not.  However, the agency notes that there have been no substantive proposals or comments against updating from the 2000 ICC codes to the 2003 ICC codes.  But it is possible that some of the changes to the regulation at the reproposed stage will affect the costs and benefits discussed in this analysis.

Businesses and entities affected.  The proposed regulation affects the manufacturers and consumers of industrialized buildings.  Some of the proposed changes could increase the cost of construction for industrialized buildings.  These include requiring greater fire safety methods of garage construction in residential construction when a garage is located below a habitable room, requiring the installation of entrapment avoidance devices in the drains of all commercial and residential swimming pools, and substituting tempered glass for wired glass in fire-rated doors of Group E (educational) occupancies.  Other changes increase the available construction and design options for industrialized buildings and could provide economic benefits.  Such changes include allowing the use of wood treated with fire retardant in roof construction of certain types of noncombustible buildings, eliminating several provisions relating to the number of window and door openings allowed in courtyard walls of commercial buildings, allowing the use of a putty pad protection system for electrical outlets on fire-rated walls, and permitting the use of platform lifts instead of ramps under certain circumstances to accommodate people with disabilities.

Thus, while some of the changes could impose additional costs, others could provide economic benefits for businesses and entities involved in the design and construction of industrialized buildings.  It is not possible at this time to determine the net impact of all the changes on these entities.  Moreover, regardless of whether the changes result in an overall cost or an overall benefit to industrialized building design and construction businesses, neither all the costs nor all the benefits is likely to be borne by the manufacturers of industrialized buildings.  Some or all of the additional costs or benefits may be passed on to consumers.  The extent to which the costs or benefits are shared between manufacturers and buyers of industrialized buildings will depend on the nature of the market for industrialized buildings and the elasticity of demand for such buildings in Virginia.

Localities particularly affected.  The proposed regulation applies to all localities in the Commonwealth.

Projected impact on employment.  The proposed regulation is not likely to have a significant impact on employment.  Some of the changes are likely to add to construction costs while others are likely to reduce costs by providing additional flexibility in construction and design.  However, the net impact of all the changes on the number of people employed in the manufacture and design of industrialized buildings is not likely to be significant.

Effects on the use and value of private property.  The proposed regulation is not likely to have significant effect on the use and value of private property.  Some of the proposed changes are likely to increase the costs of construction for industrialized buildings.  However, other changes are likely to reduce construction costs by increasing flexibility in construction and design of these buildings.  It is not possible at this time to determine the overall economic impact of all the changes.  However, the overall impact of the proposed changes on the use and value of private property is not likely to be significant.

Agency's Response to the Department of Planning and Budget's Economic Impact Analysis:  The Department of Housing and Community Development concurs with the economic impact statement  conducted by the Department of Planning and Budget for this proposed regulation.

Summary:

The proposed amendments update building codes and standards developed by the International Code Council (ICC) and incorporated by reference into the Virginia Industrialized Building Safety Regulations (IBSR) from the 2000 edition to the 2003 edition.  The codes being updated include the International Building Code (IBC), the International Residential Code, and the International Property Maintenance Code.  The International Plumbing Code, the International Mechanical Code, the ICC Electrical Code, the International Fuel Gas Code, and the International Energy Conservation Code, which are referenced by the IBC, have also been updated from the 2000 edition to the 2003 edition.

There are several substantive differences between the 2000 edition and the 2003 edition of the ICC codes.  Updating from the 2000 edition to the 2003 edition (i) requires greater fire safety methods of garage construction in residential buildings when a garage is located below a habitable room; (ii) allows the limited use of wood treated with fire retardant in roof construction of certain types of noncombustible buildings; (iii) requires installation of entrapment avoidance devices in the drains of all commercial and residential swimming pools; (iv) eliminates several provisions relating to the number of window and door openings allowed in courtyard walls of commercial buildings; (v) allows a putty pad protection system to be used for electrical outlets on fire-rated walls; (vi) permits the use of platform lifts instead of ramps in certain areas to accommodate people with disabilities; and (vii) prohibits the use of wired glass in Group E (educational) occupancies and requires the use of tempered glass in its place. Proposed amendments also update the American Society of Testing and Materials (ASTM) standards relating to system analysis and compliance assurance for manufactured buildings, incorporated by reference into the IBSR, from the 1984 edition to the 2001 edition.

Other proposed amendments provide that all unregistered buildings offered for sale now have to be inspected and approved by a building official and marked by a warning sign indicating that the building is not registered.  The size, form, and placement of the sign have to be approved by DHCD.

13 VAC 5-91-10. Definitions.

The following words and terms when used in this chapter shall have the following meaning unless the context clearly indicates otherwise.

"Administrator" means the Director of DHCD or his designee.

"Approved" as applied to a material, device, method of construction, registered building, or as otherwise used in this chapter means approved by the administrator.

"BHCD" means the Virginia Board of Housing and Community Development.

"BOCA" means the Building Officials and Code Administrators International, Inc.

"Building official" means the officer or other designated authority charged with the administration and enforcement of the USBC, or duly authorized representative.

"CABO" means the Council of America Building Officials.

"Compliance assurance agency" means an architect or professional engineer registered in Virginia, or an organization, determined by the department DHCD to be specially qualified by reason of facilities, personnel, experience, and demonstrated reliability, to investigate, test and evaluate industrialized buildings;  to list such buildings complying with standards at least equal to those promulgated by the board this chapter; to provide adequate follow-up services at the point of manufacture to ensure that production units are in full compliance;  and to provide a label as evidence of compliance on each registered industrialized building.

"DHCD" means the Virginia Department of Housing and Community Development.

"ICC" means the International Code Council, Inc.

"Industrialized building" means a combination of one or more sections or modules, subject to state regulations and including the necessary electrical, plumbing, heating, ventilating, and other service systems, manufactured off-site and transported to the point of use for installation or erection, with or without other specified components, to comprise a finished building.  Manufactured homes defined in § 36-85.3 of the Code of Virginia and certified under the provisions of the National Manufactured Housing Construction and Safety Standards Act (42 USC § 5401 et seq.) shall not be considered industrialized buildings for the purpose of this law.

"Model" means a specific design, as designated by the producer, of an industrialized building. designated by the producer of the building including production buildings of any model may include with variations and options that do not affect compliance with the standards governing structural, plumbing, mechanical, or electrical systems or any other items governed by this chapter.

"NFPA" means the National Fire Protection Association.

"Registered" means an industrialized building which displays a registration seal issued by DHCD in accordance with this chapter.

"Regulation" or "regulations" means 13 VAC 5-91.

"State Building Code Administrative Office" or "SBCAO" means the office of State Building Code Administrative Office within DHCD that has been designated to carry out the enforcement of the Virginia Industrialized Building Safety Regulations.

"State Review Board" means the Virginia State Building Code Technical Review Board as established by § 36-108 of the Code of Virginia.

"The law" or "This law" means the Virginia Industrialized Building Safety Law as embraced in Chapter 4 (§ 36-70 et seq.) of Title 36 of the Code of Virginia.

"TRB" means the State Building Code Technical Review Board as established by § 36-108 of the Code of Virginia.

"USBC" means the Virginia Uniform Statewide Building Code, 13 VAC 5-61 (13 VAC 5-63).

13 VAC 5-91-20. Application and compliance.

A. This chapter shall apply to industrialized building, as defined in 13 VAC 5-91-10 buildings.

B. No person, firm or corporation shall offer for sale or rental, or sell or rent, any industrialized building produced after the effective date of any provision of these regulations this chapter unless it conforms with such provision of the regulations.

C. Industrialized buildings subject to any edition of these regulations this chapter when constructed shall be maintained in compliance with the applicable edition by the owners or occupants, or both.

D. Industrialized buildings constructed prior to the effective date of the first edition of these regulations (January 1, 1972) when relocated January 1, 1972, shall be subject to the pertinent provisions of the USBC when relocated.

13 VAC 5-91-40. Inspection and enforcement.

A. The SBCAO is designated as the administrator's representative for the enforcement of this chapter and shall act as the building official for registered industrialized buildings.  It shall have authority to make such inspections and to take such other actions as are required to enforce the regulations this chapter.

NOTE:  The SBCAO shall act as the code official for registered industrialized buildings.

B. The SBCAO will maintain a list of approved compliance assurance agencies.  Each manufacturer producing registered industrialized buildings will contract with one or more compliance assurance agencies for required evaluation, monitoring and inspection services.  The contract will delineate the services to be provided by the compliance assurance agency.  The compliance assurance agency will notify the SBCAO within 30 days of signing a new contract or terminating an existing contract with any manufacturer.

13 VAC 5-91-50. Factory and field inspections.

A. The SBCAO shall, during reasonable hours, make conduct such inspections of factories producing industrialized buildings as may be necessary during reasonable hours to determine whether the designated compliance assurance agency having jurisdiction is performing its evaluation and compliance assurance functions in a satisfactory manner.

B. The SBCAO may, during reasonable hours, also make inspections during reasonable hours to determine whether unoccupied industrialized buildings not at the time occupied are in compliance with this chapter.  Such inspections may include, but are not limited to, industrialized buildings on dealer lots or industrialized buildings that are otherwise offered for sale to the public.  Occupied industrialized buildings that are occupied may be inspected by the SBCAO at the request of the owners or occupants.

13 VAC 5-91-70. Appeals.

A. Appeals from local code building officials, compliance assurance agencies or manufacturers of industrialized buildings concerning DHCD's application of this chapter will be heard by shall be submitted to the TRB upon application by the aggrieved party. The application shall be submitted to the office of the TRB State Review Board within 21 calendar days of receipt of the DHCD's decision by DHCD. A copy of the decision of DHCD to be appealed shall be submitted with the application for appeal. Failure to submit an application for appeal within the time limit established by this section shall constitute acceptance of DHCD's decision.

B. Procedures of the TRB State Review Board are in accordance with Article 2 (§ 36-108 et seq.) of Chapter 6 of Title 36 of the Code of Virginia. Decisions of the TRB State Review Board shall be final if no appeal is made therefrom.

13 VAC 5-91-80. Limitation of manufacturer's liability.

The manufacturer of the a registered industrialized building shall not be required to remedy violations caused by on-site work by others not under his control or violations involving components and materials furnished by others and not included with the registered industrialized building.

13 VAC 5-91-90. Penalty for violation.

In accordance with § 36-83 of the Code of Virginia, any person, firm or corporation violating any provisions of this chapter shall be considered guilty of a Class 1 misdemeanor and, upon conviction, shall be fined not more than $1,000 (§ 36-83 of the Code of Virginia).

13 VAC 5-91-110. Registered industrialized buildings.

Industrialized buildings that are registered shall be accepted in all localities as meeting the requirements of this law.  Notwithstanding this provision, building officials are authorized to carry out the following functions that apply to registered industrialized buildings provided such functions do not involve disassembly of the registered building or a change of in its design, or result in the imposition of more stringent conditions than those required by the compliance assurance agency or by this chapter.

1. Building officials shall verify that the registered industrialized building has not been damaged in transit to a degree that would render it unsafe.  Where indicated, this may include tests for tightness of plumbing systems and gas piping and tests for damaged or loose wires, or both, in the electrical system.

2. Building officials shall verify that supplemental components required by the label or by this chapter are properly provided.

3. Building officials shall verify that the instructions of the label for installation and erection are observed.

4. Building officials shall verify that any special conditions or limitations of use that are stipulated by the label in accordance with and authorized by this chapter are observed.

5. Building officials may require submission and approval of plans and specifications for items not included or specified in the manufacturer's installation instructions such as the supporting structures, foundations including and anchorage, and all other components necessary to form the completed building.  They may require such architectural and engineering services as may be specifically authorized by this chapter to assure that the supporting structures, foundations including and anchorage, and other components necessary to form the completed building are designed in accordance with this chapter.

6. Building officials shall enforce applicable requirements of this chapter and the USBC for alterations and additions to the units or to the buildings.  As an aid, they may require submission of plans and specifications of the model of the unit.  Such plans and specifications may be furnished on approved microfilm.

7. Building officials shall enforce the requirements of the USBC applicable to utility connections, site preparation, building permits, certificates of use and occupancy, and all other applicable requirements of the USBC, except those governing the design and construction of the registered building.

8. Building officials shall verify that the building displays the required state registration seal and the proper label of the compliance assurance agency.

13 VAC 5-91-120. Unregistered industrialized buildings.

A. The building official shall determine whether any unregistered industrialized building complies with this chapter and shall require any noncomplying unregistered building to be brought into compliance with this chapter.  The building official shall enforce all applicable requirements of this chapter including those relating to the sale, rental and disposition of noncomplying buildings.  The building official may require submission of full plans and specifications for each building.  Concealed parts of the building may be exposed to the extent necessary to permit inspection to determine compliance with the applicable requirements.  The building official may also accept reports of inspections and tests from individuals or agencies deemed acceptable to the building official.

B. Unregistered industrialized buildings offered for sale by dealers in this Commonwealth shall be marked by a warning sign to prospective purchasers that the building is not registered in accordance with this chapter and must be inspected and approved by the local code official having jurisdiction building official.  The sign shall be of a size and form approved by the administrator and shall be conspicuously posted on the exterior of the unit near the main entrance door.

13 VAC 5-91-130. Disposition of noncomplying building.

When a building is found to be in violation of this chapter, the local code building official may require the violations to be corrected before occupancy of the building is permitted.

13 VAC 5-91-140. Report to the SBCAO.

If the building is moved from the jurisdiction before the violations have been corrected, the building official shall make a prompt report of the circumstances to the SBCAO. The report shall include all of the following:

1. A list of the uncorrected violations;.

2. All information contained on the label pertinent to the identification of the building, the manufacturer and the compliance assurance agency;.

3. The number of the Virginia registration seal;.

4. The new destination of the building, if known; and .

5. The party responsible for moving the building.

13 VAC 5-91-150. When modification may be granted.

A. The administrator shall have the power upon request in specific cases to authorize modification of the regulations this chapter so as to permit certain specified alternatives where the objectives of this law can still be fulfilled. Such request shall be in writing and shall be accompanied by the plans, specifications and other information necessary for an adequate evaluation of the modification requested.

B. Before a modification is authorized, the local code building official having jurisdiction may be afforded an opportunity to present his views and recommendations.

13 VAC 5-91-160. Use of model codes and standards.

A. Industrialized buildings produced after October 1, 2003, (effective date of final regulation to be inserted) shall be reasonably safe for the users and shall provide reasonable protection to the public against hazards to life, health and property.  Compliance with all applicable requirements of the following codes and standards, subject to the specified time limitations, shall be acceptable evidence of compliance with this provision:

The following codes and standards may be used until January 1, 2004 (date three months after above date to be inserted):

1. BOCA National Building Code 1996 Edition ICC International Building Code - 2000 Edition

2. ICC International Plumbing Code 1995 - 2000 Edition with 1996 Supplement

3. ICC International Mechanical Code 1996 - 2000 Edition

4. National Electrical Code--NFPA National Fire Protection Association Standard Number 70 (National Electrical Code) 1996 - 1999 Edition

5. CABO One-and Two-Family Dwelling Code 1995 ICC International Residential Code - 2000 Edition

B. The following documents are adopted and incorporated by reference to be an enforceable part of these regulations this chapter:

1. ICC International Building Code-2000 - 2003 Edition

2. ICC International Plumbing Code-2000 - 2003 Edition

3. ICC International Mechanical Code-2000 - 2003 Edition

4. NFPA 70 National Electrical Code-1999 - 2002 Edition

5. ICC International Residential Code-2000 - 2003 Edition

NOTE:  The codes and standards (BOCA, CABO, ICC and NFPA) referenced above may be procured from:

International Code Council, Inc.

5203 Leesburg Pike, Suite 708 600

Falls Church, VA 22041-3401

13 VAC 5-91-170. Amendments to codes and standards.

A. All requirements of the referenced model codes and standards that relate to fees, permits, certificates of use and occupancy, approval of plans and specifications, and other procedural, administrative and enforcement matters are deleted and replaced by the procedural, administrative and enforcement provisions of this chapter and the applicable provisions of Chapter 1 of the USBC.

B. The referenced codes and standards are amended as per set forth in the USBC.

13 VAC 5-91-180. Compliance assurance agencies.

Application may be made to the SBCAO for acceptance as a compliance assurance agency as defined in 13 VAC 5-91-10.  Application shall be made under oath and shall be accompanied by information and evidence that is adequate for the SBCAO to determine whether the applicant is specially qualified by reason of facilities, personnel, experience and demonstrated reliability to investigate, test and evaluate industrialized buildings for compliance with this chapter, and to provide adequate follow-up and compliance assurance services at the point of manufacture.

13 VAC 5-91-190. Freedom from conflict of interest.

A compliance assurance agency shall not be affiliated with, nor influenced or controlled by, producers, suppliers, or vendors of products in any manner which might affect its capacity to render reports of findings objectively and without bias. A compliance assurance agency is judged to be free of such affiliation, influence, and control if it complies with all of the following conditions:

1. The agency has no managerial affiliation with producers, suppliers or vendors and is not engaged in the sale or promotion of any product or material.

2. The results of the agency's work accrue no financial benefits to the agency through stock ownership and the like of, or other similar affiliation to, any producer, supplier or vendor of the product involved.

3. The agency's directors and other management personnel, in such their job capacities, receive no stock option, or other financial benefit from any producer, supplier, or vendor of the product involved.

4. The agency has sufficient interest or activity that the loss or award of a specific contract to determine compliance of a producer's, supplier's or vendor's product with this chapter would not be a determining factor in its financial well-being.

5. The employment security status of the agency's personnel is free of influence or control by producers, suppliers, or vendors.

13 VAC 5-91-200. Information required by the administrator.

All of the following information and criteria will be considered by the administrator in designating compliance assurance agencies:

1. Names of officers and location of offices;.

2. Specification and description of services proposed to be furnished under this chapter;.

3. Description of qualifications of personnel and their responsibilities.  Personnel, including an assurance that personnel involved in system analysis, design and plans review, compliance assurance inspections, and their supervisors shall meet comply with the requirements of the American Society for Testing and Material (ASTM) Standards E-541-84, Criteria Standard Number E541-01 - Standard Specification for Agencies Engaged in System Analysis and Compliance Assurance for Manufactured Buildings; Building.

4. Summary of experience within the organization;.

5. General description of procedures and facilities to be used in proposed services, including evaluation of the model, factory follow-up, quality assurance, labeling of production buildings, and specific information to be furnished on or with labels;.

6. Procedures to deal with any defective buildings resulting from oversight;.

7. Acceptance of these services by independent accrediting organizations and by other jurisdictions; and.

8. Proof of independence and absence of conflict of interest.

Note:  The ASTM Standard E-541-84 Number E541-01 may be procured from:

American Society for Testing and Materials

100 Barr Harbor Drive

West Conshohocken, PA 19428-2959

13 VAC 5-91-210. Compliance assurance agency certification label.

Every registered industrialized building shall be marked with a label supplied by the compliance assurance agency that includes the following information: 1. name and address of the compliance assurance agency; and 2. the certification label number.

13 VAC 5-91-220. Mounting of label.

To the extent practicable, the label shall be so installed so that it cannot be removed without destroying it. It The label shall be applied in the vicinity of the electrical distribution panel or other in another location that is readily accessible for inspection. When a building is comprised of more than one section or module, the required label may be furnished as a single label for the entire building, provided each section or module is marked by the compliance assurance agency in a clearly identifiable manner that is listed provided with or on the label.

13 VAC 5-91-245. Manufacturer's data plate.

A. All of the following information shall be placed on a permanent manufacturer's data plate in the vicinity of the electrical distribution panel or in some other location that is readily accessible for inspection.  The compliance assurance agency shall approve the form, completeness and location of the data plate to include the following information and shall ensure that the data plate is complete:

1. Manufacturer's name and address;.

2. Compliance assurance agency certification number;.

3. Serial number of each module of the building;.

4. Serial number of the Virginia registration seal;.

5. Date of manufacture of the building;.

6. List of codes and standards for under which the building has been was evaluated, inspected and found in compliance by the compliance assurance agency and constructed and the type of construction and the use and occupancy classification under those codes and standards;.

7. Design loads: roof and load, design floor live load and design wind load;.

8. Seismic design zone number;.

9. Thermal transmittance values or "R" thermal resistance ("R") values;.

10. Special conditions or limitations of concerning the use of the building under the codes and standards for which applicable to the building has been evaluated, or ; however, a list of such conditions and or limitations that are furnished separately with the building; shall satisfy this requirement.

11. Special instructions for handling, installation and erection of the building, or ; however, a list of such instructions that are furnished separately with the building; shall satisfy this requirement.

12. Designation of electrical service ratings, directions for water and drain connections and, where applicable, identification of permissible type of gas for appliances; and.

13. Name of manufacturer and model designation of major factory installed appliances.

B. The manufacturer shall maintain copies of the data plate and reports of inspection, tests and any corrective action(s) action taken for a minimum period of 10 years from the date of manufacture of the building.

13 VAC 5-91-250. Industrialized buildings eligible for registration.

Any industrialized building must meet all of the following requirements to be registered and eligible for a Virginia registration seal:

1. The design of the building has been found by a compliance assurance agency to be in full compliance with this chapter.  Approved designs shall be evidenced by the stamp and date of approval on each design sheet by the compliance assurance agency;.

2. The compliance assurance agency has conducted any necessary testing and evaluation of the building and its component parts;.

3. The compliance assurance agency has provided the required inspections and other quality assurance follow-up services at the point of manufacture to assure the building complies with this chapter; and .

4. The building has been provided with contains the appropriate evidence of such compliance with through a label permanently affixed by the compliance assurance agency.

13 VAC 5-91-260. Registration seal for industrialized buildings.

A. Registered industrialized buildings shall be marked with an approved registration seal issued by the SBCAO. The seal shall be applied by the manufacturer to a registered industrialized building intended for sale or use in Virginia prior to the shipment of the building from the place of manufacture.

B. Registered industrialized buildings shall bear a registration seal for each dwelling unit in residential occupancies.  For nonresidential occupancies, a registration seal is required for each registered building.

C. Approved registration seals may be purchased from the SBCAO in advance of use.  The fee for each registration seal shall be $75. Checks shall be made payable to "Treasurer of Virginia."   Payment for the seals must be received by the SBCAO before the seals can be sent to the user.

D. To the extent practicable, the registration seal shall be installed so that it cannot be removed without destroying it.  It shall be installed near the label applied by the compliance assurance agency.

E. The compliance assurance agency or the manufacturer under the supervision of the compliance assurance agency shall maintain permanent records of the disposition of all Virginia registration seals obtained by the compliance assurance agency or manufacturer.

13 VAC 5-91-270. Manufacturer's installation instructions.

A. The manufacturer of each industrialized building shall provide specifications or instructions, or both, with each building, specifications or instructions, or both, for handling, installing or erecting the building.  Such instructions may be included as part of the label from the compliance assurance agency or may be furnished separately by the manufacturer of the building.  The manufacturer shall not be required to provide the foundation and anchoring equipment for the industrialized building.

B. Persons or firms installing or erecting registered industrialized buildings shall install or erect the building in accordance with the manufacturer's instructions.

DOCUMENTS INCORPORATED BY REFERENCE

BOCA National Building Code--1996 Edition.

ICC International Plumbing Code--1995 Edition with 1996 Supplement - 2000 and 2003 Editions, International Code Council.

ICC International Mechanical Code--1996 Edition - 2000 and 2003 Editions.

National Electrical Code--NFPA National Fire Protection Association Standard Number 70-1996 and (National Electrical Code) - 1999 Edition and 2002 Editions, International Code Council.

CABO One- and Two-Family Dwelling Code--1995 Edition.

ICC International Building Code-- - 2000 Edition and 2003 Editions, International Code Council.

ICC International Plumbing Code--2000 Edition.

ICC International Mechanical Code--2000 Edition.

ICC International Residential Code-- - 2000 Edition and 2003 Editions, International Code Council.

ASTM E541-84, Standard Criteria Standard Number E541-01 - Standard Specification for Agencies Engaged in System Analysis and Compliance Assurance for Manufactured Buildings Building, American Society for Testing and Materials.

VA.R. Doc. No. R04-172; Filed January 13, 2005, 11:06 a.m.

# Footnotes

1 A standard 18( ( 22( double garage is likely to require an additional $120-$130 to protect the ceiling in accordance with the requirements of the regulation.

2 U.S. Consumer Product Safety Commission, Washington, D.C, 2003.  Draft Guidelines for Entrapment Hazards: Making Pools and Spas Safer.

3 According to DHCD, as a courtyard is defined as an open, uncovered space and as the heat of a fire moves perpendicular to the opening in a building, lifting restrictions on the number of door openings in courtyard walls is not likely to have a significant effect on the spread of a fire to neighboring buildings.  Moreover, a fire is more likely to spread within a building through interior walls rather than across a courtyard.

4 According to DHCD, platform lifts can cost anywhere between $4,000 and $15,000.

5 The thermal shock test determines how hot glass will react when hit by water from a fire hose or sprinkler.

6 Ata cost of $10 per square foot for wired glass, even a 20-fold increase in the price of safety or impact resistant glazing would increase costs from a little under 0.001% of total construction costs to less than 0.02% of total construction costs.